## Sheet1
CRREL Firn Test 2010
Bally Building Log
All times are Local
Date | Time In (local) | Time Out (local) | Time In (UTC) | Time Out (UTC) | # of People | Comment
2010-07-01 | 1529 | 1534 |  |  | 2 | Carps removed IT equipment
2010-07-02 | 1105 | 1106 |  |  | 1 | Electrician
2010-07-02 | 1530 | 1531 |  |  | 1 | Electrician
2010-07-02 | 1533 | 1534 |  |  | 1 | Power out while switching extension cords
2010-07-02 | 1550 | 1551 |  |  | 1 | Plugged extension cord port
2010-07-05 | 1338 | 1341 |  |  | 1 | Weekly data download, removed rags from extension cord port
2010-07-05 | 1400 | 1406 |  |  | 1 | Second attempt to download
2010-07-06 | 853 | 907 |  |  | 1 | Third attempt to download
2010-07-08 | 1106 | 1111 |  |  | 1 | download
07/08/10? | 1538 | 1541 |  |  | 1 | download - not sure about the date
07/08/10? | 1600 | 1606 |  |  | 1 | download - not sure about the date
2010-07-10 | 956 | 1007 |  |  | 1 | download
2010-07-12 | 1412 | 1428 |  |  | 2 | download
2010-07-12 | 1517 | 1542 |  |  | 2 | download
2010-07-13 | 1305 | 1310 |  |  | 2 | download
2010-07-13 | 1311 | 1316 |  |  | 2 | download
2010-07-13 | 1320 | 1323 | 1520 | 1523 | 2 | download
2010-07-13 | 1325 | 1328 | 1525 | 1528 | 1 | download
2010-07-18 | 1214 | 1221 | 1414 | 1421 | 1 | Download
2010-07-23 | 1135 | 1136 | 1335 | 1336 | 1 | Pulled down blinds
2010-07-26 | 954 | 956 | 1154 | 1156 | 2 | Download - first attempt
2010-07-26 | 1140 | 1150 | 1340 | 1350 | 2 | Download - second attempt
2010-08-02 | 1358 | 1410 | 1558 | 1610 | 1 | Download; plugged extension cord port, opened East wall high port
2010-08-03 | 1100 | 1101 | 1300 | 1301 | 1 | Closed blinds
2010-08-09 | 1156 | 1207 | 1356 | 1407 | 1 | Download
2010-08-09 | 1550 | 1551 | 1750 | 1751 | 1 | Adjusted thermostat down to -28 to -32 degrees
2010-08-16 | 1741 | 1756 | 1941 | 1956 | 4 | download/training
2010-08-16 |  | 1746 | 200 | 1946 | 2 | put ductwork inside building
2010-08-16 | 1747 |  | 1947 | 200 | 2 | put ductwork inside building
2010-08-18 | 1520 | 1523 | 1720 | 1723 | 3 | put future wall panel for Bally bldg inside (nothing was disturbed in the process, is on the East wall before the datalogger enclosure/master power and does not block any vents)
2010-08-20 | 1015 | 1017 | 1215 | 1217 | 1 | Removed large box that had siding in it from 8/18. Siding now on cargo berm.
2010-08-23 | 1416 | 1445 | 1616 | 1645 | 1 | attempted download
2010-08-24 | 1025 | 1029 | 1225 | 1229 | 1 | begin data download
2010-08-24 | 1147 | 1149 | 1347 | 1349 | 1 | end data download
2010-08-24 | 1538 | 1604 | 1738 | 1804 | 1 | data download
2010-08-30 | 1519 | 1529 | 1719 | 1729 | 2 | attempted data download
2010-08-30 | 1550 | 1555 | 1750 | 1755 | 2 | check on data download
2010-08-30 | 1637 | 1653 | 1837 | 1853 | 1 | completed data download
2010-09-06 | 855 | 910 | 1055 | 1110 | 1 | data download, unplug fan (fan unplugged at 1055 UTC)
2010-09-09 | 906 | 907 | 1106 | 1107 | 1 | restore power to fan (1106 UTC)
2010-09-13 | 1320 | 1336 | 1520 | 1536 | 1 | weekly data download
2010-09-20 | 1137 | 1152 | 1337 | 1352 | 1 | weekly data download
2010-09-27 | 857 | 858 | 1057 | 1058 | 1 | download, forgot cable
2010-09-27 | 905 | 918 | 1105 | 1118 | 1 | weekly data download
2010-10-04 | 1406 | 1424 | 1606 | 1624 | 1 | weekley data download
2010-10-09 | 930 | n/a | 1130 | n/a | 1 | final data download, begin shut down