## MET
Date | Julian Day | Time (UTC) | Observer's Initials | 2m T | 2m TD | 9m SONIC | 9m RM Young | Check Enclosure Temp (~12 C) | Check date and time | Comments (Climbing, removing instruments, etc)
2025-01-01 | 1 | 1621 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-02 | 2 | 1511 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-03 | 3 | - | ALW | - | - | - | - | * | * | ICEsat- did not go to AWO
2025-01-04 | 4 | 1358 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-05 | 5 | 1510 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-06 | 6 | 1745 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-07 | 7 | 1814 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-08 | 8 | 1556 | ALW | clr | clr | lf | lf | * | *
2025-01-09 | 9 | 1559 | ALW | clr | clr | lf | lf | * | *
2025-01-10 | 10 | - | ALW | - | - | - | - | -2 | * | Con 1- did not go to AWO
2025-01-11 | 11 | 1335 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-12 | 12 | 1319 | ALW | rm lf | rm lf | lf | lf |  |  | GML page down
2025-01-13 | 13 | 1640 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-14 | 14 | 1429 | ALW | clr | rm lf | lf | lf | * | *
2025-01-15 | 15 | 1830 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-16 | 16 | - | ALW | - | - | - | - | * | -2 | Con 1- did not go to AWO
2025-01-17 | 17 | - | ALW | - | - | - | - | * | -2.5 | Con 1- did not go to AWO
2025-01-18 | 18 | 1347 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-19 | 19 | 1542 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-20 | 20 | 1557 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-21 | 21 | 1730 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-22 | 22 | 1603 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-23 | 23 | 1617 | ALW | rm lf | rm lf | lf | lf | * | * | Tops taken off and cleaned of snow @ 1641
2025-01-24 | 24 | 1454 | ALW | clr | clr | lf | lf | * | *
2025-01-25 | 25 | 1252 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-26 | 26 | 1505 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-27 | 27 | 1638 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-28 | 28 | 1720 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-29 | 29 | 1742 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-30 | 30 | 1319 | ALW | rm lf | rm lf | lf | lf | * | *
2025-01-31 | 31 | 1348 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-01 | 32 | - | ALW | - | - | - | - | * | *
2025-02-02 | 33 | 1538 | ALW | clr | clr | lf | lf | * | *
2025-02-03 | 34 | 1611 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-04 | 35 | - | ALW | - | - | - | - | * | * | ICEsat- did not go to AWO
2025-02-05 | 36 | 1557 | ALW | rm lf | rm lf | lf | lf | - | - | GML page down
2025-02-06 | 37 | 1352 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-07 | 38 | - | ALW | - | - | - | - | -1 | * | Con 1- did not go to AWO
2025-02-08 | 39 | 1818 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-09 | 40 | 1400 | ALW | - | - | - | - | * | *
2025-02-10 | 41 | - | ALW | - | - | - | - | * | * | ICEsat- did not go to AWO
2025-02-11 | 42 | 1620 | ALW | rm lf | rm fl | lf | lf | * | *
2025-02-12 | 43 | 1125 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-13 | 44 | 1836 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-14 | 45 | 1530 | ALW | rm lf | rm lf | lf | hf | * | *
2025-02-15 | 46 | - | ALW | - | - | - | - | * | *
2025-02-16 | 47 | 1634 | ALW | rm lf | rm lf | lf | lf | - | - | GML page down
2025-02-17 | 48 | 1413 | AR | rm lf | rm lf | lf | hf | * | *
2025-02-18 | 49 | 1401 | AR | rm lf | rm lf | lf | hf | * | * | RM Young frozen in place and not spinning
2025-02-19 | 50 | 1835 | AR | rm lf | rm lf | lf | hf | * | * | RM Young frozen in place and not spinning
2025-02-20 | 51 | 1415 | AR | rm lf | rm lf | lf | hf | * | * | Power outage today from 0046-1147Z, enclosure temperature droped to -30.75C overnight before power was restored
2025-02-21 | 52 | 1416 | AR | rm lf | rm lf | lf | lf | * | * | Tower climb for cleaning at 1609-1836Z
2025-02-22 | 53 | 1207 | ALW | rm lf | rm lf | lf | lf | * | *
2025-02-23 | 54 | 1327 | AR | rm lf | rm lf | lf | lf | * | *
2025-02-24 | 55 | 1705 | AR | rm lf | rm lf | lf | lf | * | *
2025-02-25 | 56 | 1913 | AR | rm lf | rm lf | lf | lf | * | *
2025-02-26 | 57 | 1347 | AR | rm lf | rm lf | lf | lf | * | *
2025-02-27 | 58 | 1313 | AR | rm lf | rm lf | lf | lf | * | *
2025-02-28 | 59 | 1144 | AR | - | - | - | - | * | * | Con 1- did not go to AWO
2025-03-01 | 60 | 1310 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-02 | 61 | 1559 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-03 | 62 | 1542 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-04 | 63 | 1453 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-05 | 64 | 1751 | AR | - | - | - | - | * | * | ICEsat- did not go to AWO
2025-03-06 | 65 | 1348 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-07 | 66 | 1732 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-08 | 67 | 1155 | AR | rm lf | rm lf | lf | lf | * | *
2025-03-09 | 68
2025-03-10 | 69
2025-03-11 | 70
2025-03-12 | 71
2025-03-13 | 72
2025-03-14 | 73
2025-03-15 | 74
2025-03-16 | 75
2025-03-17 | 76
2025-03-18 | 77
2025-03-19 | 78
2025-03-20 | 79
2025-03-21 | 80
2025-03-22 | 81
2025-03-23 | 82
2025-03-24 | 83
2025-03-25 | 84
2025-03-26 | 85
2025-03-27 | 86
2025-03-28 | 87
2025-03-29 | 88
2025-03-30 | 89
2025-03-31 | 90
2025-04-01 | 91
2025-04-02 | 92
2025-04-03 | 93
2025-04-04 | 94
2025-04-05 | 95
2025-04-06 | 96
2025-04-07 | 97
2025-04-08 | 98
2025-04-09 | 99
2025-04-10 | 100
2025-04-11 | 101
2025-04-12 | 102
2025-04-13 | 103
2025-04-14 | 104
2025-04-15 | 105
2025-04-16 | 106
2025-04-17 | 107
2025-04-18 | 108
2025-04-19 | 109
2025-04-20 | 110
2025-04-21 | 111
2025-04-22 | 112
2025-04-23 | 113
2025-04-24 | 114
2025-04-25 | 115
2025-04-26 | 116
2025-04-27 | 117
2025-04-28 | 118
2025-04-29 | 119
2025-04-30 | 120
2025-05-01 | 121
2025-05-02 | 122
2025-05-03 | 123
2025-05-04 | 124
2025-05-05 | 125
2025-05-06 | 126
2025-05-07 | 127
2025-05-08 | 128
2025-05-09 | 129
2025-05-10 | 130
2025-05-11 | 131
2025-05-12 | 132
2025-05-13 | 133
2025-05-14 | 134
2025-05-15 | 135
2025-05-16 | 136
2025-05-17 | 137
2025-05-18 | 138
2025-05-19 | 139
2025-05-20 | 140
2025-05-21 | 141
2025-05-22 | 142
2025-05-23 | 143
2025-05-24 | 144
2025-05-25 | 145
2025-05-26 | 146
2025-05-27 | 147
2025-05-28 | 148
2025-05-29 | 149
2025-05-30 | 150
2025-05-31 | 151
2025-06-01 | 152
2025-06-02 | 153
2025-06-03 | 154
2025-06-04 | 155
2025-06-05 | 156
2025-06-06 | 157
2025-06-07 | 158
2025-06-08 | 159
2025-06-09 | 160
2025-06-10 | 161
2025-06-11 | 162
2025-06-12 | 163
2025-06-13 | 164
2025-06-14 | 165
2025-06-15 | 166
2025-06-16 | 167
2025-06-17 | 168
2025-06-18 | 169
2025-06-19 | 170
2025-06-20 | 171
2025-06-21 | 172
2025-06-22 | 173
2025-06-23 | 174
2025-06-24 | 175
2025-06-25 | 176
2025-06-26 | 177
2025-06-27 | 178
2025-06-28 | 179
2025-06-29 | 180
2025-06-30 | 181
2025-07-01 | 182
2025-07-02 | 183
2025-07-03 | 184
2025-07-04 | 185
2025-07-05 | 186
2025-07-06 | 187
2025-07-07 | 188
2025-07-08 | 189
2025-07-09 | 190
2025-07-10 | 191
2025-07-11 | 192
2025-07-12 | 193
2025-07-13 | 194
2025-07-14 | 195
2025-07-15 | 196
2025-07-16 | 197
2025-07-17 | 198
2025-07-18 | 199
2025-07-19 | 200
2025-07-20 | 201
2025-07-21 | 202
2025-07-22 | 203
2025-07-23 | 204
2025-07-24 | 205
2025-07-25 | 206
2025-07-26 | 207
2025-07-27 | 208
2025-07-28 | 209
2025-07-29 | 210
2025-07-30 | 211
2025-07-31 | 212
2025-08-01 | 213
2025-08-02 | 214
2025-08-03 | 215
2025-08-04 | 216
2025-08-05 | 217
2025-08-06 | 218
2025-08-07 | 219
2025-08-08 | 220
2025-08-09 | 221
2025-08-10 | 222
2025-08-11 | 223
2025-08-12 | 224
2025-08-13 | 225
2025-08-14 | 226
2025-08-15 | 227
2025-08-16 | 228
2025-08-17 | 229
2025-08-18 | 230
2025-08-19 | 231
2025-08-20 | 232
2025-08-21 | 233
2025-08-22 | 234
2025-08-23 | 235
2025-08-24 | 236
2025-08-25 | 237
2025-08-26 | 238
2025-08-27 | 239
2025-08-28 | 240
2025-08-29 | 241
2025-08-30 | 242
2025-08-31 | 243
2025-09-01 | 244
2025-09-02 | 245
2025-09-03 | 246
2025-09-04 | 247
2025-09-05 | 248
2025-09-06 | 249
2025-09-07 | 250
2025-09-08 | 251
2025-09-09 | 252
2025-09-10 | 253
2025-09-11 | 254
2025-09-12 | 255
2025-09-13 | 256
2025-09-14 | 257
2025-09-15 | 258
2025-09-16 | 259
2025-09-17 | 260
2025-09-18 | 261
2025-09-19 | 262
2025-09-20 | 263
2025-09-21 | 264
2025-09-22 | 265
2025-09-23 | 266
2025-09-24 | 267
2025-09-25 | 268
2025-09-26 | 269
2025-09-27 | 270
2025-09-28 | 271
2025-09-29 | 272
2025-09-30 | 273
2025-10-01 | 274
2025-10-02 | 275
2025-10-03 | 276
2025-10-04 | 277
2025-10-05 | 278
2025-10-06 | 279
2025-10-07 | 280
2025-10-08 | 281
2025-10-09 | 282
2025-10-10 | 283
2025-10-11 | 284
2025-10-12 | 285
2025-10-13 | 286
2025-10-14 | 287
2025-10-15 | 288
2025-10-16 | 289
2025-10-17 | 290
2025-10-18 | 291
2025-10-19 | 292
2025-10-20 | 293
2025-10-21 | 294
2025-10-22 | 295
2025-10-23 | 296
2025-10-24 | 297
2025-10-25 | 298
2025-10-26 | 299
2025-10-27 | 300
2025-10-28 | 301
2025-10-29 | 302
2025-10-30 | 303
2025-10-31 | 304
2025-11-01 | 305
2025-11-02 | 306
2025-11-03 | 307
2025-11-04 | 308
2025-11-05 | 309
2025-11-06 | 310
2025-11-07 | 311
2025-11-08 | 312
2025-11-09 | 313
2025-11-10 | 314
2025-11-11 | 315
2025-11-12 | 316
2025-11-13 | 317
2025-11-14 | 318
2025-11-15 | 319
2025-11-16 | 320
2025-11-17 | 321
2025-11-18 | 322
2025-11-19 | 323
2025-11-20 | 324
2025-11-21 | 325
2025-11-22 | 326
2025-11-23 | 327
2025-11-24 | 328
2025-11-25 | 329
2025-11-26 | 330
2025-11-27 | 331
2025-11-28 | 332
2025-11-29 | 333
2025-11-30 | 334
2025-12-01 | 335
2025-12-02 | 336
2025-12-03 | 337
2025-12-04 | 338
2025-12-05 | 339
2025-12-06 | 340
2025-12-07 | 341
2025-12-08 | 342
2025-12-09 | 343
2025-12-10 | 344
2025-12-11 | 345
2025-12-12 | 346
2025-12-13 | 347
2025-12-14 | 348
2025-12-15 | 349
2025-12-16 | 350
2025-12-17 | 351
2025-12-18 | 352
2025-12-19 | 353
2025-12-20 | 354
2025-12-21 | 355
2025-12-22 | 356
2025-12-23 | 357
2025-12-24 | 358
2025-12-25 | 359
2025-12-26 | 360
2025-12-27 | 361
2025-12-28 | 362
2025-12-29 | 363
2025-12-30 | 364
2025-12-31 | 365
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Shorter enclosure Reply: Aspirated temperature (short)
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Longer enclosure Reply: Aspirated humidity (longer)
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ventus 2D Sonic Anemometer (V2) Reply: On NOAA boom with Wingbird
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Heated Spinning Anemometer Reply: Secondary anemometer. There to record data if 9m Sonic primary anemometer is under maintenance. Wingbird on NOAA boom.
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Refer to NOAA website T Logger Reply: NOAA enclosure (power enclosure on tower)- heater on and working Reply: NOAA enclosure - heater on and working but did not compensate with cooler temperatures very well. PI (Andrew Clarke) says that > -20 should be no cause for concern. Reply: Might have a fan running with a little heat coming out the top.
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: NOAA website

## Inlet
Date | Julian Day | Time (UTC) | Observer's Initials | Neph/ Clap inlet | HATS inlet | Prototype inlet deicer | Sfc O3 inlet | Comments: climbs, filter changes, instrument work
2025-01-01 | 1 | 1502 | ALW | rm lf | rm lf | - | replaced filter | Replaced Sfc 03 filter @ 1512Z
2025-01-02 | 2 | 1456 | ALW | rm lf | rm lf | - | rm lf
2025-01-03 | 3 | - | ALW | - | - | - | - | ICEsat- did not go to AWO
2025-01-04 | 4 | 1252 | ALW | rm lf | rm lf | - | rm lf
2025-01-05 | 5 | 1500 | ALW | rm lf | clr | - | rm lf
2025-01-06 | 6 | 1527 | ALW | rm lf | rm f | - | rm lf
2025-01-07 | 7 | 1648 | ALW | rm lf | rm lf | - | rm lf
2025-01-08 | 8 | 1721 | ALW | - | - | - | - | Windy- did not go to roof
2025-01-09 | 9 | 1618 | ALW | rm lf | clr | - | rm lf
2025-01-10 | 10 | - | ALW | - | - | - | - | Con 1- did not go to AWO
2025-01-11 | 11 | 1237 | ALW | rm lf | rm lf | - | rm lf
2025-01-12 | 12 | 1252 | ALW | rm lf | rm lf | - | rm lf
2025-01-13 | 13 | 1612 | ALW | rm lf | rm lf | - | rm lf
2025-01-14 | 14 | 1643 | ALW | rm lf | lf | - | reattached | Reattached orange cap @ 1643Z
2025-01-15 | 15 | 1610 | ALW | rm lf | lf | - | rm lf
2025-01-16 | 16 | - | ALW | - | - | - | - | Con 1- did not go to AWO
2025-01-17 | 17 | - | ALW | - | - | - | - | Con 1- did not go to AWO
2025-01-18 | 18 | 1305 | ALW | rm lf | rm lf | - | rm lf
2025-01-19 | 19 | 1512 | ALW | rm lf | rm lf | - | rm lf
2025-01-20 | 20 | 1520 | ALW | rm lf | rm lf | - | rm lf
2025-01-21 | 21 | - | ALW | - | - | - | - | Too windy to go to roof
2025-01-22 | 22 | 1731 | ALW | rm lf | rm lf | - | rm lf | Found filter blew out of orange cap during high winds. Replaced @ 1857
2025-01-23 | 23 | 1717 | ALW | rm lf | rm lf | - | rm lf
2025-01-24 | 24 | 1320 | ALW | rm lf | rm lf | - | rm lf
2025-01-25 | 25 | 1202 | ALW | rm lf | rm lf | - | rm lf
2025-01-26 | 26 | 1448 | ALW | rm lf | rm lf | - | rm lf
2025-01-27 | 27 | 1520 | ALW | rm lf | rm lf | - | rm lf
2025-01-28 | 28 | 1824 | ALW | rm lf | rm lf | - | rm lf
2025-01-29 | 29 | - | ALW | - | - | - | - | Too windy to go to roof
2025-01-30 | 30 | 1514 | ALW | rm lf | rm lf | - | rm lf
2025-01-31 | 31 | 1318 | ALW | rm lf | rm lf | - | rm lf | Installed SFO candy cane @ 1540Z
2025-02-01 | 32 | - | ALW | - | - | - | - | Con 1- did not go to AWO
2025-02-02 | 33 | 1452 | ALW | rm lf | rm lf | - | rm lf
2025-02-03 | 34 | 1453 | ALW | rm lf | rm lf | - | rm lf
2025-02-04 | 35 | - | ALW | - | - | - | - | ICEsat- did not go to AWO
2025-02-05 | 36 | 1827 | ALW | rm lf | rm lf | - | rm lf
2025-02-06 | 37 | 1219 | ALW | rm lf | rm lf | - | rm lf
2025-02-07 | 38 | - | ALW | - | - | - | - | Con 1- did not go to AWO
2025-02-08 | 39 | 1758 | ALW | rm lf | rm lf | - | rm lf
2025-02-09 | 40 | - | ALW | - | - | - | - | Con 1- did not go to AWO
2025-02-10 | 41 | - | ALW | - | - | - | - | ICEsat- did not go to AWO
2025-02-11 | 42 | 1416 | ALW | rm lf | rm lf | - | rm lf
2025-02-12 | 43 | 1047 | ALW | rm lf | rm lf | - | rm lf
2025-02-13 | 44 | 1659 | ALW | rm lf | rm lf | - | rm lf
2025-02-14 | 45 | 1349 | AR | rm lf | rm lf | - | rm lf
2025-02-15 | 46 | - | - | - | - | - | - | ICEsat- did not go to AWO
2025-02-16 | 47 | 1541 | AR | rm lf | rm lf | - | rm lf
2025-02-17 | 48 | 1225 | AR | rm lf | rm lf | - | rm lf
2025-02-18 | 49 | 1259 | AR | rm lf | rm lf | - | rm lf
2025-02-19 | 50 | 1749 | AR | rm lf | rm lf | - | rm lf
2025-02-20 | 51 | 1328 | AR | rm lf | rm lf | - | rm lf | Power outage from 0046-1147Z.
2025-02-21 | 52 | 1302 | AR | rm lf | rm lf | - | rm lf
2025-02-22 | 53 | 1202 | AR | rm lf | rm lf | - | rm lf | Inlet pump turned off 1107-1343Z. Inlet head removed for cleaning and pump maintanence.
2025-02-23 | 54 | 1246 | AR | rm lf | rm lf | - | rm lf
2025-02-24 | 55 | 1520 | AR | rm lf | rm lf | - | rm lf
2025-02-25 | 56 | 1850 | AR | rm lf | rm lf | - | rm lf
2025-02-26 | 57 | 1328 | AR | rm lf | - | - | rm lf
2025-02-27 | 58 | 1241 | AR | rm lf | rm lf | - | rm lf
2025-02-28 | 59 | - | - | - | - | - | - | Con 1- did not go to AWO
2025-03-01 | 60 | 1240 | AR | rm lf | rm lf | - | rm lf
2025-03-02 | 61 | 1537 | AR | rm lf | rm lf | - | rm lf
2025-03-03 | 62 | 1452 | AR | rm lf | rm lf | - | rm lf
2025-03-04 | 63 | 1519 | AR | rm lf | rm lf | - | rm lf
2025-03-05 | 64 | - | AR | - | - | - | - | ICEsat- did not go to AWO
2025-03-06 | 65 | 1307 | AR | rm lf | rm lf | - | rm lf
2025-03-07 | 66 | 1647 | AR | rm lf | rm lf | - | rm lf
2025-03-08 | 67 | 1112 | AR | rm lf | rm lf | - | rm lf
2025-03-09 | 68 |  |  |  |  | -
2025-03-10 | 69 |  |  |  |  | -
2025-03-11 | 70 |  |  |  |  | -
2025-03-12 | 71
2025-03-13 | 72
2025-03-14 | 73
2025-03-15 | 74
2025-03-16 | 75
2025-03-17 | 76
2025-03-18 | 77
2025-03-19 | 78
2025-03-20 | 79
2025-03-21 | 80
2025-03-22 | 81
2025-03-23 | 82
2025-03-24 | 83
2025-03-25 | 84
2025-03-26 | 85
2025-03-27 | 86
2025-03-28 | 87
2025-03-29 | 88
2025-03-30 | 89
2025-03-31 | 90
2025-04-01 | 91
2025-04-02 | 92
2025-04-03 | 93
2025-04-04 | 94
2025-04-05 | 95
2025-04-06 | 96
2025-04-07 | 97
2025-04-08 | 98
2025-04-09 | 99
2025-04-10 | 100
2025-04-11 | 101
2025-04-12 | 102
2025-04-13 | 103
2025-04-14 | 104
2025-04-15 | 105
2025-04-16 | 106
2025-04-17 | 107
2025-04-18 | 108
2025-04-19 | 109
2025-04-20 | 110
2025-04-21 | 111
2025-04-22 | 112
2025-04-23 | 113
2025-04-24 | 114
2025-04-25 | 115
2025-04-26 | 116
2025-04-27 | 117
2025-04-28 | 118
2025-04-29 | 119
2025-04-30 | 120
2025-05-01 | 121
2025-05-02 | 122
2025-05-03 | 123
2025-05-04 | 124
2025-05-05 | 125
2025-05-06 | 126
2025-05-07 | 127
2025-05-08 | 128
2025-05-09 | 129
2025-05-10 | 130
2025-05-11 | 131
2025-05-12 | 132
2025-05-13 | 133
2025-05-14 | 134
2025-05-15 | 135
2025-05-16 | 136
2025-05-17 | 137
2025-05-18 | 138
2025-05-19 | 139
2025-05-20 | 140
2025-05-21 | 141
2025-05-22 | 142
2025-05-23 | 143
2025-05-24 | 144
2025-05-25 | 145
2025-05-26 | 146
2025-05-27 | 147
2025-05-28 | 148
2025-05-29 | 149
2025-05-30 | 150
2025-05-31 | 151
2025-06-01 | 152
2025-06-02 | 153
2025-06-03 | 154
2025-06-04 | 155
2025-06-05 | 156
2025-06-06 | 157
2025-06-07 | 158
2025-06-08 | 159
2025-06-09 | 160
2025-06-10 | 161
2025-06-11 | 162
2025-06-12 | 163
2025-06-13 | 164
2025-06-14 | 165
2025-06-15 | 166
2025-06-16 | 167
2025-06-17 | 168
2025-06-18 | 169
2025-06-19 | 170
2025-06-20 | 171
2025-06-21 | 172
2025-06-22 | 173
2025-06-23 | 174
2025-06-24 | 175
2025-06-25 | 176
2025-06-26 | 177
2025-06-27 | 178
2025-06-28 | 179
2025-06-29 | 180
2025-06-30 | 181
2025-07-01 | 182
2025-07-02 | 183
2025-07-03 | 184
2025-07-04 | 185
2025-07-05 | 186
2025-07-06 | 187
2025-07-07 | 188
2025-07-08 | 189
2025-07-09 | 190
2025-07-10 | 191
2025-07-11 | 192
2025-07-12 | 193
2025-07-13 | 194
2025-07-14 | 195
2025-07-15 | 196
2025-07-16 | 197
2025-07-17 | 198
2025-07-18 | 199
2025-07-19 | 200
2025-07-20 | 201
2025-07-21 | 202
2025-07-22 | 203
2025-07-23 | 204
2025-07-24 | 205
2025-07-25 | 206
2025-07-26 | 207
2025-07-27 | 208
2025-07-28 | 209
2025-07-29 | 210
2025-07-30 | 211
2025-07-31 | 212
2025-08-01 | 213
2025-08-02 | 214
2025-08-03 | 215
2025-08-04 | 216
2025-08-05 | 217
2025-08-06 | 218
2025-08-07 | 219
2025-08-08 | 220
2025-08-09 | 221
2025-08-10 | 222
2025-08-11 | 223
2025-08-12 | 224
2025-08-13 | 225
2025-08-14 | 226
2025-08-15 | 227
2025-08-16 | 228
2025-08-17 | 229
2025-08-18 | 230
2025-08-19 | 231
2025-08-20 | 232
2025-08-21 | 233
2025-08-22 | 234
2025-08-23 | 235
2025-08-24 | 236
2025-08-25 | 237
2025-08-26 | 238
2025-08-27 | 239
2025-08-28 | 240
2025-08-29 | 241
2025-08-30 | 242
2025-08-31 | 243
2025-09-01 | 244
2025-09-02 | 245
2025-09-03 | 246
2025-09-04 | 247
2025-09-05 | 248
2025-09-06 | 249
2025-09-07 | 250
2025-09-08 | 251
2025-09-09 | 252
2025-09-10 | 253
2025-09-11 | 254
2025-09-12 | 255
2025-09-13 | 256
2025-09-14 | 257
2025-09-15 | 258
2025-09-16 | 259
2025-09-17 | 260
2025-09-18 | 261
2025-09-19 | 262
2025-09-20 | 263
2025-09-21 | 264
2025-09-22 | 265
2025-09-23 | 266
2025-09-24 | 267
2025-09-25 | 268
2025-09-26 | 269
2025-09-27 | 270
2025-09-28 | 271
2025-09-29 | 272
2025-09-30 | 273
2025-10-01 | 274
2025-10-02 | 275
2025-10-03 | 276
2025-10-04 | 277
2025-10-05 | 278
2025-10-06 | 279
2025-10-07 | 280
2025-10-08 | 281
2025-10-09 | 282
2025-10-10 | 283
2025-10-11 | 284
2025-10-12 | 285
2025-10-13 | 286
2025-10-14 | 287
2025-10-15 | 288
2025-10-16 | 289
2025-10-17 | 290
2025-10-18 | 291
2025-10-19 | 292
2025-10-20 | 293
2025-10-21 | 294
2025-10-22 | 295
2025-10-23 | 296
2025-10-24 | 297
2025-10-25 | 298
2025-10-26 | 299
2025-10-27 | 300
2025-10-28 | 301
2025-10-29 | 302
2025-10-30 | 303
2025-10-31 | 304
2025-11-01 | 305
2025-11-02 | 306
2025-11-03 | 307
2025-11-04 | 308
2025-11-05 | 309
2025-11-06 | 310
2025-11-07 | 311
2025-11-08 | 312
2025-11-09 | 313
2025-11-10 | 314
2025-11-11 | 315
2025-11-12 | 316
2025-11-13 | 317
2025-11-14 | 318
2025-11-15 | 319
2025-11-16 | 320
2025-11-17 | 321
2025-11-18 | 322
2025-11-19 | 323
2025-11-20 | 324
2025-11-21 | 325
2025-11-22 | 326
2025-11-23 | 327
2025-11-24 | 328
2025-11-25 | 329
2025-11-26 | 330
2025-11-27 | 331
2025-11-28 | 332
2025-11-29 | 333
2025-11-30 | 334
2025-12-01 | 335
2025-12-02 | 336
2025-12-03 | 337
2025-12-04 | 338
2025-12-05 | 339
2025-12-06 | 340
2025-12-07 | 341
2025-12-08 | 342
2025-12-09 | 343
2025-12-10 | 344
2025-12-11 | 345
2025-12-12 | 346
2025-12-13 | 347
2025-12-14 | 348
2025-12-15 | 349
2025-12-16 | 350
2025-12-17 | 351
2025-12-18 | 352
2025-12-19 | 353
2025-12-20 | 354
2025-12-21 | 355
2025-12-22 | 356
2025-12-23 | 357
2025-12-24 | 358
2025-12-25 | 359
2025-12-26 | 360
2025-12-27 | 361
2025-12-28 | 362
2025-12-29 | 363
2025-12-30 | 364
2025-12-31 | 365
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Black and Gray Inlet Reply: Now has the pot over top Reply: aerosol inlet on s side railing Reply: Has mesh covering the intake to help keep rime out. Reach hand up pot and inside intake to remove rime from mesh.
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Top Inlet- looks like bells Reply: On left side of mini tower on roof.
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: On right side of mini tower on roof. Usually surrounded by rime. Leave be.
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Orange Cap Inlet Reply: Has paperish filter inside to keep frost free and be replaced ~January and July 1st

## NEPH & CLAP
Date | Julian Day | Time (UTC) | Observer's Initials | Sample inlet? | Check Daily Aerosol Email | TSI flow lpm <12 | CLAP flow ~0.60 lpm | CLAP green tr>0.7 | CLAP Spot # | MAGIC 210 cm-3 > 0 | MAGIC 210 dewpoint > 10 | MAGIC 250 cm-3 > 0 | MAGIC 250 dewpoint > 10 | Refilled MAGIC Reservoir | Monthly Span Check | NEPH Lamp On/Current (<7A) | NEPH Flag Status | NEPH Flow (~18 lpm) | Ecotech Flag status | Ecotech Flow (~4.5lpm) | Ecotech flag check on instrument (every other week) | Comments
2025-01-01 | 1 | 1637 | ALW | rm lf | * |  | 0.6 | 0.73806 | 4 |  |  | 37 | -12.2 | n | echotech: 1.6% | 5.6 | none | 18 | none | 4.5
2025-01-02 | 2 | 1551 | ALW | rm lf | * |  | 0.599 | 0.73507 | 4 |  |  | 41 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-03 | 3 | - | ALW | - | * |  | - | - | - |  |  | - | - | - | - | - | - | - | - | - |  | ICEsat- did not go to AWO
2025-01-04 | 4 | 1347 | ALW | rm lf | * |  | 0.602 | 0.73329 | 4 |  |  | 13 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-05 | 5 | 1526 | ALW | rm lf | * |  | 0.601 | 0.73284 | 4 |  |  | 18 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-06 | 6 | 1702 | ALW | rm lf | * |  | 0.597 | 0.7298 | 4 |  |  | 53 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-07 | 7 | 1847 | ALW | rm lf | * |  | 0.603 | 0.72816 | 4 |  |  | 45 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-08 | 8 | 1745 | ALW | - | * |  | 0.591 | 0.7267 | 4 |  |  | 69 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-09 | 9 | 1543 | ALW | rm lf | * |  | 0.597 | 0.72557 | 4 |  |  | 24 | -12.2 | n |  | 5.7 | none | 18 | none | 4.5
2025-01-10 | 10 | - | ALW | - | * |  | - | - | - |  |  | - | - | - | - | - | - | - | - | - |  | Con1- did not go to AWO
2025-01-11 | 11 | 1250 | ALW | rm lf | * |  | 0.599 | 0.71762 | 4 |  |  | 33 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5 | pass
2025-01-12 | 12 | 1301 | ALW | rm lf | * |  | 0.587 | 0.71554 | 4 |  |  | 70 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-13 | 13 | 1556 | ALW | rm lf | * |  | 0.587 | 0.71544 | 4 |  |  | 15 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-14 | 14 | 1446 | ALW | rm lf | * |  | 0.597 | 0.7134 | 4 |  |  | 49 | -12.2 | y |  | 5.6 | none | 18 | none | 4.5
2025-01-15 | 15 | 1622 | ALW | rm lf | * |  | 0.593 | 0.71162 | 4 |  |  | 83 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-16 | 16 | - | ALW | - | * |  | - | - | - |  |  |  | - | - | - | - | - | - | - |  |  | Con 1- did not go to AWO
2025-01-17 | 17 | 0 | ALW | - | * |  | 0.608 | 0.70735 | 4 |  |  | - | -12.2 | n |  | 5.6 | - | - | - | -
2025-01-18 | 18 | 1243 | ALW | rm lf | * |  | 0.593 | 0.70374 | 4 |  |  | 6 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5
2025-01-19 | 19 | 1527 | ALW | rm lf | * |  | 0.603 | 0.99891 | 5 |  |  | 68 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-20 | 20 | 1500 | ALW | rm lf | * |  | 0.599 | 0.99341 | 5 |  |  | 9 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-21 | 21 | 1238 | ALW | - | * |  | 0.588 | 0.99226 | 5 |  |  | 16 | -12.2 | y |  | 5.6 | none | 18 | none | 4.5 | pass
2025-01-22 | 22 | 1538 | ALW | rm lf | * |  | 0.604 | 0.98831 | 5 |  |  | 16 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-23 | 23 | 1603 | ALW | rm lf | * |  | 0.602 | 0.98774 | 5 |  |  | 8 | -12.2 | n |  | 5.6 | none | 18 | none | 4.5
2025-01-24 | 24 | 1304 | ALW | rm lf | * |  | 0.596 | 0.98473 | 5 |  |  | 36 | -12.2 | n |  | 5.7 | none | 18 | none | 4.5
2025-01-25 | 25 | 1141 | ALW | rm lf |  |  | 0.602 | 0.98279 | 5 |  |  | 20 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5
2025-01-26 | 26 | 1412 | ALW | rm lf |  |  | 0.601 | 0.9788 | 5 |  |  | 21 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5
2025-01-27 | 27 | 1452 | ALW | rm lf | * |  | 0.601 | 0.95949 | 5 |  |  | 32 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5
2025-01-28 | 28 | 1510 | ALW | rm lf | * |  | 0.597 | 0.95581 | 5 |  |  | 18 | -12.2 | y |  | 5.5 | none | 18 | none | 4.5
2025-01-29 | 29 | 1621 | ALW | - |  |  | 0.605 | 0.95234 | 5 |  |  | 30 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5 |  | Too windy to go to roof
2025-01-30 | 30 | 1302 | ALW | rm lf |  |  | 0.598 | 0.95047 | 5 |  |  | 24 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5 | pass
2025-01-31 | 31 | 1329 | ALW | rm lf | * |  | 0.597 | 0.94861 | 5 |  |  | 21 | -12.2 | n |  | 5.5 | none | 18 | none | 4.5
2025-02-01 | 32 | - | ALW | - |  |  | - | - | - |  |  | - | - | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-02-02 | 33 | 1512 | ALW | rm lf | * |  | 0.587 | 0.94299 | 5 |  |  | 26 | -12.2 | n |  | 5.7 | none | 18 | none | 4.5
2025-02-03 | 34 | 1416 | ALW | rm lf | * |  | 0.589 | 0.94058 | 5 |  |  | 20 | -12.2 | y | TSI 0.8 % error | 5.8 | none | 18 | none | 4.5
2025-02-04 | 35 | - | ALW | - | * |  | - | - | - |  |  | - | - | - | - | - | - | - | - | - |  | ICEsat- did not go to AWO
2025-02-05 | 36 | 1623 | ALW | rm lf | * |  | 0.602 | 0.93739 | 5 |  |  | 9 | -12.2 | n |  | 6.1 | none | 18 | none | 4.5
2025-02-06 | 37 | 1143 | ALW | rm lf | * |  | 0.609 | 0.93679 | 5 |  |  | 9 | -12.2 | n |  | 6.1 | none | 18 | none | 4.5
2025-02-07 | 38 | - | ALW | - | * | 5.01 hPa | - | - | - |  |  | - | - | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-02-08 | 39 | 1806 | ALW | rm lf | * | 10.9 | 0.607 | 0.93156 | 5 |  |  | 8 | -12.2 | n | - | 6.2 | none | 18 | none | 4.5 | -
2025-02-09 | 40 | - | ALW | - | * | - | - | - | - |  |  | - | - | - | - | - | - | - | - | - |  | Con1- did not go to AWO
2025-02-10 | 41 | - | ALW | - | * | - | - | - | - |  |  | - | - | - | - | - | - | - | - | - |  | ICEsat- did not go to AWO
2025-02-11 | 42 | 1351 | ALW | rm lf | * | 11.2 | 0.603 | 0.92683 | 5 |  |  | 4 | -12.2 | y |  | 6.3 | none | 18 | none | 4.5 | pass
2025-02-12 | 43 | 1059 | ALW | rm lf | * | 11.3 | 0.61 | 0.92505 | 5 |  |  | 14 | -12.2 | n |  | 6.3 | none | 18 | none | 4.5
2025-02-13 | 44 | 1734 | ALW | rm lf | * | 11.3 | 0.608 | 0.92328 | 5 |  |  | 34 | -12.2 | n |  | 6.2 | none | 18 | none | 4.5
2025-02-14 | 45 | 1422 | AR | rm lf | * | 11.3 | 0.608 | 0.91338 | 5 |  |  | 22 | -12.2 | n |  | 6.2 | none | 18 | none | 4.5 | pass
2025-02-15 | 46 | - | - | - | * | - | - | - | - |  |  | - | - | - | - | - | - | - | - | - | - | ICEsat- did not go to AWO
2025-02-16 | 47 | 1606 | AR | rm lf | * | 9.497 | 0.601 | 0.90877 | 5 |  |  | 36 | -12.2 | n |  | 6.2 | none | 18 | none | 4.5 | pass
2025-02-17 | 48 | 1345 | AR | rm lf | * | 9.398 | 0.595 | 0.90374 | 5 |  |  | 92 | -12.2 | y | - | 6.2 | none | 18 | none | 4.5 | -
2025-02-18 | 49 | 1334 | AR | rm lf | * | 9.262 | 0.585 | 0.89212 | 5 |  |  | 88 | -12.2 | n | - | 6.2 | none | 18 | none | 4.5
2025-02-19 | 50 | 1812 | AR | rm lf | * | 9.006 | 0.566 | 0.8012 | 5 |  |  | 99 | -12.2 | n | - | 6.2 | none | 18 | none | 4.5
2025-02-20 | 51 | 1910 | ALW | rm lf | * | 8.89 | 0.603 | 0.79659 | 5 |  |  | 68 | -12.2 | n |  | 6.2 | none | 18 | none | 4.5 |  | Power outage today from 0046-1147Z. Forge acquisition restarted at 1530Z.
2025-02-21 | 52 | 1448 | AR | rm lf | * | 8.843 | 0.603 | 0.79354 | 5 |  |  | 44 | -12.2 | n | - | 6.2 | none | 18 | none | 4.5 | -
2025-02-22 | 53 | 1414 | AR | rm lf | * | 7.555 | 0.6 | 0.79111 | 5 |  |  | 20 | -12.2 | n | - | 6.5 | none | 16 | none | 4.2 |  | Inlet head removed and cleaned from 1117-1343Z. Pump was unpluged, instruments still adjusting
2025-02-23 | 54 | 1308 | AR | rm lf | * | 8.247 | 0.599 | 0.78977 | 5 |  |  | 20 | -12.2 | n | - | 6.5 | none | 16 | none | 4.2 | -
2025-02-24 | 55 | 1549 | AR | rm lf | * | 8.285 | 0.612 | 0.78797 | 5 |  |  | 21 | -12.2 | y | - | 6.5 | none | 16 | none | 4.4 | pass
2025-02-25 | 56 | - | - | - | * | - | - | - | - |  |  | - | - | - | - | - | - | - | - | - | - | Pump failure 0608Z
2025-02-26 | 57 | 1526 | AR | rm lf | * | 6.289 | 0.461 | 0.7865 | 5 |  |  | 0 | -12.2 | n | - | 6 | none | 10 | none | 2.2 | - | Spare pump (carbon vane, Gast model 0211-VI03A-G8C , 30 vlpm) plugged in at 1258Z
2025-02-27 | 58 | 1258 | AR | rm lf |  | 6.281 | 0.467 | 0.78611 | 5 |  |  | 0 | -12.2 | n | - | 6 | none | 10 | none | 2.2 | -
2025-02-28 | 59 | 1146 | AR | - |  | 9.154 | 0.599 | 0.7843 | 5 |  |  | 5.3 | -12.2 | - | - | 6 | none | - | none | - | - | Con 1- did not go to AWO
2025-03-01 | 60 | 1253 | AR | rm lf |  | 9.13 | 0.603 | 0.78069 | 5 |  |  | 4 | -12.2 | n | - | 6 | none | 18 | none | 4.5 | -
2025-03-02 | 61 | 1548 | AR | rm lf | * | 9.094 | 0.601 | 0.77806 | 5 |  |  | 1 | -12.2 | n | - | 6 | none | 18 | none | 4.5 | -
2025-03-03 | 62 | 1513 | AR | rm lf | * | 9.103 | 0.607 | 0.77601 | 5 |  |  | 9 | -12.2 | n | - | 6 | none | 18 | none | 4.5 | -
2025-03-04 | 63 | 1535 | AR | rm lf | * | 9.075 | 0.603 | 0.77389 | 5 |  |  | 18 | -12.2 | y |  | 6 | none | 18 | none | 4.5 | pass
2025-03-05 | 64 | 1755 | AR | - | * | 9.19 | 0.61 | 0.77227 | 5 |  |  | 23 | -12.2 | n | - | 6 | none | - | none | - | - | ICEsat- did not go to AWO
2025-03-06 | 65 | 1327 | AR | rm lf | * | 9.244 | 0.602 | 0.77065 | 5 |  |  | 25 | -12.2 | n | - | 6 | none | 18 | none | 4.5 | -
2025-03-07 | 66 | 1713 | AR | rm lf | * | 9.328 | 0.606 | 0.76036 | 5 |  |  | 22 | -12.2 | n | Ecotech: 2.3% | 6 | none | 18 | none | 4.5 | -
2025-03-08 | 67 | 1137 | AR | rm lf | * | 9.365 | 0.609 | 0.75527 | 5 |  |  | 38 | -12.2 | n | - | 6 | none | 18 | none | 4.5 | -
2025-03-09 | 68
2025-03-10 | 69
2025-03-11 | 70
2025-03-12 | 71
2025-03-13 | 72
2025-03-14 | 73
2025-03-15 | 74
2025-03-16 | 75
2025-03-17 | 76
2025-03-18 | 77
2025-03-19 | 78
2025-03-20 | 79
2025-03-21 | 80
2025-03-22 | 81
2025-03-23 | 82
2025-03-24 | 83
2025-03-25 | 84
2025-03-26 | 85
2025-03-27 | 86
2025-03-28 | 87
2025-03-29 | 88
2025-03-30 | 89
2025-03-31 | 90
2025-04-01 | 91
2025-04-02 | 92
2025-04-03 | 93
2025-04-04 | 94
2025-04-05 | 95
2025-04-06 | 96
2025-04-07 | 97
2025-04-08 | 98
2025-04-09 | 99
2025-04-10 | 100
2025-04-11 | 101
2025-04-12 | 102
2025-04-13 | 103
2025-04-14 | 104
2025-04-15 | 105
2025-04-16 | 106
2025-04-17 | 107
2025-04-18 | 108
2025-04-19 | 109
2025-04-20 | 110
2025-04-21 | 111
2025-04-22 | 112
2025-04-23 | 113
2025-04-24 | 114
2025-04-25 | 115
2025-04-26 | 116
2025-04-27 | 117
2025-04-28 | 118
2025-04-29 | 119
2025-04-30 | 120
2025-05-01 | 121
2025-05-02 | 122
2025-05-03 | 123
2025-05-04 | 124
2025-05-05 | 125
2025-05-06 | 126
2025-05-07 | 127
2025-05-08 | 128
2025-05-09 | 129
2025-05-10 | 130
2025-05-11 | 131
2025-05-12 | 132
2025-05-13 | 133
2025-05-14 | 134
2025-05-15 | 135
2025-05-16 | 136
2025-05-17 | 137
2025-05-18 | 138
2025-05-19 | 139
2025-05-20 | 140
2025-05-21 | 141
2025-05-22 | 142
2025-05-23 | 143
2025-05-24 | 144
2025-05-25 | 145
2025-05-26 | 146
2025-05-27 | 147
2025-05-28 | 148
2025-05-29 | 149
2025-05-30 | 150
2025-05-31 | 151
2025-06-01 | 152
2025-06-02 | 153
2025-06-03 | 154
2025-06-04 | 155
2025-06-05 | 156
2025-06-06 | 157
2025-06-07 | 158
2025-06-08 | 159
2025-06-09 | 160
2025-06-10 | 161
2025-06-11 | 162
2025-06-12 | 163
2025-06-13 | 164
2025-06-14 | 165
2025-06-15 | 166
2025-06-16 | 167
2025-06-17 | 168
2025-06-18 | 169
2025-06-19 | 170
2025-06-20 | 171
2025-06-21 | 172
2025-06-22 | 173
2025-06-23 | 174
2025-06-24 | 175
2025-06-25 | 176
2025-06-26 | 177
2025-06-27 | 178
2025-06-28 | 179
2025-06-29 | 180
2025-06-30 | 181
2025-07-01 | 182
2025-07-02 | 183
2025-07-03 | 184
2025-07-04 | 185
2025-07-05 | 186
2025-07-06 | 187
2025-07-07 | 188
2025-07-08 | 189
2025-07-09 | 190
2025-07-10 | 191
2025-07-11 | 192
2025-07-12 | 193
2025-07-13 | 194
2025-07-14 | 195
2025-07-15 | 196
2025-07-16 | 197
2025-07-17 | 198
2025-07-18 | 199
2025-07-19 | 200
2025-07-20 | 201
2025-07-21 | 202
2025-07-22 | 203
2025-07-23 | 204
2025-07-24 | 205
2025-07-25 | 206
2025-07-26 | 207
2025-07-27 | 208
2025-07-28 | 209
2025-07-29 | 210
2025-07-30 | 211
2025-07-31 | 212
2025-08-01 | 213
2025-08-02 | 214
2025-08-03 | 215
2025-08-04 | 216
2025-08-05 | 217
2025-08-06 | 218
2025-08-07 | 219
2025-08-08 | 220
2025-08-09 | 221
2025-08-10 | 222
2025-08-11 | 223
2025-08-12 | 224
2025-08-13 | 225
2025-08-14 | 226
2025-08-15 | 227
2025-08-16 | 228
2025-08-17 | 229
2025-08-18 | 230
2025-08-19 | 231
2025-08-20 | 232
2025-08-21 | 233
2025-08-22 | 234
2025-08-23 | 235
2025-08-24 | 236
2025-08-25 | 237
2025-08-26 | 238
2025-08-27 | 239
2025-08-28 | 240
2025-08-29 | 241
2025-08-30 | 242
2025-08-31 | 243
2025-09-01 | 244
2025-09-02 | 245
2025-09-03 | 246
2025-09-04 | 247
2025-09-05 | 248
2025-09-06 | 249
2025-09-07 | 250
2025-09-08 | 251
2025-09-09 | 252
2025-09-10 | 253
2025-09-11 | 254
2025-09-12 | 255
2025-09-13 | 256
2025-09-14 | 257
2025-09-15 | 258
2025-09-16 | 259
2025-09-17 | 260
2025-09-18 | 261
2025-09-19 | 262
2025-09-20 | 263
2025-09-21 | 264
2025-09-22 | 265
2025-09-23 | 266
2025-09-24 | 267
2025-09-25 | 268
2025-09-26 | 269
2025-09-27 | 270
2025-09-28 | 271
2025-09-29 | 272
2025-09-30 | 273
2025-10-01 | 274
2025-10-02 | 275
2025-10-03 | 276
2025-10-04 | 277
2025-10-05 | 278
2025-10-06 | 279
2025-10-07 | 280
2025-10-08 | 281
2025-10-09 | 282
2025-10-10 | 283
2025-10-11 | 284
2025-10-12 | 285
2025-10-13 | 286
2025-10-14 | 287
2025-10-15 | 288
2025-10-16 | 289
2025-10-17 | 290
2025-10-18 | 291
2025-10-19 | 292
2025-10-20 | 293
2025-10-21 | 294
2025-10-22 | 295
2025-10-23 | 296
2025-10-24 | 297
2025-10-25 | 298
2025-10-26 | 299
2025-10-27 | 300
2025-10-28 | 301
2025-10-29 | 302
2025-10-30 | 303
2025-10-31 | 304
2025-11-01 | 305
2025-11-02 | 306
2025-11-03 | 307
2025-11-04 | 308
2025-11-05 | 309
2025-11-06 | 310
2025-11-07 | 311
2025-11-08 | 312
2025-11-09 | 313
2025-11-10 | 314
2025-11-11 | 315
2025-11-12 | 316
2025-11-13 | 317
2025-11-14 | 318
2025-11-15 | 319
2025-11-16 | 320
2025-11-17 | 321
2025-11-18 | 322
2025-11-19 | 323
2025-11-20 | 324
2025-11-21 | 325
2025-11-22 | 326
2025-11-23 | 327
2025-11-24 | 328
2025-11-25 | 329
2025-11-26 | 330
2025-11-27 | 331
2025-11-28 | 332
2025-11-29 | 333
2025-11-30 | 334
2025-12-01 | 335
2025-12-02 | 336
2025-12-03 | 337
2025-12-04 | 338
2025-12-05 | 339
2025-12-06 | 340
2025-12-07 | 341
2025-12-08 | 342
2025-12-09 | 343
2025-12-10 | 344
2025-12-11 | 345
2025-12-12 | 346
2025-12-13 | 347
2025-12-14 | 348
2025-12-15 | 349
2025-12-16 | 350
2025-12-17 | 351
2025-12-18 | 352
2025-12-19 | 353
2025-12-20 | 354
2025-12-21 | 355
2025-12-22 | 356
2025-12-23 | 357
2025-12-24 | 358
2025-12-25 | 359
2025-12-26 | 360
2025-12-27 | 361
2025-12-28 | 362
2025-12-29 | 363
2025-12-30 | 364
2025-12-31 | 365
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If >12, inlet is likely clogged. Remove pot and add to flux master log.
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: A11 GMD CLAP Box: Flow (Between 0.59-0.61 lpm)
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Green Transmittance: (When it drops below 0.7 it should change to a new spot) Reply: Has a total of 8 spots. Filter should be changed when spot 8 is nearing 0.7.
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Spot
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Concentration
Note on L1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dewpoint
Note on M1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Concentration Reply: Per Erin/PI: above 0 is normal. Concentration seems to trend lower in the winter. If hits 0, ask Erin and consider opening the lines to room air (search concentration in email and consult Erin)
Note on N1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dewpoint
Note on P1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Alternate between Nephelometers so that each neph gets a span check every other month but you complete a span check every month. Per protocol
Note on Q1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: S11 TSI Box: Lamp (A)
Note on R1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Flags
Note on S1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: On physical Neph stucture Reply: Per protocol. 18 is marked with sharpie.
Note on T1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check the flag status on Forge (computer)
Note on U1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check rotameter on Ecotech. Okay if it changes 5> flow >4. Per protocol.
Note on V1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check sys status on ecotech screen, verify everything is “pass”

## Surface Ozone
Date | Julian Day | Time (UTC) | Observer's Initials | Inlet | Panel Display (30-70 ppb) | Bench Temp (20-40C) | Pressure (533-1040 hPa) | Flow rate (LPM) (0.4-0.9) | Flow rate (LPM) (0.4-0.9) | Intensity Cell A (65,000- 120,000Hz) | Intensity Cell B (65,000- 120,000Hz) | Comments (Alarms, Calibration Levels...)
2025-01-01 | 1 | 1602 | ALW | rm lf | 42.52 | 32.5 | 676.2 | 0.472 | 0.506 | 78098 | 93352 | Replaced filter @ 1512Z
2025-01-02 | 2 | 1553 | ALW | rm lf | 47.19 | 34 | 676.7 | 0.471 | 0.506 | 78721 | 94075
2025-01-03 | 3 | - | ALW | - | - | - | - | - | - | - | - | Icesat- did not go to AWO
2025-01-04 | 4 | 1348 | ALW | rm lf | 35.82 | 34 | 677.4 | 0.472 | 0.507 | 78638 | 93970
2025-01-05 | 5 | 1527 | ALW | rm lf | 41.47 | 34.2 | 676.9 | 0.472 | 0.506 | 78726 | 94058
2025-01-06 | 6 | 1702 | ALW | rm lf | 50.51 | 34.6 | 675.7 | 0.471 | 0.505 | 78859 | 94176
2025-01-07 | 7 | 1848 | ALW | rm lf | 44.16 | 33.8 | 677.4 | 0.472 | 0.507 | 78663 | 93966 | Surface Ozone Calibration: 1508-1610Z. Z: 0.5, L1: 169.2, L2: 42.3.
2025-01-08 | 8 | 1746 | ALW | - | 47.52 | 34.2 | 671.3 | 0.469 | 0.504 | 78623 | 93899
2025-01-09 | 9 | 1545 | ALW | rm lf | 42.31 | 33.8 | 660.9 | 0.464 | 0.5 | 78562 | 93850
2025-01-10 | 10 | - | ALW | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-01-11 | 11 | 1253 | ALW | rm lf | 46.28 | 31.8 | 664.5 | 0.467 | 0.501 | 77971 | 93155
2025-01-12 | 12 | 1300 | ALW | rm lf | 48.9 | 34.7 | 657.3 | 0.462 | 0.497 | 78835 | 94069
2025-01-13 | 13 | 1557 | ALW | rm lf | 41.77 | 34.2 | 655.4 | 0.462 | 0.497 | 78595 | 93811
2025-01-14 | 14 | 1448 | ALW | rm lf | 47.17 | 34.2 | 653.7 | 0.461 | 0.496 | 78652 | 93844 | Orange cap found on the ground 1345Z, windy-did not go to roof
2025-01-15 | 15 | 1623 | ALW | rm lf | 47.07 | 34 | 649.3 | 0.459 | 0.494 | 78627 | 93786
2025-01-16 | 16 | - | ALW | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-01-17 | 17 | - | ALW | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-01-18 | 18 | 1245 | ALW | rm lf | 39.75 | 28.8 | 669.5 | 0.47 | 0.505 | 77121 | 92023
2025-01-19 | 19 | 1526 | ALW | rm lf | 50.24 | 33.8 | 676.5 | 0.471 | 0.506 | 78397 | 93434
2025-01-20 | 20 | 1501 | ALW | rm lf | 43.85 | 33.8 | 675.4 | 0.471 | 0.507 | 78387 | 93461
2025-01-21 | 21 | 1247 | ALW | rm lf | 43.83 | 33.6 | 669.7 | 0.469 | 0.503 | 78364 | 93392 | Surface zone Calibration 1330-1415Z. Z: 0.2, L1: 169.6, L2: 42.9.
2025-01-22 | 22 | 1540 | ALW | rm lf | 45.96 | 34.3 | 665.9 | 0.467 | 0.503 | 78149 | 93400 | Replaced filter at 1821Z due to high wids the previous day.
2025-01-23 | 23 | 1605 | ALW | rm lf | 43.54 | 34.5 | 659.7 | 0.464 | 0.499 | 78579 | 93592
2025-01-24 | 24 | 1305 | ALW | rm lf | 46.33 | 34.8 | 657.9 | 0.463 | 0.498 | 78730 | 93745
2025-01-25 | 25 | 1142 | ALW | rm lf | 48.54 | 35.1 | 659.8 | 0.464 | 0.499 | 78848 | 93870
2025-01-26 | 26 | 1416 | ALW | rm lf | 46.59 | 34.7 | 660.7 | 0.465 | 0.5 | 78527 | 93554
2025-01-27 | 27 | 1453 | ALW | rm lf | 40.72 | 31.9 | 658.3 | 0.464 | 0.499 | 77818 | 92732
2025-01-28 | 28 | 1520 | ALW | rm lf | 33.27 | 34.7 | 659.1 | 0.464 | 0.499 | 78566 | 93521 | Surface Ozone calibration 1604-1650Z. Z: 1.4, L1: 170.4, L2: 42.9.
2025-01-29 | 29 | 1621 | ALW | - | 37.02 | 34.1 | 663 | 0.466 | 0.501 | 78262 | 93133 | Too windy to go to roof
2025-01-30 | 30 | 1304 | ALW | rm lf | 43.73 | 34.5 | 662.1 | 0.465 | 0.501 | 78577 | 93509
2025-01-31 | 31 | 1330 | ALW | rm lf | 39.95 | 34.3 | 660.5 | 0.464 | 0.5 | 78395 | 93287 | Candy cane installed 1540Z
2025-02-01 | 32 | - | ALW | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-02-02 | 33 | 1513 | ALW | rm lf | 42.95 | 34.6 | 653.1 | 0.461 | 0.496 | 78529 | 93397
2025-02-03 | 34 | 1417 | ALW | rm lf | 43.17 | 34.1 | 654.7 | 0.461 | 0.497 | 78310 | 93159 | Surface Ozone Calibration 1510-1556Z. Z: 0.0, L1: 169.2, L2: 42.5.
2025-02-04 | 35 | - | ALW | - | - | - | - | - | - | - | - | ICEsat- did not go to AWO
2025-02-05 | 36 | 1624 | ALW | rm lf | 42.61 | 35.6 | 639.4 | 0.454 | 0.489 | 78724 | 93543
2025-02-06 | 37 | 1142 | ALW | rm lf | 42.8 | 34.2 | 642.3 | 0.456 | 0.491 | 78386 | 93187
2025-02-07 | 38 | - | ALW | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-02-08 | 39 | 1809 | ALW | rm lf | 30.72 | 31.2 | 663.4 | 0.466 | 0.501 | 77507 | 92186
2025-02-09 | 40 | - | ALW | - | - | - | - | - | - | - | - | Con 1- did not go to AWO
2025-02-10 | 41 | 1606 | ALW | - | - | - | - | - | - | - | - | Icesat- did not go to AWO
2025-02-11 | 42 | 1441 | ALW | rm lf | 40.98 | 34.7 | 681.8 | 0.475 | 0.51 | 78243 | 92918 | Surface Ozone Calibration: 11312-1359Z. Z: 0.4, L1: 170.0, L2: 42.7.
2025-02-12 | 43 | 1107 | ALW | rm lf | 45.35 | 34.9 | 691.4 | 0.478 | 0.513 | 78483 | 93143
2025-02-13 | 44 | 1752 | ALW | rm lf | 48.75 | 34.6 | 690.6 | 0.478 | 0.513 | 78423 | 93122
2025-02-14 | 45 | 1428 | AR | rm lf | 44.27 | 34.7 | 692.1 | 0.48 | 0.514 | 78406 | 93070
2025-02-15 | 46 | - | - | - | - | - | - | - | - | - | - | Icesat- did not go to AWO
2025-02-16 | 47 | 1603 | AR | rm lf | 45.1 | 34.6 | 689.7 | 0.479 | 0.513 | 78300 | 92903
2025-02-17 | 48 | 1353 | AR | rm lf | 48.03 | 34.4 | 685.5 | 0.477 | 0.511 | 78208 | 92817 | Surface Ozone Calibration 1826-1911Z. Z: 0.1, L1: 170.6, L2: 43.7.
2025-02-18 | 49 | 1337 | AR | rm lf | 51.15 | 34.9 | 676.6 | 0.472 | 0.507 | 78372 | 92958
2025-02-19 | 50 | 1816 | AR | rm lf | 52.11 | 35.1 | 667.7 | 0.468 | 0.503 | 78456 | 93028
2025-02-20 | 51 | 1913 | ALW | rm lf | 51.54 | 34.7 | 658.9 | 0.462 | 0.497 | 78297 | 92754 | Power outage today from 0046-1147Z. Forge acquisition restarted at 1530Z.
2025-02-21 | 52 | 1448 | AR | rm lf | 50.73 | 32.2 | 660.5 | 0.464 | 0.499 | 77838 | 92245
2025-02-22 | 53 | 1413 | AR | rm lf | 48.92 | 34.7 | 649.7 | 0.458 | 0.493 | 78120 | 92536
2025-02-23 | 54 | 1313 | AR | rm lf | 48.4 | 35.1 | 652.3 | 0.459 | 0.494 | 78226 | 92657
2025-02-24 | 55 | 1513 | AR | rm lf | 47.17 | 35.2 | 653.5 | 0.46 | 0.495 | 78344 | 92760 | Surface Ozone Calibration 1547-1634Z Z: 0.1, L1:169.8, L2:42.9
2025-02-25 | 56 | - | AR | rm lf | - | - | - | - | - | - | -
2025-02-26 | 57 | 1533 | AR | rm lf | 43.14 | 35.1 | 659 | 0.463 | 0.498 | 78221 | 92630
2025-02-27 | 58 | 1300 | AR | rm lf | 42.47 | 34.9 | 657 | 0.462 | 0.498 | 78164 | 92577
2025-02-28 | 59 | 1149 | AR | - | 43.35 | 31.9 | 654.9 | 0.462 | 0.497 | 77253 | 91521 | Con 1- did not go to AWO
2025-03-01 | 60 | 1256 | AR | rm lf | 44.51 | 34.9 | 659.9 | 0.463 | 0.499 | 78159 | 92501
2025-03-02 | 61 | 1550 | AR | rm lf | 43.66 | 34.8 | 656.5 | 0.461 | 0.497 | 78057 | 92370
2025-03-03 | 62 | 1532 | AR | rm lf | 46.48 | 34.9 | 660.1 | 0.463 | 0.498 | 78252 | 92534
2025-03-04 | 63 | 1534 | AR | rm lf | 44.54 | 35.2 | 656.3 | 0.461 | 0.497 | 78275 | 92591
2025-03-05 | 64 | 1757 | AR | - | 43.43 | 34.9 | 662.9 | 0.465 | 0.5 | 78136 | 92401 | ICEsat- did not go to AWO
2025-03-06 | 65 | 1330 | AR | rm lf | 43.34 | 34.9 | 666.1 | 0.466 | 0.502 | 78205 | 92459
2025-03-07 | 66 | 1715 | AR | rm lf | 41.38 | 34.9 | 670.3 | 0.468 | 0.503 | 78084 | 92288
2025-03-08 | 67 | 1139 | AR | rm lf | 43.27 | 35.1 | 672.5 | 0.469 | 0.504 | 77981 | 92188
2025-03-09 | 68
2025-03-10 | 69
2025-03-11 | 70
2025-03-12 | 71
2025-03-13 | 72
2025-03-14 | 73
2025-03-15 | 74
2025-03-16 | 75
2025-03-17 | 76
2025-03-18 | 77
2025-03-19 | 78
2025-03-20 | 79
2025-03-21 | 80
2025-03-22 | 81
2025-03-23 | 82
2025-03-24 | 83
2025-03-25 | 84
2025-03-26 | 85
2025-03-27 | 86
2025-03-28 | 87
2025-03-29 | 88
2025-03-30 | 89
2025-03-31 | 90
2025-04-01 | 91
2025-04-02 | 92
2025-04-03 | 93
2025-04-04 | 94
2025-04-05 | 95
2025-04-06 | 96
2025-04-07 | 97
2025-04-08 | 98
2025-04-09 | 99
2025-04-10 | 100
2025-04-11 | 101
2025-04-12 | 102
2025-04-13 | 103
2025-04-14 | 104
2025-04-15 | 105
2025-04-16 | 106
2025-04-17 | 107
2025-04-18 | 108
2025-04-19 | 109
2025-04-20 | 110
2025-04-21 | 111
2025-04-22 | 112
2025-04-23 | 113
2025-04-24 | 114
2025-04-25 | 115
2025-04-26 | 116
2025-04-27 | 117
2025-04-28 | 118
2025-04-29 | 119
2025-04-30 | 120
2025-05-01 | 121
2025-05-02 | 122
2025-05-03 | 123
2025-05-04 | 124
2025-05-05 | 125
2025-05-06 | 126
2025-05-07 | 127
2025-05-08 | 128
2025-05-09 | 129
2025-05-10 | 130
2025-05-11 | 131
2025-05-12 | 132
2025-05-13 | 133
2025-05-14 | 134
2025-05-15 | 135
2025-05-16 | 136
2025-05-17 | 137
2025-05-18 | 138
2025-05-19 | 139
2025-05-20 | 140
2025-05-21 | 141
2025-05-22 | 142
2025-05-23 | 143
2025-05-24 | 144
2025-05-25 | 145
2025-05-26 | 146
2025-05-27 | 147
2025-05-28 | 148
2025-05-29 | 149
2025-05-30 | 150
2025-05-31 | 151
2025-06-01 | 152
2025-06-02 | 153
2025-06-03 | 154
2025-06-04 | 155
2025-06-05 | 156
2025-06-06 | 157
2025-06-07 | 158
2025-06-08 | 159
2025-06-09 | 160
2025-06-10 | 161
2025-06-11 | 162
2025-06-12 | 163
2025-06-13 | 164
2025-06-14 | 165
2025-06-15 | 166
2025-06-16 | 167
2025-06-17 | 168
2025-06-18 | 169
2025-06-19 | 170
2025-06-20 | 171
2025-06-21 | 172
2025-06-22 | 173
2025-06-23 | 174
2025-06-24 | 175
2025-06-25 | 176
2025-06-26 | 177
2025-06-27 | 178
2025-06-28 | 179
2025-06-29 | 180
2025-06-30 | 181
2025-07-01 | 182
2025-07-02 | 183
2025-07-03 | 184
2025-07-04 | 185
2025-07-05 | 186
2025-07-06 | 187
2025-07-07 | 188
2025-07-08 | 189
2025-07-09 | 190
2025-07-10 | 191
2025-07-11 | 192
2025-07-12 | 193
2025-07-13 | 194
2025-07-14 | 195
2025-07-15 | 196
2025-07-16 | 197
2025-07-17 | 198
2025-07-18 | 199
2025-07-19 | 200
2025-07-20 | 201
2025-07-21 | 202
2025-07-22 | 203
2025-07-23 | 204
2025-07-24 | 205
2025-07-25 | 206
2025-07-26 | 207
2025-07-27 | 208
2025-07-28 | 209
2025-07-29 | 210
2025-07-30 | 211
2025-07-31 | 212
2025-08-01 | 213
2025-08-02 | 214
2025-08-03 | 215
2025-08-04 | 216
2025-08-05 | 217
2025-08-06 | 218
2025-08-07 | 219
2025-08-08 | 220
2025-08-09 | 221
2025-08-10 | 222
2025-08-11 | 223
2025-08-12 | 224
2025-08-13 | 225
2025-08-14 | 226
2025-08-15 | 227
2025-08-16 | 228
2025-08-17 | 229
2025-08-18 | 230
2025-08-19 | 231
2025-08-20 | 232
2025-08-21 | 233
2025-08-22 | 234
2025-08-23 | 235
2025-08-24 | 236
2025-08-25 | 237
2025-08-26 | 238
2025-08-27 | 239
2025-08-28 | 240
2025-08-29 | 241
2025-08-30 | 242
2025-08-31 | 243
2025-09-01 | 244
2025-09-02 | 245
2025-09-03 | 246
2025-09-04 | 247
2025-09-05 | 248
2025-09-06 | 249
2025-09-07 | 250
2025-09-08 | 251
2025-09-09 | 252
2025-09-10 | 253
2025-09-11 | 254
2025-09-12 | 255
2025-09-13 | 256
2025-09-14 | 257
2025-09-15 | 258
2025-09-16 | 259
2025-09-17 | 260
2025-09-18 | 261
2025-09-19 | 262
2025-09-20 | 263
2025-09-21 | 264
2025-09-22 | 265
2025-09-23 | 266
2025-09-24 | 267
2025-09-25 | 268
2025-09-26 | 269
2025-09-27 | 270
2025-09-28 | 271
2025-09-29 | 272
2025-09-30 | 273
2025-10-01 | 274
2025-10-02 | 275
2025-10-03 | 276
2025-10-04 | 277
2025-10-05 | 278
2025-10-06 | 279
2025-10-07 | 280
2025-10-08 | 281
2025-10-09 | 282
2025-10-10 | 283
2025-10-11 | 284
2025-10-12 | 285
2025-10-13 | 286
2025-10-14 | 287
2025-10-15 | 288
2025-10-16 | 289
2025-10-17 | 290
2025-10-18 | 291
2025-10-19 | 292
2025-10-20 | 293
2025-10-21 | 294
2025-10-22 | 295
2025-10-23 | 296
2025-10-24 | 297
2025-10-25 | 298
2025-10-26 | 299
2025-10-27 | 300
2025-10-28 | 301
2025-10-29 | 302
2025-10-30 | 303
2025-10-31 | 304
2025-11-01 | 305
2025-11-02 | 306
2025-11-03 | 307
2025-11-04 | 308
2025-11-05 | 309
2025-11-06 | 310
2025-11-07 | 311
2025-11-08 | 312
2025-11-09 | 313
2025-11-10 | 314
2025-11-11 | 315
2025-11-12 | 316
2025-11-13 | 317
2025-11-14 | 318
2025-11-15 | 319
2025-11-16 | 320
2025-11-17 | 321
2025-11-18 | 322
2025-11-19 | 323
2025-11-20 | 324
2025-11-21 | 325
2025-11-22 | 326
2025-11-23 | 327
2025-11-24 | 328
2025-11-25 | 329
2025-11-26 | 330
2025-11-27 | 331
2025-11-28 | 332
2025-11-29 | 333
2025-11-30 | 334
2025-12-01 | 335
2025-12-02 | 336
2025-12-03 | 337
2025-12-04 | 338
2025-12-05 | 339
2025-12-06 | 340
2025-12-07 | 341
2025-12-08 | 342
2025-12-09 | 343
2025-12-10 | 344
2025-12-11 | 345
2025-12-12 | 346
2025-12-13 | 347
2025-12-14 | 348
2025-12-15 | 349
2025-12-16 | 350
2025-12-17 | 351
2025-12-18 | 352
2025-12-19 | 353
2025-12-20 | 354
2025-12-21 | 355
2025-12-22 | 356
2025-12-23 | 357
2025-12-24 | 358
2025-12-25 | 359
2025-12-26 | 360
2025-12-27 | 361
2025-12-28 | 362
2025-12-29 | 363
2025-12-30 | 364
2025-12-31 | 365
1602
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: G81 Thermo Box: Ozone (ppb)
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample (C)
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample (hPa) Reply: If pressure off from atmospheric pressure, inlet is plugged
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cell A (lpm)
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cell B (lpm)
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cell A (Hz)
Note on L1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cell B (Hz)