## July
| MON | TUE | WED | THU | FRI | SAT | SUN
Local Day |  | 01.07.2014 | 02.07.2014 | 03.07.2014 | 04.07.2014 | 05.07.2014 | 07.07.2014
Julian Date (GMT) |  | 182 | 183 | 184 | 185 | 186 | 187
Time (GMT) |  | 1145 | 1251 | 1201 | 1200 | 1208 | 1246
Observer's Initials |  | SMC | DP | SMC | SMC | DP | DP
Sample inlet clear? | bar: 182 to 185; 187
Check Date/Time (GMT) | bar: 182 to 185; 187
Panel Readout BC ng/m3 |  | -36 | -58 | 29 | 34 | -74 | 61
Flow rate, lpm |  | 6.3 | 6.6 | 6.6 | 6.7 | 6.6 | 6.6
Check Disk |  | 4wk | 4wk | 4wk | 4wk | 4wk | 4wk
Weekly Data Transfer
Weekly Check Tape
| MON | TUE | WED | THU | FRI | SAT | SUN
Local Day | 07.07.2014 | 08.07.2014 | 09.07.2014 | 10.07.2014 | 11.07.2014 | 12.07.2014 | 13.07.2014
Julian Date (GMT) | 188 | 189 | 190 | 191 | 192 | 193 | 194
Time (GMT) | 1114 | 1216 | 1612 | 1144 | 1125 | 1617 | 2326
Observer's Initials | DP | SMC | SMC | DP | DP | SMC | SMC
Sample inlet clear? | x | bar: 182 to 187
Check Date/Time (GMT) | x | bar: 182 to 187
Panel Readout BC ng/m3 | 152 | -17 | -32 | -46 | 5 | -96 | -90
Flow rate, lpm | 6.7 | 6.7 | 6.5 | 6.6 | 6.7 | 6.5 | 6.5
Check Disk | 27d | 26d | 25d | 24d | 23d | 22d | 21d
Weekly Data Transfer | x
Weekly Check Tape | x
| MON | TUE | WED | THU | FRI | SAT | SUN
Local Day | 14.07.2014 | 15.07.2014 | 16.07.2014 | 17.07.2014 | 18.07.2014 | 19.07.2014 | 20.07.2014
Julian Date (GMT) | 195 | 196 | 197 | 198 | 199 | 200 | 201
Time (GMT) | 1129 | 1141 | 1636 | 1147 | 1520 | 1224 | 1601
Observer's Initials | DP | DP | DP | SMC | DP | SMC | DP
Sample inlet clear? | x | bar: 182 to 187
Check Date/Time (GMT) | x | bar: 182 to 187
Panel Readout BC ng/m3 | 0 | -7 | -42 | 24 | 7 | -50 | 20
Flow rate, lpm | 6.4 | 6.5 | 4.3 | 4.3 | 4.3 | 4.2 | 4.3
Check Disk | 20d | 19d | 18d | 17d | 16d | 15d | 14d
Weekly Data Transfer | x
Weekly Check Tape | x
| MON | TUE | WED | THU | FRI | SAT | SUN
Local Day | 21.07.2014 | 22.07.2014 | 23.07.2014 | 24.07.2014 | 25.07.2014 | 26.07.2014 | 27.07.2014
Julian Date (GMT) | 202 | 203 | 204 | 205 | 206 | 207 | 208
Time (GMT) | 1138 | 1044 | 1205 | 1459 | 1209 | 1131 | 1301
Observer's Initials | SMC | DP | SMC | DP | SMC | DP | DP
Sample inlet clear? | x | bar: 182 to 187
Check Date/Time (GMT) | x | bar: 182 to 187
Panel Readout BC ng/m3 | 129 | 57 | 94 | 19 | -32 | 61 | -17
Flow rate, lpm | 4.2 | 4.2 | 4.1 | 4.1 | 4.1 | 4.1 | 4.1
Check Disk | 13d | 12d | 11d | 10d | 9d | 8d | 7d
Weekly Data Transfer | x
Weekly Check Tape | x
| MON | 182: TUE; 183: WED; 184: THU
Local Day | 28.07.2014 | 182: 29.07.2014; 183: 30.07.2014; 184: 31.07.2014
Julian Date (GMT) | 209 | 182: 210; 183: 211; 184: 212
Time (GMT) | 1128 | 182: 1227; 183: 1330; 184: 1159
Observer's Initials | SMC | 182: SMC; 183: SMC; 184: DP
Sample inlet clear? | x | bar: 182 to 184
Check Date/Time (GMT) | x | bar: 182 to 184
Panel Readout BC ng/m3 | 191 | 182: 170; 183: 66; 184: -1
Flow rate, lpm | 4 | 182: 3.8; 183: 3.7; 184: 3.7
Check Disk | 6d | 182: 5d; 183: 4d; 184: 3d
Weekly Data Transfer | x
Weekly Check Tape | x

## August
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Sample inlet clear? | Check date/time (GMT) | Panel Readout BC ng/m3 | Flow rate, lpm | Check Disk | Weekly Data Transfer | Weekly Check tape
01.08.14 | 213 | 1623 | SMC | x | x | -35 | 3.7 | 52hrs
02.08.14 | 214 | 1130 | SMC | x | x | 118 | 3.6 | 32hrs |  |  | changed out disk
03.08.14 | 215 | 1711 | DP | x | x | 74 | did not display | did not display |  |  | air flow getting low
04.08.14 | 216 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
05.08.2014 | 217 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
06.08.2014 | 218 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
07.08.2014 | 219 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
08.08.2014 | 220 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
09.08.2014 | 221 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
10.08.2014 | 222 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
11.08.2014 | 223 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
12.08.2014 | 224 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
13.08.2014 | 225 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
14.08.2014 | 226 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
15.08.2014 | 227 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
16.08.2014 | 228 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
17.08.2014 | 229 | OFF | OFF | OFF | OFF | OFF | OFF | OFF
18.08.2014 | 230 | 1354 | DP | x | x | 72 | 5.1 | 8wk | N/A | x
19.08.2014 | 231 | 1135 | SMC | x | x | 79 | 5 | 8wk
20.08.2014 | 232 | 1624 | SMC | x | x | 45 | 5.3 | 8wk
21.08.2014 | 233 | 1630 | DP | x | x | 92 | 4.9 | 8wk
22.08.2014 | 234 | 1730 | SMC | x | x |  |  |  | turned off at 1731, pump failing
23.08.2014 | 235
24.08.2014 | 236
25.08.2014 | 237
26.08.2014 | 238
27.08.2014 | 239
28.08.2014 | 240
29.08.2014 | 241
30.08.2014 | 242
31.08.20143 | 243
16.10.2014 | 289 | 1430 | LR | ? |  | 127 | 7.5 |  |  |  | Restarted w/ new AE33 aethalometer.
17.10.2014 | 290 | 1235 | HJ |  |  | 0 | 8 |  |  |  | Restarted w/ new AE33 aethalometer inside air
18.10.2014 | 291 | 1347 | LR | x |  | 205/207 | 7.6/6.0 |  |  | x/x | sampling room air. Adding T to inlet.

## September
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Sample inlet clear? | Check date/time (GMT) | Panel Readout BC ng/m3 | Flow rate, lpm | Check Disk | Weekly Data Transfer | Weekly Check tape

## October
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Sample inlet clear? | Check date/time (GMT) | Panel Readout BC ng/m3 | Flow rate, lpm | Check Disk | Weekly Data Transfer | Weekly Check tape

## November
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Sample inlet clear? | Check date/time (GMT) | Panel Readout BC ng/m3 | Flow rate, lpm | Check Disk | Weekly Data Transfer | Weekly Check tape

## December
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Sample inlet clear? | Check date/time (GMT) | Panel Readout BC ng/m3 | Flow rate, lpm | Check Disk | Weekly Data Transfer | Weekly Check tape