## July
| MON | TUE | WED | THU | FRI | SAT | SUN
Local Day | 21.07.2014 | 22.07.2014 | 23.07.2014 | 24.07.2014 | 25.07.2014 | 26.07.2014 | 27.07.2014
Julian Date (GMT) | 202 | 203 | 204 | 205 | 206 | 207 | 208
Time (GMT) | 1143 | 1048 | 1207 | 1458 | 1219 | 1132 | 1304
Observer's Initials | SMC | DP | SMC | DP | SMC | DP | DP
Daily Checks
NOxIV computer running? | x | x | x | x | x | x | x
AI data values within range? | x | x | x | x | x | x | x
O2, NO and Air flows ok? | x | x | x | x | x | x | x
P0-air-O3 > P1-O2-O3 (~0.5) ? | x | x | x | x | x | x | x
Purge pump (~0.6 bar) | x | x | x | x | x | x | x
PMT cooler temperature (< -17C) | x | x | x | x | x | x | x
Tank Pressures (reg/tank)
NO Cal | 1190/24 | 1190/24 | 1190/24 | 1190/24 | 1190/24 | 1150/24 | 1150/24
Breathing Air | 2350/26 | 2350/26 | 2350/26 | 2350/26 | 2350/26 | 2350/26 | 2300/26
N2 Standard | 1450/10 | 1450/10 | 1250/10 | 1200/10 | 1100/10 | 1000/10 | 900/6
O2 1 | 1800/15 | 1800/15 | 1800/15 | 1700/15 | 1700/15 | 1550/15 | 1450/15
O2 2 | 100/18 | empty | empty | empty | empty | empty | empty
Spreadsheet on computer | x | x | x | x | x | x | x
Weekly Checks
Julian Date (GMT) | 202
Time (GMT) | 1150
Observer's Initials | DP
Oil level in vacuum pump? | x
Water in vac. pump exhaut? | N
Change cylinders if needed | x
| MON | TUE | WED | THU | FRI | SAT | SUN
Local Day | 28.07.14 | [6 empty] | *Turned off instrument, turned off pump, closed tanks
Julian Date (GMT) | 209
Time (GMT) | 1130
Observer's Initials | SMC
Daily Checks
NOxIV computer running? | x
AI data values within range? | x
O2, NO and Air flows ok? | x
P0-air-O3 > P1-O2-O3 (~0.5) ? | x
Purge pump (~0.6 bar) | x
PMT cooler temperature (< -17C) | x
Tank Pressures (reg/tank)
NO Cal | 1150/24
Breathing Air | 2300/26
N2 Standard | 800
O2 1 | 2200/15
O2 2 | empty
Spreadsheet on computer | x
Weekly Checks
Julian Date (GMT) | 209
Time (GMT) | 1152
Observer's Initials | DP/SMC
Oil level in vacuum pump? | x
Water in vac. pump exhaut? | x
Change cylinders if needed | x
Spreadsheet on computer
Weekly Checks
Julian Date (GMT)
Time (GMT)
Observer's Initials
Oil level in vacuum pump?
Water in vac. pump exhaut?
Change cylinders if needed

## August
Local Day | Julian Date | Time (GMT) | Observer's Initials | NOxIV computer running? | All data values within range? | O2, NO, and Air flows ok? | PO-air-O3>P1-O2-O3 (~0.5)? | Purge pump (~0.6 bar) | PMT cool temperature (<-17C) | NO Cal tank pressure | Breathing Air tank pressure | N2 Standard tank pressure | O2 1 tank pressure | O2 2 tank pressure | Notes | Weekly Checks | Oil level in vacuum pump? | Water in vac. Pump exhaust? | Change cylinders if needed.
05.08.2014 | 217 | 1242 | SMC | x | x | x | x | x | x | 1100/24 | 2100/26 | 600/10 | 1400/15 | 2000/18
06.08.2014 | 218 | 1138 | DP | x | x | x | x | x | x | 1100/24 | 2100/26 | 510/10 | 1390/15 | 1990/18 | Tightened needle valve on N2, it went down too much again…
07.08.2014 | 219 | 1120 | SMC | x | x | x | x | x | x | 1100/24 | 2100/26 | 500/10 | 1390/15 | 1980/18
09.08.2014 | 221 | 1221 | SMC | x | x | x | x | x | x | 1100/24 | 2050/26 | 500/10 | 1350/15 | 1700/18
10.08.2014 | 222 | 2023 | SMC | x | x | x | x | x | x | 1100/24 | 2000/26 | 500/10 | 1300/15 | 1700/18
11.08.2014 | 223 | 1204 | DP | x | x | x | x | x | x | 1100/24 | 2000/26 | 500/10 | 1300/15 | 1590/18
12.08.2014 | 224 | 1817 | SMC | x | x | x | x | x | x | 1100/24 | 2000/26 | 500/10 | 1300/15 | 1500/18
13.08.2014 | 225 | 1138 | SMC | x | x | x | x | x | x | 1090/24 | 2000/26 | 500/10 | 1300/15 | 1400/18
OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF
15.08.2014 | 227 | 1315 | DP | x | x | x | x | x | x | 1090/24 | 2000/26 | 500/10 | 1300/15 | 1300/18
17.08.2014 | 229 | 1553 | DP | x | x | x | x | x | x | 1090/24 | 2000/26 | 500/10 | 1250/15 | 1100/18
18.08.2014 | 230 | 1210 | SMC | x | x | x | x | x | x | 1050/24 | 1950/26 | 500/10 | 1250/15 | 1050/18 |  |  | x | x | x
19.08.2014 | 231 | 1140 | SMC | x | x | x | x | x | x | 1050/24 | 1950/26 | 500/10 | 1250/15 | 1050/18
20.08.2014 | 232 | 1614 | SMC | x | x | x | x | x | x | 1050/24 | 1950/26 | 500/10 | 1250/15 | 1000/18
21.08.2014 | 233 | 1622 | DP | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF
22.08.2014 | 234 | 1734 | SMC | x | x | x | x | x | x | 1050/24 | 1950/26 | 500/10 | 1250/15 | 790/18
23.08.20141 | 235 | 1232 | DP | x | x | x | x | x | x | 1050/24 | 1950/26 | 500/10 | 1250/15 | 700/18
24.08.2014 | 236 | 1806 | SMC | x | x | x |  | x | x | 1050/24 | 1950/26 | 500/10 | 1200/15 | 600/18 |  |  | x | x
25.08.2014 | 237 | 1125 | SMC | x | x | x | x | x | x | 1050/24 | 1950/26 | 500/10 | 1200/15 | 500/18
26.08.2014 | 238 | 1227 | SMC | x | x | x | x | x | x | 1000/24 | 1950/26 | 500/10 | 1200/15 | 450/18
27.08.2014 | 239 | 1231 | SMC | maintenance |  | re-seated comms connection &loosened n2 needle valve
28.08.2014 | 240 | 1749 | DP | x | x | x | x | x | x | 1000/24 | 1950/26 | 500/10 | 1190/15 | 450/18
29.08.2014 | 241 | 1227 | DP | x | x | x | x | x | x | 1000/24 | 1950/26 | 500/10 | 1190/15 | 350/18
30.08.2014 | 242 | 1212 | DP | maintenance | [5 empty] | 1000/24 | 1950/26 | 500/10 | 1190/15 | 250/18
31.08.2014 | 243 | 1429 | DP | not running

## September
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | NOxIV computer running? | All data values within range? | O2, NO, and Air flows ok? | PO-air-O3>P1-O2-O3 (~0.5)? | Purge pump (~0.6 bar) | PMT cool temperature (<-17C) | NO Cal tank pressure | Breathing Air tank pressure | N2 Standard tank pressure | O2 1 tank pressure | O2 2 tank pressure | Notes | Weekly Checks | Oil level in vacuum pump? | Water in vac. Pump exhaust? | Change cylinders if needed.
01.09.2014 | 244 |  |  | 4
02.09.2014 | 245 |  |  | not running
03.09.2014 | 246 | 1218 | DP | not running
04.09.2014 | 247 | 1125 | SMC | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1100/15 | 2100/16
05.09.2014 | 248 | 1230 | DP | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1100/15 | 1950/16
06.09.2014 | 249 | 1207 | SMC | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1100/15 | 1900/16
07.09.2014 | 250 | 1545 | SMC | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1100/15 | 1900/16
08.09.2014 | 251 | 1134 | SMC | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1100/15 | 1800/16 |  |  | x | x | x
09.09.2014 | 252 | 1146 | DP | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1100/15 | 1700/16
10.09.2014 | 253 | 1655 | SMC | x | x | x | x | x | x | 1000/24 | 1800/25 | 500/10 | 1000/15 | 1600/16
11.09.2014 | 254 | 1557 | SMC | x | x | x | x | x | x | 950/24 | 1800/25 | 500/10 | 1000/15 | 1500/16
12.09.2014 | 255 | 1140 | DP | x | x | x | x | x | x | 950/24 | 1700/25 | 500/10 | 900/15 | 1400/16
13.09.2014 | 256 | 1130 | SMC | x | x | x | x | x | x | 950/24 | 1700/25 | 500/10 | 900/15 | 1400/16
14.09.2014 | 257 | 1225 | DP | not running
15.09.2014 | 258 | 1123 | SMC | x | x | x | x | x | x | 950/24 | 1650/25 | 500/10 | 850/15 | 1400/16 |  |  | x | x
16.09.2014 | 259 | 1148 | DP | x | x | x | x | x | x | 950/24 | 1600/25 | 500/10 | 750/15 | 1300/16
17.09.2014 | 260 | 1925 | DP | x | x | x | x | x | x | 950/24 | 1600/25 | 500/10 | 750/15 | 1200/16 | Press-ZA-inlet number red
18.09.2014 | 261 | 1616 | DP | x | x | x | x | x | x | 950/24 | 1600/25 | 500/10 | 700/15 | 1150/16
19.09.2014 | 262 | 1515 | DP | x | x | x | x | x | x | 900/24 | 1590/25 | 500/10 | 690/15 | 1125/16
20.09.2014 | 263 | 1256 | SMC | x | x | x | x | x | x | 900/24 | 1590/25 | 500/10 | 600/15 | 1100/16
21.09.2014 | 264 | 1521 | SMC | x | x | x | x | x | x | 900/24 | 1590/25 | 500/10 | 600/15 | 1100/15
22.09.2014 | 265 | 1151 | SMC | x | x | x | x | x | x | 900/24 | 1590/25 | 500/10 | 550/15 | 1000/15 |  |  | x | x
23.09.2014 | 266 | 1103 | DP | x | x | x | x | x | x | 890/24 | 1550/25 | 500/10 | 500/15 | 950/15
24.09.2014 | 267 | 1528 | SMC | x | x | x | x | x | x | 890/24 | 1550/25 | 500/10 | 400/15 | 900/16
25.09.2014 | 268 | 1551 | DP | x | x | x | x | x | x | 890/24 | 1500/25 | 500/10 | 400/15 | 850/16
26.09.2014 | 269 | 1619 | DP | x | x | x | x | x | x | 850/24 | 1500/25 | 500/10 | 300/15 | 800/16
27.09.2014 | 270 | 1142 | SMC | x | x | x | x | x | x | 850/24 | 1500/25 | 500/10 | 300/15 | 800/16
28.09.2014 | 271 | 1252 | DP | x | x | x | x | x | x | 850/24 | 1400/25 | 500/10 | 250/15 | 700/16
29.09.2014 | 272 | 1128 | SMC | x | x | x | x | x | x | 850/24 | 1400/25 | 500/10 | 190/15 | 600/16 |  |  | x | x | x
30.09.2014 | 273 | 1134 | SMC | x | x | x | x | x | x | 850/24 | 1400/25 | 500/10 | 2150/15 | 550/16

## October
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | NOxIV computer running? | All data values within range? | O2, NO, and Air flows ok? | PO-air-O3>P1-O2-O3 (~0.5)? | Purge pump (~0.6 bar) | PMT cool temperature (<-17C) | NO Cal tank pressure | Breathing Air tank pressure | N2 Standard tank pressure | O2 1 tank pressure | O2 2 tank pressure | Notes | Weekly Checks | Oil level in vacuum pump? | Water in vac. Pump exhaust? | Change cylinders if needed.
2014-10-01 | 274 | 1241 | DP | x | x | x | x | x | x | 825/24 | 1400/25 | 500/10 | 2150/15 | 400/16
2014-10-02 | 275 | 1557 | SMC | x | x | x | x | x | x | 825/24 | 1400/25 | 500/10 | 2150/15 | 400/16
2014-10-03 | 276 | 1134 | DP | x | x | x | x | x | x | 825/24 | 1350/25 | 500/10 | 2100/15 | 250/16
2014-10-04 | 277 | 1219 | SMC | x | x | x | x | x | x | 825/24 | 1300/25 | 500/10 | 2100/15 | 2100/16 | *changed tank
2014-10-05 | 278 | 1744 | SMC | x | x | x | x | x | x | 825/24 | 1300/25 | 500/10 | 2100/15 | 2050/16
2014-10-06 | 279 | 1155 | DP | x | x | x | x | x | x | 800/24 | 1300/25 | 500/10 | 2100/15 | 2050/16 |  |  | x | x | x
2014-10-07 | 280 | 1234 | DP | x | x | x | x | x | x | 750/24 | 1300/25 | 500/10 | 2100/15 | 2000/16
2014-10-08 | 281 | 1536 | SMC | x | x | x | x | x | x | 750/24 | 1300/25 | 500/10 | 2100/15 | 2000/16
2014-10-09 | 282 | 1818 | SMC | x | x | x | x | x | x | 750/24 | 1250/25 | 500/10 | 2100/15 | 1800/16
2014-10-10 | 283 | 1526 | DP | x | x | x | x | x | x | 750/24 | 1250/25 | 500/10 | 2100/15 | 1700/16
2014-10-11 | 284 | 1308 | HJ | x | X | X | X | X | X | 750/24 | 1220/25 | 500/10 | 2100/15 | 1600/16
2014-10-12 | 285 | 1425 | HJ | x | x | x | x | x | x | 700/24 | 1200/25 | 500/10 | 2100/15 | 1550/17
2014-10-13 | 286 | 1133 | HJ | x | x | x | x | x | x | 700/24 | 1200/25 | 500/10 | 2050/12 | 1450/15 |  |  | x | x | n/a
2014-10-14 | 287 | 1121 | DP | x | x | x | x | x | x | 700/24 | 1200/25 | 500/10 | 2050/12 | 1450/15
2014-10-15 | 288 | 1236 | HJ | x | x | x | x | x | x | 700/24 | 1100/25 | 500/10 | 2000/12 | 1250/14 | power outage for turnover prior to readings (1215-1230UTC)
2014-10-16 | 289 | 1300 | LR | x | x | x | x | x | x | 700/24 | 1100/25 | 400/10 | 1900/12 | 1100/14
2014-10-17 | 290 | 1213 | HJ | x | x | x | x | x | x | 700/24 | 1050/24 | 500/10 | 1800/12 | 1000/14
2014-10-18 | 291 | 1400 | LR | x | x | x | x | x | x | 700/24 | 1100/25 | 500/10 | 2000/12 | 1000/14
2014-10-19 | 292
2014-10-20 | 293
2014-10-21 | 294
2014-10-22 | 295
2014-10-23 | 296
2014-10-24 | 297
2014-10-25 | 298
2014-10-26 | 299
2014-10-27 | 300
2014-10-28 | 301
2014-10-29 | 302
2014-10-30 | 303
2014-10-31 | 304

## November
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | NOxIV computer running? | All data values within range? | O2, NO, and Air flows ok? | PO-air-O3>P1-O2-O3 (~0.5)? | Purge pump (~0.6 bar) | PMT cool temperature (<-17C) | NO Cal tank pressure | Breathing Air tank pressure | N2 Standard tank pressure | O2 1 tank pressure | O2 2 tank pressure | Notes | Weekly Checks | Oil level in vacuum pump? | Water in vac. Pump exhaust? | Change cylinders if needed.

## December
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | NOxIV computer running? | All data values within range? | O2, NO, and Air flows ok? | PO-air-O3>P1-O2-O3 (~0.5)? | Purge pump (~0.6 bar) | PMT cool temperature (<-17C) | NO Cal tank pressure | Breathing Air tank pressure | N2 Standard tank pressure | O2 1 tank pressure | O2 2 tank pressure | Notes | Weekly Checks | Oil level in vacuum pump? | Water in vac. Pump exhaust? | Change cylinders if needed.