## July
| MON | TUE | WED | THUR | FRI | SAT | SUN
Local Day |  | 01.07.2014 | 02.07.2014 | 03.07.2014 | 04.07.2014 | 05.07.2014 | 06.07.2014
Julian Date (GMT) |  | 182 | 183 | 184 | 185 | 186 | 187
Time (GMT) |  | 1146 | 1252 | 1209 | 1200 | 1209 | 1247
Observer's Initials |  | SMC | DP | SMC | SMC | DP | DP
Daily Checks
Inlet | bar: 182 to 185; 187
Panel Display |  | 43.1 | 39.1 | 43.4 | 39.2 | 38.8 | 42.6
Bench Temp C◦ |  | 36.8 | 36.3 | 36.8 | 36.5 | 36.6 | 36.4
Pressure (mb) |  | 490.9 | 500.4 | 503.4 | 505.2 | 502 | 503.5
Flow rate (LPM) |  | 447/457 | 448/456 | 450/459 | 452/461 | 450/459 | 451/460
Intensity Cell A |  | 84 | 84 | 84 | 84 | 84 | 84
Cell B |  | 87 | 87 | 87 | 87 | 87 | 87
Weekly Data Transfer (O3 data)
Weekly Calibration and Checks |  | 183: Start Time; 185: End Time; 187: Conc (ppb)
Julian Date |  | 182: Zero
Time (GMT) |  | 182: Level 1
Observer's Initials |  | 182: Level 2
| MON | TUE | WED | THUR | FRI | SAT | SUN
Local Day | 07.07.2014 | 08.07.2014 | 09.07.2014 | 10.07.2014 | 11.07.2014 | 12.07.2014 | 13.07.2014
Julian Date (GMT) | 188 | 189 | 190 | 191 | 192 | 193 | 194
Time (GMT) | 1116 | 1216 | 1613 | 1144 | 1126 | 1618 | 2334
Observer's Initials | DP | SMC | SMC | DP | DP | SMC | SMC
Daily Checks
Inlet | x | bar: 182 to 187
Panel Display | 47.9 | 43.4 | 50.5 | 40.8 | 41.9 | 53.2 | 49.9
Bench Temp C◦ | 36.7 | 36.1 | 36.8 | 36.3 | 36.3 | 39.9 | 39.9
Pressure (mb) | 506 | 507.1 | 501.5 | 503.9 | 505.9 | 506.7 | 502.2
Flow rate (LPM) | 452/461 | 453/562 | 450/459 | 451/459 | 451/460 | 453/467 | 451/464
Intensity Cell A | 84 | 84 | 84 | 84 | 84 | 84 | 84
Cell B | 87 | 87 | 87 | 87 | 87 | 87 | 87
Weekly Data Transfer (O3 data) | x
Weekly Calibration and Checks |  | 183: Start Time; 185: End Time; 187: Conc (ppb)
Julian Date | 188 | Zero | 1132 |  | 1147 |  | -0.5
Time (GMT) | 1132 | Level 1 | 1147 |  | 1202 |  | 40.1
Observer's Initials | SMC/DP | Level 2 | 1202 |  | 1217 |  | 78.4
| MON | TUE | WED | THUR | FRI | SAT | SUN
Local Day | 14.07.2014 | 15.07.2014 | 16.07.2014 | 17.07.2014 | 18.07.2014 | 19.07.2014 | 20.07.2014
Julian Date (GMT) | 195 | 196 | 197 | 198 | 199 | 200 | 201
Time (GMT) | 1129 | 1142 | 1637 | 1147 | 1520 | 1224 | 1602
Observer's Initials | DP | DP | DP | SMC | DP | SMC | DP
Daily Checks
Inlet | x | bar: 182 to 187
Panel Display | 44.8 | 34.3 | 36.4 | 40.6 | 35.8 | 38.6 | 34.2
Bench Temp C◦ | 40 | 37 | 37.5 | 36.4 | 36.3 | 36.4 | 35.7
Pressure (mb) | 501.2 | 499.7 | 495.9 | 495 | 501.5 | 505.3 | 507.6
Flow rate (LPM) | 450/464 | 448/458 | 445/456 | 446/454 | 449/459 | 452/461 | 454/462
Intensity Cell A | 84 | 84 | 84 | 84 | 84 | 84 | 84
Cell B | 87 | 87 | 87 | 87 | 86 | 86 | 86
Weekly Data Transfer (O3 data) | x
Weekly Calibration and Checks |  | 183: Start Time; 185: End Time; 187: Conc (ppb)
Julian Date | 195 | Zero | 1148 |  | 1203 |  | -0.4
Time (GMT) | 1148 | Level 1 | 1203 |  | 1218 |  | 40.1
Observer's Initials | DP/SMC | Level 2 | 1218 |  | 1034 |  | 80.7
| MON | TUE | WED | THUR | FRI | SAT | SUN
Local Day | 21.07.2014 | 22.07.2014 | 23.07.2014 | 24.07.2014 | 25.07.2014 | 26.07.2014 | 27.07.2014
Julian Date (GMT) | 202 | 203 | 204 | 205 | 206 | 207 | 208
Time (GMT) | 1139 | 1045 | 1206 | 1500 | 1210 | 1131 | 1302
Observer's Initials | SMC | DP | SMC | DP | SMC | DP | DP
Daily Checks
Inlet | x | bar: 182 to 187
Panel Display | 35.2 | 52.8 | 52.9 | 47.2 | 46.7 | 45.9 | 31.8
Bench Temp C◦ | 36.1 | 35.5 | 35.5 | 36.8 | 35.7 | 35.7 | 35.7
Pressure (mb) | 508.1 | 507.1 | 505.3 | 505.4 | 504.3 | 505.7 | 506.3
Flow rate (LPM) | 454/463 | 453/461 | 452/460 | 452/463 | 451/460 | 452/460 | 452/461
Intensity Cell A | 84 | 83 | 84 | 84 | 84 | 84 | 84
Cell B | 86 | 86 | 86 | 86 | 87 | 87 | 87
Weekly Data Transfer (O3 data) | x
Weekly Calibration and Checks |  | 183: Start Time; 185: End Time; 187: Conc (ppb)
Julian Date | 202 | Zero | 1203 |  | 1218 |  | 0.3
Time (GMT) | 1203 | Level 1 | 1218 |  | 1233 |  | 39.8
Observer's Initials | DP/SMC | Level 2 | 1233 |  | 1048 |  | 78.1
| MON | TUE | WED | THUR | FRI | SAT | SUN
Local Day | 28.07.2014 | 182: 29.07.2014; 183: 30.07.2014; 184: 31.07.2014
Julian Date (GMT) | 209 | 182: 210; 183: 211; 184: 212
Time (GMT) | 1128 | 182: 1228; 183: 1332; 184: 1200
Observer's Initials | SMC | 182: SMC; 183: SMC; 184: DP
Daily Checks
Inlet | x | bar: 182 to 184
Panel Display | 41.7 | 182: 43; 183: 39.3; 184: 38.2
Bench Temp C◦ | 35.8 | 182: 36; 183: 35.9; 184: 36.1
Pressure (mb) | 503.9 | 182: 506.6; 183: 507; 184: 504.7
Flow rate (LPM) | 452/459 | 182: 453/461; 183: 452/461; 184: 452/460
Intensity Cell A | 84 | 182: 84; 183: 84; 184: 84
Cell B | 86 | 182: 87; 183: 87; 184: 86
Weekly Data Transfer (O3 data) | x
Weekly Calibration and Checks |  | 183: Start Time; 185: End Time; 187: Conc (ppb)
Julian Date | 209 | Zero | 1154 |  | 1209 |  | 0.2
Time (GMT) | 1154 | Level 1 | 1209 |  | 1224 |  | 40.1
Observer's Initials | DP/SMC | Level 2 | 1224 |  | 1239 |  | 78.8

## August
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Inlet | Panel Display | Bench Temp | Pressure (mb) | Flow rate (LPM) | Intensity Cell A | Intensity Cell B | Weekly Data Transfer (O3 data) | Weekly Calibration and Checks | Zero Start Time | Zero End Time | Conc (ppb) | Level 1 Start Time | Level 1 End Time | Conc (ppb) | Level 2 Start Time | Level 2 End Time | Conc (ppb)
01.08.2014 | 213 | 1624 | SMC | x | 38.3 | 36.1 | 505.2 | 452/460 | 84 | 86
02.08.2014 | 214 | 1132 | SMC | x | 38.1 | 36.4 | 505.7 | 452/461 | 84 | 86
03.08.2014 | 215 | 1712 | DP | x | 42.9 | 36.3 | 505.3 | 452/461 | 84 | 87
04.08.2014 | 216 | 1127 | SMC | x | 39.6 | 36 | 506.4 | 453/461 | 84 | 86 | x | x | 1155 | 1210 | 0 | 1210 | 1225 | 39.8 | 1225 | 1240 | 78.8
05.08.2014 | 217 | 1238 | SMC | x | 45.8 | 36.1 | 507.6 | 454/461 | 84 | 87
06.08.2014 | 218 | 1137 | DP | x | 46.4 | 36 | 507.1 | 453/462 | 84 | 86
07.08.2014 | 219 | 1117 | SMC | x | 43.8 | 36.5 | 507.6 | 454/463 | 84 | 86
08.08.2014 | 220 | 1314 | SMC | x | 46.6 | 36.5 | 506.9 | 454/463 | 84 | 87
09.08.2014 | 221 | 1220 | SMC | x | 43.9 | 36.4 | 505.7 | 452/461 | 84 | 86
10.08.2014 | 222 | 2019 | SMC | x | 59 | 34.1 | 504.4 | 451/456 | 83 | 86
11.08.2014 | 223 | 1201 | DP | x | 42.1 | 34.6 | 505.6 | 451/457 | 84 | 86 | x | x | 1217 | 1232 | 0 | 1232 | 1247 | 38.9 | 1247 | 1302 | 76.5
12.08.2014 | 224 | 1818 | SMC | x | 43.5 | 34.2 | 505.2 | 451/459 | 84 | 86
13.08.2014 | 225 | 1138 | SMC | x | 36.4 | 34.4 | 503 | 450/455 | 84 | 86
14.08.2014 | 226 | 1133 | SMC | x | 32.7 | 35 | 502.8 | 452/458 | 84 | 86
15.08.2014 | 227 | 1319 | DP | x | 32 | 37.4 | 503.6 | 451/461 | 84 | 87
16.08.2014 | 228
17.08.2014 | 229 | 1551 | DP | x | 54 | 35 | 508.7 | 454/461 | 83 | 86
18.08.2014 | 230 | 1157 | SMC | x | 52.1 | 29.6 | 509.5 | 453/451 | 83 | 85 | x | x | 1218 | 1233 | 0.8 | 1233 | 1248 | 36.3 | 1248 | 1303 | 71.9
19.08.2014 | 231 | 1136 | SMC | x | 54 | 31.5 | 511.3 | 454/456 | 84 | 86
20.08.2014 | 232 | 1610 | SMC | x | 58.5 | 34.2 | 511.7 | 456/461 | 84 | 86
21.08.2014 | 233 | 1602 | DP | x | 50 | 37 | 510 | 456/464 | 85 | 87
22.08.2014 | 234 | 1732 | SMC | x | 45.2 | 39.2 | 505.3 | 451/464 | 85 | 87
23.08.2014 | 235 | 1224 | DP | x | 43.5 | 33.6 | 497.5 | 446/451 | 84 | 86
24.08.2014 | 236 | 1800 | SMC | x | 36 | 33.5 | 495.3 | 444/449 | 84 | 86
25.08.2014 | 237 | 1124 | SMC | x | 39.8 | 32.6 | 495.6 | 445/447 | 84 | 86 | x | x | 1142 | 1158 | 0.3 | 1158 | 1213 | 37 | 1213 | 1228 | 72.8
26.08.2014 | 238 | 1224 | SMC | x | 35.4 | 33.2 | 494.7 | 444/448 | 84 | 86
27.08.2014 | 239 | 1221 | SMC | x | 33.1 | 33.7 | 498.6 | 447/452 | 84 | 86
28.08.2014 | 240 | 1740 | DP | x | 46.6 | 32.8 | 500.4 | 449/451 | 84 | 86
29.08.2014 | 241 | 1226 | DP | x | 41.9 | 32.6 | 502.5 | 449/451 | 84 | 86
30.08.2014 | 242 | 1202 | DP | x | 42.7 | 32.7 | 501.7 | 448/452 | 84 | 86
31.08.2014 | 243 | 1420 | DP | x | 46.1 | 32.6 | 498.9 | 447/450 | 84 | 86

## September
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Inlet | Panel Display | Bench Temp | Pressure (mb) | Flow rate (LPM) | Intensity Cell A | Intensity Cell B | Weekly Data Transfer (O3 data) | Weekly Calibration and Checks | Zero Start Time | Zero End Time | Conc (ppb) | Level 1 Start Time | Level 1 End Time | Conc (ppb) | Level 2 Start Time | Level 2 End Time | Conc (ppb)
01.09.2014 | 244 | 1139 | SMC | x | 40.9 | 33.1 | 498.5 | 446/450 | 84 | 86 | x | x | 1150 | 1205 | 0 | 1205 | 1220 | 37 | 1220 | 1235 | 73.1
02.09.2014 | 245 | 1146 | SMC | x | 43.1 | 32.8 | 498 | 446/450 | 84 | 86
03.09.2014 | 246 | 1209 | DP | x | 41.5 | 33 | 499.1 | 447/451 | 84 | 86
04.09.2014 | 247 | 1122 | SMC | x | 42.5 | 33.2 | 500.2 | 448/451 | 84 | 86
05.09.2014 | 248 | 1221 | DP | x | 43.3 | 32.6 | 496.7 | 445/448 | 85 | 87
06.09.2014 | 249 | 1157 | SMC | x | 41.6 | 32.8 | 499.3 | 447/451 | 84 | 86
07.09.2014 | 250 | 1542 | SMC | x | 41.5 | 33.3 | 499.4 | 447/451 | 84 | 86
08.09.2014 | 251 | 1126 | SMC | x | 44.2 | 33 | 498.1 | 447/450 | 84 | 86 | x | x | 1140 | 1155 | 0.3 | 1155 | 1210 | 37.2 | 1210 | 1225 | 73.5
09.09.2014 | 252 | 1135 | DP | x | 41 | 34.5 | 495.2 | 446/450 | 84 | 86
10.09.2014 | 253 | 1651 | SMC | x | 39.2 | 34 | 492.9 | 443/449 | 84 | 86
11.09.2014 | 254 | 1553 | SMC | x | 42 | 33.6 | 489.3 | 441/444 | 84 | 86
12.09.2014 | 255 | 1132 | DP | x | 34.8 | 34.7 | 488 | 440/446 | 84 | 86
13.09.2014 | 256 | 1129 | SMC | x | 33 | 33.5 | 495.1 | 445/448 | 84 | 86
14.09.2014 | 257 | 1225 | DP | x | 35.9 | 32.5 | 495.7 | 445/447 | 84 | 86
15.09.2014 | 258 | 1115 | SMC | x | 34.3 | 33.7 | 493.2 | 443/448 | 84 | 86 | x | x | 1125 | 1140 | -0.5 | 1140 | 1155 | 38 | 1155 | 1210 | 73.5
16.09.2014 | 259 | 1140 | DP | x | 33.4 | 35.5 | 502.4 | 451/457 | 84 | 86
17.09.2014 | 260 | 1914 | DP | x | 46.4 | 36.2 | 506.6 | 453/461 | 84 | 86
18.09.2014 | 261 | 1539 | DP | x | 42.3 | 34.9 | 504.4 | 451/458 | 84 | 86
19.09.2014 | 262 | 1504 | DP | x | 46.9 | 34.4 | 500 | 448/453 | 84 | 86
20.09.2014 | 263 | 1248 | SMC | x | 39.6 | 36.8 | 499.2 | 448/457 | 84 | 86
21.09.2014 | 264 | 1519 | SMC | x | 33.8 | 33.4 | 495.4 | 445/449 | 83 | 85
22.09.2014 | 265 | 1149 | SMC | x | 38.1 | 36.5 | 492.6 | 444/453 | 84 | 86 | x | x | 1158 | 1213 | 0 | 1213 | 1228 | 38.1 | 1228 | 1243 | 74.3
23.09.2014 | 266 | 1054 | DP | x | 40.2 | 35.3 | 494.4 | 444/452 | 84 | 86
24.09.2014 | 267 | 1523 | SMC | x | 37 | 33.1 | 490 | 441/444 | 83 | 85
25.09.2014 | 268 | 1539 | DP | x | 34.2 | 33.4 | 486.9 | 439/443 | 83 | 85
26.09.2014 | 269 | 1605 | DP | x | 35.6 | 33.5 | 488.1 | 439/444 | 83 | 85
27.09.2014 | 270 | 1137 | SMC | x | 34.8 | 36.8 | 488.3 | 441/451 | 83 | 86
28.09.2014 | 271 | 1241 | DP | x | 35.9 | 36.5 | 488.9 | 440/451 | 84 | 86
29.09.8014 | 272 | 1132 | SMC | x | 36.3 | 35 | 492.9 | 443/450 | 84 | 86 | x | x | 1130 | 1145 | 0.2 | 1145 | 1200 | 38.9 | 1200 | 1215 | 74.3
30.09.2014 | 273 | 1130 | SMC | x | 39.6 | 37.7 | 489.4 | 442/452 | 84 | 86

## October
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Inlet | Panel Display | Bench Temp | Pressure (mb) | Flow rate (LPM) | Intensity Cell A | Intensity Cell B | Weekly Data Transfer (O3 data) | Weekly Calibration and Checks | Zero Start Time | Zero End Time | Conc (ppb) | Level 1 Start Time | Level 1 End Time | Conc (ppb) | Level 2 Start Time | Level 2 End Time | Conc (ppb)
2014-10-01 | 274 | 1229 | DP | x | 38.3 | 36 | 484.9 | 438/446 | 83 | 86
2014-10-02 | 275 | 1555 | SMC | x | 35.8 | 35.9 | 488.4 | 441/449 | 83 | 86
2014-10-03 | 276 | 1123 | DP | x | 33.9 | 37.3 | 490.4 | 441/453 | 83 | 86
2014-10-04 | 277 | 1215 | SMC | x | 33.5 | 37.3 | 486.2 | 439/450 | 84 | 86
2014-10-05 | 278 | 1742 | SMC | x | 35.3 | 34.8 | 502 | 450/455 | 83 | 85
2014-10-06 | 279 | 1142 | DP | x | 37.3 | 36 | 504.5 | 451/459 | 83 | 86 | x | x | 1220 | 1235 | 0.2 | 1235 | 1250 | 40 | 1250 | 1305 | 77.4
2014-10-07 | 280 | 1222 | DP | x | 38.7 | 35.3 | 504.7 | 451/457 | 83 | 85
2014-10-08 | 281 | 1530 | SMC | x | 48.1 | 35.6 | 503 | 451/458 | 83 | 86
2014-10-09 | 282 | 1816 | SMC | x | 40.9 | 33 | 503.2 | 450/453 | 83 | 85
2014-10-10 | 283 | 1515 | DP | x | 38.2 | 33.2 | 506.3 | 451/456 | 83 | 85
2014-10-11 | 284 | 1300 | HJ | X | 45.9 | 36.2 | 506 | 453/460 | 83 | 85
2014-10-12 | 285 | 1429 | HJ | frost | 43 | 37.5 | 502.4 | 451/460 | 83 | 86
2014-10-13 | 286 | 1127 | HJ | frost | 49.6 | 38 | 502.4 | 451/462 | 83 | 86 | x | x | 1225 | 1240 | 0.2 | 1240 | 1255 | 38.2 | 1255 | 1310 | 75.5
2014-10-14 | 287 | 1112 | DP | x | 43.3 | 33.5 | 500.2 | 447/452 | 83 | 85
2014-10-15 | 288 | 1208 | HJ | clr | 44.5 | 39.3 | 497.4 | 448/458 | 83 | 85 | Planned power outage from 12:10-12:30UTC for turnover training
2014-10-16 | 289 | 1300 | Lr | frost | 40.7 | 37.1 | 497.8 | 447/457 | 83 | 85
2014-10-17 | 290 | 1210 | HJ | frost | 47.5 | 37.7 | 497.3 | 447/457 | 83 | 85
2014-10-18 | 291 | 1350 | LR | lt frost | 40.4 | 38.7 | 492.3 | 444/456 | 83 | 86
2014-10-19 | 292
2014-10-20 | 293
2014-10-21 | 294
2014-10-22 | 295
2014-10-23 | 296
2014-10-24 | 297
2014-10-25 | 298
2014-10-26 | 299
2014-10-27 | 300
2014-10-28 | 301
2014-10-29 | 302
2014-10-30 | 303
2014-10-31 | 304

## November
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Inlet | Panel Display | Bench Temp | Pressure (mb) | Flow rate (LPM) | Intensity Cell A | Intensity Cell B | Weekly Data Transfer (O3 data) | Weekly Calibration and Checks | Zero Start Time | Zero End Time | Conc (ppb) | Level 1 Start Time | Level 1 End Time | Conc (ppb) | Level 2 Start Time | Level 2 End Time | Conc (ppb)

## December
Local Day | Julian Date (GMT) | Time (GMT) | Observer's Initials | Inlet | Panel Display | Bench Temp | Pressure (mb) | Flow rate (LPM) | Intensity Cell A | Intensity Cell B | Weekly Data Transfer (O3 data) | Weekly Calibration and Checks | Zero Start Time | Zero End Time | Conc (ppb) | Level 1 Start Time | Level 1 End Time | Conc (ppb) | Level 2 Start Time | Level 2 End Time | Conc (ppb)