Is the desiccant hatch closed?
## Radiosonde_Log
Date	Sonde #	Release / Time	U%	RH Kestral (GH)	RH Sonde GH	RH Sonde Outside	RH (NOAA)	T Sonde Outside	T (NOAA)	Dewpnt (NOAA)	RH / (calc)	P (NOAA)	T / (GH)	RH var >10%	Starting Tank Pressure	Ending Tank Pressure	Starting Tank Pressure	Ending Tank Pressure	Operator	Weather	Burst Altitude (m)	Burst Pressure (hPa)	Ascension Rate	Balloon Count	Notes
1-2-2023	U0860347	1115	-0.1			67.8		-38.8	-38.1	-42.5	63.3	646.8							RC	BLSN DRSN OVC					MW41 was on “to start sonding” screen after launch
1-2-2023	U0920043	2315	-0.2			70.6		-34.8	-40.6	-45.6	58.8	648.9		X					ETJ	BLSN DRSN OVC	19067	55.1			Attaching balloon indoors briefly bringing the sonde inside
1-4-2023	U0920046	1115	-0.2			74.3		-46.7	-48.5	-53.4	56.6	652.9		X					RC	SKC	20039	45.8
1-4-2023	U0930350	2315	-0.2			62.6		-52.5	-49.4	-54.3	56.3	653.1		X					ETJ	SKC	18823	55.8
1-5-2023	U0930261	1115	-0.1			61.7		-51.1	-51.9	-57.3	52.0	657.9		X					RC	FEW	17678	67.9
1-5-2023	U0920045	2315	-0.2	`		60.9		-53.2	-51.8	-57.2	52.1	657.9		X					ETJ	FEW	17356	74.8
1-6-2023	U0910492	1115	-0.2			63.6		-48.9	-49.6	-55.0	53.0	661.9		X					RC	FEW	18309	66.6
1-6-2023	U0930349	2315	-0.2			65.3		-46.5	-49.9	-55.4	52.0	661.9		X					etj	FEW	5508	474.8
1-7-2023	U0930351	1115	-0.3			65.7		-49.7	-52.0	-57.0	54.9	662.5		X					RC	SKC	16746	83.1
1-7-2023	U0930353	2315	-0.2			67.9		-48.2	-49.8	-55.7	49.7	660.7		X					ETJ	SKC FZFG	16588	80.5
1-8-2023	U0930262	1115	-0.2			80.8		-47.1	-47.3	-53.5	49.1	658.2		X					RC	FEW	19930	46.7
1-8-2023	U0930264	2319	-0.2			61.6		-50.3	-50.3	-56.2	49.4	657.0		X					ETJ	FEW FZFG	15494	98.1
1-9-2023	U0910323	1115	-0.2			74.8		-48.7	-51.3	-57.2	49.1	656.0		X					RC	SKC	17420	74.1
1-9-2023	U0910364	2319	-0.2			62.4		-47.8	-50.0	-55.8	50.4	655.1		X					ETJ	SKC FZFG	16429	84.8
1-10-2023	U0930355	1115	-0.2			65.4		-42.6	-42.4	-48.1	53.2	653.7		X					RC	FEW	18586	57.3
1-10-2023	U0930359	2315	-0.2			64.8		-48.4	-43.9	-49.2	55.2	653.6		X					ETJ	FEW	20513	42.3
1-11-2023	U0930354	1115	-0.2			77.8		-51.7	-55.1	-59.9	55.2	651.9		X					RC	FEW	19667	49.6
1-11-2023	U0910363	2319	-0.2			80.4		-52.3	-53.5	-59.9	45.1	651.9		X					ETJ	FEW	15718	94.3
#N/A	U0860242	1115	0.1			61.1		-54.5	-43.2	-51.7	38.5	653.7		X					RC	SKC	17177	81.0
1-12-2023	U0910368	2315	-0.2			70.2		-51.7		-49.5	1.1	656.2		X					ETJ	SKC	19465	51.4
1-13-2023	U0860348	1115	-0.1			76.8		-46.6	-46.4	-54.9	37.6	657.7		X					RC	SKC	14476	117.6
1-13-2023	U0930358	2315	-0.2			63.0		-49.2	-51.2	-57.1	49.3	659.4		X					ETJ	SKC	14253	121.2
1-14-2023	U0920090	1115	-0.2			80.1		-38.6	-38.9	-43.9	59.1	659.6		X					ETJ	SKC FZFG	18240	65.3
1-14-2023	U0910603	2315	-0.2			68.8		-39.3	-40.1	-45.7	54.8	661.2		X					RC	SCT DRSN	16131	90.5
1-15-2023	U0910567	1115	-0.3			69.7		-43.1	-43.7	-49.1	54.5	661.7		X					ETJ	SKC	14212	119.0
1-15-2023	U0860243	2315	-0.3			70.7		-42.9	-43.5	-47.4	65.7	659.5							RC	SKC	13457	133.8
1-16-2023	U0860569	1115	-0.3			91.8		-33.7	-34.3	-41.3	49.2	659.8		X					RC	FEW	14116	119.3
1-16-2023	U0850354	2315	0.0			73.2		-39.8	-39.9	-45.2	57.3	660.9		X					ETJ	FEW	12965	145.9
1-17-2023	U0850359	1115	0.1			65.5		-37.7	-37.9	-43.2	58.0	659.5		X					RC	SCT FZFG	16888	79.0
1-17-2023	U0910115	2315	-0.3			59.6		-38.4	-36.4	-41.7	58.1	659.2		X					ETJ	OVC DRSN	15328	97.1
1-18-2023	U0850364	1115	0.0			73.4		-54.8	-53.8	-59.6	49.0	651.4		X					RC	SKC	15929	87.0
1-18-2023	U0850351	2318	-0.2			62.4		-57.6	-55.6	-59.9	58.2	651.3		X					ETJ	SKC	14819	105.3
1-19-2023	U0910102	1115	-0.3			60.4		-52.2	-52.5	-58.1	51.0	648.4		X					RC	FEW DRSN BLSN	15768	94.8
1-19-2023	U0910072	2316	-0.2			61.8		-49.9	-52.6	-58.3	50.0	649.2		X					ETJ	SKC BLSN	15815	88.9
1-20-2023	U0850366	1115	0.0			65.5		-42.3	-40.0	-45.4	56.3	644.5		X					RC	FEW DRSN BLSN	17173	70.8
1-21-2023	U0850363	1115	0.0			64.7		-42.6	-41.5	-47.1	54.2	633.5		X					RC	BKN BLSN DRSN	18210	62.9			brought sonde back inside to hook up balloon due to high winds
1-21-2022	U0860387	2317	-0.2			72.6		-50.0	-41.3	-47.0	54.4	633.4		X					ETJ	FZFG	15814	90.8
1-22-2023	U0910118	1115	-0.2			63.8		-49.0	-50.3	-57.0	44.9	640.4		X					RC	SCT FZFG	16456	81.9
1-22-2023	U0920156	2315	-0.2			62.0		-53.2	-48.6	-56.0	41.8	640.5		X					ETJ	SKC	17898	63.1
1-23-2023	U0860369	1115	-0.2			68.2		-38.2	-37.9	-42.9	59.1	654.7		X					RC	OVC DRSN	17813	65.3
1-23-2023	U0860382	2315	-0.2			68.7		-41.4	-42.2	-47.4	57.0	658.0		X					ETJ	FEW BLSN	15896	69.0
1-24-2023	U0910107	1115	-0.3			68.6		-42.0	-42.8	-48.7	52.5	658.1		X					RC	FZFG SCT	16048	89.6
1-24-2023	U0910109	2315	-0.2			70.1		-41.3	-44.1	-49.9	52.4	658.1		X					ETJ	SKC	17574	70.7
1-25-2023	U0860367	1115	-0.1			66.5		-45.7	-45.1	-51.0	51.4	665.8		X					RC	FEW FZFG	17289	75.2
1-26-2023	U0850358	1125	0.0			76.9		-25.7	-24.6	-38.9	25.2	656.3		X					ETJ	OVC	9314	267.0
1-26-2023	U0850360	2315	0.0			73.2		-30.6	-28.2	-32.7	64.8	646.9		X					RC	OVC -SN	19499	52.9
1-27-2023	U0860452	1115	-0.2			63.5		-42.6	-40.3	-46.0	53.9	652.3		X					RC	SCT FZFG	23470	245.1
1-27-2023	U0860352	2323	0.1			71.5		-45.3	-41.0	-46.7	53.9	652.5		X					ETJ	SKC	17415	70.7
1-28-2023	U0850361	1115	0.0			69.3		-38.8	-38.5	-43.6	58.2	649.6		X					RC	SCT FZFG	22036	34.3
1-28-2023	U0850350	2315	0.1			72.5		-33.7	-36.4	-42.0	56.4	649.4		X					ETJ	OVC IC	21908	33.5
1-29-2023	U0850349	1124	-0.1			66.2		-43.6	-40.5	-46.5	52.6	657.3		X					ETJ	OVC	18506	59.4
1-29-2023	U0850362	2315	0.1			81.4		-50.4	-44.8	-52.0	44.2	661.8		X					RC	SKC	5088	505.3
1-30-2023	U0860453	1115	-0.1			78.5		-48.4	-46.1	-52.1	50.6	660.6		X					RC	FEW	16131	87.3
1-30-2023	U0850357	2315	0.1			75.3		-43.9	-43.2	-49.0	52.6	658.8		X					ETJ	SCT	15820	91.9
1-31-2023	U0860381	1115	-0.1			77.1		-42.7	-41.4	-47.5	51.2	658.5		X					RC	SCT FZFG	14850	107.3
1-31-2023	U0860379	2323	-0.1			70.8		-43.1	-40.0	-46.0	53.0	658.6		X					ETJ	SKC	19137	54.2
2-1-2023	U0860368	1115	-0.2			66.8		-48.4	-47.9	-54.2	48.1	658.0		X					RC	SCT FZFG	15572	96.6
2-1-2023	U0860830	2315	-0.2			72.1		-46.1	-46.5	-53.1	46.9	658.0		X					ETJ	FEW FZFG	14811	106.8
2-2-2023	U0850360	1115	-0.1			75.5		-46.8	-46.4	-51.7	54.6	658.5		X					ETJ	SKC	14985	103.7
2-2-2023	U0860383	2315	-0.1			63.5		-47.8	-46.9	-52.9	50.4	660.3		X					RC	FEW FZFG	15452	95.9
2-3-2023	U0860380	1115	-0.1			68.8		-35.4	-34.3	-39.0	62.2	660.2		X					RC	DRSN BLSN OVC	14153	122.6			brought sonde back inside to hook up balloon due to high winds
2-4-2023	U0850355		0.1								100.0			X											sonde lost connection right before launch
2-4-2023	U0860384										100.0			X											would not turn back on after being turned off
2-4-2023	U0860389	2327	-0.1			69.4		-42.1	-41.7	-46.4	60.1	649.8		X					ETJ	OVC	18009	64.5
2-5-2023	U0860390	1115	-0.1			71.5		-32.1	-32.0	-36.0	67.6	646.3							RC	OVC DRSN BLSN	18813	50.6			brought sonde back inside to hook up balloon due to high winds
2-6-2023	U0910117	1115	-0.2			74.8		-47.1	-47.6	-52.9	54.2	635.4		X					RC	SKC	4908	496.6
2-6-2023	U0930259	2320	-0.2			76.0		-48.2	-46.9	-52.1	54.7	634.5		X					ETJ	FEW	17266	69.2
2-7-2023	U0910315	1115	-0.2			64.6		-55.7	-45.8	-51.3	53.7	634.2		X					ETJ	SCT	17002	71.8
2-7-2023	U0860388	2315	-0.1			60.7		-48.6	-47.6	-52.9	54.3	634.0		X					RC	OVC DRSN	20669	43.9
2-8-2023	U0860563	1115	-0.2			59.6		-46.5	-45.0	-50.4	54.4	640.4							RC	BKN DRSN	20390	41.0
2-8-2023	U0930109	2315	-0.2			75.2		-56.5	-53.8	-59.7	48.3	648.6		X					SWD	SKC	18465	58.9			Wind value is from 23:08 UTC; no more recent data available from NOAA Met or Fluxtower
2-9-2023	U0930106	1118	-0.2			62.0		-51.4	-52.2	-59.3	42.0	653.4		X					SWD/AB	BR	18484	59.9
2-9-2023	U0910389	2328	-0.2			80.0		-47.4	-51.3	-57.9	45.1	654.6		X					SWD/DJP/AB	SKC	19173	55.8
2-10-2023	U0860597	1116	-0.2			69.9		-34.6	-46.0	-52.0	50.8	654.5		X					DJP	OVC DRSN IC	22531	32.9
2-10-2023	U0910373	2315	-0.3			71.2		-37.5	-37.0	-41.8	60.9	649.0		X					SWD	OVC IC	19676	52.4
2-11-2023	U0910386	1120	-0.2			74.0		-38.2	-37.4	-42.3	60.0	642.1		X					DJP	BKN	28230	14.0
2-11-2023	U0910387	2315	-0.2			69.2		-36.2	-37.8	-42.6	60.2	641.8		X					AB	OVC DRSN	26133	19.4			Wind value from 23:08Z; instantaneous data not available
2-12-2023	U0910385	1115	-0.2			67.8		-42.9	-42.3	-46.9	60.6	641.8		X					DJP	FEW DRSN	21436	36.2			Wind value from 11:08Z; instantaneous data not available
2-12-2023	U0910374	2327	-0.3			64.7		-47.5	-46.6	-51.3	58.8	644.6							SWD & AB	SKC DRSN	14953	106.1			100g balloon launch; first sonde lost signal while outside, launched sonde stabilized outside for 10 minutes
2-13-2023	U0910390	1115	-0.2			67.3		-42.5	-42.6	-47.5	58.9	647.3		X					SWD & DJP	FEW DRSN	16840	86.5
2-13-2023	U0910542	2315	-0.2			72.2		-32.0	-41.4	-46.1	60.6	647.2		X					AB	SCT BLSN	16437	94.1
2-14-2023	U0910395	1116	-0.3			70.1		-37.5	-36.6	-41.6	59.6	644.0		X					DJP	FEW	16965	83.5
2-14-2023	U0910665	2343	-0.3			71.7		-45.3	-42.8	-48.2	55.3	644.8		X					SWD	SCK	16428	94.6
2-15-2023	U0910636	1116	-0.3			65.9		-47.5	-50.7	-56.0	53.3	646.1		X					DJP	FEW	16262	94.2
2-15-2023	U0910632	2315	-0.3			66.2		-41.9	-42.4	-48.6	51.1	648.9		X					AB	SKC	17244	85.6
2-16-2023	U0910393	1115	-0.2			78.8		-46.5	-51.3	-57.2	49.1	649.7		X					DJP	SKC	15346	108.4
2-16-2023	U0910508	2315	-0.2			84.4		-46.5	-51.5	-57.2	49.8	649.7		X					AB	SKC	27646	15.6
2-17-2023	U0910445	1115	-0.2			84.9		-48.2	-49.2	-55.1	50.2	650.4		X					DJP	FEW	24312	26.6
2-17-2023	U0910659	2315	-0.3			56.6		-54.0	-55.0	-59.9	54.2	654.9							AB	SCK FZFG	28231	15.1
2-18-2023	U0910375	1115	-0.2			63.8		-43.2	-42.5	-48.0	54.9	655.0		X					DJP	SCK DRSN	21689	40.3
2-18-2023	U0910396	2316	-0.2			72.7		-34.6	-36.2	-41.1	60.8	655.2		X					AB	FEW FZFG -SN	25414	24.5
2-19-2023	U0910394	1115	-0.2			69.9		-35.8	-34.3	-39.7	58.4	651.6		X					DJP	SCK FZFG DRSN	26725	20.8
2-19-2023	U0910378	2316	-0.2			81.0		-44.3	-33.8	-39.1	58.7	651.6		X					AB	FEW FZFG -SN	28165	17.5
2-20-2023	U0910633	1115	-0.3			66.5		-42.8	-41.5	-46.7	56.8	652.6		X					AB	OVC FZFG DRSN	25548	24.2
2-20-2023	U0910663	2315	-0.3			80.4		-48.7	-48.0	-53.3	54.1	653.6		X					DJP	FEW	24976	25.9
2-21-2023	U0910664	1115	-0.3			83.2		-46.7	-50.2	-56.5	47.4	654.3		X					AB	FEW	27862	16.7
2-21-2023	U0910634	2315	-0.3			83.3		-52.2	-54.6	-59.9	51.6	656.7		X					DJP	SKC	23382	32.4
2-22-2023	U0910377	1115	-0.3			65.9		-42.4	-42.9	-48.0	57.6	655.1		X					AB	OVC FZFG BLSN	29843	12.5
2-22-2023	U0910662	2317	-0.3			80.1		-43.7	-44.7	-49.9	56.0	654.6		X					DJP	FEW	28526	16.5			Prior to initialization, SPS lost connection. Rebooted computer.
2-23-2023	U0910510	1115	-0.3			83.9		-46.7	-45.4		5732.0	658.0		X					AB	FEW	29372	13.9			Station wide network outage; unable to load weather data, missing dewpoint data; estimated humidity based on sonde readings
2-23-2023	U0910392	2315	-0.2			65.7		-48.1	-48.8	-54.0	54.2	659.8		X					DJP	FEW FZFG	27791	17.4
2-24-2023	U0910506	1115	-0.3			80.3		-22.2	-21.9	-25.5	73.0	655.0							AB	VV BLSN	26515	19.6
2-24-2023																									Aborted due to garage door failure
2-25-2023																									Garage door failure
2-25-2023	U0910660	2315	-0.3			76.6		-28.7	-27.9	-31.5	71.1	650.9							DJP	BLSN	26528	19.2			brought sonde back inside to hook up balloon due to high winds	13.1/190
2-26-2023	U0910505	1119	-0.3			75.5		-29.8	-29.1	-33.2	67.2	650.1		X					AB	VV BLSN	21360	43.8			Restarted computer, Derek’s launch terminated but surface obs unable to enter.
2-26-2023	U0920249	2318	-0.2			70.3		-41.9	-42.4	-47.3	58.9	661.9		X					DJP	SCT FZFG	22 mb garage temp 3288F	18.0
2-27-2023	U0910509	1115	-0.2			82.3		-20.1	-19.4	-22.6	75.7	667.6							DJP	VV BLSN	27735	18.2
2-27-2023	U0910384	2315	-0.2			79.7		-20.1	-19.5	-22.6	76.3	671.4							AB	FEW BLSN	24967	27.9
2-28-2023	U0910666	1117	-0.3			81.2		-19.9	-18.7	-21.9	75.9	669.2							DJP	SKT BLSN	29431	17.8
2-28-2023	U0860750	2315	-0.2			76.4		-22.5	-22.8	-25.8	76.5	666.0							AB	FEW DRSN	25804	24.7
3-1-2023	U0930104	1116	-0.3			71.7		-33.4	-32.8	-37.1	65.3	670.8							DJP	SKT DRSN	27224	19.9
3-1-2023	U0860559	2330	-0.3			74.2		-27.3	-27.4	-31.5	68.6	669.4							AB	FEW DRSN	6219	435.3			Failed sonde, lost SPS connection. Rebooted computer and tested again. Same sonde failed. Used new radiosonde with success launch 23:30Z!
3-2-2023	U0860562	1116	-0.2			69.2		-36.4	-35.9	-40.4	63.2	670.3							DJP	OVC DRSN	29408	14.5			rebooted computer
3-2-2023	U0930120	2315	-0.3			60.7		-37.1	-37.2	-41.8	62.1	674.7							AB	FEW BLSN	30899	11.5
3-3-2023	U0860580	1115	-0.3			77.6		-27.6	-27.4	-31.2	70.0	676.6		X					DJP	FEW DRSN	28137	17.5			Lost SPS connection midflight, resetablished seconds later.
3-3-2023	U0910635	2315	-0.3			80.3		-22.1	-21.9	-25.2	74.6	679.6							AB	OVC DRSN	25469	25.9
3-4-2023	U0910391	1115	-0.3			82.4		-18.8	-18.2	-21.3	76.6	680.5							DJP	OVC DRSN	27410	19.8
3-4-2023	U0910631	2315	-0.3			81.6		-17.1	-16.5	-19.6	77.1	682.3							AB	-SN (IC) OVC FZFG	27739	18.8			Diamond dust :)
3-5-2023	U0930105	1115	-0.4			91.1		-28.9	-28.1	-32.4	66.6	687.3		X					DJP	FEW	25724	25.6
3-5-2023	U0930111	2315	-0.3			94.8		-24.9	-27.4	-32.2	63.4	689.9		X					AB	FZFG SKC	17583	93.5
3-6-2023	U0910507	1115	-0.3			78.7		-19.5	-18.8	-22.9	69.8	688.1		X					AB	-SN OVC	27942	18.5
3-6-2023	U0850405	2316	0.0			89.6		-30.0	-28.2	-32.1	69.4	686.1		X					DJP	SKC	27585	19.5			Auroras
3-7-2023	U0860767	1115	-0.2			79.2		-24.1	-23.0	-26.8	71.4	686.6		X					AB	OVC	27382	20.0
3-7-2023	U0850413	2315	0.0			74.2		-35.2	-34.2	-38.6	64.3	686.6		X					DJP	SKC	28093	17.5			Auroras
3-8-2023	U0860773	1115	-0.3			67.1		29.7	-29.4	-34.1	63.6	680.4							AB	-IC FZFG BKN	28162	17.7
3-8-2023	U0850414	2315	-0.1			71.4		-32.4	-30.9	-35.6	63.3	671.2		X					DJP	SKT	27382	19..80			Auroras
3-9-2023	U0850412	1115	-0.1			75.4		-45.0	-42.3	-48.6	50.4	671.5		X					AB	BKN	27951	17.9
3-9-2023	U0860409	2315	-0.1			79.1		-47.9	-45.4	-50.3	57.6	670.0		X					DJP	SKC	27824	18.1			Auroras
3-10-2023	U0860630	1115	-0.1			59.8		-43.9	-44.4	-49.4	56.9	669.1							AB	FEW	28348	15.9
3-10-2023	U0860744	2315	-0.2			72.4		-42.3	-41.9	-45.5	67.8	668.4							DJP	SKC	27718	18.1			Auroras
3-11-2023	U0860772	1117	-0.3			72.3		44.7	-40.5	-46.1	54.7	667.8		X					AB	BKN	28995	14.6
3-11-2023	U0860765	2315	-0.2			86.4		-42.5	-40.2	-45.2	58.6	666.9		X					DJP	SKC	27771	17.6			Auroras
3-12-2023	U0860355	1118	-0.2			65.9		-43.1	-40.5	-45.9	56.0	664.8		X					AB	SCT	28223	16.3
3-12-2023	U0850410	2315	0.0			74.5		-48.3	-45.5	-50.9	54.8	664.5		X					DJP	SCT FZFG	28134	16.4
3-13-2023	U0850408	1115	0.0			67.5		-47.9	-45.5	-50.1	59.6	663.6		X					DJP	SKC	27194	19.1
3-13-2023	U0850406	2316	0.0			63.8		-42.3	-46.7	-47.4	91.9	664.8		X					AB	FEW	29236	13.5			Computer and SPS reboot; internet time updated; balloons restocked; trash taken out
3-14-2023	U0860771	1115	-0.3			72.2		-40.7	-42.0	-48.1	51.3	666.7		X					DJP	SKC	27746	17.5			SPS connection lost once for 4 seconds; connection reestablished
3-14-2023	U0850404	2315	0.0			86.0		-45.0	-48.9	-54.3	53.4	667.5		X					AB	FEW	27713	17.4
3-15-2023	U0860412	1115	-0.1			74.1		-46..2	-44.6	-51.1	48.1	665.8		X					DJP	FEW	27659	17.0
3-15-2023	U0860768	2315	-0.2			65.1		-44.7	-45.5	-50.7	55.5	665.3		X					AB	FZFG FEW	27602	17.6
3-16-2023	U0850409	1115	-0.1			65.4		-44.9	-43.7	-49.3	53.7	662.6		X					DJP	SCT	27008	18.7
3-16-2023	U0850135	2315	0.0			77.2		47.7	-47.7	-52.7	55.9	659.8		X					AB	FEW	26943	19.7			Energized overhead fan at 22:55Z to optimize air flow and reduce interior cabinet temperatures
3-17-2023	U0860356	1115	-0.2			71.2		-50.0	-48.1	-54.1	49.8	660.4		X					DJP	SCT	24058	29.3
3-17-2023	U0820172	2318	0.0			82.8		-46.9	-49.8	-55.1	53.3	662.8		X					AB	FEW	28081	14.8			During calibration, data not shown on graph but on tabular data table instead; sps remained connected
3-18-2023	U0860743	1115	-0.2			69.7		-50.7	-50.2	-56.3	48.4	663.3		X					DJP	SKC	28013	15.9
3-18-2023	U0860769	2315	-0.2			65.8		-45.5	-45.4	-50.3	57.6	663.5		X					AB	FEW -IC	27756	16.9
3-19-2023	U0860410	1115	-0.2			66.1		-40.4	-40.0	-45.0	58.5	664.1		X					DJP	OVC DRSN	27435	22.2
3-19-2023	U0860742	2315	-0.2			63.0		-42.9	-46.4	-51.4	56.4	664.4		X					AB	FEW	28549	14.7
3-20-2023	U0860770	1115	-0.2			49.2		-45.0	-47.3	-53.2	50.2	664.3							AB	SCT	29135	13.1
3-20-2023	U0860629	2315	-0.2			71.8		-47.1	-49.6	-55.0	52.6	664.3		X					DJP	FEW	24851	26.9
3-21-2023	U0860357	1115	-0.2			71.4		-43.5	-42.2	-47.9	53.6	663.7		X					AB	BR FEW	25025	25.5
3-21-2023	U0860741	2315	-0.2			64.5		-42.5	-42.0	-47.0	58.0	664.0		X					DJP	FEW	27304	17.5
3-22-2023	U0850411	1115	0.0			61.8		-40.7	-40.1	-45.5	55.9	662.4		X					AB	SCT	26372	21.2
3-22-2023	U0860411	2315	-0.2			75.0		-37.6	-40.3	-45.9	54.8	660.1		X					DJP	SCT	27853	16.6
3-23-2023	U0860764	1115	-0.2			63.3		-45.8	-44.6	-50.4	52.2	659.9		X					AB	BKN	24191	28.4
3-23-2023	U0910302	2315	-0.2			70.1		-49.3	-51.4	-57.0	51.5	662.1		X					DJP	FEW	27766	16.8
3-24-2023	U0860413	1115	-0.1			60.8		-48.6	-46.1	-56.7	29.2	664.0		X					AB	SCT	28689	14.5
3-24-2023	U0860740	2315	-0.2			68.9		-49.3	-48.0	-55.2	43.1	665.8		X					DJP	SKC	26929	18.4
3-25-2023	U0860414	1126	-0.2			64.3		-41.6	-48.4	-54.7	47.9	666.7		X					AB	FEW	20609	46.7
3-25-2023	U0920209	2315	-0.2			68.1		-47.8	-49.5	-54.8	53.6	668.3		X					DJP	FEW	23371	31.8
3-26-2023	U0860739	1115	-0.2			55.4		-44.5	-46.7	-52.8	49.7	669.8		X					AB	SCT	29217	13.0
3-26-2023	U0920252	2315	-0.3			82.9		-41.8	-44.2	-50.5	49.0	671.1		X					DJP	SKC	26915	19.1
3-27-2023	U0850403	1115	0.0			83.6		-40.4	-33.7	-41.4	46.1	670.6		X					DJP	SKC	17545	77.8
3-27-2023	U0860595	2315	-0.2			63.6		-48.8	-51.1	-57.0	49.3	669.1		X					AB	FEW	28315	15.0
3-28-2023	U0920247	1115	-0.3			63.3		-49.8	-49.1	-55.6	46.5	665.4		X					DJP	FEW	27471	17.6
3-28-2023	U0920194	2315	-0.3			64.1		-49.7	-51.3	-57.2	49.5	662.5		X					AB	FEW	26819	19.3			1st radiosonde failed preflight
3-29-2023	U0920192	1120	-0.2			61.6		-49.3	-47.1	-54.9	40.7	660.2		X					DJP	SKC	26716	19.9
3-29-2023	U0910768	2316	-0.3			61.8		-49.5	-52.5	-58.4	48.7	659.9		X					AB	FEW	25156	24.3
3-30-2023	U0910766	1115	-0.3			77.1		-46.1	-43.8	-50.5	47.2	660.8		X					DJP	FEW	28847	13.8
3-30-2023	U0910379	2315	-0.3			66.5		-40.0	-40.5	-45.4	59.2	662.5		X					AB	FZFG FEW	26921	19.1
3-31-2023	U0910764	1115	-0.3			70.0		-35.2	-33.7	-39.0	58.6	663.1		X					DJP	OVC DRSN	28542	14.4
3-31-2023	U0910451	2315	-0.2			65.3		-32.6	-33.0	-37.7	63.0	663.1							AB	FZFG SCT	27784	16.8
4-1-2023	U0910381	1115	-0.2			67.2		-34.2	-33.1	-38.2	60.2	662.9		X					DJP	SCT	27604	17.8
4-1-2023	U0920229	2315	-0.3			78.6		-25.6	-23.9	-28.2	67.5	662.8		X					AB	OVC -IC	28489	14.5
4-2-2023	U0920230	1115	-0.3			74.3		-37.2	-35.1	-41.2	53.7	663.8		X					DJP	BR FZFG	22886	36.2
4-2-2023	U0920233	2315	-0.3			67.3		-37.0	-36.5	-41.5	59.8	665.1		X					AB	DRSN SCT	26431	20.2
4-3-2023	U0910767	1115	-0.3			67.5		-35.5	-35.1	-41.2	53.6	665.5		X					AB	SCT	27048	18.5			Computer and SPS reboot
4-3-2023	U0920231	2315	-0.3			77.5		-26.2	-25.1	-29.4	67.3	663.7		X					DJP	BLSN SCT	28174	16.1
4-4-2023	U0910383	1115	-0.2			75.3		-26.5	-24.9	-30.7	58.6	660.9		X					AB	-IC SCT	28571	14.9
4-4-2023	U0920197	2315	0.0			87.6		-33.7	-33.2	-38.2	60.9	660.0		X					DJP	FEW	27511	17.8
4-5-2023	U0920210	1115	-0.3			67.9		-34.5	-33.2	-39.5	53.2	659.2		X					AB	SCT	27875	16.8
4-5-2023	U0920251	2315	-0.3			74.3		-42.0	-46.4	-52.3	51.0	659.2		X					DJP	FEW	26497	21.1
4-6-2023	U0920207	1115	-0.3			82.9		-41.7	-43.9	-50.9	45.8	659.9		X					AB	FEW	23121	34.0
4-6-2023	U0920189	2324	-0.1			49.9		-47.0	-46.7	-52.1	53.8	660.5							DJP	SKC	27342	18.6
4-7-2023	U0920193	1115	-0.2			66.7		-32.2	-30.8	-36.1	59.8	661.7		X					AB	SCT	25330	24.6
4-7-2023	U0920232	2315	-0.3			77.7		-24.5	-23.6	-27.6	69.7	663.7		X					DJP	BLSN OVC	28366	15.2
4-8-2023	U0920060	1115	-0.3			74.5		-25.7	-25.7	-30.0	67.6	663.4		X					AB	OVC BLSN	30070	12.0
4-8-2023	U0920234	2315	-0.3			77.5		-24.8	-23.9	-28.0	68.6	667.3		X					DJP	OVC BLSN	28594	15.2
4-9-2023	U0930376	1115	-0.2			75.3		-22.6	-20.5	-25.3	65.7	670.8		X					AB	SCT BLSN	27902	16.8
4-9-2023	U0930382	2315	-0.3			77.1		-26.0	-24.6	-28.6	69.1	671.2		X					DJP	BKN DRSN	28683	17.0
4-10-2023	U0920059	1115	-0.3			77.9		-23.2	-21.6	-25.9	68.3	670.3		X					DJP	FEW DRSN	25153	25.6
4-10-2023	U0920250	2316	-0.3			86.2		-23.6	-22.1	-25.5	74.4	670.6		X					AB	OVC DRSN	28548	17.4			Computer and SPS reboot + Time server updated
4-11-2023	U0910272	1115	-0.3			99.5		-26.2	-20.5	-28.3	49.8	669.4		X					DJP	FZFG	26505	20.1
4-11-2023	U0920248	2315	-0.2			88.3		-33.3	-36.2	-41.4	59.0	670.7		X					AB	BKN	26577	20.3
4-12-2023	U0910765	1115	-0.3			77.0		-35.8	-33.6	-39.5	55.4	671.9		X					DJP	SKC	23391	33.5
4-12-2023	U0920191	2317	0.0			76.8		-31.7	-30.1	-34.5	65.4	672.3		X					AB	FEW	27462	17.3
4-13-2023	U0920190	1115	-0.3			78.1		-25.8	-22.8	-27.8	63.7	671.1		X					DJP	SCT	29459	12.7
4-13-2023	U0920196	2315	-0.2			86.4		-30.8	-32.0	-36.3	65.3	671.5		X					AB	FEW	27591	17.0
4-14-2023	U0920187	1115	-0.3			72.5		-31.5	-26.3	-34.6	45.7	671.9		X					DJP	SCT	27799	16.7
4-14-2023	U0920064	2315	-0.2.			73.2		-35.2	-26.3	-34.6	45.7	671.9		X					AB	-IC FEW	25992	22.5
4-15-2023	U0910572	1115	-0.2			84.2		-31.8	-34.0	-40.1	54.1	670.3		X					DJP	FEW	27910	16.3
4-15-2023	U0920116	2315	-0.2			84.9		-38.4	-38.5	-43.5	59.4	670.3		X					AB	FEW	27841	17.0
4-16-2023	U0860351	1115	-0.2			88.0		-33.8	-35.6	-43.1	45.9	670.9		X					DJP	FEW	27425	18.2
4-16-2023	U0910599	2315	-0.2			74.8		-34.9	-35.2	-39.5	64.9	671.0		X					AB	FEW	27552	20.7
4-17-2023	U0860364	1116	-0.2			72.9		-23.7	-22.8	-26.9	69.1	670.1							AB	OVC	26946	19.6			Computer and SPS reboot + Time server updated
4-17-2023	U0920062	2315	-0.2			78.8		-26.4	-25.8	-29.7	69.3	669.0		X					DJP	BKN`	24479	28.7
4-18-2023	U0920120	1115	-0.2			81.5		-19.3	-17.7	-21.7	70.9	673.1		X					AB	OVC	24795	27.5			New tank opened with 1525 psi
4-18-2023	U0910698	2315	-0.3			81.1		-20.8	-20.5	-24.1	72.6	677.0		X					DJP	BKN	29183	13.6
4-19-2023	U0910566	1115	-0.2			74.9		-20.4	-19.0	-23.6	67.1	677.1		X					AB	OVC	26673	20.7			Failed sonde; new helium tank at 1550psi; mechanics held open garage door for balloon launch! (thank you)
4-19-2023	u0860360	2316	-0.2			81.6		-28.3	-27.8	-31.8	68.8	677.4		X					DJP	SCT	29186	15.3
4-20-2023	U0920061	1115	-0.2			75.0		-33.6	-31.1	-36.2	60.6	678.1		X					AB	OVC	22718	37.4
4-20-2023	U0860774	2315	-0.2			97.8		-33.7	-32.4	-36.3	67.7	683.9		X					DJP	BR SCT	26224	23.0
4-21-2023	U0920013	1115	-0.2			72.0		-33.0	-32.4	-37.9	57.9	684.8		X					AB	SCT	28136	16.6
4-21-2023	U0910549	2315	-0.2			93.3		-29.6	-29.6	-33.7	67.3	685.7		X					DJP	FZFG	27987	17.0
4-22-2023	U0860359	1115	-0.2			73.1		-24.3	-22.2	-27.8	60.4	685.3		X					AB	OVC -SN	28345	15.7			New tank starting fill 1575 ending amount, 900 psi;
4-22-2023	U0860720	2315	-0.2			78.5		-23.5	-23.1	-26.9	71.3	684.9		X					DJP	SCT	25860	23.4
4-23-2023	U0920014	2316	-0.2			83.2		-28.1	-27.4	-31.4	68.2	681.5		X					DJP	BKN	24093	30.0
4-24-2023	U0910551	1115	-0.2			79.5		-29.2	-21.3	-31.1	40.8	681.7		X					DJP	SCT	27574	18.2			Computer and SPS reboot + time server update.
4-24-2023	U0910699	2315	-0.2			102.0		-29.7	-28.4	-32.3	69.0	682.5		X					AB	SCT	26407	21.6			New helium tank pressure reading 600 psi (!)
4-25-2023	u0860350	1115	-0.1			93.2		-30.7	-23.3	-35.3	32.5	682.0		X					DJP	FEW	28211	16.2
4-25-2023	U0860363	2322	0.0			93.9		-33.7	-34.3	-39.1	61.4	679.9		X	1700	1000			AB	FZFG FEW	27028	19.6			Issue with sonde connecting when outside
4-26-2023	U0910595	1115	-0.2			78.2		-29.3	-26.4	-33.2	52.5	676.9		X	1000	300			DJP	FEW -IC	28389	16.2
4-26-2023	U0920117	2315	-0.2			99.4		-32.3	-30.4	-34.7	65.6	677.8		X	300	0	1550	1100	AB	SCT	24896	27.2
4-27-2023	U0860354	1116	-0.2			90.6		-32.9	-28.8	-35.8	50.8	678.4		X	1100	400			DJP	FEW	26787	20.7
4-27-2023	U0920115	2315	-0.2			87.3		-34.9	-36.7	-41.4	61.5	679.8		X	400	0	1500	1300	AB	SCT FZFG	29794	13.3
4-28-2023	U0920065	1115	-0.2			87.3		-27.8	-27.8	-34.9	50.5	679.9		X	1300	600			DJP	FEW
4-28-2023
4-29-2023	U0860599	1115	-0.2			84.1		-32.2	-29.8	-35.8	55.9	682.6		X	600	0	1500	1400	DJP	SKC	25684	23.3
4-29-2023	U0910596	2315	-0.3			86.8		-34.4	-36.5	-41.3	61.1	683.6		X	1600	690			AB	FEW	14562	128.7
4-30-2023	U0920063	1115	-0.2			81.1		-30.3	-28.5	-34.1	58.6	683.4		X	700	0	1550		DJP	FEW	27928	16.4
4-30-2023	U0860366	2315	-0.2			85.6		-31.2	-31.4	-35.3	68.4	683.6		X	1550	850			AB	FEW	25140	26.6
5-1-2023	U0860365	1115	-0.2			65.7		-29.9	-29.5	-36.3	52.0	683.0		X	850	200			DJP	FEW
5/1/2023	U0910597	2315	-0.2			5.2		-19.7	-32.5	-36.5	67.8	682.7		X	100	0	1550	990	AB	FEW	21899	41.6
5-2-2023	U0850407	1115	0.0			71.7		-29.0	-26.8	-32.2	60.6	681.9		X	1000	300			DJP	SKC	22418	39.0
5-2-2023	U0860362	2315	-0.2			80.8		-31.8	-34.2	-38.4	66.0	682.3		X	250	0	1500	1100	AB	FEW	25238	25.8			Restarted radiosonde computer, SPS and updated internet time server; called Brian and got the computer internet reestablished.
5-3-2023	U0860614	1115	-0.2			71.5		-28.3	-27.6	-33.3	58.4	681.4		X	1100	400			DJP	SKC	27990	17.6
5-3-2023	U0860358	2315	-0.1			75.6		28.4	-29.1	-33.1	67.8	678.4		X	325	0	1000	750	AB	SCT	31442	10.7
5-4-2023	U0860361	1115	-0.2			77.6		-25.8	-23.9	-29.2	61.3	675.0		X	800	100			DJP	SCT	28488	16.3
5-4-2023	U0920118	2330	-0.2			78.7		-24.4	-26.5	-30.3	70.1	673.6		X	100	0	1600	1000	AB	SCT	27375	19.3
5-5-2023	U0860353	1115	-0.2			77.0		-26.2	-31.2	-28.8	125.1	670.3		X	1050	350			DJP	SCT	20028	56.6
5-5-2023	U0860349	2315	-0.1			85.2		-30.4	-31.2	-35.0	69.2	668.1		X	350	0	1600	1225	AB	FEW	22857	.36.42
5-6-2023	U0850425	1115	0.0			71.8		-27.6	-25.1	-30.3	61.5	666.9		X	1225	550			DJP	DRSN SCT	24822	28.1
5-6-2023	U0910563	2315	-0.2			75.6		-26.9	-26.7	-30.8	68.0	666.2		X	550	0	1600	1200	AB	SCT -IC	26680	20.7			Hose was caught on table so it was holding the balloon down; accidental overfill by 200psi
5-7-2023	U0850424	1115	0.0			77.1		-24.9	-22.5	-28.1	60.6	667.6		X	1300	600			DJP	FEW	26817	21.0
5-7-2023	U0910543	2315	-0.3			74.9		-22.5	-23.8	-27.5	71.2	669.3			650	0			AB	OVC	25906	23.9
5-8-2023	U0850422	1115	0.0			79.4		-18.1	-16.1	-21.1	65.8	669.7		X	1350	600			DJP	DRSN SCT	28791	15.0			Weekly reboot; internet time updated
5-8-2023	U0910382	2331	-0.1			88.6		-19.2	-18.9	-22.5	72.9	669.0		X	600	0			AB	SCT -IC	28588	15.8			SPS connection lost; called Dornick (IT) reestablished at 23:29Z launched in time
5-9-2023	U0850426	1115	0.0			76.0		-19.4	-17.1	-22.6	62.5	667.8		X	1500	800			DJP	DRSN FEW	27649	18.1
5-9-2023	U0910552	2315	-0.2			78.1		-18.2	-18.9	-22.4	73.9	667.6			875	200			AB	-IC SCT	28760	15.2
5-10-2023	U0850481	1115	-0.2			75.5		-23.3	-21.9	-27.7	59.3	668.1		X	200	0	1600	1100	DJP	FEW	29354	13.8
5-10-2023	U0850443	2315	0.0			77.6		-22.7	-21.5	-25.3	71.6	667.5			1150	450			AB	OVC DRSN	28337	15.9
5-11-2023	U0910550	1115	-0.3			86.8		-13.3	-12.1	-15.3	76.9	665.0		X	450	0	1600	1400	DJP	BLSN	27742	18.5
5-11-2023	U0910376	2315	-0.2			84.9		-16.4	-14.7	-17.9	76.5	664.5		X	1400	700			AB	SCT -IC DRSN	24982	27.5
5-12-2023	U0850538	1115	-0.1			78.0		-20.3	-18.9	-24.0	63.6	661.9		X	750	50			DJP	FEW	27992	18.0
5-12-2023	U0850484	2315	0.0			83.1		-23.9	-23.8	-27.3	72.8	661.3		X	25	0	1600	1025	AB	SCT	29010	15.4
5-13-2023	U0850536	1115	-0.1			77.8		-24.3	-22.6	-27.2	66.1	662.4		X	1050	400			DJP	SCT	28965	15.4
5-13-2023	U0910547	2315	-0.2			81.1		-28.9	-28.8	-32.6	70.1	662.7		X	350	0	1600	1300	AB	SCT	27507	18.8
5-14-2023	U0910571	1115	-0.2			77.9		-29.6	-26.7	-32.5	57.8	661.7		X	1400	650			DJP	FEW	28732	15.5
5-14-2023	U0910573	2315	-0.2			83.5		-31.6	-32.7	-36.9	66.0	66.6		X	700	0	1550		AB	SCT	27651	18.8
5-15-2023	u0910301	1115	-0.2			78.4		-32.6	-31.2	-36.7	58.6	663.0		X	1550	850	.		DJP	FEW	27585	18.5			Internet time updated; weekly reboot still required.
5-15-2023	U0910548	2315	-0.2			77.1		-32.7	-31.9	-35.8	68.7	665.1		X	900	150			AB	SCT	27286	20.1
5-16-2023	U0850014	1115	0.0			79.0		-21.1	-19.5	-24.2	66.5	662.8		X	150	0	1600	1000	DJP	BLSN OVC	14110	137.3
5-16-2023	U0910561	2315	-0.2			81.8		-23.9	-22.9	-26.7	70.5	662.0		X	1050	400			AB	SCT	27515	19.4
5-17-2023	U0850485	1115	-0.1			77.8		-21.4	-20.2	-25.8	61.1	661.6		X	400	0	1600	1400	DJP	FEW	26499	22.4
5-17-2023	U0910388	2315	-0.2			86.0		-23.7	-23.6	-26.9	74.1	663.8		X	1600	650			AB	SCT	27320	20.1
5-18-2023	U0850482	1117	-0.1			72.4		-17.0	-15.5	-20.2	67.2	664.9			650	0			DJP	BKN	28303	16.8				16.79
5-18-2023	U0850483	2315	-0.1			83.3		-23.5	-22.0		577.9	664.0		X	1550	700			AB	OVC	ERROR	17.2			Network outage; pulled surface obs data from the big house and returned to the SMG
5-19-2023	U0850041	1115	0.0			75.8		-18.5	-17.2	-22.4	64.0	659.2		X	800	100			DJP	FEW	26125	23.5
5-19-2023	U0920162	2315	-0.2			81.5		-18.0	-17.1	-22.3	64.0	659.2		X	100	0	1500	1000	AB	OVC IC	29419	14.6
5-20-2023	U0850192	1115	0.0			78.6		-20.5	-18.0	-23.9	59.9	648.5		X	1000	325			AB	OVC	27115	20.8			North winds; equipment drove by to park and power down- possibly exhaust influence
5-20-2023	U0920159	2315	-0.2			78.6		-19.7	-18.7	-22.5	72.3	649.1			350	0	1600	1300	DJP	DRSN SCT	20699	51.7
5-21-2023	U0920015	1115	-0.2			80.1		-23.1	-21.0	-26.6	60.6	651.7		X	1350	625			AB	OVC IC	28355	17.2
5-21-2023	U0850528	2315	0.0			69.9		-29.5	-27.0	-30.8	70.1	656.3			625	0	1550	1450	DJP	FEW	29040	15.4
5-22-2023	U0850539	1115	0.0			73.9		-28.6	-26.3	-31.7	60.4	657.6		X	1450	700			DJP	FZFG FEW	26159	23.7			Computer and SPS reboot internet time updated
5-22-2023	U0910565	2315	-0.2			81.0		-31.3	-26.2	-30.7	66.0	656.2		X	650	0	1570	1490	AB	FEW	26710	22.2
5-23-2023	u0910574	1115	-0.2			74.7		-24.2	-22.7	-27.6	63.9	653.5		X	1450	750			DJP	SCT	27370	19.6
5-23-2023	U0850421	2315	0.0			71.8		-26.2	-22.0	-29.3	51.5	657.9		X	650	0			AB	FEW	26070	23.8
5-24-2023	U0850423	1115	0.0			70.8		-29.8	-27.7	-33.4	58.4	663.2		X	1500	800			DJP	DRSN FEW	27323	19.9
5-24-2023	U0910545	2315	-0.2			60.2		-28.2	-30.6	-35.0	65.6	666.9			900	200			AB	FEW	18697	70.1
5-25-2023	U0920139	1115	-0.2			74.5		-29.2	-26.8	-32.4	59.5	670.6		X	100	0	1500	800	DJP	FEW	27418	19.8
5-25-2023	U0920067	2315	-0.2			86.1		-28.3	-29.6	-3.5	888.6	670.8		X	775	40			AB	FEW	27556	19.4
5-26-2023	U0950251	1115	-0.1			80.4		-25.9	-25.3	-31.7	55.1	669.9		X	40	0	2000	1350	DJP	FEW	25378	25.8
5-26-2023	U0840801	2315	-0.1			75.0		-25.2	-25.1	-29.3	68.0	670.2		X	1350	700			AB	OVC	26399	23.7
5-27-2023	U0920160	1115	-0.2			69.9		-22.2	-22.0	-27.9	59.0	669.3		X	700	40			DJP	SCT	28270	17.8
5-27-2023	U0840788	2315	-0.2			80.5		-21.4	-20.5	-24.3	71.6	664.7		X	40	0	1600		AB	OVC -IC	21844	44.4
5-28-2023	U0920016	1115	-0.3			70.7		-26.9	-25.2	-30.4	61.5	664.0		X	1000	350			DJP	FEW	27925	18.3
5-28-2023	U0840789	2315	0.0			76.7		-28.3	-27.6	-31.9	66.5	664.1		X	350	0	1600	1300	AB	BKN -IC	26570	22.4			Computer and SPS reboot; internet time updated
5-29-2023	U0860159	1115	0.0			72.3		-28.8	-26.5	-32.6	56.3	664.2		X	1300	600			DJP	FEW -IC	26588	22.3
5-29-2023	U0860158	2315	-0.1			76.1		-24.8	-24.0	-28.3	67.6	663.5		X	600	0	1500	1400	AB	BKN -IC	25540	26.3
5-30-2023	U0840787	1115	0.0			76.6		-20.5	-19.3	-23.8	67.4	668.6		X	1400	700			DJP	OVC BLSN	29706	14.3
5-30-2023	U0850268	2315	0.0			83.2		-15.0	-14.0	-17.1	77.1	674.5			700	100			AB	OVC DRSN -IC	27991	18.8
5-31-2023	U0840719	1115	0.0			86.3		-10.6	-9.3	-12.9	75.1	678.6		X	50	0	1600	900	DJP	OVC BLSN	28891	16.4
5-31-2023	U0860160	2315	0.0			90.9		-8.6	-7.3	-10.1	80.9	678.9		X	800	50?			AB	FEW	27996	18.2
6-1-2023	U0920158	1115	-0.3			75.7		-12.8	-11.7	-16.2	69.3	678.0			100	0	1600	1000	DJP	FEW	29183	15.5
6-1-2023	U0920141	2315	-0.2			84.5		-18.3	-16.2	-19.5	75.7	678.3		X	1000	400			AB	SCT	27255	20.9
6-2-2023	U0850245	1115	0.0			79.4		-11.3	-9.1	-13.8	68.8	672.8		X	400	0	2000	1700	DJP	SCT	26612	23.3
6-2-2023	U0920143	2315	-0.2			72.0		-20.8	-21.6	-25.8	68.7	673.4			1700	1000			AB	SCT	28682	16.8
6-3-2023	u0850260	1115	0.0			77.6		-26.2	-24.6	-29.6	63.3	672.9		X	1000	300			DJP	FEW	27613	19.6
6-3-2023	U0850016	2315	0.0.			76.1		-22.2	-21.2	-25.4	69.0	672.7		X	300	0	1600	1200	AB	OVC IC	24381	32.3
6-4-2023	U0850128	1115	0.0.			74.4		-21.1	-20.3	-26.0	60.8	672.7		X	1200	500			DJP	DRSN SCT	27456	19.6
6-4-2023	U0920066	2315	-0.2			82.2		-18.7	-17.7	-21.5	72.5	673.8		X	500	0	1600	1400	AB	OVC -IC	27784	19.3
6-5-2023	U0920140	1115	-0.1			67.1		-15.0	-14.3	-20.2	60.8	675.5		X	1400	700			DJP	BKN	27414	21.1
6-5-2023	U0850269	2315	0.0			83.4		-21.5	-20.4	-23.9	73.5	677.6		X	700	0			AB	SCT	28383	17.8			Computer and SPS reboot; internet time updated
6-6-2023	U0840764	1115	0.0.			73.8		-18.3	-16.7	-20.9	70.0	677.6			1550	900			DJP	BKN	27286	21.0
6-6-2023	U0860161	2323	0.0.			75.2		-17.5	-16.6	-21.4	66.6	676.6		X	850	0	1800	1200	AB	SCT	29892	14.5			Balloon popped on the garage door edge!!
6-7-2023	U0850320	1115	0.2			73.8		-19.5	-17.6	-23.1	62.0	673.4		X	1200	500			DJP	FEW	27081	21.3
6-7-2023	U0850313	2315	0.1			80.4		-19.1	-17.7	-21.8	70.4	671.0		X	500	0	1550	1300	AB	OVC	26170	24.0
6-8-2023	U0910266	1115	-0.2			77.8		-20.7	-18.5	-24.2	60.6	670.9		X	1350	650			DJP	FEW	28692	16.8
6-8-2023	U0910074	2315	-0.1			79.5		-20.7	-19.8	-23.7	71.0	670.4		X	650	0	1500		AB	BKN	27806	19.2
6-9-2023	U0860783	1115	-0.1			74.7		-19.8	-19.1	-24.4	63.4	670.8		X	1500		800		DJP	SKC	26957	22.2
6-9-2023	U0860227	2315	0.0.			83.3		-21.5	-21.6	-25.2	72.5	670.3		X	800	150			AB	FEW	28824	16.2
6-10-2023	U0860233	1115	0.0.			86.3		-19.2	-18.0	-23.2	64.1	668.7		X	200	0	1500	1000	DJP	FZFG OVC	28034	18.6
6-10-2023	U0860234	2325	0.1			86.4		-12.6	-11.7	-14.4	80.3	665.7					1050	300	AB	IC OVC BLSN	26419	23.4			SPS connection lost upon arrival; multiple restarts
6-11-2023	U0860224	1115	0.0.			83.5		-13.0	-12.0	-15.6	74.6	665.6		X	300-0	200-0	1600	1400	DJP	IC OVC BLSN	27291	20.3
6-11-2023	U0930182	2316	-0.1			83.3		-16.5	-15.5	-19.2	73.6	669.2		X	1400	600			AB	OVC DRSN	28313	19.0			Computer and SPS reboot; internet time updated
6-12-2023	U0920017	1115	-0.2			86.5		-12.6	-10.7	-14.0	76.4	669.4		X	650	0			DJP	OVC BLSN	27683	19.6
6-12-2023	U0860230	2315	0.0.			88.5		-10.4	-9.1	-11.6	81.5	669.5			1600	800			AB	SN BLSN	27797	19.9
6-13-2023	U0850316	1115	0.1			74.0		-11.4	-11.8	-14.4	80.9	669.7					800	50?	AB	SCT	27434	20.4
6-13-2023	U0860786	2315	-0.2			87.1		-13.6	-12.9	-16.1	77.0	671.6		X	50	0	1500	900	DJP	DRSN SCT	28759	17.3
6-14-2023	U0860232	1115	0.0.			80.1		-8.8	-6.9	-11.4	70.1	673.4		X	900	200			DJP	DRSN SCT	28309	17.9
6-14-2023	U0930181	2315	-0.2			93.9		-5.8	-4.4	-6.4	86.0	675.3			200	0	1600	1200	AB	BLSN OVC	28598	17.1
6-15-2023	U0910268	1115	-0.3			79.4		-5.1	-4.0	-7.4	76.7	677.7			1200	500			DJP	BLSN SCT	28197	18.5
6-15-2023	U0850314	2315	0.1			91.0		-7.1	-5.5	-8.2	81.2	677.0		X	500	0	1600	1400	AB	BLSN OVC	29298	16.0
6-16-2023	U0860782	1115	-0.2			83.0		-12.1	-9.5	-14.7	65.8	675.6		X	1400	700			DJP	SCT	27734	20.2
6-16-2023	U0910267	2326	-0.1			88.5		-11.8	-9.7	-13.0	76.9	670.4		X	700	0	2100	2000	AB	SCT	28856	16.9
6-17-2023	U0930183	1124	-0.2			82.0		-13.3	-11.6	-16.1	69.7	666.8		X	2000	1300			FH	OVC	27054	22.3
6-17-2023	U09201242	2315	-0.2			80.1		-19.0	-18.2	-22.0	71.6	668.1		X	1300	600			JH	FEW	28882	17.1
6-18-2023	U0850491	1120	0.0			83.3		-19.9	-16.7	-22.5	61.1	673.0		X	600	0	1650	1550	FH	FEW	28159	18.8
6-18-2023	U0910047	2315	-0.2			81.1		-20.2	-17.9	-22.6	66.5	676.2		X	1550	800			JH	SCT	29855	14.9
6-19-2023	U0920101	1115	-0.2			93.3		-21.0	-17.7	-22.7	65.2	678.4		X	800	100			JH	FZFG OVC	28754	17.0
6-19-2023	U0850131	2315	-0.1			84.6		-20.5	-19.9	-23.4	73.8	680.0		X	40	0	1450	750	FH	FEW	29173	15.9
6-20-2023	U0910075	1115	-0.1			78.6		-18.9	-14.7	-20.7	60.0	679.1		X	750	75			JH	FEW	26207	24.6			Computer and SPS reboot
6-20-2023	U0860225	2315	0.1			82.5		-19.1	-19.0	-23.2	69.9	675.9		X	75	0	1590	990	FH	FEW	29092	16.1
6-21-2023	U0850319	1116	0.1			84.5		-10.6	-8.3	-12.8	69.8	668.8		X	990	280			JH	-SN BLSN OVC	28892	16.9
6-21-2023	U0860228	2315	0.0.			87.4		-17.1	-16.3	-19.8	74.7	663.8		X	300	0	2150	1675	FH	FEW	28879	17.0
6-22-2023	U0860785	1115	-0.2			81.9		-15.6	-13.0	-18.2	65.2	666.7		X	1675	975			JH	IC SCT	27584	20.1
6-22-2023	U0910076	2328	-0.2			88.7		-11.4	-10.3	-13.4	78.1	670.9		X	975	250			FH	OVC	28603	18.6
6-23-2023	U0910078	1115	-0.1			82.9		-11.6	-8.4	-14.0	64.1	673.1		X	250	0	2100	1625	JH	BKN	26481	25.6
6-23-2023	U0850321	2315	-0.1			84.1		-11.4	-10.2	-13.6	75.8	675.0		X	1625	975			FH	OVC	27087	22.1
6-24-2023	U0860231	1115	0.0.			87.7		-8.1	-5.2	-10.1	68.2	678.0		X	975	250			JH	DRSN SCT	26937	22.4
6-24-2023	U0850318	2315	0.1			91.0		-5.8	-4.1	-7.2	79.4	678.9		X	250	0	1600	1100	FH	OVC -SN	27468	21.2
6-25-2023	U0850315	1136	0.1			87.9		-6.6	-4.2	-8.4	72.6	679.8		X	1100	400			JH	-SN BKN	25576	25.2			SPS connection error, needed two reboots and then a hard reboot of everything including the UPS
6-25-2023	U0930184	2315	-0.2.			88.5		-4.9	-4.0	-6.8	80.8	682.5			400	0	2100	1800	FH	OVC	29643	15.2
6-26-2023	U0850270	1115	-0.1			84.2		-4.4	-2.4	-6.7	72.4	682.0		X	1800	1050			FH	OVC	29933	14.9			Balloon oven was off. Balloon temperature at inflation was ~25C
6-26-2023	U0930177	2316	-0.2			94.8		-4.3	-2.8	-5.0	84.4	679.1		X	1050	350			JH	BLSN BKN	29410	15.5
6-27-2023	U0850317	1134	0.1			92.3		-3.0	-2.0	-4.4	83.6	674.7		X	350	0	1600	1200	FH	BLSN OVC	29571	15.6
6-27-2023	U0850247	2315	0.0.			85.7		-10.7	-9.4	-12.7	76.9	675.8		X	1200	525			JH	BKN	28671	17.8
6-27-2023	U0920161	1115	-0.2			86.4		-11.1	-8.8	-12.5	74.7	675.4		X	500	0	1600	1500	FH	SN BKN	28448	18.4
6-28-2023	U0930185	2315	-0.1			90.3		-7.7	-6.2	-8.9	81.0	673.3		X	1500	800			JH	-SN BLSN OVC	29588	15.2
6-29-2023	U0910265	1121	-0.2.			85.3		-7.7	-5.0	-10.1	67.2	674.3		X	900	200			FH	SCT	29553	15.4			SPS rebooted x2, sondes tried x2, finally worked but late launch, fan taken out
6-29-2023	U0860784	2339	-0.2			89.7		-8.6	-7.3	-10.3	78.8	674.5		X	200	0	2100	1600	JH	-SN OVC	29087	16.4
6-30-2023	U0930186	1118	-0.2			83.1		-7.8	-5.3	-10.3	67.7	675.2		X	1600	900			FH	BLSN BKN	28301	19.3
6-30-2023	U0860254	2316	0.0.			88.7		-10.0	-8.4	-11.7	76.7	679.4		X	900	200			JH	SN BKN	28976	16.4
7-1-2023	U0860253	1123	0.1			86.7		-7.9	-6.1	-9.8	75.0	678.0		X	200	0	1580	1100	FH	BLSN OVC	27973	19.6
7-1-2023	U0860268	2315	0.0.			89.5		-9.6	-8.0	-11.0	79.2	683.2		X	1100	400			JH	SN BLSN	28379	18.6
7-2-2023	U0860142	1124	0.0.			84.6		-6.5	-5.0	-9.1	73.1	687.6		X	400	0	1600	1300	FH	SCT	25103	29.5
7-2-2023	U0860781	2316	0.1			90.5		-9.2	-7.3	-10.2	79.6	691.7		X	1300	575			JH	BKN	27281	20.5
7-3-2023	U0860269	1115	0.0.			69.8		-11.0	-8.5	-15.8	55.6	691.7		X	575	0	1550	1400	JH	FEW	28535	17.7
7-3-2023	U0860270	2316	0.0.			85.1		-11.7	-10.8	-14.5	74.2	690.1		X	1400	700			FH	FEW	28444	18.1
7-4-2023	U0860141	1115	0.0.			79.4		-9.7	-7.0	-13.5	60.0	688.0		X	750	35			JH	FEW	28340	18.9
7-4-2023	U0920208	2315	-0.2			84.5		-10.9	-11.2	-14.7	75.5	686.5		X	35	0	1600	935	FH	FEW	29632	15.0
7-5-2023	U0860261	1115	-0.1			90.7		-14.0	-10.5	-15.7	65.5	685.5		X	935	200			JH	FEW	29042	16.5
7-5-2023	U0860273	2315	0.0.			88.2		-13.1	-12.2	-15.1	78.7	684.3		X	200	0	1600	1050	FH	SCT	30067	14.4
7-6-2023	U0860139	1115	0.0.			88.9		-6.9	-4.3	-8.7	71.3	684		X	1050	350			JH	-SN BKN	29390	15.8
7-6-2023	U0860276	2315	0.0.			93.4		-5.3	-4.1	-6.4	83.9	686.3		X	350	0	1600	1300	FH	OVC	29383	16.2
7-7-2023	U0860071	1126	0.0.			91.9		-4.9	-3.4	-5.9	83.0	685.2		X	1350	600			JH	-SN OVC	29928	14.7
7-7-2023	U0860070	2318	0.0.			91.0		-6.1	-4.7	-7.1	83.3	683.4			600	0	1650	1600	FH	-SN OVC	29889	14.7
7-8-2023	U0860140	1115	0.1			90.5		-7.7	-5.6	-9.1	76.5	685.3		X	1600	850			JH	-SN BLSN BKN	28105	19.8
7-8-2023	U0860153	2315	0.0.			92.0		-7.9	-6.8	-9.0	84.5	688.0			850	250			FH	-SN OVC	29791	15.4
7-9-2023	U0860266	1115	0.0.			86.8		-8.5	-6.7	-10.7	73.0	688.9		X	200	0	1600	1150	JH	-SN OVC	27339	22.4
7-9-2023																									Could not establish communications with SPS even after multiple reboots.
7-10-2023	U0860259	1126	0.0.			91.5		-7.1	-4.9	-8.2	77.6	689.1		X	1100	450			FH	OVC	29882	15.2			Still having problems with SPS communications. Power cycling the DES-1005D finally fixed the SPS communication problem.					4.3
7-10-2023	U0920206	2315	-0.2			93.1		-6.1	-4.6	-7.1	82.2	688.3		X	450	0	1600	1325	JH	-SN BKN	29098	16.4
7-11-2023	U0860154	1137	0.0.			89.1		-6.3	-4.1	-7.6	76.8	685.9		X	1325	625			FH	OVC	28890	16.9			SPS connection error. Needed two SPS reboots.
7-11-2023	U0850537	2315	0.0.			92.5		-7.3	-5.7	-8.5	81.1	685.8		X	625	0	1650	1600	JH	SN BKN	28279	18.5
7-12-2023	U0860265	1115	0.0.			87.4		-9.1	-6.3	-10.7	70.9	687.0		X	1600	900			FH	OVC	29821	14.8
7-12-2023	U0860260	2315	0.1			87.5		-10.5	-8.9	-12.3	76.3	687.7		X	900	200			JH	-SN OVC	27872	19.5
7-13-2023	U0860155	1116	0.1			78.5		-10.7	-7.2	-13.4	61.0	687.4		X	200	0	2100	1600	FH	-SN OVC	28095	19.3
7-13-2023	U0860263	2315	0.0.			88.2		-12.0	-10.5	-13.6	77.8	687.5		X	1600	900			JH	-SN OVC	26995	22.8
7-14-2023	U0860274	1115	0.0.			84.1		-10.4	-8.2	-13.1	67.7	686.6		X	900	200			FH	OVC	27976	19.9			Date and time sync, SPS and computer restarted.
7-14-2023	U0850105	2315	-0.1			86.5		-11.9	-8.2	-12.0	73.7	685.6		X	200	0	1600	1100	JH	BKN	27146	21.9
7-15-2023	U0860069	1118	0.0.			87.4		-13.2	-11.8	-15.9	71.7	683.9		X	1100	500			FH	BKN	28382	18.2
7-15-2023	U0860152	2315	0.0.			90.3		-14.7	-10.2	-14.8	69.0	682.9		X	500	0	1600	1400	JH	IC BKN	27848	19.6
7-16-2023	U0860143	1120	0.0.			80.6		-7.8	-5.5	-10.7	66.9	680.7		X	1400	700			FH	BKN	29368	15.5			Program crashed, didn’t get ending values. Will look at archive later.
7-16-2023	U0860068	2315	0.0.			89.5		-8.9	-8.0	-10.8	80.2	680.6		X	700	0			JH	-SN BKN	28899	17.0
7-17-2023	U0850540	1115	0.1			87.9		-6.5	-5.8	-8.8	79.1	681.0		X	2300?	1800			JH	-SN OVC	25738	26.4			Weekly reboot; internet time updated
7-17-2023	U0860272	2315	0.0			94.8		-15.1			100.0	681.9			1800	1400			FH	SCT	6277	452.5			NOAA weather instruments offline for tower extension. Sonde temperature and RH used. Wind direction and speed estimated. Termination height only at 6277 meters due to weak or fading signal.
7-18-2023	U0860144	1128	0.0.			80.0		-10.0			100.0	681.5		X	1400	1000			JH	BKN	28234	18.7			NOAA weather instruments offline for tower extension. Sonde temperature and RH used. Wind direction and speed taken from current flights obs METAR. Rebooted everything.
7-18-2023	U0920205	2315	-0.2			80.8		-6.5			100.0	682.2		X	1000`	600			FH	OVC	28594	17.8			NOAA weather instruments offline for tower extension. Sonde temperature and RH used. Wind direction and speed estimated.
7-19-2023	U0860275	1117	0.0.			83.2		-8.0	-9.0	-12.0	78.8	682.1			600	200			JH	OVC	28178	18.8			SPS rebooted
7-19-2023	U0860156	2316	0.0.			92.0		-5.8	-4.6	-7.0	83.2	680.4		X	200	0	2300	2050	FH	OVC	30102	14.5
7-20-2023	U0860067	1115	-0.1			94.2		-5.0	-2.1	-5.5	77.7	679.8		X	2050	1550			JH	-SN BKN	28438	18.1
7-20-2023	U0860262	2316	0.0.			95.5		-3.5			100.0	679.5			1600	1200			FH	OVC	28040	19.3
7-21-2023	U0860072	1115	0.0.			89.4		-4.7			100.0	679.3		X	1150	700			JH	-SN OVC	26099	25.2			Met tower down, just used wx data from sonde and wx ob METAR
7-21-2023	U0830370	2321	0.1			94.9		-4.2	-2.8	-4.8	86.1	679.5		X	700	300			FH, JH	-SN OVC	29450	15.4
7-22-2023	U0860145	1129	0.0.			92.3		-3.9	-1.1	-5.0	74.5	682.8		X	300	0			JH	-SN OVC	28732	17.6			Rebooted SPS x2
7-22-2023	U0860162	2315	0.0.			96.2		-4.3	-2.7	-	-	683.6		-	2100	1700			FH	OVC	23345	37.7			NOAA humidity sensor not working. Used sonde RH.
7-23-2023	U0920072	1117	-0.2			89.5		-9.2	-7.2	-	-	683.2		X	1700	1250			JH		28345	18.7			NOAA humidity sensor not working. Used sonde RH.
7-23-2023	U0920102	2315	-0.2			90.5		-8.2	-7.1	-	-	682.2		X	1250	850			FH	OVC	29306	15.9			NOAA humidity sensor not working. Used sonde RH.
7-24-2023	U0850524	1120	0.0.			88.9		-9.4	-6.9	-	-	682.4		X	850	450			FH	SCT	27807	19.7			Weekly reboot; internet time updated
7-24-2023	U0920099	2315	-0.2			92.7		-7.2	-5.6	-	-	682.7		X	450	30-50?			JH	-SN OVC	27051	22.5			NOAA humidity sensor not working. Used sonde RH.
7-25-2023	U0920100	1122	-0.2			89.6		-11.1	-7.4	-	-	682.3		X	30	0	2200	1800	FH	SCT	28478	18.3			NOAA humidity sensor not working. Used sonde RH.
7-25-2023	U0860148	2320	0.0.			90.3		-10.0	-8.7	-	-	682.5		X	1800	1400			JH	BKN	28389	18.6			NOAA humidity sensor not working. Used sonde RH. SPS rebooted.
7-26-2023	U0860149	1119	0.0.			90.1		-9.2	-6.8	-	-	683.3		X	1400	1000			FH	OVC	26859	22.3			NOAA humidity sensor not working. Used sonde RH.
7-26-2023	U0920071	2315	0.0.			88.0		-8.8	-2.2	-	-	684.0		X	1000	600			JH	BKN	27143	21.6			NOAA humidity sensor not working. Used sonde RH.
7-27-2023	U0860150	1122	0.0.			84.8		-12.4	-10.8	-	-	682.7		X	600	200			FH	OVC	28771	17.6			NOAA humidity sensor not working. Used sonde RH.
7-27-2023	U0920068	2315	-0.2			84.9		-9.5	-	-	-	682.5		X	200	0	2250	2050	JH	BKN	27320	21.1			NOAA down for tower maint, used sonde data.
7-28.2023	U0860147	1115	0.0.			95.9		-9.8	-7.6	-	-	682.0		X	2000	1600			FH	FZFG OVC	28049	19.5			NOAA humidity sensor not working. Used sonde RH.
7-28-2023	U0920144	2315	-0.1			90.7		-12.3	-11.2	-	-	680.9		X	1600	1200			JH	-SN BKN	29654	15.3			NOAA humidity sensor not working. Used sonde RH.
7-29-2023	U0920070	1115	-0.2			89.3		-9.9	-7.6	-	-	679.2		X	1200	800			FH		27875	19.4			NOAA humidity sensor not working. Used sonde RH.
7-29-2023	U0850007	2315	-0.1			86.2		-9.4	-8.1	-	-	677.3		X	800	400			JH	OVC	29485	15.7			NOAA humidity sensor not working. Used sonde RH.
7-30-2023	U0920097	1117	-0.2			85.3		-9.6	-7.6	-	-	676.1		X	400	0			FH	OVC	27963	19.2			NOAA humidity sensor not working. Used sonde RH.
7-30-2023	U0860763	2315	-0.3			85.1		-10.3	-9.2	-	-	676.4		X	2300	1900			JH	-SN OVC	27986	18.9			NOAA humidity sensor not working. Used sonde RH.
7-31-2023	U0920069	1115	-0.2			87.7		-10.2	-8.2	-	-	675.9		X	1900	1500			JH	BKN	27604	20.5			Weekly reboot; internet time updated. NOAA humidity sensor not working. Used sonde RH.
7-31-2023	U0850066	2323	0.0.			80.2		-9.5	-8.5	-	-	677.2		X	1500	1100			FH	-SN OVC	29678	15.1			NOAA humidity sensor not working. Used sonde RH.
8-1-2023	U0850010	1115	0.0.			78.0		-12.1	-10.8	-	-	678.3		X	1050	600			JH	SCT	27917	19.9			NOAA humidity sensor not working. Used sonde RH.
8-1-2023	U0850523	2316	-0.1			98.0		-13.6	-12.3	-	-	680.3		X	600	200			FH	FZFG OVC	28314	18.2			NOAA humidity sensor not working. Used sonde RH.
8-2-2023	U0860151	1115	0.0.			90.7		-10.2	-8.0	-	-	680.3		X	200	0	2250	2050	JH	SCT	27558	20.7			NOAA humidity sensor not working. Used sonde RH.
8-2-2023	U0850008	2315	0.0.			86.0		-11.6	-11.0	-	-	680.4		X	2050	1700			FH	OVC	29005	16.5			NOAA humidity sensor not working. Used sonde RH.
8-3-2023	U0840792	1115	0.0.			87.4		-11.8	-9.8	-	-	679.9		X	1700	1300			JH	BKN	28770	17.3			NOAA humidity sensor not working. Used sonde RH.
8-3-2023	U0920098	2314	0.0.			87.1		-10.3	-9.8	-	-	679.5		X	1300	900			FH	BKN	26811	23.1			NOAA humidity sensor not working. Used sonde RH.
8-4-2023	U0860146	1115	0.1			87.8		-10.6	-9.0	-	-	678.9		X	900	500			JH	-SN BKN	29272	15.9			NOAA humidity sensor not working. Used sonde RH.
8-4-2023	U0850011	2315	0.0.			94.5		-17.5	-16.1	-	-	680.6		X	500	100			FH	SCT	29463	15.8			NOAA humidity sensor not working. Used sonde RH.
8-5-2023	U0850064	1118	-0.1			82.4		-12.3	-10.3	-	-	682.3		X	100, 150	0, 0	2300	2150	JH	SCT	30127	14.1			NOAA humidity sensor not working. Used sonde RH.
8-5-2023	U0850065	2327	0.0.			90.1		-11.6		-	-	684.7		X	2150	1700			FH	OVC	28114	19.3			NOAA humidity sensor not working. Used sonde RH.
8-6-2023	U0850009	1115	0.0.			91.3		-13.6	-11.1	-	-	685.2		X	1700	1300			JH	-SN OVC	27009	21.9			NOAA humidity sensor not working. Used sonde RH.
8-6-2023	U0850062	2315	0.0.			88.0		-12.8	-11.9	-	-	685.6		X	1300	900			FH	OVC	29043	16.5			NOAA humidity sensor not working. Used sonde RH.
8-7-2023	U0860157	1116	0.0			87.5		-14.0	-11.7	-	-	685.2		X	900	500			FH	BKN	30190	13.9			NOAA humidity sensor not working. Used sonde RH.
8-7-2023	U0860766	2315	-0.2			89.3		-12.3	-11.0	-	-	685.1		X	500	<100			JH	-SN OVC	29785	14.5			Weekly reboot; internet time updated. NOAA humidity sensor not working. Used sonde RH.
8-8-2023	U0840791	1120	0.0.			87.5		-10.8	-8.5	-	-	684.5		X	50	0	2150	1800	FH	-SN OVC	28936	16.2			NOAA humidity sensor not working. Used sonde RH.
8-8-2023	U0840790	2315	0.0.			89.4		-10.5	-9.1	-	-	684.8		X	1800	1400			JH	-SN BKN	30068	14.1			NOAA humidity sensor not working. Used sonde RH.
8-9-2023	U0850063	1126	-0.1			86.3		-10.5	-8.1	-	-	683.3		X	1400	1000			FH		28939	16.7			NOAA humidity sensor not working. Used sonde RH.
8-9-2023	U0860346	2317	-0.1			89.0		-10.1	-8.7	-	-	680.2		X	1000`	600			JH	-SN OVC	29184	16.2			NOAA humidity sensor not working. Used sonde RH.
8-10-2023	U0860647	1123	-0.1			92.3		-13.8	-9.8	-	-	679.4		X	600	300			FH	OVC	29394	16.0			NOAA humidity sensor not working. Used sonde RH.
8-10-2023	U0860568	2315	-0.1			84.6		-13.9	-12.8	-	-	680.5		X	300	0	2250	2050	JH	OVC	29494	15.7			NOAA humidity sensor not working. Used sonde RH.
8-11-2023	U0860344	1120	-0.1			83.8		-14.4	-13.2	-	-	682.6		X	2100	1700			FH	SCT	27579	20.4			NOAA humidity sensor not working. Used sonde RH.
8-11-2023	U0910601	2315	-0.2			86.1		-15.1	-13.8	-	-	684.2		X	1700	1300			JH	IC BR SCT	26507	23.6			NOAA humidity sensor not working. Used sonde RH.
8-12-2023	U0910489	1115	0.0.			87.1		-12.5	-10.3	-	-	685.9		X	1300	900			FH	BKN	29522	15.6			NOAA humidity sensor not working. Used sonde RH.
8-12-2023	U0910484	2315	-0.2			88.3		-9.6	-8.3	-	-	687.1		X	900	500			JH	-SN OVC	29306	16.0			NOAA humidity sensor not working. Used sonde RH.
8-13-2023	U0910483	1115	-0.1			85.1		-11.1	-9.4	-	-	685.7		X	500	100			FH	BKN	27826	19.4			NOAA humidity sensor not working. Used sonde RH.
8-13-2023	U0910480	2319	-0.2			89.3		-16.4	-16.0	-	-	682.6		X	100	0	2000	1650	JH	SCT	29582	15.2			NOAA humidity sensor not working. Used sonde RH.
8-14-2023	U0860648	1115	-0.1			88.9		-11.1	-7.3	-	-	681.5		X	1650	1250			JH	BKN	27871	18.8			Weekly reboot; internet time updated.
8-14-2023	U0910486	2315	-0.1			90.0		-17.0	-16.0	-	-	680.5		X	1250	850			FH	SCT	26857	22.5			NOAA humidity sensor not working. Used sonde RH. Wind speed and direction estimated.
8-15-2023	U0860646	1116	-0.1			81.5		-16.2	-13.6	-	-	678.5		X	850	450			JH	-SN SCT	28202	18.1			NOAA humidity sensor not working. Used sonde RH.
8-15-2023	U0910470	2321	-0.2			96.2		-15.6	-14.1	-	-	678.5		X	450	50			FH	-SN OVC	29757	14.9			NOAA humidity sensor not working. Used sonde RH.
8-16-2023	U0860343	1118	-0.1			83.0		-17.9	-14.9	-	-	680.0		X	30	0	2250	1850	JH	BKN	28758	16.5			NOAA humidity sensor not working. Used sonde RH.
8-17-2023	U0860645	1115	-0.1			82.2		-13.4	-11.7	-	-	682.4		X	1850	1450			JH	-SN OVC	28584	17.0			NOAA humidity sensor not working. Used sonde RH.
8-18-2023	U0910485	1128	-0.1			85.1		-14.4	-13.0	-	-	685.1		X	1450	1050			FH	-SN OVC	28878	16.3			NOAA humidity sensor not working. Used sonde RH.
8-19-2023	U0910482	1120	-0.1			79.2		-14.4	-13.5	-17.7	74.5	687.2		X	1100	700			FH	OVC	27985	18.4
8-20-2023	U0910487	1115	-0.2			86.0		-12.4	-10.8	-14.2	75.8	684.4		X	700	300			JH	-SN OVC	28348	18.0
8-21-2023	U0910488	1120	-0.1			91.7		-5.3	-4.0	-6.5	83.0	688.3		X	300	0	2250	2100	FH	OVC	29344	15.5			Weekly reboot; internet time updated
8-22-2023	U0910479	1115	-0.1			96.1		-12.1	-8.0	-12.4	71.0	691.0		X	2100	1700			JH	BR FEW	29671	15.0
8-23-2023	U0910476	1121	-0.1			87.6		-12.0	-9.3	-14.5	65.9	690.0		X	1700	1300			FH	FEW	28476	17.6
8-24-2023	U0910477	1116	-0.2			79.3		-9.8	-6.6	-12.8	61.5	686.4		X	1300	850			JH	SCT	29414	15.5	4.7
8-25-2023	U0910475	1115	-0.1			89.5		-9.1	-8.0	-10.8	80.3	678.6		X	850	400			FH	-SN OVC	28526	17.2	5.0
8-26-2023	U0860237	1118	0.1			83.8		-14.6	-12.9	-17.0	71.5	673.6		X	400	>0			JH	BKN	28433	17.6	4.8					.
8-27-2023	U0910476	1120	-0.1			85.1		-13.6	-11.1	-16.2	66.1	672.1		X	2300	1900			FH	OVC	28674	16.5	5.1
8-28-2023	U0910481	1120	-0.2			81.5		-20.0	-17.6	-22.4	66.2	673.6		X	1900	1500			JH	SCT	30455	12.6	5.1		Weekly reboot; internet time updated
8-29-2023	U0910471	1121	-0.2			84.4		-13.3	-11.4	-15.5	71.7	673.0		X	1500	1300			FH	BKN	22823	22824		1	150g balloon
8-30-2023	U0910478	1115	-0.2			86.4		-11.0	-9.2	-12.7	76.1	673.6		X	1250	950			JH	-SN OVC	17355	88.3	4.3	2	150 g balloon. 418 g weight.
8-31-2023	U0910474	1120	-0.1			88.0		-10.2	-8.4	-11.8	76.2	670.9		X	950	650			FH	-SN OVC	10407	N/A	4.1	3	150 g balloon 418 g weight. Terminated for excessive missing GPS height.
9-1-2023	U0910585	1144	0.0			88.1		-12.4	-10.4	-14.3	73.5	665.6		X	650	450			JH	BLSN OVC	24338	32.2	3.9	4	150 g balloon 218 g weight. 2X sondes failed for no data. Rebooted everything and working again. Late launch.
9-2-2023	U0860229	1115	0.0.			87.2		-11.7	-10.3	-13.7	76.2	657.1		X	450	250			FH	BLSN OVC	21452	48.8	4.0	5	150 g balloon. 218 g weight.
9-3-2023	U0860240	1115	0.0.			82.8		-18.1	-15.7	-20.3	67.9	658.5		X	250	0	2300	2250	JH	-SN BKN	24378	32.3	4.2.	6	150g balloon. 300 g weight
9-4-2023	U0910372	1118	-0.1			91.4		-19.6	-16.5	-21.3	66.6	667.0		X	2250	1950			FH	SCT	21992	46.0	4.2.	7	150g balloon. 300 g weight. Weekly reboot; internet time updated.
9-5-2023	U0860226	1116	0.0.			84.9		-14.6	-13.0	-16.5	74.9	669.8		X	1950	1700			JH	BKN	22103	45.0	4.2.	8	150g balloon. 300 g weight
9-6-2023	U0860570	1115	-0.2			84.1		-14.0	-12.1	-15.8	73.9	666.5		X	1700	1400			FH	OVC	21603	48.4	4.4	9	150 g balloon. 400 g weight.
9-7-2023	U0860223	1128	0.0.			80.4		-22.9	-22.9	-27.6	65.7	664.0		X	1400	1000			JH	OVC	27313	19.5	4.8	10	350 g balloon.
9-8-2023	U0910580	1114	-0.1			82.2		-18.1	-14.4	-19.9	63.1	667.7		X	1000	700			FH	BKN	21969	45.6	4.6	1	150 g balloon. 460 g weight.
9-9-2023	U0860239	1115	0.0.			82.7		-27.0	-24.7	-29.7	62.7	674.3		X	700	400			JH	BKN	22045	45.2	4.6	2	150 g balloon. 460 g weight.
9-10-2023	V2940574	1124	0.0			84.0		-20.8	-19.2	-23.5	69.2	677.5		X	400	50			FH	OVC	22229	43.6	4.6	3	150 g balloon. 460 g weight.
9-11-2023	V2940565	1119	-0.3			87.3		-20.2	-17.9	-22.8	65.6	675.9		X	50	0	2300	2000	JH	-SN OVC	23290	36.0	4.7	4	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
9-12-2023	V2940576	1120	-0.3			99.5		-19.6	-16.9	-21.4	67.9	674.6		X	2000	1700			FH	FZFG BKN	22689	39.2	4.7	5	150 g balloon. 500 g weight.
9-13-2023	V2940518	1127	-0.3			103.8		-26.7	-24.4	-30.2	58.5	676.1		X	1700	1400			JH	FZFG BKN	22300	42.4	4.7	6	150 g balloon. 500 g weight. First sonde bad. RH was at 105% and then stopped recording after a couple readings.
9-14-2023	V2940581	1114	-0.2			98.1		-30.0	-25.6	-32.7	51.9	676.2		X	1400	1000			FH	FZFG BKN	22947	38.4	4.7	7	150 g balloon. 500 g weight.
9-15-2023	V2940571	1115	-0.2			85.8		-28.2	-24.0	-29.6	59.8	675.3		X	1000	700			JH	BR FEW	22803	39.5	4.6	8	150 g balloon. 500 g weight. Wind speed and direction estimated.
9-16-2023	V2940573	1115	-0.2			80.5		-21.5	-20.0	-23.7	72.5	673.2		X	700	450			FH	BLSN BKN	21198	49.9	4.6	9	150g balloon. 500 g weight.
9-17-2023	V2940582	1115	-0.2			77.7		-26.2	-23.1	-27.7	66.0	677.2		X	450	~25			JH	FEW	28915	15.2	4.7	10	350 g balloon.
9-18-2023	V2940594	1117	-0.2			80.8		-32.4	-28.2	-34.8	53.3	679.0		X	25	0	2200	1900	FH	FEW	22015	44.4	4.6	1	150g balloon. 500 g weight. Weekly reboot; internet time updated.
9-19-2023	V2940572	1115	-0.2			81.1		-31.8	-27.6	-34.7	50.6	678.9		X	1900	1600			JH	FEW	20523	55.3	4.7	2	150 g balloon. 500 g weight.
9-20-2023	V2931228	1121	-0.1			88.6		-32.4	-27.6	-35.8	45.3	676.8		X	1600	1300			FH	BKN	21796	45.5	4.7	3	150 g balloon. 500 g weight.
9-21-2023	V2940580	1115	-0.2			94.4		-29.2	-28.8	-34.5	57.8	675.8		X	1300	950			JH	-SN BR BKN	23425	39.1	4.8	4	150 g balloon. 500 g weight.
9-22-2023	V2931324	1114	-0.1			74.0		-32.8	-17.2	-26.1	45.9	675.4		X	950	650			FH	FEW	22579	40.2	4.6	5	150 g balloon. 500 g weight.
9-23-2023	V2940579	1115	-0.2			77.8		-26.9	-23.4	-29.0	60.1	673.1		X	650	400			JH	BKN	21783	44.9	4.8	6	150 g balloon. 500 g weight.
9-24-2023	V2931330	1126	-0.2			79.7		-22.2	-20.2	-24.2	70.6	675.1		X	400	100			FH	OVC	23351	34.1	4.6	7	150 g balloon. 500 g weight.
9-25-2023	V2940575	1115	-0.2			78.5		-22.5	-19.6	-24.8	63.5	665.5		X	~50	0	2200	1950	JH	-SN OVC	21704	45.7	4.9	8	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
9-26-2023	V2940589	1114	-0.3			75.5		-25.4	-24.8	-29.1	67.4	668.0		X	1950	1650			FH	OVC	22490	40.2	4.8	9	150 g balloon. 500 g weight.
9-27-2023	V2931227	1115	-0.2			72.5		-38.0	-34.1	-41.1	49.4	669.4		X	1650	1200			JH	SCT	28278	15.9	4.8	10	350 g balloon.
9-28-2023	V2940578	1119	-0.2			74.4		-29.5	-28.0	-34.2	54.9	670.3		X	1200	900			FH	BKN	23233	35.8	4.7	1	150 g balloon. 500 g weight.
9-29-2023	V2931325	1116	-0.1			73.2		-36.3	-30.5	-37.9	48.0	670.9		X	900	600			JH	BR FEW	21507	46.0	4.7	2	150 g balloon 500 g weight
9-30-2023	V2931323	1122	-0.1			79.8		-22.7	-21.5	-25.5	69.8	671.1		X	600	300			FH	OVC	21710	44.8	4.6	3	150 g balloon 500 g weight
10-1-2023	V2931326	1115	-0.2			84.3		-39.1	-39.0	-47.8	38.9	671.8		X	300	0			JH	BR FEW	17078	-52.1	4.6	4	150g balloon. 500 g weight.
10-2-2023	V2931329	1115	-0.1			89.8		-35.5	-33.8	-40.2	52.7	672.6		X	2200	1900			FH	FEW	20586	53.0	4.7	5	150g balloon. 500 g weight. Weekly reboot; internet time updated.
10-3-2023	V2931338	1115	-0.1			76.2		-32.5	-27.9	-32.3	66.3	671.3		X	1900	1550			JH	SCT	22679	38.2	4.7	6	150g balloon. 500 g weight.
10-4-2023	V2931391	1115	0.0			68.4		-39.8	-41.3	-47.6	50.1	674.6		X	1550	1250			FH	FEW	22508	39.8	4.6	7	150g balloon. 500 g weight.
10-5-2023	V2931321	1115	-0.1			99.5		-29.3	-26.4	-31.7	60.7	680.0		X	1250	950			JH	FZFG OVC	20541	53.16	4.7	8	150g balloon. 500 g weight.
10-6-2023	V2931322	1115	-0.1			86.7		-35.8	-32.3	-39.9	46.9	679.4		X	950	650			FH	SCT	21909	42.41	4.6	9	150g balloon. 500 g weight.
10-7-2023	V2931331	1115	-0.2			82.4		-18.3	-17.1	-20.6	74.5	673.8		X	650	300			JH	-SN OVC	29941	11.51	4.5	10	350 g balloon.
10-8-2023	V2931332	1115	-0.1			78.9		-23.1	-21.2	-25.7	66.9	667.4		X	300	0			FH	BKN	22438	40.86	4.5	1	150g balloon. 500 g weight.
10-9-2023	V2931328	1122	-0.1			75.6		-27.6	-25.5	-30.2	64.6	668.8		X	2200	1900	1900	1550	JH	BLSN BKN	21521	47.58	4.7	2	150g balloon. 500 g weight. Balloon x2, 1st one popped. :( Weekly reboot; internet time updated.
10-10-2023	V2931333	1117	-0.1			99.2		-34.9	-31.8	-37.6	56.6	673.4		X	1550	1250			FH	FZFG SCT	20195	53.52	4.6	3	150g balloon. 500 g weight.
10-11-2023	V2931342	1115	-0.1			68.3		-39.7	-37.0	-41.6	62.3	661.5		X	1250	950			JH	-SN BKN	20020	56.09	4.6	4	150 g balloon 500 g weight
10-12-2023	V2931339	1131	-0.1			80.1		-45.2	-46.4	-52.4	50.6	670.1		X	950	600			FH	FEW	22250	38.19	4.6	5	150 g balloon 500 g weight
10-13-2023	V2931138	1120	-0.1			69.7		-38.6	-36.8	-41.8	59.7	665.6		X	600	300			JH	IC SCT	20783	49.38	4.6	6	150 g balloon. 500 g weight.
10-14-2021	V2931277	1116	-0.2			75.9		-27.9	-26.7	-30.9	67.4	662.1		X	300	0			FH	OVC	21840	41.92	4.7	7	150 g balloon. 500 g weight.
10-15-2023	V2931337	1115	-0.1			75.7		-49.4	-49.5	-55.0	52.3	659.0		X	2200	1900			JH	FEW	20782	49.47	4.7	8	150 g balloon. 500 g weight.
10-16-2023	V2931335	1115	-0.1			63.8		-47.0	-45.6	-52.1	47.8	658.7		X	1900	1500			FH	FEW	21597	43.11	4.7	9	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
10-17-2023	V2931263	1117	-0.2			67.5		-36.4	-34.5	-40.5	54.6	659.4		X	1500	1300			JH	-SN OVC	31136	9.26	3.7	10	350g balloon.
10-18-2023	V2931341	1126	-0.1			81.4		-22.2	-21.2	-24.9	72.2	657.5		X	1300	1000			FH	SN BLSN OVC	17788	77.11	4.7	1	150 g balloon. 500 g weight.
10-19-2023	V2951135	1115	-0.3			82.5		-17.6	-16.3	-19.7	74.9	662.5		X	1000	650			JH	BKN	22858	37.35	4.8	2	150 g balloon. 500 g weight.
10-20-2023	V2940615	1120	-0.1			85.0		-15.5	-14.3	-17.1	79.7	667.3		X	650	350			FH	SN BLSN OVC	21176	46.98	5	3	150 g balloon. 500 g weight.
10-21-2023	V2940522	1118	-0.3			82.8		-19.0	-17.6	-21.3	72.5	671.2		X	350	0			JH	SN BLSN OVC	22644	37.17	4.9	4	150 g balloon. 500 g weight.
10-22-2023	V2940508	1126	-0.3			86.3		-25.6	-23.5	-27.3	71.1	671.3		X	25	0, 0	2200	1950	FH	BKN	22911	36.35	4.5	5	150 g balloon. 500 g weight.
10-23-2023	V2940513	1115	-0.3			75.9		-28.9	-29.1	-34.1	62.1	667.6		X	1950	1650			JH	BR BKN	23362	33.74	4.8	6	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
10-24-2023	V2940514	1115	-0.3			80.1		-41.6	-39.3	-45.2	53.8	665.7		X	1650	1350			FH	FEW	22908	36.62	4.5	7	150 g balloon. 500 g weight.
10-25-2023	V2940506	1116	-0.3			80.1		-38.2	-36.2	-43.0	49.6	668.4		X	1350	1000			JH	SCT	19343	61.82	4.6	8	150 g balloon. 500 g weight.
10-26-2023	V2940505	1116	-0.3			64.6		-42.7	-39.7	-45.2	55.8	669.1		X	1000`	700			GM	FEW	21982	41.2	4.6	9	150 g balloon. 500 g weight.
10-26-2023	V2940507	2316	-0.2			66.7		-32.2	-30.8	-36.1	59.6	670.4		X	700	400			RY	FEW	20651	51.85	4.8	10	150 g balloon. 500 g weight.
10-27-2023	V2940516	1115	-0.2			79.9		-29.4	-27.8	-32.8	62.5	670.7		X	400	0			GM	BKN	27046	18.17	4.6	1	350 g balloon. 500 g weight.
10-28-2023	V2940570	1116	-0.2			79.8		-27.9	-24.1	-29.0	63.9	671.6		X	2200	1900			RY	SCT	21518	43.82	4.6	2	150 g balloon. 500 g weight
10-29-2023	V2940475	1115	-0.3			78.8		-23.5	-22.3	-26.0	71.8	669.2		X	1900	1600			GM	FZFG FEW	19091	62.21	4.5	3	150 g balloon. 500 g weight.
10-30-2023	V2940509	1117	-0.2			77.3		-26.3	-25.0	-29.2	68.0	668.9		X	1600	1300			RY	FZFG SCT	23010	32.27	4.7	4	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
10-31-2023	V2940510	1117	-0.2			80.5		-37.9	-33.4	-40.3	49.9	669.9		X	1300	1000			GM	FEW	23302	32.32	4.6	5	150 g balloon. 500 g weight.
11-1-2023	V2931238	1115	-0.1			87.5		-31.7	-28.5	-34.6	55.7	673.0		X	1000	700			RY	SCT	20350	50.69	4.7	6	150 g balloon. 500 g weight.
11-2-2023	V2940500	1120	-0.3			59.1		-44.7	-26.6	-32.3	58.4	675.1		X	700	400			GM	SKC	21444	42.12	4.7	7	150 g balloon. 500 g weight.
11-3-2023	V2931230	1115	-0.1			58.9		-40.6	-27.3	-33.3	56.7	670.6		X	400	0			RY	SKC	22722	33.2	4.6	8	150 g balloon. 500 g weight.
11-4-2023	V2931185	1116	-0.1			66.6		-40.5	-30.2	-41.4	32.6	668.8		X	2200	1900			GM		21304	42.37	4.6	9	150 g balloon. 500 g weight.
11-5-2023	V2931190	1115	-0.1			65.8		-39.2	-38.8	-44.2	56.6	666.4		X	1900	1600			RY	FEW	21483	40.46	4.6	10	150 g balloon. 500 g weight.
11-6-2023	V2931183	1116	-0.2			71.5		-39.0	-37.3	-43.3	53.4	668.0		X	1600	1200			GM	SCT	24796	22.11	4.5	1	350 g balloon. 500 g weight. Weekly reboot; internet time updated.
11-7-2023	V2940566	1115	-0.2			69.3		-37.1	-36.9	-42.5	56.0	664.1		X	1200	900			RY	FZFG, OVC	20744	45.4	5	2	150 g balloon. 500 g weight
11-8-2023	V2940521	1117	-0.2			89.9		-28.7	-27.9	-32.6	64.3	667.4		X	900	600			GM	FZFG, SCT	17923	72.78	4.8	3	150 g balloon. 500 g weight
11-9-2023	V2940511	1116	-0.3			72.0		-32.8	-32.0	-37.3	59.4	667.9		X	600	300			GM	FZFG, SCT	19473	58.37	4.7	4	150 g balloon. 500 g weight
11-10-2023	V2940512	1118	-0.2			84.7		-42.9	-34.4	-42.5	43.6	664.0		X	300	0	2200	~2150	RY	SCT	21390	41.21	4.6	5	150 g balloon. 500 g weight
11-11-2023	V2940520	1115	-0.2			61.8		-47.9	-46.6	-52.5	50.9	662.3		X	~2150	1800			RY	FEW	20505	47.78	4.8	6	150 g balloon. 500 g weight
11-12-2023	V2931407	1116	0.0			67.9		-38.9	-37.4	-42.8	57.3	659.9		X	1800	1500			GM	BKN	20642	46.91	4.4	7	150 g balloon. 500 g weight
11-13-2023	V2931225	1116	-0.1			77.0		-25.4	-24.8	-29.2	66.8	662.7		X	1500	1200			RY	BLSN OVC	21904	38.57	4.7	8	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
11-14-2023	V2940592	1115	-0.3			74.8		-28.2	-27.3	-32.1	64.0	666.0		X	1200	900			GM	OVC	21251	45.02	4.8	9	150 g balloon. 500 g weight.
11-15-2023	V2940476	1142	-0.1			77.5		-26.9	-26.2	-30.6	66.4	668.3		X	900	600	600	~250	RY	BKN	20034	52.44	4.6	10	150 g balloon. 500 g weight. First balloon launch failed. Stopped transmitting RH% at launch. Relaunched second balloon late.
11-16-2023	V2940591	1117	-0.2			80.1		-22.5	-21.8	-25.7	71.0	670.6		X	250	0	2200	2100	GM	FZFG OVC	25156	22.31	4.8	1	350 g balloon. 500 g weight.
11-17-2023	V2931229	1115	-0.1			89.2		-20.3	-19.0	-22.8	71.9	674.2		X	2100	1800			RY	FZFG OVC	21393	41.82	4.7	2	150 g balloon. 500 g weight
11-18-2023	V2931240	1115	-0.1			93.4		-35.9	-33.4	-39.3	55.3	671.8		X	1750	1400			GM	SCT	21299	41.96	4.6	3	150 g balloon. 500 g weight
11-19-2023	V2931194	1115	-0.1			76.1		-32.6	-30.8	-37.0	54.5	666.9		X	1400	1100			RY	IC BKN	20969	44.51	4.7	4	150 g balloon. 500 g weight
11-20-2023	V2940593	1117	-0.2			70.9		-25.3	-23.6	-27.8	68.2	654.9		X	1100	800			GM	BLSN FZFG OVC	21430	40.7	4.7	5	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
11-21-2023	V2931039	1115	-0.1			85.7		-33.5	-31.8	-37.0	59.9	640.1		X	800	~550			RY	BKN	21084	43.57	4.6	6	150 g balloon. 500 g weight
11-22-2023	V2931192	1117	-0.1			64.8		-43.0	-40.7	-46.4	54.1	652.6		X	500	200			GM	BLSN FEW	18838	62.9	4.7	7	150 g balloon. 500 g weight
11-23-2023	V2931237	1115	-0.1			85.6		-38.4	-36.7	-42.3	56.0	673.3		X	200	0	2200	2100	RY	FEW	20321	50.01	4.6	8	150 g balloon. 500 g weight
11-24-2023	V2931186	1115	-0.1			79.1		-23.0	-22.0	-26.3	68.3	670.7		X	2150	1800			GM	OVC	19842	54.93	4.7	9	150 g balloon. 500 g weight
11-25-2023	V2931188	1133	-0.2			83.1		-19.9	-18.4	-23.3	65.4	668.1		X	1800	1500	1500	900	RY	BLSN FZFG OVC	24842	26.62	4.2	10	150 g balloon. 500 g weight. The first 2 balloons popped :(. Brought in radiosonde to SMG to connect balloon to spool. Did not get a chance to re-equilibrate sonde due to high winds.
11-26-2023	V2931059	1142	-0.1			87.1		-13.2	-11.9	-14.6	80.7	668.6		X	900	0	2200	2000	GM	BLSN FZFG OVC	17779	53.28	4.7	1	350 g balloon. 500 g weight. String broke on first balloon, radiosonde V2931193 hit the ground and stopped working on second balloon. New sonde was used for the last one.
11-27-2023	V2931060	1118	-0.1			100.3		-15.18	-14.1	-16.7	80.7	660.5		X	2000	1700			RY	BLSN FZFG OVC	216152	40.32	4.7	2	150 g balloon. 500 g weight. Thick freezing fog at surface causing RH% to be >100%. Had to bring radiosonde into SMG to attach to balloon and was not able to let re-equilibrate due to high winds. Weekly reboot; internet time updated.
11-28-2023	V3031197	1116	-0.2			69.8		-35.9	-34.0	-39.0	60.0	670.0		X	1650	1300			GM	FZFG SCT	21333	43.24	4.8	3	150 g balloon. 500 g weight
11-29-2023	V3031195	1116	-0.2			83.3		-34.7	-34.1	-39.1	60.5	681.1		X	1300	1000			RY	FZFG FEW	21267	44.19	4.6	4	150 g balloon. 500 g weight
11-30-2023	V2931027	1116	-0.2			91.2		-32.1	-31.5	-37.0	58.4	689.0		X	1000	700			GM	SCT	20869	47.57	5	5	150 g balloon. 500 g weight
12-1-2023	V2931043	1115	-0.1			90.2		-26.9	-24.3	-30.2	58.1	688.8		X	700	400			RY	SCT	20357	51.28	4.8	6	150 g balloon. 500 g weight
12-2-2023	V2931044	1116	-0.1			73.5		-32.3	-29.3	-35.3	56.1	685.1		X	400	0			GM	SCT	20248	48.96	4.6	7	150 g balloon. 500 g weight
12-3-2023	V2931048	1117	-0.2			104.5		-25.7	-23.2	-29.1	58.3	680.7		X	2200	1900			RY	FZFG OVC	19982	55.69	4.6	8	150 g balloon. 500 g weight. Thick FZFG at surface causing RH% to be >100%.
12-4-2023	V2930515	1115	-0.1			69.1		-43.7	-41.4	-48.0	49.0	675.2		X	1900	1600			GM	SCT	20246	49.67	4.6	9	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
12-5-2023	V2931049	1115	-0.1			64.8		-44.3	-44.1	-50.0	51.8	669.6		X	1600	1300			RY	BKN	20441	47.54	4.6	10	150 g balloon. 500 g weight
12-6-2023	V2931047	1116	-0.1			66.3		-43.5	-41.8	-47.8	51.7	666.9		X	1250	900			GM	SCT FZFG	20911	42.89	4.1	1	350 g balloon. 500 g weight.
12-7-2023	V2930516	1117	-0.1			72.7		-32.6	-31.8	-36.2	65.0	668.0		X	900	600			RY	IC BKN	19750	52.71	4.6	2	150 g balloon. 500 g weight
12-8-2023	V2931050	1115	-0.1			73.5		-30.5	-29.3	-33.9	64.0	665.6		X	600	300			GM	SCT	18395	66.27	4.7	3	150 g balloon. 500 g weight
12-9-2023	V2931062	1116	-0.1			89.2		-34.5	-34.1	-39.4	58.7	663.0		X	300	0	2200	~2150	RY	OVC	18521	64.53	4.8	4	150 g balloon. 500 g weight
12-10-2023	V3031196	1116	-0.1			73.6		-38.0	-36.5	-42.3	54.8	660.0		X	2150	1850			GM	SCT	19638	52.7	4.5	5	150 g balloon. 500 g weight
12-11-2023	V2931041	1116	-0.1			70.7		-38.6	-36.9	-43.4	50.8	661.1		X	1850	1500			RY	OVC	17675	73.61	4.5	6	150 g balloon. 500 g weight Weekly reboot; internet time updated.
12-12-2023	V2930774	1115	-0.2			72.3		-35.3	-34.1	-39.2	59.9	654.0		X	1500	1200			GM	SCT	19244	55.83	4.9	7	150 g balloon. 500 g weight
12-13-2023	V2931028	1116	-0.1			72.3		-33.2	-31.9	-37.6	57.0	643.6		X	1200	900			RY	IC OVC	20019	48.52	4.6	8	150 g balloon. 500 g weight
12-14-2023	V2931042	1116	-0.1			76.5		-27.3	-25.5	-30.5	63.0	640.4		X	900	600			GM	BLSN FZFG VV	16866	79.87	4.4	9	150 g balloon. 500 g weight.
12-15-2023	V3031193	1117	-0.2			72.4		-33.0	-32.0	-36.6	63.6	637.0		X	600	300			RY	SG VV	17000	79.09	4.6	10	150 g balloon. 500 g weight. NOAA ESRL GML site not working. Got weather data from the Weather Detail View from batelle-aro.org powered by Grafana.
12-16-2023	V3031074	1116	-0.3			64.5		-44.5	-42.4	-48.7	50.1	642.8		X	300	0	2200	2100	GM	FEW	19770	47.1	4.4	1	350 g balloon. 500 g weight.
12-17-2023	V3031154	1117	-0.2			65.7		-44.2	-42.8	-49.1	49.9	646.2		X	2100	1800			RY	FEW FZFG	18979	56.33	4.9	2	150 g balloon. 500 g weight
12-18-2023	V3031194	1117	-0.2			80.5		-52.3	-45.7	-54.2	37.5	647.4		X	1800	1450			GM	FEW	14488	117.11	4.4	3	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
12-19-2023	V3031191	1123	-0.2			77.1		-52.5	-50.6	-58.0	41.1	650.5		X	1450	1100	1100	800	RY	SCT	16872	80.84	4.8	4	150 g balloon. 500 g weight. First balloon popped in SMG. Second balloon was successful.
12-20-2023	V2940701	1116	-0.2			63.4		-55.0	-53.8	-59.9	47.2	641.5		X	800	600			GM	IC FEW	17942	67.79	4.5	5	150 g balloon. 500 g weight
12-21-2023	V3031166	1116	-0.2			72.4		-56.2	-52.5	-59.3	43.5	654.3		X	600	250			RY	FZFG BKN	16879	81.18	4.5	6	150 g balloon. 500 g weight
12-22-2023	V3031169	1117	-0.2			83.1		-46.9	-46.7	-53.9	43.6	658.0		X	250	0	2200	2100	GM	FZFG SCT	18991	57.42	4.7	7	150 g balloon. 500 g weight
12-23-2023	V3031199	1116	-0.2			70.1		-53.4	-53.1	-59.9	43.3	656.6		X	2100	1800			RY	FZFG FEW	19445	54.36	4.6	8	150 g balloon. 500 g weight
12-24-2023	V3031200	1116	-0.1			59.9		-54.4	-53.2	-58.1	55.1	654.7		X	1800	1400			GM	FZFG FEW	19492	55.96	4.8	9	150 g balloon. 500 g weight
12-25-2023	V3031167	1117	-0.2			76.8		-51.7	-51.3	-58.7	40.8	656.7		X	1400	1100			RY	FZFG FEW	18950	60.22	4.6	10	150 g balloon. 500 g weight. Weekly reboot; internet time updated.
12-26-2023	V2940684	1116	-0.2			78.7		-56.8	-57.0	-59.9	69.0	653.8		X	1100	750			GM	FZFG FEW	27921	14.36	4.5	1	350 g balloon. 500 g weight. NOAA dewpoint reached minimum value (-59.9), used RH from equilibrated sonde for surface observations
12-27-2023	V3031170	1116	-0.1			67.5		-50.7	-50.5	-56.8	47.1	654.3		X	750	400			RY	FZFG BKN	20306	50.02	4.6	2	150 g balloon. 500 g weight
12-28-2023	V3031189	1115	-0.2			67.2		-45.1	-43.7	-49.4	53.3	653.6		X	475	200			GM	FZFG SCT	20478	50.83	4.5	3	150 g balloon. 500 g weight
12-29-2023	V2940700	1118	-0.2			82.3		-51.5	-47.2	-53.7	47.2	655.5		X	200	0	2200	2100	RY	FZFG FEW	20041	54.04	4.8	4	150 g balloon. 500 g weight
12-30-2023	V3031190	1116	-0.2			76.7		-51.8	-49.9	-56.7	44.8	657.8		X	2000	1650			GM	FZFG SCT	20955	48.85	4.6	5	150 g balloon. 500 g weight
12-31-2023	V2931058	1117	-0.1			74.5		-51.2	-51.8	-59.6	38.6	662.7		X	1650	1400			RY	FZFG FEW	21255	45.04	4.6	6	150 g balloon. 500 g weight

## Sheet2
4.5