ICECAPS Weekly Report

Dec. 05 – Dec. 11, 2012

Lance Roth – Phase II Tech

General Weather:

• 12/05 FEW100	70% RH	-40F 	10 knots

• 12/06 BKN030	79% RH 	-20F 	15   knots	BLSN

• 12/07 BKN080	73% RH	-30F 	10   knots

• 12/08 FEW100	58% RH	-60F 	10   knots

• 12/09 SCT020	79% RH	-30F	15   knots

• 12/10 SCT030	67% RH 	-40F 	10   knots

• 12/11  VV010	91% RH	   0F	30   knots	BLSN

General Items:

• Issues with ICECAPS computer.

Dataman Account:

• 12/05 1300 UTC Computer unresponsive.  Rebooted computer at 1305 UTC. Remounted all at 1305 UTC.

• 12/10 1250 UTC Computer unresponsive.  Rebooted computer at 1255 UTC. Remounted all at 1300 UTC.

PAERI:

• 12/09 Partial Blue Flags

MPL:

• 12/11 0545 UTC “Can’t find AMCS card:  2.”  Rebooted computer at 1345 UTC.

CAPABL:

• 12/05 1654 UTC Resolved issues and started collecting data.

MMCR:

• 12/06 Found in Standby Mode.  Rebooted at 1310 UTC.  1325 UTC Operational.

• 12/09 Found in Standby Mode.  Rebooted at 1425 UTC.  1440 UTC Operational.

• 12/11 Found in Standby Mode.  Stuck in 61 antenna position and would not switch between 90/50.

Rebooted several time.  1500 UTC Operational.

MWR:

• Normal

SODAR:

• 12/10 1340-1343 UTC checked and removed snow from enclosures.

POSS:

• 12/05 Restarted software at 1310 UTC after rebooting ICECAPS computer.

• 12/10 Restarted software at 1355 UTC after rebooting ICECAPS computer.

VCEIL:

• Normal

IceCAM:

• Normal

IcePIC:

• No Pictures Taken

Radiosonde:

• 12/11 AM sonde failed due to High Winds.

ASIA-A:

• 12/06 Break in Connection, Reconnected at 1320 UTC

• 12/11 Break in Connection at 1430 UTC, Reconnected at 1438 UTC