ICECAPS Weekly Report

Dec. 26 – Jan. 01, 2013

Lance Roth – Phase II Tech

Successful CLIDAR picture of MSF and the top of the Swiss Tower.

General Weather:

The weather has been very cold and dry all week with occasional North winds.

Dataman Account:

• Normal

MWR:

• Normal

SODAR:

• Normal

POSS:

• Normal

MMCR:

• 12/25 Hung during Calibration.  Rebooted.  System started normally

• 12/28 Hung during Calibration.  Rebooted several times due to a constant 61 antenna position.

• 12/30 Hung during Calibration.  Rebooted several times due to a constant 61 antenna position.

• 01/01 Found in Standby Mode during receiver calibration “Error 7 occurred at

Open File +.vi:)Open File.”  Pressed continue and system began operating normal.

CAPABL:

• Normal.

MPL:

• Normal

VCEIL:

• Normal

IceCAM:

• Normal

PAERI:

• Normal

ASIA-A:

• Normal

IcePIC:

• No Pictures this week

Radiosonde:

• Normal