ICECAPS Weekly Report

Jan. 02 – Jan. 08, 2013

Lance Roth – Phase II Tech

Back door of the Green House/Berthing.

General Weather:

High winds and warm temperatures present most of the week.

Dataman Account:

• Normal

MWR:

• 01/04 Temporary Red flags on Receiver 1 and 2 temperatures for both instruments.

• 01/05 Temporary Red flags on Receiver 2 temperature for Hatpro.

SODAR:

• Normal

POSS:

• Normal

MMCR:

• 01/07 Hung during calibration.  Reset the error and was able to operate without rebooting 1240UTC.

CAPABL:

• 01/04 Removed Snow from window 1255 UTC

MPL:

• 01/04 Removed Snow from window 1255 UTC

VCEIL:

• Normal

IceCAM:

• Normal

PAERI:

• 01/05 Red flags on Responsivity due to snow on mirror.  Removed snow 1320-1323 UTC.

ASIA-A:

• 01/05 Communication issue at 0800 UTC.  Cycled pwr on Radiometer and reconnected at 1315 UTC.

• 01/06 Communication issue at 2050 UTC.  Cycled pwr on Radiometer and reconnected at 1247 UTC

Communication issue at 1400 UTC.  Cycled pwr on Radiometer and reconnected at 1455 UTC

• 01/08 Communication issue at 1610 UTC.  Cycled pwr on Radiometer and reconnected at 1652 UTC.

IcePIC:

• No Pictures taken this week

Radiosonde:

• Normal