ICECAPS Weekly Report

Jan. 23 – Jan. 29, 2013

Lance Roth – Phase II Tech

General:

The sun finally rose on Monday January 28, 2013 just after 11:00am local time!

Dataman Account:

• Normal

MWR:

• 01/23 Trouble shooting LogMeIn.

SODAR:

• Normal

POSS:

• Normal

MMCR:

• 01/24 Hung during calibration.  Had to reboot at 1245 UTC.

• 01/26 Hung during calibration.  Had to reboot at 1240 UTC.

CAPABL:

• 01/24 Laser emitting, but no data on LabView.  Rebooted Computer and restarted softward at 1340

UTC.  System began working fine.  Check Base Path (C:\DABUL\Data\CAPABL\Sum).

MPL:

• Normal

VCEIL:

• Normal

IceCAM:

• Normal

PAERI:

• 01/24 Shelter Fan Quit.  Replaced existing fan with an old fan at 1336 UTC.

• 01/25 Fan is intermittent but continues to work when bump started.

ASIA-A:

• 01/27 Lost communication at 2000 UTC.  Rebooted Radiometer at 1315 UTC.

Lost communication at 1740 UTC.  Rebooted Radiometer at 1745 UTC.

IcePIC:

• No Pictures taken this week

Radiosonde:

• Normal