MSF Circuit Map, August 19, 2012

Listed in order of receptacle layout, starting in SW corner of building at the ASIAA. Each numbered item represents a single receptacle.

UPS Ckt 1:

1. ASIAA iBootBar, "A" power supply (outlets 1-4)

• outlet 1: ASIAA Radiometer power

• outlet 3: Eurostyle powerstrip

• Powered fiberoptics converter

• ASIAA computer power

2. x-300 "powerflash interface"

Ckt 19:

1. ASIAA iBootBar, "B" power supply (outlets 5-8)

• outlet 5: ASIAA monitor

• outlet 6: powerstrip (open use at ASIAA work table)

2. ASIAA heater power

UPS Ckt 3:

1. x-300 power supply

2. OPEN

UPS Ckt 5:

1. PAERI UPS

• PAERI Rack powerstrip

• PAERI fan/hatch/heater/monitor powerstrip

2. OPEN

Ckt 21:

1. OPEN

2. OPEN

UPS Ckt 1:

1. MPL powerstrip

• MPL fan, MPL monitor, telescope power, laser power supply, ethernet port,                	  	   MPL computer

2. Ceilometer powerstrip

• Ceilo monitor, ceilo computer, spare fan at ceilo computer

UPS Ckt 3:

1. CAPABL powerstrip #1

2. CAPABL powerstrip #2

Ckt 19:

1. CAPABL fan

2. OPEN

Ckt. 21:

1. OPEN

2. OPEN

UPS Ckt 4:

1. MMCR power

2. OPEN

Ckt 14:

1. OPEN

2. OPEN

UPS Ckt 2:

1. ASIAA orange extension cord

• heat pad at radiometer

• webcam power

2. OPEN

UPS Ckt 11:

1. POSS Power

2. SODAR powerstrip

• SODAR computer

• SODAR interface

• SODAR signal box

UPS Ckt 9:

1. MWR powerstrip

• 50/190 power

• HATPRO power

2. OPEN

UPS Ckt 9:

1. TSI power

2. "Servers" powerstrip

• MWR computer

• MWR spare computer

• POSS current loop converter

• RAID power (2)

Ckt 30:

1. HATPRO heater

Ckt. 28:

1. 50/190 heater

UPS Ckt 6:

1. Rack powerstrip

• KVM switch, ethernet hub, router, external hard drive, GPS time, ASIAA powered 	  	  ethernet hub

2. OPEN

Ckt 12:

1. OPEN

2. OPEN

Ckt 26:

1. DATAMAN monitor

2. TSI laptop power

UPS Ckt 7:

1. SODAR Amp

2. OPEN

UPS Ckt 7:

1. SODAR/MWR monitor

2. OPEN

UPS Ckt 4:

1. Ceilometer power

2. worktable powerstrip

UPS Ckt 2:

1. OPEN

2. OPEN

Ckt 14:

1. Microwave oven

2. ICEPIC camera charger