# ICECAPS Weekly Report

March 27 – April 2, 2013

Sven Lidstrom – Phase I Tech

Lidars in action at MSF.

General:

Heavy equipment has been operating all week as preparations for the summer has commenced.

Significant Weather Observations:

3/29 Freezing fog in the afternoon from 19.00 UTC.

3/30 Halos in the morning, blowing snow.

3/31 Very faint fogbow in the morning.

4/01 Freezing fog in the afternoon.

4/02 Freezing fog as well as weak halo early morning, freezing fog in the late afternoon.

Dataman Account:

• 03/31 System hung for unknown reasons. No data transferred. Rebooted after contacting Matt.

• 04/01 Delayed data transfer.

• 04/02 Limited data transfer, 96 sondar jpegs not transferred

MWR:

• Normal.

SODAR:

• Normal.

POSS:

• 03/31 Computer rebooted and restarted POSS at 15.55 UTC.

MMCR:

• Normal.

CAPABL:

• 04/02 Cleaned window at 13.25 UTC.

MPL:

• 04/02 Cleaned window at 13.25 UTC.

VCEIL:

• Normal.

IceCAM:

• Normal.

PAERI:

• 04/01 Shelter fan turned off and frost removed 13.04 – 13.09 UTC.

ASIA-A:

• Normal.

IcePIC:

• 04/02 Pictures taken.

Radiosonde:

• Normal.