# ICECAPS Weekly Report

April 3 – April 9, 2013

Sven Lidstrom – Phase I Tech

General:

Heavy equipment continued to remove snow an prepare skiway all week.

04/03 Noticed that MSF inside temperature according to X-300 was at 68 F. Temperature back to normal in the evening. Informed station manager and mechanic.

04/04 Together with the station manager tracked the location of sensors. Two of the sensors are located next to each other and behind a shelf. See photo

04/09 Shoveled snow from MSF roof 12.45 -13.05 UTC.

Significant Weather Observations:

4/03 Freezing fog and halo in the morning. Freezing fog and a Sun pillar in the evening.

4/04 Freezing fog in the morning and freezing fog and fogbow in the afternoon.

4/05 Freezing fog in the morning, only vertical visibility. Freezing fog in the afternoon

4/06 Freezing fog and halo in the morning,

Dataman Account:

• Normal.

MWR:

• Normal.

SODAR:

• 04/09 Cleaned out enclosures 12.24 -12.35 UTC.

POSS:

• 04/04 Removed snow and rime from POSS

MMCR:

• Normal.

CAPABL:

• Normal

MPL:

• Normal

VCEIL:

• Normal.

IceCAM:

• Normal.

PAERI:

• 04/08 Shelter fan stopped working approximately 18 UTC, it was removed 19.50 UTC and replaced with a new fan at 21.55 UTC.

ASIA-A:

• 04/05 Lost communication at 23.30 UTC.  Several reboots needed before Radiometer became operational again at 12.00 UTC on 4/06.

IcePIC:

• No pictures taken.

Radiosonde:

• 04/03 Morning sonde terminated at 8731m (303 hPa)

• 04/04 Morning sonde launched together with NOAA Ozone balloon and reached 37237 m (3.1 hPa)

• 04/05 After several sondes terminated at a lower altitude than normal a new balloon box was open.