ICECAPS Weekly Report

Jan. 29 – Feb. 05, 2013

Lance Roth – Phase II Tech

General:

Turnover with Sven has been going well.

Dataman Account:

• Normal

MWR:

• Normal

SODAR:

• 02/03 cleaned out both enclosures at 1409-1418 UTC.

POSS:

• Normal

MMCR:

• 01/30 Hung during calibration.  Had to reboot at 1245 UTC.

• 02/02 Hung during calibration.  Had to reboot multiple times.  Antenna position stuck at 61.

• 02/04 Hung during calibration.  Had to reboot at 1340 UTC.

CAPABL:

• 02/01 1330 UTC Green Emissions light was not illuminated.  Pressed emission button on remote

controller and data began streaming again.

MPL:

• 02/04 Afterpulse Calibration 1405-1432 UTC.

VCEIL:

• Normal

IceCAM:

• Normal

PAERI:

• 01/30 Shelter Fan Quit.  Replacing existing fan with new fan during turnover.

• 01/31 Adjusted J16 Connection at 2125 UTC.

• 02/01 Snow on Scene Mirror due to high winds (33+ knots)  Red Flags resolved during night.

1508-1510 UTC covered hatch and cleaned snow from roof/railing.

• 02/05 Shelter Fan Quit and snow found on Mirror.  Brushed Mirror off at 1415 UTC.  Installed 3rd fan

and plywood.

ASIA-A:

• 02/02 Lost communication at 0050 UTC.  Rebooted Radiometer at 1337 UTC.

IcePIC:

• No Pictures taken this week

Radiosonde:

• 02/01 PM sonde failed launched due to high winds.  Recovered sonde and re-launched at 2345 UTC.

• 02/03 PM sonde experienced a premature termination just after launch.  Re-launched at 2345 UTC.

• 02/05 AM sonde failed launched.  Recovered sonde and re-launched.  Sonde was bad.  Re-launched again

at 2350 UTC.