# ICECAPS Weekly Report

May 1 – May 7, 2017

Hannah James

photo

xxxx -HJ

**General:**

None to report

**Significant Weather Observations:**

* 05-01: Br, drsn. Ovc stratus. -27C, 16 kts.

**ICECAPS Data Management:**

* 05-01: Data transfer complete 06:49Z.

**MWR:**

* 150-90 operating normally, HATPRO inside for repairs.

**SODAR:**

* Operating normally.

**POSS:**

* Operating normally.

**MMCR:**

* Pitch -0.10, roll -0.22 as of 04-30.

**CAPABL:**

* Operating normally.

**MPL:**

* Operating normally.

**VCEIL:**

* Operating normally.

**Hotplate:**

* Arrived on station 04-29-2017. Will set up early next week.

**IceCAM:**

* Operating normally.

**PAERI:**

* Operating normally.

**TSI:**

* Stored in MSF for winter.

**IcePIC:**

* No images captured this week.

**Radiosonde:**

* Twice daily soundings.
* Ongoing troubleshooting dealing with \*.mwx and \*.spf files not being grabbed by Dataman. For now, every other day I will manually change the permissions.

**MASC:**

* Offsite for repairs since 2016-05-03.