# ICECAPS Weekly Report

May 14 – May 20, 2018

Rex Nelson

Solar optics during flight ops on 05-16.

General:

- The MSF time server GPS antenna is being borrowed by the Radiosonde base station.

Significant Weather Observations:

- 05-14: Ovc stratus, altocumulus, cirrus. -Sn. -20C, 8kts.

- 05-15: Ovc stratus. Br. Sn. -23C, 9kts. 12:00Z-00:00Z: occasional faint 22deg halo with parhelia and upper/lower arcs

- 05-16: Ovc stratus. Br. -23C, 2kts. 09:00Z-22:00Z: 22deg halo. 17:45-18:45Z: 22deg halo, partial 46deg halo, parhelia, upper & lower tangent arcs, partial parhelic circle.

- 05-17: Ovc stratus. Br. -15C, 15kts.

- 05-18: Bkn altocumulus. Ic. -17C, 15kts. 18:00Z: 22deg halo, upper tangent arc, partial parhelic circle.

- 05-19: Ovc stratus. Br. -19C, 17kts. 12:00Z: 22deg halo.

- 05-20: Sct cirrus. -23C, 7kts. 09:00-10:00Z: 22deg halo, parhelia, lower tangent arc, partial parhelic circle, partial 46deg halo.

ICECAPS Data Management:

- 05-14: Data transfer complete 05:51Z

- 05-15: Data transfer complete 06:01Z

- 05-16: Data transfer complete 06:13Z

- 05-17: Data transfer complete 05:55Z

- 05-18: Data transfer complete 06:03Z

- 05-19: Data transfer complete 06:05Z

- 05-20: Data transfer complete 05:58Z

MWR:

- As of 10-28, 150-90 operating in V11_SCAN_HF.MBF.

SODAR:

- Operating normally.

POSS:

- Operating normally in old software.

MMCR:

- Operating normally.

CAPABL:

- Operating normally.

MPL:

- Operating normally.

- 05-14: 13:13-13:34Z: Afterpulse calibration performed.

  - 13:13-13:24Z- 30m, 30s. CoPolBkdAvg: 0.000257, CoPolBkdStd: 0.000169.

  - 13:26-13:34Z- 15m, 30s. CoPolBkdAvg: 0.000260, CoPolBkdStd: 0.000276.

VCEIL:

- Operating normally.

Hotplate:

- Offline since 2018-01-11.

- The hotplate has been shipped out for repair.

IceCAM:

- Operating normally.

PAERI:

- Operating normally.

- 05-20: 13:41-13:49Z: Fan enclosure removed to thaw rime.

TSI:

- In the MSF for winter storage.

IcePIC:

- 05-15: Slides placed for collection 16:18-16:45Z. Particles photographed include hollow columns, radiating plates, and irregulars.

Radiosonde:

- Twice daily soundings.

- Radiosonde GPS antenna is temporarily located on SE Green House roof railing.

MASC:

- The MASC has been shipped out for repair.