# ICECAPS-ACE Weekly Report

September 28th – October 4th, 2020

Heather Guy

Colorful aurorae above the SMG on 2020-09-27

Photo: Heather Guy

General Notes:

We saw in October with a relatively quiet week science-wise, but plenty of drifting and blowing snow to keep us busy. This week I drained, dismantled and packed the remaining INP equipment in the MSF. I also replaced the air filter on the radiosonde base station enclosure and helped Jasper with continued (but unfortunately unsuccessful) troubleshooting of the solar tracker alignment.

General Weather Observations:

| Date | Time (Z) | Wind | Weather | Visibility | Sky | Temp (C) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 09-28 | 12 | 12 kts at 064 | FZFG | 1000 | VV001 | -39 | Double fog bow |
| 09-29 | 12 | 15 kts at 072 | DRSN FZFG | 800 | VV016 | -32 |  |
| 09-30 | 12 | 16 kts at 111 | BLSN | 800 | FEW | -34 |  |
| 10-01 | 12 | 19 kts at 113 | BLSN | 800 | VV025 | -26 | High winds & drifting overnight |
| 10-02 | 12 | 13 kts at 146 | SN | 3200 | OVC025 | -20 | SN and cloud clears ~1230z |
| 10-03 | 12 | 8 kts at 166 | BR | 1600 | FEW | -38 | SN pm. |
| 10-04 | 12 | 16 kts at 113 | BLSN | 1600 | SCT | -23 |  |

Significant Weather Observations:

- 2020-09-28 1030-1300Z: Double fog bow

- 2020-09-29 0930-1045Z: Parahelia

- 2020-09-29 1045-2000Z: 22 degree halo

- 2020-09-30 1045-1700Z: lower half of halo associated with BLSN.

- 2020-10-01 0930-1200Z: Parahelia and upper tangent arc.

- 2020-10-03 1030-1200Z: fog bow

- 2020-10-04 1130-1245Z: Parahelia

- Note: Sig Wx photos are not being transferred to Boulder.

MSF

- Operating normally

ICECAPS-ACE Data Management:

- 09-28: Data transfer completed at 0439Z.

- 09-29: Data transfer completed at 0446Z.

- 09-30: Data transfer completed at 0440Z.

- 10-01: Data transfer completed at 0440Z.

- 10-02: Data transfer completed at 0442Z.

- 10-03: Data transfer completed at 0437Z.

- 10-04: Data transfer completed at 0434Z.

- Note: df command still slow.

TSI:

- Offline for the winter season.

Radiosonde:

- 2020-10-01 1130Z: Enclosure air filter replaced.

- 2020-10-01: Premature sounding termination (6,861 magl), reason for termination: ‘Weak or failing signal’.

- Once daily launches.

- See chart below for temperatures inside and outside the radiosonde cabinet over the last week:

MWR:

- 2020-09-30 1216Z: Cleared error ‘Slave elevation mirror does not respond’

- Operating normally

SODAR:

- 2020-09-28 1308-1324Z: Cleaned and leveled the SODAR dishes.

- Operating normally.

POSS:

- Operating normally.

MASC:

- Offline for winter season.

MMCR:

- Operating normally.

CAPABL:

- Note: CAPABL computer time is consistently 5-10 s different to GPS time despite daily re-synching.

- Operating normally.

MPL:

- Operating normally.

CEILOMETER:

- Operating normally.

PAERI:

- Operating normally.

IceCAM:

- Operating normally.

IcePIC:

- No IcePICS this week

CPC:

- Offsite for repairs.

MSF - OPC:

- 2020-10-02 1230Z: Offline to defrost after suspiciously low counts.

- 2020-10-03 1724Z: Back online after cleaning and drying. No data improvement.

TAWO - OPC:

- Operating normally.

SKYOPC:

- Operating normally.

Fluxtower instrument suite:

- Operating normally

Radiometers:

- Solar tracker misalignment troubleshooting ongoing, otherwise operating normally.