# ICECAPS-ACE Weekly Report

September 13th – September 19th, 2022

Rachel Cook, Sam Dorsi

PAERI Instrument – The infamous Stirling cooler and infrared detector

Photo taken by: Rachel Cook

General Notes:

This week at the Mobile Science Facility (MSF), turnover occurred. The new winter science technician was trained on regular instrument checks. The MASC remains offline due to a frayed wire. The PAERI instrument was repaired and reinstalled.

General Weather Observations:

| Date | Time (Z) | Wind (kt) | Weather | Visibility | Sky | Temp (C) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2022-09-13 | 12:00 | 9.0 | 4800 | FZFG | OVC010 | -14.0 |  |
| 2022-09-14 | 12:00 | 10.0 | 2800 | FZFG | FEW006, SCT010 | -18.0 |  |
| 2022-09-15 | 12:00 | 23.0 | 2000 | DRSN -SN | FEW008, BKN090, OVC120 | -11.0 |  |
| 2022-09-16 | 12:00 | 4.0 | 9999 | -SN | BKN040 | -17.0 |  |
| 2022-09-17 | 12:00 | 17.0 | 9999 | -SN DRSN | OVC005 | -7.0 |  |
| 2022-09-18 | 12:00 | 22.0 | 2400 | SN BL | OVC027 | -7.0 |  |
| 2022-09-19 | 12:00 |  |  |  |  |  |  |

Significant Weather Observations:

- Fog Bow 2022-09-19:0943z

- Sun Dog 2022-09-19:1126z

MSF

- Operating normally

ICECAPS-ACE Data Management:

- Data transfer completed 2022-09-14:0418z

- Data transfer completed 2022-09-15:0400z

- Data transfer completed 2022-09-16:0409z

- Data transfer completed 2022-09-17:0410z

- Data transfer completed 2022-09-18:0451z

- Data transfer completed 2022-09-19:0401z

- Data transfer

TSI:

- Operating normally

Radiosonde:

- Operating normally

MWR:

- Data logs stopped 2022-09-15 on RPG-150-90.

- Setup continues on RPG-HATPRO, waiting for updated protocols for daily checks.

SODAR:

- Amplifier turned off for cleaning 2022-09-19:1310-1324z.

- Operating normally.

POSS:

- Operating normally.

MASC:

- Taken offline until further notice because of frayed power cord. The de-ice is still connected to limit snow accumulation.

MMCR:

- NetCDF errors started 2022-09-16 and continued daily until 2022-09-19. MMCR rebooted to resolve.

MPL:

- Operating normally.

CEILOMETER:

- Operating normally.

PAERI:

- Repaired and reinstalled.

IceCAM:

- Operating normally.

IcePIC:

- No images captured.

MAGIC CPC:

- Operating normally.

MSF - OPC:

- Operating normally.

AWO - OPC:

- Offline

SKYOPC:

- Operating normally

Biral PWS :

- Operating normally.

Flux Tower instrument suite:

- Operating normally.

Radiometers:

- Operating normally.