## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2017 Daily Check Swiss Tower
Daily Check Swiss Tower January 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-01-01
2017-01-02
2017-01-03
2017-01-04
2017-01-05
2017-01-06
2017-01-07
2017-01-08
2017-01-09
2017-01-10
2017-01-11
2017-01-12
2017-01-13
2017-01-14
2017-01-15
2017-01-16
2017-01-17
2017-01-18
2017-01-19
2017-01-20
2017-01-21
2017-01-22
2017-01-23
2017-01-24
2017-01-25
2017-01-26
2017-01-27
2017-01-28
2017-01-29
2017-01-30
2017-01-31
Daily Check Swiss Tower February 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-02-01
2017-02-02
2017-02-03
2017-02-04
2017-02-05
2017-02-06
2017-02-07
2017-02-08
2017-02-09
2017-02-10
2017-02-11
2017-02-12
2017-02-13
2017-02-14
2017-02-15
2017-02-16
2017-02-17
2017-02-18
2017-02-19
2017-02-20
2017-02-21
2017-02-22
2017-02-23
2017-02-24
2017-02-25
2017-02-26
2017-02-27
2017-02-28
Daily Check Swiss Tower March 2017
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-03-01
2017-03-02
2017-03-03
2017-03-04
2017-03-05
2017-03-06
2017-03-07
2017-03-08
2017-03-09
2017-03-10
2017-03-11
2017-03-12
2017-03-13
2017-03-14
2017-03-15
2017-03-16
2017-03-17
2017-03-18
2017-03-19
2017-03-20
2017-03-21
2017-03-22
2017-03-23
2017-03-24
2017-03-25
2017-03-26
2017-03-27
2017-03-28
2017-03-29
2017-03-30
2017-03-31
Daily Check Swiss Tower April 2017
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-04-01
2017-04-02
2017-04-03
2017-04-04
2017-04-05
2017-04-06
2017-04-07
2017-04-08
2017-04-09
2017-04-10
2017-04-11
2017-04-12
2017-04-13
2017-04-14
2017-04-15
2017-04-16
2017-04-17
2017-04-18
2017-04-19
2017-04-20
2017-04-21
2017-04-22
2017-04-23
2017-04-24
2017-04-25
2017-04-26
2017-04-27
2017-04-28
2017-04-29
2017-04-30
Daily Check Swiss Tower May 2017
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-05-01
2017-05-02
2017-05-03
2017-05-04
2017-05-05
2017-05-06
2017-05-07
2017-05-08
2017-05-09
2017-05-10
2017-05-11
2017-05-12
2017-05-13
2017-05-14
2017-05-15
2017-05-16
2017-05-17
2017-05-18
2017-05-19
2017-05-20
2017-05-21
2017-05-22
2017-05-23
2017-05-24
2017-05-25
2017-05-26
2017-05-27
2017-05-28
2017-05-29
2017-05-30
2017-05-31
Daily Check Swiss Tower June 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-06-01
2017-06-02
2017-06-03
2017-06-04
2017-06-05
2017-06-06
2017-06-07
2017-06-08
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
Daily Check Swiss Tower July 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
Daily Check Swiss Tower August 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
Daily Check Swiss Tower September 2017
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-09-01
2017-09-02
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
Daily Check Swiss Tower October 2017
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
Daily Check Swiss Tower November 2017
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-11-01
2017-11-02
2017-11-03
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
Daily Check Swiss Tower December 2017
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-12-01
2017-12-02
2017-12-03
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17
2017-12-18
2017-12-19
2017-12-20
2017-12-21
2017-12-22
2017-12-23
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31

## Solar Instruments Daily Check
2017 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-01-01
2017-01-02
2017-01-03
2017-01-04
2017-01-05
2017-01-06
2017-01-07
2017-01-08
2017-01-09
2017-01-10
2017-01-11
2017-01-12
2017-01-13
2017-01-14
2017-01-15
2017-01-16
2017-01-17
2017-01-18
2017-01-19
2017-01-20
2017-01-21
2017-01-22
2017-01-23
2017-01-24
2017-01-25
2017-01-26
2017-01-27
2017-01-28
2017-01-29
2017-01-30
2017-01-31
Daily Check Solar Tracker February 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-02-01
2017-02-02
2017-02-03
2017-02-04
2017-02-05
2017-02-06
2017-02-07
2017-02-08
2017-02-09
2017-02-10
2017-02-11
2017-02-12
2017-02-13
2017-02-14
2017-02-15
2017-02-16
2017-02-17
2017-02-18
2017-02-19
2017-02-20
2017-02-21
2017-02-22
2017-02-23
2017-02-24
2017-02-25
2017-02-26
2017-02-27
2017-02-28
Daily Check Swiss March 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-03-01
2017-03-02
2017-03-03
2017-03-04
2017-03-05
2017-03-06
2017-03-07
2017-03-08
2017-03-09
2017-03-10
2017-03-11
2017-03-12
2017-03-13
2017-03-14
2017-03-15
2017-03-16
2017-03-17
2017-03-18
2017-03-19
2017-03-20
2017-03-21
2017-03-22
2017-03-23
2017-03-24
2017-03-25
2017-03-26
2017-03-27
2017-03-28
2017-03-29
2017-03-30
2017-03-31
Daily Check Solar Tracker April 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-04-01
2017-04-02
2017-04-03
2017-04-04
2017-04-05
2017-04-06
2017-04-07
2017-04-08
2017-04-09
2017-04-10
2017-04-11
2017-04-12
2017-04-13
2017-04-14
2017-04-15
2017-04-16
2017-04-17
2017-04-18
2017-04-19
2017-04-20
2017-04-21
2017-04-22
2017-04-23
2017-04-24
2017-04-25
2017-04-26
2017-04-27
2017-04-28
2017-04-29
2017-04-30
Daily Check Solar Tracker May 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-05-01
2017-05-02
2017-05-03
2017-05-04
2017-05-05
2017-05-06
2017-05-07
2017-05-08
2017-05-09
2017-05-10
2017-05-11
2017-05-12
2017-05-13
2017-05-14
2017-05-15
2017-05-16
2017-05-17
2017-05-18
2017-05-19
2017-05-20
2017-05-21
2017-05-22
2017-05-23
2017-05-24
2017-05-25
2017-05-26
2017-05-27
2017-05-28
2017-05-29
2017-05-30
2017-05-31
Daily Check Solar Tracker June 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-06-01
2017-06-02
2017-06-03
2017-06-04
2017-06-05
2017-06-06
2017-06-07
2017-06-08
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
Daily Check Solar Tracker July 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
Daily Check Solar Tracker August 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
Daily Check Solar Tracker September 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-09-01
2017-09-02
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
Daily Check Solar Tracker October 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-10-01
2017-10-02
2017-10-03
2017-10-04
2017-10-05
2017-10-06
2017-10-07
2017-10-08
2017-10-09
2017-10-10
2017-10-11
2017-10-12
2017-10-13
2017-10-14
2017-10-15
2017-10-16
2017-10-17
2017-10-18
2017-10-19
2017-10-20
2017-10-21
2017-10-22
2017-10-23
2017-10-24
2017-10-25
2017-10-26
2017-10-27
2017-10-28
2017-10-29
2017-10-30
2017-10-31
Daily Check Solar Tracker November 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-11-01
2017-11-02
2017-11-03
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
Daily Check Solar Tracker December 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-12-01
2017-12-02
2017-12-03
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17
2017-12-18
2017-12-19
2017-12-20
2017-12-21
2017-12-22
2017-12-23
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on E2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
2017-09-01
2017-09-02
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
2017-10-01
2017-10-02
2017-10-03
2017-10-04
2017-10-05
2017-10-06
2017-10-07
2017-10-08
2017-10-09
2017-10-10
2017-10-11
2017-10-12
2017-10-13
2017-10-14
2017-10-15
2017-10-16
2017-10-17
2017-10-18
2017-10-19
2017-10-20
2017-10-21
2017-10-22
2017-10-23
2017-10-24
2017-10-25
2017-10-26
2017-10-27
2017-10-28
2017-10-29
2017-10-30
2017-10-31
2017-11-01
2017-11-02
2017-11-03
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
2017-12-01
2017-12-02
2017-12-03
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17
2017-12-18
2017-12-19
2017-12-20
2017-12-21
2017-12-22
2017-12-23
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31
2017-01-01
2017-01-02
2017-01-03
2017-01-04

## Weekly Download SwissTower
2017 Weekly Data Download Swiss Tower
week | date YYYYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52

## Weekly Download SolarTracker
2017 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber DIF….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1
2
3
4
4
4
5
6
7
8
9
10
11
12
13
14
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
Note on E4: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.
2015 Weekly Data Download PFR
2016 Weekly Data Download PFR
23 | 160609 | PFR101 |  |  | B | 3317723 | 74 | 1259 | 161 | 49 | y |  | WRONG DATA FILE!! (see below)Reinstallation of PFR by Robert Brusa complete as of June 8, 2016.
23 | 160610 | PFR102 |  |  | B |  | 159 | 2152 | 162 | 1042 | Y |  | First day of solar tracker ^ this data is from tracker.
24 | 160614 | PFR103 |  |  | B | 804998 | 162 | 1043 | 166 | 1159 | y
25 | 160620 | PFR104 |  |  | W | 1157790 | 166 | 1200 | 172 | 1045 | y
26 | 160627 | PFR105 | -1 hr, 10min | y | B | 1081279 | 172 | 1046 | 179 | 1449 | y |  | Clock corrected 1718z on 6/29/16
27 | 160704 | PFR106 | +5 | y | W | 1382588 | 179 | 1240 | 186 | 1150 | y
28 | 160711 | PFR107 | +1 | y | B | 1263626 | 186 | 1429 | 193 | 1407 | y
29 | 160718 | PFR108 | +5 | y | W | 1615207 | 193 | 1408 | 200 | 1856 | y
30 | 160725 | PFR109 | +2 | Y | B | 1481564 | 200 | 1827 | 207 | 1152 | y
31 | 160801 | PFR110 | +2 | Y | W | 184810 | 207 | 1153 | 214 | 1143 | y
32 | 160808 | PFR111 | +4 | Y | B | 1708585 | 214 | 1144 | 221 | 1153 | y
33 | 160815 | PFR113 | +3 | Y | W | 2074987 | 221 | 1154 | 228 | 1636 | y
34 | 160822 | PFR114 | +4 | Y | B | 1930228 | 228 | 1637 | 235 | 1247 | y
35 | 160829 | PFR115 | +19 | Y | W | 204133 | 235 | 1248 | 242 | 1218 | y
36 | 160905 | PFR116 |  |  | B | 1930228 | 242 | 1219 | 242 | 1612 | y
36 | 160905 | PFR117 |  |  | B |  | 242 | 1613 | 249 | 1204 | y
37 | 160912 | PFR118 | 4 | Y | W | 432394 | 249 | 1205 | 256 | 1309 | y
38 | 160919 | PFR119 | 27 | Y | B | 285523 | 256 | 1310 | 263 | 1227 | y
39 | 160926 | PFR120 | 2 | Y | W | 660149 | 263 | 1228 | 270 | 1309 | y
40 | 161003 | PFR121 |  |  | B | 325635 | 270 | 1310 | 271 | 1852 | y |  | Last week of PFR data for the season
41 | 161010 | [11 empty] | PFR was not running this week. Shutdown for season
2017 Weekly Data Download PFR