## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE until August 31st | OFFICE from September 1st
|  | Swiss Federal Institute of Technology (ETH) | Swiss Federal Institute of Technology (ETH)
|  | Winterthurerstrasse 190 | ETH Zentrum, CHN, Universitätsstr. 16
|  | 8057 Zurich Switzerland | 8092 Zürich
|  | OFFICE until August 31st | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 635 52 25 | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 635 52 08 | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Sebastian Hoch | sebastian.hoch@env.ethz.ch | tel: +41 44 635 5226 | tel: +41 44 632 82 66 | tel: +41 44 313 08 75

## Daily Check Swiss Tower
Daily Check Swiss Tower July 2005
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2005-07-01
2005-07-02
2005-07-03
2005-07-04
2005-07-05
2005-07-06
2005-07-07
2005-07-08
2005-07-09
2005-07-10
2005-07-11
2005-07-12
2005-07-13
2005-07-14
2005-07-15
2005-07-16
2005-07-17
2005-07-18
2005-07-19
2005-07-20
2005-07-21
2005-07-22
2005-07-23 | 1000 | RR 1, 2 | ok | ok | ok | ok | - | RR=rime removed
2005-07-24 | 1100 | RR 1, 4 | ok | ok | ok | ok | -
2005-07-25 | 1125 | rr 1-4 | ok | ok | ok | ok | - | -
2005-07-26
2005-07-27
2005-07-28
2005-07-29
2005-07-30
2005-07-31
Daily Check Swiss Tower August 2005
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2005-08-01
2005-08-02
2005-08-03
2005-08-04
2005-08-05
2005-08-06
2005-08-07
2005-08-08
2005-08-09
2005-08-10
2005-08-11
2005-08-12
2005-08-13
2005-08-14
2005-08-15
2005-08-16
2005-08-17
2005-08-18
2005-08-19
2005-08-20
2005-08-21
2005-08-22
2005-08-23
2005-08-24
2005-08-25
2005-08-26
2005-08-27
2005-08-28
2005-08-29
2005-08-30
2005-08-31
Daily Check Swiss Tower September 2005
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2005-09-01
2005-09-02
2005-09-03
2005-09-04
2005-09-05
2005-09-06
2005-09-07
2005-09-08
2005-09-09
2005-09-10
2005-09-11
2005-09-12
2005-09-13
2005-09-14
2005-09-15
2005-09-16
2005-09-17
2005-09-18
2005-09-19
2005-09-20
2005-09-21
2005-09-22
2005-09-23
2005-09-24
2005-09-25
2005-09-26
2005-09-27
2005-09-28
2005-09-29
2005-09-30
Daily Check Swiss Tower October 2005
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2005-10-01
2005-10-02
2005-10-03
2005-10-04
2005-10-05
2005-10-06
2005-10-07
2005-10-08
2005-10-09
2005-10-10
2005-10-11
2005-10-12
2005-10-13
2005-10-14
2005-10-15
2005-10-16
2005-10-17
2005-10-18
2005-10-19
2005-10-20
2005-10-21
2005-10-22
2005-10-23
2005-10-24
2005-10-25
2005-10-26
2005-10-27
2005-10-28
2005-10-29
2005-10-30
2005-10-31
Daily Check Swiss Tower November 2005
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2005-11-01
2005-11-02
2005-11-03
2005-11-04
2005-11-05
2005-11-06
2005-11-07
2005-11-08
2005-11-09
2005-11-10
2005-11-11
2005-11-12
2005-11-13
2005-11-14
2005-11-15
2005-11-16
2005-11-17
2005-11-18
2005-11-19
2005-11-20
2005-11-21
2005-11-22
2005-11-23
2005-11-24
2005-11-25
2005-11-26
2005-11-27
2005-11-28
2005-11-29
2005-11-30
Daily Check Swiss Tower December 2005
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2005-12-01
2005-12-02
2005-12-03
2005-12-04
2005-12-05
2005-12-06
2005-12-07
2005-12-08
2005-12-09
2005-12-10
2005-12-11
2005-12-12
2005-12-13
2005-12-14
2005-12-15
2005-12-16
2005-12-17
2005-12-18
2005-12-19
2005-12-20
2005-12-21
2005-12-22
2005-12-23
2005-12-24
2005-12-25
2005-12-26
2005-12-27
2005-12-28
2005-12-29
2005-12-30
2005-12-31
2006 Daily Check Swiss Tower January
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-01-01
2006-01-02
2006-01-03
2006-01-04
2006-01-05
2006-01-06
2006-01-07
2006-01-08
2006-01-09
2006-01-10
2006-01-11
2006-01-12
2006-01-13
2006-01-14
2006-01-15
2006-01-16
2006-01-17
2006-01-18
2006-01-19
2006-01-20
2006-01-21
2006-01-22
2006-01-23
2006-01-24
2006-01-25
2006-01-26
2006-01-27
2006-01-28
2006-01-29
2006-01-30
2006-01-31
Daily Check Swiss Tower February 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-02-01
2006-02-02
2006-02-03
2006-02-04
2006-02-05
2006-02-06
2006-02-07
2006-02-08
2006-02-09
2006-02-10
2006-02-11
2006-02-12
2006-02-13
2006-02-14
2006-02-15
2006-02-16
2006-02-17
2006-02-18
2006-02-19
2006-02-20
2006-02-21
2006-02-22
2006-02-23
2006-02-24
2006-02-25
2006-02-26
2006-02-27
2006-02-28
Daily Check Swiss Tower March 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-03-01
2006-03-02
2006-03-03
2006-03-04
2006-03-05
2006-03-06
2006-03-07
2006-03-08
2006-03-09
2006-03-10
2006-03-11
2006-03-12
2006-03-13
2006-03-14
2006-03-15
2006-03-16
2006-03-17
2006-03-18
2006-03-19
2006-03-20
2006-03-21
2006-03-22
2006-03-23
2006-03-24
2006-03-25
2006-03-26
2006-03-27
2006-03-28
2006-03-29
2006-03-30
2006-03-31
Daily Check Swiss Tower April 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-04-01
2006-04-02
2006-04-03
2006-04-04
2006-04-05
2006-04-06
2006-04-07
2006-04-08
2006-04-09
2006-04-10
2006-04-11
2006-04-12
2006-04-13
2006-04-14
2006-04-15
2006-04-16
2006-04-17
2006-04-18
2006-04-19
2006-04-20
2006-04-21
2006-04-22
2006-04-23
2006-04-24
2006-04-25
2006-04-26
2006-04-27
2006-04-28
2006-04-29
2006-04-30
Daily Check Swiss Tower May 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-05-01
2006-05-02
2006-05-03
2006-05-04
2006-05-05
2006-05-06
2006-05-07
2006-05-08
2006-05-09
2006-05-10
2006-05-11
2006-05-12
2006-05-13
2006-05-14
2006-05-15
2006-05-16
2006-05-17
2006-05-18
2006-05-19
2006-05-20
2006-05-21
2006-05-22
2006-05-23
2006-05-24
2006-05-25
2006-05-26
2006-05-27
2006-05-28
2006-05-29
2006-05-30
2006-05-31
Daily Check Swiss Tower June 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-06-01
2006-06-02
2006-06-03
2006-06-04
2006-06-05
2006-06-06
2006-06-07
2006-06-08
2006-06-09
2006-06-10
2006-06-11
2006-06-12
2006-06-13
2006-06-14
2006-06-15
2006-06-16
2006-06-17
2006-06-18
2006-06-19
2006-06-20
2006-06-21
2006-06-22
2006-06-23
2006-06-24
2006-06-25
2006-06-26
2006-06-27
2006-06-28
2006-06-29
2006-06-30
Daily Check Swiss Tower July 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-07-01
2006-07-02
2006-07-03
2006-07-04
2006-07-05
2006-07-06
2006-07-07
2006-07-08
2006-07-09
2006-07-10
2006-07-11
2006-07-12
2006-07-13
2006-07-14
2006-07-15
2006-07-16
2006-07-17
2006-07-18
2006-07-19
2006-07-20
2006-07-21
2006-07-22
2006-07-23
2006-07-24
2006-07-25
2006-07-26
2006-07-27
2006-07-28
2006-07-29
2006-07-30
2006-07-31
Daily Check Swiss Tower August 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-08-01
2006-08-02
2006-08-03
2006-08-04
2006-08-05
2006-08-06
2006-08-07
2006-08-08
2006-08-09
2006-08-10
2006-08-11
2006-08-12
2006-08-13
2006-08-14
2006-08-15
2006-08-16
2006-08-17
2006-08-18
2006-08-19
2006-08-20
2006-08-21
2006-08-22
2006-08-23
2006-08-24
2006-08-25
2006-08-26
2006-08-27
2006-08-28
2006-08-29
2006-08-30
2006-08-31

## Daily Check Solar Tracker
Daily Check Solar Tracker July 2005
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2005-07-01
2005-07-02
2005-07-03
2005-07-04
2005-07-05
2005-07-06
2005-07-07
2005-07-08
2005-07-09
2005-07-10
2005-07-11
2005-07-12
2005-07-13
2005-07-14
2005-07-15
2005-07-16
2005-07-17
2005-07-18
2005-07-19
2005-07-20
2005-07-21
2005-07-22
2005-07-23 | 1005 | ok | RR=rime removed | ok | ok | ok | ok | -
2005-07-24 | 1100 | ok | RR=rime removed | ok | ok | ok | ok | -
2005-07-25 | 1130 | ok | rr 1-4 | ok | ok | rr 1-3 | ok | -
2005-07-26
2005-07-27
2005-07-28
2005-07-29
2005-07-30
2005-07-31
Daily Check Solar Tracker August 2005
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2005-08-01
2005-08-02
2005-08-03
2005-08-04
2005-08-05
2005-08-06
2005-08-07
2005-08-08
2005-08-09
2005-08-10
2005-08-11
2005-08-12
2005-08-13
2005-08-14
2005-08-15
2005-08-16
2005-08-17
2005-08-18
2005-08-19
2005-08-20
2005-08-21
2005-08-22
2005-08-23
2005-08-24
2005-08-25
2005-08-26
2005-08-27
2005-08-28
2005-08-29
2005-08-30
2005-08-31
Daily Check Solar Tracker September 2005
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2005-09-01
2005-09-02
2005-09-03
2005-09-04
2005-09-05
2005-09-06
2005-09-07
2005-09-08
2005-09-09
2005-09-10
2005-09-11
2005-09-12
2005-09-13
2005-09-14
2005-09-15
2005-09-16
2005-09-17
2005-09-18
2005-09-19
2005-09-20
2005-09-21
2005-09-22
2005-09-23
2005-09-24
2005-09-25
2005-09-26
2005-09-27
2005-09-28
2005-09-29
2005-09-30
Daily Check Solar Tracker October 2005
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages/ fan-check)
2005-10-01
2005-10-02
2005-10-03
2005-10-04
2005-10-05
2005-10-06
2005-10-07
2005-10-08
2005-10-09
2005-10-10
2005-10-11
2005-10-12
2005-10-13
2005-10-14
2005-10-15
2005-10-16
2005-10-17
2005-10-18
2005-10-19
2005-10-20
2005-10-21
2005-10-22
2005-10-23
2005-10-24
2005-10-25
2005-10-26
2005-10-27
2005-10-28
2005-10-29
2005-10-30
2005-10-31
Daily Check Solar Tracker November 2005
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2005-11-01
2005-11-02
2005-11-03
2005-11-04
2005-11-05
2005-11-06
2005-11-07
2005-11-08
2005-11-09
2005-11-10
2005-11-11
2005-11-12
2005-11-13
2005-11-14
2005-11-15
2005-11-16
2005-11-17
2005-11-18
2005-11-19
2005-11-20
2005-11-21
2005-11-22
2005-11-23
2005-11-24
2005-11-25
2005-11-26
2005-11-27
2005-11-28
2005-11-29
2005-11-30
Daily Check Solar Tracker December 2005
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2005-12-01
2005-12-02
2005-12-03
2005-12-04
2005-12-05
2005-12-06
2005-12-07
2005-12-08
2005-12-09
2005-12-10
2005-12-11
2005-12-12
2005-12-13
2005-12-14
2005-12-15
2005-12-16
2005-12-17
2005-12-18
2005-12-19
2005-12-20
2005-12-21
2005-12-22
2005-12-23
2005-12-24
2005-12-25
2005-12-26
2005-12-27
2005-12-28
2005-12-29
2005-12-30
2005-12-31
2006 Daily Check Solar Tracker January
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-01-01
2006-01-02
2006-01-03
2006-01-04
2006-01-05
2006-01-06
2006-01-07
2006-01-08
2006-01-09
2006-01-10
2006-01-11
2006-01-12
2006-01-13
2006-01-14
2006-01-15
2006-01-16
2006-01-17
2006-01-18
2006-01-19
2006-01-20
2006-01-21
2006-01-22
2006-01-23
2006-01-24
2006-01-25
2006-01-26
2006-01-27
2006-01-28
2006-01-29
2006-01-30
2006-01-31
Daily Check Solar Tracker February 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-02-01
2006-02-02
2006-02-03
2006-02-04
2006-02-05
2006-02-06
2006-02-07
2006-02-08
2006-02-09
2006-02-10
2006-02-11
2006-02-12
2006-02-13
2006-02-14
2006-02-15
2006-02-16
2006-02-17
2006-02-18
2006-02-19
2006-02-20
2006-02-21
2006-02-22
2006-02-23
2006-02-24
2006-02-25
2006-02-26
2006-02-27
2006-02-28
Daily Check Swiss March 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-03-01
2006-03-02
2006-03-03
2006-03-04
2006-03-05
2006-03-06
2006-03-07
2006-03-08
2006-03-09
2006-03-10
2006-03-11
2006-03-12
2006-03-13
2006-03-14
2006-03-15
2006-03-16
2006-03-17
2006-03-18
2006-03-19
2006-03-20
2006-03-21
2006-03-22
2006-03-23
2006-03-24
2006-03-25
2006-03-26
2006-03-27
2006-03-28
2006-03-29
2006-03-30
2006-03-31
Daily Check Solar Tracker April 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-04-01
2006-04-02
2006-04-03
2006-04-04
2006-04-05
2006-04-06
2006-04-07
2006-04-08
2006-04-09
2006-04-10
2006-04-11
2006-04-12
2006-04-13
2006-04-14
2006-04-15
2006-04-16
2006-04-17
2006-04-18
2006-04-19
2006-04-20
2006-04-21
2006-04-22
2006-04-23
2006-04-24
2006-04-25
2006-04-26
2006-04-27
2006-04-28
2006-04-29
2006-04-30
Daily Check Solar Tracker May 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-05-01
2006-05-02
2006-05-03
2006-05-04
2006-05-05
2006-05-06
2006-05-07
2006-05-08
2006-05-09
2006-05-10
2006-05-11
2006-05-12
2006-05-13
2006-05-14
2006-05-15
2006-05-16
2006-05-17
2006-05-18
2006-05-19
2006-05-20
2006-05-21
2006-05-22
2006-05-23
2006-05-24
2006-05-25
2006-05-26
2006-05-27
2006-05-28
2006-05-29
2006-05-30
2006-05-31
Daily Check Solar Tracker June 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-06-01
2006-06-02
2006-06-03
2006-06-04
2006-06-05
2006-06-06
2006-06-07
2006-06-08
2006-06-09
2006-06-10
2006-06-11
2006-06-12
2006-06-13
2006-06-14
2006-06-15
2006-06-16
2006-06-17
2006-06-18
2006-06-19
2006-06-20
2006-06-21
2006-06-22
2006-06-23
2006-06-24
2006-06-25
2006-06-26
2006-06-27
2006-06-28
2006-06-29
2006-06-30
Daily Check Solar Tracker July 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-07-01
2006-07-02
2006-07-03
2006-07-04
2006-07-05
2006-07-06
2006-07-07
2006-07-08
2006-07-09
2006-07-10
2006-07-11
2006-07-12
2006-07-13
2006-07-14
2006-07-15
2006-07-16
2006-07-17
2006-07-18
2006-07-19
2006-07-20
2006-07-21
2006-07-22
2006-07-23
2006-07-24
2006-07-25
2006-07-26
2006-07-27
2006-07-28
2006-07-29
2006-07-30
2006-07-31
Daily Check Solar Tracker August 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-08-01
2006-08-02
2006-08-03
2006-08-04
2006-08-05
2006-08-06
2006-08-07
2006-08-08
2006-08-09
2006-08-10
2006-08-11
2006-08-12
2006-08-13
2006-08-14
2006-08-15
2006-08-16
2006-08-17
2006-08-18
2006-08-19
2006-08-20
2006-08-21
2006-08-22
2006-08-23
2006-08-24
2006-08-25
2006-08-26
2006-08-27
2006-08-28
2006-08-29
2006-08-30
2006-08-31

## Weekly Download SwissTower
2005 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber tu….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
28 | 050711 | 121 | 0s | y=yes | 158541 | 186 | 1523 | 192 | 1130 | ok
29 | 050718 | 122 | -1s | y | 332597 | 192 | 1131 | 199 | 2341 | ok
30 | 050722 | 123 | -1s | y | 413726 | 199 | 2342 | 203 | 1140 | ok
31 | 050725 | 124 | ok | - | 49 | 203 | 1141 | 207 | 137 | ok
2006 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments

## Weekly Download SolarTracker
2005 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
28 | 050711 | 117 | -10s | y=yes/n=no | 1873791 | 186 | 1226 | 192 | 1155 | ok
29 | 050718 | 118 | -1s | y | 59940 | 192 | 1131 | 200 | 0033 | ok
30 | 050722 | 119 | ok | - | 494057 | 200 | 0043 | 204 | 1820 | ok
30 | 050724 | 120 | ok | - | 640309 | 203 | 1821 | 206 | 0103 | ok
31 | 050725 | 121 | ok | - | 705713 | 206 | 0104 | 207 | 0129 | ok
2006 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments