## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE until August 31st | OFFICE from September 1st
|  | Swiss Federal Institute of Technology (ETH) | Swiss Federal Institute of Technology (ETH)
|  | Winterthurerstrasse 190 | ETH Zentrum, CHN, Universitätsstr. 16
|  | 8057 Zurich Switzerland | 8092 Zürich
|  | OFFICE until August 31st | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 635 52 25 | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 635 52 08 | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Sebastian Hoch | sebastian.hoch@env.ethz.ch | tel: +41 44 635 5226 | tel: +41 44 632 82 66 | tel: +41 44 313 08 75

## Daily Check Swiss Tower
2006 Daily Check Swiss Tower January
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-01-01 | 1440 | rr-all | ok | rr-all | rr | ok | ok
2006-01-02 |  | 30kts winds didn't go out to tower today |  |  |  |  | 30kts winds
2006-01-03 | 1330 | ok | ok | ok | ok | ok | ok
2006-01-04 | 1345 | rr-all | ok | rr-all | rr | rr
2006-01-05 | 1315 | rr-all | ok | rr-all | rr | ok
2006-01-06 | 1400 | ok | ok | ok | ok | ok | # 2 windcup was stopped, gave push
2006-01-07 | 1445 | ok | ok | ok | ok | ok | to get going as wind merited it to be
2006-01-08 | 1425 | ok | ok | ok | ok | ok | rotating, also cleaned snow from
2006-01-09 | 1345 | rr-all | ok | rr-all | rr | rr | surface snow height sensor with
2006-01-10 | 1405 | rr-all | ok | rr-all | rr | rr | soft bristle brush
2006-01-11 | 1345 | rr-all | ok | rr-all | rr | ok
2006-01-12 | 1530 | rr-all | ok | rr-all | rr | rr
2006-01-13 | 1430 | rr-all | ok | rr-all | rr | ok | rr from surface snow height sensor
2006-01-14 | 1405 | rr-all | ok | rr-all | rr | rr
2006-01-15 | 1425 | ok | ok | ok | ok | ok
2006-01-16 | 1415 | rr-all | ok | rr-all | rr | ok
2006-01-17 | 1345 | rr-all | ok | rr-all | rr | ok
2006-01-18 | 1415 | rr-all | ok | rr-all | rr | ok
2006-01-19 | 1330 | ok | ok | ok | ok | ok
2006-01-20 | 1410 | rr-all | ok | rr-all | rr | rr
2006-01-21 | 1500 | rr-all | ok | rr-all | rr | ok
2006-01-22 | 1530 | ok | ok | ok | ok | ok
2006-01-23 | 1400 | rr-all | ok | rr-all | rr | rr
2006-01-24 |  | 30kts winds didn't go out to tower today
2006-01-25 | 1330 | ok | ok | ok | ok | ok | surface snow height sensor depth
2006-01-26 |  | 35kts winds didn't go out to tower today |  |  |  |  | 172cm
2006-01-27 | 1315 | rr-all | ok | rr-all | ok | ok
2006-01-28 | 1455 | rr-all | ok | rr-all | rr | ok
2006-01-29 | 1415 | rr-all | ok | rr-all | rr | rr
2006-01-30 | 1455 | rr-all | ok | rr-all | rr | rr
2006-01-31 | 1315 | rr-all | ok | rr-all | rr | rr | heavy rime
Daily Check Swiss Tower February 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-02-01 | 1345 | rr-all | rr-all | rr-all | rr | rr
2006-02-02 | 1400 | rr-all | ok | rr-all | ok | ok
2006-02-03 | 1430 | rr-all | ok | rr-all | rr | rr
2006-02-04 | 1315 | rr-all | ok | ok | rr | ok
2006-02-05 | 1440 | rr-all | ok | ok | rr | rr
2006-02-06 | 1300 | rr-all | ok | rr-all | rr | rr
2006-02-07 | 1320 | rr-all | ok | rr-all | rr | rr
2006-02-08 | 1415 | rr-all | ok | rr-all | ok | ok
2006-02-09 |  | 30kts winds didn't go out to tower today
2006-02-10 | 1400 | ok | ok | ok | ok | ok
2006-02-11 | 1045 | rr-all | ok | rr-all | rr | rr
2006-02-12 | 1430 | rr-all | ok | rr-all | rr | rr
2006-02-13 | 1400 | rr-all | ok | rr-all | rr | rr
2006-02-14 | 1340 | rr-all | ok | rr-all | rr | ok
2006-02-15 | 1300 | rr-1,2 | ok | rr-all | rr | rr
2006-02-16 | 1320 | rr-all | rr-all | rr-all | rr | rr
2006-02-17 | 1340 | rr-all | rr-all | rr-all | rr | rr
2006-02-18 | 12:38 | rr-all | rr-all | rr-all | ok | ok
2006-02-19 |  | 30kts winds didn't go out to tower today
2006-02-20 | 14:00 | rr-all | ok | rr-all | ok | ok
2006-02-21 |  | 46kts winds didn't go out to tower today
2006-02-22 | 1245 | rr-all | rr-all | rr-all | rr | rr
2006-02-23 | 1230 | r-snow 1&2 | r-snow 1&2 | r-snow 1&2 | r-snow | ok
2006-02-24 | 1335 | rr-all | rr-all | rr-all | rr | ok
2006-02-25 | 1310 | rr-all | ok | rr-all | ok | rr
2006-02-26 | 1315 | rr-all | ok | rr-all | rr | rr
2006-02-27 | 1445 | rr-all | rr-all | rr-all | rr | rr | download wireless
2006-02-28 | 1245 | rr-all | rr-all | rr-all | rr | rr
Daily Check Swiss Tower March 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-03-01 | 1400 | rr-all | rr-1,2 | rr-all | rr | rr
2006-03-02 | 1300 | rr-all | ok | rr-all | rr | ok | motor noise from windcup #1
2006-03-03 | 1245 | rr-all | rr-all | rr-all | rr | rr
2006-03-04 | 1340 | rr-all | rr-all | rr-all | rr | ok
2006-03-05 | 1345 | rr-all | ok | rr-all | rr | rr
2006-03-06 | 1345 | rr-all | rr-all | rr-all | rr | ok | download wireless
2006-03-07 | 1225 | rr-1&2 | ok | ok | ok | ok
2006-03-08 | 1250 | rr-1&2 | ok | rr-1&2 | ok | ok
2006-03-09 | 1245 | rr-all | ok | rr-all | rr | rr
2006-03-10 | 1230 | rr-all | ok | rr-all | rr | rr
2006-03-11 | 1440 | rr-all | ok | rr-all | rr | ok
2006-03-12 | 1245 | rr-all | ok | ok | ok | ok
2006-03-13 | 1345 | rr-all | rr-all | rr-all | rr | rr | download wireless
2006-03-14 | 1300 | rr-all | rr-all | rr-all | rr | rr
2006-03-15 |  | 25-30 kts winds didn't go out to tower today
2006-03-16 | 1250 | rr-all | ok | rr- 1,2 | ok | ok
2006-03-17 |  | 40 kts winds didn't go out to tower today
2006-03-18 | 1335 | ok | ok | ok | ok | ok
2006-03-19 | 1345 | rr-all | ok | rr-all | rr | rr | very light rime all around
2006-03-20 | 1400 | rr-all | rr-all | rr-all | rr | rr | wireless download
2006-03-21 | 1240 | rr-all | ok | rr-all | rr | rr
2006-03-22 | 1320 | rr-all | ok | rr-all | rr | rr
2006-03-23 | 1320 | ok | ok | rr-2 | ok | rr
2006-03-24 | 1240 | rr-all | ok | rr-all | rr | rr
2006-03-25 | 1505 | rr-all | ok | rr-all | ok | rr
2006-03-26 | 1215 | rr-all | rr-all | rr-all | rr | rr
2006-03-27 | 1310 | rr-all | ok | rr-all | rr | rr
2006-03-28 | 1140 | rr-all | ok | rr-all | rr | rr
2006-03-29 | 1150 | rr-all | rr | rr-all | rr | rr
2006-03-30 | 1205 | rr-all | ok | rr-all | rr | ok
2006-03-31 | 1135 | rr-all | ok | rr-all | rr | rr
Daily Check Swiss Tower April 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-04-01 | 1330 | rr-all | ok | rr-all | ok | rr
2006-04-02 | 1215 | rr-all | rr-all | rr-all | rr | rr
2006-04-03 | 1310 | rr-all | rr-all | rr-all | rr | rr
2006-04-04 | 1150 | rr-all | ok | rr-1,2,& 4 | ok | rr | cottonball rime
2006-04-05 | 1130 | rr-all | ok | rr-all | rr | rr
2006-04-06 | 1245 | rr-all | ok | rr-all | rr | rr
2006-04-07 | 1150 | rr-all | ok | rr-all | rr | rr
2006-04-08 | 1635 | rr-all | ok | ok | ok | ok
2006-04-09 | 1125 | rr-all | ok | rr-all | rr | rr | very light rime all around
2006-04-10 | 1300 | rr-all | ok | rr-all (lite) | ok | rr | download wireless
2006-04-11 | 1132 | rr-all | ok | rr-all | rr | rr
2006-04-12 | 1145 | ok | ok | ok | ok | ok
2006-04-13 | 1147 | ok | ok | ok | ok | ok | really dry weather
2006-04-14 | 1130 | rr-all | ok | ok | ok | ok
2006-04-15 | 1355 | rr-all | ok | rr-1,4 | ok | rr
2006-04-16 | 1145 | rr-all | rr-all | rr-all | rr | rr | wind direction frozen in place
2006-04-17 | 1250 | rr-all | ok | rr-all | ok | rr | very little rime
2006-04-18 | 1150 | rr-all | ok | rr-all | rr | rr
2006-04-19 | 1130 | rr-all | ok | ok | ok | ok
2006-04-20 | 1125 | rr-all | ok | rr-all | ok | rr
2006-04-21 | 1135 | rr-all | ok | rr-all | ok | ok
2006-04-22 | 1025 | rr-all | ok | rr-all | rr | ok | very lite rime
2006-04-23 | 1110 | rr-1,2 | ok | ok | ok | ok | very little rime
2006-04-24 | 1222 | ok | ok | ok | ok | ok | wireless download
2006-04-25 | 1109 | ok | ok | ok | ok | ok
2006-04-26 | 1240 | rr-all | ok | rr4,5 | ok | rr | lgt icg on wndbrd
2006-04-27 | 1100 | rr-all | ok | rr-all | rr | rr
2006-04-28 | 1100 | ok | ok | ok | ok | ok | replace filters 1&3
2006-04-29 | 1100 | rr-all | ok | rr-all | ok | rr | very lite rime
2006-04-30 | 1145 | rr-all | ok | rr-all | lite rime | rr
Daily Check Swiss Tower May 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird (10 m) | comments (general maintenance / power outages)
2006-05-01 | 1055 | rr-all | ok | ok | ok | ok
2006-05-02 | 1052 | rr-all | rr-all | rr-all | rr | rr
2006-05-03 | 1029 | ok | ok | rr 1,2 | ok | ok
2006-05-04 | 1135 | ok | ok | rr 1,2 | ok | ok
2006-05-05 | 1045 | rr-all | ok | rr-all | ok | ok | vry lgt rime
2006-05-06 | 1050 | rr-all | ok | ok | ok | ok
2006-05-07 | 1125 | ok | ok | ok | ok | ok
2006-05-08 | 1135 | rr-all | ok | rr-all | ok | ok | wireless download
2006-05-09 | 1229 | rr-all | ok | ok | ok | ok | training to Jeff derry
2006-05-10 | 1122 | rr-all | ok | rr-1-3 | ok | ok
2006-05-11 | 1227 | rr-all | ok | rr1-4 | ok | ok
2006-05-12 | 1108 | rr-all | ok | rr1-4 | rr | rr
2006-05-13 | 1058 | rr-all | ok | ok | ok | ok
2006-05-14 | 1028 | ok | ok | ok | ok | ok
2006-05-15 | 1112 | rr-all | ok | ok | ok | ok
2006-05-16 | 1107 | rr-all | ok | ok | ok | rr
2006-05-17 | 1050 | rr-all | ok | ok | ok | rr
2006-05-18 | 1204 | rr-all | ok | rr-all (lite) | ok | rr (lgt)
2006-05-19 | 1057 | rr-all | ok | ok | rr | ok
2006-05-20 | 1058 | rr-all | ok | ok | ok | ok
2006-05-21 | 1204 | rr-all | ok | ok | ok | ok | fan on #4 not working
2006-05-22 | 1113 | rr-all | ok | ok | ok | ok | fan on #4 working
2006-05-23 | 1051 | rr-all | ok | ok | ok | ok
2006-05-24 | 1107 | rr-all | ok | ok | ok | rr
2006-05-25 | 1106 | rr-all | ok | rr 3,4 (lgt) | ok | rr (lgt)
2006-05-26 | 1058 | rr-all | ok | ok | ok | rr
2006-05-27 | 1108 | rr-all | ok | ok | ok | n/a
2006-05-28 | 1220 | rr-all | ok | ok | ok | ok
2006-05-29 | 1050 | rr-all | ok | rr 1,2 (lgt) | ok | ok
2006-05-30 | 1110 | rr-all | ok | ok | ok | ok
2006-05-31 | 1143 | rr-all | ok | rr 1,2,4 | ok | ok

## Daily Check Solar Tracker
2006 Daily Check Solar Tracker January
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-01-01 | 1455 | ok | rr-all | ok | rr | rr-all | rr | day 1 2006 ok!
2006-01-02 |  | 30 kts winds didn't go out to instruments today | [5 empty] | 30kts winds
2006-01-03 | 1340 | ok | rr-all | ok | ok | rr-all | ok
2006-01-04 | 1320 | rr-3 | rr-all | rr | ok | rr-all | rr
2006-01-05 | 1330 | ok | rr-all | r-lite frost D2 | r-snow | rr-all | rr
2006-01-06 | 1330 | rr-all | rr-all | rr | ok | rr-all | rr
2006-01-07 | 1530 | rr-all | ok | ok | ok | rr-all | ok
2006-01-08 | 1400 | rr-all | ok | ok | ok | rr-all | ok
2006-01-09 | 1330 | ok | rr-all | r-snow | r-snow | rr-all | rr
2006-01-10 | 1345 | rr 1,3 | rr-all | ok | ok | rr-all | rr
2006-01-11 | 1330 | r-frost | rr-all | r-frost | ok | rr-all | rr
2006-01-12 | 1500 | ok | rr-all | r-frost | ok | rr-all | rr
2006-01-13 | 1415 | rr | rr-all | rr | rr | rr-all | rr
2006-01-14 | 1330 | rr 1,3 | rr-all | rr | rr | rr-all | rr
2006-01-15 | 1400 | rr 1,3 | rr-all | rr | ok | rr-all | ok
2006-01-16 | 1430 | rr-1 | rr-all | r-frost | rr | rr-all | rr
2006-01-17 | 1330 | ok | rr-all | ok | ok | rr-all | ok
2006-01-18 | 1400 | ok | rr-all | r-frost | ok | rr-all | rr | solar tracker arm flipped to south
2006-01-19 | 1315 | ok | rr-all | ok | ok | ok | ok
2006-01-20 | 1345 | rr 1,3 | rr-all | ok | rr | rr-all | rr
2006-01-21 | 1430 | r-frost-1 | rr-all | ok | rr | rr-all | rr
2006-01-22 | 1505 | ok | rr-all | ok | rr-snow | rr-all | ok
2006-01-23 | 1420 | ok | rr-all | ok | rr | rr-all | rr
2006-01-24 |  | 30 kts winds didn't go out to instruments today
2006-01-25 | 1315 | ok | rr-all | ok | ok | rr-all | ok
2006-01-26 |  | 35 kts winds didn't go out to instruments today
2006-01-27 | 1330 | ok | rr-all | ok | r-snow | rr-all | ok
2006-01-28 | 1430 | rr 1,3 | rr-all | ok | ok | rr-all | rr
2006-01-29 | 1400 | rr-1 | rr-all | rr | rr | rr-all | rr
2006-01-30 | 1420 | rr-1 | rr-all | rr | rr | rr-all | rr | heavy rime
2006-01-31 | 1300 | rr-all | rr-all | ok | rr | rr-all | rr
Daily Check Solar Tracker February 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-02-01 | 1420 | rr 1 | rr-all | ok | rr | rr-all | rr
2006-02-02 | 1345 | ok | rr-all | ok | r-snow | rr-all | ok | replace 1 filter on rotating device
2006-02-03 | 1415 | rr 1,3 | rr-all | ok | ok | rr-all | rr | dome
2006-02-04 | 1345 | ok | rr-all | ok | ok | rr-all | rr
2006-02-05 | 1405 | rr 1 | rr-all | ok | ok | rr-all | rr
2006-02-06 | 1245 | ok | rr-all | ok | ok | rr-all | rr
2006-02-07 | 1250 | rr-1,3 | rr-all | ok | ok | rr-all | rr
2006-02-08 | 1400 | ok | rr-all | ok | ok | rr-all | ok
2006-02-09 |  | 30 kts winds didn't go out to instruments today
2006-02-10 | 1345 | ok | rr-all | ok | ok | rr-all | ok
2006-02-11 | 1015 | rr 1 | rr-all | rr | rr | rr-all | rr
2006-02-12 | 1410 | rr-1 | rr-all | ok | rr | rr-all | rr
2006-02-13 | 1320 | rr-1 | rr-all | ok | rr | rr-all | rr
2006-02-14 | 1310 | ok | rr-all | ok | rr | rr-all | rr | fixed arm dome #1 fan making noise
2006-02-15 | 1225 | rr-1 | rr-all | rr-1 | rr | rr-all | rr | used EtOH on rotating dome 1
2006-02-16 | 1300 | rr-1 | rr-all | rr-1 | rr | rr-all | rr
2006-02-17 | 1340 | rr-1 | rr-all | rr-1 | rr | rr-all | rr
2006-02-18 | 12:34 | ok | rr-all | ok | rr | rr-all | rr | EtOH on Tube
2006-02-19 | 1515 | ok | r-snow all | ok | r-snow all | r-snow all | ok
2006-02-20 | 1340 | ok | r-snow all | ok | r-snow all | r-snow all | ok | manual download from datalogger
2006-02-21 |  | 46 kts winds didn't go out to instruments today
2006-02-22 | 1215 | rr-1 | rr-all | rr-1 | rr-all | rr-all | rr
2006-02-23 | 1220 | ok | r-snow all | ok | r-snow | r-snow all | r-snow
2006-02-24 | 1305 | ok | rr-all | rr-1 | rr-all | rr-all | rr
2006-02-25 | 1230 | ok | rr-all | ok | rr | rr-all | rr
2006-02-26 | 1250 | ok | rr-all | ok | rr | rr-all | rr
2006-02-27 | 1340 | rr-all | rr-all | rr | rr | rr-all | rr | manual download from datalogger
2006-02-28 | 1305 | rr-1 | rr-all | rr | rr | rr-all | rr
Daily Check Swiss March 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-03-01 | 1345 | ok | rr-all | ok | rr | rr-all | rr
2006-03-02 | 1230 | ok | rr-all | rr-all | rr | rr-all | rr
2006-03-03 | 1210 | ok | rr-all | rr-all | rr | rr-all | rr
2006-03-04 | 1310 | rr-1 | rr-all | rr-1 | rr | rr-all | rr
2006-03-05 | 1320 | ok | rr-all | rr-1 | rr | rr-all | rr
2006-03-06 | 1300 | rr-1 | rr-all | ok | rr | rr-all | rr | manual download from datalogger
2006-03-07 | 1230 | ok | rr-all | ok | rr | rr-all | ok
2006-03-08 | 1230 | ok | rr-all | ok | rr | rr-all | ok
2006-03-09 | 1220 | rr-1 | rr-all | ok | rr | rr-all | rr
2006-03-10 | 1240 | ok | rr-all | ok | rr | rr-all | rr
2006-03-11 | 1415 | ok | rr-1,2,3 | ok | ok | rr-2,3 | rr
2006-03-12 | 1230 | ok | rr-all | ok | ok | rr-all | ok | replace F3 filter on tracker
2006-03-13 | 1315 | ok | rr-all | ok | rr | rr-all | ok | manual download from datalogger
2006-03-14 | 1230 | ok | rr-all | ok | rr | rr-all | rr
2006-03-15 |  | 25 kts winds didn't go out to instruments today
2006-03-16 | 1240 | rr-1 | rr-all | ok | rr | rr-all | ok
2006-03-17 |  | 40 kts winds didn't go out to instruments today
2006-03-18 | 1315 | ok | rr-all | rr-1 | rr | rr-all | ok
2006-03-19 | 1330 | ok | rr-all | ok | rr | rr-all | ok
2006-03-20 | 1340 | rr-1,3 | rr-all | rr-all | rr | rr-all | rr | s-mod download
2006-03-21 | 1230 | rr-1,3 | rr-all | ok | rr | rr-all | rr
2006-03-22 | 1300 | rr-1,3 | rr-all | ok | rr | rr-all | rr
2006-03-23 | 1310 | ok | rr-all | ok | ok | rr-all | rr
2006-03-24 | 1220 | rr-1,3 | rr-all | rr-1 | rr | rr-all | rr
2006-03-25 | 1445 | rr-1 | rr-all | ok | ok | rr-all | ok
2006-03-26 | 1235 | rr-1 | rr-all | rr-1 | rr | rr-all | rr
2006-03-27 | 1240 | rr-1,3 | rr-all | ok | rr | rr-all | rr | s-mod download
2006-03-28 | 1110 | rr-1 | rr-all | ok | rr | rr-all | rr
2006-03-29 | 1125 | rr-1,3 | rr-all | rr-1,2 | rr | rr-all | rr | dome 1 fan of fixed arm whining
2006-03-30 | 1145 | rr-all | rr-all | rr-1 | rr | rr-all | rr
2006-03-31 | 1125 | rr-1 | rr-all | rr-1 | ok | rr-all | rr
Daily Check Solar Tracker April 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-04-01 | 1310 | ok | rr-all | ok | ok | rr-all | rr
2006-04-02 | 1150 | ok | rr-all | ok | ok | rr-all | ok
2006-04-03 | 1220 | pk | rr-all | ok | rr | rr-all | ok
2006-04-04 | 1130 | ok | rr-all | ok | ok | rr-1,2 | rr | cottonball rime
2006-04-05 | 1115 | rr-1 | rr-all | ok | rr | rr-1,2 | ok
2006-04-06 | 1200 | rr-1 | rr-all | ok | rr | rr-1,2 | rr
2006-04-07 | 1130 | rr-1,3 | rr-all | ok | ok | rr-all | ok
2006-04-08 | 1620 | ok | rr-all | ok | ok | rr1,2 | ok
2006-04-09 | 1110 | ok | rr-all | ok | ok | rr-all | ok | very light rime
2006-04-10 | 1245 | ok | rr-all | ok | ok | rr-all | ok | s-mod download
2006-04-11 | 1120 | ok | rr-all | ok | ok | rr - 1,2 | rr | fixed bamboo fence since last checks
2006-04-12 | 1120 | ok | ok | ok | ok | ok | ok
2006-04-13 | 1130 | ok | ok | ok | ok | ok | ok | really dry weather
2006-04-14 | 1115 | ok | rr-all | ok | ok | ok | ok
2006-04-15 | 1335 | ok | rr-all | ok | ok | rr-1 | ok
2006-04-16 | 1120 | ok | rr-all | ok | ok | rr-all | rr | fan under dome 1 on fixed arm whining
2006-04-17 | 1125 | ok | rr-all | ok | ok | rr-all | ok | very little rime
2006-04-18 | 1136 | ok | rr-all | ok | ok | rr-1,2 | rr
2006-04-19 | 1115 | ok | rr-all | ok | rr | rr-all | ok
2006-04-20 | 1115 | ok | rr-all | ok | ok | rr-1,2 | ok
2006-04-21 | 1120 | ok | rr-all | ok | ok | rr-1,2 | ok
2006-04-22 | 1015 | ok | rr-all | ok | ok | rr-all | ok
2006-04-23 | 1050 | ok | rr-1,2 | ok | ok | ok | ok | very little rime
2006-04-24 | 1230 | ok | rr-all | ok | ok | rr-all | ok | download s-mod
2006-04-25 | 1140 | ok | rr-all | ok | ok | rr-all | ok
2006-04-26 | 1245 | rr 2 (lgt) | rr-all | ok | ok | rr-all | ok | F3 tube filled w/ BLSN last few days
2006-04-27 | 1109 | ok | rr-all | ok | ok | rr-all | ok | replaced F3 filter w/ a double filter
2006-04-28 | 1105 | ok | rr-all | ok | ok | rs-all | ok
2006-04-29 | 1050 | ok | rr-all | ok | rr | rr-all | ok | very lite rime
2006-04-30 | 1125 | rr-3 | rr-all | ok | rr | rr-all | ok
Daily Check Solar Tracker May 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-05-01 | 1105 | ok | rr-all | ok | ok | rr-2,3 | ok | dwnld via s-mod
2006-05-02 | 1105 | ok | rr-all | ok | rr | rr-all | OK
2006-05-03 | 1025 | ok | ok | ok | ok | ok | ok
2006-05-04 | 1050 | ok | ok | ok | ok | ok | ok
2006-05-05 | 1030 | ok | rr-all | ok | ok | rr-all | ok | vry lgt rime
2006-05-06 | 1055 | ok | rr-all | ok | ok | rr-all | ok
2006-05-07 | 1131 | ok | ok | ok | ok | rr F1 F3 | ok
2006-05-08 | 0940 | ok | rr F2 | ok | ok | rr F1,2 | ok | s-mod download
2006-05-09 | 1246 | ok | rr-all | ok | ok | rr-all | ok | turnover training
2006-05-10 | 1141 | ok | rr-all | ok | ok | rr-all | ok
2006-05-11 | 1224 | ok | rr-all | ok | ok | rr-all | ok
2006-05-12 | 1108 | ok | rr-all | rrI1 | ok | rr-all | ok
2006-05-13 | 1107 | ok | rr-all | ok | ok | rr-all | ok
2006-05-14 | 1035 | ok | ok | ok | ok | ok | ok
2006-05-15 | 1055 | ok | ok | ok | ok | ok | ok
2006-05-16 | 1114 | ok | rr-all | ok | ok | rr-all | ok
2006-05-17 | 1058 | rr | rr-all | ok | rr | rr-all | ok
2006-05-18 | 1217 | ok | rr-all | rr I1 (lt) | ok | rr-all | ok | fan for I1 not on!
2006-05-19 | 1107 | ok | rr-all | ok | ok | rr-all | ok
2006-05-20 | 1105 | ok | rr-all | rr I1 | rr | rr-all | ok | fan I1 working!
2006-05-21 | 1220 | ok | rr-all | ok | ok | rr F2,3 | ok
2006-05-22 | 1120 | ok | rr-all | ok | ok | rr F1-3 | ok
2006-05-23 | 1100 | ok | rr-all | ok | ok | rr-all | ok
2006-05-24 | 1124 | ok | rr-all | ok | ok | rr-all | ok
2006-05-25 | 1130 | ok | rr 3,4 | ok | ok | rr 2,3 | ok
2006-05-26
2006-05-27 | [7 empty] | registration on Tracker stopped
2006-05-28 | 1235 | ok | rr-all | ok | ok | rr-all | ok
2006-05-29 | 1102 | ok | rr-all | ok | ok | rr-all | ok | registration on new Logger starts again
2006-05-30 | 1132 | ok | rr-all | ok | ok | rr-all | ok | rising Tracker, data disturbed
2006-05-31 | 1147 | ok | rr-all | ok | ok | rr-all | ok | rising Fixarm, data disturbed

## Weekly Download SwissTower
2006 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 060103 | 148 | -14s | Y | 2095679 | 360 | 1413 | 3 | 1440 | yes | ok
2 + 3 | 060116 | 149 | ? | ? | 348925 | 293 | 116 | 16 | 1415 | yes | s-mod download
4 | 060123 | 150 | ? | ? | 510993 | 16 | 1416 | 23 | 1401 | yes | s-mod download
5 | 060130 | 151 | -5 | y | 573822 | 23 | 1402 | 30 | 1306 | yes | wireless ok
6 | 060206 | 152 |  |  | 834724 | 23 | 1402 | 37 | 1309 | yes | s-mod download
7 | 060213 | 153 | +2 | y | 899113 | 37 | 1309 | 44 | 1350 | yes | wireless ok
8 | 060220 | 154 | - | - | 1060203 | 44 | 1351 | 51 | 1236 | yes | wireless ok
9 | 060227 | 155 | +2 | Y | 1222899 | 51 | 1237 | 58 | 1301 | yes | wireless ok
10 | 060306 | 156 | -19 | Y | 1384543 | 58 | 1302 | 65 | 1222 | yes | wireless ok
11 | 060313 | 157 | -2 | Y | 1547179 | 65 | 1223 | 72 | 1240 | yes | wireless ok
12 | 060320 | 158 | - | N | 1709894 | 72 | 1241 | 79 | 1307 | yes | wireless ok
13 | 060322 | 159 | -2 | Y | 1728390 | 79 | 1308 | 80 | 816 | yes | wireless ok
13 | 060327 | 159A | -1 hr 1 sec | Y | 1871055 | 80 | 817 | 86 | 1256 | yes | wireless ok
14 | 060403 | 160 | +1 hr | y | 2033328 | 86 | 1257 | 93 | 1255 | yes | wireless ok
15 | 060410 | 161 | + 1 sec | Y | 49251 | 93 | 1256 | 100 | 1150 | yes | wireless ok
16 | 060417 | 162 | + 3 sec | y | 211101 | 100 | 1151 | 107 | 1123 | yes | wireless ok
17 | 060424 | 163 | -3 | y | 373640 | 107 | 1124 | 114 | 1139 | yes | wireless ok
18 | 060501 | 164 | 0 | n | 535591 | 114 | 1140 | 121 | 1118 | yes | wireless ok
19 | 060508 | 165 | -1 | Y | 697014 | 121 | 1119 | 128 | 1024 | yes | wireless ok
20 | 060515 | 166 | -1 | n | 859991 | 128 | 1025 | 135 | 1107 | yes | wireless ok
21 | 060522 | 167 | - | - | 1022526 | 135 | 1108 | 142 | 1122 | yes | wireless ok
22 | 060531 | 168 | - | - | 1408939 | 142 | 1123 | 147 | 2040 | yes | Storage Mod.
22 | 060531 | 169 | - | - | - | 147 | 2041 | 149 | 1200 | yes | new Progr.!!

## Weekly Download SolarTracker
2006 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 060103 | 145 | 1 | ok | 599354 | 362 | 1348 | 3 | 1336 | y | s-mod download
2 | 060109 | 146 | +9 | Yes | 989535 | 3 | 1337 | 9 | 1521 | y | s-mod download
3 | 060116 | 147 | ? | ? | 1436937 | 9 | 1522 | 16 | 1426 | y | s-mod download
4 | 060123 | 148 | ? | ? | 1886274 | 16 | 1427 | 23 | 1415 | y | s-mod download
5 | 060130 | 149 | +5 | Yes | 239027 | 23 | 1416 | 30 | 1414 | Y | s-mod download
6 | 060206 | 150 |  |  | 684800 | 30 | 1415 | 37 | 1242 | y | s-mod download
7 | 060213 | 151 | +14 | Yes | 1139637 | 37 | 1243 | 44 | 1436 | y | s-mod download
8 | 060220 | 152 | - | - | 1585850 | 44 | 1437 | 51 | 1314 | yes | s-mod download
9 | 060227 | 153 | - | - | 2036683 | 51 | 1315 | 58 | 1337 | Y | s-mod download
10 | 060306 | 154 | .- | .- | 387676 | 58 | 1338 | 65 | 1256 | Y | s-mod download
11 | 060313 | 155 | - | - | 838289 | 65 | 1257 | 72 | 1314 | Y | s-mod download
12 | 060320 | 156 | - | - | 1289342 | 72 | 1315 | 79 | 1342 | Y | s-mod download
13 | 060327 | 157 | - | - | 1735907 | 79 | 1343 | 86 | 1228 | y | s-mod download
14 | 060403 | 158 | - | - | 88660 | 86 | 1229 | 93 | 1227 | y | s-mod download
15 | 060410 | 159 | - | - | 538613 | 93 | 1256 | 100 | 1150 | Y | s-mod download
16 | 060417 | 160 | - | - | 986674 | 100 | 1231 | 107 | 1150 | y | s-mod download
17 | 060424 | 161 | - | - | 13438388 | 107 | 1151 | 114 | 1233 | y | s-mod download
18 | 060501 | 162 | - | - | 1885261 | 114 | 1234 | 121 | 1126 | y | s-mod download
19 | 060508 | 163 | _ |  | 236562 | 121 | 1127 | 128 | 1057 | y | s-mod download
20 | 060515 | 164 | x | x | 691795 | 128 | 1053 | 135 | 1255 | y | s-mod download
21 | 060522 | 165 | x | x | 1139724 | 135 | 1256 | 142 | 1212 | y | s-mod download
22 | 060531 | 166 | -40 | no | 1461640 | 142 | 1213 | 147 | 1226 | y | Tracker stopped