## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Daily Check Swiss Tower
Daily Check Swiss Tower June 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1,2,4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-06-01 | 1146 | rr 1,2,3,5 | ok | ok | ok | ok | ok | n
2006-06-02 | 1103 | rr-all | ok | rr 2 | ok | ok | ok | n
2006-06-03 | 1139 | ok | ok | ok | ok | ok | ok | n
2006-06-04 | 1053 | rr 1,2,3,5 | ok | rr 4,5 (lgt) | ok | ok | ok | n
2006-06-05 | 1050 | rr-all | ok | ok | ok | ok | ok | n
2006-06-06 | 1040 | rr-all | ok | ok | ok | ok | ok | n
2006-06-07 | 1030 | rr-all | ok | ok | ok | ok | ok | n
2006-06-08 | 1115 | rr-all | ok | ok | ok | ok | ok | n
2006-06-09 | 1043 | rr-all | ok | ok | ok | ok | ok | n
2006-06-10 | 1043 | rr-all | ok | ok | ok | ok | ok | n
2006-06-11 | 1210 | rr-all | ok | ok | ok | ok | ok | n
2006-06-12 | 1106 | rr-all | ok | ok | ok | ok | ok | n
2006-06-13 | 1042 | ok | ok | ok | ok | ok | ok | n
2006-06-14 | 1106 | rr-all | ok | ok | ok | ok | ok | n
2006-06-15 | 1049 | ok | ok | ok | ok | ok | ok | n
2006-06-16 | 1054 | ok | ok | ok | ok | ok | ok | n
2006-06-17 | 1046 | rr-all | ok | ok | ok | ok | ok | n
2006-06-18 | 1130 | ok | ok | ok | ok | ok | ok | n
2006-06-19 | 1107 | ok | ok | ok | ok | ok | ok | n
2006-06-20 | 1046 | ok | ok | ok | ok | ok | ok | n
2006-06-21 | 1056 | ok | ok | ok | ok | ok | ok | n
2006-06-22 | 1048 | ok | ok | ok | ok | ok | ok | n
2006-06-23 | 1037 | ok | ok | ok | ok | ok | ok | n
2006-06-24 | 1050 | rr-all | ok | ok | ok | ok | ok | n | light rime on filters
2006-06-25 | 1100 | ok | ok | ok | ok | ok | ok | n
2006-06-26 | 1100 | rr 1-3 | ok | ok | ok | ok | ok | n
2006-06-27 | 1108 | rr-all | ok | ok | ok | ok | ok | n
2006-06-28 | 1044 | ok | ok | ok | ok | ok | ok | n
2006-06-29 | 1048 | rr-1-3 | ok | ok | ok | ok | ok | n | light rime on filters
2006-06-30 | 1047 | ok | ok | ok | ok | ok | ok | n | 15kt winds
Daily Check Swiss Tower July 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-07-01 | 1230 | rr-all | ok | ok | ok | ok | ok | n
2006-07-02 | 1153 | ok | ok | ok | ok | ok | ok | n
2006-07-03 | 1211 | ok | ok | ok | ok | ok | ok | n
2006-07-04 | 1045 | rr-all | ok | ok | ok | ok | ok | n | vry lgt icg
2006-07-05 | 1045 | ok | ok | ok | ok | ok | ok | n
2006-07-06 | 1054 | ok | ok | ok | ok | ok | ok | n
2006-07-07 | 1044 | rr-all | ok | ok | ok | ok | ok | n | vry lgt icg
2006-07-08 | 1039 | rr-all | ok | rime | rime | ok | ok | y | rime on windcups, did not remove rime. Took picture at 1117 GMT. Noticed rime at 1039 GMT. Heated windcups were clear. Photos at: \\Server\FTP\data\zurich\06_FTP_ETH
2006-07-09 | 1148 | ok | all off! | ok | ok | ok | ok | n | power has been off since we took down the SwissPort on 7/4/06!! lgt rime on 1 sonic pin
2006-07-10 | 1125 | ok | ok | rime | rime | rime | ok | n | light rime, very similar to photo taken on july 8.
2006-07-11 | 1052 | rr-all | ok | rr red (lgt) | rr-base | rr (lgt) | ok | y
2006-07-12 | 1036 | rr-all | ok | ok | ok | ok | ok | n
2006-07-13 | 1054 | ok | ok | ok | ok | ok | ok | n
2006-07-14 | 1045 | ok | ok | ok | ok | ok | ok | n
2006-07-15 | 1123 | ok | ok | ok | ok | ok | ok | n
2006-07-16 | 1040 | ok | ok | ok | ok | ok | ok | n
2006-07-17 | 1025 | rr-all | ok | light rime | light rime | ok | ok | n | Light rime on wind cups, heated cups were fine.
2006-07-18 | 1140 | ok | ok | ok | ok | ok | ok | n
2006-07-19 | 1048 | ok | ok | ok | ok | ok | ok | n
2006-07-20 | 1040 | rr-all | ok | rime- #5 | ok | ok | ok | n | rime on the top windcup, did not remove. Ot seemed to be rotating slower.
2006-07-21 | 1027 | ok | ok | ok | ok | ok | ok | n
2006-07-22 | 1023 | ok | ok | ok | ok | ok | ok | n
2006-07-23 | 923 | rr (lgt) | ok | ok | ok | ok | ok | n
2006-07-24 | 1100 | rr (lgt) | ok | rr-reds | ok | rr (lgt) | ok | n
2006-07-25 | 1038 | rr-all | ok | ok | ok | ok | ok | n
2006-07-26 | 1036 | ok | ok | ok | ok | ok | ok | n
2006-07-27 | 1036 | rr-all | ok | rr all (lgt) | ok | ok | ok | n
2006-07-28 | 850 | rr-all | ok | rr-all | rimed | rimed | ok | y
2006-07-29 | 1037 | rr-all | ok | ok | ok | ok | ok | n
2006-07-30 | 916 | rr-all | ok | rr-all | rr | rr | ok | n
2006-07-31 | 1237 | rr-all | ok | ok | ok | ok | ok | n
Daily Check Swiss Tower August 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-08-01 | 1048 | rr-all | ok | rr-all | rimed | rimed | ok | y
2006-08-02 | 1050 | rr-all | ok | rr-all | rimed | rimed | ok | y
2006-08-03 | 1128 | rr-all | ok | rr-all | rimed | rimed | ok | n
2006-08-04 | 1038 | ok | ok | ok | ok | ok | ok | n
2006-08-05 | 1050 | ok | ok | ok | ok | ok | ok | n | all good: warm day
2006-08-06 | 1150 | ok | ok | ok | ok | ok | ok | n
2006-08-07 | 1139 | rr-all | ok | rr-all | rr | rr | ok | y | heavy rime day, please see pictures. Heated windcup was fine. Sonic anemometer was slightly rimed.
2006-08-08 | 1043 | rr-all | ok | rr-all | ok | rr | ok | n | similar to previous day
2006-08-09 | 1059 | rr-all | ok | rr-all | ok | ok | ok | n | light rime
2006-08-10 | 1051 | rr-all | ok | ok | ok | ok | ok | n
2006-08-11 | 1115 | ok | ok | ok | ok | ok | ok | n
2006-08-12 | 1047 | rr-all | ok | rr-all | rr | rr | ok | y
2006-08-13 | 923 | rs-all | ok | rs-(lgt) | ok | rr-sn | ok | n
2006-08-14 | 1125 | rr-all | ok | rr | ok | rimed | ok | n
2006-08-15 | 1031 | rr-all | ok | rr-all | rr | rimed | ok | y
2006-08-16 | 1031 | rr-all | ok | ok | ok | ok | ok | n | ice rime
2006-08-17
2006-08-18 | 1103 | rr-all | ok | ok | ok | ok | ok | n
2006-08-19 | 1041 | rr-all | ok | ok | ok | ok | ok | n | 2-3 fresh snow overnight
2006-08-20 | 1318 | rr-all | ok | ok | ok | ok | ok | n
2006-08-21 | 1233 | rr-all | ok | ok | ok | ok | ok | n
2006-08-22 | 1357 | rr-all | ok | ok | ok | ok | ok | n
2006-08-23 | 1115 | ok | ok | ok | ok | ok | ok | n
2006-08-24 | 853 | rr-all | ok | rr | ok | ok | ok | n | heavy rime
2006-08-25 | 840 | rr-all | ok | ok | ok | ok | ok | n
2006-08-26 | 854 | rr-all | ok | rs-(lgt) | ok | ok | ok | y | BLSN
2006-08-27 | 1050 | rr-all | ok | rr-all | ok | ok | ok | y | heavy rime
2006-08-28 | 1155 | rr-all | ok | rr-all | rimed | rimed | ok | n
2006-08-29 | 920 | rr-all | ok | rr-all | rimed | rimed | ok | y
2006-08-30 | 1125 | rr-all | ok | rr-all | rimed | rimed | ok | n
2006-08-31 | 935 | rr-all | ok | rr-all | rimed | rimed | ok | n
Daily Check Swiss Tower September 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-09-01 | 1210 | RR-all | ok | rr-all | rimed | rimed | ok | N
2006-09-02 | 1225 | RR-all | ok | rr-all | ok | rimed | ok | N
2006-09-03 | 1515 | RR-all | ok | rr-#4 | ok | ok | ok | N
2006-09-04
2006-09-05 | 840 | RR-all | ok | rr-all | rimed | rimed | ok | N
2006-09-06 | 915 | RR-all | ok | rr-all | rimed | rimed | ok | N
2006-09-07 | 1245 | RR-all | ok | rr-all | rimed | rimed | ok | N
2006-09-08 | 1150 | RR-all | ok | ok | ok | ok | ok | N
2006-09-09 | 1105 | RR-all | ok | rr-all | ok | ok | ok | N
2006-09-10
2006-09-11 | 1114 | RR-all | ok | rr-all | ok | rimed | ok | N
2006-09-12 | 1210 | RR-all | ok | rr-all | ok | rimed | ok | N
2006-09-13 | 1125 | ok | ok | ok | ok | ok | ok | N
2006-09-14
2006-09-15 | 1238 | ok | ok | ok | ok | ok | ok | N
2006-09-16 | 1300 | RR-all | ok | rr-all | ok | snow in cups | ok | N
2006-09-17 | 1530 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-18 | 1120 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-19 | 1150 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-20 | 1200 | rr-all | ok | rr-all | rimed | rimed | ok | N | checked wireless antenna
2006-09-21 | 1035 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-22 | 1210 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-23 | 1250 | rr-all | ok | rr-all | rimed | ok | ok | N
2006-09-24 | 1530 | ok | ok | ok | ok | ok | ok | N
2006-09-25 | 1220 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-26 | 1038 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-27 | 1110 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-28 | 1145 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-29 | 1305 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-09-30 | 1240 | rr-all | ok | rr-all | rimed | rimed | ok | N
Daily Check Swiss Tower October 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-10-01
2006-10-02 | 1205 | rr-all | ok | ok | ok | ok | ok | n
2006-10-03 | 1235 | rr-all | ok | ok | ok | ok | ok | n
2006-10-04 | 1100 | ok | ok | ok | ok | ok | ok | n
2006-10-05 | 1325 | rr-all | ok | rr-all | rimed | rimed | ok | n
2006-10-06 | 1300 | rr-all | ok | ok | ok | ok | ok | n
2006-10-07 | 1245 | rr-all | rr-all | rr-all | rimed | rimed | ok | n
2006-10-08 | 1730 | rr-all | ok | rr-all | rimed | rimed | ok | n
2006-10-09 | 1120 | rr-all | rr-all | rr-all | rimed | rimed | ok | n
2006-10-10
2006-10-11 | 1140 | rr-all | ok | rr-all | ok | ok | ok | n
2006-10-12 | 1040 | rr-all | ok | rr-all | rimed | rimed | ok | n | wind direction does not move freely
2006-10-13 | 1130 | ok | ok | ok | ok | ok | ok | n
2006-10-14 | 1300 | ok | ok | ok | ok | ok | ok | n
2006-10-15 | 1310 | rr-all | ok | rr-all | ok | ok | ok | n
2006-10-16 | 1358 | ok | ok | ok | ok | ok | ok | n
2006-10-17
2006-10-18 | 1215 | rr-all | rr-all | rr-all | rimed | rimed | ok | N
2006-10-19 | 1410 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-10-20 | 1130 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-10-21 | 1205 | rr-all | ok | rr-all | rimed | rimed | ok | N
2006-10-22 | 1050 | RR-all | rr-all | rr-all | rimed | rimed | ok | N
2006-10-23 | 1320 | RR-all | ok | rr-all | rimed | rimed | ok | N
2006-10-24 | 1235 | RR-all | ok | rr-all | rimed | rimed | ok | N
2006-10-25 | 1145 | RR-all | rr-all | rr-all | rimed | rimed | ok | N
2006-10-26 | 1155 | RR-all | ok | rr-all | rimed | rimed | rimed | Y | photos on server
2006-10-27 | 1150 | RR-all | ok | ok | rimed | rimed | rimed | N
2006-10-28 | 1335 | RR-all | rr-all | rr-all | rimed | rimed | rimed | N
2006-10-29 | 1615 | RR-all | ok | rr-all | rimed | rimed | rimed | N
2006-10-30 | 1340 | rr-all | ok | rr-all | rimed | rimed | rimed | Y | photos on server
2006-10-31 | 1120-1155 | rr-all | rr-all | rr-all | rr | rr | rr | N | removed level #1 T/RH & windcups; plugged in #4 T/RH $ WS
Daily Check Swiss Tower November 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-11-01 | 1115-1130 | RR-all | rr-all | rr-all | rime | rimed | ok | N | power outage ~1400 UTC for 10 min
2006-11-02
2006-11-03 | 1135 | ok | ok | ok | ok | rimed | ok | N
2006-11-04 | 1135 | rr-all | rr-all | rr | ok | rimed | ok | N
2006-11-05 | 1405 | rr-all | rr-all | rr-all | rime | rimed | rimed | N | Turnover with phase 3
2006-11-06 | 1510 | rr-1,2 | ok | rr-1 | rimed | rimed | rimed | N
2006-11-07 | 1230 | rr-all | rr-all | rr-all | rime | rimed | rimed | N
2006-11-08 | 1212 | rr-all | rr-all | rr-1,3,4 | rime | rimed | rimed | N
2006-11-09 | 1340 | rr1,2 | ok | ok | rime | ok | ok | N
2006-11-10 | 1300 | rr-all | ok | rr-1,3,4 | rime | rime | ok | N
2006-11-11 | 1325 | rr-all | rr - 1,2 | rr-all | rime | rime | ok | N | Filter missing from T/RH intake #4
2006-11-12 | 1315 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N
2006-11-13 | 1545 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N | wireless download
2006-11-14 | 1240 | rr-all | rr-all | rr-all | rime | rime | rimed | Y | Replaced T/RH filter to intake #4
2006-11-15 | 1255 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N
2006-11-16 | 1250 | rr-all | rr-all | rr-all | rr | rr | rimed | N
2006-11-17 | 1322 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N | 1805 UTC stopped at Tower to view old bracket screws at base of tower
2006-11-18 | [8 empty] | winds >20 knots
2006-11-19 | 1310 | rr-all | ok | rr-1,3,4 | rime | rime | rimed | N
2006-11-20 | 1413 | rr-1,2 | ok | ok | ok | rr-windbird, ok | ok | N | removed bracket on base of tower; wireless download; cleaned windbird
2006-11-21 | 1155 | ok | ok | ok | rime | rime | ok | N
2006-11-22 | 1240 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2006-11-23 | 1315 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2006-11-24 | 1305 | rr-all | rr-r | rr-1,3,4 | rime | rime | rimed | N
2006-11-25 | 1254 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N
2006-11-26 | 1300 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N
2006-11-27 | 1320 | rr-1,2 | ok | rr-1 | rime | rime | ok | Y | wireless download
2006-11-28 | 1245 | rr-all | rr-all | rr-all | rr | rr | ok | N
2006-11-29 | 1425 | rr-1,2 | ok | rr-1 | ok | ok | rimed | N
2006-11-30 | 1510 | rr-all | rr-all | rr-all | rr | rr | ok | N
Daily Check Swiss Tower December 2006
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2006-12-01 | 1300 | rr-all | rr-all | rr-all | rime | rime | ok | N
2006-12-02
2006-12-03 | 1410 | rr-1,2 | rr-1,2 | rr-1 | ok | ok | ok | N
2006-12-04 | 1315 | rr-all | ok | rr-1,3,4 | ok | rr-windbird, ok | ok | N | heavy ice/rime on windcups -all
2006-12-05 | 1235 | rr-all | rr-all | rr-1,3,4 | ok | ok | ok | Y
2006-12-06 | 1300 | rr-all | ok | rr-1,3,4 | ok | ok | ok | N
2006-12-07 | 1850 | rr-all | ok | rr-1,3,4 | ok | rime | ok | N
2006-12-08 | 1346 | rr-all | rr-all | rr-1,3,4 | ok | rime | ok | N
2006-12-09 | 1340 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2006-12-10 | 1315 | ok | ok | rr-1,3,4 | rime | rr-windbird; rime | rimed | N | wireless download
2006-12-11 | 1315 | ok | ok | rr-1,3,4 | rime | rr - rime | rimed | N
2006-12-12 | ?? | rr-all | rr-all | rr-1,3,4 | rr | rime - rr | ok | N
2006-12-13 | 1240 | rr-all | ok | rr-1,3,4 | ok | rr - rime | ok | N
2006-12-14 | 1300 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N
2006-12-15 | 1445 | rr-all | ok | rr-1,3,4 | rime | rime | rimed | N
2006-12-16 | 1355 | ok | ok | ok | ok | ok | ok | N
2006-12-17 | 1417 | rr-all | rr-all | rr-1,3,4 | rime | rime | rimed | N
2006-12-18 | [8 empty] | winds >20 knots, wireless download
2006-12-19 | 1310 | rr-all | rr-all | rr-1,3,4 | ok | rime | ok
2006-12-20 | 1233 | rr-all | ok | rr-1,3,4 | rime | rime | ok | N
2006-12-21 | [8 empty] | winds > 20 knots
2006-12-22 | 1525 | rr-all | rr-all | rr-1,3,4 | ok | ok | ok | N
2006-12-23 | [8 empty] | winds > 20 knots
2006-12-24 | [8 empty] | winds up to and > 46 knots
2006-12-25 | 1142 | rr-all | ok | rr-1,3,4 | ok | ok | ok | N
2006-12-26 | [8 empty] | winds >20 knots; wireless download
2006-12-27 | 1350 | rr-1,2 | ok | ok | ok | ok | ok | N
2006-12-28 | [8 empty] | winds >27 knots
2006-12-29 | 1320 | rr-all | ok | ok | ok | ok | ok | N
2006-12-30 | 1405 | rr-all | rr-all | rr-1,3,4 | ok | rime | ok | n
2006-12-31

## Daily Check Solar Tracker
Daily Check Solar Tracker June 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-06-01 | 1100 | ok | rr-all | ok | ok | rr 2,3 | ok | works on tracker every now and then,
2006-06-02 | 1053 | ok | rr F2-F3 | ok | ok | rr F2 | ok | see sep. logsheet -->
2006-06-03 | 1151 | ok | ok | ok | ok | ok | ok | Zurich
2006-06-04 | 1042 | ok | rr-all | ok | ok | rr-all | ok
2006-06-05 | 1050 | ok | rr-all | ok | ok | rr-all | ok
2006-06-06 | 1055 | ok | ok | ok | ok | ok | ok
2006-06-07 | 1040 | ok | rr-all | ok | ok | rr-all | ok
2006-06-08 | 1134 | ok | rr-all | ok | ok | rr-all | ok
2006-06-09 | 1100 | ok | rr-all | ok | ok | rr-all | ok
2006-06-10 | 1100 | ok | rr-all | ok | ok | rr-all | ok | very light rime on filters
2006-06-11 | 1220 | ok | rr-F3-F4 | ok | ok | ok | ok | very light rime on filters
2006-06-12 | 1116 | ok | rr-F1-F2-F4 | ok | ok | ok | ok | very light rime on filters
2006-06-13 | 1053 | ok | ok | ok | ok | ok | ok
2006-06-14 | 1116 | ok | ok | ok | ok | ok | ok
2006-06-15 | 1100 | ok | ok | ok | ok | ok | ok
2006-06-16 | 1058 | ok | ok | ok | ok | ok | ok
2006-06-17 | 1051 | ok | ok | ok | ok | ok | ok
2006-06-18 | 1145 | ok | ok | ok | ok | ok | ok
2006-06-19 | 1117 | ok | ok | ok | ok | ok | ok
2006-06-20 | 1100 | ok | ok | ok | ok | ok | ok
2006-06-21 | 1100 | ok | ok | ok | ok | ok | ok
2006-06-22 | 1100 | ok | ok | ok | ok | ok | ok
2006-06-23 | 1049 | ok | ok | ok | ok | ok | ok
2006-06-24 | 1058 | ok | rr-all | ok | rr | rr-all | ok
2006-06-25 | 1156 | ok | ok | ok | ok | ok | ok
2006-06-26 | 1110 | ok | rr-all | ok | ok | rr-all | ok
2006-06-27 | 1118 | ok | rr-all | ok | ok | rr-all | ok
2006-06-28 | 1049 | ok | ok | ok | ok | ok | ok
2006-06-29 | 1055 | ok | rr-f2 | ok | ok | rr-all | ok | vry little rime
2006-06-30 | 1056 | ok | ok | ok | ok | ok | ok | 15kt winds
Daily Check Solar Tracker July 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-07-01 | 1250 | ok | ok | ok | ok | ok | ok
2006-07-02 | 1156 | ok | ok | ok | ok | ok | ok
2006-07-03 | 1216 | ok | ok | ok | ok | ok | ok
2006-07-04 | 1050 | ok | rr F1 | ok | ok | ok | ok | vry lgt icg
2006-07-05 | 1049 | ok | ok | ok | ok | ok | ok
2006-07-06 | 1050 | ok | ok | ok | ok | ok | ok
2006-07-07 | 1054 | ok | rr-all | ok | rr | rr-all | ok | vry lgt icg
2006-07-08 | 1048 | rr-I1 & I2 | rr-all | rr-I1 | rr | rr-all | ok | Cleaned domes on fixed arm with iso alcohol and clean wipes. There was ice on I1&I2, but cleaned all three.
2006-07-09 | 1203 | ok | rr-all | ok | ok | rr-all | ok
2006-07-10 | 1130 | rr-I1&I3 | rr-all | rr-I1 | rr | rr-all | ok
2006-07-11 | 1102 | ok | rr-all | ok | rr | rr-all | ok
2006-07-12 | 1050 | ok | rr-all | ok | ok | rr-all | ok
2006-07-13 | 1104 | ok | ok | ok | ok | ok | ok
2006-07-14 | 1050 | ok | ok | ok | ok | ok | ok
2006-07-15 | 1100 | ok | ok | ok | ok | ok | ok
2006-07-16 | 1044 | ok | ok | ok | ok | ok | ok
2006-07-17 | 1036 | rr-I1 | rr-all | ok | ok | rr-f2,f3 | ok
2006-07-18 | 1146 | ok | ok | ok | ok | ok | ok
2006-07-19 | 1053 | ok | ok | ok | ok | ok | ok
2006-07-20 | 1049 | ok | rr-all | ok | ok | rr-all | ok
2006-07-21 | 1015 | ok | ok | ok | ok | ok | ok
2006-07-22 | 1047 | ok | ok | ok | ok | ok | ok
2006-07-23 | 0909 | ok | rr F2 (lgt) | ok | ok | rr all (lgt) | ok
2006-07-24 | 1110 | ok | rr F2 (lgt) | ok | ok | rr-all | ok
2006-07-25 | 1054 | ok | rr-all | ok | ok | rr-all | ok
2006-07-26 | 1051 | ok | ok | ok | ok | ok | ok
2006-07-27 | 1041 | ok | rr F2 | ok | ok | rr all (lgt) | ok
2006-07-28 | 0905 | ok | rr-all | ok | ok | rr-all | rr
2006-07-29 | 1040 | ok | rr-all | rr-I1 | rr | rr-all | rr
2006-07-30 | 0929 | ok | rr-all | ok | ok | rr-all | ok | tracker pointing 170 deg (not to sun)
2006-07-31 | 1240 | ok | rr-all | ok | ok | rr-all | ok | tracker pointing 170 deg (not to sun)
Daily Check Solar Tracker August 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-08-01 | 1109 | ok | rr-all | ok | ok | rr-all | rr | tracker not tracking sun
2006-08-02 | 1101 | ok | rr-all | ok | ok | rr-all | rr | tracker not tracking sun
2006-08-03 | 1141 | ok | rr-all | ok | ok | rr-all | ok | tracker not tracking sun
2006-08-04 | 1043 | ok | ok | ok | ok | ok | ok | tracker not tracking sun
2006-08-05 | 1056 | ok | ok | ok | ok | ok | ok | tracker not tracking sun
2006-08-06 | 1150 | ok | ok | ok | ok | ok | ok | tracker not tracking sun
2006-08-07 | 1258 | rr-1 | rr-all | rr-all | rr | rr-all | rr | tracker not tracking sun
2006-08-08 | 1051 | ok | rr-all | ok | ok | rr-all | rr | tracker not tracking sun
2006-08-09 | 1105 | ok | rr-all | ok | ok | rr-all | ok | light rime
2006-08-10 | 1057 | ok | rr-all | ok | ok | ok | ok | tracker not tracking sun
2006-08-11 | 1120 | ok | ok | ok | ok | ok | ok | tracker not tracking sun
2006-08-12 | 1153 | ok | rr-all | ok | rr | rr-all | ok | tracker not tracking sun
2006-08-13 | 0907 | ok | rr-all | ok | ok | rr F2,3 | ok | tracker not tracking sun
2006-08-14 | 1053 | ok | rr-all | ok | ok | rr-all | ok | tracker not tracking sun
2006-08-15 | 1040 | ok | rr-all | ok | ok | rr-all | ok | tracker not tracking sun
2006-08-16 | 1037 | lght rime I1 | rr-all | ok | rimed | rr-all | ok | iced rime
2006-08-17 | [7 empty] | tracker not tracking sun
2006-08-18 | 1111 | ok | rr-all | ok | ok | ok | ok | tracker not tracking sun
2006-08-19 | 1100 | ok | rr-all | ok | ok | rr-all | ok | 2-3" fresh snow overnight
2006-08-20 | 1314 | ok | rr-all | ok | ok | rr-all | ok
2006-08-21 | 1239 | ok | ok | ok | ok | rrF2F3 | ok
2006-08-22 | 1424 | ok | ok | ok | ok | ok | ok
2006-08-23 | 1115 | ok | ok | ok | ok | ok | ok
2006-08-24 | 0930 | ok | rr-all | ok | rimed | rr-all | ok | lowered DIF arm
2006-08-25 | 0920 | ok | rr-all | ok | ok | rr-all | ok
2006-08-26 | 0919 | ok | rr-all | ok | ok | rr-all | ok
2006-08-27 | 1115 | ok | rr-all | ok | rimed | rr-all | ok | heavy rime
2006-08-28 | 1302 | ok | rr-all | ok | ok | rr-all | ok
2006-08-29 | 0950 | ok | rr-all | ok | ok | rr-all | ok
2006-08-30 | 1300 | ok | rr-all | ok | ok | rr-all | ok | checked amps on 24VDC side-- looks like maybe only 0.14A?
2006-08-31 | 1005 | ok | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker September 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-09-01 | 1240 | ok | RR-all | ok | RR | RR-all | ok
2006-09-02 | 1252 | ok | RR-all | ok | ok | RR-all | ok
2006-09-03 | 1540 | ok | RR-all | ok | ok | RR-all | ok
2006-09-04 | 1240-1255 | ok | RR-all | ok | ok | RR-all | ok | troubleshooting DIF arm
2006-09-05 | 0915 | rime-brushed off | RR-all | ok | RR | RR-all | ok
2006-09-06 | 1015 | rime-brushed off | RR-all | ok | ok | RR-all | ok | 1600-1630: troubleshooting DIF arm
2006-09-07
2006-09-08 | 1250 | ok | RR-all | ok | ok | RR-F2&F3 | ok
2006-09-09 | 1215 | ok | RR-all | ok | ok | RR-all | ok
2006-09-10
2006-09-11 | 1205 | rime-brushed off | RR-all | ok | ok | RR-all | ok
2006-09-12 | 1210 | ok | RR-F2 | ok | ok | ok | ok
2006-09-13 | 1140 | ok | ok | ok | ok | ok | ok | no rime
2006-09-14
2006-09-15 | 1306 | ok | ok | ok | ok | ok | ok | no rime
2006-09-16 | 1337 | ok | RR-all | ok | ok | rr-all | ok | 1545-1615: troubleshooting tracker
2006-09-17
2006-09-18 | 1215 | rime-brushed off | RR-all | ok | ok | rr-all | ok
2006-09-19 | 1230 | ok | RR-all | ok | ok | rr-all | ok | 1230-1250; 1600-1630: troubleshoot tracker
2006-09-20 | 1248 | ok | RR-all | ok | ok | rr-all | ok | Tracker pointed W (not tracking sun); 1500-1540 reset tracker
2006-09-21 | 1100-1120 | ok | RR-all | ok | rr | rr-all | ok | troubleshooting tracker
2006-09-22 | 1320 | rime-brushed off | RR-all | ok | rr | rr-all | ok
2006-09-23 | 1200-1220 | ok | RR-all | ok | ok | rr-all | ok | troubleshooting tracker
2006-09-24
2006-09-25 | 1305 | ok | RR-all | rime-brushed off | ok | RR-all | ok
2006-09-26 | 1130 | rime-brushed off | RR-all | ok | ok | RR-all | ok
2006-09-27 | 1137 | ok | RR-all | ok | ok | RR-all | ok
2006-09-28 | 1237 | ok | RR-all | ok | ok | RR-all | ok
2006-09-29 | 1330 | ok | RR-all | ok | ok | RR-all | ok
2006-09-30 | 1300 | ok | RR-all | ok | ok | RR-all | ok
Daily Check Solar Tracker October 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-10-01
2006-10-02 | 1150 | ok | RR-3&4 | ok | ok | ok | ok
2006-10-03 | 1258 | ok | rr-1,3,4 | ok | ok | ok | ok
2006-10-04 | 1145 | ok | ok | ok | ok | ok | ok
2006-10-05 | 1400 | rime-brushed off | rr-all | ok | ok | rr-all | ok
2006-10-06
2006-10-07 | 1325 | ok | rr-all | ok | ok | rr-all | ok | plugged in connectors at tracker
2006-10-08 | 1710 | rime-brushed off | rr-all | ok | ok | rr-all | ok
2006-10-09 | 1225 | rime-brushed off | rr-all | ok | ok | rr-all | ok
2006-10-10 | 1337 | ok | rr-all | ok | ok | rr-all | ok
2006-10-11 | 1210 | ok | rr-all | ok | ok | rr-all | ok
2006-10-12 | 1025 | rime-brushed off | rr-all | ok | RR | rr-all | ok
2006-10-13 | 1145 | ok | ok | ok | ok | ok | ok
2006-10-14 | 1215 | ok | ok | ok | ok | ok | ok
2006-10-15 | 1340 | ok | rr-all | ok | ok | rr-all | ok
2006-10-16 | 1435 | ok | rr-F3 & 4 | ok | ok | ok | ok
2006-10-17 | 1257 | ok | rr-all | ok | ok | rr-all | ok
2006-10-18 | 1240 | ok | rr-all | ok | ok | rr-all | ok
2006-10-19 | 1425 | ok | rr-all | ok | ok | rr-all | ok
2006-10-20 | 1155 | rime-brushed off | rr-all | rime-brushed off | rr | rr-all | ok
2006-10-21 | 1225 | rime-brushed off | rr-all | ok | ok | rr-all | ok
2006-10-22 | 1105 | ok | rr-all | ok | ok | rr-all | ok
2006-10-23 | 1333 | ok | rr-all | ok | ok | rr-all | ok
2006-10-24 | 1320 | ok | rr-all | ok | ok | rr-all | ok
2006-10-25 | 1155 | ok | rr-all | ok | rr | rr-all | ok
2006-10-26 | 1228 | ok | rr-all | ok | ok | rr-all | ok
2006-10-27 | 1215 | ok | rr-all | ok | ok | rr-all | ok
2006-10-28
2006-10-29 | 1635 | rime-brushed off | rr-all | ok | ok | rr-all | ok
2006-10-30 | 1325 | ok | rr-all | ok | ok | rr-all | ok
2006-10-31 | 1410 | ok | RR-all | ok | ok | rr-all | ok
Daily Check Solar Tracker November 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-11-01 | 1330 | rr | RR-all | rr | rr | rr-all | ok | power outage ~1400 UTC for 10 min
2006-11-02
2006-11-03 | 1155 | ok | ok | ok | ok | ok | ok
2006-11-04 | 1125 | ok | RR-all | ok | ok | rr-all | ok
2006-11-05 | 1450 | ok | RR-all | ok | ok | rr-all | ok
2006-11-06 | 1500 | rr-1 | RR-all | ok | ok | rr-all | ok
2006-11-07 | 1305 | ok | RR-all | ok | rr | rr-all | rime
2006-11-08 | 1221 | ok | rr-all | ok | rr | rr | rime
2006-11-09 | 1230 | ok | RR-all | ok | rr | RR-all | ok
2006-11-10 | 1230 | ok | RR-all | ok | rr | rr | rr | replace F2 filter
2006-11-11 | 1355 | rr-all | RR-all | ok | rr | rr-all | rr
2006-11-12 | 1325 | ok | RR-all | ok | rr | RR-all | rr
2006-11-13 | 1533 | rr-all | RR-all | rr-2 | rr | RR-all | rr | wireless download
2006-11-14 | 1250 | rr-1 | rr-all | OK | rr | rr-all | rr
2006-11-15 | 1312 | ok | RR-all | ok | rr | RR-all | rr
2006-11-16 | 1300 | ok | RR-all | ok | rr | RR-all | rr
2006-11-17 | 1320 | ok | RR-all | ok | rr | RR-all | rr
2006-11-18 | [7 empty] | winds >20 knots
2006-11-19 | 1330 | ok | RR-all | ok | rr | rr | ok
2006-11-20 | 1405 | ok | RR-all | ok | ok | rr | ok | wireless download
2006-11-21 | 1205 | ok | ok | ok | ok | ok | ok
2006-11-22 | 1255 | ok | rr-all | ok | rr | rr-all | rr
2006-11-23 | 1325 | ok | rr-all | ok | rr | rr-all | rr
2006-11-24 | 1312 | rr-1 | RR-all | ok | rr | RR-all | rr
2006-11-25 | 1246 | ok | RR-all | ok | rr | RR-all | rr | replace filter F3+4 on fixed arm, and F2+3 on Rotating
2006-11-26 | 1320 | rr-1 | RR-all | ok | rr | RR-all | rr
2006-11-27 | 1328 | ok | RR-all | ok | rr | RR-all | rr | wireless download
2006-11-28 | 1210 | ok | rr-all | ok | ok | rr-all | rr
2006-11-29 | 1418 | ok | RR-all | rr-2 | rr | RR-all | ok
2006-11-30 | 1510 | rr-1 | rr-all | rr-2 | rr | rr-all | ok
Daily Check Solar Tracker December 2006
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2006-12-01 | 1310 | rr-1,3 | rr-all | rr-all | rr | rr-all | rr
2006-12-02
2006-12-03 | 1430 | ok | RR-all | ok | rr | RR-all | ok | F3 Filter missing
2006-12-04 | 1325 | ok | RR-all | ok | rr | RR-all | ok
2006-12-05 | 1245 | ok | rr-all | ok | ok | rr-all | ok
2006-12-06 | 1312 | ok | RR-all | ok | ok | RR-all | ok
2006-12-07 | 1905 | rr-1 | RR-all | ok | ok | RR-all | ok
2006-12-08 | 1313 | rr-1 | RR-all | ok | rr | RR-all | ok
2006-12-09 | 1300 | ok | rr-all | ok | rr | rr-all | rr
2006-12-10 | 1325 | ok | RR-all | ok | rr | RR-all | ok | wireless download
2006-12-11 | 1325 | ok | RR-all | ok | rr | RR-all | ok
2006-12-12 | ?? | ok | RR-all | ok | rr | RR-all | rr
2006-12-13 | 1245 | ok | RR-all | ok | rr | RR-all | rr
2006-12-14 | 1351 | ok | RR-all | ok | rr | RR-all | ok
2006-12-15 | 1435 | ok | RR-all | ok | rr | RR-all | rr
2006-12-16 | 1405 | ok | ok | ok | ok | ok | ok
2006-12-17 | 1445 | ok | RR-all | rr | rr | rr | ok
2006-12-18 | [7 empty] | winds >20 knots, wireless download
2006-12-19 | 1240 | ok | RR-all | ok | rr | RR-all | rr
2006-12-20 | 1256 | rr-1 | RR-all | ok | rr | RR-all | rr
2006-12-21 | [7 empty] | winds > 20 knots
2006-12-22 | 1535 | ok | rr-all | ok | rr | rr-all | rr
2006-12-23 | [7 empty] | winds > 20 knots
2006-12-24 | [7 empty] | winds >46 knots
2006-12-25 | 1215 | ok | RR-all | ok | ok | RR-all | ok | replace F1 filter on Fixed arm
2006-12-26 | [7 empty] | winds >23 knots; wireless download
2006-12-27 | 1340 | ok | RR-all | ok | ok | RR-all | ok
2006-12-28 | [7 empty] | winds>27 knots
2006-12-29 | 1245 | ok | RR-all | ok | ok | RR-all | ok
2006-12-30 | 1435 | ok | RR-all | ok | ok | RR-all | ok
2006-12-31

## Weekly Download SwissTower
2006 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
23 | 060605 | 170 | +1 | n | 203971 | 149 | 1201 | 156 | 1402 | y | wireless.Karl downloaded week 22. week 23 is 2wks worth(overlaps)
24 | 060612 | 171 | -1 | n | 367096 | 156 | 1552 | 163 | 1049 | y | wireless
25 | 060619 | 172 | -1 | n | 533461 | 163 | 1050 | 170 | 1051 | y | wireless
26 | 060626 | 173 | -1 | n | 699616 | 170 | 1052 | 177 | 1041 | y | wireless
27 | 060703 | 174 | -2 | y | 869131 | 177 | 1042 | 184 | 1355 | y | wireless
28 | 060710 | 175 | -24 | y | 957406 | 184 | 1356 | 191 | 1037 | y | wireless, twr pwr was disconnected on 7/04/06 to move SwissPort. Pwr was restored to tower on JD 190 at 1227UTC
29 | 060717 | 176 | -4s | y | 1123396 | 191 | 1038 | 198 | 1017 | y | wireless
30 | 060724 | 177 | -6s | y | 1289821 | 198 | 1018 | 205 | 1023 | y | wireless
31 | 060731 | 178 | -19 | y | 1452339 | 205 | 1024 | 212 | 633 | y | wireless
32 | 060807 | 179 | -2 | y | 1622596 | 212 | 0634 | 219 | 1031 | y | wireless
33 | 060814 | 180 | -2 | y | 1788961 | 219 | 1032 | 226 | 1034 | y | wireless
34 | 060821 | 181 | -1 | y | 1955476 | 26 | 1035 | 233 | 1046 | y | wireless
35 | 060828 | 182 | -2 | y | 2124556 | 233 | 1047 | 240 | 1333 | y | wireless
36 | 060904 | 183 | 0 | n | 141751 | 240 | 1334 | 247 | 1042 | y | wireless
37 | 060911 | 184 | +6 | y | 312061 | 247 | 1043 | 254 | 1444 | y | wireless
38 | COULD NOT CONNECT | [9 empty] | Karl says wait to download…
39 | 060925 | 185 | -1s | n | 641266 | 254 | 1445 | 268 | 1116 | y | wireless connection was very unstable--had to download file in batches
40 | 061005 | 186 | -3s | y | 882169 | 268 | 1117 | 278 | 1436 | y | wireless--unstable
41 | 061010 | 187 | +2s | y | 997486 | 278 | 1437 | 283 | 1105 | y | wireless
42 | 061018 | 188 | -3s | y | 1157657 | 283 | 1106 | 290 | 0452 | y | wireless--unstable
43 | 061023 | 189 | -1s | n | 1306006 | 290 | 0453 | 296 | 1043 | y | wireless
44 | 061030 | 190 | +1s | n | 1452756 | 296 | 1044 | 302 | 1458 | y | wireless unstable--didn't finish entire download
45 | 061106 | 191 | +3s | y | 1644511 | 302 | 1459 | 310 | 1639 | y | wireless
46 | 061113 | 192 | +2s | Y | 1808686 | 310 | 1640 | 317 | 1429 | Y | wireless connection unstable - took three attempts to get all of the data
47 | 061120 | 193 | +3 s | Y | 1975381 | 317 | 1430 | 324 | 1451 | Y | Wireless, although connection was unstable
48 | 061127 | 194 | +2s | N | 2140471 | 324 | 1452 | 331 | 1337 | Y | wireless download
49 | 061204 | 195 | +1s | Y | 161131 | 331 | 1338 | 338 | 1416 | Y | wireless-unstable
50 | 061211 | 196 | +1s | Y | 327226 | 338 | 1417 | 345 | 1402 | Y | wireless-unstable
51 | 061218 | 197 | +1s | Y | 494611 | 345 | 1403 | 352 | 1507 | Y | Wireless - VERY unstable! Took more than 20 attempts to get all of the data
52 | 061226 | 198 | +1s | Y | 684421 | 352 | 1508 | 360 | 1450 | Y | wireless unstable (but only slightly this week!)

## Weekly Download SolarTracker
2006 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
23 | 060605 | 167 | -3 | y | 0/439041 | 149 | 1722 | 156 | 1312 | y | wireless.Karl downloaded week 22. week 23 is 2wks worth(overlaps)
24 | 060612 | 168 | +1 | n | 886793 | 156 | 1313 | 163 | 1225 | y | wireless.
25 | 060619 | 169 | +2 | n | 1333093 | 163 | 1226 | 170 | 1105 | y | wireless
26 | 060626 | 170 | -4 | y | 1784189 | 170 | 1106 | 177 | 1134 | y | wireless
27 | 060703 | 171 | +2 | y | 92324 | 177 | 1135 | 184 | 1319 | y | wireless
28 | 060710 | 172 | +1 | n | 535632 | 184 | 1320 | 191 | 1051 | y | wireless
29 | 060717 | 173 | +8 | y | 987652 | 191 | 1052 | 198 | 1141 | y | wireless
30 | 060724 | 174 | -4s | y | 1436636 | 198 | 1142 | 205 | 1122 | y | wireless
31 | 060731 | 175 | -.7 | n | 1888040 | 205 | 1123 | 212 | 1158 | y | wireless
32 | 060807 | 176 | 0 | n | 188651 | 212 | 1159 | 219 | 1052 | y | wireless
33 | 060814 | 177 | -2 | y | 640583 | 219 | 1053 | 226 | 1139 | y | wireless
34 | 060821 | 178 | +2 | y | 1089347 | 266 | 1140 | 233 | 1115 | y | wireless
35 | 060828 | 179 | +1 | y | 1546207 | 233 | 1116 | 240 | 1108 | y | wireless
36 | 060904 | 180 | +4 | y | 1988107 | 240 | 1355 | 247 | 1054 | y | wireless
37 | 060911 | 181 | -2 | y | 289114 | 247 | 1055 | 254 | 0957 | y | wireless
38 | 060918 | 182 | -7s | y | 738890 | 254 | 0958 | 261 | 0954 | y | wireless
39 | 060925 | 183 | +5s | y | 1189678 | 261 | 0955 | 268 | 1016 | y | wireless
40 | 061002 | 184 | +4s | y | 1637870 | 268 | 1017 | 275 | 0939 | y | wireless
41 | 061009 | 185 | +9s | y | 2088438 | 275 | 0940 | 282 | 0956 | y | wireless
42 | 061016 | 186 | +11s | y | 394769 | 282 | 0957 | 289 | 1100 | y | wireless
43 | 061023 | 187 | +7s | y | 844765 | 289 | 1101 | 296 | 1104 | y | wireless
44 | 061030 | 188 | +19s | y | 1292737 | 296 | 1105 | 303 | 1022 | y | wireless
45 | 061106 | 189 | +16s | y | 1760553 | 303 | 1023 | 310 | 1711 | y | wireless
46 | 011113 | 190 | +23s | Y | 60724 | 310 | 1712 | 317 | 1555 | Y | wireless
47 | 061120 | 191 | +22 s | Y | 508080 | 317 | 1556 | 324 | 1459 | Y | wireless
48 | 061127 | 192 | +23s | Y | 95490 | 324 | 1500 | 331 | 1351 | Y | wireles
49 | 061204 | 193 | +13s | Y | 1406400 | 331 | 1352 | 338 | 1429 | Y | wireless
50 | 061211 | 194 | +5s | Y | 1855560 | 338 | 1430 | 345 | 1414 | Y | wireless
51 | 061218 | 195 |  | Y | 161671 | 345 | 1415 | 352 | 1513 | Y | wireless
52 | 061226 | 196 | +19s | Y | 675003 | 352 | 1514 | 360 | 1456 | Y | wireless