## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Daily Check Swiss Tower
2007 Daily Check Swiss Tower
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1,2,4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-01-01 | 1415 | rr-all | rr-all | rr-1,3,4 | ok | rime, ok | ok | N
2007-01-02 | 1315 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2007-01-03 | 1245 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2007-01-04 | 1240 | rr-all | rr-all | rr-1,3,4 | rime | rr; rime | rime | N
2007-01-05 | 1300 | rr-all | rr-all | rr-1,3,4 | rime | rime | rime | N
2007-01-06 | 1340 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2007-01-07 | 1450 | rr-all | rr-all | rr-all | rr | rime, rr | ok | N
2007-01-08 | 1305 | rr-all | rr-all | rr-1,3,4 | rime | rr, rime | ok | Y
2007-01-09
2007-01-10 | 1240 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N | wireless download
2007-01-11 | 1240 | rr-1,2 | rr-1,2 | rr-1 | rime | rime | ok | N
2007-01-12 | 1312 | ok | ok | rr-1 | ok | ok | rime | N
2007-01-13 | [8 empty] | winds >30 knots
2007-01-14 | 1314 | ok | ok | ok | ok | ok | ok | N
2007-01-15 | 1334 | rr-all | rr-all | rr-all | ok | ok; rr | ok | N | wireless download
2007-01-16 | 1210 | rr-all | rr-all | rr - 1,3,4 | rime | ok, rime | ok | N
2007-01-17 | 1255 | ok | ok | ok | rime | ok, rime | ok | N
2007-01-18 | 1230 | ok | ok | ok | ok | ok | ok | N | all instruments very clear today
2007-01-19 | 1250 | ok | ok | ok | ok | ok | ok | N | all instruments very clear today
2007-01-20 | 1300 | rr-all | rr-all | rr-1,3,4 | rime | rime | rime | N | heavy rime on all instruments
2007-01-21 | 1155 | rr-all | rr-all | rr-all | rr | rr, rr | rime | N
2007-01-22 | [8 empty] | winds>30 knots
2007-01-23 | [8 empty] | winds >40 knots
2007-01-24 | 1315 | rr-1,2 | ok | ok | ok | ok | ice | N | wireless download
2007-01-25 | [8 empty] | high winds
2007-01-26 | 1250 | rr-all | rr-all | rr-1 | ok | ok | rime | Y
2007-01-27
2007-01-28 | [8 empty] | winds >40 knots
2007-01-29 | [8 empty] | high winds
2007-01-30 | 1630 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2007-01-31 | 1830 | rr-all | rr-all | rr-all | rr | rr,rr | ok | N | heavy rime on all instruments
Daily Check Swiss Tower February 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-02-01 | 1305 | rr-all | rr-all | rr-1,3,4 | ok | ok | ok | N
2007-02-02 | 1250 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N | very light rime
2007-02-03 | 1255 | ok | ok | ok | ok | ok | ok | N
2007-02-04 | 1340 | rr-all | rr-all | rr-1,3,4 | rime | rime | rime | N | v. light rime
2007-02-05 | [8 empty] | windy & blowing snow
2007-02-06 | 1720 | rr-all | rr-all | rr-all | rr | rime, rr | ok | Y
2007-02-07 | 1225 | ok | ok | ok | rr | rr, rr | ok | N
2007-02-08 | 1250 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2007-02-09 | 1125 | rr-all | rr-all | rr-1,3,4 | rime | rr, rime | ok | N | fan blade #1 fell off
2007-02-10 | 1225 | rr-all | rr-all | rr-all | rr | rr | ok | N | replaced tube #1
2007-02-11 | 1625 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N
2007-02-12 | 1330 | rr-all | rr-all | rr-all | rime | rr | ok | N
2007-02-13 | 1500 | rr-all | rr-all | rr-1,3,4 | rime | rr,ok | ok | N
2007-02-14 | 1310 | rr-all | rr-all | rr-1,3,4 | ok | rr, rr | ok | N
2007-02-15 | 1300 | ok | ok | ok | ok | rime | ok | N
2007-02-16 | 1325 | rr-all | ok | rr-1 | rime | rime | ok | N | very light rime
2007-02-17
2007-02-18 | [8 empty] | high winds
2007-02-19 | 1745 | rr-all | rr-all | rr-all | rr | rr,rr | ok | Y | windcup #3 broken; very heavy, icy rime on everthing
2007-02-20 | 1306 | rr-all | rr-all | rr-1,4 | rime | rr, rime | ok | Y
2007-02-21 | 1235 | rr-1,2 | rr-1,2 | rr-1 | ok | rime | ok | N | 1900 opened and took photos of transmitter box
2007-02-22 | 1335 | rr-1,2 | rr-1,2 | rr1 | ok | ok, rime | ok | N | replaced anemometer #3; deiced windbird as it was not spinning
2007-02-23 | 1255 | ok | ok | ok | ok | ok | ok | N | windbird had some ice inside so spun it a few times to remove the icy bits
2007-02-24 | 1420 | rr-all | rr-all | rr-all | rr | rr,rr | ok | N | heavy rime on all instruments
2007-02-25 | 1420 | rr-all | rr-all | rr-all | rr | rr,rr | ok | N | heavy rime , cups not rotating
2007-02-26 | 1430 | rr-all | rr-all | rr-1,3,4 | rime | rr, rime | ok | Y | heavy rime
2007-02-27 |  | rr-all | rr-all | rr-all | rr | rr, rr | ok | Y
2007-02-28 |  | rr-all | rr-all | rr-1,3,4 | rime | rr, rr | Ok | Y
Daily Check Swiss Tower March 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-03-01 | 1340 | rr-all | rr-all | rr-1,3,4 | slight rime | rime* | slight rime on cups | Y | 2 m windbird stuck
2007-03-02 | 1405 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N | very light, sticky rime
2007-03-03 | 1455 | rr-all | rr-all | rr-1,3,4 | rime | rime | ok | N | very light, sticky rime
2007-03-04 | 1535 | rr-all | rr-all | rr-1,3,4 | rime | rime | rime | N | very light, sticky rime
2007-03-05 | 1320 | rr-all | rr-all | rr-all | rr | rr,rr | slight rime on cups | N | very light, sticky rime
2007-03-06 | 1330 | rr-all | rr-all | rr-1,3,4 | light rime | light rime | ok | N
2007-03-07 | 1240 | ok | ok | rr-1,2 | ok | ok,rr | ok | N
2007-03-08 | 1340 | rr-all | rr-all | rr-all | rr | rr, rr | ok | N | very heavy rime
2007-03-09 | 1335 | rr-all | ok | rr-all | ok | light rime | ok | N | light rime
2007-03-10 | 1450 | rr-all | ok | rr-4 | ok | light rime | ok | N
2007-03-11 | 1145 | rr-all | ok | rr-1,3,4 | rime | rime | ok | N
2007-03-12 | 1255 | *rr-all | ok | rr-all | rr | rr, rr | ok | N | *very light rime
2007-03-13 | 1300 | *rr-all | ok | rr-1,3,4 | ok | ok | ok | N | *very light rime; remove light rime from sonics
2007-03-14 | - | - | - | - | - | - | - | - | winds >30 knots
2007-03-15 | 1400 | *rr-all | *rr-all | *rr-all | rr | lite rime, rr | ok | N | *very light rime
2007-03-16 | 1310 | rr-all | rr-all | rr-all | rr | rr,rr | rime | N | feathery rime
2007-03-17 | 1340 | rr-all | rr-all | rr-all | rime | rime | rime | N | removed rime from sonic arms
2007-03-18 | 1345 | rr-all | ok | ok-all | ok | ok, rime | ok | N
2007-03-19 | 1415 | rr-all | rr-all | rr-all | rr | rr, rr | ok | N | light rime
2007-03-20 | 1300 | ok | ok | ok | ok | ok | ok | N
2007-03-21 | 1320 | ok | ok | ok | ok | ok | ok | N
2007-03-22 | 1355 | rr-all | ok | rr-1 | ok | ok | ok | N
2007-03-23 | 1400 | rr-all | ok | rr-1 | ok | ok | ok | N
2007-03-24 | 1320 | rr-all | rr-all | *rr-all* | rr | rr, rr | ok | N | removed #3 windcup for repairs
2007-03-25 | 1515 | ok | ok | ok | ok | ok | ok | N
2007-03-26 | 1410 | rr-all | ok | *rr-all* | ok | rr, rr | ok | N | *very light fluffy rime; replace anemometer #3 and arm
2007-03-27 | 1255 | *rr-all | ok | *rr-1,3,4 | ok | slight rime | slight rime on cups | N | *light rime
2007-03-28 | 1305 | *ok | ok | ok | ok | ok | ok | N | new filter on #1
2007-03-29 | - | - | - | - | - | - | - | - | No rounds today
2007-03-30 | 1530 | rr-all | ok | ok | ok | ok | ok | N
2007-03-31 | 1310 | ok | ok | ok | ok | ok | ok | n
Daily Check Swiss Tower April 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-04-01 | 1415 | rr | ok | ok | ok | ok | ok | N
2007-04-02 | - | - | - | - | - | - | - | N | unable to download, winds 40+ knots
2007-04-03 | 1443 | ok | ok | ok | ok | ok | cups iced | N | ice slowing heated cup rotation
2007-04-04 | 1215 | rr-all | rr-all | rr-1,3,4 | lite rime | lite rime | ok | N | wireless download
2007-04-05 | 1300 | *rr-all | *rr-all | *rr-1,3,4 | ok | ok | ok | N | *very light Rime
2007-04-06 | 1400 | rr-all | rr-all | rr-all | rr | rr, rr | ok | N
2007-04-07 | 1235 | rr-all | ok | rr-1,3,4 | rime | rime | snow on cups | N
2007-04-08 | 1523 | rr-all | ok | rr-all | *ok | rr | ok | N | *RMYoung no spinning - started
2007-04-09 | 1235 | rr-all | ok | rr-all | ok | rr | rr-cups | N
2007-04-10 | 1240 | rr-all | rr-all | ok | ok | ok | ok | N
2007-04-11 | 1340 | rr-all | ok | rr-all | ok | ok, rr | ok | N
2007-04-12 | 1300 | rr-all | ok | rr-1 | ok | ok | ok | N | very light rime
2007-04-13 | 1145 | rr-all | rr-all | rr-all | rr | rr, rr | rr on sonic | N
2007-04-14 | 1325 | rr-all | rr-all | rr-1,3,4 | ok | ok, rime | ok | N
2007-04-15 | 1330 | rr-3,4 | ok | rr-3,4 | ok | ok | ok | N | light frost on upper instruments
2007-04-16 | 1325 | *rr-all | *rr-all | *rr-1,3,4 | ok | *rime, rime | ok | N | *very light rime
2007-04-17 | 1245 | light rime | ok | ok | ok | ok | ok | N
2007-04-18 |  | ok | ok | ok | ok | ok | ok | N
2007-04-19 | 1230 | rr-all | ok | rr-1,3,4 | ok | rime, rime | cups ok, rr from sonic | N
2007-04-20 | 1125 | rr-all | ok | rr-all | rr | rr,rr | cups ok, rr from sonic | n | heavy rime
2007-04-21 | 1330 | rr-all | ok | rr-1,3,4 | light rime | light rime | light rime on sonic arms | N
2007-04-22 | 1215 | rr-all | rr-#4 | ok | ok | ok | ok | N
2007-04-23 | [7 empty] | N
2007-04-24 | [7 empty] | N
2007-04-25 | 1630 | ok | ok | ok | ok | ok | ok | N
2007-04-26 | 1245 | rr-all | ok | rr-all | ok | rr-a | rr-sonic | N
2007-04-27 | [7 empty] | N
2007-04-28 | [7 empty] | N | Storm BLSN
2007-04-29 | [7 empty] | N | Storm BLSN
2007-04-30 | 1200 | ok | ok | ok | ok | ok | ok | N | Storm BLSN
Daily Check Swiss Tower May 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-05-01 | 1225 | ok | ok | ok | ok | ok | ok | N | BLSN for 2 day
2007-05-02 | 1115 | ok | ok | ok | ok | ok | ok | N
2007-05-03 | 1150 | rr-all | ok | rr-all | rr-all | rr-all | ok | N | Power outage 1250-1800
2007-05-04 | 1645 | rr-all | ok | ok | ok | ok | ok | N
2007-05-05 | 1415 | ok | ok | ok | ok | ok | ok | N | DRSN
2007-05-06 | 1400 | rr-all | ok | ok | ok | ok | ok | N
2007-05-07 | 2350 | rr-all | ok | ok | ok | ok | ok | N
2007-05-08 | 1840 | ok | ok | ok | ok | ok | ok | N
2007-05-09 | 1325 | rr-all | ok | rr-all | ok | rr-all | ok | N
2007-05-10 | 1130 | rr-all | ok | rr-all | ok | rr-all | ok | N
2007-05-11 | 1220 | rr-all | ok | ok | ok | ok | ok | N
2007-05-12 | 1250 | ok | ok | ok | ok | ok | ok | N
2007-05-13 | -- | ok | ok | ok | ok | ok | ok | N
2007-05-14 |  | -- | -- | -- | -- | -- | -- | N | Down for Repair
2007-05-15 |  | -- | -- | -- | -- | -- | -- | N | Down for Repair
2007-05-16 | 1330 | ok | ok | ok | removed | removed | ok | N
2007-05-17 | 1225 | rr-all | ok | ok | removed | removed | ok | N
2007-05-18 | 1145 | rr-1,2 | ok | ok | removed | removed | ok | N
2007-05-19 | 1530 | rr-all | ok | ok | removed | removed | ok | N
2007-05-20 | 1726 | ok | ok | ok | removed | removed | ok | N
2007-05-21 | 1530 | ok | ok | ok | removed | removed | ok | N
2007-05-22 | 1155 | ok | ok | ok | removed | removed | ok | N
2007-05-23 | 1136 | ok | ok | ok | removed | removed | ok | N
2007-05-24 | 1200 | rr-all | ok | ok | removed | removed | ok | N
2007-05-25 | 1130 | rr-all | ok | ok | removed | removed | ok | N
2007-05-26 | 1425 | rr-all | ok | ok | removed | removed | ok | N
2007-05-27 | 1430 | rr-all | ok | ok | removed | removed | ok | N
2007-05-28 | 1400 | ok | ok | ok | removed | removed | ok | N
2007-05-29 | 1230 | ok | ok | ok | removed | removed | ok | N
2007-05-30 | 1630 | ok | ok | ok | removed | removed | ok | N
2007-05-31 | 1215 | rr-all | ok | ok | removed | removed | ok | N
Daily Check Swiss Tower June 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-06-01 | 1330 | ok | ok | ok | removed | removed | ok | n
2007-06-02 | 1130 | rr-all | ok | ok | removed | removed | ok | n | Light frost
2007-06-03 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-06-04 | 1145 | ok | ok | ok | removed | removed | ok | n
2007-06-05 | 1130 | ok | ok | ok | removed | removed | ok | n | Power outage 1555-1656
2007-06-06 | 1630 | ok | ok | ok | removed | removed | ok | n | Fan blade #4 fell off
2007-06-07 | 1645 | rr-1,2,3 | ok | ok | removed | removed | ok | n | restarted data logger
2007-06-08 | 1530 | rr-all | ok | ok | removed | removed | ok | n
2007-06-09 | 1140 | ok | ok | ok | removed | removed | ok | n
2007-06-10 | 1500 | rr-all | ok | ok | removed | removed | ok | n
2007-06-11 | 1625 | ok | ok | ok | removed | removed | ok | n
2007-06-12 | 1210 | rr-all | ok | ok | removed | removed | ok | n
2007-06-13 | 1220 | ok | ok | ok | removed | removed | ok | n | storage mod removed
2007-06-14 | 1320 | ok | ok | ok | removed | removed | ok | n
2007-06-15 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-06-16 | 1330 | ok | ok | ok | removed | removed | ok | n
2007-06-17 | 1240 | ok | ok | ok | removed | removed | ok | n
2007-06-18 | 1400 | ok | ok | ok | removed | removed | ok | n
2007-06-19 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2007-06-20 | 1330 | rr-all | ok | ok | removed | removed | ok | n
2007-06-21 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2007-06-22 | 1200 | rr-all | ok | ok | removed | removed | ok | n
2007-06-23 | 1800 | rr-all | ok | ok | removed | removed | ok | n
2007-06-24 | 1230 | ok | ok | ok | removed | removed | ok | n
2007-06-25 | 1210 | ok | ok | ok | removed | removed | ok | n
2007-06-26 | 1920 | rr-2 | ok | ok | removed | removed | ok | n
2007-06-27 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-06-28 | 1244 | ok | ok | ok | removed | removed | ok | n
2007-06-29
2007-06-30
Daily Check Swiss Tower July 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-07-01 | 1145 | rr-all | ok | ok | removed | removed | rr | n
2007-07-02 | 1350 | rr-all | ok | ok | removed | removed | ok | n
2007-07-03 | 1005 | rr-all | ok | ok | removed | removed | ok | n
2007-07-04 | 1115 | rr-all | ok | ok | removed | removed | ok | n
2007-07-05 | 1320 | rr-all | ok | ok | removed | removed | ok | n
2007-07-06 | 1200 | ok | ok | ok | removed | removed | ok | n
2007-07-07 | 1500 | ok | ok | ok | removed | removed | ok | n
2007-07-08 | 1645 | ok | ok | ok | removed | removed | ok | n
2007-07-09 | 1420 | ok | ok | ok | removed | removed | ok | n
2007-07-10 | 1315 | ok | ok | ok | removed | removed | ok | n
2007-07-11 | 1300 | ok | ok | ok | removed | removed | ok | n
2007-07-12 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-07-13 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-07-14 | 1430 | rr-all | ok | ok | removed | removed | rr | n
2007-07-15 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-07-16 | 1330 | ok | ok | ok | removed | removed | ok | n
2007-07-17 | 1240 | ok | ok | ok | removed | removed | ok | n
2007-07-18 | 1400 | ok | ok | ok | removed | removed | ok | n
2007-07-19 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2007-07-20 | 1330 | rr-all | ok | ok | removed | removed | ok | n
2007-07-21 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2007-07-22 | 1200 | rr-all | ok | ok | removed | removed | ok | n
2007-07-23 | 1800 | rr-all | ok | ok | removed | removed | ok | n
2007-07-24 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2007-07-25 | 1210 | ok | ok | ok | removed | removed | ok | n
2007-07-26 | 1920 | rr-all | ok | ok | removed | removed | ok | n
2007-07-27 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-07-28 | 1244 | ok | ok | ok | removed | removed | ok | n
2007-07-29 | 1450 | ok | ok | ok | removed | removed | ok | n
2007-07-30 | 1500 | rr-all | ok | ok | removed | removed | ok | n
2007-07-31 | 1710 | ok | ok | ok | removed | removed | ok | n | Power outage 1334-1411
Daily Check Swiss Tower August 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-08-01 | 1330 | ok | ok | ok | removed | removed | ok | n
2007-08-02 | 1345 | rr-all | #4off | ok | removed | removed | ok | n | #4fan blade on ground
2007-08-03 | 1215 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-04 | 1240 | rr-all | ok | ok | removed | removed | ok | n
2007-08-05 | 1300 | rr-all | ok | ok | removed | removed | rr #1 | n
2007-08-06 | 1730 | rr-all | ok | ok | removed | removed | ok | n
2007-08-07 | 2000 | ok | ok | ok | removed | removed | ok | n
2007-08-08 | 1350 | rr-all | ok | ok | removed | removed | ok | n
2007-08-09 | 1955 | rr-all | ok | ok | removed | removed | ok | n
2007-08-10
2007-08-11 | 1240 | rr-all | ok | ok | removed | removed | ok | y
2007-08-12 | 1410 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-13 | 1345 | rr-all | ok | ok | removed | removed | ok | n
2007-08-14 | 1130 | ok | ok | ok | removed | removed | ok | n
2007-08-15 | 935 | ok | ok | ok | removed | removed | ok | n
2007-08-16 | 1120 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-17 | 1250 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-18 | 1140 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-19 | 1330 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-20 | 1055 | ok | ok | ok | removed | removed | ok | n
2007-08-21 | 1100 | ok | ok | ok | removed | removed | ok | n
2007-08-22 | 1300 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-23 | 1400 | rr-all | ok | ok | removed | removed | ok | n
2007-08-24 | 1147 | rr-all | ok | ok | removed | removed | ok | n
2007-08-25 | 1300 | rr-all | ok | ok | removed | removed | ok | n
2007-08-26 | 1220 | rr-all | ok | rr-all | removed | removed | ok | n
2007-08-27 | 1145 | rr-all | ok | ok | removed | removed | ok | n
2007-08-28 | 1120 | ok | 0k | ok | removed | removed | ok | n
2007-08-29 | 1155 | rr-all | rr-all | rr-all | removed | removed | ok | n
2007-08-30 | 1210 | rr-all | ok | ok | removed | removed | ok | n
2007-08-31 | 1145 | rr-all | ok | rr-all | removed | removed | ok | n
Daily Check Swiss Tower September 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-09-01 | 1320 | rr-all | ok | rr-all | removed | removed | ok | n
2007-09-02 | 1415 | rr-all | ok | rr-all | removed | removed | ok | n
2007-09-03 | 1115 | rr-all | ok | rr-all | removed | removed | ok | n
2007-09-04 | 1205 | rr-all | ok | ok | removed | removed | ok | n
2007-09-05 | 1150 | rr-all | ok | rr-all | removed | removed | ok | n
2007-09-06 | 1144 | ok | ok | ok | removed | removed | ok | n
2007-09-07 | 1130 | ok | ok | ok | removed | removed | ok | n
2007-09-08 | 1240 | rr-all | ok | rr-all | removed | removed | ok | ok
2007-09-09 | 1300 | rr-all | OK | rr-all | removed | removed | OK | N
2007-09-10 | 1410 | OK | ok | ok | removed | removed | ok | N
2007-09-11 | 1320 | rr-all | ok | rr-all | removed | removed | ok | Y | windcups are about 6 centimeters off the snow
2007-09-12 | 1210 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-13 | 1430 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-14 | 1230 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-15 | 1215 | OK | OK | OK | removed | removed | OK | N
2007-09-16 | 1250 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-17 | 1210 | OK | OK | OK | removed | removed | OK | N
2007-09-18 | 1900 | rr-all | ok | ok | removed | removed | ok | N
2007-09-19 | 1315 | rr-all | OK | OK | removed | removed | OK | N
2007-09-20 | 1415 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-21 | 1215 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-22 | 1320 | ok | ok | ok | removed | removed | ok | N
2007-09-23 | 1415 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-24 | 1400 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-25 | 1520 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-26 | 1615 | ok | ok | ok | removed | removed | ok | N
2007-09-27 | 1445 | ok | ok | ok | removed | removed | ok | N
2007-09-28 | 1205 | rr-all | ok | rr-all | removed | removed | ok | N
2007-09-29 | 1320 | ok | ok | ok | removed | removed | ok | N
2007-09-30 | 1230 | rr-all | ok | rr-all | removed | removed | ok | N
Daily Check Swiss Tower October 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-10-01 | 1205 | rr-all | ok | rr-all | removed | removed | OK | N
2007-10-02 | 1230 | rr-all | ok | ok | removed | removed | ok | N
2007-10-03 | 1200 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-04 | 1220 | rr-all | ok | rr-all | removed | removed | ok | y | photo of lower wincup
2007-10-05 | 1255 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-06 | 1345 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-07 | 1350 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-08 | 1220 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-09 | 1300 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-10 | 1220 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-11 | 1340 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-12 | 1155 | ok | ok | ok | removed | removed | ok | N
2007-10-13 | 1245 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-14 | 1245 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-15 | 1200 | rr-all | ok | rr-all | removed | removed | ok | N
2007-10-16 | 1300 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-17 | 1335 | rr-all | ok | ok | removed | removed | ok | n
2007-10-18 | 1330 | ok | ok | ok | removed | removed | ok | n
2007-10-19 | 1320 | ok | ok | ok | removed | removed | ok | n
2007-10-20 | 1700 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-21 | 1310 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-22 | 1305 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-23 | 1400 | ok | ok | ok | removed | removed | ok | n
2007-10-24 | 1755 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-25 | 1355 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-26 | 1200 | ok | ok | ok | removed | removed | ok | n
2007-10-27 | 1315 | ok | ok | ok | removed | removed | ok | n
2007-10-28 | 1440 | ok | ok | ok | removed | removed | ok | n
2007-10-29 | 1320 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-30 | 1425 | rr-all | ok | rr-all | removed | removed | ok | n
2007-10-31 | 1130 | rr-all | ok | rr-all | removed | removed | ok | n
Daily Check Swiss Tower November 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-11-01 | 1300 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-02 | 1330 | OK | ok | ok | removed | removed | ok | n
2007-11-03 | 1225 | #1 replaced,rr rest | ok | ok | removed | removed | ok | n
2007-11-04 | 1200 | rr-all | ok | ok | removed | removed | ok | n
2007-11-05 | 1148 | rr-all | ok | ok | removed | removed | ok | n
2007-11-06 | 1130 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-07 | 1110 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-08 | 1120 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-09 | 1050 | rr-all | ok | ok | removed | removed | ok | n
2007-11-10 | 1058 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-11 | 1220 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-12 | 1020 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-13 | 1050 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-14 | 1055 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-15 | 1120 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-16 | 1030 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-17 | 2040 | #2 replaced, rest ok | ok | ok | removed | removed | ok | n | later time due to 40knt winds
2007-11-18 | 1045 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-19 | 1120 | ok | ok | ok | removed | removed | ok | n
2007-11-20 | 1050 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-21 | 1040 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-22 | 1045 | ok | ok | ok | removed | removed | ok | n
2007-11-23 | 1100 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-24 | 1120 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-25 | 1210 | rr-all | ok | ok | removed | removed | ok | n
2007-11-26 | 1105 | ok | ok | ok | removed | removed | ok | n
2007-11-27 | 1045 | rr-all | ok | rr-all | removed | removed | ok | n | 13:00-15:30 UTC (intermittent) climbing tower to replace light at top
2007-11-28 | 1055 | rr-all | ok | rr-all | removed | removed | ok | y | took picture of bottom wind arm
2007-11-29 | 1115 | rr-all | ok | rr-all | removed | removed | ok | n
2007-11-30 | 1115 | rr-all | ok | rr-all | removed | removed | ok | n
Daily Check Swiss Tower December 2007
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2007-12-01 | 1145 | rr-all | ok | rr-all | removed | removed | ok | n
2007-12-02 | 1305 | rr-all | ok | rr-all | removed | removed | ok | n
2007-12-03 | 1100 | rr-all | ok | rr-all | removed | removed | ok | n
2007-12-04 | 1105 | rr-all | ok | rr-all | removed | removed | 3.5m rime | y | 3.5m wind arm w/ rime
2007-12-05 | 1145 | repl. 1,2, rr | ok | ok | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-06 | 1054 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-07 | 1100 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-08 | 1155 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-09 | 1200 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-10 | 1155 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-11 | 1045 | Snowr-all | ok | ok | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-12 | 1145 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-13 | 1055 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-14 | 910 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-15 | 1120 | snowr1,2,3 | ok | ok | removed | removed | 3.5m rime | n | Filter4,5 ok, 3.5m rime
2007-12-16 | 1115 | rr-all | ok | ok | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-17 | 1050 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-18 | 1040 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-19 | 1050 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-20 | 1030 | ok | ok | ok | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-21 | 1045 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-22 | 1045 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-23 | 1040 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-24 | 1100 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | Filter 1replaced, 3.5m r.
2007-12-25 | 1110 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-26 | 1110 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | tower climbed 11-11:20
2007-12-27 | 1045 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-28 | 1100 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-29 | 1045 | rr-all | ok | rr-all | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-30 | 1115 | rr-all | ok | ok | removed | removed | 3.5m rime | n | 3.5m rime, 5m ok
2007-12-31 | 1045 | ok | ok | ok | removed | removed | 3.5m rime | n | 40knot winds

## Daily Check Solar Tracker
2007 Daily Check Solar Tracker August
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-01-01 | 1425 | ok | rr-all | ok | ok | rr-all | ok
2007-01-02 | 1246 | ok | rr-all | ok | rr | rr-all | ok
2007-01-03 | 1230 | ok | rr-all | ok | rr | rr-all | rr
2007-01-04 | 1315 | rr-1 | rr-all | rr-2 | rr | rr-all | rr
2007-01-05 | 1300 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-01-06 | 1225 | ok | rr-all | ok | rr | rr-2,3 | ok
2007-01-07 | 1520 | ok | rr-all | ok | rr | rr-all | rr
2007-01-08 | 1315 | ok | rr-all | ok | rr | rr-all | rr
2007-01-09 | 1300
2007-01-10 | 1248 | ok | rr-all | ok | rr | rr-all | rr | attempted download
2007-01-11 | 1247 | ok | rr-all | ok | rr | rr-all | ok
2007-01-12 | 1318 | ok | rr-all | ok | rr | rr-all | ok
2007-01-13 | [7 empty] | winds >30 knots
2007-01-14 | 1313 | ok | rr-all | ok | ok | rr-all | ok
2007-01-15 | 1343 | rr-1 | rr-all | ok | ok | rr-all | rr | replaced F1 and F2 filters; wireless download
2007-01-16 | 1220 | rr-1 | rr-all | ok | rr | rr-all | rr
2007-01-17 | 1255 | ok | rr-all | ok | rr | rr-all | rr
2007-01-18 | 1245 | ok | ok | ok | ok | ok | ok | all instruments very clear today
2007-01-19 | 1300 | ok | ok | ok | ok | ok | ok | all instruments very clear today
2007-01-20 | 1320 | rr-1,2 | rr-all | ok | rr | rr-all | rr | heavy rime on all instruments today
2007-01-21 | 1220 | rr-1 | rr-all | rr-all | rr | rr-all | rr
2007-01-22 | [7 empty] | winds >30 knots
2007-01-23 | [7 empty] | winds > 40 knots
2007-01-24 | 1500 | ok | rr-all | ok | ok | rr-all | ok | wireless download
2007-01-25 | 1300 | ok | rr-all | ok | rr | rr-all | ok | high winds
2007-01-26
2007-01-27 |  | ok | rr-all | ok | ok | rr-all | ok
2007-01-28 | [7 empty] | winds > 40 knots
2007-01-29 | [7 empty] | high winds
2007-01-30 |  | rr - 1,3 | rr-all | ok | rr | rr-all | ok
2007-01-31 | 1840 | rr-2 | rr-all | rr-1 | rr | rr-all | rr | heavy rime on all instruments today
Daily Check Solar Tracker February 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-02-01 | 1255 | rr-1 | rr-all | ok | rr | rr-all | rr
2007-02-02 | 1305 | ok | rr-all | ok | rr | rr-all | ok | replaced F4 & F2 filters on fixed arm and F1 on tracker
2007-02-03 | 1310 | ok | rr-all | ok | ok | rr-all | ok
2007-02-04 | 1405 | rr-1*,3 | rr-all | rr-1 | rr | rr-all | rr | *could not remove all of frost from fixed arm dome 1
2007-02-05 | [7 empty] | windy & blowing snow
2007-02-06 | 1705 | rr-1,3 | rr-all | rr-1 | rr | rr-all | rr
2007-02-07 | 1240 | ok | ok | ok | ok | ok | ok
2007-02-08 | 1245 | rr-1, rime on 3 | rr-all | rr-1&2 | rr | rr-all | rr | heavy rime on all instruments today
2007-02-09 | 1135 | rr-3 | rr-all | ok | rr | rr-all | rr
2007-02-10 | 1235 | rr - 1*,3 | rr-all | rr-2* | rr | rr-all | rr | * could not remove all frost
2007-02-11 | 1635 | rr - 1*,3 | rr-all | rr-1* | rr | rr-all | rr | * could not remove all frost
2007-02-12 | 1220 | rr-1* | rr-all | ok | rr | rr-all | rr | *fan blocked with snow - cleared; removed frost with ethanol
2007-02-13 | 1345 | rr-1*,3 | rr-all | ok | rr | rr-all | rr | *could not remove all of frost from fixed arm dome 1
2007-02-14 | 1300 | rr-1 | rr-all | rr-1 | rr | rr-all | rr
2007-02-15 | 1310 | rr-1 | ok | ok | ok | ok | ok
2007-02-16 | 1335 | ok | rr-all | ok | ok | rr-all | ok | very light rime
2007-02-17
2007-02-18
2007-02-19 | 1800 | rr-1, rime on 3 | rr-all | ok | rr | rr-all | rr | very heavy, icy rime
2007-02-20 | 1320 | rr-1,3 | rr-all | ok | rr | rr-all | rr | took photos of transmitter box
2007-02-21 | 1245 | ok | ok | ok | ok | ok | ok
2007-02-22 | 1335 | ok | rr-all | ok | ok | rr-all | ok
2007-02-23 | 1305 | ok | ok | ok | ok | ok | ok
2007-02-24 | 1440 | rr-1 | rr-all | rr-2 | ok | rr-all | rr | heavy rime on all instruments today
2007-02-25 | 1405 | rr-shields | rr-all | rr-shields | ok | rr-all | rr | domes ok, shields rimed
2007-02-26 | 1445 | rr-1 | rr-all | rr-2 | ok | rr-all | ok | heavy rime
2007-02-27 |  | ok | rr-all | ok | rr | rr-all | rr
2007-02-28 |  | ok | rr-all | ok | ok | rr-all | rr
Daily Check Swiss March 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-03-01 | 1350 | ok | rr-all | ok | frost | rr-all | rr
2007-03-02 | 1410 | rr-1 | rr-all | rr-2 | rr | rr-all | rr | very light, sticky rime
2007-03-03 | 1445 | ok | rr-all | ok | rime | rr-all | rime | very light, sticky rime
2007-03-04 | 1555 | rr-1 | rr-all | ok | rr | rr-all | rr | very light, sticky rime
2007-03-05 | 1310 | ok | rr-all | ok | rr | rr-all | rr | very light, sticky rime
2007-03-06 | 1324 | rr-1 (sticky) | rr-all | ok | rr-sticky | rr-all | ok | brushed snow off fixed arm tubes
2007-03-07 | 1250 | ok | *rr-all* | ok | ok | *rr-all* | ok | *very light rime
2007-03-08 | 1330 | rr-1&3 | rr-all | rr-1 | rr | rr-all | rr | very heavy rime
2007-03-09 | 1345 | frost-1, 2&3 ok | rr-all | ok | ok | rr-all | ok
2007-03-10 | 1505 | ok | rr-all | ok | ok | rr-all | ok
2007-03-11 | 1125 | rime on 1 | rr-all | ok | ok | rr-all | rr
2007-03-12 | 1245 | ok | rr-all | ok | ok | rr-all | rr | replaced filters on fixed arm
2007-03-13 | 1250 | ok | *rr-all* | ok | ok | *rr-all* | ok | *light rime
2007-03-14 | - | - | - | - | - | - | - | winds >30 knots
2007-03-15 | 1345 | sticky rime on 1 | *rr-all* | sticky rime on 1 | sticky rime | *rr-all* | rime | *very light rime
2007-03-16 | 1305 | light frost | rr-all | frost on 1, 2 ok | frost | rr-all | rr
2007-03-17 | 1355 | frost on 1 | rr-all | frost on 1, 2 ok | ok | rr-all | rr
2007-03-18 | 1355 | remove frost on 1 | rr-all | ok | ok | rr-all | ok
2007-03-19 | 1435 | ok | rr-all | ok | ok | rr-all | rr | light frost
2007-03-20 | 1305 | ok | light rime | ok | ok | light rime | ok
2007-03-21 | 1335 | ok | rr-all | ok | ok | rr-all | ok | removed snow from inside fixed arm tubes
2007-03-22 | 1400 | ok | rr-all | ok | ok | rr-all | ok
2007-03-23 | 1350 | ok | rr-all | ok | ok | rr-all | ok
2007-03-24 | 1340 | ok | rr-all | ok | ok | rr-all | ok
2007-03-25 | 1520 | ok | ok | ok | ok | ok | ok
2007-03-26 | 1425 | ok | rr-all | ok | ok | rr-all | ok
2007-03-27 | 1245 | ok | *rr-all* | ok | rr | *rr-all* | ok | *light rime
2007-03-28 | 1310 | ok | ok | ok | rr | ok | ok
2007-03-29 | - | - | - | - | - | - | - | No rounds today
2007-03-30 | 1545 | ok | ok | ok | ok | ok | ok
2007-03-31 | 1325 | ok | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker April 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-04-01 | 1350 | ok | rr-all | ok | ok | rr-all | ok
2007-04-02 | - | - | - | - | - | - | - | wireless download ,winds 40+ knots
2007-04-03 | - | - | - | - | - | - | - | winds 40+ knots
2007-04-04 | 1235 | frost on 1 | rr-all | ok | ok | rr-all | ok
2007-04-05 | 1245 | ok | *rr-all* | ok | ok | *rr-all* | ok | *very light rime
2007-04-06 | 1350 | frost on 1 | rr-all | ok | ok | rr-all | ok
2007-04-07 | 1250 | ok | rr-all | ok | ok | rr-all | ok
2007-04-08 | 1540 | ok | rr-all | ok | ok | rr-all | ok
2007-04-09 | 1240 | ok | ok | ok | ok | ok | ok
2007-04-10 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2007-04-11 | 1400 | ok | rr-all | ok | rr | rr-all | ok
2007-04-12 | 1325 | ok | rr-all | ok | ok | rr-all | ok | very light rime
2007-04-13 | 1155 | ok | rr-all | ok | rr | rr-all | ok
2007-04-14 | 1355 | ok | rr-all | ok | ok | rr-all | ok
2007-04-15 | 1335 | ok | ok | ok | ok | ok | ok
2007-04-16 | 1330 | ok | rr-all | ok | ok | rr-2,3 | ok
2007-04-17 | 1255 | ok | rr-all | ok | ok | rr-all | ok
2007-04-18 |  | ok | ok | ok | ok | ok | ok
2007-04-19 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2007-04-20 | 1140 | rr-1 | rr-all | ok | rr | rr-all | ok | heavy rime
2007-04-21 | 1340 | ok | rr-all | ok | ok | rr-all | ok
2007-04-22 | 1220 | OK | rr-all | OK | OK | RR- | OK
2007-04-23
2007-04-24
2007-04-25 | 1640 | OK | OK | OK | OK | OK | OK
2007-04-26 | 1315 | frost on 1 | rr-all | OK | OK | rr-all | OK | RR-SHIELDS
2007-04-27
2007-04-28 | [7 empty] | STORM BLSN
2007-04-29 | [7 empty] | STORM BLSN
2007-04-30 | 1205 | OK | OK | OK | OK | OK | OK | STORM BLSN
Daily Check Solar Tracker May 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-05-01 | 1225 | OK | OK | OK | OK | OK | OK | 2 days of BLSN
2007-05-02 | 1122 | OK | OK | OK | OK | OK | OK
2007-05-03 | 1150 | ok | rr-all | ok | ok | rr-all | ok | Power outage 1250-1800
2007-05-04 | 1600 | ok | rr-all | ok | ok | rr-all | ok
2007-05-05 | 1430 | ok | ok | ok | ok | ok | ok | DRSN
2007-05-06 | 1400 | ok | ok | ok | ok | ok | ok
2007-05-07 | 1814 | ok | rr-all | ok | ok | rr-all | ok
2007-05-08 | 1910 | ok | ok | ok | ok | ok | ok
2007-05-09 | 1335 | ok | rr-all | ok | ok | rr-all | ok
2007-05-10 | 1130 | ok | rr-all | -- | -- | -- | -- | Tracker down for repairs
2007-05-11 | 1230 | ok | ok | -- | -- | -- | -- | '
2007-05-12 | 1305 | ok | ok | ok | ok | ok | ok
2007-05-13 |  | ok | ok | ok | ok | ok | ok
2007-05-14 | 1205 | ok | rr-all | ok | ok | rr-all | ok
2007-05-15 | 1230 | ok | ok | ok | ok | ok | ok
2007-05-16 | 1230 | ok | ok | ok | ok | ok | ok
2007-05-17 | 1225 | ok | ok | ok | ok | ok | ok
2007-05-18 | 1130 | ok | ok | ok | ok | rr-all | ok
2007-05-19 | 1530 | ok | rr-all | ok | ok | rr-all | ok
2007-05-20 | 1730 | ok | ok | ok | ok | ok | ok
2007-05-21 | 1530 | ok | ok | ok | ok | ok | ok
2007-05-22 | 1200 | ok | ok | ok | ok | ok | ok
2007-05-23 | 1140 | ok | ok | ok | ok | ok | ok
2007-05-24 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2007-05-25 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2007-05-26 | 1425 | ok | rr-all | ok | ok | rr-all | ok
2007-05-27 | 1400 | ok | ok | ok | ok | ok | ok | Blowing snow
2007-05-28 | 1330 | ok | ok | ok | ok | ok | ok | Blowing snow
2007-05-29 | 1210 | ok | ok | ok | ok | ok | ok
2007-05-30 | 1200 | ok | ok | ok | ok | ok | ok
2007-05-31 | 1215 | ok | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker June 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-06-01 | 1300 | ok | ok | ok | ok | ok | ok
2007-06-02 | 1130 | ok | rr-all | ok | ok | rr-all | ok | light frost
2007-06-03 | 1200 | ok | ok | ok | ok | ok | ok
2007-06-04 | 1215 | ok | ok | ok | ok | ok | ok
2007-06-05 | 1115 | ok | ok | ok | ok | ok | ok | Power outage 1555-1656
2007-06-06 | 1145 | ok | ok | ok | ok | ok | ok
2007-06-07 | 1650 | ok | rr-all | ok | ok | rr-all | ok
2007-06-08 | 1539 | rr-all | rr-all | oK | oK | rr-all | ok
2007-06-09 | 1145 | ok | ok | ok | ok | ok | ok
2007-06-10 | 1520 | ok | rr-all | ok | ok | ok | ok
2007-06-11 | 1620 | OK | OK | OK | OK | OK | ok
2007-06-12 | 1210 | ok | rr-all | ok | ok | rr-all | ok
2007-06-13 | 1145 | OK | OK | OK | OK | OK | ok | snowing again
2007-06-14 | 1230 | ok | rr-all | OK | OK | OK | ok
2007-06-15 | 1345 | ok | ok | ok | ok | ok | ok
2007-06-16 | 1200 | ok | ok | ok | ok | ok | ok
2007-06-17 | 1240 | ok | ok | ok | ok | ok | ok
2007-06-18 | 1300 | OK | OK | OK | OK | OK | oK
2007-06-19 | 1235 | ok | ok | ok | ok | ok | ok
2007-06-20 | 1335 | rr-all | rr-all | ok | ok | ok | ok
2007-06-21 | 1245 | ok | rr-all | ok | ok | ok | ok
2007-06-22 | 1210 | rr-all | rr-all | ok | ok | ok | ok
2007-06-23 | 1820 | rr-all | ok | ok | ok | ok | ok
2007-06-24 | 1235 | ok | ok | ok | ok | ok | ok
2007-06-25 | 1215 | ok | ok | ok | ok | ok | ok
2007-06-26 | 1920 | ok | rr-all | ok | ok | ok | ok
2007-06-27 | 1400 | ok | rr-all | ok | ok | ok | ok
2007-06-28 | 1300 | ok | ok | ok
2007-06-29
2007-06-30
Daily Check Solar Tracker July 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-07-01 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2007-07-02 | 1145 | ok | rr-all | ok | ok | rr-all | ok
2007-07-03 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2007-07-04 | 1115 | ok | ok | ok | ok | rr-all | ok
2007-07-05 | 1320 | ok | ok | ok | ok | ok | ok
2007-07-06 | 1300 | ok | ok | ok | ok | ok | ok
2007-07-07 | 1425 | ok | rr-all | ok | ok | rr-all | ok
2007-07-08 | 1700 | ok | ok | ok | ok | ok | ok
2007-07-09 | 1145 | ok | ok | ok | ok | ok | ok
2007-07-10 | 1430 | ok | ok | ok | ok | ok | ok
2007-07-11 | 1230 | ok | rr-all | ok | ok | ok | ok
2007-07-12 | 1330 | ok | rr-all | ok | ok | ok | ok
2007-07-13 | 1225 | ok | rr-all | ok | ok | rr-all | ok
2007-07-14 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2007-07-15 | 1345 | ok | ok | ok | ok | ok | ok
2007-07-16 | 1200 | ok | ok | ok | ok | ok | ok
2007-07-17 | 1240 | ok | ok | ok | ok | ok | ok
2007-07-18 | 1300 | ok | ok | ok | ok | ok | ok
2007-07-19 | 1235 | ok | ok | ok | ok | ok | ok
2007-07-20 | 1335 | ok | rr-all | ok | ok | ok | ok
2007-07-21 | 1245 | ok | rr-all | ok | ok | ok | ok
2007-07-22 | 1210 | ok | ok | ok | ok | ok | ok
2007-07-23 | 1820 | ok | ok | ok | ok | ok | ok
2007-07-24 | 1235 | ok | ok | ok | ok | ok | ok
2007-07-25 | 1215 | ok | ok | ok | ok | ok | ok
2007-07-26 | 1920 | ok | rr-all | oK | oK | ok | ok
2007-07-27 | 1400 | ok | rr-all | ok | ok | ok | ok
2007-07-28 | 1300 | ok | OK | ok | ok | ok | ok
2007-07-29 | 1500 | OK | oK | oK | OK | ok | ok
2007-07-30 | 1530 | ok | rr-all | ok | ok | ok | ok
2007-07-31 | 1700 | OK | OK | OK | OK | OK | ok | Power outage 1334-1411
Daily Check Solar Tracker August 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-08-01 | 1400 | ok | ok | ok | ok | ok | ok
2007-08-02 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2007-08-03 | 1310 | OK | rr-all | OK | rr-all | rr-all | ok
2007-08-04 | 1300 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-05 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2007-08-06 | 1725 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-07 | 2000 | ok | ok | ok | ok | ok | ok
2007-08-08 | 1450 | ok | rr-all | ok | rr-all | ok | ok
2007-08-09 | 1955 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-10
2007-08-11 | 1235 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-12 | 1410 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-13 | 1345 | ok | ok | ok | rr-one | ok | ok
2007-08-14 | 1355 | ok | ok | ok | ok | ok | ok
2007-08-15 | 0935 | ok | ok | ok | ok | ok | ok
2007-08-16 | 1055 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-17 | 1246 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-18 | 1140 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-19 | 1325 | ok | rr-all | ok | rr-all | rr-on two | ok
2007-08-20 | 1045 | ok | rr-on two | ok | ok | rr-on one | ok
2007-08-21 | 1212 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-22 | 1045 | OK | RR-ALL | ok | rr-all | rr-all | ok
2007-08-23 | 1350 | ok | ok | ok | rr-all | rr-all | ok
2007-08-24 | 1147 | ok | rr-one | ok | rr-all | rr-all | ok
2007-08-25 | 1310 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-26 | 1240 | ok | rr-all | ok | rr-all | rr-all | ok
2007-08-27 | 1135 | ok | rr-one | ok | ok | ok | ok
2007-08-28 | 1125 | ok | rr-two | ok | ok | ok | ok
2007-08-29 | 1142 | rr-2 | rr-all | rr-1 | rr | rr-all | rr | cleaned crusty rime off upward dome
2007-08-30 | 1140 | ok | rr-three | ok | ok | rr-one | ok
2007-08-31 | 1115 | ok | rr-all | ok | ok | rr-all | rr
Daily Check Solar Tracker September 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-09-01 | 1320 | rr-one | rr-all | ok | ok | rr-all | rr
2007-09-02 | 1405 | rr-one | rr-all | ok | rr | rr-all | rr
2007-09-03 | 1130 | rr-one | rr-all | ok | rr | rr-all | rr
2007-09-04 | 1237 | ok | rr-all | ok | ok | rr-two | ok
2007-09-05 | 1140 | ok | rr-all | ok | ok | rr-all | ok
2007-09-06 | 1125 | ok | rr-one | ok | ok | rr-one | ok
2007-09-07 | 1120 | ok | rr-all | ok | ok | rr-all | rr
2007-09-08 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2007-09-09 | 1220 | ok | rr-all | ok | ok | rr-all | ok
2007-09-10 | 1225 | ok | rr-all | ok | ok | rr-all | ok
2007-09-11 | 1300 | rr-one | rr-all | ok | rr | rr-all | ok | @1420 remove rime off up-facing dome
2007-09-12 | 1130 | rr-one | rr-all | ok | ok | rr-all | rr
2007-09-13 | 1350 | OK | rr-all | OK | OK | rr-two | OK
2007-09-14 | 1305 | ok | rr-all | ok | ok | rr-all | rr
2007-09-15 | 1200 | ok | ok | ok | ok | ok | ok
2007-09-16 | 1210 | rr-one | rr-all | ok | ok | rr-all | rr
2007-09-17 | 1205 | OK | OK | OK | OK | OK | OK
2007-09-18 | 1830 | ok | rr-all | ok | ok | rr-all | ok
2007-09-19 | 1315 | OK | OK | OK | OK | OK | OK
2007-09-20 | 1355 | ok | rr-all | ok | rr | rr-all | rr
2007-09-21 | 1205 | rr-all | RR-all | rr-all | RR | RR-all | RR | Cleaned rime off domes at 1205 and 1225
2007-09-22 | 1255 | ok | rr-two | ok | ok | rr-one | ok
2007-09-23 | 1400 | ok | rr-all | ok | rr | rr-all | rr
2007-09-24 | 1255 | rr-one | rr-all | ok | ok | rr-all | rr
2007-09-25 | 1520 | ok | rr-all | ok | ok | rr-all | rr
2007-09-26 | 1155 | ok | rr-all | ok | ok | rr-all | ok
2007-09-27 | 1500 | ok | rr-all | ok | ok | rr-all | ok
2007-09-28 | 1145 | ok | rr-all | ok | rr | rr-all | rr
2007-09-29 | 1300 | ok | ok | ok | ok | ok | ok
2007-09-30 | 1215 | ok | rr-all | ok | rr | rr-all | rr
Daily Check Solar Tracker October 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-10-01 | 1137 | rr-one | rr-all | ok | rr | rr-all | rr | Direct solar radiation tube cleaned at 1153.
2007-10-02 | 1220 | ok | rr-all | ok | ok | rr-two | ok
2007-10-03 | 1150 | OK | rr-all | OK | rr | rr-all | rr
2007-10-04 | 1250 | rr-1 | rr-all | ok | rr | rr-all | rr
2007-10-05 | 1255 | rr-two | rr-all | ok | rr | rr-all | rr | cleaned one dome at 1305
2007-10-06 | 1315 | rr-all | rr-all | ok | ok | rr-all | rr
2007-10-07 | 1245 | rr-two | rr-all | rr-one | ok | rr-all | rr
2007-10-08 | 1245 | rr-one | rr-all | ok | rr | rr-all | rr | cleaned tube at 1320
2007-10-09 | 1340 | ok | rr-all | ok | ok | rr-all | rr
2007-10-10 | 1155 | ok | rr-all | ok | rr | rr-all | rr | cleaned tube at 1210
2007-10-11 | 1230 | ok | rr-all | ok | rr | rr-all | rr
2007-10-12 | 1140 | ok | rr-one | ok | rr | okj | rr
2007-10-13 | 1220 | ok | rr-all | ok | rr | rr-all | rr | cleaned tube at 1235
2007-10-14 | 1240 | ok | rr-all | ok | ok | rr-all | rr
2007-10-15 | 1145 | rr-one | rr-all | ok | ok | rr-all | rr | cleaned dome at 1155
2007-10-16 | 1150 | ok | rr-all | ok | rr | rr-all | rr
2007-10-17 | 1345 | ok | rr-all | ok | rr | rr-all | rr
2007-10-18 | 1405 | ok | rr-all | ok | ok | rr-all | ok | cleaned tube at 1415
2007-10-19 | 1255 | ok | rr-one | ok | ok | rr-all | ok
2007-10-20 | 1700 | ok | rr-all | ok | ok | rr-all | rr
2007-10-21 | 1245 | rr-one | rr-all | ok | rr | rr-all | rr | cleaned tube& dome@ 1320
2007-10-22 | 1215 | ok | rr-all | ok | rr | rr-all | rr | cleaned tube at 1240
2007-10-23 | 1315 | ok | rr-two | ok | ok | rr-two | ok
2007-10-24 | 1730 | ok | rr-all | ok | ok | rr-all | rr
2007-10-25 | 1350 | rr-one | rr-all | ok | rr | rr-all | rr | cleaned tube at 1410
2007-10-26 | 1155 | ok | ok | ok | ok | ok | ok
2007-10-27 | 1300 | ok | rr-all | ok | ok | rr-two | ok | replaced 1 filter that blew away since yesterday
2007-10-28 | 1430 | ok | rr-one | ok | ok | ok | ok
2007-10-29 | 1320 | ok | rr-all | ok | rr | rr-two | rr
2007-10-30 | 1455 | ok | rr-all | ok | rr | rr-all | rr | cleaned tube at 1510
2007-10-31 | 1140 | ok | rr-all | ok | rr | rr-all | rr | cleaned tube at 1210
Daily Check Solar Tracker November 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-11-01 | 1120 | rr-all | rr-all | ok | rr | rr-all | rr | cleaned tube at 1150
2007-11-02 | 1255-1305 | OK | rr-all | OK | oK | rr-all | OK
2007-11-03 | 1255-1303 | ok | rr-all | ok | rr | rr-all | ok
2007-11-04 | 1200-1215 | rr-all | rr-all | rr-all | rr | rr-all | OK
2007-11-05 | 1148-1150 | ok | rr-all | ok | rr | rr-all | ok
2007-11-06 | 1115-1132 | rr-all | RR-all | rr-all | rr | rr-all | rr
2007-11-07 | 1130-1145 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-11-08 | 1240-1255 | ok | rr-all | ok | ok | rr-all | ok
2007-11-09 | 1210-1221 | rr#1, rest ok | rr-all | rr-all | rr | rr-all | rr
2007-11-10 | 1235-1246 | ok | rr-all | rr-all | rr | rr-all | rr
2007-11-11 | 1030-1043 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-11-12 | 1055-1105 | rr#1, rest ok | rr-all | rr#1, rest ok | rr | rr-all | rr
2007-11-13 | 1105-1122 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-11-14 | 1125-1135 | ok | rr-all | ok | rr | rr-all | ok
2007-11-15 | 1145-1158 | rr-all | rr-all | rr-all | ok | rr-all | rr
2007-11-16 | 1145-1150 | rr-all | rr-all | rr-all | ok | rr-all | rr
2007-11-17 | 2042-2045 | ok | rsnow-all | ok | ok | rsnow-all | ok | later time due to 40+knt winds
2007-11-18 | 1105-1120 | ok | ok | ok | ok | ok | ok | 30knt winds
2007-11-19 | 1100-1115 | ok | rr-all | ok | ok | rr-all | rr
2007-11-20 | 1055-1105 | ok | rr-all | ok | rr | rr-all | rr
2007-11-21 | 1058-1106 | ok | rsnow-all | ok | ok | rsnow-all | ok
2007-11-22 | 1112-1124 | ok | rr-all | ok | ok | rr-all | rr
2007-11-23 | 1130-1140 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-11-24 | 1215-1230 | rr-all | #3replaced, rr | ok | rr | rr-all | rr
2007-11-25 | 1205-1215 | rr-all | rr-all | ok | rr | rr-all | rr
2007-11-26 | 1155-1206 | ok | ok | ok | ok | ok | ok
2007-11-27 | 1100-1115 | ok | #F1replaced, rr | ok | rr | rr-all | rr | both #F1 filters replaced
2007-11-28 | 1110-1126 | ok | #F1-2repl, rr | ok | rr | rr-all | rr
2007-11-29 | 1115-1130 | ok | rr-all | ok | rr | rr-all | rr
2007-11-30 | 1120-1136 | ok | rr-all | ok | rr | rr-all | rr
Daily Check Solar Tracker December 2007
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2007-12-01 | 1156-1205 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-12-02 | 1315-1330 | ok | rr-all | ok | rr | rr-all | rr
2007-12-03 | 1145-1155 | ok | rr-all | ok | rr | rr-all | rr
2007-12-04 | 1110-1120 | ok | rr-all | ok | rr | rr-all | rr
2007-12-05 | 1105-1115 | ok | rr-all | ok | rr | rr-all | ok
2007-12-06 | 1058-1108 | ok | rr-all | ok | rr | rr-all | rr
2007-12-07 | 1105-1115 | ok | rr-all | ok | ok | rr-all | rr
2007-12-08 | 1205-1215 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-12-09 | 1210-1222 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-12-10 | 1125-1135 | rr-all | rr-all | rr-all | rr | rr-rest | rr | F#2 replaced
2007-12-11 | 1100-1115 | ok | Snowr-all | ok | rr | Snowr-all | ok
2007-12-12 | 1158-1205 | ok | rr-all | ok | rr | rr-all | rr
2007-12-13 | 1110-1120 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-12-14 | 0915-0930 | ok | rr2,3,4 | ok | rr | rr2,3 | rr | F1rplcd on fixed, F3 on rotatin
2007-12-15 | 1130-1142 | ok | Snowr3,4, rest ok | ok | ok | Snowr-all | ok
2007-12-16 | 1130-1140 | ok | rr-all | ok | ok | rr-all | ok
2007-12-17 | 1115-1130 | ok | rr-all | ok | rr | rr-all | ok
2007-12-18 | 1045-1056 | ok | rr-all | ok | ok | rr-all | rr
2007-12-19 | 1110-1116 | ok | rr-all | ok | ok | rr-all | ok
2007-12-20 | 1040-1050 | ok | Snowr-all | ok | ok | Snowr-all | ok
2007-12-21 | 1055-1101 | 11rr, rest ok | rr1,2,3 | ok | rr | rr-all | rr | F4 replaced
2007-12-22 | 1055-1105 | ok | rr1a,2,3,4 | ok | ok | rr-all | ok | 1of F1 replaced
2007-12-23 | 1055-1105 | ok | rr-all | I1r, rest ok | rr | rr-all | rr
2007-12-24 | 1105-1115 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-12-25 | 1115-1125 | rr-all | rr1,2a,3,4 | rr-all | rr | rr-all | rr | replaced 1 of F2 filters
2007-12-26 | 1110-1120 | ok | rr-all | ok | rr | rr-all | rr
2007-12-27 | 1050-1057 | rr-all | rr-all | rr-all | rr | rr-all | rr
2007-12-28 | 1115-1120 | ok | rr-all | ok | rr | rr-all | rr
2007-12-29 | 1055-1105 | ok | rr-all | ok | rr | rr-all | rr
2007-12-30 | 1105-1110 | ok | rr-all | ok | rr | rr-all | rr
2007-12-31 | 1055-1100 | ok | rr2,3,4 | ok | ok | ok | ok | both #F1 filters replaced

## Weekly Download SwissTower
2007 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 070101 | 199 | -1s | Y | 830131 | 360 | 1451 | 001 | 1801 | Y | wireless-unstable
2 | 070110 | 200 | +2 hr 1 s | Y | 1043026 | 324 | 335 | 010 | 1503 | Y | wireless on old science laptop; laptop normally used for download lost hard drive
2 | 070111 | 201 | -1 s | Y | 1064386 | 10 | 1504 | 11 | 1238 | Y | wireless stable
3 | 070115 | 202 | +1s | Y | 1159096 | 11 | 1239 | 15 | 1218 | Y | wireless slightly unstable, but not too bad
4 | 070122 | 203 | ? | Y | 1213118 | 15 | 1219 | 17 | 1852 | Y | wireless very unstable will continue download later
4 | 070124 | 204 | +29s | Y | 1374316 | 17 | 1853 | 24 | 1539 | Y | wireless
5 | 070129 | 205 | +1s | Y | 1494271 | 24 | 1540 | 29 | 1649 | Y | wireless - unstable
6 | 070205 | 206 | +1s | Y | 1657516 | 29 | 1650 | 36 | 1343 | Y | wireless-unstable
7 | 070212 | 207 | +1 s | Y | 1823401 | 36 | 1344 | 43 | 1317 | Y | wireless-unstable
8 | 070219 | 208 | 0 s | N | 1995751 | 43 | 1318 | 50 | 1922 | Y | wireless stable - adjust pointer # using new laptop
9 | 070226 | 209 | 0 s | N | 9766 | 50 | 1923 | 57 | 1319 | Y | wireless stable
10 | 070305 | 210 | +2 s | Y | 176326 | 57 | 1320 | 64 | 1333 | Y | wireless stable
11 | 070312 | 211 | 0 | N | 342646 | 64 | 1334 | 71 | 1334 | Y | wireless slightly unstable, but not too bad
12 | 070319 | 212 | +2s | Y | 510136 | 71 | 1335 | 78 | 1445 | Y | wireless - stable
13 | 070326 | 213 | +2s | Y | 676276 | 78 | 1446 | 85 | 1434 | Y | wireless - stable
14 | 070404 | 214 | 0 | N | 887041 | 85 | 1435 | 94 | 1129 | Y | wireless - stable
15 | 070409 | 215 | 0 | N | 1006861 | 94 | 1130 | 99 | 1230 | Y | wireless - stable
16 | 070416 | 216 | +1 s | Y | 1170676 | 99 | 1231 | 106 | 959 | Y | wireless - stable
17 | 070425 | 217 | 0 | N | 1399621 | 106 | 1000 | 116 | 0114 | Y | wireless-unstable
18 | 070502 | 218 | -1s | N | 1553116 | 116 | 0115 | 122 | 1217 | Y | wireless-stable
19 | 070507 | 219 | 0 | N | 1671766 | 122 | 1218 | 127 | 1208 | Y | wireless-unstable
20 | 070513 | 220 | +1s | n | 1814551 | 127 | 1209 | 133 | 1221 | Y | wireless stable
21 | 070521 | 221 | -17s | y | 102229 | 137 | 192 | 138 | 1837 | y | all well
22 | 070529 | Tu222 | 0 | y | 103514 | 149 | 1221 | 149 | 1445 | y | Data issue
23 | 070604 | Tu223 | -6 | n | 161793 | 149 | 1332 | 151 | 1836 | y | Data issue
23 | 070607 | Tu224 |  | n | 180846 | 134 | 0116 | 156 | 0456 | y | Data issue
23 | 070608 | Tu225 |  | n | 207347 | 158 | 1646 | 159 | 1652 | y | Data issue
23 | 070609 | Tu226 |  | n | Not recorded | 67 | 1142 | 74 | 1420 | Y | Data issue
24 | 070611 | Tu227 |  |  | 207347 | 150 | 2044 | 159 | 1652 | y | Data issue
25 | 070619 | Tu228 |  | n | 233052 | 134 | 116 | 170 | 2350 | y
26 | 070625 | Tu230 |  | n | 1489378 | 170 | 2351 | 171 | 1730 | y
27 | 070702 | Tu234 |  | n | 334676 | 181 | 1520 | 182 | 1418 | y
28 | 070709 | Tu239 | -4 | no | 447774 | 187 | 1111 | 187 | 1923 | y
29 | 070716 | Tu242 |  |  | 182924 | 193 | 2122 | 197 | 197 | y
30 | 070723 | Tu246 |  |  | 15130 | 204 | 808 | 204 | 1149
31 | 070730 | Tu247 | +5sec | y | 200475 | 204 | 1150 | 211 | 1237
32 | 070806 | Tu249 | -3 |  | 3846544 | 213 | 1210 | 218 | 1221 | y
33 | 070813 | Tu250 | +14 |  | 571016 | 218 | 1222 | 225 | 1405
34 | 070820 | Tu251 | +12 | y | 754416 | 225 | 1406 | 232 | 1307 | y
35 | 070827 | Tu252 | +14 | n | 939629 | 232 | 1308 | 239 | 1348 | y
36 | 070903 | Tu253 | +1 | n | 1123276 | 239 | 1349 | 246 | 1303 | y
37 | 070910 | Tu254 | +3 | n | 1308540 | 246 | 1304 | 253 | 1347 | y
38 | 070917 | Tu255 | +4 | n | 1492353 | 253 | 1348 | 260 | 1311 | y
39 | 070924 | Tu256 | +9 | n | 1679298 | 260 | 1312 | 267 | 1527 | y
40 | 071001 | Tu257 | +9 | n | 1861830 | 267 | 1528 | 274 | 1341 | y
41 | 071008 | Tu258 | +14 | n | 2045362 | 274 | 1342 | 281 | 1250 | y
42 | 071015 | Tu259 | +13 | n | 83989 | 281 | 1251 | 288 | 1316 | y
43 | 071022 | Tu260 | +14 | n | 269585 | 288 | 1317 | 295 | 1418 | y
44 | 071029 | Tu261 | +18 | y | 454249 | 295 | 1419 | 302 | 1427 | y
45 | 071105 | Tu262 | +2 | n | 637747 | 302 | 1428 | 309 | 1334 | y
46 | 071112 | Tu263 | +5 | n | 820713 | 309 | 1335 | 316 | 1212 | y
47 | 071119 | Tu264 | +5 | n | 1004879 | 316 | 1213 | 323 | 1156 | y
48 | 071126 | Tu265 | +6 | n | 1189126 | 323 | 1157 | 330 | 1144 | y
49 | 071203 | Tu266 | +43 | y | 1373522 | 330 | 1145 | 337 | 1140 | y
50 | 071210 | Tu267 | +1 | y | 1557739 | 337 | 1141 | 344 | 1127 | y
51 | 071217 | Tu268 | +2 | y | 1742203 | 344 | 1128 | 351 | 1127 | y
52

## Weekly Download SolarTracker
2007 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 070101 | 197 | `+4s | Y | 1068879 | 360 | 1457 | 001 | 1805 | Y | wireless download
2 | 070111 | 198 | +38 s | Y | 1702767 | 1 | 1806 | 11 | 1245 | Y | 01/10 - attempted download wireless - unsuccessful; 1/11 reconfigured PC208W with ETH assistance - download successful!
3 | 070115 | 199 | +12 s | Y | 1958795 | 11 | 1246 | 15 | 1222 | Y | wireless download
4 | 070124 | 200 | -2 hr 22s | Y | 394614 | 15 | 1223 | 24 | 1547 | Y | wireless download
5 | 070129 | 201 | +5 s | Y | 718862 | 24 | 1548 | 29 | 1654 | Y | wireless download
6 | 070205 | 202 | +15s | Y | 1160586 | 29 | 1655 | 36 | 1350 | Y | wireless download
7 | 070213 | 203 | +10 s | Y | 1609262 | 36 | 1351 | 43 | 1324 | Y | wireless download
8 | 070219 | 204 | +12 s | Y | 2075890 | 43 | 1325 | 50 | 1946 | Y | wireless download
9 | 070226 | 205 | +13 s | Y | 363301 | 50 | 1947 | 57 | 1340 | Y | wireless download
10 | 070305 | 206 | +25 s | Y | 813561 | 57 | 1341 | 64 | 1350 | Y | wireless download
11 | 070312 | 207 | +14s | Y | 1263689 | 64 | 1351 | 71 | 1355 | Y | wireless download
12 | 070319 | 208 | +20s | Y | 1716501 | 71 | 1356 | 78 | 1503 | Y | wireless download
13 | 070326 | 209 | +17 s | Y | 19532 | 78 | 1504 | 85 | 1452 | Y | wireless download
14 | 070402 | 210 | -1 s | Y | 461696 | 85 | 1453 | 92 | 1158 | Y | wireless download
15 | 070409 | 211 | +15 s | Y | 913584 | 92 | 1159 | 99 | 1245 | Y | wireless download
16 | 070416 | 212 | +14 s | Y | 1357244 | 99 | 1246 | 106 | 1025 | Y | wireless download
17 | 070425 | 213 | 0 | N | 2065204 | 106 | 1026 | 117 | 1050 | Y | wireless download
18 | 070502 | 214 | +19s | Y | 245259 | 117 | 1051 | 122 | 1245 | Y | wireless download
19 | 070507 | 215 | -3s | Y | 562071 | 122 | 1246 | 127 | 1238 | Y | wireless download
20 | 070514 | 216 | -4s | y | 942923 | 127 | 1239 | 134 | 1419 | y | wireless download
21 | 070521 | 217 | 1s | y | 1387903 | 134 | 1420 | 141 | 1229 | y | wireless download
22 | 070528 | 218 | +5sec | n | 1836799 | 141 | 1230 | 1`48 | 1208
23 | 070604 | 219 | +10 | n | 133670 | 148 | 1209 | 155 | 0937
24 | 070611 | 220 | +16 | y | 588550 | 155 | 0938 | 162 | 1130 | y | ok download
25 | 070618 | 221 | +2 | n | 1039074 | 162 | 1131 | 169 | 1146 | y
26 | 070625 | 222 | +6 | y | 1489378 | 169 | 1147 | 176 | 1157 | y
27 | 070702 | 223 | +11 | y | 1938010 | 176 | 1158 | 183 | 1130 | y
28 | 070709 | 224 | +6 | n | 240909 | 183 | 1131 | 190 | 1116 | y
29 | 070716 | 225 |  |  | 689717 | 190 | 1117 | 197 | 1053 | y
30 | 070723 | 226 | +20 | y | 1146533 | 197 | 1054 | 204 | 1332 | y
31 | 070730 | 227 | -2 | y | 1595077 | 204 | 1333 | 211 | 1303 | y
32 | 070806 | 228 | +6 |  | 2044325 | 211 | 1304 | 218 | 1250 | y
33 | 070813 | 229 | +14 |  | 352284 | 218 | 1251 | 225 | 1431 | y
34 | 070820 | 230 | +6 | y | 795680 | 225 | 1432 | 232 | 1412 | y
35 | 070827 | 231 | +6 | n | 1246116 | 232 | 1413 | 239 | 1426 | y
36 | 070903 | 232 | +6 | n | 1693956 | 239 | 1427 | 246 | 1341 | y
37 | 070910 | 233 | +14 | n | 2145228 | 246 | 1342 | 253 | 1414 | y
38 | 070917 | 234 | +14 | n | 447291 | 253 | 1415 | 260 | 1341 | y
39 | 070924 | 235 | +9 | n | 903887 | 260 | 1342 | 267 | 1615 | y
40 | 071001 | 236 | +41 | y | 1348075 | 267 | 1616 | 274 | 1405 | y
41 | 071008 | 237 | +9 | n | 1795475 | 274 | 1406 | 281 | 1310 | y
42 | 071015 | 238 | +18 | n | 97010 | 281 | 1311 | 288 | 1225 | y
43 | 071022 | 239 | +28 | y | 549910 | 288 | 1226 | 295 | 1333 | y
44 | 071029 | 240 | +10 | n | 999774 | 295 | 1334 | 302 | 1334 | y
45 | 071105 | 241 | +28 | y | 1450782 | 302 | 1335 | 309 | 1401 | y
46 | 071112 | 242 | +13 | n | 1893694 | 309 | 1402 | 316 | 1124 | y
47 | 071119 | 243 | +37 | y | 196725 | 316 | 1125 | 323 | 1055 | y
48 | 071126 | 244 | +10 | n | 645841 | 323 | 1112 | 330 | 1055 | y | 17 minutes lost from end of last time to beginning of this data collected
49 | 071203 | 245 | +10 | y | 1095705 | 330 | 1056 | 337 | 1056 | y
50 | 071210 | 246 | +12 | y | 1544953 | 337 | 1057 | 344 | 1043 | y
51 | 071217 | 247 | +48 | y | 1994817 | 344 | 1044 | 351 | 1042 | y
52