## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Daily Check Swiss Tower
2008 Daily Check Swiss Tower
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1,2,4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-01-01 | 1055 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | Rime 3.5m heated inst., 5m ok
2008-01-02 | 1100 | rr1,2,4,5 | ok | rr-all | removed | removed | rime 3.5 | n | #3 filter blew away, replaced
2008-01-03 | 1045 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | Rime 3.5m heated inst., 5m ok
2008-01-04 | 1100 | ok | ok | ok | removed | removed | rime 3.5 | n | 35knot winds, rime 3.5m heated inst., 5m ok
2008-01-05 | 1010 | rr-all | ok | ok | removed | removed | rime 3.5 | n | Snow removed from inside T/RH tubes #1-3 (4 & 5 ok)
2008-01-06 | 1145 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | rime 3.5m heated inst., 5m ok
2008-01-07 | 1110 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | Rime 3.5m heated inst., 5m ok
2008-01-08 | 1045 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | Rime 3.5m heated inst., 5m ok
2008-01-09 | 1020 | rr-all | all ok but 5 | rr1,3, 2 stuck | removed | removed | rime 3.5 | n | #5 T/RH fan found on the ground; #2 windcup stuck #5 T/RH sensor removed to thaw out and troubleshoot
|  |  |  | #1 removed |  |  |  |  | 13:10UTC--#3 T/RH sensor unplugged briefly to check fan. 13:50--14:00UTC: #2 T/RH sensor unplugged to check fan. 14:25UTC: reinstalled #5 T/RH with fan 1430-1500: moved WS#1 to WS#2 place. WS#2 removed.
2008-01-10 | 955 | rr-all | #5 not spinning | rr-all | removed | removed | rime 3.5 | n | #5 T/RH fan started spinning when tapped with brush
2008-01-11 | 1000 | rr-all | #5 not spinning | rr-all | removed | removed | rime 3.5 | n | #5 T/RH fan started spinning when tapped with brush
2008-01-12 | 945 | rr-all | #5not spinning | rr-all | removed | removed | rime 3.5 | n | unplugged #5 T/RH; plugged back in 17:00UT
2008-01-13 | 935 | rr-all | #5 not spinning | rr-all | removed | removed | rime 3.5 | n
2008-01-14 | 1235 | rr-all | #5 not spinning | rr-all | removed | removed | rime 3.5 | n | #5 T/RH removed to replace motor; reinstalled sensor with new motor 15:50UT--seems to be working well
2008-01-15 | 900 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-01-16 | 900 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-01-17 | 1020 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-01-18 | 1035 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-01-19 | 1020 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n | #2 filter replaced, shrunk due to cold temps
2008-01-20 | 1020 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-01-21 | 1045 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-01-22 | 1040 | rr-all | ok | ok | removed | removed | rime 3.5 | n
2008-01-23 | 1045 | ok | ok | ok | removed | removed | rime 3.5 | n
2008-01-24 | 1045 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-01-25 | 1030 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-01-26 | 1030 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-01-27 | 1235 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-01-28 | 1030 | rr-all | rr-all | ok | removed | removed | rime 3.5 | n
2008-01-29 | 1040 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n | replaced filter on #1 T/RH
2008-01-30 | 1030 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-01-31 | 1030 | rr-all | rr-all | rr | removed | removed | rime 3.5 | n
Daily Check Swiss Tower February 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-02-01 | 1100 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-02-02 | 830 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-02-03 | 1030 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n
2008-02-04 | 850 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n | #2 filter replaced; brushed off snow-depth sensor power outage from 1100 - 1130UTC
2008-02-05 | 915 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-02-06 | 1100 | ok | ok | ok | removed | removed | rime 3.5 | n | up to 35knot winds
2008-02-07 | 1130 | rr-all | ok | ok | removed | removed | rime 3.5 | n
2008-02-08 | 930 | ok | ok | ok | removed | removed | rime 3.5 | n
2008-02-09 | 1830 | rr-1&2 | ok | ok | removed | removed | NO rime | n
2008-02-10 | 930 | rr-all | ok | rr-all | removed | removed | ok | n | #1 cup not spinning freely at low winds
2008-02-11 | 1000 | rr-all | rr-all | rr-all | removed | removed | ok | n | #1 & #2 cups not spinning--brushed off and manually spun them "vigorously"--now spinning freely
2008-02-12 | 920 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N | 11:55UT--replaced #1 anemometer with spare
2008-02-13 | 1620 | rr-all | ok | ok | removed | removed | rime 3.5 | n
2008-02-14 | 1200 | rr-all | ok | ok | removed | removed | rime 3.5 | n
2008-02-15 | 915 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-02-16 | 1140 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | n | #2 anemometer not spinning
2008-02-17 | 1410 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | #2 cup spinning well
2008-02-18 | 13:15 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-02-19 | 16:35 | ok | ok | ok | removed | removed | rime 3.5 | n | 3.5 rime only on one side
2008-02-20 | 1300 | ok | ok | ok | removed | removed | rime 3.5 | n | ""
2008-02-21 | 1430 | ok | ok | ok | removed | removed | rime 3.5 | N | ""
2008-02-22 | 1340 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n
2008-02-23 | 1900 | -- | -- | -- | removed | removed | -- | -- | did not clean instruments due to blowing snow and hgih winds
2008-02-24 | 1300 | ok | ok | ok | removed | removed | rime 3.5 | n
2008-02-25 | 1400 | rr-all | ok | rr-all | removed | removed | rime 3.5 | n | 3.5 instrument heavily rimed
2008-02-26 | 1430 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | N | top windcup still and lower windcup slow until rime was removed
2008-02-27 | 1215 | rr-all | ok | rr-all | removed | removed | rime | N | heavy rime 3.5; light rime 5.0
2008-02-28 | 1310 | rr-all | rr-all | rr-all | removed | removed | rime | N | heavy rime 3.5; light rime 5.0. 3 brief 15 minute power outages in the evening. Backup power remained on in TAWO
2008-02-29 | 1320 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N | v. light rime on windcups
Daily Check Swiss Tower March 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-03-01 | 1515 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-02 | 1255 | rr-all | ok | rr-all | removed | removed | rime | N | heavy rime 3.5 instrument; light rime on 5.0
2008-03-03 | 1400 | rr-all | rr-all | rr-all | removed | removed | rime | N | heavy rime 3.5 instrument; light rime on 5.0
2008-03-04 | 1350 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | N | heavy rime 3.5
2008-03-05 | 1230 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | N | 5.0 m heated instrument is fine, rime has blown away
2008-03-06 | 1405 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-07 | 1245 | rr-all | ok | ok | removed | removed | rime 3.5 | N
2008-03-08 | 1250 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N | windcups filled w/ quite a bit of snow.
2008-03-09 | 1200 | rr 1 &2 | ok | rr-all | removed | removed | rime 3.5 | N | due to strong winds, no rime on filters 3-5, and some of the rime on the 3.5 heated instrument has blown away
2008-03-10 | 1315 | rr 1&2 | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-11 | 1320 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-12 | 1245 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-13 | 1300 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N | 3.5 heated instrument heavily rimed
2008-03-14 | 1245 | rr-all | rr-all | rr-all | removed | removed | rime 3.5 | N
2008-03-15 | 1245 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-16 | 1220 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-17 | 1330 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-18 | 1245 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-19 | 1230 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N | v. little rime on filters or windcups. Less rime on 3.5 instrument
2008-03-20 | 1245 | rr-all | ok | rr-all | removed | removed | rime 3.5 | Y | took photo of aluminum box and inlets
2008-03-21 | 1310 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-03-22 | 1230 | ok | ok | ok | removed | removed | rime 3.5 | N
2008-03-23 | 1230 |  |  |  | removed | removed |  |  | 30 kt winds; did not rr from instruments (futile)
2008-03-24 | 1315 | rr-all | ok | ok | removed | removed | ok | N | Rime on 3.5 instrument almost clear
2008-03-25 | 1300 | ok | ok | ok | removed | removed | ok | N
2008-03-26 | 1255 | rr-all | rr-4 | rr-all | removed | removed | rime both | N
2008-03-27 | 1240 | rr 1-3 | ok | ok | removed | removed | rime | N
2008-03-28 | 1250 | rr-1-3 | ok | ok | removed | removed | ok | Y | heated instruments completely rime-free.
2008-03-29 | 1220 | rr-all | rr-all | rr-all | removed | removed | rime | Y
2008-03-30 | 1310 | rr-all | see note | rr-all | removed | removed | rime | N | fan #3 is no longer operational
2008-03-31 | 1340 | rr-all | see note | rr-all | removed | removed | rime | N | fan #3 is no longer operational
Daily Check Swiss Tower April 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-04-01 | 1150 | rr-all | ok | rr-all | removed | removed | rime | N | removed tube #3; moved tube #1 to new position (raised)
2008-04-02 | 1130 | rr-all | ok | ok | removed | removed | ok | N | both heated instruments clear!
2008-04-03 | 1220 | rr-all | rr-all | rr-all | removed | removed | rime | N
2008-04-04 | 1230 | rr-all | ok | ok | removed | removed | ok | N
2008-04-05 | 1215 | ok | ok | ok | removed | removed | ok | N
2008-04-06 | 1220 | ok | ok | rr-all | removed | removed | ok | N
2008-04-07 | 1150 | rr-all | rr-all | rr-all | removed | removed | little rime | N
2008-04-08 | 1140 | rr-all | ok | rr-all | removed | removed | rime | N
2008-04-09 | 1155 | rr-all | ok | ok | removed | removed | rime | N
2008-04-10 | 1230 | ok | ok | rr-all | removed | removed | rime 3.5 | N
2008-04-11 | 1140 | rr-all | ok | rr-all | removed | removed | little rime | N
2008-04-12 | 1140 | rr-all | ok | rr-all | removed | removed | little rime | N
2008-04-13 | 1120 | rr-all | rr-all | rr-all | removed | removed | little rime | N
2008-04-14 | 1155 | rr-all | ok | rr-all | removed | removed | ok | N
2008-04-15 | 1245 | rr-all | ok | ok | removed | removed | rime 3.5 | N
2008-04-16 | 1115 | ok | ok | ok | removed | removed | ok | N | stopped windcups to see if there was snow caught; there was none
2008-04-17 | 1150 | rr-all | ok | ok | removed | removed | ok | N | two filters had flown out, but were recovered and replaced
2008-04-18 | 1150 | rr-all | ok | ok | removed | removed | ok | N
2008-04-19 | 1110 | ok | ok | rr-all | removed | removed | ok | N | checked on RH tubes, but little to no snow
2008-04-20 | 1155 | rr-all | ok | rr-all | removed | removed | ok | N
2008-04-21 | 1230 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
2008-04-22 | 1030 | rr-all | ok | ok | removed | removed | rime 3.5 | N
2008-04-23 | 1035 | ok | ok | rr 1 | removed | removed | ok | N
2008-04-24 | 1134 | rr-all | ok | ok | removed | removed | ok | n
2008-04-25 | 1240 | rr-all | ok | rr-all | removed | removed | ok | N
2008-04-26 | 1225 | rr-all | ok | ok | removed | removed | ok | N
2008-04-27 | 1215 | rr-all | ok | ok | removed | removed | ok | N
2008-04-28 | 1325 | rr-all | ok | ok | removed | removed | rime 3.5 | N
2008-04-29 | 1103 | rr-all | ok | ok | removed | removed | rime 3.5 | N
2008-04-30 | 1303 | rr-all | ok | rr-all | removed | removed | rime 3.5 | N
Daily Check Swiss Tower May 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-05-01 | 1205 | ok | ok | ok | removed | removed | ok | no
2008-05-02 | 1145 | rr-all | ok | ok | removed | removed | ok | no
2008-05-03 | 1135 | ok | ok | r snow | removed | removed | ok | no
2008-05-04 | 1550 | rr-all | ok | ok | removed | removed | ok | no
2008-05-05 | 1414 | rrall | ok | ok | removed | removed | ok | no
2008-05-06 | 1222 | ok | ok | ok | removed | removed | ok | no
2008-05-07 |  |  |  |  | removed | removed
2008-05-08 | 1133 | ok | ok | ok | removed | removed | ok | no
2008-05-09 | 1140 | rr-all | ok | ok | removed | removed | ok | no
2008-05-10 | 1730 | rr-all | ok | ok | removed | removed | ok | no
2008-05-11 |  |  |  |  | removed | removed |  |  | Cap over sensor inside tube #1 fell out during cleaning
2008-05-12 | 1310 | rr-all | ok | ok | removed | removed | ok | no | Replaced cap over sensor inside tube #1
2008-05-13 | 1155 | r-snow | ok | s-snow | removed | removed | ok | no
2008-05-14 | 1108 | rr-all | ok | rr-all | removed | removed | rime | no
2008-05-15 | 1250 | rr-all | ok | rr-all | removed | removed | rime 3.5 | no | 15:14 - 17:43 power outage for maintenance to Sat Camp
2008-05-16 | 1108 | rr-all | ok | ok | removed | removed | ok | no
2008-05-17 | 1200 | rr-all | ok | ok | removed | removed | ok | ok
2008-05-18 | 1330 | rr-all | ok | ok | removed | removed | ok | ok
2008-05-19 | 1317 | rr-all | ok | rr-all | removed | removed | ok | ok
2008-05-20 | 1330 | rr-all | ok | ok | removed | removed | ok | no
2008-05-21 | 1200 | ok | ok | ok | removed | removed | ok | no
2008-05-22 | 1300 | ok | ok | ok | removed | removed | ok | no
2008-05-23
2008-05-24 | 1215 | rr-all | ok | ok | removed | removed | rime 3.5 | no | Didn't visit yesterday during blsn
2008-05-25 |  |  |  |  | removed | removed
2008-05-26 | 1130 | ok | ok | ok | removed | removed | ok | no
2008-05-27 | 1330 | ok | ok | ok | removed | removed | ok | no
2008-05-28 | 1150 | ok | ok | ok | removed | removed | ok | no
2008-05-29 |  |  |  |  | removed | removed
2008-05-30 |  |  |  |  | removed | removed
2008-05-31 | 1130 | ok | ok | ok | removed | removed | ok | no
Daily Check Swiss Tower June 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-06-01 | 1450 | rr-all | ok | ok | removed | removed | rime 3.5 | no
2008-06-02 | 1120 | ok | ok | ok | removed | removed | ok | no
2008-06-03 | 1100 | ok | ok | ok | removed | removed | ok | no
2008-06-04 | 1215 | ok | ok | ok | removed | removed | ok | no
2008-06-05 |  |  |  |  | removed | removed
2008-06-06 | 1124 | ok | ok | ok | removed | removed | frost 3.5 | no
2008-06-07 | 1315 | ok | ok | ok | removed | removed | ok | no
2008-06-08 | 1355 | ok | ok | ok | removed | removed | ok | n | Thermoncouples installed on tower
2008-06-09 | 1310 | rr-all | ok | ok | removed | removed | ok | n
2008-06-10 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2008-06-11 | 1245 | rr-all | ok | ok | removed | removed | ok | n
2008-06-12 | 1230 | rr-all | ok | ok | removed | removed | ok | n
2008-06-13 | 1120 | ok | ok | ok | removed | removed | ok | n
2008-06-14 | 1645 | ok | ok | ok | removed | removed | ok | n
2008-06-15 |  |  |  |  | removed | removed
2008-06-16 | 1130 | ok | ok | ok | removed | removed | ok | n
2008-06-17 | 1150 | ok | ok | ok | removed | removed | ok | n
2008-06-18 | 1250 | ok | ok | ok | removed | removed | ok | n | 1620 Power off for panel changes. Back on at
2008-06-19 | 1115 | rr-all | ok | ok | removed | removed | ok | n
2008-06-20 | 1230 | ok | ok | ok | removed | removed | ok | n
2008-06-21 | 1340 | OK | * | ok | removed | removed | ok | n | T/RH fan #3 not running adc
2008-06-22 | 1420 | ok | ** | ok | removed | removed | ok | n | Removed T/RH #3 to replace fan. Adc On at 1720. Fan still not working
2008-06-23 | 1230 | ok | ok (#3off) | ok | removed | removed | ok | n
2008-06-24 | 1050 | ok | ok (#3off) | ok | removed | removed | ok | n
2008-06-25 | 1120 | ok | ok | ok | removed | removed | ok | n
2008-06-26 | 1310 | ok | ok | ok | removed | removed | ok | n
2008-06-27 | 1130 | ok | ok | ok | removed | removed | ok | n | N. Winds continue….. Almost the whole week!
2008-06-28 | 1330 | ok | ok | ok | removed | removed | ok | n
2008-06-29 | 1230 | r-snow-all | ok | ok | removed | removed | ok | n | Slight rime on sonic anemometers
2008-06-30 | 1200 | ok | ok | ok | removed | removed | ok | n
Daily Check Swiss Tower July 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-07-01 | 1313 | ok | ok | ok | removed | removed | ok | n
2008-07-02 | 1215 | rr-all | ok | ok | removed | removed | ok | n
2008-07-03 | 1244 | ok | ok | ok | removed | removed | ok | n
2008-07-04 | 1144 | ok | ok | ok | removed | removed | ok | n
2008-07-05 | 1258 | ok | ok | ok | removed | removed | ok | n
2008-07-06 | 1300 | ok | ok | ok | removed | removed | ok | n
2008-07-07 | 1130 | r snow | ok | ok | removed | removed | ok | n
2008-07-08 | 1205 | rr-all | ok | ok | removed | removed | ok | n
2008-07-09 | 1145 | rr-all | ok | rr | removed | removed | rime | n | Significant rime all instruments. Did not clean heated instruments
2008-07-10 |  |  |  |  | removed | removed
2008-07-11 | 1220 | ok | ok | ok | removed | removed | ok | n
2008-07-12 | 1315 | ok | ok | ok | removed | removed | ok | n
2008-07-13 | 1312 | ok | ok | ok | removed | removed | ok | n
2008-07-14 | 1225 | rr-all | ok | ok | removed | removed | ok | n
2008-07-15 | 1130 | rr-all | ok | ok | removed | removed | ok | n
2008-07-16 | 1125 | rr-all | ok | ok | removed | removed | ok | n
2008-07-17 | 1140 | ok | ok | ok | removed | removed | ok | n
2008-07-18 | 1203 | ok | ok | ok | removed | removed | ok | n
2008-07-19 | 1305 | ok | ok | ok | removed | removed | ok | n
2008-07-20 | 1424 | rr-all | ok | ok | removed | removed | ok | n
2008-07-21 | 1257 | ok | ok | ok | removed | removed | ok | n
2008-07-22 | 1342 | ok | ok | ok | removed | removed | ok | n
2008-07-23 | 1230 | ok | ok | ok | removed | removed | ok | n
2008-07-24 | 1235 | ok | ok | ok | removed | removed | ok | n
2008-07-25 | 1045 | ok | ok | ok | removed | removed | ok | n
2008-07-26 | 1330 | - | - | - | removed | removed | - | n | All instruments removed by Swiss, to be replaced and put at new heights
2008-07-27 | - | - | - | - | removed | removed | - | n | All instruments removed by Swiss, to be replaced and put at new heights
2008-07-28 | - | - | - | - | removed | removed | - | n | Instruments being replaced on tower
2008-07-29 | - | - | - | - | removed | removed | - | n | Instruments being replaced on tower
2008-07-30 | - | - | - | - | removed | removed | - | n | Instrument install complete. No anemometer data.
2008-07-31 | 1256 | ok | ok | na | removed | removed | ok | n
Daily Check Swiss Tower August 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-08-01 | 1540 | ok | ok | na | removed | removed | ok | n
2008-08-02 | 1628 | rr, bottom 2 | ok | na | removed | removed | some rime | n | 3cm of rime on entire tower and instruments. Bottom 2 temps cleared
2008-08-03 | 1256 | ok | ok | na | removed | removed | ok | n
2008-08-04 | 1305 | ok | ok | na | removed | removed | ok | n
2008-08-05 | 1151 | ok | ok | na | removed | removed | ok | n
2008-08-06 | 1330 | Ok | Ok | NA | removed | removed | Ok | N
2008-08-07 | 1200 | rr-bottom 3 | ok | na | removed | removed | ok | n | 2cm of rime on entire tower and instruments. Botton 3 temps cleared
2008-08-08 | 1630 | ok | ok | na | removed | removed | ok | n
2008-08-09 | 1145 | rr | ok | na | removed | removed | ok | n
2008-08-10 | 1430 | rr-bottom 2 | ok | na | removed | removed | ok | n
2008-08-11 | 1139 | rr-bottom 3 | ok | na | removed | removed | ok | n
2008-08-12 | 1215 | ok | ok | na | removed | removed | ok | n
2008-08-13 | 1127 | rr-bottom 3 | ok | na | removed | removed | ok | n
2008-08-14 | 1250 | ok | ok | na | removed | removed | ok | n
2008-08-15 | 1122 | rr-bottom 3 | ok | na | removed | removed | ok | n
2008-08-16 | 1117 | rr-bottom 3 | ok | na | removed | removed | ok | n
2008-08-17 | 1300 | ok | ok | na | removed | removed | ok | n
2008-08-18 | 1828 | ok | ok | na | removed | removed | ok | n
2008-08-19 |  |  |  |  | removed | removed |  |  | planned 1-min power outage @ 1600UT
2008-08-20 | 1315 | ok | ok | na | removed | removed | ok | n
2008-08-21 | 1120 | ok | ok | na | removed | removed | ok | n | 2300-2308 Power outage for generator mantenance. AC
2008-08-22 | 1610 | ok | ok | na | removed | removed | ok | n
2008-08-23 | 1310 | rr-bottom 3 | ok | na | removed | removed | ok | n
2008-08-24 | 1635 | ok | ok | na | removed | removed | ok | n
2008-08-25 | 1305 | ok | ok | na | removed | removed | ok | n
2008-08-26 | 1410 | ok | ok | na | removed | removed | ok | n
2008-08-27 | 1207 | ok | ok | na | removed | removed | ok | n
2008-08-28 | 1315 | rr-bottom 3 | ok | na | removed | removed | ok | n
2008-08-29 | 1240 | ok | ok | na | removed | removed | ok | n
2008-08-30 | 1442 | ok | ok | na | removed | removed | ok | n
2008-08-31 | 1400 | ok | ok | na | removed | removed | ok | n
Daily Check Swiss Tower September 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-09-01 | 1305 | ok | ok | na | removed | removed | ok | n
2008-09-02 | 1410 | ok | ok | na | removed | removed | ok | n
2008-09-03 | 1245 | rr 1-3 | ok | na | removed | removed | ok | n
2008-09-04 | 1419 | rr 1-3 | ok | na | removed | removed | ok | n
2008-09-05 | 1715 | rr 1-3 | ok | na | removed | removed | ok | n
2008-09-06 | 1610 | ok | ok | na | removed | removed | ok | n | upper three filters are covered in frost
2008-09-07 | 1505 | rr 1-3 | ok | na | removed | removed | ok | n | upper three filters are covered in frost
2008-09-08 | 1305 | ok | ok | na | removed | removed | ok | n | upper three filters are covered in frost
2008-09-09 | 1325 | ok | ok | na | removed | removed | ok | n | filters 4+6 are covered in frost
2008-09-10 | 1400 | ok | ok | na | removed | removed | ok | n
2008-09-11 | 1536 | ok | ok | na | removed | removed | ok | n | 6th sonic holding arm rimed; sonic too?
2008-09-12 | 1250 | ok | ok | na | removed | removed | ok | n | Same as above
2008-09-13 | 1341 | ok | ok | na | removed | removed | ok | n
2008-09-14 | 1855 | rr-1; 6 rimed | ok | na | removed | removed | ok | n | Top sonic and filter rimed.
2008-09-15 | 1316 | 6 is rimed | ok | na | removed | removed | ok | n | Top sonic tines are clear; arm is rimed.
2008-09-16 | 1300 | frost 1-6 | ok | na | removed | removed | lt frost | n
2008-09-17 | 1700 | ok | ok | na | removed | removed | ok | n | Storm cleans things!
2008-09-18 | 1430 | lt frost all | ok | na | removed | removed | ok | n
2008-09-19 | 1210 | rr: 1-3 | ok | na | removed | removed | ok | n | upper three filters are covered in light frost
2008-09-20 | 1420 | lt frostALL | ok | na | removed | removed | lt frost |  | more frost from #4 up. Lt frost on sonics
2008-09-21 | 1625 | rr: 1-3 | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-09-22 | 1349 | rr: 1-3 | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-09-23 | 1500 | rr: 1-3 | Ok | na | removed | removed | Ok | n | top three filters are covered in frost
2008-09-24 | 1935 | ok | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-09-25 | 1340 | frost-all | ok | na | removed | removed | ok | n
2008-09-26 |  |  |  | na | removed | removed
2008-09-27 | 1135 | rr: 1-3 | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-09-28 | 1650 | frost all | ok | na | removed | removed | frost top | n
2008-09-29 | 1315 | rr: 1-3 | ok | na | removed | removed | few flakes bottom | n | top three filters are covered in frost
2008-09-30 | 1400 | frost all | ok | na | removed | removed | ok | n
Daily Check Swiss Tower October 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-10-01 | 1225 | frost-all | lt frost-all | na | removed | removed | ok | n
2008-10-02 | 1800 | frost-all | lt frost-all | na | removed | removed | ok | n | cleaned filter frost on 1-3 ac
2008-10-03 | 1744 | rr: 1-3 | lt frost-all | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-04 | 1550 | rr-1-3 | lt frost all | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-05 | 1305 | rr: 1-3 | lt frost all | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-06 | 1315 | frost-all | lt frost all | na | removed | removed | ok | n
2008-10-07 | 1400 | frost 3-6 | ok | na | removed | removed | ok | n
2008-10-08 | 1322 | rr: 1-3 | lt frost all | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-09 | 1600 | rr: 1-3 | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-10 | 1320 | rr: 1-3 | lt frost all | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-11 | 1645 | rr: 1-3 | lt frost 3-6 | na | removed | removed | ok | n | top three filters are covered in frost
2008-10-12 | 1830 | rr: 1-3 | ok | na | removed | removed | ok | n
2008-10-13 | 1300 | rr: 1-3 | ok | na | removed | removed | ok | y | top three filters are covered in frost
2008-10-14 | 1450 | rr: 1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-15 | 1320 | rr 1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-16 | 1430 | rr1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-17 | 1530 | rr: 1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-18 | 1540 | rr: 1-3 | lt frost all | na | removed | removed | ok | y | "
2008-10-19 | 1825 | rr-1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-20 | 1312 | rr-1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-21 |  |  |  |  | removed | removed
2008-10-22 |  |  |  |  | removed | removed
2008-10-23 | 1730 | rr:1-3 | lt frost all | na | removed | removed | ok | n
2008-10-24 |  |  |  |  | removed | removed
2008-10-25 | 1447 | rr:1-3 | ok | na | removed | removed | ok | n
2008-10-26 | 1634 | rr:1-3 | lt frost all | na | removed | removed | ok | n | "
2008-10-27 | 1420 | ok | ok | na | removed | removed | ok | n
2008-10-28 | 1520 | lt frost all | ok | na | removed | removed | ok | n
2008-10-29 | 1555 | lt frost all | ok | na | removed | removed | ok | n
2008-10-30 | 1445 |  |  |  | removed | removed |  |  | High winds blowing snow
2008-10-31 | 1614 | r hard ice1-3 | ok | na | removed | removed | ok | n | filters 4-6 look clear
Daily Check Swiss Tower November 2008
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (1-6) | Picture y/n | comments (general maintenance / power outages)
2008-11-01 | 1507 | lt frost all | ok | na | removed | removed | ok | n
2008-11-02 | 1815 | ok | ok | na | removed | removed | ok | n
2008-11-03 | 1500 | rr:1-3 | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-11-04 |  |  |  | na | removed | removed
2008-11-05 | 1805 | lt frost all | ok | na | removed | removed | ok | n
2008-11-06 |  |  |  | na | removed | removed
2008-11-07 | 1352 | rr 1-3 | ok | na | removed | removed | ok | n | top three filters are covered in frost
2008-11-08 | 1157 | rr 1-3 | rr 1-3 | na | removed | removed | ok | n | top three filters are covered in frost
2008-11-09 | 1330 | rr-1-3 | ok | na | removed | removed | ok | n | downloaded 1 mo. Data directly from logger box on tower
2008-11-10 | 1600 | rr 1-3 | rr 1-3 | na | removed | removed | 5 rimed | n | top three filters are covered in frost, Heated 5 has rime on bottom can not see top
2008-11-11 | 1815 | rr 1-3 | rr 1-3 | na | removed | removed | 5 &6 rimed | N | top three filters are covered in frost (and fans?), Heated 5 and 6 have rime on bottom can not see top
2008-11-12 | 1450 | rr 1-3 | rr 1-3 | na | removed | removed | ok | n | top three filters are covered in frost (and fans)
2008-11-13 | 1325 | rr 1-3 | rr 1-3 | na | removed | removed | ok | N
2008-11-14 | 12:50 | rr1-3 | rr 1-3 | na | removed | removed | 6 rimed | n | top three filters are covered in frost (and fans), Heated 6 has rime on bottom can not see top
2008-11-15 | 1307 | rr1-3 | rr 1-3 | na | removed | removed | ok | N | top three filters are covered in frost (and fans)
2008-11-16 | 1234 | ok1-3, 4 rimed | OK | na | removed | removed | 6 rimed | n | top three filters are covered in frost, Heated 6 has rime on bottom can not see top
2008-11-17 | 1255 | rr1-3, 4 rimed | ok | na | removed | removed | 6 rimed | n | top 3 filters rimed
2008-11-18 | 1830 |  |  | na | removed | removed |  |  | 30-40 kt winds
2008-11-19 | 1021 | rr 1-3 | rr 1-3 | na | removed | removed | ok | n
2008-11-20 | 1640 | rr 1-3 | rr 1-3 | na | removed | removed | ok | N
2008-11-21 | 1240 | rr 1-3 | rr 1-3 | na | removed | removed | ok1-5 | N | Could not see HI-6 BLSN
2008-11-22 | 1520 | ok | ok | na | removed | removed | ok1-5 | N
2008-11-23 | 1405 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters rimed
2008-11-24 | 1420 | ok | ok | na | removed | removed | ok | n
2008-11-25 | 1235 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters rimed
2008-11-26 | 1350 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters and fans rimed
2008-11-27 | 1550 | ok | ok | na | removed | removed | ok 1-5 | N
2008-11-28 |  |  |  | na | removed | removed
2008-11-29 | 1240 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters and fans rimed
2008-11-30 | 1315 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters and fans rimed
Daily Check Swiss Tower December 2008
date | time: hhmm | T/RH Filters (1-4) | T/RH Fans (1-4) | Windcups (1-4) | Winddirection (2m) | Windbird,RedCup (2m) | Heated Intruments (2 m) | Picture y/n | comments (general maintenance / power outages)
2008-12-01 | 1739 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters and fans rimed
2008-12-02 | 1545 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters and fans rimed
2008-12-03 | 1455 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | Y | Hi 6 rimed, top 3 filters and fans rimed
2008-12-04 | 1540 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | successfully downloaded tower data
2008-12-05 | 1450 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N
2008-12-06 | 1410 | rr 1-4 | ok | na | removed | removed | ok 1-5 | N
2008-12-07 | 1215 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N
2008-12-08 | 1410 | rr 1-3 | ok | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters and fans rimed
2008-12-09 |  |  |  | na | removed | removed |  |  | condition 1 weather, no daily check
2008-12-10 | 1320 | rr1-3 | ok | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters rimed
2008-12-11 |  |  |  | na | removed | removed |  |  | condition II weather; no daily check
2008-12-12 | 1400 | rr 3 | ok | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters rimed
2008-12-13 | 1715 | ok | ok | na | removed | removed | ok | n
2008-12-14 | 1835 | ok | ok | na | removed | removed | ok | n
2008-12-15 | 1840 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N | Hi 6 rimed, top 3 filters and fans rimed
2008-12-16 | 1515 | rr 1-3 | rr 1-3 | na | removed | removed | ok1-5 | N
2008-12-17 | 1520 | rr 1-3 | ok | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters rimed
2008-12-18 | 2015 | rr 1-3 | ok | na | removed | removed | ok1-5 | n | Hi 6 rimed, top 3 filters rimed
2008-12-19 | 2140 | rr 1-2 | ok | na | removed | removed | ok1-5 | n | Hi 6 rimed, top 3 filters rimed
2008-12-20 | 1515 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | Y | photo of rime on tower (and lack thereof on anemometer)
2008-12-21 | 1250 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters and fans rimed
2008-12-22 | 1335 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters and fans rimed
2008-12-23 | 1850 |  |  | na | removed | removed |  |  | condition 1 weather, no daily check
2008-12-24 | 1300 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters and fans rimed
2008-12-25 | 1405 | rr1-3 | rr 1-3 | na | removed | removed | ok 1-5 | N
2008-12-26 | 1540 | ok | ok | na | removed | removed | ok1-5 | n
2008-12-27 |  |  |  | na | removed | removed |  |  | condition 1 weather, no daily check
2008-12-28 | 1310 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters rimed
2008-12-29 | 1330 | rr-1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n | Hi 6 rimed, top 3 filters rimed
2008-12-30 | 1340 | rr 1-3 | rr 1-3 | na | removed | removed | ok 1-5 | n
2008-12-31 | 1140 | rr 1-3 | ok | na | removed | removed | ok 1-5 | n

## Daily Check Solar Tracker
2008 Daily Check Solar Tracker
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-01-01 | 1120-1130 | ok | rr-all | ok | rr | rr-all | rr
2008-01-02 | 1110-1120 | ok | rr-1,2,4 | ok | ok | rr-all | rr | F3 on Fixed arm replaced and snow removed from tubes
2008-01-03 | 1055-1105 | ok | rr-all | ok | rr | rr-all | rr | 1F1 and 1F2 blew away, replaced
2008-01-04 | 1110-1120 | ok | ok | ok | ok | ok | ok | 35knot winds
2008-01-05 | 1040-1100 | ok | rr-all | ok | ok | rr-all | ok | F2 filters replaced and packed snow removed as much as possible; Snow also removed from F4 tube and F4 filter replaced
2008-01-06 | 1130-1138 | 11cleaned, rest rr | rr-all | ok | rr | rr-all | rr
2008-01-07 | 1125-1135 | ok | rr-all | ok | ok | rr-all | rr
2008-01-08 | 1100-1108 | 11cleaned, rest rr | rr-all | ok | rr | rr-all | rr
2008-01-09 | 1040-1045 | 11cleaned, rest rr | rr-all | I2 cleaned, rest ok | rr | F1 ok, rest rr | rr
2008-01-10 | 1100-115 | rr-all | rr-all | rr-all | rr | rr-all | rr | cut off excess wire on F3 Tube
2008-01-11 | 1100-1108 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-12 | 1055-1105 | rr-all | rr-all | rr-all | rr | rr-all | rr | new ziptie on 1(F1)
2008-01-13 | 1145-1155 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-14 | 1115-1135 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-15 | 1030-1045 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-16 | 0930 | rr-1 | rr-all | rr-all | ok | rr-all | ok
2008-01-17 | 1045-1053 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-18 | 1045-1052 | rr-1 | rr-all | rr-all | rr | rr-all | rr | replaced 1 of F2 shrunk due to cold, replaced F1 broke while rr
2008-01-19 | 1030-1040 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-20 | 1025-1036 | ok | rr-all | ok | rr | rr-all | rr
2008-01-21 | 1105-1115 | rr-1 | rr-all | ok | rr | rr-all | rr
2008-01-22 | 1100-1110 | ok | rr-all | ok | ok | rr-all | ok | replaced 1 of F1 zipties that broke off
2008-01-23 | 1100-1110 | ok | rem. Snow-all | ok | ok | rem. Snow-all | ok | removed snow in F1 and F2 compartments 1520-1530: Removed snow from air intakes on fixed-arm up-facing sensor
2008-01-24 | 1100-1110 | rr-1 | rr-all | ok | ok | rr-all | rr
2008-01-25 | 1035-1045 | rr-1 | rr-all | ok | ok | rr-all | rr
2008-01-26 | 1040-1050 | rr-1 | rr-all | ok | rr | rr-all | tt
2008-01-27 | 1225-1235 | ok | rr-all | ok | rr | rr-all | rr | repl. 1 of F2 on fixed arm, old one crumbled when cleaned
2008-01-28 | 0955 | ok | rr-all | ok | ok | ok | ok
2008-01-29 | 1045-1100 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-30 | 1045-1058 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-01-31 | 1040-1055 | rr-1 | rr-all | rr-all | rr | rr-all | rr
Daily Check Solar Tracker February 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-02-01 | 1110-1120 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-02-02 | 0850 | rr-I1 | rr-all | rr-all | rr | rr-all | rr
2008-02-03 | 1100-1110 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-02-04 | 0915 | rr-I1 | rr-all | rr-all | rr | rr-all | rr | power outage from 1100-1130UTC
2008-02-05 | 0900 | rr-I1 | rr-all | ok | rr | rr-all | rr
2008-02-06 | 1110-1125 | ok | rsnow-all | ok | ok | rsnow-all | ok | removed snow in F1 and F2 compartments and tubes on Fixed arm, winds up to 35 knts
2008-02-07 | 1045-1100 | ok | rr-all | ok | ok | rr-all | ok | removed snow in F1 and F2 comp. and tubes on Fixed arm 0830-0900: troubleshooting solar tracker; 1415UT: Reset drive motor, set in SUN mode
2008-02-08 | 0910 | ok | ok | ok | ok | ok | ok
2008-02-09 | 1900 | ok | ok | ok | ok | ok | ok
2008-02-10 | 0950-1000 | rr-I1&I2 | rr-all | rr-all | rr | ok | ok | Removed snow in fixed arm F3&4 tubes
2008-02-11 | 1015 | ok | rr-all | ok | ok | ok | ok
2008-02-12 | 0945 | ok | rr-all | ok | ok | ok | ok | Tracker fan on I2 not spinning
2008-02-13 | 1550 | ok | ok | ok | ok | ok | ok
2008-02-14 | 1145 | ok | rr-all | ok | ok | ok | ok
2008-02-15 | 0930 | rr-I1 | rr-all | ok | ok | ok | ok
2008-02-16 | 1315 | rr-I1 | rr-all | rr-I1 | rr | rr-all | ok
2008-02-17 | 1630 | ok | rr-all | ok | rr | rr-all | ok
2008-02-18 | 1305 | ok | rr-all | ok | rr | rr-all | ok
2008-02-19 | 1645 | ok | rr-all | ok | ok | rr-all | ok
2008-02-20 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2008-02-21 | 1430 | rr I1 | rr-all | rr-all | rr | rr-all | ok
2008-02-22 | 1355 | rr-I3 | rr-all | rr-I1 | ok | rr-all | rr | Tube looked foggy
2008-02-23 | 1900 | -- | -- | -- | -- | -- | -- | did not clean instruments due to blowing snow and high winds
2008-02-24 | 1400 | -- | -- | -- | -- | -- | -- | did not clean instruments due to blowing snow and high winds
2008-02-25 | 1400 | rr-all | rr-all | rr-all | rr | rr-all | rr
2008-02-26 | 1430 | rr- I1 | rr-all | ok | rr | rr-all | rr
2008-02-27 | 1215 | rr-I1 | rr-all | ok | rr | rr-all | rr | tube was coated in rime, and beneath, frost
2008-02-28 | 1250 | ok | rr-all | ok | ok | rr-all | ok | 3 brief 15 minute power outages in the evening. Backup power remained on in TAWO
2008-02-29 | 1320 | ok | rr-all | ok | light frost, cleaned w/ alcohol | rr-all | ok | took velcro strap off tube on fixed arm and dumped out snow
Daily Check Swiss March 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-03-01 | 1515 | ok | rr-all | ok | removed small amt. of snow | rr-all | ok
2008-03-02 | 1240 | ok | rr-all | ok | ok | rr-all | ok
2008-03-03 | 1345 | ok | rr-all | ok | rr light frost | rr-all | rr
2008-03-04 | 1340 | rr I1 & I3 | rr-all | rr I2 | rr | rr-all | rr | also removed rime from black shadow disk
2008-03-05 | 1215 | ok | rr-all | rrI1 (1245 UT) | removed snow | rr-all | ok
2008-03-06 | 1355 | ok | rr-all | rr I1 | ok | rr-all | rr
2008-03-07 | 1230 | ok | ok | ok | ok | rr-all | ok
2008-03-08 | 1310 | ok | rr-all | ok | ok | ok | rr
2008-03-09 | 1200 | ok | rr-all | ok | ok | rr-all | ok
2008-03-10 | 1325 | ok | replaced F2 | ok | removed snow | rr F2 and F3 | ok
2008-03-11 | 1320 | rr I1 & I3 | rr-all | ok | removed snow | rr-all | ok | rr from fixed arm domes at 1340
2008-03-12 | 1255 | ok | rr-all | ok | ok | ok | rr
2008-03-13 | 1310 | ok | rr-all | ok | removed snow | ok | ok | noted split in wire casing, near fixed arm dome (see photo)
2008-03-14 | 1245 | ok | rr-all | removed snow I1 | ok | rr-all | rr
2008-03-15 | 1245 | ok | rr-all | ok | ok | rr-all | ok
2008-03-16 | 1220 | removed snow I1 | rr-all | ok | ok | rr-all | rr
2008-03-17 | 1330 | ok | rr-all | ok | ok | rr-all | ok
2008-03-18 | 1245 | ok | rr F1&2 | ok | ok | ok | ok
2008-03-19 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2008-03-20 | 1300 | rr-I1 | rr-all | ok | ok | rr-all | ok | rr from fixed arm I1 at 1330
2008-03-21 | 1310 | ok | rr F1 | ok | ok | ok | ok
2008-03-22 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2008-03-23 | 1230 | [6 empty] | 30 kt winds; did not rr from instruments (futile)
2008-03-24 | 1310 | ok | rr-all | ok | ok | rr-all | ok
2008-03-25 | 1300 | ok | rr-all | ok | ok | rr F2 and F3 | ok
2008-03-26 | 1255 | rr I1 | rr-all | rr I1 | ok | rr-all | rr
2008-03-27 | 1235 | ok | ok | ok | ok | ok | ok
2008-03-28 | 1300 | ok | ok | ok | ok | ok | ok
2008-03-29 | 1220 | ok | rr-all | ok | ok | rr-all | rr
2008-03-30 | 1310 | ok | rr-all | ok | ok | rr-all | ok
2008-03-31 | 1350 | ok | rr F1&2 | ok | ok | rr-all | rr
Daily Check Solar Tracker April 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-04-01 | 1210 | rok | rr-all | ok | ok | rr-all | ok
2008-04-02 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2008-04-03 | 1220 | ok | rr-all | ok | ok | rr-all | rr
2008-04-04 | 1230 | ok | ok | ok | ok | ok | ok
2008-04-05 | 1215 | ok | ok | ok | ok | ok | ok
2008-04-06 | 1220 | ok | rr- F1 | ok | ok | rr F2 and F3 | ok
2008-04-07 | 1200 | ok | rr-all | ok | ok | ok | rr
2008-04-08 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2008-04-09 | 1155 | ok | rr-all | ok | ok | rr F2 and F3 | rr
2008-04-10 | 1230-1240 | rr- I1 | rr-all | ok | ok | rr F2 and F3 | ok
2008-04-11 | 1140 | ok | rr-all | ok | ok | ok | rr | rr from fixed arm dome 1 (not glass), and from black solar tracker
2008-04-12 | 1140 | ok | rr F1 & 2 | ok | ok | ok | ok
2008-04-13 | 1130 | ok | rr-all | ok | ok | rr-all | rr | rr from both raised domes (not glass)
2008-04-14 | 1200 | ok | rr-all | ok | ok | rr-all | ok
2008-04-15 | 1245 | ok | rr-all | ok | ok | rr-all | ok | lots of snow behind fixed arm F1 & F2
2008-04-16 | 1120 | ok | rr-all | ok | ok | rr F2 and F3 | ok | lots of snow behind fixed arm F1 & F2
2008-04-17 | 1150 | ok | rr-all | ok | ok | rr-all | ok
2008-04-18 | 1150 | ok | rr F1 & F2 | ok | ok | rr F2 and F3 | ok
2008-04-19 | 1120 | ok | rr F1 & F2 | ok | ok | rr F2 and F3 | ok
2008-04-20 | 1200 | ok | rr-all | ok | ok | rr-all | ok
2008-04-21 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2008-04-22 | 1030 | ok | rr F1 & F2 | ok | ok | rr F2 and F3 | ok
2008-04-23 | 1240 | ok | rr-F1 & F2 | ok | ok | rr F2 and F3 | ok
2008-04-24 | 1135 | ok | rr 1&2 | ok | ok | rr 2 and 3 | ok
2008-04-25 | 1240 | ok | rr F1 & F2 | ok | ok | ok | ok
2008-04-26 | 1215 | ok | ok | ok | ok | ok | ok
2008-04-27 | 1225 | ok | rr F1&F2 | ok | ok | ok | ok
2008-04-28 | 1315 | ok | rr-all | ok | ok | ok | ok
2008-04-29 | 1109 | ok | rr F1&F2 | ok | ok | rr F2 and F3 | ok
2008-04-30 | 1300 | ok | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker May 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-05-01 | 1210 | ok | ok | ok | ok | ok | ok
2008-05-02 | 1200 | ok | rr-1&3 | ok | ok | ok | ok
2008-05-03 | 1120 | ok | rr-all | ok | ok | rr-all | ok
2008-05-04 | 1612 | ok | ok | ok | ok | ok | ok
2008-05-05 | 1422 | ok | rr-all | ok | ok | rr-all | ok
2008-05-06 | 1254 | ok | ok | ok | ok | ok | ok
2008-05-07 | 1350 | ok | rr-all | ok | ok | rr-all | ok
2008-05-08 | 1133 | ok | rr-all | ok | ok | rr-all | ok | Rotating F-3 reinserted after blowing out.
2008-05-09 | 1140 | ok | rr-all | ok | ok | ok | ok
2008-05-10 | 1730 | ok | ok | ok | ok | ok | ok
2008-05-11
2008-05-12 | 1330 | ok | ok | ok | ok | ok | ok
2008-05-13 | 1200 | ok | r snow | ok | ok | r-snow | ok
2008-05-14 | 1115 | ok | rr-all | ok | ok | rr-all | ok
2008-05-15 | 1305 | ok | rr-all | ok | ok | rr-all | ok | 15:14 - 17:43 power outage for maint.
2008-05-16 | 1145 | ok | rr-all | ok | ok | rr-all | ok
2008-05-17 | 1155 | ok | rr-all | ok | ok | rr-all | ok
2008-05-18 | 1350 | ok | ok | ok | ok | ok | ok
2008-05-19 | 1325 | ok | ok | ok | ok | ok | ok
2008-05-20 | 1205 | ok | ok | ok | ok | ok | ok
2008-05-21 | 1205 | ok | ok | ok | ok | ok | ok
2008-05-22 | 1315 | ok | ok | ok | ok | ok | ok
2008-05-23
2008-05-24 | 1220 | ok | rr-all | ok | ok | rr-all | ok | One filter had fallen out.
2008-05-25
2008-05-26 | 1130 | ok | ok | ok | ok | ok | ok
2008-05-27 | 1330 | ok | ok | ok | ok | ok | ok | I2 fan not working
2008-05-28 | 1500 | ok | ok | ok | ok | ok | ok | I2 fan replaced 15:39
2008-05-29 | 1320 | ok | ok | ok | ok | ok | ok
2008-05-30
2008-05-31 | 1135 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker June 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-06-01 | 1459 | ok | rr-all | ok | ok | rr-all | ok
2008-06-02 | 1430 | ok | ok | ok | ok | ok | ok
2008-06-03 | 1120 | ok | ok | ok | ok | ok | ok
2008-06-04 | 1350 | ok | rr-all | ok | ok | rr-all | ok
2008-06-05
2008-06-06 | 1124 | ok | ok | ok | ok | ok | ok
2008-06-07 | 1330 | ok | ok | ok | ok | ok | ok
2008-06-08 | 1400 | ok | ok | snow on shields | ok | rr-all | ok
2008-06-09 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2008-06-10 | 1200 | ok | rr-all | ok | ok | ok | ok
2008-06-11 | 1230 | ok | rr-all | ok | ok | rr-all | r-ice | Harder solid rime on antenna today
2008-06-12 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2008-06-13 | 1125 | ok | ok | ok | ok | ok | ok
2008-06-14 | 1630 | ok | ok | ok | ok | ok | ok
2008-06-15
2008-06-16 | 1150 | ok | f1 missing | ok | ok | f3 missing | ok
2008-06-17 | 1210 | ok | ok | ok | ok | ok | ok
2008-06-18 | 1300 | ok | ok | ok | ok | ok | ok | 1620 power off for panel changes. Back on at 16:44. ac
2008-06-19 | 1230 | ok | rr-all | ok | ok | ok | ok
2008-06-20 | 1230 | ok | ok | ok | ok | ok | ok
2008-06-21 | 1245 | ok | ok | ok | ok | ok | ok
2008-06-22 | 1425 | ok | ok | ok | ok | ok | ok
2008-06-23 | 1220 | ok | ok | ok | ok | ok | ok
2008-06-24 | 1050 | ok | ok | ok | ok | ok | ok
2008-06-25 | 1220 | ok | ok | ok | ok | ok | ok
2008-06-26 | 1315 | ok | rr-all | ok | ok | ok | ok
2008-06-27 | 1140 | ok | r-snow | ok | ok | ok | ok
2008-06-28 | 1345 | ok | ok | ok | ok | ok | ok
2008-06-29 | 1230 | ok | r-snow | ok | ok | ok | ok
2008-06-30 | 1200 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker July 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-07-01 | 1313 | ok | ok | ok | ok | ok | ok
2008-07-02 | 1215 | ok | rr | ok | ok | rr | ok
2008-07-03 | 1244 | ok | ok | ok | ok | ok | ok
2008-07-04 | 1144 | ok | ok | ok | ok | ok | ok
2008-07-05 | 1258 | ok | ok | ok | ok | ok | ok
2008-07-06 | 1300 | ok | ok | ok | ok | ok | ok
2008-07-07 | 1130 | ok | r snow | ok | ok | r snow | ok
2008-07-08 | 1205 | ok | rr-all | ok | ok | rr-all | ok
2008-07-09 | 1145 | ok | rr-all | ok | ok | rr-all | ok
2008-07-10
2008-07-11 | 1220 | ok | ok | ok | ok | ok | ok
2008-07-12 | 1315 | ok | ok | ok | ok | ok | ok
2008-07-13 | 1312 | ok | ok | ok | ok | ok | ok
2008-07-14 | 1225 | ok | rr-all | ok | ok | rr-all | ok
2008-07-15 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2008-07-16 | 1125 | ok | rr-all | ok | ok | rr-all | ok
2008-07-17 | 1140 | ok | ok | ok | ok | ok | ok
2008-07-18 | 1203 | ok | ok | ok | ok | ok | ok
2008-07-19 | 1305 | ok | ok | ok | ok | ok | ok
2008-07-20 | 1424 | ok | rr-all | ok | ok | rr-all | ok
2008-07-21 | 1257 | ok | ok | ok | ok | ok | ok
2008-07-22 | 1342 | ok | ok | ok | ok | ok | ok
2008-07-23 | 1230 | ok | ok | ok | ok | ok | ok
2008-07-24 | 1235 | ok | ok | ok | ok | ok | ok
2008-07-25 | 1045 | ok | ok | ok | ok | ok | ok | Both instruments raised by Swiss
2008-07-26 | 1330 | ok | ok | ok | ok | ok | ok
2008-07-27 | 1300 | ok | ok | ok | ok | ok | ok
2008-07-28 | 1258 | ok | ok | ok | ok | ok | ok
2008-07-29 | 1315 | ok | ok | ok | ok | ok | ok
2008-07-30 | 1320 | ok | ok | ok | ok | ok | ok
2008-07-31 | 1256 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker August 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-08-01 | 1540 | ok | ok | ok | ok | ok | ok
2008-08-02 | 1628 | ok | rr-all | ok | ok | rr-all | ok | 3cm of rime on equipment. Filters cleared, domes ok
2008-08-03 | 1256 | ok | ok | ok | ok | ok | ok
2008-08-04 | 1305 | ok | ok | ok | ok | ok | ok
2008-08-05 | 1151 | ok | ok | ok | ok | ok | ok
2008-08-06 | 1340 | ok | ok | ok | ok | ok | ok
2008-08-07 | 1200 | ok | ok | ok | ok | ok | ok | 2cm of rime on all, filters cleared
2008-08-08 | 1630 | ok | ok | ok | ok | ok | ok
2008-08-09 | 1120 | ok | rr-all | ok | ok | rr-all | ok
2008-08-10 | 1430 | ok | ok | ok | ok | ok | ok
2008-08-11 | 1139 | ok | rr-all | ok | ok | rr-all | ok
2008-08-12 | 1215 | ok | ok | ok | ok | ok | ok
2008-08-13 | 1127 | ok | rr-all | ok | ok | rr-all | ok
2008-08-14 | 1250 | ok | ok | ok | ok | ok | ok
2008-08-15 | 1122 | ok | rr-all | ok | ok | rr-all | ok
2008-08-16 | 1117 | ok | rr-all | ok | ok | rr-all | ok
2008-08-17 | 1300 | ok | ok | ok | ok | ok | ok
2008-08-18 | 1828 | ok | ok | ok | ok | ok | ok
2008-08-19 | 1130 | ok | ok | ok | ok | ok | ok | planned 1-min power outage @ 1600UT
2008-08-20 | 1315 | ok | ok | ok | ok | ok | ok
2008-08-21 | 1123 | ok | ok | ok | ok | ok | ok | 2300-2308 power outage for generator mantenance. Ac
2008-08-22 | 1610 | ok | ok | ok | ok | ok | ok
2008-08-23 | 1255 | ok | rr-all | ok | ok | rr-all | ok
2008-08-24 | 1640 | ok | ok | ok | ok | ok | ok
2008-08-25 | 1800 | ok | ok | ok | ok | ok | ok
2008-08-26 | 1415 | ok | ok | ok | ok | ok | ok
2008-08-27 | 1223 | rr- I1 | rr-F3 | ok | ok | ok | ok
2008-08-28 | 1406 | ok | rr- F1+3 | ok | ok | ok | ok
2008-08-29 | 1247 | ok | rr- F1+3 | ok | ok | ok | ok
2008-08-30 | 1450 | ok | ok | ok | ok | ok | ok
2008-08-31 | 1410 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker September 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-09-01 | 1307 | ok | ok | ok | ok | ok | ok
2008-09-02 | 1415 | ok | ok | ok | ok | ok | ok
2008-09-03 | 1251 | rime I1 | rr-all | oki | ok | rr-all | ok | removed I1 rime with EtOH
2008-09-04 | 1420 | ok | ok | ok | ok | ok | ok
2008-09-05 | 1725 | ok | rr-all | ok | ok | rr-all | ok
2008-09-06 | 1600 | ok | ok | ok | ok | ok | ok
2008-09-07 | 1520 | ok | rr-all | ok | ok | rr-all | rr | Some rime on shrouds
2008-09-08 | 1433 | ok | ok | ok | ok | ok | ok
2008-09-09 | 1442 | ok | rr-F2 | ok | ok | F3 on ground | ok
2008-09-10 | 1430 | ok | ok | ok | ok | ok | ok
2008-09-11 | 1547 | ok | ok | ok | ok | ok | ok
2008-09-12 | 1300 | ok | ok | ok | ok | ok | ok
2008-09-13 | 1350 | ok | ok | ok | ok | ok | ok
2008-09-14 | 1850 | ok | ok | ok | ok | ok | ok
2008-09-15 | 1315 | ok | ok | ok | ok | ok | ok
2008-09-16 | 1245 | ok | ok | ok | ok | ok | ok
2008-09-17 | 1710 | ok | ok | ok | ok | ok | ok
2008-09-18 | 1530 | ok | ok | ok | ok | ok | ok
2008-09-19 | 1253 | ok | rr: all | ok | ok | rr: f3 | ok
2008-09-20 | 1420 | ok | ok | ok | ok | ok | ok
2008-09-21 | 1410 | ok | rr-all | ok | ok | F3 on ground | ok
2008-09-22 | 1600 | frost on #1 | rr-all | rr- shrouds | rr | rr-all | ok
2008-09-23 | 1510 | ok | rr: all | ok | ok | rr: all | ok | some rime on shroud I2
2008-09-24 | 1943 | ok | ok | ok | ok | ok | ok
2008-09-25 | 1800 | ok | ok | ok | ok | ok | ok
2008-09-26
2008-09-27 | 1145 | ok | rr: all | ok | ok | rr F2+F3 | ok
2008-09-28 | 1655 | ok | rr-all | ok | ok | rr-all | ok
2008-09-29 | 1325 | 1 frosted | rr-all | ok | ok | rr-all | ok | Cleaned PSP with ethanol. Ac
2008-09-30 | 1405 | 1 frosted | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker October 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-10-01 | 1300 | 1-frosted | rr-all | ok | ok | rr-all | ok | Cleaned PSP with ethanol. Ac
2008-10-02 | 1740 | OK | rr-all | ok | ok | rr-all | ok
2008-10-03 | 1806 | ok | rr-all | ok | ok | rr-all | ok
2008-10-04 | 1600 | Frost on shrouds2-3 | rr-all | ok | ok | rr-all | ok
2008-10-05 | 1405 | rr shrouds | rr-all | rr- shrouds | ok | rr F2+F3 | ok
2008-10-06 | 1510 | ok | ok | ok | ok | ok | ok
2008-10-07 | 1500 | psp frosted | ok | ok | ok | rr-all | ok | removed snow from enclosure, cleaned with etOH
2008-10-08 | 1340 | frost I1* | rr: all | ok | ok | rr: all | ok | *cleaned I1 with EtOH
2008-10-09 | 1615 | frost I1 + I3* | rr: all | ok | ok | rr: all | ok | *cleaned I1 with EtOH @1745
2008-10-10 | 1315 | Frost on shrouds2-3 | rr-all | ok | frost on direct | rr-all | ok | cleaned direct inst with etoh.
2008-10-11 | 1735 | ok | rr: all | ok | ok | rr:all | ok
2008-10-12 | 1804 | ok | rr F3 | ok | ok | rr F2+F3 | ok
2008-10-13 | 1300 | frost on shroud 1 | ok | ok | ok | ok | ok
2008-10-14 | 1620 | ok | ok | ok | ok | ok | ok
2008-10-15 | 1315 | ok | ok | ok | ok | rr-all | ok
2008-10-16 | 1440 | ok | rr-all | ok | lt frost on direct | rr-all | ok
2008-10-17 | 1555 | rr shroud 1 | rr-all | rr shrouds | ok | rr-all | ok
2008-10-18 | 1612 | rr shrouds* | rr-all | rr shrouds | ok | rr-all | ok | * cleaned I1 with EtOH @1627
2008-10-19 | 1840 | rr shrouds | rr-all | rr-shrouds | ok | rr-all | ok
2008-10-20 | 1300 | rr shrouds | rr-all | rr-shrouds | lt frost on direct | rr-all | ok | Direct Solar cleaned with EtOH
2008-10-21 | 1336 | rr shrouds* | rr-all | ok | ok | rr-all | ok | *cleaned I1 with EtOH @1348
2008-10-22
2008-10-23 | 1727 | ok | rr-all | ok | lt frost on direct | rr-all | ok | Removed frost from direct with brush
2008-10-24
2008-10-25 | 1410 | ok | rr-all | ok | lt frost on direct | rr-all | ok
2008-10-26 | 1644 | rr shrouds | rr-all | ok | ok | rr-all | ok
2008-10-27 | 1510 | ok | rr-all | ok | ok | rr-all | ok
2008-10-28 | 1609 | ok | rr F2,3,4 | ok | ok | ok | ok
2008-10-29 | 1600 | 1 frosted | rr-all | ok | lt frost on direct | orr-all | ok
2008-10-30 | 1500 | [6 empty] | High winds, blowing snow
2008-10-31 | 1620 | ok | rr: all | ok | ok | rr:all | ok
Daily Check Solar Tracker November 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-11-01 | 1517 | r snow from inside I1 shroud 1603 | rr: all | ok | rr with brush | rr: all | ok | Fixed filter 4 (west) blown over to east; repositioned
2008-11-02
2008-11-03 | 1510 | ok | rr:all | ok | ok | ok | ok
2008-11-04
2008-11-05 | 1815 | * | rr-all | * | ok | rr F3 | ok | BLSN couldn't see domes
2008-11-06
2008-11-07 | 1540 | rrI1 | rr-all | ok | rr | rr-all | ok
2008-11-08 | 1207 | ok | rr-all | ok | rr | rr-all | rr | Frost on RD tube removed @
2008-11-09 | 1530 | all fogged | rr-all | all fogged | rr | rr-all | rr | fog on inside of domes; snow removed from filters will clear it up?
2008-11-10 | removed frost from direct with EtOH | I1 fogged-rr dome and shroud of I1 | rr-all | all fogged | rr | rr-all | rr | removed frost from direct with EtOH
2008-11-11 | 1825 | I1 light frost | rr-all | ok | rr | rr-all | rr
2008-11-12 | 1550-1610 | I1 light frost | rr-all | ok | rr | rr-all | rr | removed frost from I1 with EtOH
2008-11-13 | 1320 | I1 light frost | rr-all | ok | rr | rr-all | rr
2008-11-14 | 1250 | rr I1 and I3 | rr-all | ok | rr | rr F2 and F3 | ok
2008-11-15 | 1310 | rr I1 | rr-all | ok | ok | rr-all | rr | removed frost from I1 with EtOH
2008-11-16 | 1242 | OK | rr-all | ok | ok | ok | ok
2008-11-17 | 1300 | I1 light frost | rr-all | ok | ok | rr F2 and F3 | rr
2008-11-18 | 1830 | [6 empty] | 30-40 kt winds
2008-11-19 | 1045 | rr I1 | rr-all | ok | rr | ok | ok | rr w/ ethyl alcohol
2008-11-20 | 1649 | rr I1 | rr-all | ok | rr | ok | rr | rr w/ ethyl alcohol (I1 & tube)
2008-11-21 | 1250 | rrI1 | rr-all | ok | rr | ok | rr | rr w/ EtOH I1
2008-11-22 | 1525 | ok | rr F3&F4 | ok | ok | ok | ok
2008-11-23 | 1410-1425 | rrI1 | rr F3&F4 | ok | rr | ok | ok | rotating arm is pointing 180 deg. In the wrong direction
2008-11-24 | 1420 | ok | ok | ok | rr | ok | ok | rotating arm is pointing 180 deg. In the wrong direction
2008-11-25 | 1250 | rr I1 | rr F3 & F4 | ok | rr | ok | ok | photo taken
2008-11-26
2008-11-27
2008-11-28
2008-11-29 | 1330 | rr I1 | rr I1 | ok | off | rr-all | rr | rr w/ ethyl alcohol I1
2008-11-30 | 1345 | rr I1 | rr I1 | ok | off | rr-all | rr | rr w/ ethyl alcohol I1
Daily Check Solar Tracker December 2008
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2008-12-01 | 1300 | rr I1 | rr-all | ok | off | ok | rr
2008-12-02 | 1630 | rr I1 | rr-all | ok | off | ok | rr | 20:45-20:55: removed casing from dome I1 on fixed arm to remove frost and readjust placement of outer dome
2008-12-03 | 1500 | ok | ok | ok | off | ok | ok
2008-12-04 | 1525 | ok | rr-all | ok | off | ok | ok
2008-12-05 | 1355 | removed snow I1 | rr-all | ok | off | rr | rr
2008-12-06 | 1445 | ok | ok | ok | off | ok | ok
2008-12-07 | 1240 | removed light snow I1 | rr-all | ok | off | ok | rr
2008-12-08 | 1425 | I1 frost | ok | ok | off | ok | ok
2008-12-09 |  |  |  |  | off |  |  | condition 1 weather, no daily check
2008-12-10 | 1335 | OK | rr-all | ok | off | ok | ok
2008-12-11 | 1300 | ok | rr-all | ok | off | rr-all | ok
2008-12-12 | 1415 | ok | ok | ok | off | rr-all | ok
2008-12-13 | 1845 | ok | ok | ok | off | ok | ok
2008-12-14 | 1540 | ok | ok | ok | off | ok | ok
2008-12-15 | 1920 | Removed frost I1 w/ EtOH | rr-all | ok | off | rr-all | rr
2008-12-16 | 1525 | ok | rr F3 | ok | off | ok | ok
2008-12-17 | 1545 | ok | ok | ok | off | rr-all | ok
2008-12-18 | 2010 | ok | ok | ok | off | ok | ok
2008-12-19 | 2115 | I1 removed frost | ok | ok | off | rr-all | rr
2008-12-20 | 1515 | Removed frost I1 w/ EtOH | rr-all | ok | off | ok | rr
2008-12-21 | 1250 | ok | rr-all | ok | off | ok | rr
2008-12-22 | 1345 | rr-all, Removed frost I1 w/EtOH | rr-all | ok | off | rr-all | rr
2008-12-23 | 1850 |  |  |  | off |  |  | condition 1 weather, no daily check
2008-12-24 | 1300 | ok | ok | ok | off | ok | ok
2008-12-25 | 1400 | Removed frost I1 w/ EtOH | rr-all | ok | off | ok | ok
2008-12-26 | 1520 | ok | rr-all | ok | off | ok | ok
2008-12-27 |  |  |  |  | off |  |  | condition 1 weather, no daily check
2008-12-28 | 1335 | ok | rr F1,F3F4 | ok | off | ok | ok
2008-12-29 | 1340 | Removed frost I1 w/ EtOH | rr-all | ok | off | rr-all | rr
2008-12-30 | 1345 | Removed frost I1 w/ EtOH | rr F3 F4 | ok | off | ok | ok
2008-12-31 | 1135 | ok | rr-all | ok | off | rr-all | rr

## Weekly Download SwissTower
2008 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 071231 | 270 | +1s | N | 2109016 | 358 | 1509 | 365 | 0931 | Y
2 | 080107 | 271 | +3s | Y | 147111 | 365 | 0932 | 007 | 0928 | Y
3 | 080114 | 272 | +1sec | N | 332141 | 007 | 0929 | 014 | 0959 | y
4 | 080121 | 273 | +7sec | Y | 516388 | 014 | 1000 | 021 | 0947 | y
5 | 080128 | 274 | 0 | N | 700869 | 021 | 0948 | 028 | 0948 | y
6 | 080204 | 275 | +3sec | Y | 883801 | 028 | 0949 | 035 | 0824 | Y
7 | 080211 | 276 | +2s | Y | 1070112 | 035 | 0825 | 042 | 1005 | Y
8 | 080218 | 277 | 0s | N | 1256657 | 042 | 1006 | 049 | 1159 | Y
9 | 080225 | 278 | 0s | N | 1443896 | 049 | 1200 | 056 | 1430 | Y
10 | 080303 | 279 | +2s | Y | 1628313 | 056 | 1431 | 063 | 1428 | Y
11 | 080310 | 280 | +3s | Y | 1813224 | 063 | 1429 | 070 | 1426 | Y
12 | 080317 | 281 | 0s | N | 1997241 | 070 | 1352 | 077 | 1426 | Y
13 | 080324 | 282 | +2 sec | Y | 34468 | 077 | 1427 | 084 | 1335 | Y
14 | 080331 | 283 | +1s | Y | 220013 | 084 | 1336 | 091 | 1434 | Y
15 | 080407 | 284 | +1s | Y | 402030 | 091 | 1435 | 098 | 1220 | Y
16 | 080414 | 285 | +0s | N | 588260 | 098 | 1221 | 105 | 1357 | Y
17 | 080421 | 286 | +1s | N | 771260 | 105 | 1358 | 112 | 1237 | Y
18 | 080428 | 287 | -3S | Y | 956886 | 112 | 1238 | 119 | 1340 | Y
19 | 080505 | 288 | -1S | N | 1146925 | 119 | 1341 | 126 | 1845 | Y
20 | 080512 | 289 | -1s | N | 1324984 | 126 | 1846 | 133 | 1255 | y
21 | 080519 | 290 | -2s | Y | 1510529 | 133 | 1256 | 140 | 1354 | Y
22 | 080526 | 291 | +1 | N | 1694925 | 140 | 1355 | 147 | 1350 | Y
23 | 080602 | 292 | -3 | Y | 1879691 | 147 | 1351 | 154 | 1407 | Y
24 | 080609 | 293 | +3 | Y | 2062606 | 154 | 1408 | 161 | 1242 | Y
25 | 080616 | 294 | +4 | Y | 100616 | 161 | 1243 | 168 | 1234 | Y
26 | 080623 | 295 | -6 | Y | 285846 | 168 | 1235 | 175 | 1316 | Y
27 | 080630 | 296 | +2 | Y | 468880 | 175 | 1317 | 182 | 1158 | Y
28 | 080707 | 297 | -4 | Y | 65442 | 182 | 1159 | 189 | 1258 | Y
29 | 080714 | 298 | -2 | Y | 839472 | 189 | 1259 | 196 | 1239 | Y
30 | 080721 | 299 | -2 | Y | 1023519 | 196 | 1330 | 203 | 1306 | Y
31 | 080728 | Tower | Inst |  | Serviced |  | NO |  | DATA |  | DOWNLOAD
32 | 080804 | TECH | PROBLEMS | NO | DATA | [5 empty] | Emailed Karl
33 | 080811 | Tech | issues | cont. | New |  | Program | loaded | per | Kar | Tower_08.11.CR1
34
35
36
37
38
39
40
41
42
43
44
45
46 | 081110 | tech | issues | cont. | New | Program | loaded | per | Karl |  | emailed Karl
47 | 0811117 | tech | issues | continue | no new | program | loaded | this | week |  | no new upload
48 | 081124 | tech | issues | continue | no new | program | loaded | this | week |  | no new upload
49 | 081204 |  | Swiss Tower direct_Tower_2008_12_04_15_44_20.dat |  |  | 314 | 1330 | 339 | 1540 | y | direct upload from tower.
50 | 081218 | no | remote | upload | of | tower | data |  |  |  | kh
51 | 081215 | SwissTowerDirect_tower_2008_12_15_1.dat |  |  |  |  | 1330 | 350 | 1830 |  | uploaded new program to datalogger remotely
52

## Weekly Download SolarTracker
2008 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 071231 | 249 | +14s | Y | 746084 | 358 | 1425 | 365 | 0955 | Y
2 | 080107 | 250 | +12 | Y | 1195728 | 365 | 0956 | 007 | 0951 | Y
3 | 080114 | 251 | +12s | Y | 1643788 | 007 | 0952 | 014 | 0911 | y
4 | 080121 | 252 | +19s | Y | 2093476 | 014 | 0912 | 021 | 0906 | y
5 | 080128 | 253 | +11s | Y | 396991 | 021 | 0907 | 028 | 0906 | y
6 | 080204 | 254 | +17s | Y | 845799 | 028 | 0907 | 035 | 0843 | Y
7 | 080211 | 255 | +12s | Y | 1297115 | 035 | 0844 | 042 | 0917 | Y
8 | 080218 | 256 | +8s | Y | 1755163 | 042 | 0918 | 049 | 1224 | Y
9 | 080225 | 257 | +10 | Y | 61758 | 049 | 1225 | 056 | 1334 | Y
10 | 080303 | 258 | +13s | Y | 511666 | 056 | 1335 | 063 | 1336 | Y
11 | 080310 | 259 | +14s | Y | 962234 | 063 | 1337 | 070 | 1252 | Y
12 | 080317 | 260 | +12s | Y | 1411218 | 070 | 1253 | 077 | 1332 | Y
13 | 080324 | 261 | +8s | Y | 1862402 | 077 | 1333 | 084 | 1401 | Y
14 | 080331 | 262 | +1s | Y | 165169 | 084 | 1402 | 091 | 1344 | Y
15 | 080407 | 263 | +16s | Y | 612261 | 091 | 1345 | 098 | 1242 | Y
16 | 080414 | 264 | +0s | N | 1063489 | 098 | 1234 | 105 | 1314 | Y
17 | 080421 | 265 | +5s | Y | 1509481 | 105 | 1315 | 112 | 1147 | Y
18 | 080428 | 266 | +4S | Y | 1962117 | 112 | 1148 | 119 | 1251 | Y
19 | 080505 | 267 | +6 | Y | 277380 | 119 | 1252 | 126 | 1718 | Y
20 | 080512 | 268 | +4 | Y | 713604 | 125 | 1719 | 133 | 1209 | Y
21 | 080519 | 269 | +2 | Y | 1177812 | 133 | 1210 | 140 | 1736 | Y
22 | 080526 | 270 | +1 | N | 1614784 | 140 | 1737 | 147 | 1244 | Y
23 | 080602 | 271 | +4 | Y | 2065836 | 147 | 1245 | 154 | 1310 | Y
24 | 080609 | 272 | +18 | Y | 365919 | 154 | 1311 | 161 | 1152 | Y
25 | 080616 | 273 | +36 | Y | 815387 | 161 | 1153 | 168 | 1144 | Y
26 | 080623 | 274 | -2 | Y | 1267187 | 168 | 1145 | 175 | 1229 | Y
27 | 080630 | 275 | -4 | Y | 1717271 | 175 | 1230 | 182 | 1235 | Y
28 | 080706 | 276 | +3 | Y | 18762 | 182 | 1236 | 189 | 1149 | Y
29 | 080714 | 277 | +1 | Y | 470826 | 189 | 1150 | 196 | 1240 | Y
30 | 080721 | 278 | -6 | Y | 922846 | 196 | 1241 | 203 | 1330 | Y
31 | 080728 | 279 | +2 | Y | 1371170 | 203 | 131 | 210 | 1256 | Y
32 | 080804 | 280 | +5 | Y | 1820726 | 210 | 1257 | 217 | 1248 | Y
33 | 080811 | 281 | -7 | y | 121029 | 217 | 1248 | 224 | 1132 | y
34 | 080819 | 282 | -9 | y | 632117 | 224 | 1133 | 232 | 1024 | y
35 | 080825 | 283 | +/-0 | N | 1036509 | 232 | 1025 | 238 | 1733 | Y
36 | 080901 | 284 | -3 | Y | 1475901 | 238 | 1734 | 245 | 1336 | Y
37 | 080908 | 285 | +/-0 | N | 1922773 | 245 | 1337 | 252 | 1229 | Y
38 | 080915 | 286 | <2 | N | 229764 | 252 | 1230 | 259 | 1348 | Y
39 | 080922 | 287 | +8 | Y | 681168 | 259 | 1349 | 266 | 1424 | Y
40 | 080929 | 288 | +6 | Y | 1129052 | 266 | 1425 | 273 | 1340 | Y
41 | 081006 | 289 | +13 | Y | 1578256 | 273 | 1341 | 280 | 1326 | y
42 | 081013 | 290 | +6 | Y | 2027988 | 280 | 1327 | 287 | 1324 | y
43 | 081020 | 291 | +13 | Y | 333615 | 287 | 1325 | 294 | 1412 | Y
44 | 081027 | 292 | +12 | Y | 785107 | 294 | 1413 | 301 | 1450 | Y
45 | 081103 | 293 | +7 | Y | 1234883 | 301 | 1451 | 308 | 1449 | Y
46 | 081110 | 294 | +9 | Y | 1689983 | 308 | 1450 | 315 | 1649 | Y
47 | 081117 | 295 | +11 | Y | 2131575 | 315 | 1650 | 322 | 1342 | Y
48 | 081124 | 296 | +12s | Y | 437906 | 322 | 1343 | 329 | 1446 | Y
49 | 081201 | 297 | +17s | y | 884118 | 329 | 1447 | 336 | 1322 | y
50 | 081208 | 298 | +6s | y | 1336314 | 336 | 1323 | 343 | 1416 | Y
51 | 081215 | 299 | +10 | y | 1801622 | 343 | 1417 | 350 | 2006 | y
52 | 081222 | 300 | +13sec | Y | 88285 | 350 | 2007 | 357 | 1343 | Y
53 | 081229 | 301 | +10sec | Y | 53773 | 357 | 1344 | 364 | 1335 | Y