## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Daily Swiss Tower Check
2009 Daily Check Swiss Tower
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-01-01 | 1510 | rr 1-4 | rr 1-4 | clear | N
2009-01-02 | 1335 | rr 1-3 | rr 1-3 | clear | N
2009-01-03 | 1350 | rr 1-3 | rr 1-3 | clear | N
2009-01-04 | 1505 | rr 1-3 | rr 1-3 | clear | N
2009-01-05 | 1340 | rr 1-3 | rr 1-3 | clear | N
2009-01-06 | 1140 | rr 1-3 | rr 1-3 | clear | N
2009-01-07 | 1250 | rr 1-3 | rr 1-3 | clear | N
2009-01-08 | 1250 | OK 1-3 | Ok | Clear | N | Filters 4-6 rimed
2009-01-09 | 1400 | rr 1-3 | rr 1-3 | Clear | N | Filters 4-6 rimed
2009-01-10 | 1400 | rr 1-3 | rr 1-3 | clear | N | filters 4-6 rimed
2009-01-11 | 1450 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-12 | 1035 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-13 | 1305 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-14 | 1300 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-15 | [5 empty] | Condition 1, no daily check
2009-01-16 | 1350 | rr 1-2 | rr 1-2 | clear | N | filters 4-6 rimed
2009-01-17 | [5 empty] | Condition 1, no daily check
2009-01-18 | 1300 | OK 1-3 | ok | clear | N | filters 4-6 rimed
2009-01-19 | 1315 | rr 1-3 | ok | clear | N | filters 4-6 rimed
2009-01-20 | 1312 | OK 1-3 | ok | clear | N | filters 4-6 rimed
2009-01-21 | 1510 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-22 | 1800 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-23 | 1315 | rr 1-3 | rr 1-3 | rimed 3 + | N | filters and fans 4-6 rimed; E side of heated instruruments rimed
2009-01-24 | 4-6 | rr 1-3 | rr 1-3 | rimed 3 + | N | filters and fans 4-6 rimed; E side of heated instruruments rimed
2009-01-25 | 1340 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-26 | 1330 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-27 | 1410 | OK 1-3 | ok | clear | N | fitlers 4-6 rimed
2009-01-28 | 1250 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-01-29 | 1250 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed 1335 rr 4 filter and fan
2009-01-30 | 1240 | rr 1-3 | rr 1-3 | clear | N | filters and fans 5-6 rimed
2009-01-31 | 1345 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
Daily Check Swiss Tower February 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-02-01 | 1320 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-02 | 1350 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-03 | 1230 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-04 | 1400 | rr 1-3 | ok | clear | N | filters 5-6 rimed
2009-02-05 | 1350 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-06 | 1055 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-07 | 1055 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-08 | 1055 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-09 | 1040 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-10 | 1155 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-11 | 1520 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-12 | 1230 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-13 | 1230 | rr 1-2 | rr 1-2 | clear | N | filters and fans 4-6 rimed
2009-02-14 | 1255 | rr 1-2 | rr 1-2 | clear | N | filters and fans 3-6 clear
2009-02-15 | 1240 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-16 | 1225 | rr 1-3 | rr 1-3 | clear | N | filters 4-6 rimed; fan 6 rimed
2009-02-17 | 1225 | rr 1-3 | rr 1-2 | clear | N | filters 4-6 rimed; fan 6 rimed
2009-02-18 | 1245 | rr 1-2 | rr 1-2 | clear | N | filters and fans 4-6 rimed
2009-02-19 | 1225 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-20 | 1345 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-21 | 1342 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-22 | 1600 | rr 1-4 | rr 1-4 | clear | N | filters and fans 5-6 rimed
2009-02-23 | 1215 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-24 | 1210 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-02-25 | 1230 | rr 1-3 | rr 1-3 | clear | Y | filters and fans 4-6 rimed
2009-02-26 | 1250 | rr 1-3 | rr 1-3 | clear | Y | filters and fans 4-6 rimed
2009-02-27 | 1240 | rr 1-3 | rr 1-3 | rr 1&2 | N | filters and fans 4-6 rimed
2009-02-28 | 1250 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
Daily Check Swiss Tower March 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-03-01 | 1345 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-02 | 1255 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-03 | 1225 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-04 | 1235 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-05 | 1225 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-06 | 1330 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-07 | [5 empty] | camp medical evac.- did not check instruments
2009-03-08 | 1450 | rr 1-2 | rr 1-2 | clear | N | filters and fans 3-6 rimed
2009-03-09 | 1035 | rr 1-2 | rr 1-2 | clear | N | filters and fans 3-6 rimed
2009-03-10 | 1955 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-11 | 1235 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-12 | 1225 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-13 | 1340 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-14 | 1240 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-15 | 1340 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-16 | 1240 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-17 | 1225 | ok | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-18 | 1235 | rr 1-3 | ok | clear | N | filters and fans 4-6 CLEAR
2009-03-19 | 1245 | rr 1-3 | rr 1-3 | clear | N | filters 4-6 and fans 5-6 rimed
2009-03-20 | 1110 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-21 | 1325 | ok | ok | clear | N | fans 4-6 clear, filters 4-6 rimed
2009-03-22 | 1315 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-23 | 1150 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-24 | 1335 | rr 1-3 | rr 1-3 | frost #4 | N | filters and fans 4-6 rimed
2009-03-25 | 1415 | rr 1-3 | rr 1-3 | clear | N | filters 4-6 rimed, fans 4-6 clear
2009-03-26 | 1235 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-27 | 1210 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-28 | 1240 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-29 | 1250 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-03-30 | 1130 | rr 1-3 | rr 1-3 | clear | N | direct download of tower data
2009-03-31 | 1140 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
Daily Check Swiss Tower April 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-04-01 | 1645 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-02 | 1450 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-03 | 1215 | rr 1-2 | rr 1-2 | clear | N | 3 clear, 4-6 rimed
2009-04-04 | 1320 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-05 | 1215 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-06 | 1200 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-07 | 1115 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed; plug fell out from heated instrument #3
2009-04-08 | 1415 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-09 | 1120 | ok | ok | ok | N | filters and fans 4-6 rimed, 1-3 clear though due to high winds
2009-04-10 | 1200 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-11 | 1340 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-12 | 1700 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-13 | 1200 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-14 | 1145 | rr 1-2 | rr 1-2 | clear | N | filters and fans 4-6 rimed
2009-04-15 | 1115 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-16 | All | Camp | Operations | Suspended | -- | --
2009-04-17 | All | Camp | Operations | Suspended | -- | --
2009-04-18 | All | Camp | Operations | Suspended | -- | --
2009-04-19 | 1920 | ok | ok | clear | N | all fans clear but filters 5 and 6 rimed
2009-04-20 | 1230 | ok | ok | clear | N | all fans clear but filters 5 and 6 rimed
2009-04-21 | 1225 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-22 | 1530 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-23 | 1040 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 heavily rimed
2009-04-24 | 1600 | rr 1-3 | rr 1-3 | clear | N | filters and fans heavily rimed
2009-04-25 | 1115 | rr 1-3 | ok | clear | N | filters 4-6 rimed
2009-04-26 | 1600 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-27 | 1200 | rr 1-3 | rr 1-3 | clear | N | filters and fans 4-6 rimed
2009-04-28 | 1305 | rr 1-3 | ok | clear | N | filters and fans 4-6 rimed
2009-04-29 | 0900 | rr 1-4 | ok | clear | N | filters and fans 4-6 rimed
2009-04-30 | 1115 | ok | ok | clear | N
Daily Check Swiss Tower May 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-05-01 | 0930 | ok | o | ok | N
2009-05-02 | 1140 | 1-4 clear | 1-4 clear | ok | N | filters and fans 5 and 6 rimed
2009-05-03 | 1300 | rr 1-3 | ok | ok | N
2009-05-04 | 1528 | rr 1-3 | ok | ok | n
2009-05-05 | 1538 | ok | ok | ok | N
2009-05-06 | 1123 | rr 1-4 | ok | ok | N
2009-05-07 | 1200 | ok | ok | ok | N
2009-05-08 | 1000 | rr 1-4 | ok | ok | n
2009-05-09 | 1206 | 1-3 ok; 4-6 rimed | ok | ok | N
2009-05-10
2009-05-11 | 2200 | ok | ok | ok | N
2009-05-12 | 1315 | rr 1-4 | ok | ok | N
2009-05-13 | 1220 | ok; #5 rimed | ok | ok | N
2009-05-14 | 1235 | ok | ok | ok | n
2009-05-15 | 1347 | ok | ok | ok | n
2009-05-16 | 1157 | rr 1-4 | ok | ok | n
2009-05-17 | 1410 | rr 1-4 | ok | ok | n
2009-05-18 | 1400 | rr 1-3 | ok | ok | n
2009-05-19 | [5 empty] | Daily records suspended
2009-05-20 | [5 empty] | while Karl and Koni
2009-05-21 | [5 empty] | are in camp working
2009-05-22 | [5 empty] | on instruments
2009-05-23
2009-05-24
2009-05-25
2009-05-26
2009-05-27
2009-05-28
2009-05-29
2009-05-30 | 1210 | rr-1-4 | ok | ok | n | anemometer #2 out for repairs
2009-05-31 | 1300 | ok | ok | ok | n
Daily Check Swiss Tower June 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-06-01 | 1400 | ok | ok | ok | n
2009-06-02 | 0930 | ok | ok | ok | n
2009-06-03 | 1155 | rr-1-4 | ok | ok | n
2009-06-04 | 1355 | rr-1-4 | ok | ok | n
2009-06-05 | 1230 | ok | ok | ok | n
2009-06-06 | 1150 | rr-1-4 | ok | ok | n
2009-06-07 | 1400 | ok | ok | ok | n
2009-06-08
2009-06-09 | 1240 | rr-1-4 | ok | ok | n
2009-06-10 | 1220 | ok | ok | ok | n
2009-06-11 | 1135 | rr 1-4 | ok | ok | n
2009-06-12 | 1310 | rr 1-4 | ok | ok | n
2009-06-13 | 1130 | rr 1-4 | ok | ok | n
2009-06-14 | 1430 | rr-1-4 | Ok | ok | n
2009-06-15 | 1250 | rr 1-4 | ok | ok | n
2009-06-16 | 1300 | ok | ok | ok | n
2009-06-17 | 1130 | rr 1-4 | ok | ok | n
2009-06-18 | 1630 | rr 1-4 | o | ok | n
2009-06-19 | 1330 | rr1-4 | ok | ok | n
2009-06-20 | 1300 | rr1-4 | ok | ok | n
2009-06-21
2009-06-22 | 1245 | rr1-4 | ok | ok | n
2009-06-23 | 1215 | rr1-5 | ok | ok | n
2009-06-24 | 1405 | rr1-4 | ok | ok | n
2009-06-25 | 1340 | rr-1-4 | ok | ok | n
2009-06-26 | 1230 | OK | ok | ok | n
2009-06-27
2009-06-28 | 1710 | ok | ok | ok | n
2009-06-29 | 1210 | rr-1-4 | ok | ok | n
2009-06-30 | 1250 | ok | ok | ok | n
Daily Check Swiss Tower July 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-07-01 | 1145 | ok | ok | ok | n
2009-07-02 | 1300 | ok | ok | ok | n
2009-07-03 | 1400 | ok | ok | ok | n
2009-07-04 | 1600 | ok | ok | ok | n
2009-07-05
2009-07-06 | 1310 | ok | ok | ok | n
2009-07-07 | 1300 | ok | ok | ok | n
2009-07-08 | 1240 | ok | ok | ok | n
2009-07-09
2009-07-10
2009-07-11
2009-07-12
2009-07-13
2009-07-14 | 1130 | rr-1-5 | ok | ok | n
2009-07-15 | [5 empty] | Power outage 11:00-19:00UTC
2009-07-16 | 1330 | ok | ok | ok | n | Camp-wide power outage: 1645-1715UT
2009-07-17 | 1250 | rr 1-4 | ok | ok | n
2009-07-18 | 1710 | ok | ok | ok | n
2009-07-19 | 1910 | ok | ok | ok | n
2009-07-20 | 1300 | ok | ok | ok | n
2009-07-21 | 1330 | ok | ok | ok | n
2009-07-22 | 1410 | ok | ok | ok | n
2009-07-23 | 1345 | ok | ok | ok | n
2009-07-24 | 1230 | ok | ok | ok | n
2009-07-25 | 1330 | ok | ok | ok | n
2009-07-26
2009-07-27 | 1210 | rr 1-4 | ok | ok | n
2009-07-28 | 1345 | ok | ok | ok | n
2009-07-29 | 1230 | ok | ok | ok | n
2009-07-30
2009-07-31 | 1130 | rr 1-2 | ok | ok | n | installed 2m anemometer; added T/RH fan current monitor on channel 10
Daily Check Swiss Tower August 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-08-01 | 1240 | ok | ok | ok | n
2009-08-02 | 1115 | oK | ok | ok | n
2009-08-03 | 1300 | ok | ok | ok | n
2009-08-04
2009-08-05
2009-08-06
2009-08-07 | 1540 | ok | ok | ok | n
2009-08-08 | 1110 | ok | ok | ok | n
2009-08-09 | 1742 | oK | ok | ok | n
2009-08-10
2009-08-11 | 1131 | OK | ok | ok | n
2009-08-12
2009-08-13 | 1848 | rr1-3 | ok | ok | n
2009-08-14 | 1118 | rr1-3 | ok | ok | n
2009-08-15 | 1213 | rr1-3 | ok | ok | n
2009-08-16 | 1259 | rr1-3 | ok | ok | n
2009-08-17 | 1121 | rr2-3 | ok | ok | n
2009-08-18 | 1244 | rr1-3 | ok | ok | n
2009-08-19
2009-08-20 | 1210 | rr1-4 | ok | ok | n
2009-08-21 | 1257 | rr1-3 | ok | ok | n
2009-08-22 | 1123 | ok | ok | ok | n
2009-08-23 | 1356 | rr1-3 | ok | ok | n
2009-08-24 | 1212 | rr1-3 | ok | ok | n
2009-08-25 | 1126 | rr1-3 | ok | ok | n
2009-08-26 | 1256 | ok | ok | ok | n
2009-08-27 | 1235 | rr1-3 | ok | ok | n
2009-08-28 | 0930 | rr1-3 | ok | ok | n
2009-08-29 | 1324 | rr1-3 | ok | ok | n
2009-08-30 | 1315 | rr1-3 (4-6ok) | ok | ok | n
2009-08-31 | 1247 | rr1-3(6 ok) | ok | ok | n
Daily Check Swiss Tower September 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-09-01 | 1155 | ok | ok | ok | n
2009-09-02 | 1219 | rr1-3 | ok | ok | n
2009-09-03 | 1223 | rr1-3 | ok | ok | n
2009-09-04 | 1323 | rr1-3 | ok | ok | n
2009-09-05 | 1228 | rr1-3(6 ok) | ok | ok | n
2009-09-06 | 1224 | rr1-3 | ok | ok | n
2009-09-07 | 1233 | rr1-3 | ok | ok | n
2009-09-08 | 1136 | rr1-3 | ok | ok | n
2009-09-09 | 1219 | rr1-3 | ok | ok | n
2009-09-10 | 1312 | rr1-3 | ok | rr1 | n
2009-09-11 | 1235 | ok | ok | ok | n
2009-09-12 | 1223 | ok | ok | ok | n
2009-09-13 | 1232 | ok | ok | ok | n
2009-09-14 | 1223 | ok | ok | ok | n
2009-09-15 | 1209 | rr1-3 | ok | ok | n
2009-09-16 | 1237 | rr1-3 | ok | ok | n
2009-09-17 | 1233 | rr1-3 | ok | ok | n
2009-09-18 | 1241 | rr1-3 | ok | ok | n
2009-09-19 | 1210 | rr1-3 | ok | ok | n
2009-09-20 | 1336 | rr1-3 | ok | ok | n
2009-09-21 | 1233 | rr1-3 | ok | ok | n
2009-09-22 | 1236 | rr1-3 | ok | ok | n
2009-09-23 | 1436 | rr1-3 | ok | ok | n
2009-09-24 | 1214 | rr1-3 | ok | ok | n
2009-09-25 | 1302 | ok | ok | ok | n
2009-09-26 | 1250 | oK | ok | ok | n
2009-09-27 | 1342 | rr1-3 | ok | ok | n
2009-09-28 | 1235 | rr1-3 | ok | ok | n
2009-09-29 | 1257 | rr1-3 | ok | ok | n
2009-09-30 | 1221 | rr1-3 | ok | ok | n
Daily Check Swiss Tower October 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-10-01 | 1251 | rr1-3 | ok | ok | n
2009-10-02 | 1223 | rr1-3 | ok | ok | n
2009-10-03 | 1228 | rr1-3 | ok | ok | n
2009-10-04 | 1233 | ok* | ok | ok | n | *lots of frost on 4-6
2009-10-05 | 1309 | rr1-3 | ok | ok | n
2009-10-06 | 1252 | ok* | ok | ok | n | *lots of frost on 4-6
2009-10-07 | 1223 | rr1-3 | ok | ok | n
2009-10-08 | 1325 | ok* | ok | ok | n | *lots of frost on 4-6
2009-10-09 | 1331 | rr1-3 | ok | ok | n
2009-10-10 | 1258 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-10-11 | 1221 | ok | ok | ok | n
2009-10-12 | 1330 | ok* | ok | ok | n | *lots of frost on 4+5
2009-10-13 | 1410 | ok* | ok | ok | n | *lots of frost on 4+5
2009-10-14 | 1338 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-10-15 | 1257 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-10-16 | 1339 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-10-17 | 1316 | rr1-3* | ok | ok | n | *lots of frost on 5
2009-10-18 | 1319 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-10-19 | 1457 | rr1-3* | ok | ok | n | *lots of frost on 4+5, some on 6
2009-10-20 | 1252 | rr1-3* | ok | ok | n | *lots of frost on 4+5, some on 6
2009-10-21 | 1320 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-22 | 1255 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-23 | 1518 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-24 | 1256 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-25 | 1400 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-26 | 1327 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-27 | 1347 | rr1-3* | ok | rr1+2 | n | *lots of frost on 4-6
2009-10-28 | 1411 | rr1-3* | ok | ok | n | *lots of frost on 4-6
2009-10-29 | 1228 | rr1-3* | ok | frost on 1-3 | n | *lots of frost on 4-6
2009-10-30 | 1403 | ok | ok | ok | n | wind event has knocked off much frost
2009-10-31 | 1425 | ok | ok | ok | n
Daily Check Swiss Tower November 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-11-01 | 1338 | rr1-3 | ok | ok | n
2009-11-02 | 1351 | rr1-3 | ok | ok | n
2009-11-03 | 1304 | rr1-3 | ok | ok | n
2009-11-04 | 1529 | ok | ok | ok | n
2009-11-05 | 1454 | ok | ok | ok | n
2009-11-06 | 1456 | ok | ok | ok | n | brief station power outages: ~1830 and 1935
2009-11-07 | 1301 | ok | ok | ok | n
2009-11-08 | 1735 | ok | ok | ok | n
2009-11-09 | 1404 | rr1-3 | ok | ok | n
2009-11-10 | 1338 | ok | ok | ok | n
2009-11-11 | 2041 | rr1-3 | ok | ok | n
2009-11-12 | 1405 | ok | ok | ok | n | rr - snow depth sensor
2009-11-13 | 1422 | ok | ok | ok | n
2009-11-14 | 1822 | rr1-3 | ok | ok | n
2009-11-15 | 1251 | rr1-3 | ok | ok | n
2009-11-16 | 1247 | rr1-2 | ok | ok | n
2009-11-17 | 1233 | ok | ok | ok | n
2009-11-18 | 1257 | rr1-3 | ok | ok | n
2009-11-19 | 1411 | ok | ok | ok | n
2009-11-20 | 1241 | rr1-3 | ok | ok | n
2009-11-21 | 1200 | ok | ok | ok | n
2009-11-22 | 1230 | rr1-3 | ok | ok | n
2009-11-23 | 1254 | rr1-3 | ok | ok | n
2009-11-24 | 1241 | rr1-3* | ok | ok | n | *lots of frost on 5
2009-11-25 | 1202 | rr1-3* | ok | ok | n | *lots of frost on 5
2009-11-26 | 1116 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-11-27 | 1225 | rr1-3* | ok | rr1+2 | n | *lots of frost on 5
2009-11-28 | 1221 | rr1-3 | ok | ok | n
2009-11-29 | 1224 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-11-30 | 1237 | rr1-3 | ok | ok | n | *lots of frost on 4+5
Daily Check Swiss Tower December 2009
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2009-12-01 | 1237 | rr1-3 | ok | ok | n | *lots of frost on 4+5
2009-12-02 | 1251 | rr1-3 | ok | ok | n | *lots of frost on 4+5
2009-12-03 | 1402 | rr1-3 | ok | ok | n | *lots of frost on 4+5
2009-12-04 | 1245 | rr1-3 | ok | ok | n
2009-12-05 | 1316 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-12-06 | 1145 | rr1-3* | ok | ok | n | *lots of frost on 4+5
2009-12-07 | 1309 | rr1-3 | ok | ok | n | *lots of frost on 4+5
2009-12-08 | 1214 | ok | ok | ok | n | *lots of frost on 4+5
2009-12-09 | 1115 | rr1-3 | 1-4 ok | 1-3 ok | n | Upper tower not visible due to darkness.
2009-12-10 | 1225 | ok | ok | ok | n | *lots of frost on 4+5
2009-12-11 | 1354 | rr1-3 | ok | ok | n | *lots of frost on 4+5
2009-12-12 | 1315 | rr1-3 | ok | ok | n | wind event has knocked off much frost
2009-12-13 | 1256 | ok | ok | ok | n
2009-12-14 | 1240 | ok | ok | ok | n
2009-12-15 | 1229 | ok | ok | ok | n | 1458 unplanned power outage
2009-12-16 | 1308 | rr1 | ok | ok | n
2009-12-17 | 1217 | rr1-3 | ok | ok | n
2009-12-18 | 1244 | rr1-3 | ok | ok | n
2009-12-19 | 1307 | rr1-3 | ok | ok | n
2009-12-20 | 1344 | rr1-3 | ok | ok | n
2009-12-21 | 1222 | rr1-3 | ok | ok | n
2009-12-22 | 1250 | rr1-3 | ok | ok | n
2009-12-23 | 1211 | rr1-3 | ok | ok | n
2009-12-24 | 1234 | ok | ok | ok | n
2009-12-25 | 1230 | rr1-3 | ok | ok | n
2009-12-26 | 1251 | rr1-3 | ok | ok | n
2009-12-27 | 1248 | rr1-3 | ok | ok | n
2009-12-28 | 1343 | rr1-3 | ok | ok | n
2009-12-29 | 1251 | rr1-3 | ok | ok | n
2009-12-30 | 1230 | rr1-3 | ok | ok | n
2009-12-31 | 1242 | rr1-3 | see note | ok | n | Lots of frost on filters 4-6

## Daily Solar Tracker Check
2009 Daily Check Solar Tracker
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-01-01 | 1500 | rr I1 & I3 | rr-all | ok | rr | rr F2&F3 | rr | rr with ethanol
2009-01-02 | 1340 | rrI1 | rr F1&F2 | ok | ok | rr F1&F3 | rr
2009-01-03 | 1340 | ok | rr-all | ok | ok | rr-all | rr
2009-01-04 | 1445 | rrI1 | rr F1&F2 | ok | ok | rr-all | rr
2009-01-05 | 1335 | rr I1 w/ EtOH | rr-all | ok | ok | rr-all | rr
2009-01-06 | 1135 | rr I1 w/ EtOH | ok | ok | ok | ok | rr
2009-01-07 | 1250 | rr I1 w/ EtOH | rr F1&F2 | ok | ok | ok | rr
2009-01-08 | 1300 | rr I1 w/ EtOH | rr-all | ok | ok | rr-all | rr
2009-01-09 | 1400 | rr I1 w/ EtOH | rr F1&F2 | ok | ok | ok | rr
2009-01-10 | 1405 | rr I1 w/ EtOH | rr-all | ok | ok | ok | ok
2009-01-11 | 1545 | rr I1 w/ EtOH; rr I3 | rr-all | ok | ok | rr-all | rr
2009-01-12 | 1040 | rr I1 w/ EtOH | rr F1&F2 | ok | ok | rr-all | rr
2009-01-13 | 1310 | rr I1 w/ EtOH | rr F1&F2 | ok | ok | rr-all | rr
2009-01-14 | 1300 | rr I1 w/ EtOH | rr-all | ok | rr | rr-all | rr
2009-01-15 | [7 empty] | Condition 1, no daily check
2009-01-16 | 1440 | ok | rr F1&F2 | ok | ok | rr-all | ok
2009-01-17 | [7 empty] | Condition 1, no daily check
2009-01-18 | 1310 | rr I1 w/ EtOH | rr-all | ok | rr | rr-all | rr | Direct solar radiation tube started tracking sun
2009-01-19 | 1315 | rr I1 | rr F1&F2 | rr I2 | ok | rr-all | rr
2009-01-20 | 1318 | rr I1 w/ EtOH | rr F1&F2 | ok | ok | rr-all | ok
2009-01-21 | 1520 | rr I1& I3 w/ EtOH | rr-all | rr I2 w/ EtOH | rr w/EtOH | rr-all | rr
2009-01-22 | 1745 | rr I2 &I3 rr I1 w/ EtOH | rr-all | rr I2 w/ EtOH | rr | rr-all | rr
2009-01-23 | 1325 | rr I1 and I3 w/ EtOH | rr-all | rr I2 w/ EtOH | rr | ok | rr
2009-01-24 | 1435 | rr I1 and I3 w/ EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-01-25 | 1340 | rr I1 and I3 w/ EtOH | rr-all | rr I2 w/ EtOH | rr w/EtOH | rr-all | rr
2009-01-26 | 1445 | rrI1 | rr-all | ok | rr | rr-all | rr | no ethanol used to clean
2009-01-27 | 1420 | ok | rr-all | ok | rr | rr-all | rr
2009-01-28 | 1245 | rrI1 | rr-all | ok | rr | rr-all | rr
2009-01-29 | 1250 | rr I1 w/ EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-01-30 | 1245 | ok | rr F1&F2 | ok | rr | rr-all | rr
2009-01-31 | 1325 | ok | rr F1&F2 | ok | rr | rr-all | ok
Daily Check Solar Tracker February 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-02-01 | 1320 | rr I1, I2,I3 | rr-all | OK | rr | rr-all | rr
2009-02-02 | 1340 | rr I1, I2,I3 | rr-all | OK | rr | rr-all | rr
2009-02-03 | 1235 | rr I1 w/ EtOH | rr-all | ok | rr w/ EtOH | rr-all | rr
2009-02-04 | 1400 | rr I1 w/ EtOH | rr F1&F2 | ok | rr | rr-all | rr
2009-02-05 | 1355 | rr I1 w/ EtOH, rr I2 | rr-all | rr I1 w/ EtOH | rr w/ EtOH | rr f1 and f2 | rr
2009-02-06 | 1055 | rr I1 | rr F1&F2 | ok | ok | rr-all | rr
2009-02-07 | 1100 | rr I1& I3 w/ EtOH | rr-all | ok | rr | rr F2&F3 | rr
2009-02-08 | 1055 | rr I1 | rr-all | ok | rr | rr-all | ok
2009-02-09 | 1055 | rr I1 w/ EtOH | rr-all | ok | rr w/ EtOH | rr-all | rr
2009-02-10 | 1210 | rr I1 w/ EtOH, RR I2 & I3 | rr-all | ok | rr | rr-all | rr
2009-02-11 | 1540 | rr 11 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-12 | 1246 | rr 11 w/EtOH | rr-all | rr I1 | rr w/EtOH | rr-all | rr
2009-02-13 | 1230 | rr 11 w/EtOH | rr-all | ok | rr | rr-all | rr
2009-02-14 | 1305 | ok | rr-all | ok | rr | rr-all | rr
2009-02-15 | 1240 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-16 | 1225 | ok | rr-all | ok | ok | rr-all | rr
2009-02-17 | 1230 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-18 | 1245 | ok | rr-all | ok | ok | rr-all | ok
2009-02-19 | 1225 | rr I1 w/EtOH | rr-all | rr all w/EtOH | rr w/EtOH | rr-all | rr
2009-02-20 | 1345 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-21 | 1355 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-22 | 1558 | rr I1 w/EtOH | rr-all | ok | ok | rr-all | rr
2009-02-23 | 1215 | rr I1 w/EtOH | rr-all | ok | ok | rr-all | rr
2009-02-24 | 1220 | rr I1 w/EtOH | rr-all | rr-all w/EtOH | rr w/EtOH | rr-all | rr
2009-02-25 | 1235 | rr I1 w/EtOH | rr-all | rr-all w/EtOH | rr w/EtOH | rr-all | rr
2009-02-26 | 1225 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-27 | 1240 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-02-28 | 1300 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr | brief power outage at 1936 GMT (<1 min)
Daily Check Swiss March 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-03-01 | 1430 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-02 | 1330 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-03 | 1235 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-04 | 1245 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-05 | 1245 | rr I1 w/EtOH | rr-all | ok | rr | rr-all | rr
2009-03-06 | 1345 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-07 | [7 empty] | camp medial evac - did not check instruments
2009-03-08 | 1510 | rr I1 w/EtOH | rr-all | rr | rr | rr-all | rr
2009-03-09 | 1040 | rr I1 w/EtOH | rr-all | rr | rr | rr-all | rr
2009-03-10 | 1945 | ok | rr-all | ok | ok | rr-all | rr
2009-03-11 | 1240 | rr I1 w/EtOH | rr-all | ok | rr | rr-all | rr
2009-03-12 | 1235 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-13 | 1355 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-14 | 1240 | rr I1 w/EtOH | rr-all | rr I1 | rr w/EtOH | rr-all | rr
2009-03-15 | 1350 | rr I1 w/EtOH | rr-all | ok | rr | rr-all | rr
2009-03-16 | 1325 | rr I1 w/EtOH | rr-all | ok | rr | rr-all | rr
2009-03-17 | 1225 | ok | rr-all | ok | ok | rr-all | rr
2009-03-18 | 1240 | ok | ok | ok | rr | rr-all | ok | v. little rime on instruments/filters
2009-03-19 | 1340 | rr I1 w/EtOH | rr-all | ok | ok | rr-all | rr
2009-03-20 | 1115 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-21 | 1340 | ok | rr-all | ok | ok | rr-all | ok
2009-03-22 | 1325 | ok | rr-all | ok | ok | rr-all | ok
2009-03-23 | 1200 | ok | rr-all | ok | rr w/EtOH | rr-all | ok
2009-03-24 | 1325 | rr I1 | rr-all | ok | ok | rr-all | rr
2009-03-25 | 1425 | rr I1 w/EtOH | rr-all | rr | rr w/EtOH | rr-all | rr
2009-03-26 | 1242 | rr I1 | rr-all | ok | ok | rr-all | rr
2009-03-27 | 1220 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-03-28 | 1250 | ok | rr-all | ok | ok | rr-all | ok
2009-03-29 | 1300 | rr I1 w/EtOH | rr-all | ok | ok | rr-all | ok
2009-03-30 | 1150 | ok | rr-all | ok | ok | rr-all | ok
2009-03-31 | 1210 | rr I1 w/EtOH | rr-all | rr | rr w/EtOH | rr-all | rr
Daily Check Solar Tracker April 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-04-01 | 1645 | rr I1 w/EtOH | rr-all | ok | ok | rr-all | ok
2009-04-02 | 1445 | ok | rr-all | ok | ok | rr-all | ok
2009-04-03 | 1220 | ok | rr-all | ok | ok | rr-all | ok
2009-04-04 | 1335 | rr I1 w/EtOH | rr-all | ok | rr w/EtOH | rr-all | rr
2009-04-05 | 1200 | rr I1 | rr-all | ok | rr I2 | rr-all | ok
2009-04-06 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2009-04-07 | 1128 | ok | rr-all | ok | ok | rr F1 and F2 | rr
2009-04-08 | 1413 | ok | rr-all | ok | ok | ok | ok
2009-04-09 | 1130 | ok | ok | ok | ok | ok | ok
2009-04-10 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2009-04-11 | 1350 | ok | rr-all | ok | ok | rr-all | ok
2009-04-12 | 1711 | ok | rr-all | ok | ok | rr-all | ok
2009-04-13 | 1210 | ok | rr-all | ok | ok | rr-all | ok
2009-04-14 | 1150 | ok | rr-all | ok | ok | ok | ok
2009-04-15 | 1120 | ok | rr-all | ok | ok | rr-all | ok
2009-04-16 | All | Camp | Operations | Suspended | -- | -- | --
2009-04-17 | All | Camp | Operations | Suspended | -- | -- | --
2009-04-18 | All | Camp | Operations | Suspended | -- | -- | --
2009-04-19 | 1920 | ok | ok | ok | ok | ok | ok
2009-04-20 | 1235 | ok | ok | ok | ok | ok | ok
2009-04-21 | 1230 | rr I1 | rr-all | rr I2 | ok | ok | ok
2009-04-22 | 1530 | ok | rr-all | ok | ok | rr-all | ok
2009-04-23 | 1047 | rrI1 | rr-all | ok | ok | rr-all | ok
2009-04-24 | 1645 | ok | rr-all | ok | ok | rr-all | ok
2009-04-25 | 1115 | ok | rr-all | ok | ok | rr-all | ok
2009-04-26 | 1610 | ok | rr-all | ok | ok | rr-all | ok
2009-04-27 | 1205 | ok | rr-all | rr I2 | ok | rr-all | rr
2009-04-28 | 1315 | ok | ok | ok | ok | ok | ok
2009-04-29 | 0945 | ok | ok | ok | ok | ok | ok
2009-04-30 | 1115 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker May 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-05-01 | 0925 | rrI1 | replaced 1 and 2 | ok | ok | ok | ok | replaced fixed arm filters 1 and 2
2009-05-02 | 1145 | ok | ok | ok | ok | ok | ok
2009-05-03 | 1305 | ok | rr-all | ok | ok | rr-all | ok
2009-05-04 | 1845 | ok | rr-all | ok | ok | ok | ok
2009-05-05 | 1730 | ok | ok | ok | ok | ok | ok
2009-05-06 | 1217 | ok | rr-all | ok | ok | rr-all | ok
2009-05-07 | 1150 | ok | rr-all | ok | ok | ok | ok
2009-05-08 | 1030 | ok | ok | ok | ok | ok | ok
2009-05-09 | 1211 | ok | ok | ok | ok | ok | ok
2009-05-10 | 1145 | ok | rr-all | ok | ok | rr-all | ok
2009-05-11 | 2115 | ok | ok | ok | ok | ok | ok
2009-05-12 | 1325 | ok | ok | ok | ok | ok | ok
2009-05-13 | 1210 | ok | ok | ok | ok | ok | ok
2009-05-14 | 1215 | ok | ok | ok | ok | rr-3 | ok
2009-05-15 | 1340 | ok | ok | ok | ok | ok | ok
2009-05-16 | 1155 | rr-1 | rr-all | ok | ok | rr-all | ok
2009-05-17 | 1400 | ok | ok | ok | ok | ok | ok
2009-05-18 | [7 empty] | Daily checks suspended
2009-05-19 | [7 empty] | While Karl and Koni
2009-05-20 | [7 empty] | Are in camp
2009-05-21 | [7 empty] | working on instruments
2009-05-22
2009-05-23
2009-05-24
2009-05-25
2009-05-26
2009-05-27
2009-05-28
2009-05-29
2009-05-30 | 1203 | ok | rr-all | ok | rr-all | rr-all | ok
2009-05-31 | 1255 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker June 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-06-01 | 1400 | ok | ok | ok | ok | ok | ok
2009-06-02 | 0935 | ok | ok | ok | ok | ok | ok
2009-06-03 | 1205 | ok | rr-all | ok | ok | rr-all | ok
2009-06-04 | 1405 | ok | rr-all | ok | ok | rr-all | ok
2009-06-05 | 1230 | ok | ok | ok | ok | ok | ok
2009-06-06 | 1145 | ok | rr-all | ok | ok | rr-all | ok
2009-06-07 | 1410 | ok | ok | ok | ok | ok | ok
2009-06-08 | 1445 | ok | ok | ok | ok | ok | ok
2009-06-09 | 1235 | ok | rr-all | ok | ok | rr-all | ok
2009-06-10 | 1200 | ok | ok | ok | ok | ok | ok
2009-06-11 | 1120 | ok | rr-all | ok | ok | rr-all | ok
2009-06-12 | 1315 | ok | rr-all | ok | ok | rr-all | ok
2009-06-13 | 1135 | ok | rr-all | ok | ok | rr-all | ok
2009-06-14 | 1430 | ok | rr-all | ok | ok | rr-all | ok
2009-06-15 | 1225 | ok | ok | ok | ok | ok | ok
2009-06-16 | 1235 | ok | ok | ok | ok | ok | ok
2009-06-17 | 1120 | ok | rr-all | ok | ok | rr-all | ok
2009-06-18 | 1600 | ok | rr-all | ok | ok | rr-all | ok
2009-06-19 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2009-06-20 | 1220 | ok | rr-all | ok | ok | rr-all | ok
2009-06-21
2009-06-22 | 1130 | ok | rr-all | ok | ok | rr-all | ok
2009-06-23 | 1210 | ok | rr-all | ok | ok | rr-all | ok
2009-06-24 | 1400 | ok | rr-all | ok | ok | rr-all | ok
2009-06-25 | 1335 | ok | rr-all | ok | ok | rr-all | ok
2009-06-26 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2009-06-27
2009-06-28 | 1700 | ok | ok | ok | ok | ok | ok
2009-06-29 | 1200 | ok | rr-all | ok | ok | rr-all | ok
2009-06-30 | 1255 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker July 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-07-01 | 1140 | ok | ok | ok | ok | ok | ok
2009-07-02 | 1250 | ok | ok | ok | ok | ok | ok
2009-07-03 | 1345 | ok | ok | ok | ok | ok | ok
2009-07-04 | 1610 | ok | ok | ok | ok | ok | ok
2009-07-05
2009-07-06 | 1235 | ok | ok | ok | ok | ok | ok
2009-07-07 | 1315 | ok | ok | ok | ok | ok | ok
2009-07-08 | 1235 | ok | ok | ok | ok | ok | ok
2009-07-09
2009-07-10
2009-07-11
2009-07-12
2009-07-13
2009-07-14 | 1240 | ok | rr-all | ok | ok | rr-all | ok
2009-07-15 | [7 empty] | Power outage 11:00-19:00UTC
2009-07-16 | 1325 | ok | ok | ok | ok | ok | ok | Camp-wide power outage: 1645-1715UT
2009-07-17 | 1255 | ok | rr-all | ok | ok | rr-all | ok
2009-07-18 | 1705 | ok | ok | ok | ok | ok | ok
2009-07-19 | 1900 | ok | ok | ok | ok | ok | ok
2009-07-20 | 1210 | ok | ok | ok | ok | ok | ok
2009-07-21
2009-07-22 | 1345 | ok | ok | ok | ok | ok | ok
2009-07-23 | 1315 | ok | ok | ok | ok | ok | ok
2009-07-24 | 1215 | ok | ok | ok | ok | ok | ok
2009-07-25 | 1230 | ok | ok | ok | ok | ok | ok
2009-07-26
2009-07-27 | 1150 | ok | rr-all | ok | ok | rr-all | ok
2009-07-28 | 1350 | ok | ok | ok | ok | ok | ok
2009-07-29 | 1225 | ok | ok | ok | ok | ok | ok
2009-07-30
2009-07-31 | 1140 | ok | ok | ok | ok | ok | ok
Daily Check Solar Tracker August 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-08-01 | 1220 | ok | ok | ok | ok | ok | ok
2009-08-02 | 1105 | ok | ok | ok | ok | ok | ok
2009-08-03 | 1200 | ok | ok | ok | ok | ok | ok
2009-08-04
2009-08-05
2009-08-06
2009-08-07 | 1600 | ok | ok | ok | ok | ok | ok | light snow (ls) on both multi-channel normal-incidence pyroheliometers
2009-08-08 | 1115 | ok | ok | ok | ok | ok | ok
2009-08-09 | 1800 | ok | ok | ok | ok | ok | ok
2009-08-10
2009-08-11 | 1138 | ok | ok | ok | ok | ok | ok
2009-08-12
2009-08-13 | 1856 | ok | rr1+2 | ok | ok | rr F2+3 | ok
2009-08-14 | 1124 | ok | ok | ok | ok | ok | ok
2009-08-15 | 1236 | ok | rr1+2 | ok | ok | rr2+3 | ok
2009-08-16 | 1309 | rr1 shroud | rr1+2 | rr2 shroud | ok | rr2+3 | ok
2009-08-17 | 1138 | ok | ok | ok | ok | ok | ok
2009-08-18 | 1251 | ok | ok | ok | ok | ok | ok
2009-08-19 | [7 empty] | PFRs removed
2009-08-20 | 1200 | ok | rr all | ok | ok | rr-all | ok
2009-08-21 | 1302 | ok | rr1 | ok | ok | ok | ok
2009-08-22 | 1128 | ok | rr1+3 | ok | rr | ok | ok
2009-08-23 | 1408 | rr1-3 shroud | rr1-4 | rr1-2 shroud | rr | rrall | ok
2009-08-24 | 1220 | ok | rr1-4
2009-08-25 | 1130 | rr1shroud | rr1-4 | rr1shroud | ok | rr2+3 | ok
2009-08-26 | 1302 | ok | ok | ok | ok | ok | ok
2009-08-27 | 1243 | ok | rr1-2 | ok | ok | rr2+3 | ok
2009-08-28 | 1012 | ok | rr-all | rr shrouds | rr | rr-all | ok
2009-08-29 | 1330 | rr shrouds | rr-all | rr shrouds | ok | rr-all | ok
2009-08-30 | 1323 | ok | rr-all | ok | ok | rr-all | ok
2009-08-31 | 1253 | ok | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker September 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-09-01 | 1200 | ok | ok | ok | ok | ok | ok
2009-09-02 | 1300 | ok | rr-all | ok | ok | rr-all | ok
2009-09-03 | 1228 | ok | rr-all | ok | ok | rr-all | ok
2009-09-04 | 1330 | ok | rr-all | ok | ok | rr-all | ok
2009-09-05 | 1235 | ok | rr-all | ok | ok | rr-all | ok
2009-09-06 | 1230 | ok | rr-all | ok | ok | rr-all | ok
2009-09-07 | 1434 | ok | rr-all | ok | ok | rr2+3 | ok
2009-09-08 | 1142 | ok | rr1+2 | ok | ok | rr2+3 | ok
2009-09-09 | 1225 | ok | rr-all | ok | ok | rr-all | ok
2009-09-10 | 1306 | rr 1 | rr-all | rr-all | rr | rr-all | ok
2009-09-11 | 1240 | ok | ok | ok | ok | ok | ok
2009-09-12 | 1227 | ok | rr2+4 | ok | ok | ok | ok
2009-09-13 | 1237 | ok | ok | ok | ok | ok | ok
2009-09-14 | 1228 | ok | ok | ok | ok | ok | ok
2009-09-15 | 1217 | rr1 | rr-all | rr shrouds | rr | rr-all | ok
2009-09-16 | 1242 | ok | ok | ok | ok | ok | ok
2009-09-17 | 1239 | rr1 | rr-all | rr shrouds | ok | rr-all | ok
2009-09-18 | 1246 | ok | ok | ok | ok | ok | ok
2009-09-19 | 1216 | ok | rr-all | ok | ok | rr-all | ok
2009-09-20 | 1333 | rr1 | rr-all | ok | ok | rr-all | ok
2009-09-21 | 1238 | ok | rr-all | ok | rr | rr-all | ok
2009-09-22 | 1329 | ok | rr-all | ok | ok | rr2+3 | ok
2009-09-23 | 1441 | rr1 | rr-all | rr shrouds | rr | rr-all | ok
2009-09-24 | 1220 | ok | rr-all | ok | ok | rr-all | ok
2009-09-25 | 1309 | ok | ok | ok | ok | ok | ok
2009-09-26 | 1255 | ok | rr3+4 | ok | ok | ok | ok
2009-09-27 | 1348 | ok | ok | ok | ok | ok | ok
2009-09-28 | 1345 | rr1 | rr-all | ok | rr | rr-all | ok
2009-09-29 | 1303 | rr1 | rr-all | ok | rr | rr-all | ok
2009-09-30 | 1227 | rr1 | rr-all | rr shrouds | rr | rr-all | ok
Daily Check Solar Tracker October 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-10-01 | 1257 | ok | rr-all | ok | ok | rr-all | ok
2009-10-02 | 1229 | rr1 | rr-all | ok | ok | rr-all | ok
2009-10-03 | 1234 | ok | ok | ok | ok | ok | ok
2009-10-04 | 1239 | ok | rr-all | ok | ok | rr-all | ok
2009-10-05 | 1315 | ok | ok | ok | ok | ok | ok
2009-10-06 | 1257 | rr1 | rr-all | ok | rr | rr-all | ok
2009-10-07 | 1229 | ok | rr-all | ok | rr | rr-all | ok
2009-10-08 | 1330 | rr1 | rr-all | ok | ok | rr2+3 | ok
2009-10-09 | 1337 | rr1 | rr-all | ok | rr (lots) | rr-all | ok
2009-10-10 | 1308 | rr1 | rr-all | ok | rr | rr-all | ok
2009-10-11 | 1227 | ok | ok | ok | rr | ok | ok
2009-10-12 | 1335 | ok | rr1+2 | ok | ok | ok | ok
2009-10-13 | 1417 | ok | ok | ok | ok | ok | ok
2009-10-14 | 1343 | ok | rr-all | ok | rr (minimal) | rr-all | ok
2009-10-15 | 1305 | rr1 | rr-all | ok | ok | rr-all | ok
2009-10-16 | 1344 | ok | rr-all | ok | ok | ok | ok
2009-10-17 | 1325 | ok | rr-all | ok | ok | rr-all | ok
2009-10-18 | 1324 | ok | rr-all | ok | ok | rr-all | ok
2009-10-19 | 1503 | ok | rr-all | ok | rr | ok | ok
2009-10-20 | 1300 | ok | rr-all | ok | rr | rr-all | ok
2009-10-21 | 1325 | ok | rr-all | ok | ok | rr-all | ok
2009-10-22 | 1303 | ok | rr-all | ok | rr | rr-all | ok
2009-10-23 | 1655 | rr1 | rr-all | ok | rr | rr-all | ok
2009-10-24 | 1304 | rr1, rr all shrouds | rr-all | ok | rr | rr-all | ok
2009-10-25 | 1405 | ok | rr-all | ok | ok | rr-all | ok
2009-10-26 | 1335 | rr1 | rr-all | ok | rr | rr-all | ok
2009-10-27 | 1354 | rr1 | rr-all | rr shrouds | rr | rr-all | ok
2009-10-28 | 1417 | rr1 | rr-all | ok | rr | rr-all | ok
2009-10-29 | 1335 | rr1 | rr-all | ok | rr | rr-all | ok
2009-10-30 | 1409 | rr1 | rr1+2 | ok | rr | ok | ok
2009-10-31 | 1430 | ok | ok | ok | rr | ok | ok
Daily Check Solar Tracker November 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-11-01 | 1344 | rr1 | rr-all | ok | rr | ok | ok
2009-11-02 | 1357 | ok | ok | ok | ok | ok | ok
2009-11-03 | 1309 | rr1 | rr-all | ok | rr | rr-all | ok
2009-11-04 | 1641 | ok | rr-all | ok | ok | rr-all | ok
2009-11-05 | 1459 | rr1 | rr1+2 | ok | rr | ok | ok
2009-11-06 | 1350 | ok | rr-all | ok | rr | ok | ok
2009-11-07 | 1304 | ok | rr2 | ok | ok | ok | ok
2009-11-08 | 1738 | ok | rr2 | ok | ok | ok | ok
2009-11-09 | 1413 | rr1 | rr-all | ok | rr | ok | ok
2009-11-10 | 1345 | ok | rr2 | ok | rr | ok | ok
2009-11-11 | 2047 | rr1, rr shrouds1+2 | rr-all | rr shrouds | rr | rr-all | ok
2009-11-12 | 1411 | ok | ok | ok | rr | rr-all | ok
2009-11-13 | 1428 | rr1 | rr-all | ok | rr | ok | ok
2009-11-14 | 1829 | rr1 | rr-all | rr1 | rr | rr-all | ok
2009-11-15 | 1259 | rr shroud 1 | rr-all | rr shrouds | rr | rr-all | ok
2009-11-16 | 1300 | ok | rr1 | ok | rr | ok | ok
2009-11-17 | 1239 | rr all shrouds | rr-all | ok | rr | rr-all | ok
2009-11-18 | 1305 | rr shroud 1 | rr-all | rr shrouds | ok | rr-all | ok
2009-11-19 | 1416 | ok | rr-all | ok | rr | rr-all | ok
2009-11-20 | 1249 | rrshroud 1 | rr-all | rr shroud 2 | rr | rr-all | ok
2009-11-21 | 1205 | ok | ok | ok | rs | ok | ok | rs = removed snow
2009-11-22 | 1235 | ok | rr-all | ok | rr | ok | ok
2009-11-23 | 1305 | rr all shrouds | rr-all | ok | rs | rr-all | ok | Solar tracker not pointing in sun direction. Automated seasonal shutdown.
2009-11-24 | 1248 | rr shroud 1 | rr-all | rr shrouds | ok | rr-all | ok
2009-11-25 | 1207 | rr shroud 1 | rr-all | rr shrouds | ok | rr-all | ok
2009-11-26 | 1232 | rr shroud1 | rr-all | rr shroud 1 | ok | ok | ok
2009-11-27 | 1231 | rr shrouds | rr-all | rr shrouds | ok | rr-all | ok
2009-11-28 | 1228 | rr shrouds | rr-all | ok | rr | rr-ll | ok
2009-11-29 | 1234 | rr shroud 1 | rr-all | ok | ok | rr-all | ok
2009-11-30 | 1245 | rr shrouds | rr-all | ok | ok | rr-all | ok
Daily Check Solar Tracker December 2009
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2009-12-01 | 1245 | rr shrouds | rr-all | rr shrouds | rr | rr-all | ok
2009-12-02 | 1255 | rr shrouds1 | rr-1+2 | ok | ok | rr-all | ok
2009-12-03 | 1410 | rr shrouds | rr-all | ok | ok | rr-all | ok
2009-12-04 | 1250 | rr shrouds | rr-all | rr shrouds | ok | rr-all | ok
2009-12-05 | 1322 | rr1 | rr-all | ok | rr | rr-all | ok
2009-12-06 | 1150 | rrshroud1 | rr-all | rr shroud2 | ok | rr-all | ok
2009-12-07 | 1317 | rr shrouds | rr-ll | rr shrouds | rr | rr-all | ok
2009-12-08 | 1219 | ok | rr-all | ok | rr | ok | ok
2009-12-09 | 1124 | rr1 | rr-all | rr 2 | rr | rr-all | ok
2009-12-10 | 1249 | rr shroud1 | rr-all | ok | ok | rr-all | ok
2009-12-11 | 1402 | rr shrouds | rr-all | rr shrouds | rr | rr-all | ok - rr | Replaced filter for I1
2009-12-12 | 1323 | ok | rr-all | ok | ok | rr-all | ok
2009-12-13 | 1251 | ok | rr-1+2 | ok | rr | rr-all | ok
2009-12-14 | 1244 | ok | rr2-4 | ok | rr | ok | ok
2009-12-15 | 1234 | ok | rr-all | rr2 | rr | rr-all | ok | 1458 unplanned power outagae
2009-12-16 | 1314 | ok | rr-all | ok | rs | rr-all | ok | rs = removed snow
2009-12-17 | 1224 | ok | rr-all | ok | rr | rr-all | ok
2009-12-18 | 1252 | rr1 | rr-all | ok | ok | rr-all | ok
2009-12-19 | 1314 | rr shrouds | rr-all | rr shrouds | ok | rr-all | ok
2009-12-20 | 1351 | rr shrouds | rr-all | rr-all | ok | rr-all | ok
2009-12-21 | 1228 | ok | rr-all | ok | ok | rr-all | ok
2009-12-22 | 1254 | ok | rr2-4 | ok | ok | ok | ok
2009-12-23 | 1219 | rr shrouds | rr-all | ok | ok | rr-all | ok
2009-12-24 | 1239 | rr1 | rr-all | ok | ok | rr-all | ok
2009-12-25 | 1237 | rr shrouds | rr-all | rr shrouds | ok | rr-all | ok
2009-12-26 | 1255 | rr shrouds | rr-all | ok | ok | rr-all | ok
2009-12-27 | 1258 | rr shrouds | rr-all | rr shrouds | rr | rr-all | ok
2009-12-28 | 1356 | rr shrouds | rr-all | rr shrouds | rr | rr-all | ok
2009-12-29 | 1300 | rr shrouds | rr-all | ok | ok | rr-all | ok
2009-12-30 | 1258 | ok | rr-all | ok | ok | rr-all | ok
2009-12-31 | 1250 | rr shrouds | rr-all | rr shrouds | rr | rr-all | ok

## Weekly Download SwissTower
2009 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1
2
3 | 090119 | filename: SwissTowerdirect_Tower_2009_01_19_15_03_07.dat |  |  |  | 2009-12-15 | 19:10 | 2009-01-19 | 15:00 | y | direct upload
4
5
6
7
8
9 | 090303 | filename: SwissTowerdirect_Tower_2009_03_03_13_22_45.dat |  |  |  | 2009-12-15 | 19:10 | 2009-03-03 | 13:20 | y | direct upload of 11,197 records
10
11
12
13 | 090330 | filename: SwissTowerdirect_Tower_2009_03_30_1_35_13.dat |  |  |  | 2009-12-15 | 19:10 | 2009-03-30 | 11:30 | y | direct upload of 15,074 records
14
15
16
17
18 | 090504 | filename: Swiss Tower direct_Tower |  |  |  | 2009-12-15 | 19:10 | 2009-05-04 | 15:10 | y | direct upload
19 | 090510 | Swiss Tower direct_Tower_2009_05_10_13_06_58.dat |  |  |  | 2009-05-04 | 1500 | 2009-05-10 | 1300 | Y | direct upload of prev. week's data
20 | 090518 | filename: SwissTOwer direct_Tower |  |  |  | 2009-05-04 | 1500 | 2009-05-18 | 1400 | y | direct upload of prev. week's data
21 | 090525 | 001 |  |  |  | 71 | 1350 | 145 | 1320 | y
22 | 090601 | 002 | -8 | y | 42408 | 145 | 1330 | 152 | 1320 | y
23 | 090608 | 003 | -11 | y | 75140 | 152 | 1320 | 159 | 1210 | y
24 | 090615 | 004 | -3 | n | 108068 | 159 | 1220 | 166 | 1210 | y
25 | 090622 | 005 | -8 | y | 140438 | 166 | 1220 | 173 | 920 | y
26 | 090629 | 006 | -5 | n | 173848 | 173 | 930 | 180 | 1150 | y
27 | 090706 | 007 | -8sec | y | 206656 | 180 | 1200 | 187 | 1110 | y
28 | 090713 | 008 | -4 | y | 239780 | 187 | 1120 | 194 | 1210 | y
29 | 090720 | 009 | -11 | y |  | 914 | 1220 | 201 | 2150 | y | power cycled dataloggers and RF modem; downloaded data from storage module
30 | 090727 | 010 | -4 | n | 31029 | 201 | 1620 | 208 | 1130 | y
31 | 090803 | 011 | -8 | y | 63316 | 208 | 1140 | 215 | 1110 | y
32 | 090810 | 012 | -6 | y | 96470 | 215 | 1120 | 222 | 1220 | y
33 | 090817 | 013 | -15 | y | 129262 | 222 | 1230 | 229 | 1140 | y
34 | 090824 | 014 | +4 | y | 162492 | 229 | 1150 | 236 | 1310 | y
35 | 090831 | 015 | +5 | y | 195344 | 236 | 1320 | 243 | 1250 | y
36 | 090907 | 016 | -5 | y | 228408 | 243 | 1300 | 250 | 1330 | y
37 | 090914 | 017 | -4 | y | 261110 | 250 | 1340 | 257 | 1220 | y
38 | 090921 | 018 | -6 | y | 294234 | 257 | 1230 | 264 | 1320 | y
39 | 090928 | 019 | -3 | y | 327102 | 264 | 1330 | 271 | 1300 | y
40 | 091005 | 020 | -5 | y | 360226 | 271 | 1310 | 278 | 1400 | y
41 | 091012 | 021 | -4 | y | 393078 | 278 | 1410 | 285 | 1340 | y
42 | 091019 | 022 | -4 | y | 426172 | 285 | 1350 | 292 | 1430 | y
43 | 091026 | 023 | -7 | y | 458874 | 292 | 1440 | 299 | 1320 | y
44 | 091102 | 024 | -2 | y | 492028 | 299 | 1330 | 306 | 1430 | y
45 | 091109 | 025 | -3 | y | 524956 | 306 | 1440 | 313 | 1430 | y
46 | 091116 | 026 | -4 | y | 557718 | 313 | 1440 | 320 | 1340 | y
47 | 091123 | 027 | +8 | y | 590480 | 320 | 1350 | 327 | 1250 | y
48 | 091130 | 028 | -3 | y | 623514 | 327 | 1300 | 334 | 1320 | y
49 | 091207 | 029 | -1 | n | 656412 | 334 | 1330 | 341 | 1310 | y
50 | 091214 | 030 | -5 | y | 689264 | 341 | 1320 | 348 | 1250 | y
51 | 091221 | 031 | -8 | y | 722268 | 348 | 1300 | 355 | 1310 | y
52 | 091228 | 032 | -2 | y | 755452 | 355 | 1320 | 362 | 1430 | y

## Weekly Download SolarTracker
2009 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 090105 | 302 | 10 | y | 988717 | 8364 | 1336 | 9005 | 1401 | y
2 | 090112 | 303 | 11 | y | 1430441 | 5 | 1402 | 12 | 1055 | y
3 | 090119 | 304 | 8 | y | 1887345 | 12 | 1056 | 19 | 1334 | y
4 | 090126 | 305 | 15 | y | 190860 | 19 | 1335 | 26 | 1334 | y
5 | 090202 | 306 | 12 | y | 641296 | 26 | 1335 | 33 | 1348 | y
6 | 090209 | 307 | 7 | y | 1083020 | 33 | 1349 | 40 | 1044 | y
7 | 090216 | 308 | 14 | y | 1538692 | 40 | 1045 | 47 | 1255 | y
8 | 090223 | 309 | 16 | y | 1987544 | 47 | 1256 | 54 | 1233 | Y
9 | 090302 | 310 | 16 | Y | 293655 | 54 | 1234 | 61 | 1332 | Y
10 | 090310 | 311 | 18 | y | 824323 | 61 | 1333 | 69 | 1949 | Y | delayed one day due to camp medical emergency
11 | 90316 | 312 | 12 | y | 1194219 | 69 | 1950 | 75 | 1353 | y
12 | 90323 | 313 | 11 | Y | 1639859 | 75 | 1354 | 82 | 1218 | Y
13 | 90330 | 314 | 15 | Y | 2089063 | 82 | 1219 | 89 | 1202 | Y
14 | 9046 | 315, 315_B | 10 | Y | 274481, 394690 | 089, 094 | 1203, 1600 | 94096 | 15591250 | Y | lost radio connection during upload; data in two files
15 | 90413 | 316 | 10 | Y | 843410 | 96 | 1251 | 103 | 1223 | Y | disconnected and reconnected on own several times
16 | 90420 | 317 | 7 | Y | 1292746 | 103 | 1224 | 110 | 1210 | Y
17 | 90427 | 318 | +7sec | Y | 1742962 | 110 | 1211 | 117 | 1219 | y
18 | 090504 | 319 | +5sec | y | 55453 | 117 | 1220 | 124 | 1543 | y
19 | 090510 | 320 | +4sec | y | 430717 | 124 | 1544 | 130 | 1149 | y | download on Sunday prior to power outage on Monday
20 | 090518 | 321 | +5 | y | 936965 | 130 | 1150 | 138 | 1227 | y
21 | 090525 | 322 | +3sec | N | 1391757 | 138 | 1228 | 145 | 1420 | y
22 | 090601 | 323 | 6 | y | 1839597 | 145 | 1421 | 152 | 1335 | y
23 | 090608 | 324 | 0 | n | 137436 | 152 | 1336 | 159 | 1126 | y
24 | 090615 | 325 | +3 | n | 587344 | 159 | 1127 | 166 | 1128 | y
25 | 090622 | 326 | +6 | y | 1036900 | 166 | 1129 | 173 | 1122 | y
26 | 090629 | 327 | +1 | n | 1486544 | 173 | 1123 | 180 | 1118 | y | connection to datalogger dropped out several times during download
27 | 090706 | 328 | +5 | n | 1936364 | 180 | 1119 | 187 | 1146 | y
28 | 090713 | 329 | +9 | y | 239835 | 187 | 1147 | 194 | 1117 | y | ok
29 | 090720 | 330 | -1 | n | 687675 | 194 | 1118 | 201 | 1137 | y
30 | 090727 | 331 | +2 | n | 1137583 | 201 | 1138 | 208 | 1139 | y | didn't connect initially-- power-cycled modem, then connected
31 | 090803 | 332 | +4 | n | 1586743 | 208 | 1140 | 215 | 1124 | y
32 | 090810 | 333 | +5 | y | 2037003 | 215 | 1125 | 222 | 1134 | y
33 | 090817 | 334 | -8 | y | 341222 | 222 | 1135 | 229 | 1150 | y
34 | 090824 | 335 | +12 | y | 792758 | 229 | 1151 | 236 | 1229 | y
35 | 090831 | 336 | -2 | y/n* | 1244030 | 236 | 1230 | 243 | 1302 | y | attempted to correct time; didn't get any better than -2
36 | 090907 | 337 | +5 | y | 1693014 | 243 | 1303 | 250 | 1243 | y
37 | 090914 | 338 | +3 | y | 2142790 | 250 | 1244 | 257 | 1242 | y
38 | 090921 | 339 | +4 | y | 446041 | 257 | 1243 | 264 | 1236 | y
39 | 090928 | 340 | +10 | y | 897357 | 264 | 1237 | 271 | 1310 | y
40 | 091005 | 341 | +10 | y | 1347441 | 271 | 1311 | 278 | 1316 | y
41 | 091012 | 342 | +11 | y | 1798757 | 278 | 1317 | 285 | 1350 | y
42 | 091019 | 343 | +7 | y | 102448 | 285 | 1351 | 292 | 1354 | y
43 | 091026 | 344 | +8 | y | 551476 | 292 | 1355 | 299 | 1334 | y
44 | 091102 | 345 | +10 | y | 1002264 | 299 | 1335 | 306 | 1356 | y
45 | 091109 | 346 | +9 | y | 1454108 | 306 | 1357 | 313 | 1442 | y
46 | 091116 | 347 | +12 | y | 1899748 | 313 | 1443 | 320 | 1307 | y
47 | 091123 | 348 | +12 | y | 203087 | 320 | 1308 | 327 | 1303 | y
48 | 091130 | 349 | +15 | y | 651983 | 327 | 1304 | 334 | 1242 | y
49 | 091207 | 350 | +17 | y | 1103431 | 334 | 1243 | 341 | 1319 | y
50 | 091214 | 351 | +5 | y | 1552459 | 341 | 1320 | 348 | 1301 | y
51 | 091221 | 352 | +4 | y | 1553291 | 348 | 1302 | 348 | 1320 | y
51 | 091221 | 352a |  |  | 2001091 | 348 | 1321 | 355 | 1234 | y | PC208 stopped on its own. Process restarted by operator. Two files generated.
52 | 091228 | 353 | +15 | y | 306718 | 355 | 1235 | 362 | 1320 | y

## Weekly Download UVPFR
2009 Weekly Data Download UV-PFR Storage Module
week | date YYMMDD | filenumber UVPFR___.dat | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
21 | 090525 | 001 |  | 140 | 1645 | 145 | 1351 | y | erase data after download
22 | 090601 | 002 |  | 145 | 1352 | 152 | 1403 | y | erase data after download
23 | 090608 | 003 |  | 152 | 1404 | 159 | 1229 | y | erase data after download
24 | 090615 | 004 |  | 159 | 1230 | 166 | 1222 | y | erase data after download
25 | 090622 | 005 |  | 166 | 1223 | 173 | 1159 | y | erase data after download
26 | 090629 | 006 |  | 173 | 1200 | 180 | 1124 | y | erase data after download
27 | 090706 | 007 |  | 180 | 1125 | 187 | 1132 | y | Got "access violation" errors twice during upload Data gap between JD181, 16:03--16:59
28 | 090713 | 008 |  | 187 | 1147 | 194 | 1239 | y | ok / Module erased
29 | 090720 | 009 |  | 194 | 1240 | 201 | 1212 | y | Data gaps due to power outages: JD196, 1111-1850 & JD197, 1639-1656
30 | 090727 | 010 |  | 201 | 1213 | 208 | 1151 | y
31 | 090803 | 011 |  | 208 | 1152 | 215 | 1202 | y
32 | 090810 | 012 |  | 215 | 1203 | 222 | 1230 | y
33 | 090817 | 013 |  | 222 | 1231 | 229 | 1137 | y | Data gaps due to power outages: JD223, 1602-1625 & 1659-1706
34 | 090824 | 014 |  | 229 | 1138 | 231 | 1825 | y | UVPFR removed from tracker
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52

## Weekly Download PFR
2009 Weekly Data Download PFR Storage Module
week | date YYMMDD | filenumber PFR___.dat | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
21 | 090525 | 001 |  | 140 | 1648 | 145 | 1352 | y | erase data after download
22 | 090601 | 002 |  | 145 | 1353 | 152 | 1403 | y | erase data after download
23 | 090608 | 003 |  | 152 | 1404 | 159 | 1230 | y | erase data after download
24 | 090615 | 004 |  | 159 | 1231 | 166 | 1223 | y | erased data after download
25 | 090622 | 005 |  | 166 | 1224 | 173 | 1158 | y | erased data after download
26 | 090629 | 006 |  | 173 | 1159 | 180 | 1124 | y | erased data after download
27 | 090706 | 007 |  | 180 | 1125 | 187 | 1132 | y | Access violation error during upload; Data gap JD181, 16:03-16:58
28 | 090713 | 008 |  | 187 | 1133 | 194 | 1238 | y | erased data after download
29 | 090720 | 009 |  | 194 | 1239 | 201 | 1212 | y | Data gaps due to power outages: JD196, 1111-1850 & JD197, 1639-1656
30 | 090727 | 010 |  | 201 | 1213 | 208 | 1151 | y
31 | 090803 | 011 |  | 208 | 1152 | 215 | 1201 | y
32 | 090810 | 012 |  | 215 | 1202 | 222 | 1229 | y
33 | 090817 | 013 |  | 222 | 1230 | 229 | 1138 | y | Data gaps due to power outages: JD223, 1601-1625 & 1700-1706
34 | 090824 | 014 |  | 229 | 1139 | 231 | 1824 | y | PFR removed from tracker
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52