## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2012 Daily Check Swiss Tower
Daily Check Swiss Tower January 2012
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-01-01 | 1434 | lf 1-3, 4-6 hf | clr | clr | n | Frost build-up below fan #4 looks clr, too dark to see fan #6 clearly.
2012-01-02 | 1310 | clr | clr | clr | n
2012-01-03 | 1300 | rmv lf 1-3, 4-6 hf | lf all | clr | n
2012-01-04 | 1310 | clr | clr | clr | n
2012-01-05 | 1305 | clr | clr | clr | n
2012-01-06 | 1248 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-07 | 1330 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-08 | 1430 | clr | clr | clr | n
2012-01-09 | 1305 | clr | clr | clr | n
2012-01-10 | 1330 | clr | clr | clr | n
2012-01-11 | 1303 | rmv lf 1-3, 4-6 frost | all clear | clr | n | Could see fan #6 cleary today.
2012-01-12 | 1345 | clr | clr | clr | n
2012-01-13 | 1301 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-14 | 1305 | clr | 4 hf | clr | n
2012-01-15 | 1348 | rmv lf 1-2, 3-6 frost | lf all | clr | n
2012-01-16 | 1303 | clr 1-2, rmv lf 3, 4-6 frost | clr | clr | n
2012-01-17 | 1315 | clr | clr | clr | n
2012-01-18 | 1236 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-19 | 1250 | rmv lf 1-3, 4-6 frost | rmv lf 1-3, 4-6 lf | clr | n
2012-01-20 | 1248 | clr 1-3, 4-6 frost | clr | clr | n
2012-01-21 | 1334 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-22 | 1335 | clr | clr | clr | n
2012-01-23 | 1310 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-24 | 1258 | rmv lf1-3, 4-6 frost | rmv lf 1-3, 4-6 lf | clr | n | 1615-1730utc: Ran snowmachine to Noone site at base of tower for snow removal and new cover over hatch door.
2012-01-25 | 1255 | rmv lf 1-3, 4-6 frost | rmv lf 1-3, 4-6 lf | clr | n
2012-01-26 | 1340 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-27 | 1258 | rmv lf 1-3, 4-6 frost | rmv lf 1-3, 4-6 lf | clr | n
2012-01-28 | 1335 | rmv lf 1-3, 4-6 frost | clr, 4-6 lf | clr | n
2012-01-29 | 1227 | rmv lf 1-3, 4-6 frost | clr | clr | n
2012-01-30 | 1248 | rmv lf 1-3, 4-6 hf | clr | clr | n
2012-01-31 | 1320 | rmv f 1-3, 4-6 hf | clr | clr | n | removed 3-4 inches of snow from Antenna
40574
Daily Check Swiss Tower February 2012
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-02-01 | 1242 | rmv lf 1-3, 4-6 hf | rmv lf 1-3, 4-6 lf | clr | n
2012-02-02 | 1255 | clr | clr | clr | n
2012-02-03 | 1305 | rmv lf 1-3 | clr | clr | n
2012-02-04 | 1314 | rmv lf 1-3, 4-6 hf | rmv lf 1-3, 4-6 lf | rmv lf 2, rest clr | n
2012-02-05 | 1350 | 4-6 hf | clr | clr | n
2012-02-06 | 1246 | rmv 1-3, hf 4-6 | hf 5, 1-4 & 6 clr | clr | n | #5 temp fan completely frosted, inlet covered in frost
2012-02-07 | 1243 | rmv 1-3, hf 4-6 | hf 5, 1-4 & 6 clr | clr | n | #5 temp fan appears to be inoperable and damaged
2012-02-08 | 1326 | rmv 1-3, hf 4-6 | hf 5, 1-4 & 6 clr | clr | n | #5 temp fan appears to be inoperable and damaged
2012-02-09 | 1250 | rmv 1-3, hf 4-6 | hf 5, 1-4 & 6 clr | clr | n | #5 temp fan still inoperable; cleared frost from snow sfc height sensor
2012-02-10 | 1308 | rmv 1-3, hf 4-6 | hf 5, 1-4 & 6 clr | clr | y | Photos taken of #5 temp fan
2012-02-11 | 1232 | rmv f 1-3, hf 4 & 5, 6 clr | hf 5, 1-4 & 6 clr | clr | n
2012-02-12 | 1330 | rmv f 1-3, hf 4 & 5, 6 clr | hf 5, 1-4 & 6 clr | clr | n
2012-02-13 | 1609 | clr - all | 1-4 & 6 clr, 5 damaged | clr | n | strong winds delayed inspection, cleared many instruments
2012-02-14 | 1256 | rmv lf 1-2, 2-6 clr | 1-4 & 6 clr, 5 damaged | clr | n | continued strong winds
2012-02-15 | 1336 | rmv lf 1-2, 2-6 lf | 1-4 clr, 5 damaged, 6 lf | clr | n
2012-02-16 | 1439 | rmv lf 1-2, 2-6 lf | 1-4 clr, 5 damaged, 6 clr | clr | y
2012-02-17 | 1413 | rmv f 1-2, 2-6 mod f | 1-4 clr, 5 damaged, 5 lf | clr | n
2012-02-18 | 1417 | 1-4, 6 lf, 5 hf | 1-4, 6 clr, 5 damaged | clr | n
2012-02-19 | 1400 | rmv f 1-2, lf 3,4-6 hf | 1-4 clr, 5 damaged, 6 lf | clr | n
2012-02-20 | 1309 | rmv f 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
2012-02-21 | 1330 | rmv f 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
2012-02-22 | 1355 | 1-3 clr, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
2012-02-23 | 1447 | rmf lf 1-3, 5,4 hf, 6 clr | 1-4 clr, 5 damaged, 6 clr | clr | n
2012-02-24 | 1317 | rmv lf 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 lf | clr | n
2012-02-25 | 1345 | rmv lf 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 lf | clr | n
2012-02-26 | 1217 | rmv lf 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 lf | clr | n
2012-02-27 | 1220 | rmv lf 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
2012-02-28 | 1354 | rmv lf 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
2012-02-29 | 1340 | rmv lf 1-2, lf 3, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
Daily Check Swiss Tower March 2012
2012-03-01 | 1411 | rmv lf 1-3, 4-6 hf | 1-4 clr, 5 damaged, 6 hf | clr | n
2012-03-02 | 1410 | 1-3 clr, 4-6 lf | 1-4 clr, 5-6 lf | clr | n | High winds - removed most frost.
2012-03-03 | 1340 | 1-3 clr, 4-6 lf | 1-4 clr, 5-6 lf | clr | n
2012-03-04 | 1427 | rmv snow 1-3 4-6 lt snow | all clr, 5 damaged | clr | n
2012-03-05 | 1258 | rmv snow 1-3 4-6 lt snow | all clr, 5 damaged | clr | n
2012-03-06 | 1347 | 1-3 clr, 4-6 lf | all clr, 5 damaged | clr | n
2012-03-07 | 1358 | 1-3 clr, 4-6 lf | all clr, 5 damaged | clr | n
2012-03-08 | 1337 | rmv snow 1-3 4-6 lt snow | all clr, 5 damaged | clr | n
2012-03-09 | 1430 | 1-3 clr, 4-6 lf | all clr, 5 damaged | clr | n
2012-03-10 | 1334 | rmv lf 1-3, 4-6 lf | all clr, 5 damaged | clr | n
2012-03-11 | 1235 | rmv lf 1-3, 4-6 lf | 1-4 clr, 5-6 mf | clr | n
2012-03-12 | 1348 | 1-3 clr, 4-6 lf | 1-4 clr, 5-6 mf | clr | n
2012-03-13 | 1249 | rmv lf 1-3, 4-6 lf | 1-4 clr, 5-6 mf | clr | n
2012-03-14 | 1325 | rmv lf 1-2, lf 3-6 | 1-4 clr, 5-6 mf | clr | n
2012-03-15 | 1306 | rmv lf 1-3, mf 4-6 | 1-4 clr, 5-6 mf | clr | n
2012-03-16 | 1358 | rmf f 1-3, f 4-6 | 1-4 & 6 clr, 5 hf | clr | n | remove frost from snow height sensor
2012-03-17 | 1425 | rmf f 1-3, f 4-6 | 1-4 & 6 clr, 5 hf | clr | n
2012-03-18 | 1143 | rmv lf 1-3, lf 4-6 | 1-4 & 6 clr, 5 mf | clr | n
2012-03-19 | 1310 | rmv lf 1-3, lf 4-6 | 1-4 & 6 clr, 5 mf | clr | n
2012-03-20 | 1304 | 1-3 clr, 4-6 lf | 1-4 & 6 clr, 5 mf | clr | n
2012-03-21 | 1306 | rmv lf 1-3, lf 4-6 | 1-4 & 6 clr, 5 mf | clr | n
2012-03-22 | 1325 | rmv lf 1-3, lf 4-6 | 1-4 & 6 clr, 5 hf | clr | n
2012-03-23 | 1324 | rmv lf 1-3, lf 4-6 | 1-4 & 6 clr, 5 hf | clr | n
2012-03-24 | 1417 | rmv lf 1-3, lf 4-6 | 1-4 & 6 clr, 5 hf | clr | n
2012-03-25 | 1150 | rmv lf 1-3, hf 4-6 | 1-4 & 6 clr, 5 hf | clr | n
2012-03-26 | 1208 | rmv lf 1-3, hf 4-6 | 1-4 & 6 clr, 5 hf | clr | n
2012-03-27 | 1147 | rmv hf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-03-28 | 1149 | rmv hf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-03-29 | 1200 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-03-30 | 1218 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-03-31 | 1200 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
40633
Daily Check Swiss Tower April 2012
2012-04-01 | 1143 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-02 | 1140 | rmv lf 1-2, lf 3-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-03 | 1150 | clr | clr | clr | n
2012-04-04 | 1225 | clr | clr | clr | n | measured turnbuckles
2012-04-05 | 1153 | clr | clr | clr | n
2012-04-06 | 1149 | clr | clr | clr | n
2012-04-07 | 1147 | rmv lf 1-2, rest clr | clr | clr | n
2012-04-08 | 1140 | rmv lf 1-3, rest lf | clr | clr | n
2012-04-09 | 1215 | rmv lf 1-3, lf 4-6 | 1-4 clr, 5-6 lf | clr | n
2012-04-10 | 1216 | clr | clr | clr | n
2012-04-11 | 1148 | rmv lf 1-3, lf 4-6 | 1-5 clr, 6 lf | clr | n
2012-04-12 | 1216 | rmv lf 1-3, lf 4-6 | 1-5 clr, 6 lf | clr | n
2012-04-13 | 1238 | 1-3 clr, 4-6 lf | 1-5 clr, 6 lf | clr | n
2012-04-14 | 1158 | rmv lf 1-3, lf 4-6 | 1-5 clr, 6 lf | clr | n
2012-04-15 | 1000 | rmv lf 1-3, lf 4-6 | 1-4 clr, 5&6 lf | clr | n
2012-04-16 | 1009 | rmv lf 1-3, lf 4-6 | 1-4 clr, 5&6 lf | clr | n
2012-04-17 | 1315 | rmv fr 1-3, fr 4-6 | 1-4 clr, 5&6 lf | clr | n
2012-04-18 | 1150 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-19 | 1229 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-20 | 938 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-21 | 938 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-22 | 935 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-23 | 817 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr | n
2012-04-24 | 1138 | rmv lf 1-3, hf 4-6 | 1-4 clr, 5-6 hf | clr 1-5, hf 6 | n
2012-04-25 | 1120 | rmv lf 1-3, 5&6 clr | 1-5 clr, 6 lf | 1-5 clr, 6 lf | n
2012-04-26 | 1810 | rmv lf 1-3, lf 4&6, 5 clr | clr | clr | n
2012-04-27 | 1227 | 1-3 & 5-6 clr, 4 lf | clr | 1-5 lf, 6 hf | n
2012-04-28 | 1147 | rmv lf 1-3, 4 hf, 5 clr, 6 lf | 1-5 clr, 6 lf | 1-4 lf, 5&6 hf | n
2012-04-29 | 2057 | lf 4 | clr | clr | n
2012-04-30 | 1830 | clr | clr | clr | n
40663
Daily Check Swiss Tower May 2012
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-05-01 | 1127 | rmv lf 1-3, lf 4&6, 5 clr | 1-5 clr, 6 lf | clr | n
2012-05-02 |  | clr | clr | clr | n
2012-05-03 | 1549 | clr | clr | clr | n
2012-05-04 | 1058 | rmv lf 1-3, lf 4-6 | clr | clr | n
2012-05-05 | 1059 | rmv lf 1-3, 4 lf, 5-6 clr | clr | clr | n
2012-05-06 | 1405 | rmv lf 1-3 lf 4-6 | clr | clr | n
2012-05-07 | 1230 | lf 1-4, clr 5-6 | clr | clr | n | #5 aspirator fan broken, 6 possibly not spinning. Several snow machine trips at base of tower by carpenters.
2012-05-08 | 1130 | lf all | clr | 1-4 clr 5-6 lf | n
2012-05-09 | 1134 | lf all | clr | clr | n
2012-05-10 | 1219 | hf all | clr | clr | n
2012-05-11 | 1044 | lf all | clr | clr | n
2012-05-12
2012-05-13
2012-05-14 | 1111 | rmv lf 1-2,hf 3-4,5 lf, 6clr | clr | 1-4 clr 5-6 lf | n
2012-05-15 | 1234 | rmv lf 1-3, 4 hf, 5-6 clr | clr | clr | n
2012-05-16 | 1059 | rmv lf 1-3, rmv hf 4, lf 5&6 | lf 4, rest clr | clr | n
2012-05-17 | 1251 | rmv lf 1-3, 4 f, clr 5-6 | lf 4, rest clr | clr | n | power outage 1200-1252 UTC
2012-05-18 | 1135 | lf | clr | clr | n | On tower removing frost 1135-1300
2012-05-19 | 1030 | rmv lf 1-3, 4-5 lf, 6 clr | Lf 2&3, rest clr | clr | n
2012-05-20 | 1320 | 1,2,6 clr, 3-5 lf | clr | clr | n
2012-05-21 | 1307 | lf 1-5, 6 clr | clr | clr | n
2012-05-22 | 1206 | lf 4, rest clr | clr | clr | n | Cleaned frost from tower 1320-1345UTC, 1600-1900UTC
2012-05-23 | 1224 | clr | clr | clr | n
2012-05-24 | 1300 | clr | clr | clr | n
2012-05-25 | 1247 | clr | clr | clr | n
2012-05-26 | 1607 | clr | clr | clr | n
2012-05-27 | 1315 | 2,4 lf, rest clr | clr | clr | n
2012-05-28 | 1103 | clr | clr | clr | n
2012-05-29 | 1115 | 4 lf, rest clr | clr | clr | n
2012-05-30 | 1226 | all lf | clr | clr | n | Power outage 0315-0328 UTC
2012-05-31 | 1210 | Rmv hf 1-3, 4-6 hf | clr | Rmv hf 1, hf 2-5, lf 6 | n
Daily Check Swiss Tower June 2012
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-06-01 | 1105 | rm f 1-3, 5 f, 4 6 clr | clr | clr
2012-06-02 | 1152 | Lf 2, rest clr | clr | clr | n
2012-06-03 | 1405 | Rmv lf 1-2, rest clr | clr | clr | n
2012-06-04 | 1130 | rmv lf 1-2, rest clr | clr | clr | n
2012-06-05
2012-06-06 | 1209 | rmv f 1-3, f 4-6 | clr | clr | n
2012-06-07 | 1401 | clr | clr | clr | n
2012-06-08 | 1208 | lf all | clr | clr | n
2012-06-09 | 1225 | rmv lf 1-3, lf 4-5, 6 clr | clr | clr | n
2012-06-10 | 1402 | rm f 1-3, 4 lf, 5&6 clr | clr | clr | n
2012-06-11 | 1233 | rm f 1-3, 4&5 lf, 6 clr | clr | clr | n
2012-06-12 | 1310 | 1-3 &6 clr, 4&5 lf | clr | clr | n
2012-06-13 | 1232 | rm f 1-3, 4&5 lf, 6 clr | clr | clr | n
2012-06-14 | 1244 | rm f 1-3, 4 lf, 5&6 clr | clr | clr | n
2012-06-15 | 1125 | lf all | clr | clr | n
2012-06-16 | 1141 | 1-5 rime, 6 clr | clr | clr | n | Climbed tower 1800-1848UTC, removed 50m fan/filter for repair and cleaned rime off others; ~1815UTC brief power outage to reroute power cable
2012-06-17 | 1605 | 1&2 clr, 3-5 lf | clr | clr | n
2012-06-18 | 1305 | clr | clr | clr | n
2012-06-19 | 1221 | clr | clr | clr | n
2012-06-20 | 1314 | lf all | clr | clr | n
2012-06-21 | 1218 | 1&2 clr, 3 rmv lf, 4-5 lf | clr | clr | n
2012-06-22 | 1236 | clr | clr | clr | n
2012-06-23 | 1155 | f all | clr | clr | n | Climbed tower 1155-1233UTC to install 50m fan/filter. Power restored 1220UTC.
2012-06-24 | 1404 | 1-3 f, 4,5 clr, 6 f | clr | clr | n
2012-06-25 | 1229 | clr | clr | clr | n
2012-06-26 | 1100 | lf-all | clr | clr | n
2012-06-27 | 1153 | f 1-5, 6 lf | clr | clr | n
2012-06-28 | 1250 | rmv hf 1-2, hf rest | clr | lf | n | kicked tower and pulled guywires to remove heavy frost 1245-1255
2012-06-29 | 1226 | rmv lf 1-2, hf rest | clr | clr | n
2012-06-30 | 1455 | lf 3, rest clr | clr | clr | n
40724
Daily Check Swiss Tower July 2012
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-07-01 | 1400 | 1-2 lf, rest clr | clr | clr | n
2012-07-02 | 1531 | clr | clr | clr | n
2012-07-03 | 1314 | lf all | clr | clr | n
2012-07-04 | 1321 | f all | clr | lf all | n
2012-07-05 | 1324 | rmv f 1-2, 3 lf, 4-5 c, 6f | clr | clr | n
2012-07-06 | 1316 | clr | clr | clr | n
2012-07-07 | 1238 | clr | clr | clr | n
2012-07-08 | 1334 | clr | clr | clr | n
2012-07-09 | 1201 | lf 1-3 & 6, f 4-5 | clr | lf 3-5 | n
2012-07-10 | 1123 | lf all | clr | clr | n
2012-07-11 | 1115 | all with icicle/frost except 4 | clr | clr | n
2012-07-12 | 1144 | all with icicle/frost, rmv 1-2 | clr | clr | n
2012-07-13 | 941 | all with icicle/frost, rmv 1-2 | clr | clr | n
2012-07-14 | 1120 | f 1-5, 6 clr | clr | clr | n
2012-07-15 | 2210 | clr | clr | clr | n
2012-07-16 | 1538 | clr | clr | clr | n
2012-07-17 | 1455 | f 1,4-6. clr 2-3 | clr | clr | n
2012-07-18 | 1148 | f all | clr | clr | n
2012-07-19 | 1153 | 4-5 f, rest clr | clr | clr | n
2012-07-20 | 1045 | clr | clr | clr | n
2012-07-21 | 1340 | clr | clr | clr | n
2012-07-22 | 1345 | clr | clr | clr | n
2012-07-23 | 1236 | lf all | clr | clr | n
2012-07-24 | 1316 | clr | clr | clr | n
2012-07-25 | 1222 | f all | clr | clr | n
2012-07-26 | 1200 | f all | clr | clr | n
2012-07-27 | 1040 | f all | clr | clr | n
2012-07-28 | 1150 | clr | clr | clr | n
2012-07-29 | 1620 | clr | clr | clr | n
2012-07-30 | 1240 | clr | clr | clr | n
2012-07-31 | 1155 | clr | clr | clr | n
Daily Check Swiss Tower August 2012
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-08-01
2012-08-02 | 1257 | clr | clr | clr | n
2012-08-03 | 1338 | lf all | clr | clr | n
2012-08-04 | 1211 | rmv lf 1-2, lf 3-6 | clr | rime on all | n
2012-08-05 | 1357 | clr | clr | clr | n
2012-08-06 | 1335 | clr | clr | clr | n
2012-08-07 | 1303 | 1-3 clr, 4-6 lf | clr | clr | n
2012-08-08 | 1148 | lf all | clr | clr | n | power outage 1252-1314 and 1527-1530UTC
2012-08-09 | 1233 | clr | clr | clr | n
2012-08-10 | 1206 | f all | clr | clr | n
2012-08-11 | 1245 | f 5, others clr | clr | clr | n
2012-08-12 | 1417 | lf all | clr | clr | n
2012-08-13 | 1200 | f all | clr | clr | n
2012-08-14 | 1227 | f all | clr | clr | n
2012-08-15 | 1050 | f all | clr | clr | n | tower climbed by riggers 1310-1527UTC, in good condition
2012-08-16 | 1140 | f all | clr | 1-4clr 5-6 f | n
2012-08-17 | 1244 | clr | clr | clr | n
2012-08-18 | 1100 | clr | clr | clr | n
2012-08-19 | 1105 | clr | clr | clr | n
2012-08-20 | 1044 | clr | clr | clr | n
2012-08-21 | 1100 | clr | clr | clr | n
2012-08-22 | 1105 | clr | clr | clr | n
2012-08-23 | 1105 | f 5, others clr | clr | clr | n
2012-08-24 | 1236 | clr | clr | clr | n
2012-08-25 | 1150 | clr | clr | clr | n
2012-08-26 | 1220 | clr | clr | clr | n
2012-08-27 | 1105 | f6 | clr | clr | n
2012-08-28 | 1138 | f4, others clear | clr | clr | n
2012-08-29 | 1134 | f6 | clr | clr | n
2012-08-30 | 1139 | f6 | clr | clr | n
2012-08-31 | 1132 | f6 | clr | clr | n
Daily Check Swiss Tower September 2012
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2012-09-01 | 1235 | 1-2 clr, 3-6 f | clr | clr | n
2012-09-02 | 1015 | 1-2clr, 3-6 f | clr | clr | n
2012-09-03 | 1135 | 1-2clr, 3-6 f | clr | clr | n
2012-09-04 | 1118 | 1-2clr, 3-6 f | clr | clr | n
2012-09-05 | 1134 | 1-2clr, 3-6 f | clr | clr | n
2012-09-06 | 1150 | clr | clr | clr | n
2012-09-07 | 1233 | 1-2clr, 3-6 f | clr | clr | n
2012-09-08 | 1251 | 1-2clr, 3-6 f | clr | clr | n
2012-09-09 | 1245 | 1-6 f | clr | clr | n
2012-09-10 | 1121 | 1,2,6 clr, 3-5 f | clr | clr | n
2012-09-11 | 1142 | f all | clr | clr | n
2012-09-12 | 1158 | 1-2 clr, 3-6 f | clr | clr | n
2012-09-13 | 1128 | 1-2 clr, 3-6 f | clr | clr | n
2012-09-14 | 1159 | 1-2 clr, 3-6 f | clr | clr | n
2012-09-15 | 1209 | 1-2 clr, 3-6 f | clr | clr | n
2012-09-16 | 1057 | clr | clr | clr | n
2012-09-17 | 1146 | clr | clr | clr | n
2012-09-18 | 1130 | clr | clr | clr | n
2012-09-19 | 1110 | clr | clr | clr | n
2012-09-20 | 1136 | clr | clr | clr | n
2012-09-21 | 1204 | clr | clr | clr | n
2012-09-22 | 1136 | clr | clr | clr | n
2012-09-23 | 1155 | clr | clr | clr | n
2012-09-24 | 1145 | clr | clr | clr | n
2012-09-25 | 1205 | clr | clr | clr | n
2012-09-26 | 1144 | clr | clr | clr | n
2012-09-27 | 1131 | clr | clr | clr | n
2012-09-28 | 1137 | clr | clr | clr | n
2012-09-29 | 1205 | clr | clr | clr | n
2012-09-30 | 1315 | clr | clr | clr | n
Daily Check Swiss Tower October 2012
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
date
2012-10-01 | 1125 | clr | clr | clr | n
2012-10-02 | 1150 | clr | clr | clr | n
2012-10-03 | 1125 | 2-6 frost | clr | clr | n
2012-10-04 | 1150 | clr | clr | clr | n
2012-10-05 | 1224 | clr | clr | clr | n
2012-10-06 | 1205 | clr | clr | clr | n
2012-10-07 | 1250 | 2-6 frost | clr | clr | n
2012-10-08 | 1156 | 2-6 frost | clr | clr | n
2012-10-09 | 1144 | clr | clr | clr | n | 1600-1700 UTC working near the Noone Vault
2012-10-10 | 1150 | clr | clr | clr | n
2012-10-11 | 1340 | 4-6 frost | clr | clr | n
2012-10-12 | 1154 | 4-6 frost | clr | clr | n
2012-10-13 | 1305 | 4-6 frost | clr | clr | n
2012-10-14 | 1211 | 2-6 frost | clr | clr | n | 1600-1700 UTC working near the Noone Vault
2012-10-15 | 1123 | 4-6 frost | clr | clr | n
2012-10-16 | 1135 | 4-6 frost | clr | clr | n
2012-10-17 | 1155 | 4-6 frost | clr | clr | n
2012-10-18 | 1610 | 4-6 frost | clr | clr | n
2012-10-19 | 1203 | 4-6 frost | clr | clr | n
2012-10-20 | 1155 | 4-6 frost | clr | clr | n
2012-10-21 | 1209 | 4-6 frost | clr | clr | n
2012-10-22 | 1155 | 4-6 frost | clr | clr | n | 1610-1645 UTC working near the Noone Vault
2012-10-23 | 1216 | 4-6 frost | clr | clr | n
2012-10-24 | 1155 | 4-6 frost | clr | clr | n
2012-10-25 | 1226 | 4-6 frost | clr | clr | n
2012-10-26 | 1226 | 4-6 frost | clr | clr | n | Filter screen disintegrated on 1, will be replaced
2012-10-27 | 1141 | 4-6 frost | clr | clr | n | Filter screen on 1 replaced
2012-10-28
2012-10-29 | 1126 | clr | clr | clr | n
2012-10-30 | 1139 | 4-6 frost | clr | clr | n | 1600-1700 UTC working near the Noone Vault
2012-10-31 |  | 4-6 frost | clr | clr | n
Daily Check Swiss Tower November 2012
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
date
2012-11-01 | 1158 | 4-6 frost | clr | clr | n
2012-11-02 | 1122 | 4-6 frost | clr | clr | n
2012-11-03 | 1123 | 4-6 frost | clr | clr | n
2012-11-04 | 820 | clr | clr | clr | n
2012-11-05 | 1213 | clr | clr | clr | n
2012-11-06 | 1208 | 4-6 frost | clr | clr | n
2012-11-07 | 1145 | 3-6 frost | clr | clr | n
2012-11-08 | 1205 | 3-6 frost | clr | clr | n | At Noone Hole from 1845 - 2000UTC
2012-11-09 | 1140 | 3-6 frost | clr | clr | n
2012-11-10 | 1320 | 3-6 frost | clr | clr | n
2012-11-11 | 1225 | 3-6 frost | clr | clr | n
2012-11-12 | 1245 | 3-6 frost | clr | clr | n
2012-11-13 | 1238 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-11-14 | 1258 | 3-6 frost | clr | clr | n
2012-11-15 | 1238 | 3-6 frost | clr | clr | n
2012-11-16 | 1225 | 3-6 frost | clr | clr | n
2012-11-17 | 1420 | 3-6 frost | clr | clr | n
2012-11-18 | 1255 | 3-6 frost | clr | clr | n
2012-11-19 | 1250 | 2 rmv fr, 3-6 frost | clr | clr | n
2012-11-20 | 1220 | 3-6 frost | clr | clr | n
2012-11-21 | 1225 | 3-6 frost | clr | clr | n
2012-11-22 | 1354 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-11-23 | 1220 | clr | clr | clr | n
2012-11-24 | 1230 | clr | clr | clr | n
2012-11-25 | 1315 | clr | clr | clr | n
2012-11-26 | 1250 | clr | clr | clr | n
2012-11-27 | 1310 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-11-28 | 1245 | clr | clr | clr | n
2012-11-29 | 1240 | clr | clr | clr | n
2012-11-30 | 1252 | clr | clr | clr | n
Daily Check Swiss Tower December 2012
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
date
2012-12-01 | 1220 | 1-2 clr, 3-6 frost | clr | clr | n
2012-12-02 | 1445 | clr | clr | clr | n
2012-12-03 | 1255 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-12-04 |  | clr | clr | clr | n
2012-12-05 | 1250 | clr | clr | clr | n
2012-12-06 | 1307 | clr | clr | clr | n
2012-12-07 | 1240 | clr | clr | clr | n
2012-12-08 | 1245 | clr | clr | clr | n
2012-12-09 | 1345 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-12-10
2012-12-11 | 1245 | clr | clr | clr | n
2012-12-12
2012-12-13 | 1255 | clr | clr | clr | n
2012-12-14 | 1017 | clr | clr | clr | n
2012-12-15 | 1320 | 1-2 rmv fr, 3-6 frost | clr | 1-2 clr, 3-6 frost | n
2012-12-16 | 1335 | clr | clr | clr | n
2012-12-17 | 1240 | clr | clr | clr | n
2012-12-18 | 1300 | clr | clr | clr | n
2012-12-19 | 1210 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-12-20 | 1223 | clr | clr | clr | n
2012-12-21 | 1320 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-12-22 | 1324 | clr | clr | clr | n
2012-12-23 | 1315 | 1-2 rmv fr, 3-6 frost | clr | clr | n
2012-12-24 | 1240 | clr | clr | clr | n
2012-12-25
2012-12-26 | 1240 | clr | clr | clr | n
2012-12-27 | 1215 | clr | clr | clr | n
2012-12-28 | 1211 | clr | clr | clr | n
2012-12-29 | 1225 | clr | clr | clr | n
2012-12-30 | 1211 | clr | clr | clr | n
2012-12-31 | 1250 | clr | clr | clr | n

## Solar Tracker Daily Check
2012 Daily Check Solar Tracker
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-01-01 | 1444 | clr | rmv lf | clr | clr | rmv lf
2012-01-02 | 1320 | clr | clr | clr | clr | clr | ok
2012-01-03 | 1316 | rmv lf 1, rest clr | rmv lf | clr | rmv lf | rmv lf and BLSN | ok
2012-01-04 | 1321 | rmv lf 1, rest clr | rmv lf and BLSN | clr | rmv lf | rmv lf and BLSN | ok | Fixed arm fan I2 still sounds wonky- a stuttering sound as it turns. But seems to be working o.k. Continue to monitor and contact PI's if issue increases.
2012-01-05 | 1315 | clr | rmv lf all | clr | rmv lf | rmv lf all | ok
2012-01-06 | 1259 | rmv lf 1, rest clr | rmv BLSN all | clr | rmv lf | rmv BLSN all | ok
2012-01-07 | 1346 | rmv lf 1, rest clr | rmv BLSN all | clr | rmv lf | rmv BLSN all | ok
2012-01-08 | 1440 | clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-01-09 | 1315 | clr | clr | clr | clr | clr | ok
2012-01-10 | 1340 | rmv lf 1, rest clr | rmv lf | clr | clr | rmv lf | ok
2012-01-11 | 1321 | clr | rmv lf | clr | clr | rmv lf | ok | Very calm day. Checked fixed arm fan I2 and can hear air being drawn into tubes.
2012-01-12 | 1350 | clr | rmv lf | clr | clr | rmv lf | ok
2012-01-13 | 1310 | rmv lf 1, rest clr | rmv BLSN all | rmv lf I1, rest clr | clr | rmv BLSN all | ok
2012-01-14 | 1315 | clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-01-15 | 1358 | clr | rmv lf or blsn | clr | clr | rmv lf or blsn | ok
2012-01-16 | 1317 | clr | rmv lf or blsn | clr | rmv lf | rmv lf or blsn | ok
2012-01-17 | 1325 | clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-01-18 | 1249 | rmv lf 1, rest clr | mrv lf | clr | rmv lf | rmv lf | ok
2012-01-19 | 1305 | rmv f 1, rest clr | rmv lf | rmv lf I1, rest clr | rmv lf | rmv lf | ok
2012-01-20 | 1257 | clr | rmv BLSN all | clr | clr | rmv BLSN all | ok
2012-01-21 | 1344 | rmv lf 1, rest clr | rmv lf or blsn | clr | rmv lf | rmv lf or blsn | ok
2012-01-22 | 1345 | rmv lf 1, rest clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-01-23 | 1320 | rmv lf 1, rest clr | rmv lf | clr | rmv lf | rmv lf | ok | replace filter F3 solar tracker
2012-01-24 | 1312 | rmv lf 1, rest clr | rmv lf all | rmv lf I1, rest clr | rmv lf | rmv lf all | ok
2012-01-25 | 1308 | rmv lf 1, rest clr | rmv lf all | clr | rmv lf | rmv lf all | ok
2012-01-26 | 1350 | rmv lf 1, rest clr | rmv lf all | clr | clr | clr | ok
2012-01-27 | 1308 | rmv lf 1, rest clr | rmv lf all | clr | rmv lf | rmv lf all | ok
2012-01-28 | 1345 | clr | rmv lf all | clr | rmv lf | rmv lf all | ok
2012-01-29 | 1236 | rmv lf 1, rest clr | rmv BLSN all | rmv lf I1, rest clr | rmv lf | rmv BLSN all | ok
2012-01-30 | 1304 | rmv lf 1, rest clr | rmv lf all | clr | clr | rmv lf all | ok | replaced both filters F1 fixed arm
2012-01-31 | 1330 | rmv lr 1, rest clr | rmv lf all | clr | clr | rmv lf all | ok
Daily Check Solar Tracker February 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-02-01 | 1255 | rmv lf 1, rest clr | rmv hf | clr | rmv lf | rmv hf | rmv lf
2012-02-02 | 1305 | rmv rime 1 | rmv hf | clr | rmv lf | rmv hf | clr
2012-02-03 | 1315 | clr | rmv hf | clr | rmv lf | rmv hf | clr
2012-02-04 | 1340 | clr | rmv f | clr | rmv hf | rmv lf | clr
2012-02-05 | 1400 | rmv rime 1 | rmv f | clr | rmv hf | rmv lf | clr
2012-02-06 | 1308 | clr | rmv f | clr | rmv f | rmv f | clr
2012-02-07 | 1356 | rmv rime I1, I2 I3 clr | rmv f | clr | rmv f | rmv lf | clr
2012-02-08 | 1342 | rmv rime I1, I2 I3 clr | rmv f | rmv f I1 | rmv f | rmv lf | ok
2012-02-09 | 1300 | clr | rmv f | clr | rmv f | rmv f | ok
2012-02-10 | 1312 | clr | rmv lf | clr | clr | rmv lf | ok
2012-02-11 | 1342 | rmv f I1, rest clr | rmv f | clr | clr | rmv f | ok
2012-02-12 | 1338 | clr | rmv f | clr | rmv f | rmv f | ok
2012-02-13 | 1620 | clr | rmv snow | clr | clr | rmv snow | ok | strong winds delayed inspection, cleared many instruments
2012-02-14 | 1311 | clr | rmv snow | clr | rmv f | rmv snow | ok | Solar tube accumulated frost immediately after clearing.
2012-02-15 | 1336 | clr | rmv f | clr | clr | rmv f | ok
2012-02-16 | 1354 | rmv lf I1 | rmv snow | clr | clr | rmv snow | ok
2012-02-17 | 1423 | clr | rmv f | clr | rmv f | rmv f | ok
2012-02-18 | 1424 | clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-02-19 | 1411 | clr | rmv lf | clr | rmv hf | rmv lf | ok
2012-02-20 | 1320 | rmv f I1, rest clr | rmv f | clr | clr | rmv f | ok
2012-02-21 | 1340 | rmv f I1, rest clr | rmv f | clr | rmv lf | rmv lf | ok
2012-02-22 | 1355 | rmv f I1, rest clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-02-23 | 1455 | rmv f I1, rest clr | rmv lf | rmv lf I1 & I2 | rmv lf | rmv lf | ok | fixed arm I2 fan is silent - inoperable?
2012-02-24 | 1324 | clr | rmv lf | clr | rmv lf | rmv lf | ok | fixed arm I2 fan is silent - inoperable?
2012-02-25 | 1355 | rmv f I1, rest clr | rmv lf | clr | rmv lf | rmv lf | ok | Inspected I2 fan, fan restarted but replacement is likely needed
2012-02-26 | 1227 | rmv f I1, rest clr | rmf lf | clr | rmv lf | rmv lf | ok | I2 fan still running today; emailed PI about possible replacement
2012-02-27 | 1326 | clr | rmv lf | clr | clr | rmv lf | ok | I2 fan still running today
2012-02-28 | 1400 | clr | rmv lf | clr | rmv lf | rmv lf | ok | I2 fan still running today
2012-02-29 | 1346 | rmv f I1, rest clr | rmv lf | clr | rmv lf | rmv lf | ok | I2 fan still running today
Daily Check Swiss March 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-03-01 | 1420 | rmv f I1, rest clr | rmv sn | rmv lf I2 | clr | rmv sn | ok
2012-03-02 | 1417 | clr | rmv sn | clr | clr | rmv sn | ok | High winds.
2012-03-03 | 1349 | rmv f I1, rest clr | rmv packed sn | clr | clr | rmv packed sn | ok | I1 collected snow immediately upon cleaning with EtOH.
2012-03-04 | 1432 | rmv f I1, rest clr | rmv packed sn | clr | clr | rmv packed sn | ok
2012-03-05 | 1309 | clr | rmv packed sn | clr | clr | rmv packed sn | ok
2012-03-06 | 1358 | rmv snow I1, 2&3 clr | rmv packed sn | rmv lf I2 | clr | rmv packed sn | ok
2012-03-07 | 1408 | rmv f I1, rest clr | rmv packed sn | clr | clr | rmv packed sn | ok
2012-03-08 | 1345 | rmv hf I1, I2 & 3 clr | rmv packed sn | rmv snow 1 & 2 | clr | rmv packed sn | ok | removed large qunatities of packed snow from solar tracker I2 housing to restore air flow across dome
2012-03-09 | 1438 | rmv f I1, rest clr | rmv lf | rmv lf I1 | clr | rmv lf | ok
2012-03-10 | 1342 | rmv lf I1, rest clear | rmv lf | clr | rmv lf | rmv lf | ok
2012-03-11 | 1244 | clr | rmv sn | clr | clr | rmv sn | ok
2012-03-12 | 1356 | clr | rmv sn | clr | clr | rmv sn | ok
2012-03-13 | 1256 | clr | rmv sn | clr | clr | rmv sn | ok
2012-03-14 | 1336 | clr | rmv ls | clr | clr | rmv ls | ok
2012-03-15 | 1315 | rmv lf I 1-3 | rmv lf | clr | clr | rmv lf | ok
2012-03-16 | 1408 | rmv f I1, 2&3 clr | rmf f | clr | clr | rmv f | ok
2012-03-17 | 1438 | rmv f I1, 2&3 clr | rmf f | clr | clr | rmv f | ok | removed large qunatities of packed snow from fixed arm I1 housing to restore air flow across dome
2012-03-18 | 1148 | clr | rmv sn | clr | clr | rmv sn | ok
2012-03-19 | 1319 | rmv lf I1, rest clear | rmv sn | clr | clr | rmv sn | ok
2012-03-20 | 1313 | clr | rmv sn | clr | clr | rmv sn | ok
2012-03-21 | 1315 | rmv f I1, 2&3 clr | rmf f | clr | clr | rmv f | ok
2012-03-22 | 1338 | rmv f I1, 2&3 clr | rmv lf | clr | clr | rmv lf | ok
2012-03-23 | 1331 | rmv hf I1, I2 & 3 clr | rmv hf | rmv hf I1 | rmf hf | rmv hf | ok
2012-03-24 | 1428 | clr | rmv sn | clr | clr | rmv sn | ok
2012-03-25 | 1205 | rmv hf I1, I2 & 3 clr | rmv sn | rmv f I1 | rmv hf | rmv sn | ok | remove frost from sonic height senson
2012-03-26 | 1222 | rmv hf I1, I2 & 3 clr | rmv hf | rmv f I1 | rmv hf | rmv hf | ok | remove frost from sonic height senson
2012-03-27 | 1157 | rmv lf I1, rest clear | rmv hf | clr | clr | rmv hf | ok
2012-03-28 | 1156 | clr | rmv f | clr | clr | rmv f | ok
2012-03-29 | 1210 | clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-03-30 | 1228 | rmv hf I1, I2 & 3 clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-03-31 | 1208 | clr | rmv lf | clr | clr | rmv lf | ok
Daily Check Solar Tracker April 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-04-01 | 1153 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-02 | 1149 | clr | clr | clr | clr | clr | ok
2012-04-03 | 1202 | clr | clr | clr | rmv lf | clr | clr
2012-04-04 | 1238 | clr | clr | clr | clr | clr | clr | replaced mesh intake filters
2012-04-05 | 1200 | clr | rmv lf | clr | clr | clr | clr
2012-04-06 | 1158 | clr | clr | clr | rmf lf | clr | clr
2012-04-07 | 1158 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-08 | 1148 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-09 | 1225 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-10 | 1223 | clr | clr | clr | clr | clr | ok
2012-04-11 | 1200 | rmv lf I1, 2&3 clr | rmv lf | clr | clr | rmv lf | ok
2012-04-12 | 1225 | clr | rmv hf | clr | clr | rmv lf | ok
2012-04-13 | 1246 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-14 | 1206 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-15 | 1011 | clr | clr | clr | clr | clr | ok
2012-04-16 | 1023 | clr | rmv lf | clr | clr | clr | ok
2012-04-17 | 1326 | clr | rmv hf | clr | clr | clr | ok
2012-04-18 | 1200 | rmv lf I1, 2&3 clr | rmv f | rmv lf I1, rest clr | rmv lf | rmv f | ok
2012-04-19 | 1236 | clr | rmv f | clr | clr | rmv f | ok
2012-04-20 | 0947 | clr | clr | clr | clr | clr | ok
2012-04-21 | 0946 | clr | rmv lf | clr | clr | clr | ok
2012-04-22 | 0944 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-23 | 0828 | clr | rmv lf | clr | clr | rmv lf | ok
2012-04-24 | 1206 | rmv lf I1&3, 2 clr | rmv lf | rmv lf I1, rest clr | clr | rmv lf | ok
2012-04-25 | 1152 | clr | clr | clr | clr | rmv lf | ok
2012-04-26 | 1803 | clr | clr | clr | clr | rmv lf | ok
2012-04-27 | 1239 | clr | clr | clr | clr | clr | ok
2012-04-28 | 1239 | rmv lf I1&3, 2 clr | rmv lf | clr | rmv lf | rmv lf | ok
2012-04-29 | 2107 | clr | rmv lf | clr | clr | clr | ok
2012-04-30 | 1850 | clr | clr | clr | clr | clr | ok
Daily Check Solar Tracker May 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-05-01 | 1145 | clr | rmv lf F2 | clr | clr | rmv lf F2&3 | ok
2012-05-02 |  | clr | clr | clr | clr | clr | ok
2012-05-03 | 1558 | clr | clr | clr | clr | clr | ok
2012-05-04 | 1113 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-05 | 1109 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-06 | 1219 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-07 | 1242 | clr* | rmv lf all | clr* | clr | rmv lf all | ok | *removed lf from shrouds on DW instruments
2012-05-08 | 1140 | clr | rmv lf all | clr | clr | ok | ok
2012-05-09 | 1142 | clr | rmv lf all | clr | clr | ok | ok
2012-05-10 | 1250 | clr* | rmv lf all | clr* | clr | lf all | ok | *removed lf from shrouds on DW instruments
2012-05-11 | 1052 | clr | clr | clr | clr | clr | ok
2012-05-12 | 1146 | clr | clr | clr | clr | clr | ok
2012-05-13 | 1310 | clr | clr | clr | clr | clr | ok
2012-05-14 | 1129 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-15 | 1248 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-16 | 1115 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-17 | 1307 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-18 | 1145 | clr | lf | clr | clr | lfall | ok
2012-05-19 | 1048 | clr | rmv lf all | clr | clr | rmv lf all | ok
2012-05-20 | 1338 | clr | clr | clr | clr | clr | ok
2012-05-21 | 1325 | clr | clr | clr | clr | clr | ok
2012-05-22 | 1213 | clr | clr | clr | clr | clr | ok
2012-05-23 | 1234 | clr | clr | clr | clr | clr | ok
2012-05-24 | 1300 | clr | clr | n/a | n/a | n/a | n/a | tracker removed for maintenance
2012-05-25 | 1255 | clr | clr | n/a | n/a | n/a | n/a | 1930-2100 Tracker reinstalled, PFR online
2012-05-26 | 1617 | clr | clr | clr | clr | clr | clr | Checked telemetry. Logging data ok
2012-05-27 | 1325 | clr | rmv lf F2, clr | clr | clr | rmv lf all | clr
2012-05-28 | 1114 | clr | clr | clr | clr | clr | clr
2012-05-29 | 1123 | clr | clr | clr | clr | clr | clr
2012-05-30 | 1220 | clr | clr | clr | clr | clr | clr | Power out 0315-0328. t_CG4in fluctuating from -1.6 to 380(?) loose connection for temp sensor?
2012-05-31 | 1210 | clr | rmv hf | clr | rmv hf | rmv hf | rmv hf | not level
Daily Check Solar Tracker June 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-06-01 | 1127 | clr | rmv lf | clr | clr | rmv lf | clr | Tracker slightly “behind” and altitude off low
2012-06-02 | 1113 | clr | clr | clr | clr | rmv lf | clr
2012-06-03 | 1412 | clr | rmv lf | clr | clr | rmv lf F3 | clr
2012-06-04 | 1137 | clr | rmv lf | clr | clr | clr | clr
2012-06-05
2012-06-06 | 1219 | clr | rmv lf F1 | clr | clr | clr | clr
2012-06-07 | 1354 | clr | clr | clr | clr | clr | clr
2012-06-08 | 1218 | clr | lf | clr | clr | lf | clr
2012-06-09 | 1230 | clr | rmv lf all | clr | clr | rmv lf all | clr
2012-06-10 | 1408 | clr | rmv lf all | clr | clr | rmv lf all | clr
2012-06-11 | 1217 | c | rmv lf all | clr | clr | rmv lf all | clr
2012-06-12 | 1316 | clr | rmv lf all | clr | clr | rmv lf all | clr
2012-06-13 | 1226 | clr | rmv lf all | clr | clr | rmv lf all | clr
2012-06-14 | 1252 | clr | rmv lf all | clr | clr | rmv lf all | clr
2012-06-15 | 1138 | I1 rime, clr | rmv lf all | I1 rime, clr | clr | rmv lf all | clr
2012-06-16 | 1154 | clr | rmv lf F1, clr | clr | clr | clr | clr
2012-06-17 | 1614 | clr | clr | clr | clr | clr | clr
2012-06-18 | 1316 | clr | clr | clr | clr | clr | clr
2012-06-19 | 1230 | clr | clr | clr | clr | clr | clr
2012-06-20 | 1323 | 1frost, 2-3 clr | rmv lf | 1frost 2clr | clr | rmv lf | ok
2012-06-21 | 1238 | 1&3 frost, 2 clr | clr | 1frost 2clr | clr | clr | ok | 1240 Changed intra configuration per Karls request to improve tracking. Ac
2012-06-22 | 1242 | clr | clr | clr | clr | clr | ok
2012-06-23 | 1304 | clr | rmv lf | clr | clr | clr | ok
2012-06-24 | 1415 | clr | rmv lf | clr | clr | rmv lf | ok
2012-06-25 | 1238 | clr | clr | clr | clr | clr | ok
2012-06-26 | 1204 | clr | clr | clr | clr | clr | ok
2012-06-27 | 1206 | clr | rmv f | clr | clr | rmv f | ok
2012-06-28 | 1231 | rmv f | rmv hf | rmv hf | rmv hf | rmv hf | rmv f
2012-06-29 | 1216 | clr | clr | clr | clr | clr | ok
2012-06-30 | 1502 | clr | clr | clr | clr | clr | ok
Daily Check Solar Tracker July 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-07-01 | 1409 | clr | clr | clr | clr | clr | ok
2012-07-02 | 1220 | clr | clr | clr | clr | clr | ok
2012-07-03 | 1324 | clr | clr | clr | clr | clr | ok
2012-07-04 | 1329 | 1frost, 2-3 clr | rmv lf | 1frost 2clr | rmv lf | rmv lf | ok
2012-07-05 | 1332 | clr | rmv lf | clr | clr | rmv lf | ok
2012-07-06 | 1323 | clr | clr | clr | clr | clr | ok
2012-07-07 | 1245 | clr | clr | clr | clr | clr | ok
2012-07-08 | 1342 | clr | clr | clr | clr | clr | ok
2012-07-09 | 1200 | I1 rmv f | rmv f | clr | clr | rmv f | ok
2012-07-10 | 1133 | clr | rmv lf F2 | clr | clr | rmv f | ok
2012-07-11 | 1134 | I3 water drop on dome; I2 water drop on shroud | rmv rime | clr | clr | rmv rime | ok
2012-07-12 | 1139 | clr | rmv rime | clr | clr | rmv rime | ok
2012-07-13 | 0930 | clr | rmv rime | clr | clr | rmv rime | ok
2012-07-14 | 1144 | I2 water drop on shroud | rmv rime F4 | clr | clr | rmv rime | ok
2012-07-15
2012-07-16 | 1630 | clr | clr | clr | clr | clr | ok
2012-07-17 | 1500 | clr | rmv lf F2 | clr | clr | clr | ok
2012-07-18 | 1154 | clr | rmv f all | clr | clr | rmv f all | ok
2012-07-19 | 1159 | clr | clr | clr | clr | clr | ok
2012-07-20 | 1051 | clr | clr | clr | clr | clr | ok
2012-07-21 | 1337 | clr | clr | clr | clr | clr | ok
2012-07-22 | 1350 | clr | clr | clr | clr | clr | ok
2012-07-23 | 1345 | clr | rmv lf F1 | clr | clr | clr | ok
2012-07-24 | 1322 | clr | rmv lf F1 | clr | clr | clr | ok
2012-07-25 | 1231 | clr | rmv f all | clr | clr | rmv f all | ok
2012-07-26 | 1211 | clr | rmv lf F1 | clr | clr | clr | ok
2012-07-27 | 1046 | clr | rmv f all | clr | clr | rmv f all | ok
2012-07-28 | 2104 | Rime on 1 and 3 | rmv rime all | Rime on I1 | clr | clr | ok
2012-07-29 | 1635 | rmv ice 1 | clr | rmv ice 1 | water drops | clr | ok
2012-07-30 | 1251 | rmv ice 1, 3water drip | clr | rmv ice 1 | water drops | clr | ok
2012-07-31 | 1202 | clr | clr | clr | clr | clr | ok
Daily Check Solar Tracker August 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-08-01
2012-08-02 | 1305 | clr | clr | clr | clr | clr | ok
2012-08-03 | 1348 | clr | rmv f all | clr | clr | rmv f all | ok
2012-08-04 | 1225 | rmv ice on 1, frozen drip on 3 shroud | rmv f all | rmv ice 1 | clr | rmv f all | ok
2012-08-05 | 1408 | clr | clr | clr | clr | clr | ok
2012-08-06 | 1343 | ice on tip of 3 | clr | clr | clr | clr | ok
2012-08-07 | 1315 | rmv ice on 1, ice on tip of 3 | clr | clr | rmv some snow | rmv f F3 | ok
2012-08-08 | 1200 | ice on tip of 3, almost gone | rmv f all | clr | clr | rmv f all | ok | power outage 1252-1314UTC and 1527-1530 UTC
2012-08-09 | 1241 | wiped tip of 3 | clr | clr | clr | clr | ok
2012-08-10 | 1217 | clr | rmv f all | clr | clr | rmv f all | ok
2012-08-11 | 1255 | clr | clr | clr | clr | clr | ok | tracker found not tracking; reset 1441UTC
2012-08-12 | 1432 | clr | rmv f 1&2 | clr | clr | clr | ok | tracker found not tracking; reset 1718-1732UTC
2012-08-13 | 1146 | rmv frost 1 and shroud of 3 | rmv f all | rmv f I1 | clr | rmv f all | rmv f | tracker did not track through the night; reset 1546-1551UTC
2012-08-14 | 1200 | clr | rmv f all | clr | clr | rmv f all | clr
2012-08-15 | 1213 | clr | rmv f all | rmv rime I1 | clr | rmv f all | clr | OVC - think it was tracking properly
2012-08-16 | 1211 | clr | rmv f all | clr | clr | rmv f all | rmv f
2012-08-17 | 1300 | clr | clr | clr | clr | clr | clr
2012-08-18 | 1121 | clr | clr | clr | clr | clr | clr
2012-08-19 | 1110 | clr | clr | clr | clr | clr | clr
2012-08-20 | 1047 | clr | clr | clr | clr | clr | clr
2012-08-21 | 1105 | clr | clr | clr | clr | clr | clr
2012-08-22 | 1110 | clr | clr | clr | clr | clr | clr
2012-08-23 | 1110 | clr | clr | clr | clr | clr | clr
2012-08-24 | 1239 | clr | clr | clr | clr | clr | clr
2012-08-25 | 1200 | clr | clr | clr | clr | clr | clr
2012-08-26 | 1230 | clr | clr | clr | clr | clr | clr
2012-08-27 | 1111 | clr | rmv fr all | clr | clr | rmv f all | clr
2012-08-28 | 1143 | clr | rmv fr all | clr | clr | rmv f all | clr
2012-08-29 | 1144 | rmv fr all | rmv fr all | clr | rmv fr | rmv fr all | clr
2012-08-30 | 1142 | rmv fr all | rmv fr all | clr | rmv fr | rmv fr all | clr
2012-08-31 | 1141 | clr | rmv fr all | clr | clr | rmv fr all | clr
Daily Check Solar Tracker September 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-09-01 | 1145 | clr | rmv fr all | clr | clr | rmv fr all | clr
2012-09-02 | 1025 | clr | rmv fr all | clr | rmv fr | rmv fr all | clr
2012-09-03 | 1145 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-04 | 1123 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-09-05 | 1142 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-06 | 1155 | clr | clr | clr | clr | clr | clr
2012-09-07 | 1245 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-08 | 1301 | rmv fr | rmv fr | clr | clr | rmv fr | clr
2012-09-09 | 1250 | clr | rmv fr | clr | clr | rmv fr | clr
2012-09-10 | 1127 | clr | rmv fr | clr | clr | rmv fr | clr
2012-09-11 | 1157 | clr | rmv fr | clr | clr | rmv fr | clr | Revisited at 1234utc
2012-09-12 | 1207 | clr | rmv fr | clr | clr | rmv fr | clr
2012-09-13 | 1134 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-14 | 1210 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-15 | 1217 | clr | rmv fr | clr | clr | rmv fr | clr
2012-09-16 | 1106 | clr | clr | clr | clr | clr | clr
2012-09-17 | 1149 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr | 1545-1550UTC Removed PFR
2012-09-18 | 1142 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-19 | 1118 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-20 | 1145 | clr | rmv fr | clr | clr | rmv fr | clr
2012-09-21 | 1212 | clr | clr | clr | clr | clr | clr
2012-09-22 | 1146 | rmv fr | clr | clr | clr | rmv fr | clr
2012-09-23 | 1205 | clr | clr | clr | clr | clr | clr
2012-09-24 | 1154 | clr | rmv fr | clr | rmv fr | clr | clr
2012-09-25 | 1210 | clr | clr | clr | clr | clr | clr
2012-09-26 | 1155 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-27 | 1139 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-09-28 | 1142 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-09-29 | 1212 | clr | rmv fr | clr | clr | rmv fr | clr
2012-09-30 | 1222 | clr | rmv fr | clr | clr | rmv fr | clr
Daily Check Solar Tracker October 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-10-01 | 1136 | clr | clr | clr | clr | clr | clr
2012-10-02 | 1158 | clr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-10-03 | 1135 | rmv fr | rmv fr all | rmv fr | rmv fr | rmv fr | clr
2012-10-04 | 1157 | clr | clr | clr | clr | clr | clr
2012-10-05 | 1232 | clr | clr | clr | clr | clr | clr
2012-10-06 | 1213 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-07 | 1300 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-08 | 1202 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-09 | 1151 | clr | rmv fr | clr | rmv fr | rmv fr | clr | `
2012-10-10 | 1200 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-11 | 1335 | clr | rmv fr | clr | clr | rmv fr | clr
2012-10-12 | 1208 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-13 | 1310 | clr | clr | clr | clr | clr | clr
2012-10-14 | 1219 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-10-15 | 1129 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-10-16 | 1142 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-10-17 | 1202 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-10-18 | 1620 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2012-10-19 | 1211 | clr | clr | clr | clr | clr | clr
2012-10-20 | 1205 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-21 | 1216 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-22 | 1201 | clr | clr | clr | rmv fr | rmv fr | clr
2012-10-23 | 1221 | clr | clr | clr | rmv fr | rmv fr | clr
2012-10-24 | 1203 | clr | clr | clr | rmv fr | clr | clr
2012-10-25 | 1234 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-26 | 1231 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-27 | 1144 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-10-28
2012-10-29 | 1134 | clr | clr | clr | clr | clr | clr
2012-10-30 | 1149 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2012-10-31 | 1133 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
Daily Check Solar Tracker November 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-11-01 | 1204 | clr | clr | clr | clr | rmv fr | clr
2012-11-02 | 1129 | clr | rmv fr | clr | clr | rmv | clr
2012-11-03 | 1129 | clr | clr | clr | clr | clr | clr
2012-11-04 | 0810 | clr | clr | clr | clr | clr | clr
2012-11-05 | 1220 | clr | clr | clr | clr | rmv fr | clr
2012-11-06 | 1218 | clr | clr | clr | clr | clr | clr
2012-11-07 | 1157 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2012-11-08 | 1207 | rmv fr | rmv fr | clr | rmv fr | clr | clr
2012-11-09 | 1147 | clr | rmv fr | clr | rmv fr | clr | clr
2012-11-10 | 1325 | clr | clr | clr | clr | clr | clr
2012-11-11 | 1230 | clr | rmv fr | clr | clr | rmv fr | clr
2012-11-12 | 1250 | clr | clr | clr | clr | clr | clr
2012-11-13 | 1245 | clr | clr | clr | clr | clr | clr
2012-11-14 | 1313 | clr | clr | clr | clr | clr | clr
2012-11-15 | 1248 | clr | clr | clr | clr | clr | clr
2012-11-16 | 1235 | clr | clr | clr | clr | clr | clr
2012-11-17 | 1428 | clr | clr | clr | clr | clr | clr
2012-11-18 | 1312 | clr | clr | rmv fr | clr | clr | clr | shifted 90 deg to W
2012-11-19 | 1300 | clr | clr | clr | clr | clr | clr | shifted 90 deg to E
2012-11-20 | 1233 | clr | clr | rmv fr | clr | clr | clr | "
2012-11-21 | 1230 | clr | clr | rmv fr | clr | clr | clr | "
2012-11-22 | 1354 | clr | rmv fr | clr | clr | rmv fr | clr | "
2012-11-23 | 1230 | clr | clr | clr | clr | clr | clr | "
2012-11-24 | 1235 | clr | clr | clr | clr | clr | clr | "
2012-11-25 | 1325 | clr | clr | clr | clr | clr | clr | "
2012-11-26 | 1255 | fr | clr | fr | clr | clr | clr | "
2012-11-27 | 1320 | clr | clr | clr | clr | clr | clr | "
2012-11-28 | 1250 | clr | clr | rmv fr | clr | clr | clr
2012-11-29 | 1250 | clr | clr | clr | clr | clr | clr | "
2012-11-30 | 1300 | rmv fr | clr | rmv fr | clr | clr | clr
Daily Check Solar Tracker December 2012
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2012-12-01 | 1230 | clr | clr | clr | clr | clr | clr
2012-12-02 | 1455 | clr | clr | clr | clr | clr | clr
2012-12-03 | 1305 | clr | clr | clr | rmv fr | clr | clr
2012-12-04 | 1335 | clr | clr | clr | rmv fr | clr | clr
2012-12-05 | 1300 | clr | clr | clr | clr | clr | clr
2012-12-06 | 1318 | clr | clr | clr | clr | clr | clr
2012-12-07 | 1250 | clr | clr | clr | clr | clr | clr
2012-12-08 | 1255 | clr | clr | clr | clr | clr | clr
2012-12-09 | 1355 | clr | clr | clr | clr | clr | clr
2012-12-10 | 1254 | clr | clr | clr | clr | clr | clr
2012-12-11
2012-12-12 | 1255 | clr | clr | clr | clr | clr | clr
2012-12-13 | 1305 | clr | clr | clr | clr | clr | clr
2012-12-14 | 1030 | clr | clr | clr | clr | clr | clr
2012-12-15 | 1330 | clr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2012-12-16 | 1350 | clr | clr | clr | clr | clr | clr
2012-12-17 | 1250 | clr | clr | clr | clr | clr | clr
2012-12-18 | 1312 | rmv fr | clr | rmv fr | clr | clr | clr
2012-12-19 | 1220 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2012-12-20 | 1233 | clr | clr | clr | clr | clr | clr
2012-12-21 | 1325 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2012-12-22 | 1335 | rmv fr | rmv fr | rmv fr | clr | clr | clr
2012-12-23 | 1320 | rmv fr | clr | clr | clr | clr | clr
2012-12-24 | 1248 | clr | clr | clr | clr | clr | clr
2012-12-25
2012-12-26 | 1250 | clr | clr | clr | clr | clr | clr
2012-12-27 | 1220 | clr | clr | clr | clr | clr | clr
2012-12-28 | 1215 | clr | clr | clr | clr | clr | clr
2012-12-29 | 1230 | clr | clr | clr | clr | clr | clr
2012-12-30 | 1217 | clr | clr | clr | clr | clr | clr
2012-12-31 | 1300 | clr | clr | clr | rmv fr | clr | clr

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2012-05-30 | 1220 | Horiz off ~3mm behind, azimuth low. | clr | No sun, will check later. Possibly off from power outage 0315-0328UTC
2012-05-31 | 1330 |  | clr | Adjusted tracker to level. Skc
2012-06-01 | 1127 | Horiz off ~1mm behind, azimuth low. Slightly | clr | skc
2012-06-02 | 1216 | off | clr | skc
2012-06-03 | 1415 | off | clr | skc, few on horizon
2012-06-04 | 1139 | off | clr | SCT
2012-06-05
2012-06-06 | 1220 | off | clr | THN OVC -SN
2012-06-07 | 1353 | off | clr | SCT -SN
2012-06-08 | 1218 | off | clr | sct
2012-06-09 | 1232 | off | clr | SCT
2012-06-10 | 1409 | off | clr | FEW
2012-06-11 | 1219 | off | clr
2012-06-12 | 1318 | off | clr | FEW
2012-06-13 | 1225 | off | clr | FEW
2012-06-14 | 1254 | off | clr | FEW on horizon
2012-06-15 | 1141 | off | clr | OVC FZFG
2012-06-16 | 1156 | off | clr | SCT
2012-06-17 | 1615 |  | clr | OVC SN DRSN
2012-06-18 | 1317 |  | clr | OVC
2012-06-19 | 1231 |  | clr | OVC
2012-06-20 | 1324 | off | clr | OVC
2012-06-21 | 1240 |  | lf | OVC, 1320UTC reset clock. Datalogger +4s. Changed Intra config per Karls request.
2012-06-22 | 1243 |  | clr | OVC
2012-06-23 | 1306 | spot low/half overlap | clr | SCT clear view of sun with clouds on horizon.
2012-06-24 | 1415 | A | clr | SCT increasing high clouds
2012-06-25 | 1238 | B | clr | BKN
2012-06-26 | 1109 | B | clr | BKN -SG
2012-06-27 | 1208 | B | clr | FEW on horizon
2012-06-28 | 1231 | B | f | BKN
2012-06-29 | 1215 |  | clr | OVC
2012-06-30 | 1503 |  | clr | OVC
2012-07-01 | 1410 |  | clr | OVC
2012-07-02 | 1220 | B | SG | BKN -SN/SG collecting on windows.
2012-07-03 | 1325 | B | clr | FEW
2012-07-04 | 1332 | B | lf | BKN FZFG IC
2012-07-05 | 1333 |  | clr | OVC -SN
2012-07-06 | 1324 |  | clr | OVC
2012-07-07 | 1245 | B+ | clr | BKN -SN
2012-07-08 | 1344 |  | clr | OVC
2012-07-09 | 1200 | A | clr | FEW Cirrus.
2012-07-10 | 1135 | B+ | clr | BKN
2012-07-11 | 1138 |  | water droplet at rim | OVC
2012-07-12 | 1138 |  | water droplet at rim | OVC
2012-07-13 | 928 | A | clr | FEW
2012-07-14 | 1148 | A | clr | SKC
2012-07-15 | 2130 | A | clr | FZFG with no high cloud layer.
2012-07-16 | 1630 | A | clr | BKN (SKC Ealier today) Mid/high clouds building
2012-07-17 | 1501 | B+ | clr | FEW
2012-07-18 | 1155 |  | clr | OVC
2012-07-19 | 1200 | A | clr | SCT
2012-07-20 | 1052 |  | clr | OVC
2012-07-21 | 1336 |  | clr | OVC -SN
2012-07-22 | 1351 |  | clr | OVC -SN
2012-07-23 | 1346 |  | clr | OVC IC
2012-07-24 | 1323 | B+ | clr | BKN
2012-07-25 | 1233 |  | clr | OVC
2012-07-26 | 1212 | B+ | clr | FEW
2012-07-27 | 1047 | B | clr | BKN
2012-07-28 | 1206 |  | clr | OVC
2012-07-29 | 1638 | B+ | water drops on window | SCT
2012-07-30 | 1255 |  | water drops on window | OVC
2012-07-31 | 1204 |  | clr | OVC
2012-08-01 | 1257 |  | clr | OVC -SG
2012-08-02 | 1306 |  | clr | OVC
2012-08-03 | 1349 |  | rmv f | OVC
2012-08-04 | 1227 |  | clr | BKN
2012-08-05 | 1410 | B+ | clr | BKN
2012-08-06 | 1344 |  | clr | OVC
2012-08-07 | 1317 |  | rmv some snow | OVC
2012-08-08 | 1202 |  | clr | OVC; power outage 1252-1314 and 1527-1530UTC
2012-08-09 | 1242 |  | clr | OVC -SN
2012-08-10 | 1219 | B | clr | BKN IC
2012-08-11 | 1252 |  | clr | Tracker not tracking; reset 1441UTC
2012-08-12 | 1436 | B+ after reset | clr | Tracker not tracking; reset 1718-1732UTC
2012-08-13 | 1141 |  | clr | Tracker not tracking
2012-08-14 | 1200 |  | clr | Tracker not tracking. Set time on CR10. was -16s
2012-08-15 | 1215 |  | clr | OVC - think it was tracking properly
2012-08-16 | 1215 | A | clr | FEW Cirrus. Tracking ok.
2012-08-17 | 1300 | A | clr | FEW Cirrus. Tracking ok.
2012-08-18 | 1121 | B | clr | FEW Cirrus. Tracking ok.
2012-08-19 | 1110 | B | clr | SCT Cirrus.
2012-08-20 | 1047 | B | clr | FEW Cirrus
2012-08-21 | 1105 | B | clr | BKN Cirrostratus
2012-08-22 | 1110 | B | clr | BKN Cirrostratus
2012-08-23 | 1115 |  | clr | OVC, altostratus
2012-08-24 | 1142 |  | clr | BKN, altostratus
2012-08-25 | 1200 |  | rmv snow | OVC altostratus
2012-08-26 | 1230 |  | clr | BKN stratocumulus
2012-08-27 | 1114 |  | rmv snow | OVC
2012-08-28 | 1143 | B | clr | BKN Cirrostratus
2012-08-29 | 1144 |  | rmv fr | OVC
2012-08-30 | 1145 | B | rmv fr | FEW
2012-08-31 | 1142 |  | clr | OVC
2012-09-01 | 1145 | B | clr | BKN
2012-09-02 | 1028 |  | clr | OVC
2012-09-03 | 1145 |  | frost | OVC, FzFg
2012-09-04 | 1128 |  | clr | OVC
2012-09-05 | 1143 | C | clr | FEW
2012-09-06 | 1150 | B | clr | BKN
2012-09-07 | 1245 | B | clr | FEW
2012-09-08 | 1301 | B | clr | BKN
2012-09-09 | 1250 | B | clr | OVC
2012-09-10 | 1127 | C | clr | FEW
2012-09-11 | 1157 | C | clr | FEW
2012-09-12 | 1207 |  | clr | OVC
2012-09-13 | 1138 |  | clr | OVC
2012-09-14 | 1213 |  | rmv fr | OVC
2012-09-15 | 1220 |  | clr | BKN
2012-09-16 | 1109 |  | clr | OVC
2012-09-17 | 1149 | C | clr | FEW | Removed Storage Module, 1545-1550UTC Removed PFR

## Weekly Download SwissTower
2012 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | 111226 | 136 | 10 | y | 2033523 | 353 | 1450 | 360 | 1340 | y | 2011
1 | 120102 | 137 | -55 | y | 2066557 | 360 | 1350 | 2 | 1410 | y
2 | 120109 | 138 | -5 | y | 2099455 | 2 | 1420 | 9 | 1400 | y
3 | 120116 | 139 | 21 | y | 2132473 | 9 | 1410 | 16 | 1430 | y
4 | 120123 | 140 | 8 | y | 19126 | 16 | 1440 | 23 | 1440 | y
5 | 120131 | 141 | 0 | n | 56924 | 23 | 1450 | 31 | 1530 | y | 01/31: Download not complete. Datalogger stopped part way through. Attempted 3x more, also contacted PI. Cleaned Tower antenna. Fourth download worked.
6 | 120206 | 142 | -2 | y | 84982 | 31 | 1540 | 37 | 1440 | y
7 | 120213 | 143 | -15 | y | 118528 | 37 | 1450 | 44 | 1750 | y
8 | 120220 | 144 | -2 | y | 150808 | 44 | 1800 | 51 | 1430 | y
9 | 120227 | 145 | 0 | n | 183706 | 51 | 1440 | 58 | 1420 | y
10 | 120305 | 146 | 0 | n | 216634 | 58 | 1430 | 65 | 1420 | y
11 | 120312 | 147 | -6 | y | 249728 | 65 | 1430 | 72 | 1510 | y
12 | 120319 | 148 | -10 | y | 282324 | 72 | 1520 | 79 | 1330 | y
13 | 120326 | 149 |  |  | 315222 | 79 | 1340 | 86 | 1320 | y
14 | 120402 | 150 | 42 | y | 347924 | 86 | 1330 | 93 | 1210 | y
15 | 120408 | 151 | -22 | y | 381138 | 93 | 1220 | 100 | 1340 | y
16 | 120416 | 152 | 25 | y | 413900 | 100 | 1350 | 107 | 1250 | y
17 | 120423 | 153 | -10 | y | 446542 | 107 | 1300 | 114 | 1120 | y
18 | 120430 | 154 | 0 | n | 480224 | 114 | 1130 | 121 | 1510 | y
19 | 120507 | 155 | -30 | y | 513212 | 121 | 1520 | 128 | 1530 | y
20 | 120514 | 156 | -6 | y | 545718 | 128 | 1540 | 135 | 1320 | y
21 | 120522 | 157 | -5 | y | 584330 | 135 | 1330 | 143 | 1820 | y | Mysteriously decided to connect after a a few days of failed connection through the RF.
22 | 120530 | 158 | -5 | y | 620816 | 143 | 1830 | 151 | 1230 | y
23 | 120604 | 159 | -3 | y | 644562 | 151 | 1240 | 156 | 1340 | y
24 | 120611 | 160 | -7 | y | 678244 | 156 | 1350 | 163 | 1730 | y
25 | 120618 | 161 | -4 | y | 710132 | 163 | 1740 | 170 | 1210 | y
26 | 120625 | 162 | -6 | y | 743422 | 170 | 1220 | 177 | 1400 | y
27 | 120702 | 163 | -4 | y | 776154 | 177 | 1410 | 184 | 1300 | y
28 | 120709 | 164 | -4 | y | 809036 | 184 | 1310 | 191 | 1250 | y
29 | 120716 | 165 | -6 | y | 843020 | 191 | 1300 | 198 | 1810 | y
30 | 120723 | 166 | -4 | y | 874500 | 198 | 1820 | 205 | 1050 | y
31 | 120730 | 167 | -7 | y | 908484 | 205 | 1100 | 212 | 1610 | y
32 | 120806 | 168 | -2 | y | 940432 | 212 | 1620 | 219 | 1110 | y
33 | 120813 | 169 | -6 | y | 974822 | 219 | 1120 | 226 | 1840 | y
34 | 120820 | 170 | -3 | y | 1001840 | 226 | 1850 | 232 | 1230 | y
35 | 120827 | 171 | -7 | y | 1039472 | 232 | 1240 | 240 | 1230 | y
36 | 120903 | 172 | -5 | y | 1072370 | 240 | 1240 | 247 | 1220 | y
37 | 120910 | 173 | -4 | y | 1105268 | 247 | 1230 | 254 | 1210 | y
38 | 120917 | 174 | -5 | y | 1138226 | 254 | 1220 | 261 | 1220 | y
39 | 120924 | 175 | -6 | y | 1171320 | 261 | 1230 | 268 | 1310 | y
40 | 121001 | 176 | -4 | y | 1204082 | 268 | 1320 | 275 | 1220 | y
41 | 121008 | 177 | -5 | y | 1237070 | 275 | 1230 | 282 | 1240 | y
42 | 121015 | 178 | -4 | y | 1270270 | 282 | 1250 | 289 | 1400 | y
43 | 121022 | 179 | -8 | y | 1303032 | 290 | 1410 | 296 | 1310 | y
44 | 121029 | 180 | -3 | y | 1335794 | 296 | 1320 | 303 | 1220 | y
45 | 121105 | 181 | -4 | Y | 1369174 | 303 | 1230 | 310 | 1440 | Y
46 | 121112 | 182 | -1 | n | 1402208 | 310 | 1450 | 317 | 1510 | y
47 | 121119 | 183 | -2 | n | 1435030 | 317 | 1520 | 324 | 1440 | y
48 | 121126 | 184 | -2 | n | 1467838 | 324 | 1450 | 331 | 1400 | y
49 | 121203 | 185 | -7 | y | 1500766 | 331 | 1410 | 338 | 1400 | y
50 | 121210 | 186 | -5 | y | 1533648 | 338 | 1410 | 345 | 1350 | y
51 | 121217 | 187 | -8 | y | 1566426 | 345 | 1400 | 352 | 1300 | y
52 | 121224 | 188 | -2 | n | 1599504 | 352 | 1310 | 359 | 1350 | y
53 | 121231 | 189 | -3 | y | 1632236 | 359 | 1400 | 366 | 1250 | y

## Weekly Download SolarTracker
2012 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | 111226 | 457 | 18 | y | 2017728 | 353 | 1354 | 360 | 1355 | y | 2011
1 | 120102 | 458 | +17 | y | 319703 | 360 | 1356 | 2 | 1318 | y
2 | 120109 | 459 | -9 | y | 769083 | 2 | 1319 | 9 | 1308 | y
3 | 120116 | 460 | 34 | y | 1220619 | 9 | 1309 | 16 | 1347 | y
4 | 120123 | 461 | 24 | y | 1670703 | 16 | 1348 | 23 | 1353 | y
5 | 120130 | 462 | -25 | y | 2120567 | 23 | 1354 | 30 | 1354 | y
6 | 120206 | 463 | +23 | y | 426942 | 30 | 1355 | 37 | 1459 | y
7 | 120213 | 464 | +/- 0 | y | 881998 | 37 | 1500 | 44 | 1658 | y
8 | 120220 | 465 | -15 | y | 1323502 | 44 | 1659 | 51 | 1349 | y
9 | 120227 | 466 | +18 | y | 1775478 | 51 | 1350 | 58 | 1436 | y | Connectivity issues; full download on 3rd attempt
10 | 120305 | 467 | +49 | y | 76309 | 58 | 1437 | 65 | 1335 | y
11 | 120312 | 468 | +12 | y | 527977 | 65 | 1336 | 72 | 1417 | y
12 | 120319 | 469 | +4 | y | 978105 | 72 | 1418 | 79 | 1422 | y
13 | 120326 | 470 | -10 | y | 1423393 | 79 | 1423 | 86 | 1239 | y
14 | 120402 | 471 | -17 | y | 1872597 | 86 | 1240 | 93 | 1223 | y
15 | 120408 | 472 | -13 | y | 177256 | 93 | 1224 | 100 | 1249 | y
16 | 120416 | 473 | +40 | y | 627604 | 100 | 1250 | 107 | 1259 | y
17 | 120423 | 474 | +2 | y | 1071264 | 107 | 1300 | 114 | 1039 | y
18 | 120430 | 475 | -14 | y | 1530632 | 114 | 1040 | 121 | 1416 | y
19 | 120507 | 476 | +4 | y | 1978384 | 121 | 1417 | 128 | 1327 | y
20 | 120514 | 477 | +5 | y | 279831 | 128 | 1328 | 135 | 1244 | y
21 | 120521 | 478 | +6 | y | 743247 | 135 | 1245 | 142 | 1758 | y
22 | 120528 | 479 | 0 | n | 1091539 | 142 | 1759 | 149 | 1205 | y
23 | 120601 | 480 | 0 | n | 1542019 | 149 | 1206 | 156 | 1220 | y
24 | 120611 | 481 | -15 | y | 2002663 | 156 | 1221 | 163 | 1625 | y
25 | 120618 | 482 | +3 | y | 295618 | 163 | 1626 | 170 | 1225 | y
26 | 120625 | 483 | 0 | n | 747418 | 170 | 1226 | 177 | 1310 | y
27 | 120702 | 484 | +3 | y | 1197414 | 177 | 1311 | 184 | 1314 | y
28 | 120709 | 485 | -3 | y | 1646618 | 184 | 1315 | 191 | 1300 | y
29 | 120716 | 486 | -3 | y | 2107130 | 191 | 1301 | 198 | 1703 | y
30 | 120723 | 487 | 0 | N | 394761 | 198 | 1704 | 205 | 1102 | y
31 | 120730 | 488 | 0 | n | 858485 | 205 | 1105 | 212 | 1618 | y
32 | 120806 | 489 | -2 | Y | 1291277 | 212 | 1619 | 219 | 951 | y
33 | 120813 | 490 | +3 | y | 1770621 | 219 | 952 | 226 | 2101 | y
34 | 120819 | 491 | -1 | y | 2132069 | 226 | 2102 | 232 | 1153 | y
35 | 120827 | 492 | +2 | y | 502176 | 232 | 1154 | 240 | 1246 | y
36 | 120903 | 493 | +5 | y | 951468 | 240 | 1247 | 247 | 1234 | y
37 | 120910 | 494 | +12 | y | 1400628 | 247 | 1235 | 254 | 1219 | y
38 | 120917 | 495 | +6 | y | 1850756 | 254 | 1220 | 261 | 1226 | y
39 | 120924 | 496 | +4 | y | 156823 | 261 | 1227 | 268 | 1324 | y
40 | 121001 | 497 | +7 | y | 604311 | 268 | 1325 | 275 | 1231 | y
41 | 121008 | 498 | +7 | y | 1054879 | 275 | 1232 | 282 | 1337 | y
42 | 121015 | 499 | +9 | y | 1505667 | 282 | 1338 | 289 | 1308 | y
43 | 121022 | 500 | +9 | y | 1956235 | 289 | 1309 | 296 | 1325 | y
44 | 121029 | 501 | +21 | y | 257726 | 296 | 1326 | 303 | 1237 | y
45 | 121105 | 502 | +13 | y | 709658 | 303 | 1238 | 310 | 1325 | Y
46 | 121112 | 503 | +17 | y | 1161898 | 310 | 1326 | 317 | 1420 | y
47 | 121119 | 504 | +14 | y | 1610310 | 317 | 1421 | 324 | 1348 | y
48 | 121126 | 505 | +15 | y | 2058150 | 324 | 1349 | 331 | 1303 | y
49 | 121203 | 506 | +7 | y | 361665 | 331 | 1304 | 338 | 1303 | y
50 | 121210 | 507 | +10 | y | 811441 | 338 | 1304 | 345 | 1300 | y
51 | 121217 | 508 | +3 | n | 1261745 | 345 | 1301 | 352 | 1311 | y
52 | 121224 | 509 | +18 | y | 1711301 | 352 | 1312 | 359 | 1303 | y
53 | 121231 | 510 | +24 | y | 16400 | 359 | 1304 | 366 | 1339 | y
n
Note on G5: summit:

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | SM (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!