## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2013 Daily Check Swiss Tower
Daily Check Swiss Tower January 2013
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-01-01 | 1345 | clr | clr | clr | n
2013-01-02 | 1250 | clr | clr | clr | n
2013-01-03 | 1202 | clr | clr | clr | n
2013-01-04 | 1550 | clr | clr | clr | n
2013-01-05
2013-01-06 | 1555 | clr | clr | clr | n
2013-01-07 | 1245 | clr | clr | clr | n
2013-01-08 | 1310 | clr | clr | clr | n
2013-01-09 | 1307 | clr | clr | clr | n
2013-01-10 | 1415 | clr | clr | clr | n | Power outage in around 1200UTC, another brief one at 1600UTC.
2013-01-11 | 1240 | clr | clr | clr | n
2013-01-12 | 1235 | clr | clr | clr | n
2013-01-13 | 1330 | clr | clr | clr | n
2013-01-14 | 1200 | rmv fr 1-2, 3-6 clr | clr | clr | n
2013-01-15 | 1210 | clr | clr | clr | n
2013-01-16 | 1220 | clr | clr | clr | n
2013-01-17 | 1248 | clr | clr | clr | n
2013-01-18
2013-01-19 | 1233 | clr | clr | clr | n
2013-01-20 | 1345 | clr | clr | clr | n
2013-01-21 | 1235 | clr | clr | clr | n
2013-01-22 | 1220 | rmv fr 1-2, 3-6 clr | clr | clr | n
2013-01-23 | 1207 | clr | clr | clr | n
2013-01-24 | 1215 | clr | clr | clr | n
2013-01-25 | 1201 | clr | clr | clr | n
2013-01-26 | 1250 | clr | clr | clr | n
2013-01-27
2013-01-28 | 1245 | fr all, rmv fr 1-2 | clr | clr | n
2013-01-29 | 1300 | clr | clr | clr | n
2013-01-30 | 1230 | fr all, rmv fr 1-2 | clr | clr | n
2013-01-31 | 1330 | fr 3-6, 1-2 clr | clr | clr | n
40574
Daily Check Swiss Tower February 2013
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-02-01 | 1255 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-02 | 1304 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-03 | 1255 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-04 | 1317 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-05 | 1320 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-06 | 1355 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-07 | 1210 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-08 | 1820 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-09 | 1625 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-10 | 1510 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-11 | 1305 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-12 | 1925 | fr 3-6, 1-2 clr | clr | clr | n | Installed FM100 fog monitor today from 1330-1500UTC
2013-02-13 | 1240 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-14 | 1805 | fr all, rmv fr 1-2 | clr | clr | n
2013-02-15 | 1235 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-16 | 1245 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-17 | 1310 | fr all, rmv fr 1-2 | clr | clr | n
2013-02-18 | 1250 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-19 | 1230 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-20 | 1245 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-21 | 1235 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-22 | 1325 | fr all, rmv fr 1-2 | clr | clr | n
2013-02-23 | 1235 | fr all, rmv fr 1-2 | clr | clr | n | trouble shooting FM100 fog monitor
2013-02-24 | 1535 | fr all, rmv fr 1-2 | clr | clr | n
2013-02-25 | 1225 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-26 | 1225 | fr all, rmv fr 1-2 | clr | clr | n
2013-02-27 | 1220 | fr 3-6, 1-2 clr | clr | clr | n
2013-02-28 | 1300 | fr 3-6, 1-2 clr | clr | clr | n
Daily Check Swiss Tower March 2013
2013-03-01 | 1245 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-02 | 1245 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-03 | 1305 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-04 | 1245 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-05 | 1235 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-06 | 1230 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-07 | 1250 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-08 | 1235 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-09 | 1240 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-10 | 1450 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-11 | 1240 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-12 | 1650 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-13 | 1235 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-14 | 1300 | fr all, rmv fr 1-2 | clr | clr | y
2013-03-15 | 1305 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-16 | 1225 | all clr | clr | clr | n
2013-03-17 | 1215 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-18 | 1235 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-19 | 1250 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-20 | 1245 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-21 | 1300 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-22 | 1235 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-23 | 1245 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-24 | 1435 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-25 | 1210 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-26 | 1235 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-27 | 1220 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-28 | 1230 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-29 | 1205 | fr all, rmv fr 1-2 | clr | clr | n
2013-03-30 | 1220 | fr 3-6, 1-2 clr | clr | clr | n
2013-03-31 | 1110 | fr 3-6, 1-2 clr | clr | clr | n
40633
Daily Check Swiss Tower April 2013
2013-04-01 | 1050 | fr all, rmv fr 1-2 | clr | clr | n
2013-04-02 | 1145 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-03 | 1105 | fr 3-6, 1-2 clr | all clr, #4 lf | clr | n
2013-04-04 | 1200 | fr all, rmv fr 1-2 | all clr, #4 fr | clr | n
2013-04-05 | 1100 | fr all, rmv fr 1-2 | all clr, #4 fr | clr | n
2013-04-06 | 1100 | fr 3-6, 1-2 clr | all clr, #4 fr | clr | n
2013-04-07 | 1320 | fr 3-6, 1-2 clr | all clr, #4 fr | clr | n
2013-04-08 | 1300 | fr 3-6, 1-2 clr | all clr, #4 fr | clr | n
2013-04-09 | 1100 | fr all, rmv fr 1-2 | all clr, #4 fr | clr | n
2013-04-10 | 1045 | fr all, rmv fr 1-2 | all clr, #4 fr | clr | n
2013-04-11 | 1220 | fr all, rmv fr 1-2 | all clr, #4 fr | clr | n
2013-04-12 | 1200 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-13 | 1325 | fr 3-6, 1-2 clr | all clr, #4 lf | clr | n
2013-04-14 | 1125 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-15 | 1105 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-16 | 1145 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-17 | 1105 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-18 | 1100 | fr 3-6, 1-2 clr | all clr, #4 lf | clr | n
2013-04-19 | 1155 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-20 | 1025 | fr all, rmv fr 1-2 | all clr, #4 fr | clr | n
2013-04-21 | 950 | lf 3-6, 1-2 clr | all clr, #4 lf | clr | n
2013-04-22 | 1155 | lf 3-6, 1-2 clr | all clr, #4 lf | clr | n
2013-04-23 | 1045 | lf 3-6, 1-2 clr | all clr, #4 lf | clr | n
2013-04-24 | 1110 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-25 | 1130 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-26 | 1200 | fr all, rmv fr 1-2 | all clr | clr | n | 3 second power blip at 1225UTC
2013-04-27 | 1110 | fr 3,5,6, clear 1,2,4 | all clr | clr | n
2013-04-28 | 930 | fr all, rmv fr 1-2 | all clr, #4 lf | clr | n
2013-04-29 | 1720 | fr all, rmv fr 1-2 | all clr | clr | n | Power outage from 1544-1557UTC
2013-04-30 | 1150 | fr all, rmv fr 1-2 | all clr | clr | n
40663
Daily Check Swiss Tower May 2013
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-05-01 | 1200 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-02 | 1220 | lfr 1-4, fr 5, rmv fr 1-2 | all clr | clr | n
2013-05-03 | 1250 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-04 | 1245 | 1-2 clr, 3-5 fr | all clr | clr | n
2013-05-05 | 1250 | 1-2 clr, 3-5 fr | all clr | clr | n
2013-05-06 | 1250 | 1-2 clr, 3-5 fr | all clr | clr | n
2013-05-07 | 1230 | fr all, rmv fr 1-2 | all clr | clr | n | Power outage from 0840-0905UTC.
2013-05-08 | 1140 | fr all, rmv fr 1-2 | all clr | clr | n | Power outage from 1040-1048UTC.
2013-05-09 | 1335 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-10 | 1210 | fr all, rmv fr 1-2 | all clr | clr | n | Power outage from 2142-2148UTC.
2013-05-11 | 1205 | 1-4 clr, 5 fr | all clr | clr | n
2013-05-12 | 1435 | 1-4 clr, 5 fr | all clr | clr | n
2013-05-13 | 1150 | 1-4 clr, 5 fr | all clr | clr | n
2013-05-14 | 1225 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-15 | 1735 | 2-4 clr, 1,5 fr rmv fr 1 | all clr | clr | n
2013-05-16 | 1340 | fr all, rmv fr 1-2 | all clr | clr | n | Power outage from 1156-1159UTC Power outage from 1844-1849UTC
2013-05-17 | 11.15 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-18 | 11.15 | lfr all, rmv fr 1-2 | all clr | clr | n
2013-05-19 | 14.25 | 2-4 clr,1,5 fr rmv fr 1 | all clr | clr | n
2013-05-20 | 11.25 | lfr all, rmv fr 1-2 | all clr | clr | n | work on vault by tower
2013-05-21 | 1105 | lfr all, rmv fr 1-2 | all clr | clr | n
2013-05-22 | 1105 | lfr all, rmv fr 1-2 | all clr | clr | n
2013-05-23 | 1150 | fr 3-5, rmv lfr 1-2 | all clr | clr | n
2013-05-24 | 1100 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-25 | 1045 | lfr all, rmv fr 1-2 | all clr | clr | n
2013-05-26 | 1305 | lfr all, rmv fr 1-2 | all clr | clr | n
2013-05-27 | 1145 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-28 | 1100 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-29 | 1050 | 1-2 clr 3-5 fr, | all clr | clr | n
2013-05-30 | 1305 | fr all, rmv fr 1-2 | all clr | clr | n
2013-05-31 | 1055 | fr all, rmv fr 1-2 | all clr | clr | n
Daily Check Swiss Tower June 2013
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-06-01 | 1100 | 1-6 clr | all clr | clr | n
2013-06-02 | 1125 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-03 | 1130 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-04 | 1210 | 1-6 clr | all clr | clr | n
2013-06-05 | 1133 | 1-6 clr | all clr | clr | n
2013-06-06 | 1115 | 1-6 clr | all clr | clr | n
2013-06-07 | 1200 | 1-2 clr, 3-6 fr | all clr | clr | n
2013-06-08 | 1225 | 1-2 clr, 3-6 fr | all clr | clr | n
2013-06-09 | 1100 | 1-6 clr | all clr | clr | n
2013-06-10 | 1125 | 1-6 clr | all clr | clr | n
2013-06-11 | 1135 | 1-2 clr, 3-6 fr | all clr | clr | n
2013-06-12 | 1055 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-13 | 1300 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-14 | 1150 | 1-6 clr | all clr | clr | n
2013-06-15 | 1205 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-16 | 1350 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-17 | 1145 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-18 | 1015 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-19 | 1030 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-20 | 1525 | 1-6 clr | all clr | clr | n
2013-06-21 | 1105 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-22 | 1155 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-23 | 1355 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-24 | 1150 | 1-6 clr | all clr | clr | n
2013-06-25 | 1125 | 1-6 clr | all clr | clr | n
2013-06-26 | 1845 | 1-6 clr | all clr | clr | n
2013-06-27 | 1025 | fr all, rmv fr 1-2 | all clr | clr | n
2013-06-28 | 1540 | 1-6 clr | all clr | clr | n
2013-06-29 | 1050 | 1-6 clr | all clr | clr | n
2013-06-30 | 1730 | 1-6 clr | all clr | clr | n
40724
Daily Check Swiss Tower July 2013
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-07-01 | 1100 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-02 | 1125 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-03 | 1100 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-04 | 1150 | 1-6 clr | all clr | clr | n
2013-07-05 | 1100 | 1-6 clr | all clr | clr | n
2013-07-06 | 1125 | 1-6 clr | all clr | clr | n
2013-07-07 | 1210 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-08 | 1125 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-09 | 1110 | 1-6 clr | all clr | clr | n
2013-07-10 | 2230 | 1-6 clr | all clr | clr | N
2013-07-11 | 1050 | 1-6 clr | all clr | clr | n
2013-07-12 | 1300 | 1-6 clr | all clr | clr | n
2013-07-13 | 1225 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-14 | 1300 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-15 | 1120 | 1,2,4-6 clr, rmv fr 3 | all clr | clr | n
2013-07-16 | 2115 | 1-6 clr | all clr | clr | n
2013-07-17 | 1125 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-18 | 1100 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-19 | 1125 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-20 | 1825 | 1-6 clr | all clr | clr | n
2013-07-21 | 1125 | 1-6 clr | all clr | clr | n
2013-07-22 | 1130 | 1-6 clr | all clr | clr | n
2013-07-23 | 945 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-24 | 1210 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-25 | 950 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-26 | 1250 | 1-6 clr | all clr | clr | n
2013-07-27 | 1120 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-28 | 1530 | fr all, rmv fr 1-2 | all clr | clr | n
2013-07-29 | 940 | 1-6 clr | all clr | clr | n
2013-07-30 | 1400 | 1-6 clr | all clr | clr | n
2013-07-31 | 1100 | fr all, rmv fr 1-2 | all clr | clr | n
Daily Check Swiss Tower August 2013
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-08-01 | 1100 | 1-6 clr | all clr | clr | n
2013-08-02 | 1105 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-03 | 1205 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-04 | 910 | 1-6 clr | all clr | clr | n
2013-08-05 | 1120 | 1-6 clr | all clr | clr | n
2013-08-06 | 1210 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-07 | 1625 | 1-6 clr | all clr | clr | n
2013-08-08 | 1110 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-09 | 1235 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-10 | 1115 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-11 | 1830 | 1-6 clr | all clr | clr | n
2013-08-12 | 950 | 1-6 clr | all clr | clr | n
2013-08-13 | 1110 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-14 | 1115 | 1-6 clr | all clr | clr | n
2013-08-15 | 1140 | 1-6 clr | all clr | clr | n
2013-08-16 | 1055 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-17 | 1135 | 1-6 clr | all clr | clr | n
2013-08-18 | 830 | 1-6 clr | all clr | clr | n
2013-08-19 | 1115 | 1-6 clr | all clr | clr | n
2013-08-20 | 1035 | 1-6 clr | all clr | clr | n
2013-08-21 | 1030 | 1-6 clr | all clr | clr | n
2013-08-22 | 1000 | 1-6 clr | all clr | clr | n
2013-08-23 | 1015 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-24 | 1050 | 1-6 clr | all clr | clr | n
2013-08-25 | 1045 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-26 | 1140 | 1-6 clr | all clr | clr | n
2013-08-27 | 1600 | 1-6 clr | all clr | clr | n
2013-08-28 | 1600 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-29 | 1055 | fr all, rmv fr 1-2 | all clr | clr | n
2013-08-30 | 1545 | fr all, rmv fr 1-2 | all clr | clr | n
2012-08-31 | 1310 | fr all, rmv fr 1-2 | all clr | clr | n
Daily Check Swiss Tower September 2013
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-09-01 | 1540 | clr | clr | clr | n
2013-09-02 | 1430 | clr | clr | clr | n
2013-09-03 | 1220 | rmv 1-2 | clr | clr | n
2013-09-04 | 1415 | rr 1-2 | rr 1-2 | clr | n
2013-09-05 | 1410 | rr 1-2 | rr 1-2 | rr 1-2 | n
2013-09-06 | 1215 | 1-2 clr; 3-6 rimed | 1-2 clr; 3-6 rimed | clr | n
2013-09-07 | 1015 | 1-2 clr; 3-6 rimed | 1-2 clr; 3-6 rimed | clr | n
2013-09-08 | 1040 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-09 | 1100 | rr 1-2 | clr | clr | n
2013-09-10 | 1105 | rr 1; 2 clr; 3-6 rimed | clr | clr | n
2013-09-11 | 1135 | clr | clr | clr | n
2013-09-12 | 1155 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-13 | 955 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-14 | 1205 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-15 | 1220 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-16 | 1100 | rr 1-2; 3-6 rimed | clr | rr 2 | n
2013-09-17 | 1035 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-18 | 1030 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-19 | 1200 | clr | clr | clr | n
2013-09-20 | 1205 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-21 | 1050 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-22 | 1135 | clr | clr | clr | n
2013-09-23 | 1300 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-24 | 1145 | rr 1-2; 3-6 rimed | clr | clr | n
2013-09-25 | 1150 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-26 | 1145 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-27 | 1045 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-28 | 1025 | clr | clr | clr | n
2013-09-29 | 1135 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-09-30 | 1040 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
Daily Check Swiss Tower October 2013
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
date
2013-10-01 | 1100 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-02 | 1125 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-03 | 1105 | clr | clr | clr | n
2013-10-04 | 1225 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-05 | 1010 | rr 1-2; 3-6 rimed | 3-6 rimed | clr | n
2013-10-06 | 1150 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-07 | 1040 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-08 | 1210 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-09 | 1135 | 1-2 clr; 3-6 rimed | 1-2 clr; 3-6 rimed | clr | n
2013-10-10 | 1125 | clr | clr | clr | n
2013-10-11 | 1215 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-12 | 1200 | clr | clr | clr | n
2013-10-13 | 1045 | clr | clr | clr | n
2013-10-14 | 1030 | clr | clr | clr | n
2013-10-15 | 1150 | clr | clr | clr | n
2013-10-16 | 1325 | rr 1-2; 3-6 rimed | clr | clr | n
2013-10-17 | 1145 | rr 1-2; 3-6 rimed | clr | clr | n
2013-10-18 | 1135 | rr 1-2; 3-6 rimed | clr | clr | n
2013-10-19 | 1130 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-20 | 1320 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | rime on 1; rest clr | n
2013-10-21 | 1250 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-22 | 1140 | clr | clr | clr | n
2013-10-23 | 1125 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-24 | 1105 | clr | clr | clr | n
2013-10-25 | 1135 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-26 | 1355 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-27 | 1505 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-28 | 1330 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-29 | 1430 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-10-30 | 1335 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-10-31 | 1425 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
Daily Check Swiss Tower November 2013
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2013-11-01 | 1110 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-02 | 1330 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-03 | 1335 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-04 | 1227 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-05 | 1232 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-06 | 1221 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-07 | 1304 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-08 | 1240 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-09 | 1240 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-10 | 1333 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-11 | 1240 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-12 | 1220 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-13 | 1225 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-14 | 1215 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-15 | 1235 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-16 | 1250 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-17 | 1228 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-18 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-19 | 1235 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-20 | 1420 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-21 | 1635 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-22 | 1225 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-23 | 1240 | rr 1-2; 3-6 rimed | rr 1-2; 3-6 rimed | clr | n
2013-11-24 | 1434 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-25 | 1242 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-26 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-27 | 1310 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-28 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-29 | 1340 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-11-30 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
Daily Check Swiss Tower December 2013
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
date
2013-12-01 | 1410 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-02 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-03 | 1245 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-04 | 1240 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-05 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-06 | 1255 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-07 | 1245 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-08 | 1310 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-09 | 1235 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-10 | 1220 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-11 | 1240 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-12 | 1230 | rr 1-2; 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-13 | [5 empty] | NO CHECK DUE TO CONTINUOUS CONDITION 1
2013-12-14 | 1315 | rr 1-2; 3-6 rimed | clr 1-5; 6 rimed | clr | n
2013-12-15 | 1300 | clr 1-2, 3-6 rimed | clr 1-5, 6 rimed | clr | n
2013-12-16 | 1225 | clr 1-2, 3-6 rimed | clr 1-5, 6 rimed | clr | n
2013-12-17 | 1220 | clr 1-2, 3-6 rimed | clr 1-5, 6 rimed | clr | n
2013-12-18 | 1213 | clr 1-2, 3-6 rimed | clr 1-5, 6 rimed | clr | n
2013-12-19 | 1220 | clr 1-2, 3-6 rimed | clr 1-5, 6 rimed | clr | n
2013-12-20 | [5 empty] | NO CHECK DUE TO CONTINUOUS CONDITION 1
2013-12-21 | 1248 | rr 1-2, 3-6 rimed | rr 1-2, 3-6 rimed | 1 rr, 2-6 clr | n | Difficult to see upper anems in low light
2013-12-22 | 1315 | rr 1-2, 3-6 rimed | rr 1-2, 3-6 light rimed | clr | n
2013-12-23 | 1230 | rr 1-2, 3-6 rimed | rr 1-2, 3-6 light rimed | clr | n
2013-12-24 | 1238 | rr 1-2, 3-6 rimed | rr 1-2, 3-6 light rimed | clr | n
2013-12-25 | 1420 | rr 1-2, 3-6 rimed | light rr 1-2, 3-6 light rimed | clr | n
2013-12-26 | 1330 | rr 1-2, 3-6 rimed | light rr 1-2, 3-6 light rimed | clr | n
2013-12-27 | 1230 | rr 1-2, 3-6 rimed | light rr 1-2, 3-6 light rimed | clr | n
2013-12-28 | 1245 | rr 1-2, 3-6 rimed | clr 1-2; 3-6 rimed | clr | n
2013-12-29 | 1315 | rr 1-2, 3-6 rimed | light rr 1-2, 3-6 light rimed | clr | n
2013-12-30 | 1221 | rr 1-2, 3-6 rimed | light rr 1-2, 3-6 light rimed | clr | n
2013-12-31 | 1249 | rr 1-2, 3-6 rimed | light rr 1-2, 3-6 light rimed | clr | n

## Solar Tracker Daily Check
2013 Daily Check Solar Tracker
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-01-01 | 1351 | clr | clr | clr | clr | clr | clr
2013-01-02 | 1300 | clr | clr | clr | clr | clr | clr
2013-01-03 | 1209 | clr | clr | clr | clr | clr | clr
2013-01-04 | 1555 | clr | clr | clr | clr | clr | clr
2013-01-05
2013-01-06 | 1605 | clr | clr | clr | clr | clr | clr
2013-01-07 | 1255 | clr | clr | clr | clr | clr | clr
2013-01-08 | 1320 | clr | clr | clr | clr | clr | clr
2013-01-09 | 1315 | clr | rmv fr | clr | clr | rmv fr | clr
2013-01-10 | 1325 | clr | clr | clr | clr | clr | clr | Power outage in around 1200UTC, another brief one at 1600UTC.
2013-01-11 | 1250 | clr | clr | clr | clr | clr | clr
2013-01-12 | 1245 | clr | clr | clr | clr | clr | clr
2013-01-13 | 1337 | rmv fr | clr | clr | clr | clr | clr
2013-01-14 | 1215 | clr | rmv fr | clr | clr | rmv fr | clr
2013-01-15 | 1218 | rmv fr | clr | rmv fr | clr | clr | clr
2013-01-16 | 1230 | clr | clr | clr | rmv fr | clr | clr
2013-01-17 | 1255 | clr | clr | clr | clr | clr | clr
2013-01-18
2013-01-19 | 1242 | clr | clr | clr | clr | clr | clr
2013-01-20 | 1355 | clr | clr | clr | clr | clr | clr
2013-01-21 | 1345 | rmv fr | clr | rmv fr | clr | clr | clr
2013-01-22 | 1230 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-01-23 | 1215 | rmv fr | clr | clr | clr | clr | clr
2013-01-24 | 1215 | rmv fr | clr | clr | rmv fr | clr | clr
2013-01-25 | 1211 | rmv fr | clr | clr | clr | clr | clr
2013-01-26 | 1300 | clr | clr | clr | clr | clr | clr
2013-01-27
2013-01-28 | 1255 | clr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-01-29 | 1309 | rmv fr | clr | rmv fr | clr | clr | rmv fr
2013-01-30 | 1235 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2013-01-31 | 1237 | rmv fr | clr | clr | clr | clr | clr
Daily Check Solar Tracker February 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-02-01 | 1305 | clr | clr | clr | fr | clr | clr
2013-02-02 | 1317 | clr | clr | clr | fr | clr | clr
2013-02-03 | 1310 | clr | clr | clr | rmv fr | clr | clr
2013-02-04 | 1329 | clr | clr | rmv fr | rmv fr | clr | clr
2013-02-05 | 1330 | clr | clr | rmv fr | rmv fr | clr | clr
2013-02-06 | 1407 | clr | clr | clr | fr | clr | clr
2013-02-07 | 1220 | clr | clr | clr | fr | clr | clr
2013-02-08 | 1830 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2013-02-09 | 1635 | clr | clr | clr | fr | clr | clr
2013-02-10 | 1520 | clr | clr | clr | fr | clr | clr
2013-02-11 | 1315 | clr | clr | clr | fr | clr | clr
2013-02-12 | 1935 | rmv fr | clr | clr | rmv fr | clr | clr
2013-02-13 | 1250 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2013-02-14 | 1215 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-02-15 | 1245 | lf | clr | lf | fr | clr | clr
2013-02-16 | 1255 | rmv fr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-02-17 | 1320 | lf | clr | clr | fr | clr | clr
2013-02-18 | 1300 | clr | clr | clr | fr | clr | clr
2013-02-19 | 1240 | clr | clr | clr | fr | clr | clr
2013-02-20 | 1245 | rmv fr | clr | rmv fr | rmv fr still a litte coating | clr | clr
2013-02-21 | 1245 | clr | clr | clr | lf | clr | clr
2013-02-22 | 1335 | rmv fr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-02-23 | 1223 | rmv fr | rmv fr | rmv fr | rmv all fr | clr | rmv fr | Put a heat pack to the front of the direct solar instrument to remove the thick layer of frost that had formed over the winter. The heat made it come off nicely. Cleaned last bits with a kimwipe
2013-02-24 | 1550 | rmv fr | rmv fr | rmv fr | rmv fr | clr | clr
2013-02-25 | 1235 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-02-26 | 1235 | clr | clr | clr | lt fr | clr | clr | frost is building up on the Direct Solar Radiation Tube again, it does not come off with mechanical wiping
2013-02-27 | 1230 | clr | clr | clr | rmv fr | clr | clr
2013-02-28 | 1310 | clr | rmv fr | clr | lt fr | rmv fr | clr
Daily Check Swiss March 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-03-01 | 1255 | rmv fr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-03-02 | 1255 | clr | clr | clr | clr | clr | clr | station power interrupted for ~1second at approx 1630UTC
2013-03-03 | 1320 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-03-04 | 1255 | rmv fr | clr | clr | rmv fr | clr | clr
2013-03-05 | 1245 | rmv fr | clr | rmv fr | rmv fr | clr | clr
2013-03-06 | 1240 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-03-07 | 1300 | rmv fr | clr | rmv fr | rmv fr | clr | clr
2013-03-08 | 1245 | clr | clr | clr | clr | clr | clr
2013-03-09 | 1250 | clr | clr | clr | clr | clr | clr
2013-03-10 | 1500 | rmv fr | clr | clr | clr | clr | clr
2013-03-11 | 1250 | clr | clr | clr | clr | clr | clr
2013-03-12 | 1700 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-03-13 | 1245 | rmv fr | clr | clr | rmv fr | clr | clr
2013-03-14 | 1310 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2013-03-15 | 1315 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2013-03-16 | 1230 | clr | clr | clr | rmv fr | clr | clr
2013-03-17 | 1225 | clr | clr | clr | rmv fr | clr | clr
2013-03-18 | 1245 | rmv fr | rmv fr | clr | rmv fr | rmv fr | rmv fr | PFR installed in afternoon
2013-03-19 | 1255 | rmv fr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-03-20 | 1250 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | clr
2013-03-21 | 1310 | clr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-03-22 | 1250 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2013-03-23 | 1245 | rmv fr | clr | clr | rmv fr | rmv fr | clr
2013-03-24 | 1445 | rmv fr | rmv fr | clr | rmv fr | clr | clr
2013-03-25 | 1220 | clr | rmv fr | clr | clr | rmv fr | clr
2013-03-26 | 1240 | rmv fr | rmv fr | rmv fr | rmv fr | clr | rmv fr
2013-03-27 | 1230 | clr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-03-28 | 1240 | clr | clr | clr | rmv fr | clr | clr
2013-03-29 | 1215 | clr | rmv fr | clr | clr | rmv fr | rmv fr
2013-03-30 | 1230 | rmv fr | clr | clr | rmv fr | clr | clr
2013-03-31 | 1120 | rmv fr | clr | clr | rmv fr | clr | clr
Daily Check Solar Tracker April 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-04-01 | 1100 | rmv fr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-04-02 | 1155 | rmv fr | rmv fr | clr | rmv fr | clr | clr
2013-04-03 | 1115 | clr | clr | clr | clr | clr | clr
2013-04-04 | 1210 | clr | clr | clr | rmv fr | rmv fr | clr
2013-04-05 | 1110 | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr | rmv fr
2013-04-06 | 1110 | clr | clr | clr | clr | clr | clr
2013-04-07 | 1330 | clr | clr | clr | clr | clr | clr
2013-04-08 | 1310 | clr | clr | clr | clr | clr | clr
2013-04-09 | 1110 | clr | clr | clr | rmv fr | clr | rmv fr
2013-04-10 | 1055 | clr | rmv fr | clr | clr | rmv fr | clr
2013-04-11 | 1230 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2013-04-12 | 1210 | rmv fr | rmv fr | clr | rmv fr | rmv fr | clr
2013-04-13 | 1335 | clr | clr | clr | rmv fr | clr | clr
2013-04-14 | 1135 | clr | rmv fr | clr | rmv fr | rmv fr | rmv fr
2013-04-15 | 1115 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2013-04-16 | 1155 | clr | clr | clr | clr | clr | clr
2013-04-17 | 1115 | clr | rmv fr | clr | rmv fr | rmv fr | clr
2013-04-18 | 1110 | clr | rmv fr | clr | clr | rmv fr | clr
2013-04-19 | 1205 | clr | rmv fr | clr | clr | rmv fr | clr
2013-04-20 | 1035 | clr | clr | clr | clr | clr | clr
2013-04-21 | 1000 | clr | clr | clr | clr | clr | clr
2013-04-22 | 1205 | rmv fr | rmv fr | clr | clr | clr | clr
2013-04-23 | 1055 | clr | clr | clr | clr | clr | clr
2013-04-24 | 1120 | clr | clr | clr | clr | clr | clr
2013-04-25 | 1135 | rmv fr | rmv fr | clr | clr | rmv fr | clr
2013-04-26 | 1210 | clr | clr | clr | clr | clr | clr
2013-04-27 | 1120 | clr | clr | clr | clr | clr | clr | tracker frozen looks like around 1230 UTC yesterday
2013-04-28 | 1000 | clr | clr | clr | clr | clr | clr | tracker frozen, reset tracker at 1225 UTC
2013-04-29 | 1725 | clr | clr | clr | clr | clr | clr | power outtage at 1544-1557UTC
2013-04-30 | 1155 | clr | clr | clr | clr | clr | clr | tracker frozen, reset tracker at 2320 UTC
Daily Check Solar Tracker May 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-05-01 | 1205 | clr | clr | clr | rmv fr | clr | clr | tracker frozen in yesterdays position.
2013-05-02 | 1225 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-03 | 1220 | clr | clr | clr | rmv fr | clr | clr | tracker aligned with sun but will not track
2013-05-04 | 1255 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-05 | 1300 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-06 | 1300 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-07 | 1240 | rmv fr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-08 | 1150 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-09 | 1345 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-10 | 1220 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-11 | 1215 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-12 | 1445 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-13 | 1200 | rmv fr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-14 | 1235 | rmv fr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-15 | 1745 | clr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-16 | 1350 | rmv fr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-17 | 1125 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-18 | 1125 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-19 | 1435 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-20 | 1155 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-21 | 1115 | clr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-22 | 1120 | clr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-23 | 1200 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-24 | 1110 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-25 | 1055 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-26 | 1315 | clr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-27 | 1155 | clr | rmv fr | clr | clr | clr | clr | tracker frozen in position.
2013-05-28 | 1110 | rmv fr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-29 | 1100 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-05-30 | 1310 | clr | clr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-05-31 | 11.05 | clr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
Daily Check Solar Tracker June 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-06-01 | 11.10 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-02 | 1150 | clr | rmv fr | clr | clr | rmv fr | clr | tracker frozen in position.
2013-06-03 | 1140 | clr | rmv fr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-06-04 | 1220 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-05 | 1145 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-06 | 1120 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-07 | 1210 | clr | rmv fr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-08 | 1235 | clr | rmv fr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-09 | 1110 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-10 | 1135 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-11 | 1140 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-12 | 1100 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-13 | 1310 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-14 | 1205 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-15 | 1215 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-16 | 1400 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-17 | 1200 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-18 | 1025 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-19 | 1040 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-20 | 1535 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-21 | 1115 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-22 | 1205 | clr | rmv lfr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-23 | 1405 | clr | clr | clr | clr | rmv lf | clr | tracker frozen in position.
2013-06-24 | 1200 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-25 | 1135 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-26 | 1855 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-27 | 1030 | clr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-06-28 | 1550 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-29 | 1100 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-06-30 | 1740 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
Daily Check Solar Tracker July 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-07-01 | 1115 | clr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-07-02 | 1140 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-07-03 | 1110 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-07-04 | 1205 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-05 | 1110 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-06 | 1135 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-07 | 1220 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-07-08 | 1235 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-07-09 | 1120 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-10 | 2220 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-11 | 1105 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-12 | 1310 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-07-13 | 1235 | clr | clr | clr | clr | clr | clr | tracker back online. Tech doing diagnostics still.
2013-07-14 | 1415 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-15 | 1130 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-16 | 2125 | clr | clr | clr | clr | clr | clr
2013-07-17 | 1135 | clr | clr | rmv lfr | clr | rmv lfr | clr
2013-07-18 | 1110 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-19 | 1135 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-20 | 1840 | clr | clr | clr | clr | clr | clr
2013-07-21 | 1135 | clr | clr | clr | clr | clr | clr
2013-07-22 | 1140 | clr | clr | clr | clr | clr | clr
2013-07-23 | 1000 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-24 | 1220 | rmv fr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-25 | 1010 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-26 | 1300 | clr | clr | clr | clr | clr | clr
2013-07-27 | 1130 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-28 | 1540 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-29 | 0950 | clr | clr | clr | clr | clr | clr
2013-07-30 | 1350 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-07-31 | 1110 | clr | clr | clr | clr | clr | clr
Daily Check Solar Tracker August 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-08-01 | 1110 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-02 | 1115 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-03 | 1220 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-04 | 0920 | clr | clr | clr | clr | clr | clr
2013-08-05 | 1145 | clr | clr | clr | clr | clr | clr
2013-08-06 | 1220 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-07 | 1635 | clr | clr | clr | clr | clr | clr
2013-08-08 | 1125 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-09 | 1245 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-10 | 1125 | clr | rmv lfr | rmv lfr | clr | rmv lfr | clr
2013-08-11 | 1840 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-08-12 | 1000 | clr | clr | clr | clr | clr | clr | tracker frozen in position.
2013-08-13 | 1120 | clr | rmv lfr | clr | clr | rmv lfr | clr | tracker frozen in position.
2013-08-14 | 1125 | clr | rmv lfr | clr | clr | rmv lfr | clr | reseated serial cable. Appears to be tracking.
2013-08-15 | 1150 | clr | clr | clr | clr | clr | clr
2013-08-16 | 1110 | lfr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-17 | 1145 | clr | clr | clr | clr | clr | clr
2013-08-18 | 0840 | clr | clr | clr | clr | clr | clr
2013-08-19 | 1130 | clr | clr | clr | clr | clr | clr
2013-08-20 | 1045 | clr | clr | clr | clr | clr | clr
2013-08-21 | 1040 | clr | clr | clr | clr | clr | clr
2013-08-22 | 1010 | clr | clr | clr | clr | clr | clr
2013-08-23 | 1025 | clr | rmv hfr | clr | clr | rmv hfr | clr
2013-08-24 | 1100 | clr | clr | clr | clr | clr | clr
2013-08-25 | 1055 | clr | rmv lfr | rmv lfr | clr | rmv lfr | clr
2013-08-26 | 1150 | clr | clr | clr | clr | clr | clr
2013-08-27 | 1610 | clr | clr | clr | clr | clr | clr
2013-08-28 | 1615 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-08-29 | 1110 | clr | clr | clr | clr | clr | clr
2013-08-30 | 1605 | clr | rmv lfr | rmv lfr | clr | rmv lfr | clr
2013-08-31 | 1320 | clr | clr | clr | clr | clr | clr
Daily Check Solar Tracker September 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-09-01 | 1550 | clr | clr | clr | clr | clr | clr
2013-09-02 | 1440 | clr | clr | clr | clr | clr | clr
2013-09-03 | 1230 | clr | rmv lfr | clr | clr | rmv lfr | clr
2013-09-04 | 1425 | clr | rr lfr | clr | clr | rr lfr | clr
2013-09-05 | 1420 | rr all | rr all | clr | clr | rr all | rr
2013-09-06 | 1225 | clr | clr | clr | clr | clr | clr
2013-09-07 | 1025 | clr | clr | clr | clr | clr | clr
2013-09-08 | 1050 | rr all | rr all | rr all | rr | rr all | rr
2013-09-09 | 1110 | clr | clr | clr | clr | clr | clr
2013-09-10 | 1115 | clr | rr all | clr | clr | rr all | clr
2013-09-11 | 1145 | clr | clr | clr | clr | clr | clr
2013-09-12 | 1205 | clr | rr all | clr | clr | rr all | clr
2013-09-13 | 1010 | clr | rr all | clr | clr | rr all | clr
2013-09-14 | 1215 | clr | rr all | clr | rr | rr all | clr
2013-09-15 | 1230 | clr | rr all | clr | clr | rr all | clr
2013-09-16 | 1110 | rr all | rr all | rr all | rr | rr all | rr
2013-09-17 | 1045 | clr | rr all | clr | rr | rr all | clr
2013-09-18 | 1040 | rr all | rr all | clr | rr | rr all | rr
2013-09-19 | 1210 | clr | rr all | clr | clr | rr all | clr
2013-09-20 | 1220 | clr | rr all | clr | rr | rr all | clr
2013-09-21 | 1100 | clr | rr all | clr | rr | rr all | clr
2013-09-22 | 1145 | clr | clr | clr | clr | clr | clr
2013-09-23 | 1310 | rr all | rr all | rr all | rr | rr all | rr
2013-09-24 | 1155 | clr | rr all | clr | clr | rr all | clr
2013-09-25 | 1200 | clr | rr all | clr | rr | rr all | clr
2013-09-26 | 1155 | clr | rr all | clr | rr | rr all | clr
2013-09-27 | 1055 | clr | rr all | clr | rr | rr all | clr
2013-09-28 | 1035 | clr | clr | clr | clr | clr | clr
2013-09-29 | 1145 | clr | rr all | clr | clr | clr | clr
2013-09-30 | 1050 | clr | rr all | clr | clr | rr-all | clr
Daily Check Solar Tracker October 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-10-01 | 1110 | rr all | rr all | rr all | rr | rr all | rr
2013-10-02 | 1135 | rr all | rr all | rr all | rr | rr all | rr
2013-10-03 | 1115 | clr | clr | clr | clr | clr | clr
2013-10-04 | 1235 | clr | rr all | clr | rr | rr all | clr
2013-10-05 | 1020 | clr | rr all | clr | rr | rr all | clr
2013-10-06 | 1200 | clr | rr all | clr | rr | rr all | clr
2013-10-07 | 1050 | clr | rr all | clr | rr | rr all | clr
2013-10-08 | 1220 | clr | rr all | clr | rr | rr all | clr
2013-10-09 | 1145 | clr | clr | clr | clr | rr all | clr
2013-10-10 | 1135 | clr | rr all | clr | rr | rr all | clr
2013-10-11 | 1225 | rr all | rr all | rr all | rr | rr all | clr
2013-10-12 | 1210 | clr | clr | clr | clr | rr 1-3 | clr
2013-10-13 | 1055 | clr | rr all | clr | rr | rr all | clr
2013-10-14 | 1040 | clr | rr 2 | clr | rr | rr all | clr
2013-10-15 | 1200 | clr | rr all | clr | rr | rr all | clr
2013-10-16 | 1335 | clr | rr all | clr | rr | rr all | rr
2013-10-17 | 1155 | rr all | rr all | rr all | rr | rr all | clr
2013-10-18 | 1145 | rr all | rr all | rr all | rr | rr all | rr
2013-10-19 | 1140 | clr | rr all | clr | rr | rr all | rr
2013-10-20 | 1330 | clr | rr all | clr | rr | rr all | clr
2013-10-21 | 1300 | clr | rr all | clr | rr | rr all | clr
2013-10-22 | 1150 | clr | rr all | clr | rr | rr all | clr
2013-10-23 | 1135 | rr 1 | rr all | clr | rr | rr all | clr
2013-10-24 | 1115 | rr 1 | rr all | clr | rr | rr all | clr
2013-10-25 | 1145 | rr all | rr all | rr all | rr | rr all | rr
2013-10-26 | 1405 | clr | rr all | clr | rr | rr all | clr
2013-10-27 | 1515 | clr | rr all | clr | rimed | rr all | clr
2013-10-28 | 1340 | clr | rr all | clr | frosted | rr all | clr
2013-10-29 | 1444 | clr | rr all | clr | frosted | rr all | clr
2013-10-30 | 1345 | clr | rr all | clr | frosted | rr all | clr
2013-10-31 | 1425 | rr 1-2, clr 3 | rr all | clr | heavily rimed | rr all | rr
Daily Check Solar Tracker November 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-11-01 | 1054 | clr | rr all | clr | rimed | rr all | clr
2013-11-02 | 1312 | clr | rr all | clr | rimed | rr all | clr
2013-11-03 | 1324 | clr | rr all | clr | rimed | rr all | clr
2013-11-04 | 1227 | I1 lightly rimed, 2-3 clr | rr all | clr | rimed | rr all | clr
2013-11-05 | 1213 | clr | rr all | clr | rimed | rr all | clr
2013-11-06 | 1221 | clr | rr all | clr | rimed | rr all | clr
2013-11-07 | 1235 | clr | rr all | clr | rimed | rr all | clr
2013-11-08 | 1226 | clr | rr all | clr | rimed | rr all | clr
2013-11-09 | 1221 | 1 light rr, 2-3 clr | rr all | 1 light rr, 2 clr | rimed | rr all | clr
2013-11-10 | 1330 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr w/alcohol | rr all | clr
2013-11-11 | 1215 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr w/alcohol | rr all | clr | Rime much denser than usual
2013-11-12 | 1205 | 1 rr, 2-3 clr | rr all | clr | frosted | rr all | clr
2013-11-13 | 1212 | clr | rr all | clr | frosted | rr all | clr
2013-11-14 | 1205 | clr | rr all | clr | frosted | rr all | clr | Tracker has rotated completely to the east
2013-11-15 | 1236 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | frosted | rr all | clr | Tracker has started tracking again
2013-11-16 | 1222 | 1 light rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr
2013-11-17 | 1239 | clr | rr all | clr | lightly frosted | rr all | clr
2013-11-18 | 1215 | clr | rr (see note) | clr | lightly frosted | rr all | clr
2013-11-19 | 1215 | clr | rr all | clr | lightly frosted | rr all | clr | 3 filters replaced on rad I1, tracker erroneously pointed to west
2013-11-20 | 1435 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-21 | 1625 | 1 light rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-22 | 1215 | 1 light rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-23 | 1224 | 1 light rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-24 | 1424 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-25 | 1227 | 1 light rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-26 | 1215 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-27 | 1300 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-28 | 1215 | 1 slight rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-29 | 1355 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-11-30 | 1215 | 1 slight rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
Daily Check Solar Tracker December 2013
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2013-12-01 | 1358 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-02 | 1215 | 1 slight rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west; DIF SM16M removed from tracker logger at roughly 1640
2013-12-03 | 1235 | clr | rr all | clr | lightly frosted | rr all | clr | DIF SM16M module reconnected to tracker logger at roughly 1235
2013-12-04 | 1227 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-05 | 1215 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-06 | 1245 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-07 | 1230 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-08 | 1255 | 1 light rr, 2-3 clr | rr all | 1 light rr, 2 clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-09 | 1230 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-10 | 1210 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west; SM16M module removed at 1345 for download
2013-12-11 | 1229 | clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west; SM16M module reinstalled at 1229
2013-12-12 | 1217 | 1 rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr | tracker still pointed west
2013-12-13 | [7 empty] | NO CHECK DUE TO CONTINUOUS CONDITION 1
2013-12-14 | 1300 | 1 rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr
2013-12-15 | 1253 | clr | rr all | clr | lightly frosted | rr all | clr
2013-12-16 | 1213 | clr | rr all | clr | lightly frosted | rr all | clr | Removed SM16M for download
2013-12-17 | 1207 | clr | clr | clr | lightly frosted | rr all | clr | Replaced SM16M during visit
2013-12-18 | 1205 | clr | clr | clr | lightly frosted | rr all | clr
2013-12-19 | 1208 | 1 slight rr, 2-3 clr | clr | clr | lightly frosted | rr all | clr
2013-12-20 | [7 empty] | NO CHECK DUE TO CONTINUOUS CONDITION 1
2013-12-21 | 1238 | 1 slight rr, 2-3 clr | rr all | 1 clr, 2 rr | rr | rr all | clr
2013-12-22 | 1307 | 1 slight rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2013-12-23 | 1219 | clr | rr all | 1 rr, 2 clr | rr | rr all | clr | Removed SM16M for download
2013-12-24 | 1224 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr | Replaced SM16M during visit
2013-12-25 | 1407 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr
2013-12-26 | 1315 | clr | rr all | clr | lightly frosted | rr all | clr
2013-12-27 | 1229 | 1 slight rr, 2-3 clr | rr all | 1 slight rr, 2 clr | lightly frosted | rr all | clr
2013-12-28 | 1237 | 1 slight rr, 2-3 clr | rr all | clr | lightly frosted | rr all | clr
2013-12-29 | 1303 | 1 slight rr, 2-3 clr | rr all | 1 slight rr, 2 clr | lightly frosted | rr all | clr
2013-12-30 | 1210 | 1 slight rr, 2-3 clr | rr all | 1 slight rr, 2 clr | lightly frosted | rr all | clr | Removed SM16M for download
2013-12-31 | 1239 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | lightly frosted | rr all | clr | Replaced SM16M during visit

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2013-03-20 | 1250 | B | rmv fr | PFR installed in PM of 2/18/2013. Data Storage Module installed 2/20/2013 @1800UTC.
2013-03-21 | 1310 | not enough sun | rmv fr | Swapped storage Module
2013-03-22 | 1250 | B | rmv fr
2013-03-23 | 1245 | B | rmv fr
2013-03-24 | 1445 | B | clr
2013-03-25 | 1220 | B | clr
2013-03-26 | 1240 | not enough sun | rmv fr
2013-03-27 | 1230 | A | clr
2013-03-28 | 1240 | B | clr
2013-03-29 | 1215 | B | clr
2013-03-30 | 1230 | B | clr
2013-03-31 | 1120 | B | clr
2013-04-01 | 1100 | B | rmv fr
2013-04-02 | 1155 | B | clr
2013-04-03 | 1115 | B | clr
2013-04-04 | 1210 | B | clr
2013-04-05 | 1110 | not enough sun | clr
2013-04-06 | 1110 | B | clr
2013-04-07 | 1330 | not enough sun | clr
2013-04-08 | 1310 | not enough sun | clr
2013-04-09 | 1310 | B | clr
2013-04-10 | 1055 | B | clr
2013-04-11 | 1230 | B | rmv fr
2013-04-12 | 1210 | B | rmv fr
2013-04-13 | 1335 | B | clr
2013-04-14 | 1135 | B | rmv fr
2013-04-15 | 1115 | B | clr
2013-04-16 | 1155 | B | rmv fr
2013-04-17 | 1115 | B | clr
2013-04-18 | 1110 | B | clr
2013-04-19 | 1205 | B | rmv fr
2013-04-20 | 1035 | not enough sun | clr
2013-04-21 | 1000 | not enough sun | clr
2013-04-22 | 1205 | B | clr
2013-04-23 | 1055 | B | rmv fr
2013-04-24 | 1120 | B | clr
2013-04-25 | 1135 | B | clr
2013-04-26 | 1210 | not enough sun | clr
2013-04-27 | 1120 | F | clr | tracker frozen looks like around 1230 UTC yesterday
2013-04-28 | 1000 | F | clr | tracker frozen, reset tracker at 1225 UTC
2013-04-29 | 1725 | B | clr
2013-04-30 | 1200 | F | clr | tracker frozen looks like around 1230 UTC yesterday. Repositioned 2320UTC
2013-05-01 | 1205 | F | rmv fr | tracker frozen in the poistion from yesterday night.
2013-05-02 | 1230 | F | clr | tracker frozen in the poistion.
2013-05-03 | 1220 | F | clr | tracker was aligned with sun but will not track it
2013-05-04 | 1255 | F | clr | tracker frozen in position.
2013-05-05 | 1300 | F | clr | tracker frozen in position.
2013-05-06 | 1300 | F | clr | tracker frozen in position.
2013-05-07 | 1240 | F | fmv sn | tracker frozen in position.
2013-05-08 | 1150 | F | clr | tracker frozen in position.
2013-05-09 | 1345 | F | clr | tracker frozen in position.
2013-05-10 | 1220 | F | clr | tracker frozen in position.
2013-05-11 | 1215 | F | clr | tracker frozen in position.
2013-05-12 | 1445 | F | clr | tracker frozen in position.
2013-05-13 | 1200 | F | clr | tracker frozen in position.
2013-05-14 | 1235 | F | clr | tracker frozen in position.
2013-05-15 | 1745 | F | clr | tracker frozen in position.
2013-05-16 | 1350 | F | clr | tracker frozen in position.
2013-05-17 | 1125 | F | clr | tracker frozen in position.
2013-05-18 | 1125 | F | clr | tracker frozen in position.
2013-05-19 | 1435 | F | clr | tracker frozen in position.
2013-05-20 | 1155 | F | clr | tracker frozen in position.
2013-05-21 | 1115 | F | clr | tracker frozen in position.
2013-05-22 | 1120 | F | clr | tracker frozen in position.
2013-05-23 | 1200 | F | clr | tracker frozen in position.
2013-05-24 | 1100 | F | clr | tracker frozen in position.
2013-05-25 | 1055 | F | clr | tracker frozen in position.
2013-05-26 | 1315 | F | clr | tracker frozen in position.
2013-05-27 | 1155 | F | clr | tracker frozen in position.
2013-05-28 | 1110 | F | clr | tracker frozen in position.
2013-05-29 | 1100 | F | clr | tracker frozen in position.
2013-05-30 | 1310 | F | clr | tracker frozen in position.
2013-05-31 | 1105 | F | clr | tracker frozen in position.
2013-06-01 | 1110 | F | clr | tracker frozen in position.
2013-06-02 | 1150 | F | clr | tracker frozen in position.
2013-06-03 | 1145 | F | clr | tracker frozen in position.
2013-06-04 | 1220 | F | clr | tracker frozen in position.
2013-06-05 | 1145 | F | clr | tracker frozen in position.
2013-06-06 | 1120 | F | clr | tracker frozen in position.
2013-06-07 | 1210 | F | clr | tracker frozen in position.
2013-06-08 | 1235 | F | clr | tracker frozen in position.
2013-06-09 | 1110 | F | clr | tracker frozen in position.
2013-06-10 | 1135 | F | clr | tracker frozen in position.
2013-06-11 | 1145 | F | clr | tracker frozen in position.
2013-06-12 | 1100 | F | clr | tracker frozen in position.
2013-06-13 | 1310 | F | clr | tracker frozen in position.
2013-06-14 | 1205 | F | clr | tracker frozen in position.
2013-06-15 | 1215 | F | clr | tracker frozen in position.
2013-06-16 | 1400 | F | clr | tracker frozen in position.
2013-06-17 | 1200 | F | clr | tracker frozen in position/
2013-06-18 | 1025 | F | clr | tracker frozen in position/
2013-06-19 | 1040 | F | clr | tracker frozen in position.
2013-06-20 | 1535 | F | clr | tracker frozen in position.
2013-06-21 | 1115 | F | clr | tracker frozen in position.
2013-06-22 | 1205 | F | clr | tracker frozen in position.
2013-06-23 | 1405 | F | clr | tracker frozen in position.
2013-06-24 | 1200 | F | clr | tracker frozen in position.
2013-06-25 | 1135 | F | clr | tracker frozen in position.
2013-06-26 | 1855 | F | clr | tracker frozen in position.
2013-06-27 | 1030 | F | clr | tracker frozen in position.
2013-06-28 | 1550 | F | clr | tracker frozen in position.
2013-06-29 | 1100 | F | clr | tracker frozen in position.
2013-06-30 | 1740 | F | clr | tracker frozen in position.
2013-07-01 | 1115 | F | clr | tracker frozen in position.
2013-07-02 | 1140 | F | clr | tracker frozen in position.
2013-07-03 | 1110 | F | clr | tracker frozen in position.
2013-07-04 | 1205 | F | clr | tracker frozen in position.
2013-07-05 | 1110 | F | clr | tracker frozen in position.
2013-07-06 | 1135 | F | clr | tracker frozen in position.
2013-07-07 | 1220 | F | clr | tracker frozen in position.
2013-07-08 | 1135 | F | clr | tracker frozen in position.
2013-07-09 | 1120 | F | clr | tracker frozen in position.
2013-07-10 | 2220 | F | clr | tracker frozen in position.
2013-07-11 | 1105 | F | clr | tracker frozen in position.
2013-07-12 | 1310 | F | clr | tracker frozen in position.
2013-07-13 | 1225 | A | clr | operational after tech swapped circuit board.
2013-07-14 | 1425 | A | clr
2013-07-15 | 1130 | A | clr
2013-07-16 | 2125 | A | clr
2013-07-17 | 1135 | A | clr
2013-07-18 | 1110 | A | clr
2013-07-19 | 1135 | A | clr
2013-07-20 | 1840 | A | clr
2013-07-21 | 1135 | A | clr
2013-07-22 | 1140 | A | clr
2013-07-23 | 1000 | A | clr
2013-07-24 | 1225 | A | clr
2013-07-25 | 1010 | A | clr
2013-07-26 | 1300 | not enough sun | clr
2013-07-27 | 1130 | A | clr
2013-07-28 | 1540 | not enough sun | clr
2013-07-29 | 950 | A | clr
2013-07-30 | 1350 | A | clr
2013-07-31 | 1110 | A | clr
2013-08-01 | 1110 | A | clr
2013-08-02 | 1115 | A | clr
2013-08-03 | 1220 | not enough sun | clr
2013-08-04 | 920 | A | clr
2013-08-05 | 1145 | A | clr
2013-08-06 | 1220 | A | clr
2013-08-07 | 1635 | A | clr
2013-08-08 | 1125 | B | clr
2013-08-09 | 1245 | A | clr
2013-08-10 | 1125 | A | clr
2013-08-11 | 1840 | not enough sun | clr | tracker frozen in position.
2013-08-12 | 1000 | not enough sun | clr | appeared to be stuck in the North position while sun was east.
2013-08-13 | 1120 | F | clr | tracker frozen in position.
2013-08-14 | 1125 | A | clr
2013-08-15 | 1150 | A | clr
2013-08-16 | 1110 | B | clr
2013-08-17 | 1145 | A | clr
2013-08-18 | 840 | A | clr
2013-08-19 | 1130 | A | clr
2013-08-20 | 1045 | B | clr
2013-08-21 | 1040 | B | clr
2013-08-22 | 1010 | B | clr
2013-08-23 | 1025 | A | clr
2013-08-24 | 1100 | A | clr
2013-08-25 | 1055 | A | clr
2013-08-26 | 1145 | A | clr
2013-08-27 | 1610 | A | clr
2013-08-28 | 1615 | A | clr
2013-08-29 | 1110 | not enough sun | clr
2013-08-30 | 1605 | A | clr
2013-08-31 | 1320 | not enough sun | clr
2013-09-01 | 1550 | A | clr
2013-09-02 | 1440 | A | clr
2013-09-03 | 1230 | A | clr
2013-09-04 | 1425 | not enough sun | clr
2013-09-05 | 1420 | not enough sun | rr
2013-09-06 | 1225 | not enough sun | clr
2013-09-07 | 1025 | B | clr
2013-09-08 | 1050 | not enough sun | clr
2013-09-09 | 1110 | not enough sun | clr
2013-09-10 | 1115 | not enough sun | clr
2013-09-11 | 1145 | B | rr
2013-09-12 | 1205 | not enough sun | clr
2013-09-13 | 1010 | A | clr
2013-09-14 | 1215 | not enough sun | rr
2013-09-15 | 1230 | A | clr
2013-09-16 | 1110 | A | rr
2013-09-17 | 1045 | not enough sun | clr
2013-09-18 | 1040 | not enough sun | rr
2013-09-19 | 1210 | A | clr
2013-09-20 | 1220 | not enough sun | clr
2013-09-21 | 1100 | not enough sun | clr
2013-09-22 | 1145 | A | rr
2013-09-23 | 1310 | A | rr
2013-09-24 | 1155 | not enough sun | clr
2013-09-25 | 1200 | not enough sun | clr
2013-09-26 | 1155 | A | clr
2013-09-27 | 1055 | A | clr
2013-09-28 | 1035 | not enough sun | clr
2013-09-29 | 1145 | A | clr
2013-09-30 | 1050 | not enough sun | clr | PFR removed for winter.

## Weekly Download SwissTower
2012 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | [10 empty] | 2012
1 | 130107 | 190 | 2 | n | 1665240 | 366 | 1300 | 7 | 1310 | y
2 | 130114 | 191 | -5 | y | 1698002 | 7 | 1320 | 14 | 1220 | y
3 | 130121 | 192 | -3 | n | 1731216 | 14 | 1230 | 21 | 1350 | y
4 | 130128 | 193 | -5 | y | 1764114 | 21 | 1400 | 28 | 1340 | y
5 | 130204 | 194 | -3 | n | 1797238 | 28 | 1350 | 35 | 1440 | y
6 | 130211 | 195 | -7 | y | 1830166 | 35 | 1450 | 42 | 1440 | y
7 | 130218 | 196 | 3 | y | 1862974 | 42 | 1450 | 49 | 1400 | y
8 | 130225 | 197 | -4 | y | 1895826 | 49 | 1410 | 56 | 1340 | y
9 | 130304 | 198 | 1 | n | 1928724 | 56 | 1350 | 63 | 1330 | y
10 | 130311 | 199 | 1 | n | 1961682 | 63 | 1340 | 70 | 1340 | y
11 | 130318 | 200 | -3 | y | 1994640 | 70 | 1350 | 77 | 1350 | y
12 | 130325 | 201 | -3 | y | 2027478 | 77 | 1400 | 84 | 1320 | y
13 | 130401 | 202 | -4 | y | 2060180 | 84 | 1330 | 91 | 1210 | y
14 | 130408 | 203 | -4 | y | 2092972 | 91 | 1220 | 98 | 1130 | y
15 | 130415 | 204 | -4 | y | 2126096 | 98 | 1140 | 105 | 1230 | y
16 | 130422 | 205 | -4 | y | 12749 | 105 | 1240 | 112 | 1240 | y
17 | 130429 | 206 | -5 | y | 46883 | 112 | 1250 | 119 | 1850 | y
18 | 130506 | 207 | -5 | y | 78515 | 119 | 1900 | 126 | 1210 | y
19 | 130513 | 208 | -5 | y | 111367 | 126 | 1220 | 133 | 1150 | y
20 | 130520 | 209 | -5 | y | 144461 | 133 | 1200 | 140 | 1240 | y
21 | 130527 | 210 | -5 | y | 177329 | 140 | 1250 | 147 | 1220 | y
22 | 130603 | 211 | -6 | y | 210347 | 147 | 1230 | 154 | 1250 | y
23 | 130610 | 212 | -5 | y | 244451 | 154 | 1300 | 161 | 1820 | y
24 | 130617 | 213 | -5 | y | 276399 | 161 | 1900 | 168 | 1350 | y
25 | 130624 | 214 | -4 | y | 309131 | 168 | 1400 | 175 | 1250 | y
26 | 130701 | 215 | -6 | y | 342105 | 175 | 1300 | 182 | 1300 | y
27 | 130708 | 216 | -2 | y | 374927 | 182 | 1310 | 189 | 1230 | y
28 | 130715 | 217 | -5 | y | 408021 | 189 | 1240 | 196 | 1320 | y
29 | 130722 | 218 | -6 | y | 440753 | 196 | 1330 | 203 | 1220 | y
30 | 130729 | 219 | -5 | y | 473485 | 203 | 1230 | 210 | 1120 | y
31 | 130805 | 220 | -4 | y | 506609 | 210 | 1130 | 217 | 1220 | y
32 | 130812 | 221 | -6 | y | 539371 | 217 | 1230 | 224 | 1130 | y
33 | 130819 | 222 | -7 | y | 572269 | 224 | 1140 | 231 | 1120 | y
34 | 130826 | 223 | -5 | y | 605333 | 231 | 1130 | 238 | 1200 | y
35 | 130902 | 224 | -7 | y | 638291 | 238 | 1210 | 245 | 1210 | y
36 | 130909 | 225 | -6 | y | 671415 | 245 | 1220 | 252 | 1310 | y
37 | 130916 | 226 | -4 | y | 704177 | 252 | 1320 | 259 | 1220 | y
38 | 130923 | 227 | -5 | y | 736969 | 259 | 1230 | 266 | 1140 | y
39 | 130930 | 228 | -5 | y | 770063 | 266 | 1150 | 273 | 1230 | y
40 | 131007 | 229 | -4 | y | 802795 | 273 | 1240 | 280 | 1130 | y
41 | 131014 | 230 | -4 | y | 835979 | 280 | 1140 | 287 | 1250 | y
42 | 131021 | 231 | -4 | y | 869043 | 287 | 1300 | 294 | 1330 | y
43 | 131028 | 232 | -3 | y | 901609 | 294 | 1340 | 301 | 1140 | y
44 | 131104 | 233 | -4 | y | 934341 | 301 | 1150 | 308 | 1040 | y
45 | 131111 | 234 | -2 | y | 968385 | 308 | 1050 | 315 | 1620 | y
46 | 131118 | 235 | -1 | y | 1000891 | 315 | 1630 | 322 | 1410 | y
47 | 131125 | 236 | -3 | y | 1034241 | 322 | 1420 | 329 | 1620 | y
48 | 131202 | 237 | -3 | y | 1066807 | 329 | 1630 | 336 | 1430 | y
49 | 131209 | 238 | -2 | y | 1099735 | 336 | 1440 | 343 | 1430 | y
50 | 131216 | 239 | -4 | y | 1132527 | 343 | 1440 | 350 | 1350 | y
51 | 131223 | 240 | -2 | y | 1165455 | 350 | 1400 | 357 | 1350 | y
52 | 131230 | 241 | -2 | y | 1198549 | 357 | 1400 | 364 | 1440 | y

## Weekly Download SolarTracker
2012 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | [10 empty] | 2012
1 | 130107 | 511 | 14s | y | 465428 | 366 | 1340 | 7 | 1319 | y | 2013
2 | 130114 | 512 | +12 | y | 913356 | 7 | 1320 | 14 | 1236 | y
3 | 130121 | 513 | +13 | y | 1364188 | 14 | 1237 | 21 | 1259 | y
4 | 130128 | 514 | +12 | y | 1813832 | 21 | 1300 | 28 | 1253 | y
5 | 130204 | 515 | 14 | y | 119899 | 28 | 1254 | 35 | 1351 | y
6 | 130211 | 516 | 9 | y | 569895 | 35 | 1352 | 42 | 1353 | y
7 | 130218 | 517 | 13 | y | 1017691 | 42 | 1354 | 49 | 1305 | y
8 | 130225 | 518 | +10 | y | 1466939 | 49 | 1306 | 56 | 1252 | y
9 | 130304 | 519 | +18 | y | 1916539 | 56 | 1253 | 63 | 1247 | y
10 | 130311 | 520 | +14 | y | 220494 | 63 | 1248 | 70 | 1257 | y
11 | 130318 | 521 | +7 | y | 670710 | 70 | 1258 | 77 | 1304 | y
12 | 130325 | 522 | +13 | y | 1119210 | 77 | 1305 | 84 | 1232 | y
13 | 130401 | 523 | +13 | y | 1565774 | 84 | 1233 | 91 | 1118 | y
14 | 130408 | 524 | +8 | y | 2016562 | 91 | 1119 | 98 | 1140 | y
15 | 130415 | 525 | +12 | y | 320077 | 98 | 1141 | 105 | 1140 | y
16 | 130422 | 526 | +10 | y | 770381 | 105 | 1141 | 112 | 1151 | y
17 | 130429 | 527 | +10 | y | 986462 | 112 | 1152 | 115 | 2041 | y | Couldn't download full datafile due communication error
18 | 130506 | 528 | +9 | y | 1667777 | 115 | 2042 | 126 | 1100 | y | retrieved data from last week.
19 | 130513 | 529 | +3 | y | 2120765 | 126 | 1101 | 133 | 1212 | y
20 | 130520 | 530 | +6 | y | 422960 | 133 | 1213 | 140 | 1142 | y
21 | 130527 | 531 | +4 | y | 872428 | 140 | 1143 | 147 | 1134 | y
22 | 130603 | 532 | +2 | y | 1326032 | 147 | 1135 | 154 | 1300 | y
23 | 130610 | 533 | +2 | y | 1789140 | 154 | 1301 | 161 | 1802 | y
24 | 130617 | 534 | +1 | y | 78663 | 161 | 1803 | 168 | 1244 | y
25 | 130624 | 535 | +3 | y | 526371 | 168 | 1245 | 175 | 1156 | y
26 | 130701 | 536 | +1 | y | 976631 | 175 | 1157 | 182 | 1206 | y
27 | 130708 | 537 | +3 | y | 1424955 | 182 | 1207 | 189 | 1132 | y
28 | 130715 | 538 | +1 | y | 1877063 | 189 | 1133 | 196 | 1224 | y
29 | 130722 | 539 | +1 | y | 177762 | 196 | 1225 | 203 | 1120 | Y
30 | 130729 | 540 | -1 | y | 625558 | 203 | 1121 | 210 | 1034 | y
31 | 130805 | 541 | +2 | y | 1078018 | 210 | 1035 | 217 | 1134 | y
32 | 130812 | 542 | +3 | y | 1525726 | 217 | 1135 | 224 | 1046 | y
33 | 130819 | 543 | -2 | y | 1974578 | 224 | 1047 | 231 | 1024 | y
34 | 130826 | 544 | -4 | y | 280337 | 231 | 1025 | 238 | 1115 | y
35 | 130902 | 545 | +2 | y | 730553 | 238 | 1116 | 245 | 1124 | y
36 | 130909 | 546 | -4 | y | 1181737 | 245 | 1125 | 252 | 1155 | y
37 | 130916 | 547 | +6 | y | 1630721 | 252 | 1156 | 259 | 1136 | y
38 | 130923 | 548 | +7 | y | 2078869 | 259 | 1137 | 266 | 1056 | y
39 | 130930 | 549 | +8 | y | 384232 | 266 | 1057 | 273 | 1138 | y
40 | 131007 | 550 | +11 | y | 835328 | 273 | 1139 | 280 | 1207 | y
41 | 131014 | 551 | +8 | y | 1288096 | 280 | 1208 | 287 | 1314 | y
42 | 131021 | 552 | +7 | y | 1736552 | 287 | 1315 | 294 | 1241 | y
43 | 131028 | 553 | +13 | y | 37911 | 294 | 1242 | 301 | 1152 | y
44 | 131104 | 554 | +13 | y | 495255 | 301 | 1153 | 308 | 1443 | y
45 | 131111 | 555 | +15 | y | 946219 | 308 | 1444 | 315 | 1507 | y
46 | 131118 | 556 | +18 | y | 1394235 | 315 | 1508 | 322 | 1426 | y
47 | 131126 | 557 | +13 | y | 1663907 | 322 | 1427 | 326 | 1913 | y | Download delayed to Tuesday by comms loss. This download disrupted by connection, DIF558 is the second half of the week
47 | 131126 | 558 | 0 | n | 1920151 | 326 | 1914 | 330 | 1853 | y | Second file created due to disruption of connection during first download
48 | 131202 | 559 | NA | n | 3015923 | 330 | 1854 | 336 | 1644 | y | Downloaded from SM16M due to comms failure. Entire SM16M downloaded (no pointer), put complete 36M file on FTP as well as .xls and .dat versions of the "week's" file. Time shift corrected at 12/10 1657 when wireless comms more stable.
49 | 131210 | 560 | +38 | y | 3521556 | 336 | 1645 | 344 | 1332 | y | Downloaded from SM16M due to comms failure.
50 | 131216 | 561 |  | n | 3909185 | 344 | 1333 | 350 | 1419 | y | Downloaded from SM16M due to comms failure.
51 | 131223 | 562 |  | n | 4362217 | 350 | 1420 | 357 | 1532 | y | Downloaded from SM16M due to comms failure.
52 | 131230 | 563 |  | n | 4813755 | 357 | 1533 | 364 | 1611 | y | Downloaded from SM16M due to comms failure.
n
Note on E53: john lyons: Time checked and corrected via wireless 12/10 1657. Offset was +38s
Note on G5: summit:

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y