## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2014 Daily Check Swiss Tower
Daily Check Swiss Tower January 2014
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-01-01 | 1250 | 1-2 rr, 3-6 rimed | 1-2 clr, 3-6 lt rime | clr | n
2014-01-02 | 1228 | 1-2 lt rr, 3-6 rimed | 1-2 lt rr, 3-6 lt rime | clr | n
2014-01-03 | 1237 | 1-2 clr, 3-6 rimed | 1-2 clr, 3-6 lt rime | clr | n
2014-01-04 | 1425 | 1-2 clr, 3-6 rimed | 1-2 clr, 3-6 lt rime | clr | n
2014-01-05 | 1325 | 1-2 lt rr, 3-6 rimed | 1-2 lt rr, 3-6 lt rime | clr | n
2014-01-06 | 1248 | 1-2 rr, 3-6 rimed | 1-2 lt rr, 3-6 lt rime | 1-2 rr, 3-6 lt rime | n
2014-01-07 | 1243 | 1-2 rr, 3-6 rimed | 1-2 clr, 3-6 lt rime | clr | n
2014-01-08 | 1555 | 1-2 rr, 3-6 rimed | 1-2 clr, 3-6 lt rime | clr | n
2014-01-09 | 1635 | 1-2 rr, 3-6 rimed | 1-2 clr, 3-6 lt rime | clr | n
2014-01-10 | 1335 | 1-2 rr, 3-6 lt rime | 1-2 clr, 3-6 lt rime | clr | n
2014-01-11 | 1238 | 1-2 clr, 3-6 lt rime | 1-5 clr, 6 not vis | clr | n
2014-01-12 | 1753 | 1-2 rr, 3-6 rimed | 1-2 clr, 3-6 not vis | clr | n
2014-01-13 | 1220 | 1-2 clr, 3-6 rimed | 1-3 clr, 4-6 not vis | clr | n
2014-01-14 | 1225 | 1-2 clr, 3-6 rimed | 1-2 clr, 3-5 lt frost, 6 rimed | clr | n
2014-01-15 | 1230 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-01-16 | 1215 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-01-17 | 1220 | 1-2 clr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-01-18 | 1455 | 1-2 clr, 3-6 rimed | 1-2 clr, 3-5 lt frost, 6 rimed | clr | n
2014-01-19 | 1240 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-20 | 1243 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-6 frost | clr | n
2014-01-21 | 1255 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-22 | 1232 | 1-2 rr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-23 | 1240 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-24 | 1248 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-25 | 1235 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-26 | 1335 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not vis | clr | n
2014-01-27 | 1225 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | 1-2 light frost removed, 3-5 clr | n
2014-01-28 | 1222 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | 1-2 light frost removed, 3-5 clr | n
2014-01-29 | 1250 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-01-30 | 1240 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-01-31 | [5 empty] | Not visited due to Condition 1 all day
Daily Check Swiss Tower February 2014
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-02-01 | 1245 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | 1-2 rr, 3-5 rimed, 6 not visible | n
2014-02-02 | 1317 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-02-03 | 1240 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-02-04 | 1236 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-02-05 | 1237 | 1-2 clr, 3-6 rimed | 1-2 clr, 3-5 very lt rime | clr | n
2014-02-06 | 1245 | 1-2 clr, 3-6 rimed | 1-5 clr, 6 not visible | clr | n
2014-02-07 | 1215 | 1-2 lt rr, 3-6 rimed | 1-2 clr, 3-5 very lt rime | clr | n
2014-02-08 | 1235 | 1-2 clr, 3-6 rimed | 1-2 lt rr, 3-5 rimed | clr | n
2014-02-09 | 1406 | 1-2 clr, 3-6 rimed | 1-2 lt rr, 3-5 rimed | clr | n
2014-02-10 | 1233 | 1-2 rr, 3-6 rimed | 1-2 lt rr, 3-4 rimed, 5 buried in snow | clr | n
2014-02-11 | 1236 | 1-2 rr, 3-6 rimed | 1-2 lt rr, 3-4 rimed, 5 buried in snow | 1-2 small patches removed, 3-5 small patches, not visible | n
2014-02-12 | 1250 | 1-2 rr, 3-6 rimed | 1-2 rr, 3-5 frost, 6 not visible | clr | n
2014-02-13 | 1242 | 1-2 rr, 3-6 rimed | 1-2 clr, 3-5 lt rime | clr | n
2014-02-14 | 1238 | 1-2 lt rr, 3-6 rimed | 1-2 lt rr, 3-4 rimed, 5 buried in snow | clr | n
2014-02-15 | 1441 | 1-2 lt rr, 3-6 rimed | 1-2 clr, 3-4 rimed, 5 buried | clr | n
2014-02-16 | 1320 | 1-2 lt rr, 3-6 rimed | 1-2 clr, 3 rimed, 4 almost buried, 5 buried | clr | n
2014-02-17 | 1220 | 1-2 clr, 3-6 rimed | 1-3 clr, 4 almost buried, 5 buried | clr | n
2014-02-18 | 1845 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-19 | 1234 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-20 | 1220 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-21 | 1225 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-22 | 1245 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-23 | 1310 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-24 | 1235 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-25 | 1240 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-26 | 1320 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-27 | 1855 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-02-28 | 1330 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
Daily Check Swiss Tower March 2014
2014-03-01 | 1300 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-02 | 1430 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-03 | 1320 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-04 | 1235 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-05 | 1325 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-06 | 1355 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-07 | 1255 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-08 | 1250 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-09 | 1430 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-10 | 1245 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-11 | 1240 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-12 | 1250 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-13 | 1310 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-14 | 1242 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-15 | 1255 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-16 | 1520 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-17 | 1245 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-18 | 1240 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-19 | 1355 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-20 | 1300 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-21 | 1430 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-22 | 1445 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-23 | 1720 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-24 | 1245 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-25 | 1310 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-26 | 1310 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-27 | 1320 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-28 | 1305 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-29 | 1240 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-30 | 1545 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-03-31 | 1635 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
Daily Check Swiss Tower April 2014
2014-04-01 | 1155 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-02 | 1420 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-03 | 1255 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-04 | 1410 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n | Tower climbed to 20' and heat trace turned off from 1740-1840 UTC. Inlet 3 cleared of snow.
2014-04-05 | 1315 | 1-3 clr, 4-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-06 | 1655 | 1-3 clr, 4-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-07 | 1600 | 1-3 clr, 4-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-08 | 1225 | 1-3 clr, 4-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-09 | 1215 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-10 | 1220 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-11 | 1245 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-12 | 1320 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-13 | 1515 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-14 | 1205 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-15 | 1355 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-16 | 1215 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-17 | 1220 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-18 | 1335 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-19 | 1320 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-20 | 1430 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-21 | 1250 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-22 | 1240 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-23 | 1210 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-24 | 1630 | 1-4 clr, 5-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-25 | 1210 | 1-4 clr, 5-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-26 | 1250 | 1-4 clr, 5-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-27 | 1220 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-28 | 1345 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-29 | 1205 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-04-30 | 1230 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
Daily Check Swiss Tower May 2014
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-05-01 | 1220 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-02 | 1750 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-03 | 1540 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-04 | 1500 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-05 | 1210 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-06 | 1200 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-07 | 1300 | 1-2 clr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-08 | 1340 | 1-4 clr, 5-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-09 | 1735 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-10 | 1640 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-11 | 1625 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-12 | 1210 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-13 | 1155 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-14 | 1130 | 1-2 rr, 3-6 rimed | 1-4 clr, 5 buried | clr | n
2014-05-15 | [5 empty] | site not visited, tower climbed to full height, all rime removed, guy wires tensioned, broken diagonals repaired.
2014-05-16 | 1215 | 1-2 clr, 3-6 rimed | all clr | clr | n
2014-05-17 | 1150 | 1-2 rr, 3-6 rimed | all clr | clr | n | Site visit by Koni Steffen
2014-05-18 | 1425 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-19 | 1345 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-20 | 1220 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-21 | 1405 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-22 | 1225 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-23 | 1155 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-24 | 1220 | 1-2 clr, 3-6 rimed | all clr | clr | n
2014-05-25 | 1245 | all clr | all clr | clr | n
2014-05-26 | 1345 | all clr | all clr | clr | n
2014-05-27 | 1335 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-28 | 1715 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-29 | 1300 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-05-30 | 1255 | all clr | all clr | clr | n
2014-05-31 | 1425 | all clr | all clr | clr | n
Daily Check Swiss Tower June 2014
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-06-01 | 1700 | all clr | all clr | clr | n
2014-06-02 | 1205 | 1-2 rr, 3-4 rimed, 5-6 clr | all clr | clr | n
2014-06-03 | 1200 | all clr | all clr | clr | n
2014-06-04 | 1540 | all clr | all clr | clr | n
2014-06-05 | 1350 | all clr | all clr | clr | n
2014-06-06 | 930 | all clr | all clr | clr | n
2014-06-07 | 925 | all clr | all clr | clr | n
2014-06-08 | 1005 | all clr | all clr | clr | n
2014-06-09 | 940 | all clr | all clr | clr | n
2014-06-10 | 1200 | all clr | all clr | clr | n
2014-06-11 | 935 | 1-2 rr, 3-4 rimed, 5-6 clr | all clr | clr | n
2014-06-12 | 925 | 1-2 rr,3-6 rimed | all clr | clr | n
2014-06-13 | 1350 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-06-14 | 1305 | 1-2 rr, 3-5 rimed, 6clr | all clr | clr | n
2014-06-15 | 1045 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-06-16 | 920 | 1-2 rr, 3-6 clear | all clr | clr | n
2014-06-17 | 940 | 1-2 rr, 3-6 rimed | all clr | clr | n
2014-06-18 | 940 | all clr | all clr | clr | n
2014-06-19 | 940 | all clr | all clr | clr | n
2014-06-20 | 935 | 1-2rr; 3-6 rimed | all clr | clr | n
2014-06-21 | 1210 | 1-2rr; 3-6 rimed | all clr | clr | n
2014-06-22 | 1030 | all clr | all clr | clr | n
2014-06-23 | 915 | all clr | all clr | clr | n
2014-06-24 | 935 | all clr | all clr | clr | n
2014-06-25 | 930 | all clr | all clr | clr | n
2014-06-26 | 1200 | all clr | all clr | clr | n
2014-06-27 | 935 | all clr | all clr | clr | n
2014-06-28 | 1155 | all clr | all clr | clr | n
2014-06-29 | 1015 | all clr | all clr | clr | n
2014-06-30 | 1030 | rr 1-2; 3-6 rimed | all clr | clr | n
Daily Check Swiss Tower July 2014
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-07-01 | 1150 | all clr | all clr | clr | n
2014-07-02 | 1155 | all clr | all clr | clr | n | Noone group working on tower from ~1100-2000UTC
2014-07-03 | 1230 | all clr | all clr | clr | n | Noone group working on tower from ~1100-2000UTC
2014-07-04 | 1200 | rr 1-2; 3-6rimed | all clr | clr | n | Noone group working on tower from ~1100-2000UTC
2014-07-05 | 1310 | rr 1-2; 3-6rimed | all clr | clr | n | Noone group working on tower from ~1100-2030UTC
2014-07-06 | 1030 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-07 | 1200 | all clr | all clr | clr | n | Noone group working on tower from ~1100-2000UTC
2014-07-08 | 1255 | all clr | all clr | clr | n | Noone group working on tower from ~1200-1400UTC
2014-07-09 | 1150 | all clr | all clr | clr | n
2014-07-10 | 1240 | all clr | all clr | clr | n
2014-07-11 | 1210 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-12 | 1200 | all clr | all clr | clr | n
2014-07-13 | 1200 | all clr | all clr | clr | n
2014-07-14 | 1250 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-15 | 1320 | all clr | all clr | clr | n
2014-07-16 | 1135 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-17 | 1155 | all clr | all clr | clr | n
2014-07-18 | 1400 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-19 | 1010 | rr 1-2; 3-4rimed; 5-6 clr | all clr | clr | n
2014-07-20 | 1250 | all clr | all clr | clr | n
2014-07-21 | 1215 | all clr | all clr | clr | n
2014-07-22 | 1305 | all clr | all clr | clr | n
2014-07-23 | 1800 | all clr | all clr | clr | n
2014-07-24 | 935 | all clr | all clr | clr | n
2014-07-25 | 935 | all clr | all clr | clr | n
2014-07-26 | 1210 | all clr | all clr | clr | n
2014-07-27 | 1050 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-28 | 1325 | all clr | all clr | clr | n
2014-07-29 | 1255 | all clr | all clr | clr | n
2014-07-30 | 1215 | rr 1-2; 3-6rimed | all clr | clr | n
2014-07-31 | 1055 | all clr | all clr | clr | n
Daily Check Swiss Tower August 2014
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-08-01 | 1055 | all clr | all clr | clr | n
2014-08-02 | 1055 | all clr | all clr | clr | n
2014-08-03 | 1230 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-04 | 1200 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-05 | [5 empty] | 1200UTC: Power off for Noone vault removal
2014-08-06 | [5 empty] | yesterday-1900UTC: Power off for Noone vault removal
2014-08-07 | 1200 | all clr | all clr | clr | n | 10-19.00UTC: Work near tower for Noone vault removal
2014-08-08 | 1330 | all clr | all clr | clr | n | 10-19.00UTC: Work near tower for Noone vault removal
2014-08-09 | 1245 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-10 | 1005 | all clr | all clr | clr | n
2014-08-11 | 1225 | all clr | all clr | clr | n
2014-08-12 | 1245 | all clr | all clr | clr | n
2014-08-13 | 1200 | all clr | all clr | clr | n
2014-08-14 | 1200 | all clr | all clr | clr | n
2014-08-15 | 1220 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-16 | 1650 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-17 | 1443 | all clr | all clr | clr | n
2014-08-18 | 1218 | all clr | all clr | clr | n
2014-08-19 | 1300 | all clr | all clr | clr | n
2014-08-20 | 1246 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-21 | 1220 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-22 | 1603 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-23 | 1217 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-24 | 1240 | rr 1-2; 3-6rimed | all clr | clr | n
2014-08-25 | 1300 | 1-3 clr, 4-6 rimed | all clr | clr | n
2014-08-26 | 1140 | 1-4 clr, 5-6 rimed | all clr | clr | n
2014-08-27 | 1245 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-08-28 | 1145 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-08-29 | 1150 | all clr | all clr | clr | n
2014-08-30 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2012-08-31 | 1250 | rr 1-2; 3-6 rimed | all clr | clr | n
Daily Check Swiss Tower September 2014
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-09-01 | 1325 | all clr | all clr | clr | n
2014-09-02 | 1158 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-03 | 1206 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-04 | 1142 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-05 | 1140 | all clr | all clr | clr | n
2014-09-06 | 1145 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-07 | 1235 | rr 1-2; 4-5 rimed | all clr | clr | n
2014-09-08 | 1325 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-09 | 1348 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-10 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-11 | 1144 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-12 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-13 | 1157 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-14 | 1320 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-15 | 1349 | all clr | all clr | clr | n
2014-09-16 | 1350 | all clr | all clr | clr | n
2014-09-17 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-18 | 1159 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-19 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-20 | 1155 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-21 | [5 empty] | did not visit
2014-09-22 | 1146 | clr | all clr | clr | n
2014-09-23 | 1152 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-24 | [5 empty] | did not visit
2014-09-25 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-26 | 1154 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-27 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-28 | 1210 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-29 | 1151 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-09-30 | 1210 | rr 1-2; 3-6 rimed | all clr | clr | n
Daily Check Swiss Tower October 2014
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-10-01 | 1140 | clr | all clr | clr | n
2014-10-02 | 1153 | clr | all clr | clr | n
2014-10-03 | 1135 | clr | all clr | clr | n
2014-10-04 | 1145 | clr | all clr | clr | n
2014-10-05 | 1230 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-06 | 1140 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-07 | 1135 | 3-6 rimed | all clr | clr | n
2014-10-08 | 1136 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-09 | 1142 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-10 | 1510 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-11 | 1154 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-12 | 1315 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-13 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-14 | 1200 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-15 | 1320 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-16 | 1139 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-17 | 1146 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-18 | 1149 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-19 | 1251 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-20 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-21 | 1150 | rr 1-2; 3-6 rimed | all clr | clr | n
2014-10-22 | 1158 | 3-6 rimed | all clr | 3-6 rimed | n
2014-10-23 | 1150 | rr 1-2; 3-6 rimed | all clr | 3-6 rimed | n
2014-10-24 | 1151 | 3-6 rimed | all clr | 3-6 rimed | n
2014-10-25 | 1155 | rr 1-2; 3-6 rimed | all clr | 3-6 rimed | n
2014-10-26 | 1251 | 3-6 rimed | all clr | 3-6 rimed | n
2014-10-27 | 1253 | rr 1-2; 3-6 rimed | all clr | 3-6 rimed | n
2014-10-28 | 1255 | rr 1-2; 3-6 rimed | all clr | 3-6 rimed | n
2014-10-29 | 1250 | rr 1-2; 3-6 rimed | all clr | 3-6 rimed | n
2014-10-30 | 1239 | rr 1-2; 3-6 rimed | all clr | 3-6 rimed | n
2014-10-31 | 1236 | rr 1-2; 3-6 rimed | all clr | 5-6 rimed | n
Daily Check Swiss Tower November 2014
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-11-01 | 1243 | rr 1-2; 3-6 rimed | all clr | 5-6 rimed | n
2014-11-02 | 1310 | rr 1-2; 3-6 rimed | 4-6 rimed | 4-6 rimed | n
2014-11-03 | 1250 | rr 1-2; 3-6 rimed | 4-6 rimed | 4-6 rimed | n
2014-11-04 | 1230 | 4-5 rimed | 4-5 rimed | 5 rimed | n
2014-11-05 | 1252 | 4-5 rimed | 4-5 rimed | 5 rimed | n
2014-11-06 | 1255 | 4-6 rimed | 4-6 rimed | 4-5 rimed | n
2014-11-07 | 1239 | 4-6 rimed | 4-6 rimed | 4-5 rimed | n
2014-11-08 | 1245 | 4-6 rimed | 4-6 rimed | 5-6 rimed | n
2014-11-09 | 1300 | 4-6 rimed | 4-6 rimed | 5-6 rimed | n
2014-11-10 | 1250 | 3-6 rimed | 3-6 rimed | 5-6 rimed | n
2014-11-11 | 1240 | 3-6 rimed | 3-6 rimed | 5-6 rimed | n
2014-11-12 | 1248 | 3-6 rimed | 3-6 rimed | 5-6 rimed | n
2014-11-13 | 1238 | 3-6 rimed | 3-5 rimed | 5-6 rimed | n
2014-11-14 | 1232 | 3-6 rimed | 3-5 rimed | 5 rimed | n
2014-11-15 | 1250 | 3-6 rimed | 3-5 rimed | 5-6 rimed | n
2014-11-16 | 1252 | 3-5 rimed | 3-5 rimed | 5 rimed | n
2014-11-17 | 1238 | 3-5 rimed | 5 rimed | 5 rimed | n
2014-11-18 | 1230 | 3-5 rimed | 5 rimed | 5 rimed | n
2014-11-19 | 1234 |  |  |  |  | Did not visit due to high winds/low vis
2014-11-20 | 1243 |  |  |  |  | Did not visit due to high winds/low vis
2014-11-21 | 1440 |  |  |  |  | Did not visit due to high winds/low vis
2014-11-22 | 1228 | 3 rimed | clr | clr | n
2014-11-23 | 1242 | 3-4 rimed | clr | clr | n
2014-11-24 | 1238 |  |  |  |  | Did not visit due to high winds/low vis
2014-11-25 | 1322 | clr | clr | 5 rimed | n
2014-11-26 | 1230 | 3-6 rimed | clr | clr | n
2014-11-27 | 1242 | 3-6 rimed | clr | clr | n
2014-11-28 | 1240 |  |  |  |  | Did not visit due to high winds/low vis
2014-11-29 | 1300 |  |  |  |  | Did not visit due to high winds/low vis
2014-11-30 | 1315 | 3-6 rimed | clr | clr | n
Daily Check Swiss Tower December 2014
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2014-12-01 | 1230 | 3-6 rimed | clr | clr | n
2014-12-02 | 1305 | 3-6 rimed | clr | clr | n
2014-12-03 | 1236 | 3-6 rimed | clr | clr | n
2014-12-04 | 1230 | 3-6 rimed | clr | clr | n
2014-12-05 | 1218 | 3-6 rimed | clr | clr | n
2014-12-06 | 1238 | 3-6 rimed | clr | clr | n
2014-12-07 | 1245 | 3-6 rimed | clr | clr | n
2014-12-08 | 1240 | rr 1-2, 3-6 rimed | clr | clr | n
2014-12-09 | 1215 | 3-6 rimed | clr | clr | n
2014-12-10 | 1305 | 3-6 rimed | clr | clr | n
2014-12-11 | 1241 | 3-6 rimed | clr | clr | n
2014-12-12 | 1237 |  |  |  |  | Did not visit due to high winds/low vis
2014-12-13 | 1235 | 3-6 rimed | clr | clr | n
2014-12-14 | 1250 | 3-6 rimed | clr | clr | n
2014-12-15 | 1240 | rr 1-2, 3-6 rimed | clr | clr | n
2014-12-16 | 1227 | rr 1-2, 3-6 rimed | clr | clr | n
2014-12-17 | 1248 | 3-6 rimed | clr | clr | n
2014-12-18 | 1230 |  |  |  |  | Did not visit due to high winds/low vis
2014-12-19 | 1213 | 3-6 rimed | clr | clr | n
2014-12-20 | 1243 | rr 1-2, 3-6 rimed | clr | clr | n
2014-12-21 | 1232 | 3-6 rimed | clr | clr | n
2014-12-22 | 1250 | 3-6 rimed | clr | clr | n
2014-12-23 | 1255 | 3-6 rimed | 4, 6 rimed | clr | n
2014-12-24 | 1248 | 3-6 rimed | 4, 6 rimed | clr | n
2014-12-25 | 1310 | 3-6 rimed | 4, 6 rimed | clr | n
2014-12-26 | 1255 | 3-6 rimed | 4, 6 rimed | clr | n
2014-12-27 | 1245 |  |  |  |  | Did not visit due to high winds/low vis
2014-12-28 | 1305 |  |  |  |  | Did not visit due to high winds/low vis
2014-12-29 | 1242 | clr | clr | clr | n
2014-12-30 | 1243 | 3-6 rimed | 4, 6 rimed | clr | n
2014-12-31 | 1254 | 3-6 rimed | 4, 6 rimed | clr | n

## Solar Instruments Daily Check
2014 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-01-01 | 1239 | 1 lt rr, 2-3 clr | rr all | clr all | frost removed | rr all | clr
2014-01-02 | 1219 | 1 rr, 2-3 clr | rr all | clr all | frost removed | rr all | clr
2014-01-03 | 1225 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | frost removed | rr all | clr
2014-01-04 | 1412 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | frost removed | rr all | clr
2014-01-05 | 1312 | clr | rr all | clr all | frost removed | rr all | clr
2014-01-06 | 1235 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | frost removed | rr all | clr
2014-01-07 | 1235 | clr | rr all | clr all | frost removed | rr all | clr
2014-01-08 | 1540 | clr | rr all | clr all | frost removed | clr | clr
2014-01-09 | 1625 | clr | rr all | clr all | frost removed | clr | clr
2014-01-10 | 1347 | clr | rr all | 1 rr, 2 clr | frost removed | lt rr all | clr
2014-01-11 | 1230 | 1 lt rr, 2-3 clr | rr all | 1 lt rr, 2 clr | frost removed | lt rr all | clr
2014-01-12 | 1745 | clr | rr all | 1 lt rr, 2 clr | frost removed | rr all | clr
2014-01-13 | 1207 | clr | rr all | clr all | frost removed | rr all | clr
2014-01-14 | 1215 | clr | rr all | clr all | frost removed | rr all | clr
2014-01-15 | 1220 | clr | rr all | clr all | frost removed | rr all | clr
2014-01-16 | 1205 | 1 lt rr, 2-3 clr | rr all | 1 lt rr, 2 clr | frost removed | rr all | clr
2014-01-17 | 1210 | clr | rr all | clr all | frost removed | rr all | clr
2014-01-18 | 1446 | clr | clr | clr all | frost removed | clr | clr
2014-01-19 | 1230 | clr | rr all | clr all | frost removed | clr | clr
2014-01-20 | 1230 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | frost removed | clr | clr
2014-01-21 | 1246 | clr | rr all | clr all | frost removed | clr | clr
2014-01-22 | 1217 | clr | rr all | 1 lt rr, 2 clr | frost removed | clr | clr
2014-01-23 | 1227 | clr | rr all | clr all | frost removed | clr | clr
2014-01-24 | 1239 | clr | rr all | clr all | frost removed | clr | clr | TRACKER HAS MOVED AROUND TO SOUTH
2014-01-25 | 1225 | clr | clr | clr all | frost removed | clr | clr
2014-01-26 | 1327 | 1 slight rr, 2-3 clr | clr | clr all | frost removed | clr | clr
2014-01-27 | 1210 | 1 rr, 2-3 clr | rr all | 1 lt rr, 2 clr | frost removed | rr all | clr
2014-01-28 | 1210 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | frost removed | rr all | clr
2014-01-29 | 1238 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-01-30 | 1229 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-01-31 | [7 empty] | Not visited due to Condition 1 all day
Daily Check Solar Tracker February 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-02-01 | 1230 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-02-02 | 1306 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-02-03 | 1228 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-02-04 | 1226 | 1 slight rr, 2-3 clr | clr | clr all | light frost removed | clr | clr
2014-02-05 | 1227 | 1 slight rr, 2-3 clr | rr all | clr all | light rime removed | clr | clr
2014-02-06 | 1232 | 1 slight rr, 2-3 clr | rr all | clr all | rr | rr all | clr
2014-02-07 | 1205 | 1 slight rr, 2-3 clr | lt rr all | clr all | light rime removed | rr all | clr | New filters installed on tracker downwelling PIR, PFR clock checked and updated
2014-02-08 | 1225 | 1 rr, 2-3 clr | lt rr all | clr all | light rime removed | rr all | clr
2014-02-09 | 1355 | 1 slight rr, 2-3 clr | lt rr all | 1 lt rr, 2 clr | light rime removed | rr all | clr
2014-02-10 | 1220 | 1 slight rr, 2-3 clr | lt rr all | clr all | light rime removed | rr all | clr
2014-02-11 | 1222 | 1 frost removed, 2-3 clr | rr all | 1 frost removed, 2 clr | rr | rr all | clr
2014-02-12 | 1232 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-02-13 | 1227 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-02-14 | 1222 | 1 rr, 2-3 clr | rr all | 1 lt rr, 2 clr | rr | rr all | clr
2014-02-15 | 1430 | 1 rr, 2-3 clr | rr all | 1 lt rr, 2 clr | rr | rr all | clr
2014-02-16 | 1306 | 1 rr, 2-3 clr | rr all | 1 lt rr, 2 clr | rr | rr all | clr
2014-02-17 | 1208 | 1 slight rr, 2-3 clr | clr | clr all | clr | clr | clr
2014-02-18 | 1835 | clr | clr | clr all | clr | clr | clr
2014-02-19 | 1222 | clr | clr | clr all | clr | clr | clr
2014-02-20 | 1207 | 1 slight rr, 2-3 clr | clr | clr all | clr | clr | clr
2014-02-21 | 1215 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | clr | clr
2014-02-22 | 1230 | 1 rr, 2-3 clr | rr all | clr all | rr | clr | clr
2014-02-23 | 1257 | 1 rr, 2-3 clr | rr all | clr all | rr w/alcohol | clr | clr
2014-02-24 | 1221 | 1 rr, 2-3 clr | rr all | 1 rr, 2 clr | rr | clr | clr
2014-02-25 | 1225 | 1 rr, 2-3 clr | rr all | rr all | rr | rr all | clr
2014-02-26 | 1310 | 1 rr, 2-3 clr | rr all | rr all | rr | rr all | clr
2014-02-27 | 1845 | 1 rr, 2-3 clr | clr | 1 rr, 2 clr | rr | clr | clr
2014-02-28 | 1320 | 1 rr, 2-3 clr | rr all | rr all | rr | rr all | clr
Daily Check Swiss March 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-03-01 | 1250 | 1 rr, 2-3 clr | rr all | rr all | rr | rr | clr
2014-03-02 | 1420 | 1 rr, 2-3 clr | rr all | rr all | rr | rr | clr
2014-03-03 | 1310 | 1 rr, 2-3 clr | clr | 1 rr, 2 clr | rr and ice | clr | clr | removed 1-2mm of ice from direct solar tube
2014-03-04 | 1225 | 1 rr, 2-3 clr | 1-2 rr, 3-4 clr | 1 rr, 2 clr | rr and ice | clr | clr
2014-03-05 | 1310 | clr | clr | clr | rr and ice | clr | clr
2014-03-06 | 1345 | clr | 1-2 rr, 3-4 clr | clr | clr | rr all | clr | NOAA radiometers serviced from 1915-1930UTC, fixed arm dome 1 was obscured during this time.
2014-03-07 | 1240 | 1,3 rr, 2 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-03-08 | 1240 | 1 rf, 2-3 clr | clr | 1 clr, 2 rf | rr | clr | clr
2014-03-09 | 1420 | 1 rf, 2-3 clr | rr 1-2 | 1 clr, 2 rf | rf | rr all | clr
2014-03-10 | 1235 | 1 rf, 2-3 clr | rr 1-2 | 1 rr, 2 clr | rr | rr all | clr
2014-03-11 | 1230 | clr | clr | clr | clr | clr | clr
2014-03-12 | 1240 | 1 rf, 2-3 clr | rr 1-2 | 1 rr, 2 clr | rr | rr all | clr
2014-03-13 | 1300 | 1 rf, 2-3 clr | clr | clr | rf | clr | clr
2014-03-14 | 1230 | 1 rf, 2-3 clr | rr 1-2 | clr | rf | rr all | clr
2014-03-15 | 1245 | clr | rr 1-2 | clr | rf | rr all | clr
2014-03-16 | 1510 | 1 rlf, 2-3 clr | rr 1-2 | clr | rf | rr all | clr
2014-03-17 | 1235 | 1 rf, 2-3 clr | rr 1-2 | 1 rr, 2 clr | rr | rr all | clr | pictures taken for Karl Schroff, solar tracker alignment is slightly off.
2014-03-18 | 1230 | clr | clr | clr | clr | clr | clr
2014-03-19 | 1345 | 1 rr, 2-3 clr | rr 1 | 1 rr, 2 clr | rf | clr | clr
2014-03-20 | 1250 | 1,3 rr, 2 clr | rr 1-2 | 1 rr, 2 clr | rf | rr all | clr
2014-03-21 | 1420 | 1 rf, 2-3 clr | rf 1-2 | 1 rf, 2 clr | rf | rf all | clr
2014-03-22 | 1455 | 1 rf, 2-3 clr | rf 1-2 | 1 rf, 2 clr | clr | clr | clr
2014-03-23 | 1710 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | rf | clr | clr
2014-03-24 | 1235 | 1 rf, 2-3 clr | rf 1-2 | clr | clr | clr | clr
2014-03-25 | 1300 | clr | clr | clr | clr | clr | clr
2014-03-26 | 1300 | 1 rf, 2-3 clr | rr 1-2 | clr | clr | rr all | clr
2014-03-27 | 1305 | 1,3 rr, 2 clr | rr all | 1 rr, 2 clr | rr | rr all | clr
2014-03-28 | 1300 | 1 rf, 2-3 clr | rr 1-2 | 1 rr, 2 clr | clr | rr all | clr
2014-03-29 | 1255 | 1 rf, 2-3 clr | rr 1-2 | clr | clr | rr all | clr
2014-03-30 | 1535 | clr | clr | clr | clr | rr all | clr
2014-03-31 | 1620 | 1 rf, 2-3 clr | rr 1-2 | 1 rr, 2 clr | rr | rr all | clr
Daily Check Solar Tracker April 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-04-01 | 1145 | 1 rf, 2-3 clr | clr | clr | clr | rr all | clr
2014-04-02 | 1430 | 1 rf, 2-3 clr | rr 1-2 | 1 rr, 2 clr | rr | rr all | clr
2014-04-03 | 1245 | clr | clr | clr | clr | rr 1-2 | clr
2014-04-04 | 1440 | clr | clr | clr | clr | clr | clr | PFR installed
2014-04-05 | 1305 | 1 rf, 2-3 clr | rr 1-2 | clr | clr | rr 1-2 | clr
2014-04-06 | 1645 | clr | rr 1-2 | clr | clr | clr | clr
2014-04-07 | 1550 | 1 rf, 2-3 clr | rr 1-2 | 1 rf, 2 clr | clr | clr | clr
2014-04-08 | 1215 | clr | rr 1-2 | clr | clr | clr | clr
2014-04-09 | 1205 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | clr | clr | clr
2014-04-10 | 1210 | 1 rf, 2-3 clr | rr 1-2 | 1 rf, 2 clr | rf | rf all | clr
2014-04-11 | 1215 | clr | clr | clr | clr | rr 1-2 | clr | work performed on NOAA radiometers from 1215-1235Z
2014-04-12 | 1310 | clr | clr | clr | clr | clr | clr
2014-04-13 | 1505 | clr | clr | clr | clr | rr 1-2 | clr
2014-04-14 | 1150 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | rf | rr all | clr | housing on upwelling pyranometer on fixed arm removed and checked for snow at request of PI.
2014-04-15 | 1405 | clr | clr | clr | clr | rr all | clr
2014-04-16 | 1205 | 1 rf, 2-3 clr | rf 1-2 | 1 rf, 2 clr | rf | rf 1-2 | clr
2014-04-17 | 1215 | 1 rr, 2-3 clr | rr 1-2 | 1 rr, 2 clr | clr | clr | clr | tracker not following the sun
2014-04-18 | 1325 | 1 rr, 2-3 clr | rr 1-2 | 1 rr, 2 clr | clr | clr | clr | tracker fixed
2014-04-19 | 1530 | 1 rr, 2-3 clr | rr 1-2 | 1 rr, 2 clr | clr | clr | clr | tracker not following the sun after a power outage this morning from 1036-1050UTC. Tracker fixed at 1530.
2014-04-20 | 1420 | 1 rf, 2-3 clr | rr 3-4 | 1 rf, 2 clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-21 | 1240 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | rf | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-22 | 1230 | 1 rr, 2-3 clr | clr | clr | clr | clr | clr | Tracker not following sun.
2014-04-23 | 1200 | clr | clr | clr | clr | clr | clr | Tracker not following sun.
2014-04-24 | 1620 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-25 | 1650 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-26 | 1235 | 1 rf, 2-3 clr | rf 1-2 | 1 rf, 2 clr | clr | clr | clr | Tracker not following sun. Tracker realigned. Rotating dome #1 cleaned of frost again at 1645UTC.
2014-04-27 | 1215 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-28 | 1335 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-29 | 1155 | clr | rr 1-2 | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-04-30 | 1220 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | rr | clr | clr | Tracker not following sun. Tracker realigned.
Daily Check Solar Tracker May 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-05-01 | 1210 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-05-02 | 1810 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-05-03 | 1530 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Tracker realigned.
2014-05-04 | 1450 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Com cable ground requires repair.
2014-05-05 | 1200 | 1 rf, 2-3 clr | clr | clr | clr | clr | clr | Tracker not following sun. Com cable ground requires repair.
2014-05-06 | 1150 | 1 rf, 2-3 clr | clr | clr | clr | clr | clr | Tracker not following sun. Com cable ground requires repair.
2014-05-07 | 1315 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | clr | clr | clr | Tracker not following sun. Com cable ground requires repair.
2014-05-08 | 1350 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Com cable ground requires repair.
2014-05-09 | 1745 | clr | clr | clr | clr | clr | clr | Tracker not following sun. Com cable ground requires repair.
2014-05-10 | 1645 | 1 rf, 2-3 clr | rr 1-2 | clr | clr | clr | clr | Tried loading new version of tracker firmware without success
2014-05-11 | 1615 | clr | clr | clr | clr | rf 1-2 | clr | Loaded a new version of tracker firmware. Realigned tracker.
2014-05-12 | 1200 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | clr | clr | clr | Changed EEProm settings, B11 is the correct option to suppress the Hall Sensor to encoder comparison.
2014-05-13 | 1145 | clr | clr | clr | clr | clr | clr | Tracker is working!
2014-05-14 | 1120 | 1 rf, 2-3 clr | clr | 1 rf, 2 clr | clr | clr | clr | Tracker is broken :(
2014-05-15 | [7 empty] | Site not visited
2014-05-16 | 1205 | clr | clr | clr | clr | clr | clr
2014-05-17 | 1140 | clr | clr | clr | clr | rf 1-2 | clr | site visited by Koni Steffen, fixed arm and tracker not raised because the raising aparatus could not be found.
2014-05-18 | 1215 | 1 rf, 2-3 clr | clr | clr | clr | clr | clr
2014-05-19 | 1335 | clr | clr | clr | clr | clr | clr
2014-05-20 | 1210 | 1 rf, 2-3 clr | clr | clr | clr | rf 1-2 | clr
2014-05-21 | 1415 | clr | rf 1-2 | clr | clr | rf 1-2 | clr
2014-05-22 | 1215 | clr | clr | clr | clr | rf 1-2 | clr | Tracker set in a position to catch the sun for a few minutes every day at 2305 UTC
2014-05-23 | 1145 | clr | rf 1-2 | clr | clr | rf all | clr
2014-05-24 | 1210 | clr | clr | clr | clr | clr | clr
2014-05-25 | 1245 | clr | clr | clr | clr | clr | clr
2014-05-26 | 1335 | clr | clr | clr | clr | clr | clr
2014-05-27 | 1325 | 1 rf, 2-3 clr | rf 1-2 | clr | clr | rf all | clr
2014-05-28 | 1710 | clr | clr | clr | clr | rf 1-2 | clr
2014-05-29 | 1250 | clr | clr | clr | clr | rf 1-2 | clr
2014-05-30 | 1245 | clr | clr | clr | clr | clr | clr
2014-05-31 | 1435 | clr | clr | clr | clr | clr | clr
Daily Check Solar Tracker June 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-06-01 | 1650 | clr | clr | clr | clr | rr 1-2 | clr
2014-06-02 | 1155 | clr | clr | clr | clr | clr | clr | Tracker realigned to the sun at 2255UTC
2014-06-03 | 1150 | clr | clr | clr | clr | clr | clr
2014-06-04 | 1530 | clr | clr | clr | clr | clr | clr
2014-06-05 | 1340 | clr | clr | clr | clr | clr | clr
2014-06-06 | 0920 | clr | clr | clr | clr | clr | clr
2014-06-07 | 0935 | clr | clr | clr | clr | clr | clr
2014-06-08 | 0955 | clr | clr | clr | clr | clr | clr
2014-06-09 | 930 | clr | clr | clr | clr | clr | clr
2014-06-10 | 1150 | clr | clr | clr | clr | clr | clr | 1600-1830UTC: Raised tracker ~40cm using tripod.
2014-06-11 | 925 | clr | clr | clr | clr | clr | clr
2014-06-12 | 935 | rr 1, 2-3 clr | rr | clr | clr | rr | clr
2014-06-13 | 1400 | clr | rr 1-4 | clr | clr | rr 1-3 | clr | I1 fan on tracker not running
2014-06-14 | 1315 | clr | clr | clr | clr | clr | clr | Re-leveled tracker (wasn't level after raising). 1630-1700UTC
2014-06-15 | 1055 | clr | rr all | clr | clr | rr all | clr
2014-06-16 | 0930 | clr | clr | clr | clr | clr | clr
2014-06-17 | 0950 | frost on I1 | rr all | frost on I1 | clr | rr all | clr | I1 fan on fixed arm not running Replaced fans on both Tracker I1 and Fixed Arm I1: 1215-1345Z
2014-06-18 | 0950 | clr | clr | clr | clr | clr | clr | Dug out fixed-arm 1630-1730UTC
2014-06-19 | 950 | clr | clr | clr | clr | clr | clr
2014-06-20 | 925 | clr | clr | clr | clr | clr | clr | Filled in fixed-arm 1630-1700UTC
2014-06-21 | 1220 | clr | clr | clr | clr | clr | clr
2014-06-22 | 1040 | clr | clr | clr | clr | clr | clr
2014-06-23 | 0905 | frost on I1 | clr | clr | clr | clr | clr
2014-06-24 | 0945 | clr | clr | clr | clr | clr | clr
2014-06-25 | 940 | clr | clr | clr | clr | clr | clr
2014-06-26 | 1210 | clr | clr | clr | clr | clr | clr
2014-06-27 | 945 | clr | clr | clr | clr | clr | clr
2014-06-28 | 1205 | clr | clr | clr | clr | clr | clr
2014-06-29 | 1025 | clr | clr | clr | clr | clr | clr
2014-06-30 | 1040 | clr | rr 1-2 | frost on I1 | clr | clr | clr
Daily Check Solar Tracker July 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-07-01 | 1200 | clr | clr | clr | clr | clr | clr
2014-07-02 | 1145 | clr | rr all | clr | clr | rr all | clr
2014-07-03 | 1235 | clr | rr all | clr | clr | rr all | clr
2014-07-04 | 1205 | clr | rr all | clr | clr | rr all | clr
2014-07-05 | 1305 | clr | clr | clr | clr | clr | clr
2014-07-06 | 1035 | clr | rr all | clr | clr | rr all | clr
2014-07-07 | 1810 | clr | clr | clr | clr | clr | clr
2014-07-08 | 1300 | clr | clr | clr | clr | clr | clr
2014-07-09 | 1155 | clr | clr | clr | clr | clr | clr
2014-07-10 | 1245 | clr | clr | clr | clr | clr | clr
2014-07-11 | 1215 | clr | rr all | clr | clr | rr all | clr
2014-07-12 | 1200 | clr | clr | clr | clr | clr | clr
2014-07-13 | 1200 | clr | clr | clr | clr | clr | clr
2014-07-14 | 1255 | clr | rr all | clr | clr | rr all | clr
2014-07-15 | 1315 | clr | clr | clr | clr | clr | clr
2014-07-16 | 1140 | clr | rr all | clr | clr | rr all | clr
2014-07-17 | 1150 | clr | clr | clr | clr | clr | clr
2014-07-18 | 1405 | clr | clr | clr | clr | clr | clr
2014-07-19 | 1015 | clr | rr all | clr | clr | rr all | clr
2014-07-20 | 1255 | clr | clr | clr | clr | clr | clr
2014-07-21 | 1210 | clr | clr | clr | clr | clr | clr
2014-07-22 | 1310 | clr | clr | clr | clr | clr | clr
2014-07-23 | 1800 | clr | clr | clr | clr | clr | clr
2014-07-24 | 940 | clr | clr | clr | clr | clr | clr
2014-07-25 | 940 | clr | clr | clr | clr | clr | clr
2014-07-26 | 1215 | clr | clr | clr | clr | clr | clr
2014-07-27 | 1055 | clr | rr all | clr | clr | rr all | clr
2014-07-28 | 1330 | clr | clr | clr | clr | clr | clr
2014-07-29 | 1300 | clr | clr | clr | clr | clr | clr
2014-07-30 | 1220 | clr | rr all | clr | clr | rr all | clr
2014-07-31 | 1300 | clr | clr | clr | clr | clr | clr
Daily Check Solar Tracker August 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-08-01 | 1300 | clr | clr | clr | clr | clr | clr
2014-08-02 | 1300 | clr | clr | clr | clr | clr | clr
2014-08-03 | 1235 | rr 1, 2-3 clr | rr all | rr 1; 2 clr | clr | rr all | clr
2014-08-04 | 1215 | clr | clr | clr | clr | clr | clr
2014-08-05 | [7 empty] | 1200-1900UTC Power off for Noone vault removal
2014-08-06 | [7 empty] | 11-1900 UTC: Power off for Noone vault removal
2014-08-07 | [7 empty] | 15.30-17.30UTC: Instruments powered off to raise fixed-arm--bottom of fixed-arm now ~180cm above snow level
2014-08-08 | 1335 | clr | rr all | clr | clr | rr all | clr
2014-08-09 | 1250 | clr | rr all | clr | clr | rr all | clr | 1300UTC: fixed arm leveled; 1310UTC: briefly unplugged signal cable to tidy up cables
2014-08-10 | 1010 | clr | clr | clr | clr | clr | clr
2014-08-11 | 1230 | clr | clr | clr | clr | clr | clr
2014-08-12 | 1255 | clr | clr | clr | clr | clr | clr
2014-08-13 | 1225 | clr | clr | clr | clr | clr | clr
2014-08-14 | 1225 | clr | clr | clr | clr | clr | clr
2014-08-15 | 1225 | clr | rr all | clr | clr | rr all | clr
2014-08-16 | 1655 | clr | rr all | clr | clr | rr all | clr
2014-08-17 | 1448 | clr | clr | clr | clr | clr | clr
2014-08-18 | 1222 | clr | clr | clr | clr | clr | clr
2014-08-19 | 1305 | clr | clr | clr | clr | clr | clr
2014-08-20 | 1236 | clr | rr all | clr | clr | clr | clr
2014-08-21 | 1226 | clr | rr all | clr | clr | rr all | clr
2014-08-22 | 1612 | clr | rr all | clr | clr | rr all | clr
2014-08-23 | 1212 | clr | rr all | clr | clr | rr all | clr
2014-08-24 | 1235 | clr | rr all | clr | clr | rr all | clr
2014-08-25 | 1310 | clr | clr | clr | clr | clr | clr
2014-08-26 | 1136 | clr | clr | clr | clr | clr | clr
2014-08-27 | 1253 | clr | rr all | clr | clr | clr | clr
2014-08-28 | 1135 | clr | rr all | clr | clr | rr all | clr
2014-08-29 | 1142 | clr | clr | clr | clr | clr | clr
2014-08-30 | 1145 | clr | clr | clr | clr | clr | clr
2014-08-31 | 1240 | clr | rr all | clr | clr | rr all | clr
Daily Check Solar Tracker September 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-09-01 | 1330 | clr | clr | clr | clr | clr | clr
2014-09-02 | 1145 | clr | rr all | clr | rr | rr all | clr
2014-09-03 | 1200 | clr | rr all | clr | clr | rr all | clr
2014-09-04 | 1135 | clr | clr | clr | clr | clr | clr
2014-09-05 | 1140 | clr | clr | clr | clr | clr | clr
2014-09-06 | 1135 | clr | rr all | clr | clr | clr | clr
2014-09-07 | 1230 | clr | rr all | clr | clr | clr | clr
2014-09-08 | 1330 | clr | rr all | clr | clr | clr | clr
2014-09-09 | 1340 | clr | rr all | clr | clr | clr | clr
2014-09-10 | 1135 | clr | rr all | clr | rr | clr | clr
2014-09-11 | 1137 | clr | rr all | clr | rr | clr | clr
2014-09-12 | 1142 | clr | clr | clr | rr | clr | clr
2014-09-13 | 1147 | rr | rr all | clr | rr | rr all | clr
2014-09-14 | 1315 | clr | clr | clr | rr | clr | clr
2014-09-15 | 1345 | clr | clr | clr | clr | clr | clr
2014-09-16 | 1346 | clr | rr all | clr | clr | clr | clr
2014-09-17 | 1136 | rr | rr all | clr | rr | rr all | clr
2014-09-18 | 1153 | clr | rr all | clr | rr | rr all | clr
2014-09-19 | 1145 | clr | rr all | clr | rr | rr all | clr
2014-09-20 | 1145 | rr | rr all | clr | rr | rr all | clr
2014-09-21 | [7 empty] | did not visit
2014-09-22 | 1140 | clr | rr all | clr | clr | rr all | clr
2014-09-23 | 1148 | clr | rr all | clr | rr | rr all | clr
2014-09-24 | [7 empty] | did not visit
2014-09-25 | 1145 | clr | rr all | clr | rr | rr all | clr
2014-09-26 | 1144 | clr | rr all | clr | rr | rr all | clr
2014-09-27 | 1146 | clr | rr all | clr | rr | rr all | clr
2014-09-28 | 1215 | clr | rr all | clr | rr | rr all | clr
2014-09-29 | 1146 | clr | rr all | clr | rr | rr all | clr
2014-09-30 | 1206 | clr | clr | clr | clr | clr | clr
Daily Check Solar Tracker October 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-10-01 | 1140 | clr | clr | clr | clr | clr | clr
2014-10-02 | 1145 | clr | rr all | clr | rr | clr | clr
2014-10-03 | 1130 | clr | clr | clr | rr | clr | clr
2014-10-04 | 1138 | clr | clr | clr | clr | clr | clr
2014-10-05 | 1222 | clr | clr | clr | rr | clr | clr
2014-10-06 | 1135 | clr | clr | clr | rr | clr | clr
2014-10-07 | 1130 | clr | rr all | clr | rr | rr all | clr
2014-10-08 | 1130 | clr | rr all | clr | rr | rr all | clr
2014-10-09 | 1138 | rr | rr all | clr | rr | rr all | clr
2014-10-10 | 1502 | rr | rr all | clr | rr | rr all | clr
2014-10-11 | 1150 | rr | rr all | rr | rr | rr all | clr
2014-10-12 | 1102 | rr | rr all | rr | rr | rr all | clr
2014-10-13 | 1142 | rr | rr all | clr | rr | rr all | clr
2014-10-14 | 1255 | clr | rr all | clr | rr | rr all | clr
2014-10-15 | 1335 | clr | rr all | clr | rr | rr all | clr
2014-10-16 | 1135 | clr | rr all | clr | rr | rr all | clr
2014-10-17 | 1134 | clr | rr all | clr | rr | rr all | clr
2014-10-18 | 1135 | clr | rr all | clr | rr | rr all | clr
2014-10-19 | 1231 | clr | rr all | clr | rr | rr all | clr
2014-10-20 | 1140 | clr | rr all | clr | rr | rr all | clr
2014-10-21 | 1145 | rr | rr all | rr | rr | rr all | clr
2014-10-22 | 1150 | clr | rr all | clr | rr | rr all | clr
2014-10-23 | 1131 | clr | rr all | clr | rr | rr all | clr
2014-10-24 | 1141 | clr | rr all | clr | rr | rr all | clr
2014-10-25 | 1138 | rr | rr all | rr | rr | rr all | clr
2014-10-26 | 1240 | clr | rr all | clr | rr | rr all | clr
2014-10-27 | 1238 | clr | rr all | clr | rr | rr all | clr
2014-10-28 | 1221 | clr | rr all | clr | rr | rr all | clr
2014-10-29 | 1221 | clr | rr all | clr | rr | rr all | clr
2014-10-30 | 1221 | clr | rr all | clr | rr | rr all | clr
2014-10-31 | 1222 | clr | rr all | clr | rr | rr all | clr
Daily Check Solar Tracker November 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-11-01 | 1231 | clr | rr all | clr | rr | rr all | clr
2014-11-02 | 1256 | clr | rr all | clr | rr | rr all | clr
2014-11-03 | 1228 | clr | rr all | clr | rr | rr all | clr
2014-11-04 | 1222 | clr | clr | clr | clr | clr | clr
2014-11-05 | 1242 | clr | clr | clr | clr | clr | clr
2014-11-06 | 1245 | clr | rr all | clr | rr | rr all | clr
2014-11-07 | 1230 | clr | rr all | clr | rr | rr | clr
2014-11-08 | 1240 | clr | rr all | clr | rr | rr | clr
2014-11-09 | 1255 | clr | rr all | clr | rr | rr | clr
2014-11-10 | 1230 | clr | rr all | clr | rr | rr | clr
2014-11-11 | 1215 | clr | rr all | clr | rr | rr | clr
2014-11-12 | 1230 | clr | rr all | clr | rr | rr | clr
2014-11-13 | 1222 | clr | rr all | clr | rr | rr | clr
2014-11-14 | 1222 | clr | clr | clr | rr | clr | clr
2014-11-15 | 1236 | clr | clr | clr | rr | clr | clr
2014-11-16 | 1246 | clr | clr | clr | rr | clr | clr
2014-11-17 | 1238 | clr | clr | clr | rr | clr | clr
2014-11-18 | 1219 | clr | clr | clr | rr | clr | clr
2014-11-19 | 1234 | [6 empty] | Did not visit due to high winds/low vis
2014-11-20 | 1243 | [6 empty] | Did not visit due to high winds/low vis
2014-11-21 | 1440 | [6 empty] | Did not visit due to high winds/low vis
2014-11-22 | 1217 | clr | clr | clr | clr | clr | clr
2014-11-23 | 1232 | clr | clr | clr | rr | clr | clr
2014-11-24 | 1238 | [6 empty] | Did not visit due to high winds/low vis
2014-11-25 | 1330 | clr | clr | clr | rr | clr | clr
2014-11-26 | 1220 | clr | clr | clr | rr | clr | clr
2014-11-27 | 1232 | clr | clr | clr | rr | clr | clr
2014-11-28 | 1240 | [6 empty] | Did not visit due to high winds/low vis
2014-11-29 | 1300 | [6 empty] | Did not visit due to high winds/low vis
2014-11-30 | 1309 | clr | clr | clr | rr | clr | clr
Daily Check Solar Tracker December 2014
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2014-12-01 | 1218 | clr | clr | clr | rr | clr | clr
2014-12-02 | 1254 | clr | clr | clr | rr | clr | clr
2014-12-03 | 1222 | clr | clr | clr | rr | clr | clr
2014-12-04 | 1211 | clr | clr | clr | rr | clr | clr
2014-12-05 | 1208 | clr | clr | clr | rr | clr | clr
2014-12-06 | 1223 | clr | clr | clr | rr | clr | clr
2014-12-07 | 1230 | clr | clr | clr | rr | clr | clr
2014-12-08 | 1233 | clr | clr | clr | rr | clr | clr
2014-12-09 | 1206 | clr | clr | clr | rr | clr | clr
2014-12-10 | 1250 | clr | clr | clr | rr | clr | clr
2014-12-11 | 1236 | clr | clr | clr | rr | clr | clr
2014-12-12 | 1237 | [6 empty] | Did not visit due to high winds/low vis
2014-12-13 | 1224 | clr | clr | clr | rr | clr | clr
2014-12-14 | 1240 | clr | clr | clr | rimed | clr | clr
2014-12-15 | 1224 | clr | clr | clr | rimed | clr | clr
2014-12-16 | 1218 | clr | clr | clr | rimed | clr | clr
2014-12-17 | 1234 | clr | clr | clr | rr | clr | clr
2014-12-18 | 1230 | [6 empty] | Did not visit due to high winds/low vis
2014-12-19 | 1202 | clr | clr | clr | rr | clr | clr
2014-12-20 | 1231 | clr | clr | clr | rr | clr | clr
2014-12-21 | 1223 | rr | clr | clr | rr | clr | clr
2014-12-22 | 1242 | clr | clr | clr | rr | clr | clr
2014-12-23 | 1241 | clr | clr | clr | rr | clr | clr
2014-12-24 | 1238 | clr | clr | clr | rr | rr | clr
2014-12-25 | 1255 | clr | clr | clr | rr | rr | clr
2014-12-26 | 1244 | clr | clr | clr | rr | rr | clr
2014-12-27 | 1245 | [6 empty] | Did not visit due to high winds/low vis
2014-12-28 | 1305 | [6 empty] | Did not visit due to high winds/low vis
2014-12-29 | 1234 | clr | clr | clr | clr | clr | clr
2014-12-30 | 1227 | rr | rr all | rr | rr | rr | clr
2014-12-31 | 1243 | clr | rr all | clr | rr | rr | clr
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on E2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2014-03-20
2014-03-21
2014-03-22
2014-03-23
2014-03-24
2014-03-25
2014-03-26
2014-03-27
2014-03-28
2014-03-29
2014-03-30
2014-03-31
2014-04-01
2014-04-02
2014-04-03
2014-04-04 | 1450 | B | clr | PFR installed, data logger installed, clock set to UTC
2014-04-05 | 1305 | B | rm snow
2014-04-06 | 1645 | too little sun | clr
2014-04-07 | 1550 | too little sun | rm lt snow
2014-04-08 | 1215 | too little sun | rm lt snow | PFR LEMO connector reseated
2014-04-09 | 1205 | B | rm lt snow | PFR LEMO connector to electronics box connected
2014-04-10 | 1210 | B | clr
2014-04-11 | 1215 | B | rm lt snow
2014-04-12 | 1310 | B | clr
2014-04-13 | 1505 | B | clr
2014-04-14 | 1150 | B | rm snow
2014-04-15 | 1405 | B | clr
2014-04-16 | 1205 | B | clr
2014-04-17 | 1215 | F | rm snow | tracker not following the sun
2014-04-18 | 1325 | B | clr | tracker fixed
2014-04-19 | 1530 | F -> B | clr | tracker not following the sun after a power outage this morning from 1036-1050UTC. Tracker fixed at 1530.
2014-04-20 | 1420 | F -> B | clr | tracker not following sun, tracker realigned.
2014-04-21 | 1240 | F -> B | rm lt snow | tracker not following sun, tracker realigned.
2014-04-22 | 1230 | F | clr | tracker not following sun.
2014-04-23 | 1200 | F | rm lt snow | tracker not following sun.
2014-04-24 | 1620 | F->B | clr | tracker not following sun, tracker realigned.
2014-04-25 | 1650 | F->B | clr | tracker not following sun, tracker realigned.
2014-04-26 | 1235 | F->B | clr | tracker not following sun, tracker realigned.
2014-04-27 | 1215 | F->B | clr | tracker not following sun, tracker realigned.
2014-04-28 | 1335 | F->B | clr | tracker not following sun, tracker realigned.
2014-04-29 | 1155 | F->B | clr | tracker not following sun, tracker realigned.
2014-04-30 | 1220 | F->B | rm rime | tracker not following sun, tracker realigned.
2014-05-01 | 1210 | not enough direct sun | clr | tracker not following sun, tracker realigned.
2014-05-02 | 1810 | not enough direct sun | clr | tracker not following sun, tracker realigned.
2014-05-03 | 1530 | not enough direct sun | clr | tracker not following sun, tracker realigned.
2014-05-04 | 1450 | F | clr | tracker not following sun.
2014-05-05 | 1200 | F | rm snow | tracker not following sun.
2014-05-06 | 1150 | F | clr | tracker not following sun.
2014-05-07 | 1315 | F | clr | tracker not following sun.
2014-05-08 | 1350 | F | clr | tracker not following sun.
2014-05-09 | 1745 | F | clr | tracker not following sun.
2014-05-10 | 1645 | F | clr | tracker not following sun.
2014-05-11 | 1615 | F->B | clr | tracker not following sun, tracker realigned.
2014-05-12 | 1200 | F->B | clr | tracker not following sun, tracker realigned.
2014-05-13 | 1145 | B-/C+ | clr | tracker is working!
2014-05-14 | 1120 | F | clr | tracker not following sun.
2014-05-15 | 0 |  |  | site not visited
2014-05-16 | 1205 | F | clr | tracker not following sun.
2014-05-17 | 1140 | F | clr | tracker not following sun.
2014-05-18 | 1215 | F | clr | tracker not following sun.
2014-05-19 | 1335 | F | clr | tracker not following sun.
2014-05-20 | 1210 | F | clr | tracker not following sun.
2014-05-21 | 1415 | F | clr | tracker not following sun.
2014-05-22 | 1215 | F | clr | Tracker set in a position to catch the sun for a few minutes every day at 2305 UTC
2014-05-23 | 1145 | F | clr
2014-05-24 | 1210 | F | clr
2014-05-25 | 1245 | F | clr
2014-05-26 | 1335 | F | clr
2014-05-27 | 1325 | F | clr
2014-05-28 | 1710 | F | clr
2014-05-29 | 1250 | F | clr
2014-05-30 | 1245 | F | clr
2014-05-31 | 1435 | F | clr
2014-06-01 | 1650 | F | clr
2014-06-02 | 1155 | F | clr | Tracker realigned to the sun at 2255UTC
2014-06-03 | 1150 | F | clr
2014-06-04 | 1530 | F | clr
2014-06-05 | 1340 | F | clr
2014-06-06 | 0920 | F | clr
2014-06-07 | 0935 | F | clr
2014-06-08 | 0955 | F | clr
2014-06-09 | 930 | F | clr
2014-06-10 | 1150 | F | clr
2014-06-11 | 925 | F | clr
2014-06-12 | 935 | F | clr
2014-06-13 | 1400 | F | clr
2014-06-14 | 1315 | F | clr | Swapped PFR module for download
2014-06-15 | 1055 | F | clr
2014-06-16 | 0930 | F | clr
2014-06-17 | 0950 | F | clr
2014-06-18 | 0950 | F | clr
2014-06-19 | 950 | F | clr
2014-06-20 | 925 | F | clr | Tracker realigned to the sun at 2250UTC
2014-06-21 | 1220 | F | clr
2014-06-22 | 1040 | F | clr
2014-06-23 | 0905 | F | clr
2014-06-24 | 0945 | F | clr
2014-06-25 | 940 | F | clr
2014-06-26 | 1210 | F | clr
2014-06-27 | 945 | F | clr
2014-06-28 | 1205 | F | clr
2014-06-29 | 1025 | F | clr
2014-06-30 | 1040 | F | clr
2014-07-01 | 1200 | F | clr
2014-07-02 | 1145 | F | clr
2014-07-03 | 1235 | F | clr
2014-07-04 | 1205 | F | clr
2014-07-05 | 1305 | F | clr
2014-07-06 | 1035 | F | clr
2014-07-07 | 1810 | F | clr
2014-07-08 | 1300 | F | clr
2014-07-09 | 1155 | F | clr
2014-07-10 | 1245 | F | clr
2014-07-11 | 1215 | F | clr
2014-07-12 | 1200 | F | clr
2014-07-13 | 1200 | F | clr
2014-07-14 | 1255 | F | clr
2014-07-15 | 1315 | F | clr
2014-07-16 | 1140 | F | clr
2014-07-17 | 1150 | F | clr
2014-07-18 | 1405 | F | clr
2014-07-19 | 1015 | F | clr
2014-07-20 | 1255 | F | clr
2014-07-21 | 1210 | F | clr
2014-07-22 | 1310 | F | clr
2014-07-23 | 1800 | F | clr
2014-07-24 | 940 | F | clr
2014-07-25 | 940 | F | clr
2014-07-26 | 1215 | F | clr
2014-07-27 | 1055 | F | clr
2014-07-28 | 1330 | F | clr
2014-07-29 | 1300 | F | clr
2014-07-30 | 1220 | F | clr
2014-07-31 | 1300 | F | clr
2014-08-01 | 1300 | F | clr
2014-08-02 | 1300 | F | clr
2014-08-03 | 1235 | F | clr
2014-08-04 | 1215 | F | clr
2014-08-05 |  |  |  | 1200-1900UTC Power off for Noone vault removal
2014-08-06 |  |  |  | 11-1900 UTC Power off for Noone vault removal
2014-08-07 |  |  |  | 15.30-17.30UTC: Instruments powered off to raise fixed-arm
2014-08-08 | 1335 | F | clr
2014-08-09 | 1250 | F | clr
2014-08-10 | 1010 | F | clr
2014-08-11 | 1230 | F | clr
2014-08-12 | 1255 | F | clr
2014-08-13 | 1225 | F | clr
2014-08-14 | 1225 | F | clr
2014-08-15 | 1225 | F | clr
2014-08-16 | 1655 |  |  | Robert B. dismantled tracker to replace parts.
2014-08-17 | 1448 | not enough direct sun | clr | Tracker fixed.
2014-08-18 | 1222 | not enough direct sun | clr
2014-08-19 | 1305 | not enough direct sun | clr
2014-08-20 | 1236 | B | clr | Solar instrument stand raised, aligned and leveled.
2014-08-21 | 1226 | not enough direct sun | clr
2014-08-22 | 1612 | not enough direct sun | clr | `
2014-08-23 | 1212 | B | clr
2014-08-24 | 1235 | A | clr
2014-08-25 | 1310 | A | clr
2014-08-26 | 1136 | A | clr
2014-08-27 | 1253 | A | clr
2014-08-28 | 1135 | A | clr
2014-08-29 | 1142 | A | clr
2014-08-30 | 1145 | A | clr
2014-08-31 | 1240 | A | clr
2014-09-01 | 1330 | not enough direct sun | clr
2014-09-02 | 1145 | not enough direct sun | clr
2014-09-03 | 1200 | not enough direct sun | clr
2014-09-04 | 1135 | A | clr
2014-09-05 | 1140 | not enough direct sun | clr
2014-09-06 | 1135 | not enough direct sun | clr
2014-09-07 | 1235 | A | clr
2014-09-08 | 1330 | A | clr
2014-09-09 | 1340 | A | clr
2014-09-10 | 1135 | not enough direct sun | clr
2014-09-11 | 1137 | not enough direct sun | clr
2014-09-12 | 1142 | A | clr
2014-09-13 | 1141 | A | clr
2014-09-14 | 1315 | not enough direct sun | clr
2014-09-15 | 1345 | A | clr
2014-09-16 | 1346 | A | clr
2014-09-17 | 1136 | A | clr
2014-09-18 | 1153 | A | clr
2014-09-19 | 1145 | A | rr
2014-09-20 | 1150 | A | rr
2014-09-21 |  |  |  | did not visit
2014-09-22 | 1140 | not enough direct sun | rr
2014-09-23 | 1148 | A | rr
2014-09-24 |  |  |  | did not visit
2014-09-25 | 1147 | A | rr
2014-09-26 | 1149 | A | rr
2014-09-27 | 1141 | not enough direct sun | rr
2014-09-28 | 1210 | not enough direct sun | rr
2014-09-29 | 1146 | A | rr | PFR taken down for winter

## Weekly Download SwissTower
2014 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | 131230 | 241 | -2 | y | 1198549 | 357 | 1400 | 364 | 1440 | y | 2013
1 | 140106 | 242 | -4 | y | 1231417 | 364 | 1450 | 6 | 1420 | y
2 | 140113 | 243 | -4 | y | 1264375 | 6 | 1430 | 13 | 1430 | y
3 | 140120 | 244 | -2 | y | 1297243 | 13 | 1440 | 20 | 1410 | y
4 | 140128 | 245 | -6 | y | 1334603 | 20 | 1420 | 28 | 1250 | y | Downloaded 1 day late due to delays in getting complete tracker downloaded
5 | 140203 | 246 | -2 | y | 1363581 | 28 | 1300 | 34 | 1640 | y
6 | 140210 | 247 | -3 | y | 1395951 | 34 | 1650 | 41 | 1350 | y
7 | 140217 | 248 | -1 | y | 1428819 | 41 | 1400 | 48 | 1330 | y
8 | 140224 | 249 | -2 | y | 1462305 | 48 | 1340 | 55 | 1620 | y
9 | 140303 | 250 | -2 | y | 1495263 | 55 | 1630 | 62 | 1630 | y
10 | 140310 | 251 | -3 | y | 1528297 | 62 | 1640 | 69 | 1700 | y
11 | 140317 | 252 | -2 | y | 1560591 | 69 | 1710 | 76 | 1350 | y
12 | 140324 | 253 | -3 | y | 1594213 | 76 | 1400 | 83 | 1720 | y
13 | 140331 | 254 | -4 | y | 1626025 | 83 | 1730 | 90 | 1140 | y
14 | 140407 | 255 | -4 | y | 1659315 | 90 | 1150 | 97 | 1330 | y
15 | 140414 | 256 | -4 | n | 1692017 | 97 | 1340 | 104 | 1220 | y
16 | 140421 | 257 | -3 | y | 1725141 | 104 | 1230 | 111 | 1320 | y
17 | 140428 | 258 | -5 | y | 1757843 | 111 | 1330 | 118 | 1210 | y
18 | 140505 | 259 | -6 | y | 1790861 | 118 | 1220 | 125 | 1240 | y
19 | 140512 | 260 | -5 | y | 1823759 | 125 | 1250 | 132 | 1230 | y
20 | 140519 | 261 | -4 | y | 1856943 | 132 | 1240 | 139 | 1350 | y
21 | 140526 | 262 | -8 | y | 1889721 | 139 | 1400 | 146 | 1300 | y
22 | 140602 | 263 | -6 | y | 1922513 | 146 | 1310 | 153 | 1220 | y
23 | 140609 | 264 | -12 | y | 1955471 | 153 | 1230 | 160 | 1230 | y
24 | 140616 | 265 | +10 | y | 1988369 | 160 | 1240 | 167 | 1220 | y
25 | 140623 | 266 | -19 | y | 2021297 | 167 | 1230 | 174 | 1220 | y
26 | 140630 | 267 | +5 | y | 2054059 | 174 | 1230 | 181 | 1130 | y
27 | 140708 | 268 | +6 | y | 2091797 | 181 | 1140 | 189 | 1200 | y | downloaded 1 day late due to connection issues
28 | 140714 | 269 | -5 | y | 2120337 | 189 | 1210 | 195 | 1340 | y
29 | 140721 | 270 | 32 | y | 6900 | 195 | 1350 | 202 | 1320 | y
30 | 140728 | 271 | 10 | y | 39330 | 202 | 1330 | 209 | 1050 | y
31 | 140804 | 272 | 5 | y | 72590 | 209 | 1100 | 216 | 1230 | y
32 | 140811 | 273 | 7 | y | 105488 | 216 | 1240 | 223 | 1220 | y
33 | 140818 | 274 | -18 | y | 139652 | 223 | 1230 | 230 | 1840 | y
34 | 140825 | 275 | -5 | y | 171404 | 230 | 1850 | 237 | 1240 | y
35 | 140901 | 276 | -5 | y | 204272 | 237 | 1250 | 244 | 1220 | y
36 | 140908 | 277 | -16 | y | 237336 | 244 | 1230 | 251 | 1300 | y
37 | 140915 | 278 | -5 | y | 270294 | 251 | 1310 | 258 | 1310 | y
38 | 140922 | 279 | -6 | y | 303192 | 258 | 1320 | 265 | 1300 | y
39 | 140929 | 280 | -19 | y | 336120 | 265 | 1310 | 272 | 1300 | y
40 | 141006 | 281 | -27 | y | 369138 | 272 | 1310 | 279 | 1330 | y
41 | 141013 | 282 | -8 | y | 402066 | 279 | 1340 | 286 | 1330 | y
42 | 141020 | 283 | -10 | y | 434904 | 286 | 1340 | 293 | 1300 | y
43 | 141027 | 284 | -5 | y | 468028 | 293 | 1310 | 300 | 1400 | y
44 | 141103 | 285 | -1 | n | 500986 | 300 | 1410 | 307 | 1410 | y
45 | 141110 | 286 | -15 | y | 533884 | 307 | 1420 | 314 | 1400 | y
46 | 141117 | 287 | -24 | y | 566736 | 314 | 1410 | 321 | 1340 | y
47 | 141124 | 288 | -27 | y | 599664 | 321 | 1350 | 328 | 1340 | y
48 | 141201 | 289 | -15 | y | 632592 | 328 | 1350 | 335 | 1340 | y
49 | 141208 | 290 | -16 | y | 665596 | 335 | 1350 | 342 | 1400 | y
50 | 141215 | 291 | -15 | y | 698478 | 342 | 1410 | 349 | 1350 | y
51 | 141222 | 292 | 0 | n | 731452 | 349 | 1400 | 356 | 1400 | y
52 | 141229 | 293 | -9 | y | 764380 | 356 | 1410 | 363 | 1400 | y

## Weekly Download SolarTracker
2014 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | 131230 | 563 |  | n | 4813755 | 357 | 1533 | 364 | 1611 | y | 2013
1 | 140106 | 564 |  | n | 5259484 | 364 | 1612 | 6 | 1438 | y | Downloaded from SM16M due to comms failure.
2 | 140113 | 565 | +64s | y | 5702573 | 6 | 1439 | 13 | 1205 | y | Downloaded from SM16M due to comms failure.
3 | 140120 | 566 |  | n | 6153538 | 13 | 1206 | 20 | 1229 | y | Downloaded from SM16M due to comms failure.
4 | 140127 | 557 | +20s | y | Not recorded | 359 | 1305 | 4 | 744 | y | Wireless comms restored, all data on logger downloaded, 1920151 was starting pointer
4 | 140127 | 558 | 0s | n | 1297360 | 4 | 745 | 22 | 2131 | y | DIF557 was interrupted by network outage, TU558 picks up where it ended | 1920151
4 | 140128 | 559 | 0s | n | 1660433 | 22 | 2132 | 28 | 1259 | y | DIF558 was interrupted, TU559 picks up where it ended
5 | 140203 | 560 | +11 | y | 2057257 | 28 | 1300 | 34 | 1715 | y
6 | 140210 | 561 | +13 | y | 352456 | 34 | 1716 | 41 | 1406 | y
7 | 140217 | 562 | +16 | y | 801396 | 41 | 1407 | 48 | 1346 | y
8 | 140224 | 563 | +12 | y | 1258344 | 48 | 1347 | 55 | 1628 | y
9 | 140303 | 564 | +14 | y | 1708912 | 55 | 1629 | 62 | 1645 | y
10 | 140310 | 565 | +14 | y | 13747 | 62 | 1646 | 69 | 1715 | y
11 | 140317 | 566 | +16 | y | 455031 | 69 | 1716 | 76 | 1401 | y
12 | 140324 | 567 | +16 | y | 914355 | 76 | 1402 | 83 | 1737 | y
13 | 140331 | 568 | +8 | y | 1345651 | 83 | 1738 | 90 | 1036 | y
14 | 140407 | 569_1 | +9 | y | 1631477 | 90 | 1037 | 94 | 2131 | y | connection to tracker lost intermittently due to high winds, data stored as DIF569_#.dat
14 | 140407 | 569_2 | 0 | n | 1810123 | 94 | 2132 | 97 | 1609 | y
15 | 140414 | 570 | +10 | y | 104002 | 97 | 1610 | 104 | 1230 | y
16 | 140421 | 571 | +13 | y | 557870 | 104 | 1231 | 111 | 1402 | y | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | 572 | +5 | y | 1003510 | 111 | 1403 | 118 | 1227 | y | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | 573 | +3 | y | 1458566 | 118 | 1228 | 125 | 1426 | y | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | 574 | -6 | y | 1890302 | 125 | 1427 | 132 | 1243 | y | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140519 | 575 | +8 | y | 197073 | 132 | 1244 | 108 | 927 | y | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm". Time stamps are wrong after day 137 @ 0410UTC --> 106 @ 1732
21 | 140526 | 576 | +3 | y | 645309 | 139 | 1358 | 146 | 1321 | y | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC.
22 | 140602 | 577 | +4 | y | 1093149 | 146 | 1322 | 153 | 1236 | y | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC.
23 | 140609 | 578 | -5 | y | 1543145 | 153 | 1237 | 160 | 1240 | y | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC.
24 | 140616 | 579 | +4 | y | 1994681 | 160 | 1241 | 140 | 1335 | y | Time stamps wrong after day 161, 325 --> 134, 1123
25 | 140623 | 580 | +1 | y | 296128 | 167 | 1320 | 174 | 1232 | y
26 | 140630 | 581 | +6 | y | 740404 | 174 | 1233 | 181 | 1026 | y
27 | 140707 | 582 | 0 | n | 1212180 | 181 | 1027 | 188 | 1845 | y
28 | 140714 | 583 | -2 | n | 1646072 | 188 | 1846 | 195 | 1243 | y
29 | 140721 | 584 | -23 | y | 2094924 | 195 | 1244 | 202 | 1221 | y
30 | 140728 | 585 | +14 | y | 391223 | 202 | 1222 | 209 | 937 | y
31 | 140804 | 586 | +11 | y | 849315 | 209 | 938 | 216 | 1245 | y
32 | 140811 | 587 | +15 | y | 1267719 | 216 | 1246 | 223 | 1101 | y
33 | 140818 | 588 | -11 | y | 1734127 | 223 | 1102 | 230 | 1718 | y
34 | 140825 | 589 | -1 | n | 23518 | 230 | 1719 | 237 | 1157 | y
35 | 140901 | 590 | -6 | y | 472194 | 237 | 1158 | 244 | 1131 | y
36 | 140908 | 591 | -3 | n | 923642 | 244 | 1132 | 251 | 1208 | y
37 | 140915 | 592 | -9 | y | 1373330 | 251 | 1209 | 258 | 1205 | y
38 | 140922 | 593 | -16 | y | 1823326 | 258 | 1206 | 265 | 1209 | y
39 | 140929 | 564 | -20 | y | 126709 | 265 | 1210 | 272 | 1204 | y
40 | 141006 | 565 | -12 | y | 577893 | 272 | 1205 | 279 | 1235 | y
41 | 141013 | 566 | -6 | y | 1027009 | 279 | 1236 | 286 | 1219 | y
42 | 141020 | 567 | -3 | n | 1476301 | 286 | 1220 | 293 | 1207 | y
43 | 141027 | 568 | -23 | y | 1928497 | 293 | 1208 | 300 | 1301 | y
44 | 141103 | 569 | -15 | y | 232452 | 300 | 1302 | 307 | 1311 | y
45 | 141110 | 570 | -15 | y | 681612 | 307 | 1312 | 314 | 1256 | y
46 | 141117 | 571 | -7 | y | 1131124 | 314 | 1257 | 321 | 1249 | y
47 | 141124 | 572 | -2 | n | 1580592 | 321 | 1250 | 328 | 1241 | y
48 | 141201 | 573 | -11 | y | 2030236 | 328 | 1242 | 335 | 1235 | y
49 | 141208 | 574 | -12 | y | 334895 | 335 | 1236 | 342 | 1301 | y
50 | 141215 | 575 | -13 | y | 784143 | 342 | 1302 | 349 | 1248 | y
51 | 141222 | 576 | -8 | y | 1235195 | 349 | 1249 | 356 | 1316 | y
52 | 141229 | 575 | -2 | n | 1684795 | 356 | 1317 | 363 | 1311 | y
Note on E5: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.