## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2015 Daily Check Swiss Tower
Daily Check Swiss Tower January 2015
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-01-01 | 1300 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-02 | 1252 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-03 | 1310 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-04 | 1305 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-05 | 1331 |  |  |  |  | Did not visit due to high winds/low vis.
2015-01-06 | 1252 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-07 | 1255 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-08 | 1241 |  |  |  |  | Did not visit due to high winds/low vis.
2015-01-09 | 1250 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-10 | 1255 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-11 | 1235 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-12 | 1300 | 3-6 rimed | 4, 6 rimed | 5-6 rimed | n
2015-01-13 | 1302 | 3-6 rimed | 3, 4, 6 rimed | 5-6 rimed | n
2015-01-14 | 1305 | 3-6 rimed | 3, 4, 6 rimed | 5-6 rimed | n
2015-01-15 | 1313 | 3-6 rimed | 3, 4, 6 rimed | 5-6 rimed | n
2015-01-16 | 1250 | 3-6 rimed | 3, 6 rimed | 5-6 rimed | n
2015-01-17 | 1258 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-18 | 1253 |  |  |  |  | Did not visit due to high winds/low vis.
2015-01-19 | 1257 |  |  |  |  | Did not visit due to high winds/low vis.
2015-01-20 | 1245 | 3-6 rimed | 3-4 rimed | all clr | n
2015-01-21 | 1305 |  |  |  |  | Did not visit due to high winds/low vis.
2015-01-22 | 1258 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-23 | 1247 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-24 | 1238 | 3-6 rimed | 3-4, 6 rimed | 5-6 rimed | n
2015-01-25 | 1248 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-26 | 1258 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-27 | 1311 |  |  |  |  | Did not visit due to high winds/low vis.
2015-01-28 | 1250 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-29 | 1240 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-30 | 1255 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-01-31 | 1257 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
Daily Check Swiss Tower February 2015
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-02-01 | 1255 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-02 | 1250 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-03 | 1245 |  |  |  |  | Did not visit due to high winds/low vis.
2015-02-04 | 1216 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-05 | 1257 | 3-6 rimed | 3-4 rimed | all clr | n
2015-02-06 | 1238 | 3-6 rimed | 3-4 rimed | all clr | n
2015-02-07 | 1250 |  |  |  |  | Did not visit due to high winds/low vis.
2015-02-08 | 1305 | 3-6 rimed | 3-4 rimed | all clr | n
2015-02-09 | 1254 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-10 | 1302 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-11 | 1220 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-12 | 1231 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-13 | 1230 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-14 | 1227 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-15 | 1244 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-16 | 1242 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-17 | 1538 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n | Daily checks performed in afternoon due to flight operations.
2015-02-18 | 1542 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-19 | 1258 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n | Some rime has blown off of anemometer 5; but still rimed.
2015-02-20 | 13:11 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-21 | 12:22 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-22 | 11:57 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-23 | 12:35 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-24 | 13:10 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-25 | 12:39 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-26 | 12:55 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-02-27 | - |  |  |  |  | Not visited, weather travel restriction.
2015-02-28 | 12:17 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n | Strong winds again removed some rime from anemometer 5, but there is still some rime visible on base
Daily Check Swiss Tower March 2015
2015-03-01 | 13:26 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-03-02 | 12:07 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-03-03 | 12:45 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-03-04 | 12:18 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-03-05 | 12:07 | 3-6 rimed | 3-4 rimed | 5-6 rimed | n
2015-03-06 | 16:29 | 3-6 rimed | 3-6 rimed | 5-6 rimed | n | Rime on fans 3-6 is partial; some fan showing on all. While brushing off rime, fan 2 started up. This change revealed that at least the lower fans have not been moving.
2015-03-07 | 12:29 | 3-6 rimed | 3-5 rimed | 5-6 rimed | n
2015-03-08 | 13:37 | 3-6 rimed | 3-5 rimed | 5-6 rimed | n
2015-03-09 | 12:23 | 3-6 rimed | all clear | 5-6 rimed | n
2015-03-10 | 12:10 | 3-6 rimed | all clear | 5-6 rimed | n
2015-03-11 | 13:22 | 3-6 rimed | all clear | all clear | n | Some small amount of rime on anemometers 5-6, but appears limited to base, not sensing area
2015-03-12 | 13:45 | 3-6 rimed | all clear | all clear | n
2015-03-13 | 12:36 | 3-6 rimed | 4 rimed | 5 rimed | n
2015-03-14 | 13:46 | 3-5 rimed | 4 rimed | all clear | n
2015-03-15 | 13:23 | 3-5 rimed | 4 rimed | 5 rimed | n
2015-03-16 | 12:32 | 3-5 rimed | 4 rimed | 5 rimed | n
2015-03-17 | 12:22 | 3-6 rimed | 4 rimed | 5-6 rimed | n
2015-03-18 | 12:28 | 3-6 rimed | 4 rimed | 5-6 rimed | n
2015-03-19 | 12:28 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fans 1-2 not operational.
2015-03-20 | 13:08 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fans 1-2 not operational.
2015-03-21 | 12:58 | 3-5 rimed | 4 rimed | 5-6 rimed | n | Fans 1-2 not operational.
2015-03-22 | 12:44 | 3-5 rimed | 4 rimed | 5-6 rimed | n | Fans 1-2 not operational.
2015-03-23 | 12:23 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fans 1-2 not operational.
2015-03-24 | 12:24 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fan 1 not operational; the motor assembly can slide vertically in the armature. Fan 2 restarted after tapping.
2015-03-25 | 12:20 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fan 1 frozen, Fan 2 restarted after tapping.
2015-03-26 | 12:12 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fan 1 frozen, Fan 2 restarted after tapping.
2015-03-27 | 12:51 | 3-6 rimed | 4 rimed | 5-6 rimed | n | Fan 1 frozen, Fan 2 restarted after tapping.
2015-03-28 | 12:18 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, Fan 2 restarted after tapping.
2015-03-29 | 12:55 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, Fan 2 restarted after tapping.
2015-03-30 | 11:58 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, Fan 2 restarted after tapping.
2015-03-31 | 12:18 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen.
Daily Check Swiss Tower April 2015
2015-04-01 | 12:59 | 3-5 rimed | all clear | all clear | n | Anemometers 5-6 appear to be clear, but have rime on bases. Fan 1 frozen, Fan 2 restarted after tapping.
2015-04-02 | 12:19 | 3-5 rimed | all clear | 6 rimed | n | Rime on base of anem #6. Fan 1 frozen, Fan 2 restarted after tapping.
2015-04-03 | 11:58 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-04 | 12:03 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-05 | 12:46 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-06 | 11:55 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen.
2015-04-07 | 11:51 | 3, 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-08 | 12:07 | 3, 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-09 | 12:06 | 3-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-10 | 11:46 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-11 | 12:40 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping. Raised bamboo flags in vicinity.
2015-04-12 | 11:38 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-13 | 11:51 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-14 | 11:46 | 3-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-15 | - |  |  |  |  | Not visited due to weather travel restriction.
2015-04-16 | 11:40 | 3 and 6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-17 | 12:09 | 3 and 6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-18 | 11:52 | 3 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-19 | - |  |  |  |  | Not visited due to weather travel restriction.
2015-04-20 | 13:13 | all clear | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-21 | 11:58 | all clear | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-22 | 11:56 | all clear | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-23 | 11:58 | 3-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-24 | 12:10 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-25 | 11:56 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-26 | 12:15 | 3-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-27 | 11:43 | 3-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-28 | 11:55 | 4-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-29 | 11:42 | 4-6 rimed | all clear | all clear | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-04-30 | 11:37 | 4-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
Daily Check Swiss Tower May 2015
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-05-01 | 11:47 | 4-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-02 | 11:47 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-03 | 13:01 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-04 | 21:22 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-05 | 11:51 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-06 | 12:22 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-07 | 11:53 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 frozen, fan 2 restarted after tapping.
2015-05-08 | 11:54 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-09 | 11:44 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-10 | 14:33 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-11 | 12:22 | 3-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-05-12 | 11:43 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-13 | 19:55 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-14 | 11:46 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-15 | 10:33 | 3-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-05-16 | 11:49 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-17 | 11:46 | all clear | all clear | 6 rimed | n | Fan 1 and 2 frozen.
2015-05-18 | 15:47 | all clear | all clear | 6 rimed | n | Fan 1 and 2 frozen.
2015-05-19 | 12:07 | 5-6 rimed | all clear | 6 rimed | n | Fan 1 and 2 frozen.
2015-05-20 | 12:08 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-21 | 11:40 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-22 | 11:42 | 3-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-23 | 11:32 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-05-24 | 11:37 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-25 | 12:11 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-26 | 11:59 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-05-27 | 11:45 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-05-28 | 13:27 | 3-6 rimed | all clear | 4-6 rimed | n | Fan 1 and 2 frozen.
2015-05-29 | 13:25 | 3-6 rimed | all clear | 4-6 rimed | n | Fan 1 and 2 frozen. Swiss Tower climbed by Science Tech 1200z to 1410z; connectors and tower hardware checked.
2015-05-30 | 11:54 | 3-6 rimed | all clear | 4-6 rimed | n | Fan 1 and 2 frozen. New rime filter installed on T/RH 1.
2015-05-31 | 10:12 | all clear | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
Daily Check Swiss Tower June 2015
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-06-01 | 12:27 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-02 | 12:29 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-03 | 11:54 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-04 | 11:55 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-05 | 11:40 | all clear | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-06 | 13:04 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-07 | 20:18 | 5-6 rimed | all clear | 4-6 rimed | n | Fan 1 and 2 frozen.
2015-06-08 | 11:41 | 5-6 rimed | all clear | 4-6 rimed | n | Fan 1 and 2 frozen.
2015-06-09 | 11:57 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-06-10 | 15:01 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-06-11 | 11:32 | 5-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-12 | 11:57 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-06-13 | 11:43 | all clear | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-06-14 | 20:15 | 5-6 rimed | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-06-15 | 12:10 | 3-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-16 | 11:49 | all clear | all clear | 5-6 rimed | n | Fan 1 and 2 frozen.
2015-06-17 | 11:50 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-06-18 | 11:41 | all clear | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-19 | 11:36 | all clear | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-20 | 11:32 | all clear | all clear | 4-6 rimed | n | Fan 1 and 2 frozen.
2015-06-21 | 11:32 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-06-22 | 11:35 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-06-23 | 11:56 | 6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen.
2015-06-24 | 12:00 | 6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen.
2015-06-25 | 10:48 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-06-26 | 10:56 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen.
2015-06-27 | 10:42 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen.
2015-06-28 | 10:36 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-06-29 | 11:37 | all clear | all clear | all clear | n | Fan 1 and 2 frozen.
2015-06-30 | 11:42 | 5 rimed | all clear | all clear | n | Fan 1 and 2 frozen.
Daily Check Swiss Tower July 2015
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-07-01 | 11:33 | 6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen
2015-07-02 | 11:42 | all clear | all clear | 4-6 rimed | n | Fan 1 and 2 frozen
2015-07-03 | 10:26 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-04 | 13:37 | all clear | all clear | 4-6 rimed | n | Fan 1 and 2 frozen
2015-07-05 | 11:36 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-06 | 10:23 | all clear | 4-6 rimed | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-07 | 11:34 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-08 | 11:31 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-09 | 10:20 | 2-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen
2015-07-10 | 11:31 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-11 | 11:43 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-12 | 12:05 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-13 | 11:33 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-14 | 11:30 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-15 | 10:29 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-16 | 10:28 | 1-6 rimed | all clear | 2-6 rimed | n | Fan 1 and 2 frozen/Between 14:46z-19:40z Andy Clarke was working on the NOAA Downwelling PIR. He was near the Swiss instruments at this time.
2015-07-17 | 11:59 | 1-6 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-18 | 11:59 | 2-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-19 | 11:35 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-20 | 11:38 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-21 | 10:15 | 5-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen/Riggers working on tower from 16:30z-19:00z
2015-07-22 | 11:40 | all clear | all clear | all clear | n | Fan 1 and 2 frozen/Riggers working on tower from 11:00z-11:40z
2015-07-23 | 12:23 | 4 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-24 | 10:26 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-25 | 12:51 | 4 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-26 | 12:13 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-27 | 11:35 | 4 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-28 | 10:19 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-29 | 11:45 | 2-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-07-30 | 10:23 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-07-31 | 11:45 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
Daily Check Swiss Tower August 2015
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-08-01 | 11:53 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-02 | 11:39 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-03 | 12:01 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-04 | 10:20 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-05 | 10:33 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-06 | 10:27 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-07 | 10:30 | all clear | all clear | 2-6 rimed | n | Fan 1 and 2 frozen
2015-08-08 | 10:32 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-09 | 9:34 | 2-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-10 | 12:49 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-11 | 10:27 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-12 | 10:32 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-13 | 11:36 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-14 | 10:23 | 4-6 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-15 | 10:32 | 1-6 rimed | 1-6 rimed | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-16 | 10:32 | 1-6 rimed | 1-6 rimed | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-17 | 11:42 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-18 | 11:46 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-19 | 11:32 | 4-6 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-08-20 | 13:40 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-21 | 11:30 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-22 | 12:09 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-23 | 12:00 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-24 | 11:31 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-25 | 11:34 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-26 | 11:37 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-27 | 10:45 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-28 | 11:37 | 2-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-29 | 11:29 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-30 | 12:04 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-08-31 | 11:35 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
Daily Check Swiss Tower September 2015
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-09-01 | 11:49 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-02 | 10:26 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-03 | 10:23 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-04 | 10:27 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-05 | 11:44 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-06 | 12:15 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-07 | 11:29 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-08 | 10:44 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-09 | 11:45 | 6 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-10 | 10:26 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-11 | 11:40 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-12 | 11:35 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-13 | 11:59 | 1-6 rimed | 1-6 rimed | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-14 | 11:42 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-15 | 11:39 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-16 | 11:33 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-17 | 11:39 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-18 | 11:47 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-19 | 10:40 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-20 | 10:43 | all clear | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-21 | 12:08 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-22 | 11:35 | 4-6 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-23 | 11:45 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-24 | 11:35 | 4-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen
2015-09-25 | 9:28 | 4-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-26 | 10:29 | 4-6 rimed | all clear | 2-6 rimed | n | Fan 1 and 2 frozen
2015-09-27 | XX |  |  |  |  | Did not visit due to high winds/low vis.
2015-09-28 | 11:33 | 6 rimed | all clear | all clear | n | Fan 1 and 2 frozen
2015-09-29 | 11:33 | all clear | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-09-30 | 9:31 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
Daily Check Swiss Tower October 2015
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-10-01 | 11:19 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-10-02 | 11:21 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-10-03 | 11:50 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-10-04 | 10:08 | 1-6 rimed | all clear | 3-6 rimed | n | Fan 1 and 2 frozen
2015-10-05 | XX |  |  |  |  | Did not visit due to high winds/low vis.
2015-10-06 | 11:35 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-10-07 | XX |  |  |  |  | Did not visit due to high winds/low vis.
2015-10-08 | 9:37 | 1-6 rimed | all clear | 1-6 rimed | n | Fan 1 and 2 frozen
2015-10-09 | 14:15 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-10 | 11:55 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-11 | 12:15 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-12 | 11:40 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-13 | 13:00 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-14 | 18:00 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-15 | 12:20 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen. Power circuit off from 1605-1623UT for maintenance on 50m tower power box.
2015-10-16 | 12:20 | 1-6 rimed | all siezed | 1-6 rimed | n
2015-10-17 | 12:30 | 1-6 rimed | all siezed | 1-6 rimed | n
2015-10-18 | 13:20 | 1-6 rimed | all siezed | 1-6 rimed | n
2015-10-19 | 12:10 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-20 | 11:55 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-21 | 12:20 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-22 | 12:10 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-23 | 12:10 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-24 | 12:10 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-25 | 13:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-26 | 12:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-10-27 | 12:10 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-10-28 | 12:25 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-10-29 | 12:25 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-10-30 | 12:20 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-10-31 | 12:30 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
Daily Check Swiss Tower November 2015
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-11-01 | 13:25 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-02 | 12:20 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-03 | 12:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-04 | 12:50 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-05 | 12:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-06 | 12:50 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-07 | 12:45 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-08 | 14:05 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-09 | 12:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-10 | 12:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-11 | 12:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-12 | 12:35 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-13 | 12:45 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-14 | 13:15 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-15 | 14:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-16 | 12:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-17 | 12:20 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-18 | 12:40 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-19 | 12:40 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-20 | 12:30 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-21 | 12:30 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-22 | 14:20 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-23 | 13:25 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-24 | 12:55 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-25 | 12:50 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-26 | 12:40 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-27 | 14:20 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-28 | 15:20 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-11-29 | 13:25 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-11-30 | 12:45 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
Daily Check Swiss Tower December 2015
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2015-12-01 | 13:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-02 | 13:25 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-03 | 12:40 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-04 | 12:50 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-05 | 13:25 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-06 | 13:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-07 | 12:40 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-08 | 12:25 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-09 | 12:35 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-10 | 12:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-11 | 12:40 | 1-6 rimed | all siezed | 1-6 rimed | n | All fans seemed frozen.
2015-12-12 | 13:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-13 | [5 empty] | Did not visit due to Sunday and Con1
2015-12-14 | 13:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-15 | [5 empty] | Did not visit due to Con1
2015-12-16 | 14:35 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-17 | 12:15 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-18 | 12:20 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-19 | 12:40 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-20 | [5 empty] | Did not visit - Sunday and Con1
2015-12-21 | 12:45 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-22 | 12:35 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-23 | 12:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-24 | 12:35 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-25 | 12:20 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-26 | 15:00 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-27 | 12:50 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-28 | 13:30 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-29 | 12:45 | 1-6 rimed | all siezed | 1-6 rimed | n | Cleared anemometer 1 and 2. All fans seemed frozen.
2015-12-30 | 12:35 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.
2015-12-31 | 12:30 | 1-6 rimed | all siezed | 3-6 rimed | n | All fans seemed frozen.

## Solar Instruments Daily Check
2015 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-01-01 | 1250 | clr | rr all | clr | rr | rr | clr
2015-01-02 | 1241 | clr | rr all | clr | rr | rr | clr
2015-01-03 | 1310 | clr | clr | clr | rr | clr | clr
2015-01-04 | 1251 | rr | clr | rr | rr | clr | clr
2015-01-05 | 1331 | [6 empty] | Did not visit due to high winds/low vis.
2015-01-06 | 1235 | rr | rr all | rr | rr | rr | clr
2015-01-07 | 1246 | clr | rr all | rr | rr | rr | clr
2015-01-08 | 1241 | [6 empty] | Did not visit due to high winds/low vis.
2015-01-09 | 1244 | clr | rr all | clr | rr | rr | clr
2015-01-10 | 1242 | clr | rr all | clr | rr | rr | clr
2015-01-11 | 1224 | clr | clr | clr | rr | clr | clr
2015-01-12 | 1248 | clr | clr | clr | rr | clr | clr
2015-01-13 | 1243 | clr | clr | clr | rr | clr | clr
2015-01-14 | 1248 | clr | rr all | clr | rr | rr | clr
2015-01-15 | 1319 | clr | rr all | clr | rr | rr | clr
2015-01-16 | 1235 | clr | rr all | clr | rr | rr | clr
2015-01-17 | 1251 | clr | clr | clr | rr | clr | clr
2015-01-18 | 1253 | [6 empty] | Did not visit due to high winds/low vis.
2015-01-19 | 1257 | [6 empty] | Did not visit due to high winds/low vis.
2015-01-20 | 1226 | clr | rr all | clr | clr | rr | clr
2015-01-21 | 1305 | [6 empty] | Did not visit due to high winds/low vis.
2015-01-22 | 1252 | clr | rr all | clr | clr | rr | rr
2015-01-23 | 1238 | clr | clr | clr | clr | clr | clr
2015-01-24 | 1225 | clr | clr | clr | clr | clr | clr
2015-01-25 | 1232 | clr | rr all | clr | rr | rr | clr
2015-01-26 | 1246 | clr | rr all | clr | rr | rr | clr
2015-01-27 | 1311 | [6 empty] | Did not visit due to high winds/low vis.
2015-01-28 | 1245 | clr | clr | clr | clr | clr | clr
2015-01-29 | 1226 | clr | rr all | clr | rr | rr | rr
2015-01-30 | 1239 | rr | rr all | clr | rr | rr | rr
2015-01-31 | 1248 | rr | rr all | clr | rr | rr | rr
Daily Check Solar Tracker February 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-02-01 | 1246 | rr | rr all | clr | rr | rr | rr | Weird foamy, superlight snow covering everything
2015-02-02 | 1244 | clr | rr all | clr | rr | rr | clr
2015-02-03 | 1245 | [6 empty] | Did not visit due to high winds/low vis.
2015-02-04 | 1207 | clr | rr all | clr | rr | rr | clr
2015-02-05 | 1249 | clr | rr all | clr | clr | rr | clr
2015-02-06 | 1219 | clr | rr all | clr | rr | rr | clr
2015-02-07 | 1250 | [6 empty] | Did not visit due to high winds/low vis.
2015-02-08 | 1255 | clr | rr all | clr | rr | rr | clr
2015-02-09 | 1241 | clr | rr all | clr | rr | rr | clr
2015-02-10 | 1249 | clr | rr all | clr | rr | rr | clr | Solar tracker not moving.
2015-02-11 | 1211 | clr | rr all | clr | rr | rr | clr | Solar tracker not moving.
2015-02-12 | 1217 | rr | rr all | rr | rimed | clr | rr | Solar tracker not moving.
2015-02-13 | 1208 | clr | rr all | rr I4, clear I5 | rimed | rr | clr | Solar tracker not moving.
2015-02-14 | 1214 | clr | rr all | clr | rimed | rr | rr | Solar tracker not moving.
2015-02-15 | 1228 | clr | rr all | clr | rimed | rr | rr | Solar tracker not moving.
2015-02-16 | 1230 | clr | clr | rr l4, clear l5 | rimed | clr | clr | Solar tracker not moving.
2015-02-17 | 1533 | rr | rr | clr | rimed | rr | rr | Solar tracker not moving.
2015-02-18 | 1538 | rr | rr | rr l4, clear l5 | rimed | rr | rr | Solar tracker not moving.
2015-02-19 | 1233 | rr I3, clear l1,l2 | rr | clr | rimed | rr | rr | Solar tracker not moving.
2015-02-20 | 1303 | rr | rr | rr | rimed | rr | rr | Solar tracker not moving.
2015-02-21 | 1210 | rr | rr | rr | rimed | rr | rr | Solar tracker not moving.
2015-02-22 | 1140 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-02-23 | 1228 | rr | rr | rr l4, clear l5 | rr | rr | rr | Solar tracker not moving.
2015-02-24 | 1255 | clr | rr | rr l4, clear l5 | rr | rr | clr | Solar tracker not moving.
2015-02-25 | 1224 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-02-26 | 1240 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-02-27 | - | [6 empty] | Not visited, weather travel restriction.
2015-02-28 | 1204 | clr | rr | clr | rr | rr | clr | Solar tracker not moving.
Daily Check Swiss March 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-03-01 | 13:10 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-02 | 11:57 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-03-03 | 12:12 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-03-04 | 12:03 | rr | rr | rr l4, clear l5 | rr | rr | rr | Solar tracker not moving.
2015-03-05 | 11:55 | clr | clr | rr | clr | clr | clr | Solar tracker not moving.
2015-03-06 | 16:19 | I1 rr, I2/3 clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-07 | 12:15 | I1 rr, I2/3 clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-08 | 13:25 | I1 rr, I2/3 clr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-03-09 | 12:16 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-03-10 | 12:03 | clr | rr | rr l4, clear l5 | rr | rr | rr | Solar tracker not moving.
2015-03-11 | 13:14 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-03-12 | 13:33 | I1 rr, I2/3 clr | rr | rr l4, clear l5 | rr | rr | rr | Solar tracker not moving.
2015-03-13 | 12:26 | I1 rr, I2/3 clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-03-14 | 13:40 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-03-15 | 13:16 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-03-16 | 12:23 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-03-17 | 11:56 | I1 rr, I2/3 clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-18 | 12:17 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-03-19 | 12:16 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-03-20 | 12:51 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-03-21 | 12:50 | clr | rr | rr | rr | rr | clr | Solar tracker not moving.
2015-03-22 | 12:36 | clr | rr | clr | clr | clr | rr | Solar tracker not moving.
2015-03-23 | 12:16 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-24 | 12:17 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-03-25 | 12:10 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-03-26 | 12:02 | I1 rr, I2/3 clr | clr | clr | rr | clr | clr | Solar tracker not moving.
2015-03-27 | 12:41 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-28 | 12:09 | clr | clr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-29 | 13:06 | rr | rr | rr l4, clear l5 | rr | rr | rr | Solar tracker not moving.
2015-03-30 | 11:51 | rr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-03-31 | 12:11 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
Daily Check Solar Tracker April 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-04-01 | 11:52 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-04-02 | 12:10 | clr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-04-03 | 11:48 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-04 | 11:28 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-05 | 12:33 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-06 | 11:40 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-04-07 | 11:38 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-04-08 | 11:59 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-04-09 | 11:58 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-04-10 | 11:38 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-04-11 | 12:30 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-04-12 | 11:30 | clr | rr | clr | rr | rr | clr | Solar tracker not moving.
2015-04-13 | 11:42 | I1 rr, I2/3 clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-04-14 | 11:37 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-15 | - | [6 empty] | Not visited due to wx travel restriction
2015-04-16 | 11:38 | I1 rr, I2/3 clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-17 | 11:59 | I1 rr, I2/3 clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-04-18 | 11:47 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-19 | - | [6 empty] | Not visited due to wx travel restriction
2015-04-20 | 13:03 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-04-21 | 11:50 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-04-22 | 11:47 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-23 | 11:49 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-04-24 | 12:14 | clr | rr | rr l4, clear l5 | clr | rr | rr | Solar tracker not moving.
2015-04-25 | 11:44 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-26 | 12:07 | I1 rr, I2/3 clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-27 | 11:37 | I1 rr, I2/3 clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-04-28 | 11:47 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-29 | 11:37 | clr | clr | clr | clr | rr | rr | Solar tracker not moving.
2015-04-30 | 11:29 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
Daily Check Solar Tracker May 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-05-01 | 11:39 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-05-02 | 11:37 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-03 | 12:52 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-04 | 21:17 | clr | clr | clr | clr | rr | clr | Solar tracker not moving.
2015-05-05 | 11:46 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-06 | 12:17 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-07 | 11:47 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-08 | 11:49 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-09 | 11:37 | clr | clr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-10 | 14:27 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-05-11 | 12:17 | clr | rr | clr | clr | clr | rr | Solar tracker not moving.
2015-05-12 | 11:33 | clr | rr | clr | clr | clr | rr | Solar tracker not moving.
2015-05-13 | 19:59 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-14 | 11:41 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-05-15 | 10:27 | clr | clr | clr | clr | clr | rr | Solar tracker not moving.
2015-05-16 | 11:41 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-05-17 | 11:39 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-18 | 15:43 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-19 | 12:01 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-20 | 12:04 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-21 | 11:30 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-22 | 11:37 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-23 | 11:27 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-24 | 11:32 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-25 | 12:07 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-26 | 11:56 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-05-27 | 11:42 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-28 | 13:20 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-05-29 | 13:22 | clr | clr | clr | clr | clr | clr | New rime filters installed on I1.
2015-05-30 | 11:51 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-05-31 | 10:08 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
Daily Check Solar Tracker June 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-06-01 | 12:22 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-02 | 12:26 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-03 | 11:52 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-04 | 11:51 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-05 | 11:38 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-06 | 13:01 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-07 | 20:15 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-08 | 11:37 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-09 | 11:52 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-10 | 14:59 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-11 | 11:28 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-06-12 | 11:54 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-13 | 11:40 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-14 | 20:13 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-15 | 12:02 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-16 | 11:46 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-17 | 11:46 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-18 | 11:37 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-06-19 | 11:31 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-20 | 11:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-21 | 11:31 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-22 | 11:32 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-23 | 11:47 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-24 | 11:56 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-25 | 10:45 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-26 | 10:49 | clr | rr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-27 | 10:38 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-28 | 11:32 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-06-29 | 11:32 | clr | clr | clr | clr | rr | clr | Solar tracker not moving.
2015-06-30 | 11:42 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
Daily Check Solar Tracker July 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-07-01 | 11:32 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-02 | 11:37 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-03 | 10:22 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-04 | 13:32 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-05 | 11:22 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-06 | 10:06 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-07-07 | 11:27 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-08 | 11:26 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-09 | 10:13 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-10 | 11:26 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-11 | 11:33 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-07-12 | 12:00 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-13 | 11:28 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-14 | 11:27 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-15 | 10:13 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-07-16 | 10:18 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-07-17 | 11:54 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-18 | 11:32 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-19 | 11:30 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-20 | 11:33 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-21 | 10:37 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-22 | 10:32 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-23 | 10:26 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-24 | 10:19 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-25 | 10:50 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-26 | 10:32 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-27 | 11:27 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-28 | 10:23 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-29 | 10:16 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-07-30 | 10:18 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-07-31 | 10:37 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
Daily Check Solar Tracker August 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-08-01 | 10:18 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-02 | 11:31 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-08-03 | 10:17 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-08-04 | 10:11 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-05 | 10:27 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-08-06 | 10:20 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-07 | 10:18 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-08 | 10:18 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-09 | 9:15 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-08-10 | 10:16 | rr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-11 | 10:19 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-12 | 10:18 | rr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-08-13 | 11:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-14 | 10:14 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-15 | 10:19 | clr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-08-16 | 10:20 | clr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-08-17 | 11:29 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-18 | 11:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-19 | 11:24 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
2015-08-20 | 13:31 | clr | rr | clr | clr | clr | rr | Solar tracker not moving.
2015-08-21 | 10:19 | rr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-08-22 | 11:59 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-08-23 | 11:52 | clr | rr | clr | clr | rr | rr | Solar tracker not moving.
2015-08-24 | 10:25 | rr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-25 | 10:30 | rr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-26 | 11:26 | rr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-27 | 9:43 | clr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-28 | 9:45 | rr | rr | clr | rr | rr | rr | Solar tracker not moving.
2015-08-29 | 9:40 | rr | rr | rr | rr | rr | rr | Solar tracker not moving.
2015-08-30 | 11:57 | clr | rr | clr | clr | rr | clr | Solar tracker not moving.
2015-08-31 | 9:43 | clr | clr | clr | clr | clr | clr | Solar tracker not moving.
Daily Check Solar Tracker September 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-09-01 | 10:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-02 | 10:18 | clr | rr | clr | rr | rr | clr | Solar tracker not moving
2015-09-03 | 09:40 | clr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-09-04 | 10:18 | rr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-09-05 | 09:37 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-06 | 12:07 | clr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-09-07 | 11:32 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-08 | 10:37 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-09 | 09:46 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-10 | 10:20 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-11 | 9:51 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-12 | 11:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-13 | 11:47 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-09-14 | 9:38 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-09-15 | 11:29 | clr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-09-16 | 9:31 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-17 | 11:26 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-09-18 | 9:42 | rr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-09-19 | 10:28 | rr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-09-20 | 10:49 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-21 | 9:37 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-22 | 11:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-23 | 9:23 | rr | rr | clr | rr | rr | clr | Solar tracker not moving
2015-09-24 | 11:29 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-25 | 9:21 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-26 | 10:24 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-27 | XX | [6 empty] | Did not visit due to high winds/low vis.
2015-09-28 | 11:28 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-09-29 | 11:27 | clr | rr | clr | clr | rr | clr | Solar tracker not moving
2015-09-30 | 9:22 | rr | rr | clr | clr | rr | clr | Solar tracker not moving
Daily Check Solar Tracker October 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-10-01 | 11:07 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-10-02 | 11:08 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-10-03 | 11:38 | clr | rr | clr | rr | rr | rr | Solar tracker not moving
2015-10-04 | 10:02 | clr | clr | clr | clr | clr | clr | Solar tracker not moving
2015-10-05 | XX | [6 empty] | Did not visit due to high winds/low vis.
2015-10-06 | 9:19 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-10-07 | XX | [6 empty] | Did not visit due to high winds/low vis.
2015-10-08 | 9:24 | rr | rr | rr | rr | rr | rr | Solar tracker not moving
2015-10-09 | 14:15 | rr on pyranometer | clr | xx | xx | xx | xx | Solar tracker not moving; ceasing radiometer checks for remainder of year
2015-10-10 | 11:55 | clr | clr | xx | xx | xx | xx
2015-10-11 | 12:15 | clr | clr | xx | xx | xx | xx
2015-10-12 | 11:40 | clr | clr | xx | xx | xx | xx
2015-10-13 | 13:00 | rr on pyranometer | clr | xx | xx | xx | xx
2015-10-14 | 18:00 | clr | clr | xx | xx | xx | xx
2015-10-15 | 12:20 | clr | clr | xx | xx | xx | xx | Power circuit off from 1605-1623UT for maintenance on 50m tower power box.
2015-10-16 | 12:20 | clr | clr | xx | xx | xx | xx
2015-10-17 | 12:30 | clr | clr | xx | xx | xx | xx
2015-10-18 | 13:15 | rr on pyranometer | clr | xx | xx | xx | xx
2015-10-19 | 12:00 | rr on pyranometer | clr | xx | xx | xx | xx
2015-10-20 | 11:45 | rr on pyranometer | clr | xx | xx | xx | xx
2015-10-21 | 12:15 | rr on pyranometer | rr | xx | xx | xx | xx
2015-10-22 | 12:00 | rr on pyranometer | rr | xx | xx | xx | xx
2015-10-23 | 12:00 | rr on pyranometer | rr | xx | xx | xx | xx
2015-10-24 | 11:50 | rr on pyranometer | rr | xx | xx | xx | xx
2015-10-25 | 13:10 | clr | rr | xx | xx | xx | xx
2015-10-26 | 12:20 | clr | rr | xx | xx | xx | xx
2015-10-27 | 12:00 | clr | rr | xx | xx | xx | xx
2015-10-28 | 12:20 | clr | clr | xx | xx | xx | xx | Lots of blowing snow
2015-10-29 | 12:20 | clr | rr | xx | xx | xx | xx
2015-10-30 | 12:15 | clr | rr | xx | xx | xx | xx
2015-10-31 | 12:20 | clr | clr | xx | xx | xx | xx
Daily Check Solar Tracker November 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-11-01 | 13:15 | clr | rr | xx | xx | xx | xx
2015-11-02 | 12:15 | clr | clr | xx | xx | xx | xx
2015-11-03 | 12:40 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-04 | 12:35 | clr | rr | xx | xx | xx | xx
2015-11-05 | 12:20 | clr | rr | xx | xx | xx | xx
2015-11-06 | 12:40 | clr | rr | xx | xx | xx | xx
2015-11-07 | 12:30 | clr | rr | xx | xx | xx | xx
2015-11-08 | 14:00 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-09 | 12:40 | clr | rr | xx | xx | xx | xx
2015-11-10 | 12:40 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-11 | 12:20 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-12 | 12:25 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-13 | 12:30 | clr | clr | xx | xx | xx | xx
2015-11-14 | 13:00 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-15 | 14:20 | rr on pyranometer | rr | xx | xx | xx | xx | Replaced South filters on fixed arm domes
2015-11-16 | 12:20 | rr on pyranometer | clr | xx | xx | xx | xx
2015-11-17 | 12:15 | rr on pyranometer | rr | xx | xx | xx | xx
2015-11-18 | 12:30 | rr on pyranometer | rr | rr | xx | rr | rr
2015-11-19 | 12:30 | clr | clr | clr | xx | clr | clr
2015-11-20 | 12:20 | clr | rr | clr | xx | clr | clr
2015-11-21 | 12:20 | clr | rr | clr | xx | clr | clr
2015-11-22 | 14:14 | clr | rr | clr | xx | clr | clr
2015-11-23 | 13:20 | clr | rr | clr | xx | clr | clr
2015-11-24 | 12:45 | rr | rr | rr | xx | clr | rr
2015-11-25 | 12:45 | rr | clr | rr | xx | clr | clr
2015-11-26 | 12:35 | clr | rr | clr | xx | clr | clr
2015-11-27 | 14:30 | clr | clr | clr | xx | clr | clr
2015-11-28 | 15:30 | clr | clr | clr | xx | clr | clr
2015-11-29 | 13:20 | rr on pyranometer | rr | clr | xx | clr | rr
2015-11-30 | 12:40 | rr on pyranometer | rr | rr | xx | clr | rr
Daily Check Solar Tracker December 2015
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2015-12-01 | 13:35 | rr | clr | rr | xx | clr | clr
2015-12-02 | 13:15 | rr | rr | rr | xx | rr | clr
2015-12-03 | 12:35 | clr | rr | clr | xx | clr | clr
2015-12-04 | 12:35 | rr on pyranometer | rr | rr | xx | clr | clr
2015-12-05 | 13:15 | rr on pir | rr | rr | xx | clr | clr
2015-12-06 | 13:35 | rr on pir and pyr | rr | rr | xx | clr | rr
2015-12-07 | 12:30 | rr on pir and pyr | rr | rr | xx | clr | rr
2015-12-08 | 12:15 | clr | clr | clr | xx | clr | clr
2015-12-09 | 12:20 | clr | clr | clr | xx | clr | clr
2015-12-10 | 12:25 | clr | rr | clr | xx | clr | clr
2015-12-11 | 12:30 | clr | rr | clr | xx | clr | clr
2015-12-12 | 13:25 | rr on pyranometer | rr | rr | xx | clr | rr
2015-12-13 | [7 empty] | Did not visit due to Sunday and Con1
2015-12-14 | 13:25 | rr on pyranometer | rr | rr | xx | clr | rr
2015-12-15 | [7 empty] | Did not visit due to Con1
2015-12-16 | 14:35 | rr on pyr and pir | rr | rr | xx | clr | rr
2015-12-17 | 12:15 | rr on pyranometer | clr | clr | xx | clr | rr
2015-12-18 | 12:15 | rr on pyranometer | rr | clr | xx | clr | rr
2015-12-19 | 12:30 | rr on pyranometer | rr | rr | xx | clr | rr
2015-12-20 | [7 empty] | Did not visit due to Sunday and Con1
2015-12-21 | 12:35 | rr on pyranometer | rr | rr | xx | clr | clr
2015-12-22 | 12:35 | rr on pyranometer | rr | rr | xx | clr | clr
2015-12-23 | 12:35 | rr on pyranometer | clr | rr | xx | clr | rr
2015-12-24 | 12:20 | rr on pyranometer | rr | rr | xx | rr | clr
2015-12-25 | 12:40 | clr | rr | clr | xx | clr | clr
2015-12-26 | 14:50 | rr on pyranometer | rr | clr | xx | clr | clr
2015-12-27 | 12:40 | rr on pyranometer | rr | clr | xx | clr | clr
2015-12-28 | 13:25 | clr | clr | clr | xx | clr | clr
2015-12-29 | 12:25 | rr on pyr and pir | rr | rr | xx | clr | rr
2015-12-30 | 12:25 | clr | clr | rr | xx | clr | clr
2015-12-31 | 12:20 | rr on pyranometer | rr | clr | xx | clr | clr
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on E2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2015-03-20
2015-03-21
2015-03-22
2015-03-23
2015-03-24
2015-03-25
2015-03-26
2015-03-27
2015-03-28
2015-03-29
2015-03-30
2015-03-31
2015-04-01
2015-04-02
2015-04-03
2015-04-04
2015-04-05
2015-04-06
2015-04-07
2015-04-08
2015-04-09
2015-04-10
2015-04-11
2015-04-12
2015-04-13
2015-04-14
2015-04-15
2015-04-16
2015-04-17
2015-04-18
2015-04-19
2015-04-20
2015-04-21
2015-04-22
2015-04-23
2015-04-24
2015-04-25
2015-04-26
2015-04-27
2015-04-28
2015-04-29
2015-04-30
2015-05-01
2015-05-02
2015-05-03
2015-05-04
2015-05-05
2015-05-06
2015-05-07
2015-05-08
2015-05-09
2015-05-10
2015-05-11
2015-05-12
2015-05-13
2015-05-14
2015-05-15
2015-05-16
2015-05-17
2015-05-18
2015-05-19
2015-05-20
2015-05-21
2015-05-22
2015-05-23
2015-05-24
2015-05-25
2015-05-26
2015-05-27
2015-05-28
2015-05-29
2015-05-30
2015-05-31
2015-06-01
2015-06-02
2015-06-03
2015-06-04
2015-06-05
2015-06-06
2015-06-07
2015-06-08
2015-06-09
2015-06-10
2015-06-11
2015-06-12
2015-06-13
2015-06-14
2015-06-15
2015-06-16
2015-06-17
2015-06-18
2015-06-19
2015-06-20
2015-06-21
2015-06-22
2015-06-23
2015-06-24
2015-06-25
2015-06-26
2015-06-27
2015-06-28
2015-06-29
2015-06-30
2015-07-01
2015-07-02
2015-07-03
2015-07-04
2015-07-05
2015-07-06
2015-07-07
2015-07-08
2015-07-09
2015-07-10
2015-07-11
2015-07-12
2015-07-13
2015-07-14
2015-07-15
2015-07-16
2015-07-17
2015-07-18
2015-07-19
2015-07-20
2015-07-21
2015-07-22
2015-07-23
2015-07-24
2015-07-25
2015-07-26
2015-07-27
2015-07-28
2015-07-29
2015-07-30
2015-07-31
2015-08-01
2015-08-02
2015-08-03
2015-08-04
2015-08-05
2015-08-06
2015-08-07
2015-08-08
2015-08-09
2015-08-10
2015-08-11
2015-08-12
2015-08-13
2015-08-14
2015-08-15
2015-08-16
2015-08-17
2015-08-18
2015-08-19
2015-08-20
2015-08-21
2015-08-22
2015-08-23
2015-08-24
2015-08-25
2015-08-26
2015-08-27
2015-08-28
2015-08-29
2015-08-30
2015-08-31
2015-09-01
2015-09-02
2015-09-03
2015-09-04
2015-09-05
2015-09-06
2015-09-07
2015-09-08
2015-09-09
2015-09-10
2015-09-11
2015-09-12
2015-09-13
2015-09-14
2015-09-15
2015-09-16
2015-09-17
2015-09-18
2015-09-19
2015-09-20
2015-09-21
2015-09-22
2015-09-23
2015-09-24
2015-09-25
2015-09-26
2015-09-27
2015-09-28
2015-09-29
2015-09-30

## Weekly Download SwissTower
2015 Weekly Data Download Swiss Tower
week | date YYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | 141229 | 293 | -9 | y | 764380 | 356 | 1410 | 363 | 1400 | y
1 | 150105 | 294 | -23 | y | 797458 | 363 | 1410 | 5 | 1440 | y
2 | 150112 | 295 | -20 | y | 830326 | 5 | 1450 | 12 | 1420 | y
3 | 150119 | 296 | -15 | y | 863194 | 12 | 1430 | 19 | 1400 | y
4 | 150126 | 297 | -21 | y | 896152 | 19 | 1410 | 26 | 1410 | y
5 | 150202 | 298 | -40 | y | 929050 | 26 | 1420 | 33 | 1400 | y
6 | 150209 | 299 | -21 | y | 962008 | 33 | 1410 | 40 | 1410 | y
7 | 150216 | 300 | -60 | y | 994932 | 40 | 1420 | 47 | 1420 | y | Data connection was interrupted, so data file was split into two parts. Parts were manually merged into TU300; original split files are available in week7 save directory.
8 | 150223 | 301 | -10 | y | 1028252 | 47 | 1430 | 54 | 1620 | y
9 | 150302 | 302 | 5 | y | 1060848 | 54 | 1630 | 61 | 1440 | y
10 | 150309 | 303 | -2 | n | 1093580 | 61 | 1450 | 68 | 1340 | y
11 | 150316 | 304 | -4 | y | 1126704 | 68 | 1350 | 75 | 1440 | y
12 | 150323 | 305 | -15 | y | 1160552 | 75 | 1450 | 82 | 1920 | y
13 | 150330 | 306 | -10 | y | 1192274 | 82 | 1930 | 89 | 1310 | y
14 | 150406 | 307 | -37 | y | 1225202 | 89 | 1320 | 96 | 1310 | y
15 | 150413 | 308 | -9 | y | 1258190 | 96 | 1320 | 103 | 1330 | y
16 | 150420 | 309 | -8 | y | 1291148 | 103 | 1340 | 110 | 1340 | y
17 | 150427 | 310 | 19 | y | 1323910 | 110 | 1350 | 117 | 1250 | y
18 | 150504 | 311 | 10 | y | 1358738 | 117 | 1300 | 124 | 2230 | y
19 | 150511 | 312 | -59 | y | 1389706 | 124 | 2240 | 131 | 1230 | y
20 | 150518 | 313 | +21 | y | 1423478 | 131 | 1240 | 138 | 1650 | y
21 | 150525 | 314 | 6 | y | 1455698 | 138 | 1700 | 145 | 1310 | y
22 | 150601 | 315 | -6 | y | 1488490 | 145 | 1320 | 152 | 1230 | y
23 | 150608 | 316 | -40 | y | 1521614 | 152 | 1240 | 159 | 1330 | y
24 | 150615 | 317 | +32 | y | 1554406 | 159 | 1340 | 166 | 1250 | y
25 | 150622 | 318 | -17 | y | 1588164 | 166 | 1300 | 173 | 1700 | y
26 | 150629 | 319 | +48 | y | 1619810 | 173 | 1710 | 180 | 1030 | y
27 | 150706 | 320 | -54 | y | 1652934 | 180 | 1040 | 187 | 1130 | y
28 | 150713 | 321 | One Month | y | 1686088 | 157 | 1140 | 164 | 1240 | y | Steffen Konrad notified of 1-month difference in time
29 | 150720 | 322 | -6 | y | 1718926 | 194 | 1250 | 201 | 1210 | y
30 | 150727 | 323 | -14 | y | 1751778 | 201 | 1220 | 208 | 1150 | y
31 | 150803 | 324 | 9 | y | 1784782 | 208 | 1200 | 215 | 1210 | y
32 | 150810 | 325 | -2 | y | 1817740 | 215 | 1220 | 222 | 1220 | y
33 | 150817 | 326 | 100 | y | 1850608 | 222 | 1230 | 229 | 1200 | y
34 | 150824 | 327 | -88 | y | 1883536 | 229 | 1210 | 236 | 1200 | y
35 | 150831 | 328 | -216 | y | 1916418 | 236 | 1210 | 243 | 1150 | y
36 | 150907 | 329 | 186 | y | 1949392 | 243 | 1200 | 250 | 1200 | y
37 | 150914 | 330 | -8 | y | 1982214 | 250 | 1210 | 257 | 1130 | y
38 | 150921 | 331 | -1 | y | 2015172 | 257 | 1140 | 264 | 1140 | y
39 | 150928 | 332 | -25 | y | 2048100 | 264 | 1150 | 271 | 1140 | y
40 | 151005 | 333 | 128 | y | 2082400 | 271 | 1150 | 278 | 1830 | y
41 | 151012 | 334 | 0 | n | 2082400 | 278 | 1840 | 285 | 1710 | y | logger clock within 2sec of time server; computer clock off by 4.5 minutes; reset computer clock for future syncs
42 | 151019 | 335 | -17 | y | 1167 | 278 | 1840 | 292 | 1430 | y
43 | 151026 | 336 | -6 | y | 33959 | 292 | 1440 | 299 | 1350 | y
44 | 151102 | 337 | -5 | y | 67023 | 299 | 1400 | 306 | 1430 | y
45 | 151109 | 338 | -1 | n | 99861 | 306 | 1440 | 313 | 1400 | y
46 | 151116 | 339 | -5 | y | 132879 | 313 | 1410 | 320 | 1430 | y
47 | 151123 | 340 | -7 | y | 165717 | 320 | 1440 | 327 | 1400 | y
48 | 151130 | 341 | -1 | n | 198569 | 327 | 1410 | 334 | 1340 | y
49 | 151207 | 342 | -3 | y | 231663 | 334 | 1350 | 341 | 1430 | y
50 | 151214 | 343 | -5 | y | 264501 | 341 | 1440 | 348 | 1400 | y
51 | 151221 | 344 | 0 | n | 297323 | 348 | 1410 | 355 | 1330 | y
52 | 151228 | 345 | -3 | y | 330281 | 355 | 1340 | 362 | 1340 | y

## Weekly Download SolarTracker
2015 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber Dif….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
52 | 141229 | 575 | -2 | n | 1684795 | 356 | 1317 | 363 | 1311 | y
1 | 150105 | 576 | -39 | y | 2135627 | 363 | 1312 | 5 | 1334 | y
2 | 150112 | 577 | -9 | y | 438306 | 5 | 1335 | 12 | 1315 | y
3 | 150119 | 578 | -12 | y | 887466 | 12 | 1316 | 19 | 1300 | y
4 | 150126 | 579 | -1 | n | 1337682 | 19 | 1301 | 26 | 1309 | y
4 | 150202 | 580 | 0 | n | 1787238 | 26 | 1310 | 33 | 1303 | y
4 | 150209 | 581 | -31 | y | 90929 | 33 | 1304 | 40 | 1305 | y
5 | 150216 | 582 | +16 | y | 540705 | 40 | 1306 | 47 | 1301 | y
6 | 150223 | 583 | -2 | y | 1000073 | 47 | 1302 | 54 | 1638 | y
7 | 150302 | 584 | -8 | y | 1442369 | 54 | 1639 | 61 | 1345 | y
8 | 150309 | 585 | -15 | y | 1889329 | 61 | 1346 | 68 | 1240 | y
9 | 150316 | 586 | 14 | y | 195792 | 68 | 1241 | 75 | 1347 | y
10 | 150323 | 587 | 19 | y | 656348 | 75 | 1348 | 82 | 1751 | y | Data connection was interrupted by power outage (at pointer 496554), so data file was split into two parts. Parts were manually merged into DIF587; original split files are available in week12 save directory. At the end of data transfer a 'General Protection Fault' error appeared. Some irregulaties occurred in body of file.
11 | 150330 | 588 | 50 | y | 1091340 | 82 | 1752 | 89 | 1212 | y
12 | 150406 | 589 | -23 | y | 1541380 | 89 | 1213 | 96 | 1217 | y
13 | 150413 | 590 | +6 | y | 1990804 | 96 | 1218 | 103 | 1208 | y
14 | 150420 | 591 | +3 | y | 299379 | 103 | 1209 | 110 | 1403 | y
14 | 150427 | 592 | +36 | y | 743743 | 110 | 1404 | 117 | 1157 | y
15 | 150504 | 593 | +22 | y | 1219215 | 117 | 1158 | 124 | 2140 | y
16 | 150511 | 594 | -60 | y | 1645187 | 124 | 2141 | 131 | 1238 | y
17 | 150518 | 595 | +38 | y | 2103851 | 131 | 1239 | 138 | 1557 | y
18 | 150525 | 596 | +2 | n | 384574 | 138 | 1558 | 145 | 1224 | y
19 | 150601 | 597 | -5 | y | 835230 | 145 | 1225 | 124 | 2154 | y
20 | 150608 | 598 | -33 | y | 1287910 | 152 | 1244 | 159 | 1348 | y | Data connection was interrupted by network outage (at pointer 861982), so data file was split into two parts. Parts were manually merged into DIF598; original split files are available in week23 save directory. Data missing day 152, 19:25 to 22:51.
21 | 150615 | 599 | 40 | y | 1735750 | 159 | 1349 | 166 | 1303 | y
22 | 150622 | 600 | -12 | y | 46745 | 166 | 1304 | 173 | 1553 | y
23 | 150622 | 601 | +66 | y | 483277 | 173 | 1554 | 180 | 1051 | y
24 | 150706 | 602 | +18 | y | 932261 | 180 | 1052 | 187 | 1032 | y
25 | 150713 | 603 | +6 | y | 1385205 | 187 | 1033 | 194 | 1143 | y
26 | 150720 | 604 | -8 | y | 1836741 | 194 | 1144 | 201 | 1222 | y
27 | 150727 | 605 | -16 | y | 140784 | 201 | 1223 | 208 | 1234 | y
28 | 150803 | 606 | +19 | y | 590692 | 208 | 1235 | 215 | 1234 | y
29 | 150810 | 607 | +4 | y | 1040248 | 215 | 1235 | 222 | 1228 | y
30 | 150817 | 608 | +105 | y | 1490376 | 222 | 1229 | 229 | 1235 | y
31 | 150824 | 609 | +23 | y | 1939888 | 229 | 1236 | 236 | 1228 | y
32 | 150831 | 610 | -183 | y | 242083 | 236 | 1229 | 243 | 1200 | y
33 | 150907 | 611 | +190 | y | 693091 | 243 | 1201 | 250 | 1223 | y
34 | 150914 | 612 | -3 | y | 1141811 | 250 | 1224 | 257 | 1158 | y
35 | 150921 | 613 | +11 | y | 1591367 | 257 | 1159 | 264 | 1152 | y
36 | 150928 | 614 | -15 | y | 2041099 | 264 | 1153 | 271 | 1150 | y
37 | 151005 | 615 | +28 | y | 363710 | 271 | 1151 | 278 | 1904 | y
38 | 151012 | 616 | -11 | y | 808998 | 278 | 1905 | 285 | 1721 | y
39 | 151019 | 617 | -7 | y | 1251866 | 285 | 1722 | 292 | 1443 | y
40 | 151026 | 618 | -13 | y | 1699838 | 292 | 1444 | 299 | 1401 | y
41 | 151102 | 619 | +5 | y | 6213 | 299 | 1402 | 306 | 1506 | y
42 | 151109 | 620 | +14 | y | 123258 | 306 | 1507 | 308 | 1045 | y
43 | 151116 | 621 | +14 | y | 904973 | 308 | 1047 | 320 | 1446 | y
44 | 151123 | 622 | +8 | y | 1353297 | 320 | 1447 | 296 | 1618 | y | After 0255z on day 325, the Julian day began reading at 1923z on 294 and ending on day 296.
45 | 151130 | 623 | +15 | y | 1802061 | 327 | 1413 | 334 | 1348 | y
46 | 151207 | 624 | +20 | y | 104872 | 334 | 1349 | 341 | 1332 | y
47 | 151214 | 625 | +13 | y | 556452 | 341 | 1333 | 345 | 1734 | y | After 1734z on day 345, the Julian day began reading at 315 at 2320z and ends on 318 at 0157z
48 | 151221 | 626 | +22 | y | 1848662 | 322 | 1418 | 335 | 739 | y
49 | 151228 | 627 | +14 | y | 966752 | 335 | 708 | 354 | 2335 | y
50
51
52
Note on E5: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.
2015 Weekly Data Download PFR