## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2017 Daily Check Swiss Tower
Daily Check Swiss Tower January 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers | Picture y/n | comments (general maintenance / power outages)
2017-01-01 | [5 empty] | Damage to the 50-Meter Tower leaves doubt as to the status of the power infrastructure shared with the radiation stands. Out of precaution, the shared power connection has been disconnected.
2017-01-02 | [5 empty] | Power remains disconnected.
2017-01-03 | [5 empty] | Power remains disconnected.
2017-01-04 | [5 empty] | Power remains disconnected.
2017-01-05 | [5 empty] | Power remains disconnected.
2017-01-06 | [5 empty] | Power remains disconnected.
2017-01-07 | [5 empty] | Power remains disconnected.
2017-01-08 | [5 empty] | Power remains disconnected.
2017-01-09 | [5 empty] | Power remains disconnected.
2017-01-10 | [5 empty] | Power remains disconnected.
2017-01-11 | [5 empty] | Power remains disconnected.
2017-01-12 | [5 empty] | Power remains disconnected.
2017-01-13 | [5 empty] | Power remains disconnected.
2017-01-14 | [5 empty] | Power remains disconnected.
2017-01-15 | [5 empty] | Power remains disconnected.
2017-01-16 | [5 empty] | Power remains disconnected.
2017-01-17 | [5 empty] | Power remains disconnected.
2017-01-18
2017-01-19
2017-01-20
2017-01-21
2017-01-22
2017-01-23
2017-01-24
2017-01-25
2017-01-26
2017-01-27
2017-01-28
2017-01-29
2017-01-30
2017-01-31
Daily Check Swiss Tower February 2017
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-02-01
2017-02-02
2017-02-03
2017-02-04
2017-02-05
2017-02-06
2017-02-07
2017-02-08
2017-02-09
2017-02-10
2017-02-11
2017-02-12
2017-02-13
2017-02-14
2017-02-15
2017-02-16
2017-02-17
2017-02-18
2017-02-19
2017-02-20
2017-02-21
2017-02-22
2017-02-23
2017-02-24
2017-02-25
2017-02-26
2017-02-27
2017-02-28
Daily Check Swiss Tower March 2017
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-03-01
2017-03-02
2017-03-03
2017-03-04
2017-03-05
2017-03-06
2017-03-07
2017-03-08
2017-03-09
2017-03-10
2017-03-11
2017-03-12
2017-03-13
2017-03-14
2017-03-15
2017-03-16
2017-03-17
2017-03-18
2017-03-19
2017-03-20
2017-03-21
2017-03-22
2017-03-23
2017-03-24
2017-03-25
2017-03-26
2017-03-27
2017-03-28
2017-03-29
2017-03-30
2017-03-31
Daily Check Swiss Tower April 2017
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-04-01
2017-04-02
2017-04-03
2017-04-04
2017-04-05
2017-04-06
2017-04-07
2017-04-08
2017-04-09
2017-04-10
2017-04-11
2017-04-12
2017-04-13
2017-04-14
2017-04-15
2017-04-16
2017-04-17
2017-04-18
2017-04-19
2017-04-20
2017-04-21
2017-04-22
2017-04-23
2017-04-24
2017-04-25
2017-04-26
2017-04-27
2017-04-28
2017-04-29
2017-04-30
Daily Check Swiss Tower May 2017
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2017-05-01
2017-05-02
2017-05-03
2017-05-04
2017-05-05
2017-05-06
2017-05-07
2017-05-08
2017-05-09
2017-05-10
2017-05-11
2017-05-12
2017-05-13
2017-05-14
2017-05-15
2017-05-16
2017-05-17
2017-05-18
2017-05-19
2017-05-20
2017-05-21
2017-05-22
2017-05-23
2017-05-24
2017-05-25
2017-05-26
2017-05-27
2017-05-28
2017-05-29
2017-05-30
2017-05-31
Daily Check Swiss Tower June 2017
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-06-01
2017-06-02
2017-06-03
2017-06-04
2017-06-05
2017-06-06
2017-06-07
2017-06-08
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
Daily Check Swiss Tower July 2017
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
Daily Check Swiss Tower August 2017
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
Daily Check Swiss Tower September 2017
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-09-01 | 12:20 | clr | clr | clr | n
2017-09-02 | 17:55 | clr | clr | clr | n
2017-09-03 | 10:37 | clr | clr | clr | n
2017-09-04 | 11:41 | clr | clr | clr | n
2017-09-05 | 16:45 | clr | clr | clr | n
2017-09-06 | 15:52 | clr | clr | clr | n
2017-09-07 | 14:36 | clr | clr | clr | n
2017-09-08 | 12:10 | clr | clr | clr | n
2017-09-09 | 10:54 | clr | clr | clr | n
2017-09-10 | 10:50 | clr | clr | clr | n
2017-09-11 | 11:37 | clr | clr | clr | n
2017-09-12 | 10:25 | clr | clr | clr | n
2017-09-13 | 11:45 | rr | rr | clr | n
2017-09-14 | 11:43 | clr | clr | clr | n
2017-09-15 | 12:02 | clr | clr | clr | n
2017-09-16 | 12:27 | clr | clr | clr | n
2017-09-17 | 13:40 | clr | clr | clr | n
2017-09-18 | 15:56 | clr | clr | clr | n
2017-09-19 | 12:29 | clr | clr | clr | n
2017-09-20 | 13:21 | clr | clr | clr | n
2017-09-21 | 18:14 | clr | clr | clr | n
2017-09-22 | 13:56 | clr | clr | clr | n
2017-09-23 | 10:19 | rr | rr | clr | n
2017-09-24 | 10:28 | clr | clr | clr | n
2017-09-25 | 10:02 | clr | clr | clr | n
2017-09-26 | 13:18 | clr | clr | clr | n
2017-09-27 | 15:39 | clr | clr | clr | n
2017-09-28 | 16:51 | clr | clr | clr | n | Fans are seized.
2017-09-29 | 13:48 | clr | clr | clr | n | Fans are seized.
2017-09-30 | 12:20 | clr | clr | clr | n | Fans are seized.
Daily Check Swiss Tower October 2017
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-10-01 | 11:50 | clr | clr | clr | n | Fans are seized.
2017-10-02 | 13:24 | clr | clr | clr | n | Fans are seized.
2017-10-03 | 12:00 | rr | rr | clr | n | Fans are seized.
2017-10-04 | 11:31 | rr | rr | clr | n | Fans are seized.
2017-10-05 | 12:45 | clr | clr | clr | n | Fans are seized.
2017-10-06 | 13:42 | clr | clr | clr | n | Fans are seized.
2017-10-07 | 11:48 | clr | clr | clr | n | Fans are seized.
2017-10-08 | 10:21 | clr | clr | clr | n | Fans are seized.
2017-10-09 | 12:12 | clr | clr | clr | n | Fans are seized.
2017-10-10 | 11:39 | clr | clr | clr | n | Fans are seized.
2017-10-11 | 14:46 | clr | clr | clr | n | Fans are seized.
2017-10-12 | 9:59 | clr | clr | clr | n | Fans are seized.
2017-10-13 | 9:31 | rr | rr | clr | n | Fans are seized.
2017-10-14 | 11:49 | rr | rr | clr | n | Fans are seized.
2017-10-15 | 11:45 | clr | clr | clr | n | Fans are seized.
2017-10-16 | [5 empty] | Did not visit due to acclimation period
2017-10-17 | [5 empty] | Did not visit due to acclimation period
2017-10-18 | 12:15 | rf | clr | clr | n | Fans are seized.
2017-10-19 | 12:00 | rf | clr | clr | n | Fans are seized.
2017-10-20 | - | - | - | - | - | Did not visit due to high winds and low vis
2017-10-21 | 12:00 | clr | clr | clr | n | Fans are seized.
2017-10-22 | 12:40 | clr | clr | clr | n | Fans are seized.
2017-10-23 | 12:30 | rf | rf | clr | n | Fans are seized.
2017-10-24 | - | - | - | - | - | Did not visit today
2017-10-25 | 11:55 | clr | clr | clr | n | Fans are seized.
2017-10-26 | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-27 | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-28 | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-29 | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-30 | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-31 | 12:40 | clr | clr | clr | n | Fan is seized.
Daily Check Swiss Tower November 2017
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-11-01 | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-11-02 | 12:50 | rf | rf | clr | n | Fan is seized.
2017-11-03 | 12:35 | rf | rf | clr | n | Fan is seized.
2017-11-04 | 13:00 | clr | clr | clr | n | Fan is seized.
2017-11-05 | 13:45 | clr | clr | clr | n | Fan is seized.
2017-11-06 | - | - | - | - | - | Did not visit today
2017-11-07 | 12:43 | rf | rf | clr | n | Fan is seized.
2017-11-08 | - | - | - | - | - | Did not visit today
2017-11-09 | 12:55 | rf | rf | clr | n | Fan is seized.
2017-11-10 | 13:50 | rf | rf | clr | n | Fan is seized.
2017-11-11 | 12:25 | clr | clr | clr | n | Fan is seized.
2017-11-12 | - | - | - | - | - | Did not visit due to high winds and low vis
2017-11-13 | - | - | - | - | - | Did not visit today
2017-11-14 | 12:40 | clr | clr | clr | n | Fan is seized.
2017-11-15 | 12:35 | rf | rf | clr | n | Removed frost from downward-looking snow surface instrument. Fan is seized.
2017-11-16 | 13:05 | clr | clr | clr | n | Fan is seized.
2017-11-17 | - | - | - | - | - | Did not visit today
2017-11-18 | - | - | - | - | - | Did not visit today
2017-11-19 | - | - | - | - | - | Did not visit today
2017-11-20 | - | - | - | - | - | Did not visit today
2017-11-21 | - | - | - | - | - | Did not visit today
2017-11-22 | - | - | - | - | - | Did not visit today
2017-11-23 | - | - | - | - | - | Did not visit today
2017-11-24 | - | - | - | - | - | Did not visit today
2017-11-25 | - | - | - | - | - | Did not visit today
2017-11-26 | 12:55 | rf | rf | clr | n | Fan is seized.
2017-11-27 | 12:27 | clr | clr | clr | n | Fan is seized.
2017-11-28 | 12:40 | clr | clr | clr | n | Fan is seized.
2017-11-29 | 12:30 | rf | rf | clr | n | Fan is seized.
2017-11-30 | - | - | - | - | - | Did not visit today
Daily Check Swiss Tower December 2017
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2017-12-01 | - | - | - | - | - | Did not visit today
2017-12-02 | 12:20 | rf | rf | clr | n | Fan is seized.
2017-12-03 | - | - | - | - | - | Did not visit today
2017-12-04 | 12:55 | rf | rf | clr | n | Fan is seized
2017-12-05 | 12:53 | rf | rf | clr | n | Fan is seized
2017-12-06 | 13:15 | clr | clr | clr | n | Fan is seized
2017-12-07 | 12:25 | clr | clr | clr | n | Fan is seized
2017-12-08 | 12:43 | clr | clr | clr | n | Fan is seized
2017-12-09 | 13:20 | rf | rf | clr | n | Fan is seized
2017-12-10 | - | - | - | - | n | Did not visit today.
2017-12-11 | 12:55 | clr | rf | clr | n | Fan is seized.
2017-12-12 | 13:25 | clr | clr | clr | n | Fan is seized.
2017-12-13 | - | - | - | - | - | Did not visit today.
2017-12-14 | 13:00 | rf | rf | clr | n | Fan is seized.
2017-12-15 | 12:55 | clr | clr | clr | n | Fan is seized.
2017-12-16 | 13:11 | clr | clr | clr | n | Fan is seized.
2017-12-17 | - | - | - | - | n | Did not visit today.
2017-12-18 | 12:58 | clr | clr | clr | n | Fan is seized
2017-12-19 | 12:55 | rf | rf | clr | n | Fan is seized
2017-12-20 | - | - | - | - | n | Did not visit today.
2017-12-21 | 13:00 | rf | rf | clr | n | Fan is seized
2017-12-22 | 13:08 | rf | rf | clr | n | Fan is seized
2017-12-23 | - | - | - | - | n | Did not visit today.
2017-12-24 | - | - | - | - | n | Did not visit today.
2017-12-25 | 12:55 | rf | rf | clr | n | Fan is seized
2017-12-26 | 12:53 | rf | rf | clr | n | Fan is seized
2017-12-27 | 12:37 | clr | clr | clr | n | Fan is seized
2017-12-28 | 13:10 | clr | clr | clr | n | Fan is seized
2017-12-29 | 12:38 | clr | clr | clr | n | Fan is seized.
2017-12-30 | - | - | - | - | n | Did not visit today.
2017-12-31 | - | - | - | - | n | Did not visit today.

## Solar Instruments Daily Check
2017 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-01-01 | [7 empty] | Damage to the 50-Meter Tower leaves doubt as to the status of the power infrastructure shared with the radiation stands. Out of precaution, the shared power connection has been disconnected.
2017-01-02 | [7 empty] | Power remains disconnected.
2017-01-03 | [7 empty] | Power remains disconnected.
2017-01-04 | [7 empty] | Power remains disconnected.
2017-01-05 | [7 empty] | Power remains disconnected.
2017-01-06 | [7 empty] | Power remains disconnected.
2017-01-07 | [7 empty] | Power remains disconnected.
2017-01-08 | [7 empty] | Power remains disconnected.
2017-01-09 | [7 empty] | Power remains disconnected.
2017-01-10 | [7 empty] | Power remains disconnected.
2017-01-11 | [7 empty] | Power remains disconnected.
2017-01-12 | [7 empty] | Power remains disconnected.
2017-01-13 | [7 empty] | Power remains disconnected.
2017-01-14 | 13:05 | rr all | rr all | - | - | - | rr | Power restored to fixed radiation stand at 13:05z.
2017-01-15 | [7 empty] | Not visited due to high winds and low visibility.
2017-01-16 | 12:12 | clr | clr | - | - | - | rr
2017-01-17 | 12:19 | clr | rr all | - | - | - | rr
2017-01-18 | 12:14 | clr | clr | - | - | - | rr
2017-01-19 | 12:19 | - | - | - | - | - | - | Not visited due to high winds and low visibility.
2017-01-20 | 11:59 | clr | clr | - | - | - | rr
2017-01-21 | 12:14 | clr | clr | - | - | - | rr
2017-01-22 | 11:30 | clr | clr | - | - | - | rr
2017-01-23 | 12:09 | rr I1 | rr all | - | - | - | rr
2017-01-24 | 12:10 | clr | rr all | - | - | - | rr
2017-01-25 | 12:06 | clr | rr all | - | - | - | rr
2017-01-26 | 12:08 | rr I1 | rr all | - | - | - | rr
2017-01-27 | 12:16 | rr I1 | rr all | - | - | - | rr
2017-01-28 | 11:40 | rr I1 | rr all | - | - | - | rr
2017-01-29 | 11:35 | rr all | rr all | - | - | - | rr
2017-01-30 | 14:12 | rr all | rr all | rr I1 | rr | rr all | rr | Restored power to solar tracker. Downgraded to firmware 1.17. Re-zeroed tracker and set to SUN mode.
2017-01-31 | 12:21 | rr all | rr all | rr I1 | rr | rr all | rr
Daily Check Solar Instruments February 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-02-01 | 12:13 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-02 | 12:11 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-03 | 12:49 | rr I1, I3 | rr all | rr I1 | rr | rr all | rr
2017-02-04 | 12:14 | clr | rr all | rr I1 | rr | rr all | rr
2017-02-05 | 11:35 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-06 | 12:14 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-07 | 12:40 | clr | clr | rr I1 | rr | rr all | rr
2017-02-08 | 12:01 | [6 empty] | Not visited due to high winds and low visibility.
2017-02-09 | 12:27 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-10 | 12:08 | rr I1 | clr | rr I1 | rr | rr all | rr
2017-02-11 | 22:45 | - | - | - | - | - | - | Not visited due to high winds and low visibility.
2017-02-12 | 11:59 | clr | rr all | rr I1 | rr | rr all | rr
2017-02-13 | 12:03 | clr | rr all | rr I1 | rr | rr all | rr
2017-02-14 | 12:36 | clr | rr all | rr I1 | rr | rr all | rr
2017-02-15 | 12:59 | clr | rr f1 | rr I1 | rr | rr all | rr
2017-02-16 | 11:56 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-17 | 12:36 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-18 | 12:05 | rr I1 | rr all | rr I1 | rr | rr all | rr
2017-02-19 | 12:57 | rr I1 | rr all | rr I1 | rr | rr all | rr | Tracker is now longer facing the sun--had been working on previous day.
2017-02-20 | 12:27 | rf l1 & l2 | rf all | rf l1 | rf | rf all | rf | Tracker was discovered tracking south without any work directly from Summit techs.
2017-02-21 | 12:35 | rf l1 & l2 | rf all | rf l1 | rf | rf all | rf | Tracker has resumed its sunward pointing!
2017-02-22 | 12:15 | rf l1 | rf all | rf l1 | rf | rf all | rf
2017-02-23 | 12:20 | rf l1 | clr | rf l1 | clr | rf all | rf
2017-02-24 | 12:40 | - | - | - | - | - | - | Did not visit due to high winds and low visibitily
2017-02-25 | 12:40 | - | - | - | - | - | - | Did not visit due to high winds and low visibitily
2017-02-26 | 12:40 | - | - | - | - | - | - | Did not visit due to high winds and low visibitily
2017-02-27 | - | - | - | - | - | - | - | Did not visit due to high winds and low visibitily
2017-02-28 | 12:12 | clr | rf all | rf I1 | rf | frst | clr
Daily Check Solar Instruments March 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-03-01 | 12:15 | all clr | clr | rf I1 | clr | clr | clr
2017-03-02 | 12:36 | all clr | all clr | rf I1 | rf | clr | clr
2017-03-03 | 12:30 | all clr | all clr | rf I1 | rf | rf | clr
2017-03-04 | 12:48 | rf l1 | rf | rf I1 | clr | rf | rf
2017-03-05 | 13:37 | rf l1 | rf | rf I1 | rf | rf | rf
2017-03-06 | 13:25 | all clr | rf | rf I1 | rf | rf | rf
2017-03-07 | 13:45 | rf I1 | rf | rf I1 | rf | rf | rf | Solar tracking found in fixed position.
2017-03-08 | 12:52 | rf I1 | rf | rf I1 | rf | rf | rf | Removed large chunks of snow in fixed arm tube filters. Solar tracking found in fixed position.
2017-03-09 | 13:00 | rf I1 | rf | rf I1 | rf | rf | rf | Solar tracking found in fixed position.
2017-03-10 | 12:40 | clr | clr | rf I1 | clr | clr | clr | Solar tracking found in fixed position. 1600-1900z- AR and HJ attempted to reset the tracker. Successful in communicating, but computer eventually died and left the tracker in fixed position.
2017-03-11 | 13:00 | rf | rf | rf I1 | rf | rf | rf | Solar tracking found in fixed position.
2017-03-12 | 13:00 | rf l1 | rf | rf I1 | rf | rf | rf | Diagnosis came through that the tracker's PA belt is over-stretched and not functional.
2017-03-13 | 12:40 | clr | rf | rf I1 | rf | rf | rf
2017-03-14 | 12:20 | clr | rf | rf I1 | rf | rf | rf
2017-03-15 | 13:10 | rf I1 | rf | rf I1 | rf | rf | rf
2017-03-16 | 12:40 | rf I1 | rf | rf I1 | clr | rf | rf
2017-03-17 | 12:50 | rf I1 | rf | rf I1 | rf | rf | rf
2017-03-18 | 12:35 | clr | rf | rf I1 | clr | clr | rf
2017-03-19 | 11:55 | clr | rf | rf I1 | clr | rf | clr
2017-03-20 | 12:25 | clr | rf | rf I1 | clr | rf | clr
2017-03-21 | 12:40 | rf I1 | rf | rf I1 | rf | rf | clr
2017-03-22 | 12:32 | clr | rf | rf I1 | rf | clr | clr
2017-03-23 | 12:40 | clr | rf | rf I1 | clr | clr | clr
2017-03-24 | 12:45 | clr | clr | rf I1 | rf | clr | clr
2017-03-25 | 12:45 | clr | rf | rf I1 | rf | rf | rf
2017-03-26 | 14:20 | clr | clr | rf I1 | clr | clr | clr
2017-03-27 | 11:30 | rf I1 | rf | rf I1 | rf | clr | clr
2017-03-28 | 11:45 | rf I1, I2 | rf | rf I1 | rf | rf | rf
2017-03-29 | 13:10 | clr | rf | rf I1 | rf | clr | clr
2017-03-30 | 11:45 | clr | rf | rf I1 | rf | rf | clr
2017-03-31 | - | - | - | - | - | - | - | Did not visit today
Daily Check Solar Instruments April 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-04-01 | 11:45 | rf I1, I2 | rf | rf I1 | rf | clr | clr
2017-04-02 | 12:47 | rf I1 | clr | rf I1 | rf | clr | clr
2017-04-03 | 11:35 | clr | clr | rf I1 | clr | clr | clr
2017-04-04 | 11:47 | clr | rf- see comment | rf I1 | clr | clr | clr | Removed filter on I1 to measure and create a new filter to replace one that lost it's zip tie "handle" to pull out and clean
2017-04-05 | 12:50 | clr | rf | rf I1 | clr | clr | clr
2017-04-06 | 11:30 | clr | rf | rf I1 | clr | clr | clr
2017-04-07 | 11:42 | clr | rf | rf I1 | clr | rf | clr
2017-04-08 | 11:42 | clr | clr | rf I1 | clr | clr | clr
2017-04-09 | [7 empty] | Did not visit today
2017-04-10 | 11:38 | clr | clr | rf I1 | clr | clr | clr
2017-04-11 | 12:00 | rf I1, I2 | rf | rf I1 | rf | rf | rf
2017-04-12 | 11:45 | rf I1 | rf | rf I1 | rf | rf | rf
2017-04-13 | 11:46 | clr | rf | rf I1 | rf | rf | clr
2017-04-14 | 11:39 | rf I1 | rf | rf I1 | clr | clr | clr
2017-04-15 | 11:39 | clr | rf | rf I1 | clr | rf | clr
2017-04-16
2017-04-17 | 11:29 | rf I1 | rf | rf I1 | rf | rf | clr
2017-04-18 | 11:54 | clr | rf | rf I1 | rf | clr | clr | Lots of snow built up in Fixed Arm tube filters
2017-04-19 | 11:35 | clr | rf | rf I1 | clr | rf | clr
2017-04-20 | 11:30 | clr | lf | rf I1 | rf | rf | clr | 14:00Z- Rotating device powered down for belt replacement. Unit off until ~19:00Z (did not record time). Moved axes to 0, 0 and waiting on new firmware from OWL.
2017-04-21 | 11:30 | clr | clr | rf I1 | clr | rf | clr | Remains in fixed position.
2017-04-22 | 11:33 | clr | rf | rf I1 | clr | clr | clr
2017-04-23 | 12:37 | clr | rf | rf I1 | clr | clr | clr
2017-04-24 | 11:50 | clr | clr | rf I1 | clr | clr | clr
2017-04-25 | 11:30 | clr | rf | rf I1 | clr | clr | clr | packed snow removed from fixed arm mesh filters facing south
2017-04-26 | 11:36 | clr | rf | rr l1 | rr | clr | clr | removed rime (rather than frost) from rotating elements
2017-04-27 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-04-28 | 12:02 | clr | clr | rf I1 | clr | clr | clr
2017-04-29 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-04-30 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
Daily Check Solar Instruments May 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-05-01 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-02 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-03 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-04 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-05 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-06 | 11:35 | clr | clr | rf I1 | clr | clr | clr
2017-05-07 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-08 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-09 | - | -- | - | - | - | - | - | Did not visit today due to high winds and low vis
2017-05-10 | 11:32 | clr | rf | rf l1 | clr | rf | clr | Fixed arm filters (north side) heavily packed with snow.
2017-05-11 | 13:30 (approx.) | clr | clr | rf l1 | clr | clr | clr
2017-05-12 | 11:40 | clr | clr | rf l1 | clr | clr | clr
2017-05-13 | - | - | - | - | - | - | - | Did not visit today
2017-05-14 | - | - | - | - | - | - | - | Did not visit today
2017-05-15 | - | - | - | - | - | - | - | Did not visit today
2017-05-16 | 12:56 | clr | clr | rf l1 | clr | clr | clr
2017-05-17 | 11:44 | clr | rf | rf l1 | clr | rf | clr
2017-05-18 | 11:41 | clr | clr | rf l1 | clr | clr | clr
2017-05-19 | - | - | - | - | - | - | - | Did not visit today
2017-05-20 | - | - | - | - | - | - | - | Did not visit today
2017-05-21 | - | - | - | - | - | - | - | Did not visit today
2017-05-22 | 14:24 | clr | clr | rf l1 | clr | clr | clr | 11:16-11:18Z scheduled station power outage
2017-05-23 | 19:02 | clr | clr | rf l1 | clr | clr | clr | Also cleaned frost from l1 at 13:31Z when troubleshooting tracker
2017-05-24 | 12:08 | clr | clr | rf rr l1 | clr | rf | clr | Solar domes removed by Steffen after daily checks.
2017-05-25 | 11:52 | - | rf | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-05-26 | 11:50 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-05-27 | 12:25 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-05-28 | 14:48 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-05-29 | 11:48 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-05-30 | 11:39 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-05-31 | 12:46 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
Daily Check Solar Instruments June 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-06-01 | 11:39 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-02 | 11:32 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-03 | 11:43 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-04 | 15:04 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-05 | 12:26 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-06 | 11:46 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-07 | 11:38 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-08 | 11:04 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-09 | 11:40 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-10 | 11:34 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-11 | 17:05 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-12 | 11:40 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-13 | 11:37 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-14 | 11:34 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-15 | 12:40 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-16 | 11:57 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-17 | 11:30 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-18 | 11:37 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-19 | 11:40 | - | rf | - | rf | rf | rf | Solar domes offsite for calibrations as of 05-24.
2017-06-20 | 11:34 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-21 | 11:37 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-22 | 11:49 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-23 | 11:33 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-24 | 11:38 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-25 | 12:18 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-26 | 11:41 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-27 | 11:44 | - | rf | - | rf | rf | rf | Solar domes offsite for calibrations as of 05-24.
2017-06-28 | 11:30 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-29 | 11:38 | - | rs | - | clr | rs | clr | Solar domes offsite for calibrations as of 05-24.
2017-06-30 | 11:38 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
Daily Check Solar Instruments July 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-07-01 | 11:32 | - | clr | - | clr | rs | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-02 | 12:30 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-03 | 11:39 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-04 | 11:31 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-05 | 11:45 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-06 | 11:34 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-07 | 11:41 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-08 | 13:28 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-09 | 17:23 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-10 | 12:09 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-11 | 11:33 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-12 | 11:36 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-13 | 11:39 | - | rf | - | rf | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-14 | 11:31 | - | rf | - | rf | rf | rf | Solar domes offsite for calibrations as of 05-24.
2017-07-15 | 11:38 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-16 | 11:36 | - | rf | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-17 | 11:31 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-18 | 11:29 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-19 | 12:10 | - | rs | - | rs | rs | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-20 | 11:30 | - | rf rs | - | rs | rf rs | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-21 | 11:40 | - | rs | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-22 | 11:30 | - | rf | - | rf | rf | rf | Solar domes offsite for calibrations as of 05-24.
2017-07-23 | 19:06 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-24 | 11:36 | - | rf | - | rf | rf | rf | Solar domes offsite for calibrations as of 05-24.
2017-07-25 | 11:30 | - | clr | - | clr | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-26 | 11:45 | - | rf | - | rf | rf | rf | Solar domes offsite for calibrations as of 05-24.
2017-07-27 | 11:46 | - | clr | - | clr | clr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-28 | 11:38 | - | rf | - | - | rf | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-29 | 11:44 | - | rr | - | - | rr | clr | Solar domes offsite for calibrations as of 05-24.
2017-07-30 | 9:06 | - | rr | - | - | rr | rr | Solar domes offsite for calibrations as of 05-24.
2017-07-31 | 11:40 | - | rr | - | - | rr | clr | Solar domes offsite for calibrations as of 05-24.
Daily Check Solar Instruments August 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-08-01 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-02 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-03 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-04 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-05 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-06 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-07 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-08 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-09 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-10 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-11 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-12 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-13 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-14 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-15 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-16 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-17 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-18 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-19 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-20 | [7 empty] | Solar domes offsite for calibrations as of 05-24.
2017-08-21 | [7 empty] | Solar domes reinstalled by Dorsi and Okraszewski.
2017-08-22 |  | clr
2017-08-23 |  | clr
2017-08-24 |  | clr
2017-08-25 |  | clr
2017-08-26 |  | clr
2017-08-27 | 11:39 | rr I1 | rr | - | - | - | clr
2017-08-28 | 12:03 | rr I1 | rr | - | - | - | clr
2017-08-29 | 11:55 | clr | rr | - | - | - | clr
2017-08-30 | 11:58 | rr I1 | rr | - | - | - | clr | I1 (downwelling PSP) covered for 10 minutes for NOAA test 11:58 to 12:08z. Broken data connector at tracker base wrapped with self-vulcanizing tape.
2017-08-31 | 12:03 | clr | clr | - | - | - | clr | Connector protection removed and replaced, as could not communicate over radio link.
Daily Check Solar Instruments September 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-09-01 | 12:15 | clr | clr | - | - | - | clr
2017-09-02 | 11:39 | clr | clr | - | - | - | clr
2017-09-03 | 10:42 | rr I1 | rr | - | - | - | clr
2017-09-04 | 11:44 | rr I1 | rr | - | - | - | clr
2017-09-05 | 16:41 | clr | rr | - | - | - | clr
2017-09-06 | 15:47 | clr | rr | - | - | - | clr
2017-09-07 | 14:32 | rr I1 | rr | - | - | - | clr | Downwelling PIR installed on currently motionless tracker.
2017-09-08 | 12:05 | clr | clr | clr | - | rr | clr
2017-09-09 | 10:49 | clr | clr | clr | - | rr | clr
2017-09-10 | 10:54 | clr | clr | clr | - | rr | clr
2017-09-11 | 11:32 | clr | rr | clr | - | rr | clr
2017-09-12 | 10:20 | clr | clr | clr | - | rr | clr
2017-09-13 | 11:40 | rr all | rr | rr | - | rr | rr
2017-09-14 | 11:38 | clr | clr | clr | - | clr | clr
2017-09-15 | 11:57 | clr | clr | clr | - | clr | clr
2017-09-16 | 12:22 | clr | clr | clr | - | clr | clr
2017-09-17 | 13:45 | clr | clr | clr | - | clr | clr
2017-09-18 | 16:01 | clr | clr | clr | - | clr | clr
2017-09-19 | 12:32 | clr | rr | clr | - | rr | clr
2017-09-20 | 13:26 | clr | clr | clr | - | clr | clr
2017-09-21 | 18:10 | clr | clr | clr | - | clr | clr
2017-09-22 | 14:01 | clr | clr | clr | - | clr | clr
2017-09-23 | 10:19 | rr | rr | rr | - | rr | rr
2017-09-24 | 10:33 | clr | clr | clr | - | clr | clr
2017-09-25 | 9:57 | rr I1 | rr | clr | - | rr | clr
2017-09-26 | 13:02 | rr all | rr | rr | - | rr | clr
2017-09-27 | 15:35 | clr | clr | clr | - | clr | clr
2017-09-28 | 16:55 | clr | clr | clr | - | clr | clr
2017-09-29 | 13:44 | clr | rr | clr | - | clr | clr
2017-09-30 | 12:15 | clr | rr | clr | - | clr | clr
Daily Check Solar Instruments October 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-10-01 | 11:41 | clr | rr | clr | - | clr | clr
2017-10-02 | 13:20 | clr | clr | clr | - | clr | clr
2017-10-03 | 11:56 | rr | rr | rr | - | rr | rr
2017-10-04 | 11:27 | rr | rr | rr | - | rr | rr
2017-10-05 | 12:41 | clr | rr | clr | - | rr | clr
2017-10-06 | 13:38 | rr | rr | rr | - | rr | rr
2017-10-07 | 11:43 | clr | clr | clr | - | clr | rr
2017-10-08 | 10:17 | clr | rr | clr | - | rr | rr
2017-10-09 | 12:15 | clr | rr | clr | - | rr | rr
2017-10-10 | 11:35 | rr I1 | rr | rr | - | rr | rr
2017-10-11 | 14:50 | clr | rr | clr | - | rr | rr
2017-10-12 | 09:54 | rr all | rr | rr | - | rr | rr
2017-10-13 | 9:27 | rr all | rr | rr | - | rr | rr
2017-10-14 | 11:45 | rr all | rr | rr | - | rr | rr
2017-10-15 | 11:41 | clr | clr | clr | - | clr | rr
2017-10-16 | [7 empty] | Did not visit due to acclimation period
2017-10-17 | [7 empty] | Did not visit due to acclimation period
2017-10-18 | 12:10 | rf l1 | rf | clr | - | rf | rf
2017-10-19 | 11:55 | rf l1 | clr | clr | - | rf | rf
2017-10-20 | - | - | - | - | - | - | - | Did not visit due to high winds and low vis
2017-10-21 | 11:53 | clr | rf | clr | - | clr | rf
2017-10-22 | 12:35 | clr | rf | clr | - | clr | rs
2017-10-23 | 12:25 | rf l1 | rf | clr | - | rf | rf
2017-10-24 | 12:00 | clr | clr | clr | - | clr | clr
2017-10-25 | 11:50 | clr | clr | clr | - | clr | clr
2017-10-26 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-27 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-28 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-29 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-30 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-10-31 | 12:40 | rf l1 | rf all | clr | - | rf | clr | Tracker found in 90 degree rotation- previously facing south, now facing west.
Daily Check Solar Instruments November 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-11-01 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-11-02 | 12:45 | rf l1 | rf | clr | - | rf | clr
2017-11-03 | 12:25 | rf l1 | rf | rf | - | rf | rf
2017-11-04 | 12:55 | rf l1 | rf | rs | - | rf | rf
2017-11-05 | 13:40 | clr | rf | clr | - | rf | clr
2017-11-06 | - | - | - | - | - | - | - | Did not visit today
2017-11-07 | 12:35 | rf l1 | rs | rs | - | rf | clr | Tracker found back facing south
2017-11-08 | - | - | - | - | - | - | - | Did not visit today
2017-11-09 | 12:50 | rs | rs, rf | rs | - | rf | clr
2017-11-10 | 13:45 | clr | rf | clr | - | rf | clr
2017-11-11 | 12:20 | rf l1 | rf | clr | - | clr | clr
2017-11-12 | - | - | - | - | - | - | - | Did not visit today due to high winds & low visibilty
2017-11-13 | - | - | - | - | - | - | - | Did not visit today
2017-11-14 | 12:35 | rf l1 | rf | rs | - | rf | rf
2017-11-15 | 12:30 | rf l1 | rf | clr | - | rf | rf
2017-11-16 | 13:00 | rf I1, I3 | rf | rs | - | rf | rf
2017-11-17 |  |  |  |  | -
2017-11-18 | 13:05 | rf l1 | rf | clr | - | rf | rf
2017-11-19 | 12:53 | rf I1, I3 | rf | rf | - | rf | rf
2017-11-20 | - | - | - | - | - | - | - | Did not visit today
2017-11-21 | - | - | - | - | - | - | - | Did not visit today
2017-11-22 | - | - | - | - | - | - | - | Did not visit today
2017-11-23 | - | - | - | - | - | - | - | Did not visit today
2017-11-24 | - | - | - | - | - | - | - | Did not visit today
2017-11-25 | - | - | - | - | - | - | - | Did not visit today
2017-11-26 | 12:45 | rf l1 | rf | rf | - | rf | rf
2017-11-27 | 12:20 | rs l1 | rf | rs | - | rf | rf
2017-11-28 | 12:30 | rs, rr l1 | rf | rs, rr | - | rf | rf | Heavy rime on domes.
2017-11-29 | 12:20 | rf l1 | rf | rr | - | rf | rf
2017-11-30 | - | - | - | - | - | - | - | Did not visit today
Daily Check Solar Instruments December 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2017-12-01 | - | - | - | - | - | - | - | Did not visit today
2017-12-02 | 12:15 | rs l1 | rf | rs | - | rf | rf, rs
2017-12-03 | - | - | - | - | - | - | - | Did not visit today
2017-12-04 | 12:45 | rf l1 | rf | rs | - | rf | rf
2017-12-05 | 12:45 | rf l1 | rf | rf | - | rf | rf
2017-12-06 | 13:05 | clr | clr | rs | - | clr | clr
2017-12-07 | 12:15 | clr | rf | clr | - | clr | clr
2017-12-08 | 12:36 | clr | rf | clr | - | clr | clr
2017-12-09 | 13:16 | rf l1 | rf | clr | - | rf | clr
2017-12-10 | - | - | - | - | - | - | - | Did not visit today.
2017-12-11 | 12:45 | rf, rr l1 | rf | clr | - | rf | clr | Fixed arm dome 1 had heavy patch of ice on south side.
2017-12-12 | 13:15 | clr | clr | clr | - | clr | clr
2017-12-13 | - | - | - | - | - | - | - | Did not visit today
2017-12-14 | 12:55 | rf l1 | rf | rf | - | rf | rf
2017-12-15 | 12:45 | clr | rf | rf | - | rf | rf
2017-12-16 | 13:05 | clr | rf | rs | - | rf | rf
2017-12-17 | - | - | - | - | - | - | - | Did not visit today.
2017-12-18 | 12:50 | clr | rf | clr | - | rf | rf
2017-12-19 | 12:48 | clr | rf | rs | - | rf | rf
2017-12-20 | - | - | - | - | - | - | - | Did not visit today.
2017-12-21 | 12:55 | rf l1 | rf | rs | - | rf | rf
2017-12-22 | 13:00 | rf l1 | rf | rs | - | rf | rf
2017-12-23 | - | - | - | - | - | - | - | Did not visit today.
2017-12-24 | - | - | - | - | - | - | - | Did not visit today.
2017-12-25 | 12:45 | clr | rf | rs | - | rf | rf
2017-12-26 | 12:44 | rf | rf | clr | - | rf | rf
2017-12-27 | 12:30 | clr | rf | clr | - | rf | rf
2017-12-28 | 13:02 | rf | clr | clr | - | rf | clr
2017-12-29 | 12:30 | rf | rf | rs | - | rf | rf | Time approximate, did not look at watch.
2017-12-30 | - | - | - | - | - | - | - | Did not visit today.
2017-12-31 | - | - | - | - | - | - | - | Did not visit today.
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on E2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
2017-09-01
2017-09-02
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
2017-10-01
2017-10-02
2017-10-03
2017-10-04
2017-10-05
2017-10-06
2017-10-07
2017-10-08
2017-10-09
2017-10-10
2017-10-11
2017-10-12
2017-10-13
2017-10-14
2017-10-15
2017-10-16
2017-10-17
2017-10-18
2017-10-19
2017-10-20
2017-10-21
2017-10-22
2017-10-23
2017-10-24
2017-10-25
2017-10-26
2017-10-27
2017-10-28
2017-10-29
2017-10-30
2017-10-31
2017-11-01
2017-11-02
2017-11-03
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
2017-12-01
2017-12-02
2017-12-03
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17
2017-12-18
2017-12-19
2017-12-20
2017-12-21
2017-12-22
2017-12-23
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31
2017-01-01
2017-01-02
2017-01-03
2017-01-04

## Weekly Download SwissTower
2017 Weekly Data Download Swiss Tower
week | date YYYYMMDD | filenumber TU….dat | datalogger time shift before correction (s) | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | - | - | - | - | - | - | - | - | - | - | Start with TU399.dat; last pointer (before tower failure) was 2042281
2 | - | - | - | - | - | - | - | - | - | -
3 | - | - | - | - | - | - | - | - | - | -
4 | - | - | - | - | - | - | - | - | - | -
5 | - | - | - | - | - | - | - | - | - | -
6 | - | - | - | - | - | - | - | - | - | -
7 | - | - | - | - | - | - | - | - | - | -
8 | - | - | - | - | - | - | - | - | - | -
9 | - | - | - | - | - | - | - | - | - | -
10 | - | - | - | - | - | - | - | - | - | -
11 | - | - | - | - | - | - | - | - | - | -
12 | - | - | - | - | - | - | - | - | - | -
13 | - | - | - | - | - | - | - | - | - | -
14 | - | - | - | - | - | - | - | - | - | -
15 | - | - | - | - | - | - | - | - | - | -
16 | - | - | - | - | - | - | - | - | - | -
17 | - | - | - | - | - | - | - | - | - | -
18 | - | - | - | - | - | - | - | - | - | -
19 | - | - | - | - | - | - | - | - | - | -
20 | - | - | - | - | - | - | - | - | - | -
21 | - | - | - | - | - | - | - | - | - | -
22 | - | - | - | - | - | - | - | - | - | -
23 | - | - | - | - | - | - | - | - | - | -
24 | - | - | - | - | - | - | - | - | - | -
25 | 20170619 | 399 | -25 | y | 113856 | 168 | 2350 | 170 | 1300 | y | Confirmed that last pointer was 2042281 before performing download.
26 | 20170626 | 400 | -1 | n | 145805 | 170 | 1310 | 177 | 1310 | y
27 | 20170703 | 401 | -6 | y | 177754 | 177 | 1320 | 184 | 1320 | y
28 | 20170710 | 402 | -11 | y | 210083 | 184 | 1330 | 191 | 1530 | y
29 | 20170717 | 403 | 6 | y | 241491 | 191 | 1540 | 198 | 1250 | y
30 | 20170724 | 404 | -2 | y | 273543 | 198 | 1300 | 205 | 1330 | y
31 | 20170731 | 405 | -6 | y | 305463 | 205 | 1340 | 212 | 1330 | y
32 | 20170807 | 406 | -3 | y | 337193 | 212 | 1340 | 219 | 1230 | y
32 | 20170815 | 407 | -1 | n | 373512 | 219 | 1240 | 227 | 1140 | y
33 | 20170821 | 408 | 37 | y | 400901 | 227 | 1150 | 233 | 1150 | y
34 | 20170828 | 409 | -38 | y | 433011 | 233 | 1200 | 240 | 1250 | y
35 | 20170904 | 410 | -14 | y | 464786 | 240 | 1300 | 247 | 1200 | y
36 | 20170911 | 411 | 22 | y | 496764 | 247 | 1210 | 254 | 1220 | y
37 | 20170918 | 412 | 10 | y | 530803 | 254 | 1230 | 261 | 2330 | y
39 | 20170925 | 413 | -20 | y | 560575 | 261 | 2340 | 268 | 1210 | y
39 | 20171002 | 414 | -4 | y | 592743 | 268 | 1220 | 275 | 1330 | y
40 | 20171009 | 415 | -14 | y | 624283 | 275 | 1340 | 282 | 1130 | y
41
42 | 20171016 | 416 | 8 | y | 656715 | 282 | 1140 | 289 | 1410 | y
43 | 20171023 | 417 | -25 | y | 688561 | 289 | 1420 | 296 | 1350 | Y
44 | 20171030 | 418 | -8 | Y | 720423 | 296 | 1400 | 303 | 1330 | y
45 | 20171106 | 419 | 19 | y | 752562 | 303 | 1340 | 310 | 1440 | y
46 | 20171113 | 420 | -42 | y | 785432 | 310 | 1450 | 317 | 1940 | y
47 | 20171120 | 421 | -11 | y | 816154 | 317 | 1950 | 324 | 1320 | y
48 | 20171127 | 422 | 6 | y | 848103 | 324 | 1330 | 331 | 1330 | y
49 | 20171204 | 423 | -1 | y | 880081 | 331 | 1340 | 338 | 1350 | y
50 | 20171211 | 424 | 3 | y | 912075 | 338 | 1400 | 345 | 1410 | y
51 | 20171218 | 425 | 1 | y | 944156 | 345 | 1420 | 352 | 1500 | y
52 | 20171225 | 426 | -24 | y | 975886 | 352 | 1510 | 359 | 1400 | y
2018 week 1 | 20180101 | 427 | -10 | y | 1007864 | 359 | 1410 | 1 | 1420 | y | Last week of 2017 + first week of 2018. Data saved in 2018 folder.

## Weekly Download SolarTracker
2017 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber DIF….dat | datalogger time shift before correction (s) | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
3 | 170116 | 680 | -176 | y | 1483257 | 361 | 1233 | 16 | 1357 | y | last pointer before tower damage was 1228753
4 | 170123 | 681 | +44 | y | 1929293 | 16 | 1358 | 23 | 1229 | y
5 | 170130 | 682 | -9 | y | 2113805 | 23 | 1230 | 26 | 922 | y | File was truncted due to connection failure during transfer.
5 | 170130 | 682_2 | 0 | n | 239364 | 26 | 921 | 30 | 1458 | y | This file is the continuation of the truncated file from above.
6 | 170206 | 683 | 33 | y | 684080 | 30 | 1459 | 37 | 1300 | y
7 | 170213 | 684 | -44 | y | 1132008 | 37 | 1301 | 44 | 1217 | y
8 | 170220 | 685 | +41 | y | 1586052 | 44 | 1218 | 51 | 1351 | y
9 | 170227 | 686 | -12min, 32 sec. | y | 2032440 | 51 | 1352 | 58 | 1242 | y
10 | 170306 | 687 | -28 | Y | 337715 | 58 | 1243 | 65 | 1308 | y
11 | 170313 | 688 | +23 | Y | 787755 | 65 | 1309 | 72 | 1313 | y
12 | 170319 | 689 | +9 | y | 1236915 | 72 | 1314 | 79 | 1256 | y
13 | 170327 | 690 | +21 | y | 1684095 | 79 | 1257 | 86 | 1156 | y
14 | 170403 | 691 | +35 | y | 2133563 | 86 | 1157 | 93 | 1146 | y
15 | 170410 | 692_1 | +45 | y | 359000 | 93 | 1147 | 99 | 641 | y | Connection lost partway through download. Part 1 of 2 week 15.
15 | 170410 | 692_2 | -6 | y | 439322 | 99 | 633 | 100 | 1235 | y | Continuation of lost connection through download. Part 2 of 2 week 15.
16 | 170417 | 693 | -9 | y | 888042 | 100 | 1236 | 107 | 1210 | y
17 | 170424 | 694 | +31 | y | 1328094 | 107 | 1211 | 114 | 1207 | y
18 | 170501 | 695_1 | +12 | y |  | 114 | 1208 | 121 | 1624 | y | Connection lost partway through download. Part 1 of 2 week 18.
18 | 170501 | 695_2 | +7 | y | 1793182 | 121 | 1624 | 121 | 1754 | y | Connection lost partway through download. Part 2 of 2 week 18.
19 | 170508 | 696 | +22 | y | 92781 | 121 | 1755 | 128 | 1625 | y
20 | 170514 | 697 | +34 | y | 530193 | 128 | 1626 | 135 | 1141 | y
21 | 170522 | 698 | -34 | y | 982829 | 135 | 1142 | 142 | 1245 | y
22 | 170529 | 699 | 0 | n | 1431417 | 142 | 1246 | 149 | 1217 | y
23 | 170605 | 700 | +15 | y | 1883129 | 149 | 1218 | 156 | 1300 | y
24 | 170612 | - | - | - | - | - | - | - | - | - | Unable to connect to tracker.
25 | 170619 | - | - | - | - | - | - | - | - | - | Unable to connect to tracker.
26 | 170626 | - | - | - | - | - | - | - | - | - | Successful connection to tracker.
27 | 170703 | - | - | - | - | - | - | - | - | - | Successful connection to tracker.
28 | 170710 | - | - | - | - | - | - | - | - | - | Unable to connect to tracker.
29 | 170717 | - | - | - | - | - | - | - | - | - | Unable to connect to tracker.
30 | 170724 | - | - | - | - | - | - | - | - | - | Successful connection to tracker.
31 | 170731 | - | - | - | - | - | - | - | - | - | Successful connection to tracker.
32 | 170807 | - | - | - | - | - | - | - | - | - | Successful connection to tracker.
33 | 170815 | - | - | - | - | - | - | - | - | - | Successful connection to tracker.
34 | 170821 | 701 | +59 | y | 733002 | 200 | 2216 | 205 | 1038 | y | File transfer error due to file access.
34 | 170821 | 702 | -1 | n | 2111211 | 205 | 1039 | 226 | 2131 | y | Resumed file transfer after transfer error.
34 | 170821 | 703 | +5 | y | 417402 | 226 | 2133 | 233 | 2230 | y | Resumed file transfer since last line was trunctated: unknown error?
35 | 170828 | 704 | -48 | y | 775726 | 233 | 2231 | 239 | 1211 | y | Downloaded a day early to meet request from Jim Wendell
35 | 170831 | 705 | +1 | n | 1032942 | 239 | 1212 | 243 | 1215 | y | Downloaded mid-week to meet request from Jim Wendell
36 | 170904 | 706 | +2 | y | 1289718 | 243 | 1216 | 247 | 1209 | y | Installed downwelling PIR on motionless solar tracker.
36 | 170908 | 707 | +2 | y | 1547330 | 247 | 1210 | 251 | 1222 | y | Downloaded mid-week to confirm proper connectivity to newly installed PIR.
37 | 170911 | 708 | +1 | n | 1738878 | 251 | 1223 | 254 | 1154 | y
38 | 170918 | 709 | 18 | y | 73545 | 254 | 1155 | 261 | 2342 | y
39 | 170925 | 710 | -10 | y | 493401 | 261 | 2343 | 268 | 1221 | y
40 | 171002 | 711 | 7 | y | 946961 | 268 | 1222 | 275 | 1346 | y
41 | 171009 | 712 | 0 | n | 1391369 | 275 | 1347 | 282 | 1143 | y
42 | 171016 | 713 | +15 | Y | 1845545 | 282 | 1144 | 289 | 1322 | y
43 | 171023 | 714 | -15 | Y | 147652 | 289 | 1323 | 296 | 1250 | y
44 | 171030 | 715 | +5 | y | 596636 | 296 | 1251 | 303 | 1231 | y
45 | 171106 | 716 | +38 | y | 1049800 | 303 | 1232 | 310 | 1347 | y
46 | 171113 | 717 | -9 | y | 1512688 | 310 | 1348 | 317 | 1844 | y | Gaps in data apear
47 | 171120 | 718 | +14 | y | 1946404 | 317 | 1845 | 324 | 1236 | y
48 | 171127 | 719 | +29 | y | 250007 | 324 | 1237 | 331 | 1236 | y
49 | 171204 | 720 | +1 | y | 700971 | 331 | 1237 | 338 | 1302 | y
50 | 171205 | 721 | +25 | y | 1151363 | 338 | 1303 | 345 | 1315 | y
51 | 171218 | 722 | +1 | y | 1600963 | 345 | 1316 | 352 | 1310 | y
52 | 171225 | 723 | +1 | n | 2050475 | 352 | 1311 | 359 | 1303 | y
week 01 of 2018 | 180101 | 724 | -30 | Y | 354738 | 3559 | 1304 | 1 | 1320 | y | Last week of 2017 + first week of 2018. Data saved in 2018 folder.
Note on E4: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.
2015 Weekly Data Download PFR
2016 Weekly Data Download PFR
23 | 160609 | PFR101 |  |  | B | 3317723 | 74 | 1259 | 161 | 49 | y |  | WRONG DATA FILE!! (see below)Reinstallation of PFR by Robert Brusa complete as of June 8, 2016.
23 | 160610 | PFR102 |  |  | B |  | 159 | 2152 | 162 | 1042 | Y |  | First day of solar tracker ^ this data is from tracker.
24 | 160614 | PFR103 |  |  | B | 804998 | 162 | 1043 | 166 | 1159 | y
25 | 160620 | PFR104 |  |  | W | 1157790 | 166 | 1200 | 172 | 1045 | y
26 | 160627 | PFR105 | -1 hr, 10min | y | B | 1081279 | 172 | 1046 | 179 | 1449 | y |  | Clock corrected 1718z on 6/29/16
27 | 160704 | PFR106 | +5 | y | W | 1382588 | 179 | 1240 | 186 | 1150 | y
28 | 160711 | PFR107 | +1 | y | B | 1263626 | 186 | 1429 | 193 | 1407 | y
29 | 160718 | PFR108 | +5 | y | W | 1615207 | 193 | 1408 | 200 | 1856 | y
30 | 160725 | PFR109 | +2 | Y | B | 1481564 | 200 | 1827 | 207 | 1152 | y
31 | 160801 | PFR110 | +2 | Y | W | 184810 | 207 | 1153 | 214 | 1143 | y
32 | 160808 | PFR111 | +4 | Y | B | 1708585 | 214 | 1144 | 221 | 1153 | y
33 | 160815 | PFR113 | +3 | Y | W | 2074987 | 221 | 1154 | 228 | 1636 | y
34 | 160822 | PFR114 | +4 | Y | B | 1930228 | 228 | 1637 | 235 | 1247 | y
35 | 160829 | PFR115 | +19 | Y | W | 204133 | 235 | 1248 | 242 | 1218 | y
36 | 160905 | PFR116 |  |  | B | 1930228 | 242 | 1219 | 242 | 1612 | y
36 | 160905 | PFR117 |  |  | B |  | 242 | 1613 | 249 | 1204 | y
37 | 160912 | PFR118 | 4 | Y | W | 432394 | 249 | 1205 | 256 | 1309 | y
38 | 160919 | PFR119 | 27 | Y | B | 285523 | 256 | 1310 | 263 | 1227 | y
39 | 160926 | PFR120 | 2 | Y | W | 660149 | 263 | 1228 | 270 | 1309 | y
40 | 161003 | PFR121 |  |  | B | 325635 | 270 | 1310 | 271 | 1852 | y |  | Last week of PFR data for the season
41 | 161010 | [11 empty] | PFR was not running this week. Shutdown for season
2017 Weekly Data Download PFR