## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2018 Daily Check Swiss Tower
Daily Check Swiss Tower January 2018
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-01-01 | 12:59 | rf | rf | clr | n | Fan is seized
2018-01-02 | 13:05 | rf | rf | clr | n | Fan is seized
2018-01-03 | 13:05 | clr | clr | clr | n | Fan is seized
2018-01-04 | - | - | - | - | - | Did not visit today
2018-01-05 | 13:00 | rf | rf | clr | n | Fan is seized
2018-01-06 | 12:52 | clr | clr | clr | n | Fan is seized
2018-01-07 | - | - | - | - | - | Did not visit today
2018-01-08 | 12:52 | clr | clr | clr | n | Fan is seized
2018-01-09 | 13:31 | clr | clr | clr | n | Fan is seized
2018-01-10 | 12:52 | clr | clr | clr | n | Fan is seized
2018-01-11 | - | - | - | - | - | Did not visit today
2018-01-12 | 12:58 | clr | clr | clr | n | Fan is seized
2018-01-13 | 12:45 | clr | clr | clr | n | Fan is seized
2018-01-14 | - | - | - | - | - | Did not visit today
2018-01-15 | - | - | - | - | - | Did not visit today due to high winds and low vis
2018-01-16 | - | - | - | - | - | Did not visit today due to high winds and low vis
2018-01-17 | - | - | - | - | - | Did not visit today due to high winds and low vis
2018-01-18 | 13:05 | clr | clr | clr | n | Fan is seized
2018-01-19 | - | - | - | - | - | Did not visit today
2018-01-20 | - | - | - | - | - | Did not visit today
2018-01-21 | - | - | - | - | - | Did not visit today
2018-01-22 | 12:47 | rf | rf | clr | n | Fan is seized
2018-01-23 | 12:44 | clr | clr | clr | n | Fan is seized
2018-01-24
2018-01-25 | 13:05 | rf | rf | clr | n | Fan is seized
2018-01-26 | 12:57 | clr | clr | clr | n | Fan is seized
2018-01-27 | - | - | - | - | - | Did not visit today
2018-01-28 | - | - | - | - | - | Did not visit today
2018-01-29 |  | rf | rf | clr | n | Fan is seized
2018-01-30 | 12:55 | clr | clr | clr | n | Fan is seized
2018-01-31 | 12:40 | clr | clr | clr | n | Fan is seized
Daily Check Swiss Tower February 2018
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-02-01 | - | - | - | - | - | Did not visit today due to high winds and low vis
2018-02-02 | 12:55 | clr | clr | clr | n | Fan is seized.
2018-02-03 | 12:57 | clr | clr | clr | n | Fan is seized.
2018-02-04 | - | - | - | - | - | Did not visit today
2018-02-05 | 13:05 | clr | clr | clr | n | Fan is seized.
2018-02-06 | - | - | - | - | - | Did not visit today
2018-02-07 | - | - | - | - | - | Did not visit today
2018-02-08 | 12:45 | clr | clr | clr | n | Fan is seized.
2018-02-09 | - | - | - | - | - | Did not visit today
2018-02-10 | - | - | - | - | - | Did not visit today
2018-02-11 | - | - | - | - | - | Did not visit today
2018-02-12 | - | - | - | - | - | Did not visit today
2018-02-13 | 13:00 | clr | clr | clr | n | Fan is seized.
2018-02-14 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-15 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-16 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-17 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-18 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-19 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-20 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-21 | 18:05 | clr | clr | clr | n | Fan is seized.
2018-02-22 | 13:45 | clr | clr | clr | n | Fan is seized.
2018-02-23 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-24 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-25 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-26 | [5 empty] | Did not visit today due to high winds and low vis.
2018-02-27 | 13:35 | clr | clr | clr | n | Fan is seized.
2018-02-28 | [5 empty] | Did not visit today
Daily Check Swiss Tower March 2018
Date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-03-01 | [5 empty] | Did not visit today
2018-03-02 | 20:20 | rf | clr | clr | n | Fan is seized.
2018-03-03 | 12:50 | clr | clr | clr | n | Fan is seized.
2018-03-04 | [5 empty] | Did not visit today
2018-03-05 | 13:25 | rf | rf | clr | n | Fan is seized.
2018-03-06 | 12:55 | clr | clr | clr | n | Fan is seized.
2018-03-07 | [5 empty] | Did not visit today
2018-03-08 | 13:15 | clr | clr | clr | n | Fan is seized.
2018-03-09 | [5 empty] | Did not visit today due to high winds and low vis.
2018-03-10 | 15:05 | clr | clr | clr | n | Fan is seized.
2018-03-11 | 13:50 | clr | clr | clr | n | Fan is seized.
2018-03-12 | 13:10 | clr | clr | clr | n | Fan is seized.
2018-03-13 | 12:15 | clr | clr | clr | n | Fan is seized.
2018-03-14 | 13:20 | clr | clr | clr | n | Fan is seized.
2018-03-15 | 15:20 | clr | clr | clr | n | Fan is seized.
2018-03-16 | 13:10 | clr | clr | clr | n | Fan is seized.
2018-03-17 | [5 empty] | Did not visit today
2018-03-18 | 13:05 | clr | clr | clr | n | Fan is seized.
2018-03-19 | 17:05 | clr | clr | clr | n | Fan is seized.
2018-03-20 | [5 empty] | Did not visit today
2018-03-21 | 14:10 | clr | clr | clr | n | Fan is seized.
2018-03-22 | 14:45 | clr | clr | clr | n | Fan is seized.
2018-03-23 | 16:00 | clr | clr | clr | n | Fan is seized.
2018-03-24 | [5 empty] | Did not visit today due to high winds and low vis.
2018-03-25 | [5 empty] | Did not visit today due to high winds and low vis.
2018-03-26 | 11:40 | clr | clr | clr | n | Fan is seized.
2018-03-27 | 17:40 | clr | clr | clr | n | Fan is seized.
2018-03-28 | 16:05 | clr | clr | clr | n | Fan is seized.
2018-03-29 | 16:45 | clr | clr | clr | n | Fan is seized.
2018-03-30 | [5 empty] | Did not visit today
2018-03-31 | 13:40 | clr | clr | clr | n | Fan is seized.
Daily Check Swiss Tower April 2018
Date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-04-01 | [5 empty] | Did not visit today
2018-04-02 | 13:00 | clr | clr | clr | n | Fan is seized.
2018-04-03 | 18:05 | clr | clr | clr | n | Fan is seized.
2018-04-04 | 14:00 | clr | clr | clr | n | Fan is seized.
2018-04-05 | 12:10 | clr | clr | clr | n | Fan is seized.
2018-04-06 | [5 empty] | Did not visit today
2018-04-07 | 12:50 | clr | clr | clr | n | Fan is seized.
2018-04-08 | 12:55 | clr | clr | clr | n | Fan is seized.
2018-04-09 | 12:50 | clr | clr | clr | n | Fan is seized.
2018-04-10 | 12:40 | clr | clr | clr | n | Fan is seized.
2018-04-11 | [5 empty] | Did not visit today
2018-04-12 | 13:10 | clr | clr | clr | n | Fan is seized.
2018-04-13 | 12:10 | clr | clr | clr | n | Fan is seized.
2018-04-14 | [5 empty] | Did not visit today
2018-04-15 | [5 empty] | Did not visit today
2018-04-16 | 12:30 | clr | clr | clr | n | Fan is seized.
2018-04-17 | 13:45 | clr | clr | clr | n | Fan is seized.
2018-04-18 | 12:10 | clr | clr | clr | n | Fan is seized.
2018-04-19 | [5 empty] | Did not visit today
2018-04-20 | 12:50 | clr | clr | clr | n | Fan is seized.
2018-04-21 | 12:30 | clr | clr | clr | n | Fan is seized.
2018-04-22 | 16:50 | clr | clr | clr | n | Fan is seized.
2018-04-23 | 16:50 | clr | clr | clr | n | Fan is seized.
2018-04-24 | 12:15 | clr | clr | clr | n | Fan is seized.
2018-04-25 | [5 empty] | Did not visit today
2018-04-26 | [5 empty] | Did not visit today
2018-04-27 | 13:50 | clr | clr | clr | y | Fan is seized.
2018-04-28 | [5 empty] | Did not visit today due to high winds and low vis.
2018-04-29 | [5 empty] | Did not visit today
2018-04-30 | 11:50 | clr | clr | clr | n | Fan is seized.
Daily Check Swiss Tower May 2018
Date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-05-01 | 12:55 | clr | clr | clr | n | Fan is seized.
2018-05-02 | [5 empty] | Did not visit today
2018-05-03 | 11:45 | rsn | clr | clr | n | Fan is seized. Snow level has reached the filter. Some snow was removed.
2018-05-04 | 13:50 | clr | clr | clr | n | Fan is seized.
2018-05-05 | 15:55 | clr | clr | clr | n | Fan is seized.
2018-05-06 | [5 empty] | Did not visit today
2018-05-07 | 11:55 | clr | clr | clr | n | Fan is seized.
2018-05-08 | 12:30 | clr | clr | clr | n | Fan is seized.
2018-05-09 | 12:10 | clr | clr | clr | n | Fan is seized.
2018-05-10 | 11:15 | clr | clr | clr | n | Fan is seized.
2018-05-11 | [5 empty] | Did not visit today due to high winds and low vis.
2018-05-12 | 17:30 | rsn | clr | clr | n | Fan is seized.
2018-05-13 | [5 empty] | Did not visit today
2018-05-14 | 18:05 | clr | clr | clr | n | Fan is seized.
2018-05-15 | 11:45 | clr | clr | clr | n | Fan is seized.
2018-05-16 | 12:15 | clr | clr | clr | n | Fan is seized.
2018-05-17 | 12:25 | clr | clr | clr | n | Fan is seized.
2018-05-18 | 16:20 | rsn | clr | clr | n | Fan is seized. Snow level reached the filter. Some snow was removed.
2018-05-19 | [5 empty] | Did not visit today
2018-05-20 | [5 empty] | Did not visit today
2018-05-21 | 11:40 | rsn | clr | clr | n | Fan is seized. Snow level reached the filter. Some snow was removed.
2018-05-22 | 11:35 | clr | clr | clr | n | Fan is seized. Instruments were raised.
2018-05-23 | 12:35 | clr | clr | clr | n | Fan is seized.
2018-05-24 | [5 empty] | Did not visit today
2018-05-25 | 11:45 | clr | clr | clr | n | Fan is seized.
2018-05-26 | [5 empty] | Did not visit today due to high winds and low vis.
2018-05-27 | 11:50 | clr | clr | clr | n | Fan is seized.
2018-05-28 | 11:55 | clr | clr | clr | n | Fan is seized.
2018-05-29 | 12:20 | clr | clr | clr | n | Fan is seized.
2018-05-30 | 16:25 | clr | clr | clr | n | Fan is seized.
2018-05-31
Daily Check Swiss Tower June 2018
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-06-01 | 11:40 | clr | clr | clr | n | Fan is seized.
2018-06-02 | 13:35 | clr | clr | clr | n | Fan is seized.
2018-06-03 | 11:50 | clr | clr | clr | n | Fan is seized.
2018-06-04 | [5 empty] | Did not visit today due to high winds and low vis.
2018-06-05 | 17:35 | clr | clr | clr | n | Fan is seized.
2018-06-06 | 12:20 | clr | clr | clr | n | Fan is seized.
2018-06-07 | 13:20 | clr | clr | clr | n | Fan is seized.
2018-06-08 | 11:55 | clr | clr | clr | n | Replaced fan at 17:30Z
2018-06-09 | 14:20 | clr | clr | clr | n
2018-06-10 | 12:15 | rf | clr | clr | n
2018-06-11 | 11:50 | rf | clr | clr | n
2018-06-12 | 12:15 | rf | rf | clr | n
2018-06-13 | [5 empty] | Did not visit today due to polar bear.
2018-06-14 | [5 empty] | Did not visit today due to polar bear.
2018-06-15 | 12:05 | rf | clr | clr | n
2018-06-16 | 11:55 | clr | clr | clr | n
2018-06-17 | 11:55 | rs | clr | clr | n
2018-06-18 | 11:15 | clr | clr | clr | n
2018-06-19 | 12:00 | rf | clr | clr | n
2018-06-20 | 12:10 | rf | clr | clr | n
2018-06-21 | 11:55 | rf | clr | clr | n
2018-06-22 | 13:55 | rf | clr | clr | n
2018-06-23 | 11:14 | clr | clr | clr | n
2018-06-24 | 13:15 | rf | clr | clr | n
2018-06-25 | 12:06 | clr | clr | clr | n
2018-06-26 | 11:45 | clr | clr | clr | n
2018-06-27 | 10:48 | rf | rf | clr | n
2018-06-28 | 11:41 | rf | clr | clr | n
2018-06-29 | 11:36 | clr | clr | clr | n
2018-06-30 | - | - | - | - | - | Did not visit today
Daily Check Swiss Tower July 2018
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-07-01 | - | - | - | - | - | Did not visit today
2018-07-02 | 17:23 | clr | clr | clr | n
2018-07-03 | 11:20 | rf | clr | clr | n
2018-07-04 | 11:20 | rf | clr | clr | n
2018-07-05 | 11:30 | rf | clr | clr | n
2018-07-06 | 13:15 | clr | clr | clr | n
2018-07-07 | 11:12 | clr | clr | clr | n
2018-07-08 | - | - | - | - | - | Did not visit today
2018-07-09 | - | - | - | - | - | Did not visit today
2018-07-10 | 11:26 | clr | clr | clr | n
2018-07-11
2018-07-12
2018-07-13 | 11:36 | rf | clr | clr | n | Heavy frost on filter
2018-07-14 | - | - | - | - | - | Did not visit today
2018-07-15 | - | - | - | - | - | Did not visit due to Flight ops
2018-07-16 | - | - | - | - | - | Did not visit due to high winds/low vis
2018-07-17 | 13:05 | clr | clr | clr | n
2018-07-18 | 11:57 | clr | clr | clr | n
2018-07-19 | 11:57 | rf | clr | clr | n
2018-07-20 | 12:15 | rf | clr | clr | n
2018-07-21 | 11:47 | rf | clr | clr | n
2018-07-22 | - | - | - | - | - | Did not visit today
2018-07-23 | 11:30 | clr | clr | clr | n
2018-07-24
2018-07-25
2018-07-26
2018-07-27 | 11:50 | clr | clr | clr | n
2018-07-28 | 11:51 | clr | clr | clr | n
2018-07-29 | - | - | - | - | - | Did not visit today
2018-07-30 | - | - | - | - | - | Did not visit today
2018-07-31 | 12:20 | clr | clr | clr | n
Daily Check Swiss Tower August 2018
| time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-08-01 | 11:26 | clr | clr | clr | n
2018-08-02 | 12:26 | clr | clr | clr | n
2018-08-03 | 12:30 | rs | clr | clr | n
2018-08-04 | - | - | - | - | - | Did not visit today.
2018-08-05
2018-08-06
2018-08-07
2018-08-08
2018-08-09
2018-08-10
2018-08-11
2018-08-12
2018-08-13 | 11:11 | rf | clr | clr | n
2018-08-14 |  | rf | clr | clr | n
2018-08-15 | 11:30 | rf | clr | clr | n
2018-08-16 | 11:20 | clr | clr | clr | n
2018-08-17 | 11:47 | rf | rf | clr | n
2018-08-18
2018-08-19
2018-08-20
2018-08-21
2018-08-22
2018-08-23
2018-08-24
2018-08-25
2018-08-26
2018-08-27
2018-08-28
2018-08-29
2018-08-30
2018-08-31
Daily Check Swiss Tower September 2018
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-09-01
2018-09-02
2018-09-03 | 11:46 | rf | rf | clr | n
2018-09-04 | 11:56 | rf | rf | clr | n
2018-09-05
2018-09-06 | 12:31 | rf | clr | clr | n
2018-09-07 | 11:43 | clr | clr | clr | n
2018-09-08
2018-09-09
2018-09-10 | 11:50 | rf | rf | clr | n
2018-09-11
2018-09-12 | 12:06 | clr | clr | clr | n
2018-09-13 | 11:55 | rf | clr | clr | n
2018-09-14 | 11:51 | rf | rf | clr | n
2018-09-15 | 11:56 | rf | rf | clr | n
2018-09-16
2018-09-17 | 11:06 | rf | rf | clr | n
2018-09-18 | 11:17 | rf | rf | clr | n
2018-09-19 | 12:25 | rf | clr | clr | n
2018-09-20 | 12:06 | rf | rf | clr | n
2018-09-21 | 11:51 | rf | rf | clr | n
2018-09-22 | - | - | - | - | - | Did not visit today
2018-09-23 | - | - | - | - | - | Did not visit today
2018-09-24 | 11:34 | rf | clr | clr | n
2018-09-25 | 12:08 | rf | rf | clr | n
2018-09-26
2018-09-27 | 12:11 | rf | clr | clr | n
2018-09-28 | - | - | - | - | - | Did not visit today
2018-09-29 | - | - | - | - | - | Did not visit today
2018-09-30 | - | - | - | - | - | Did not visit today
Daily Check Swiss Tower October 2018
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-10-01 | 11:50 | rf | rf | clr | n
2018-10-02 | - | - | - | - | - | Did not visit today
2018-10-03 | - | - | - | - | - | Did not visit today
2018-10-04 | 11:58 | rf | rf | clr | n
2018-10-05 | 11:45 | rf | rf | clr | n
2018-10-06 | - | - | - | - | - | Did not visit today
2018-10-07 | - | - | - | - | - | Did not visit today
2018-10-08
2018-10-09 | 11:40 | rf | rf | clr | n
2018-10-10 | 11:56 | rf | clr | clr | n
2018-10-11 | 11:56 | rf | clr | clr | n
2018-10-12 | - | - | - | - | - | Did not visit today
2018-10-13 | - | - | - | - | - | Did not visit today
2018-10-14 | - | - | - | - | - | Did not visit today
2018-10-15 | 12:10 | rf | clr | clr | n
2018-10-16
2018-10-17
2018-10-18
2018-10-19 | 11:10 | rf | rf | clr | n | removed frost from snow height instrument
2018-10-20
2018-10-21
2018-10-22 | not noted | clr | clr | clr | n
2018-10-23
2018-10-24
2018-10-25 | not noted | clr | clr | clr | n
2018-10-26
2018-10-27
2018-10-28
2018-10-29 | not noted | clr | clr | clr | n
2018-10-30
2018-10-31
Daily Check Swiss Tower November 2018
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-11-01
2018-11-02
2018-11-03 | not noted | clr | clr | clr | n
2018-11-04
2018-11-05
2018-11-06
2018-11-07 | 15:30 | clr | clr | clr | n
2018-11-08 | not noted | clr | clr | clr | n
2018-11-09
2018-11-10 | not noted | clr | clr | clr | n
2018-11-11
2018-11-12
2018-11-13 | 13:30 | rf | clr | clr | n
2018-11-14
2018-11-15 | 13:10 | rf | clr | clr | n
2018-11-16 | [5 empty] | Between 11-16 and 12-16 tower inspections were not logged. Inspection data are recreated from Albedo Stand log, as inspections were always concurrent. Tower instruments have required almost no maintenance for this period.
2018-11-17 | [5 empty] | see above
2018-11-18 | not noted | rf | clr | clr | n | see above
2018-11-19 | 1205 | clr | clr | clr | n | see above
2018-11-20 | [5 empty] | see above
2018-11-21 | [5 empty] | see above
2018-11-22 | not noted |  | clr | clr | n | see above
2018-11-23 | [5 empty] | see above
2018-11-24 | [5 empty] | see above
2018-11-25 | 1930 | rf | clr | clr | n | see above
2018-11-26 | 1410 | rf | clr | clr | n | see above
2018-11-27 | [5 empty] | see above
2018-11-28 | [5 empty] | see above
2018-11-29 | 1530 | rf | clr | clr | n | see above
2018-11-30 | [5 empty] | see above
Daily Check Swiss Tower December 2018
date | time: hhmm | T/RH Filter | T/RH Fan | heated wind anemometer | Picture y/n | comments (general maintenance / power outages)
2018-12-01 | [5 empty] | see above
2018-12-02 | 1724 | rf | clr | clr | n | see above
2018-12-03 | [5 empty] | see above
2018-12-04 | 1340 | rf | clr | clr | n | see above
2018-12-05 | [5 empty] | see above
2018-12-06 | [5 empty] | see above
2018-12-07 | [5 empty] | see above
2018-12-08 | not noted | rf | clr | clr | n | see above
2018-12-09 | 1245 | rf | clr | clr | n | see above
2018-12-10 | [5 empty] | see above
2018-12-11 | [5 empty] | see above
2018-12-12 | not noted | rf | clr | clr | n | see above
2018-12-13 | [5 empty] | see above
2018-12-14 | 1845 | rf | clr | clr | n | see above
2018-12-15 | [5 empty] | see above
2018-12-16 | [5 empty] | see above
2018-12-17 | 12:50 | clr |  | clr | n | see above
2018-12-18 | 17:50 | clr | rf | clr | n
2018-12-19 | 13:19 | rf | clr | clr | n | Rime has fallen in the vicinity of the surface height measurement instrument
2018-12-20 | 13:25 | rf | clr | clr | n
2018-12-21 | 14:55 | clr | clr | clr | n
2018-12-22 | 15:05 | clr | clr | clr | n
2018-12-23 | 12:55 | clr | clr | clr | n
2018-12-24 | 13:37 | clr | clr | clr | n
2018-12-25 | 15:20 | clr | rm rime | clr | n
2018-12-26 | 12:55 | clr | clr | clr | n
2018-12-27 | 13:15 | rf | clr | clr | n
2018-12-28 | 13:25 | clr | clr | clr | n
2018-12-29 | 13:10 | rf | clr | clr | n
2018-12-30 | 15:40 | clr | clr | clr | n
2018-12-31 | 13:05 | clr | clr | clr | n

## Solar Instruments Daily Check
2018 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-01-01 | 12:53 | clr | rf |  |  | rs | - | rf | rf
2018-01-02 | 12:55 | rf I1 | rf |  |  | clr | - | rf | rf
2018-01-03 | 12:58 | rf I1 | clr |  |  | clr | - | clr | rf
2018-01-04 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-01-05 | 12:52 | rf I1 | rf |  |  | rs | - | rf | rf
2018-01-06 | 12:43 | clr | rf |  |  | rf | - | rf | rf
2018-01-07 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-01-08 | 12:42 | clr | rf |  |  | rs | - | rf | rf
2018-01-09 | 13:25 | rf I1 | rf |  |  | clr | - | clr | clr
2018-01-10 | 12:40 | clr | rf |  |  | clr | - | rf | clr
2018-01-11 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-01-12 | 12:52 | clr | rf |  |  | rs | - | rf | clr
2018-01-13 | 12:35 | clr | rf |  |  | clr | - | rf | clr
2018-01-14 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-01-15 | - | - | - |  |  | - | - | - | - | Did not visit today due to high winds and low vis.
2018-01-16 | - | - | - |  |  | - | - | - | - | Did not visit today due to high winds and low vis.
2018-01-17 | - | - | - |  |  | - | - | - | - | Did not visit today due to high winds and low vis.
2018-01-18 | 12:58 | rf I1 | rf |  |  | rf | - | rf | rf | Tracker found rotated 90 degrees CCW, facing SE. High winds likely caused this
2018-01-19 | 12:35 | rf I1 | rf |  |  | rf | - | rf | rf
2018-01-20 | 12:40 | rf I1 | rf |  |  | rf | - | rf | rf
2018-01-21 | 12:35 | rf I1 | rf |  |  | rf | - | rf | rf
2018-01-22 | [6 empty] | -
2018-01-23 | [6 empty] | -
2018-01-24 | [6 empty] | -
2018-01-25 | 12:58 | rf I1 | rf |  |  | rf | - | rf | rf
2018-01-26 | 12:57 | clr | rf |  |  | clr | - | clr | clr | Removed snow from tube filters. Others clear.
2018-01-27 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-01-28 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-01-29 |  | rf I1 | rf |  |  | clr | - | clr | clr
2018-01-30 | 12:47 | rf I1 | rf |  |  | clr | - | rf | rf
2018-01-31 | 12:37 | rf I1 | rf |  |  | rs | - | clr | clr
Daily Check Solar Tracker February 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-02-01 | - | - | - |  |  | - | - | - | - | Did not visit today due to high winds and low vis.
2018-02-02 | 12:45 | rf I3 | rf |  |  | rs | - | rf | clr
2018-02-03 | 12:50 | clr | clr |  |  | rs | - | rf | rf
2018-02-04 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-02-05 | 12:53 | rf I1, I3 | rf |  |  | rf | - | clr | rf
2018-02-06 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-02-07 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-02-08 | 12:35 | clr | rf |  |  | clr | - | clr | clr
2018-02-09 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-02-10 | 13:25 | rf I1, I3 | rf |  |  | clr | - | rf | clr
2018-02-11 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-02-12 | - | - | - |  |  | - | - | - | - | Did not visit today.
2018-02-13 | 12:50 | lf I3 | rf |  |  | clr | - | rf | clr
2018-02-14 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-15 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-16 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-17 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-18 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-19 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-20 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-21 | 18:10 | rf I1, I2, I3 | rf |  |  | rf | - | - | rf
2018-02-22 | 13:35 | rf I3 | rf |  |  | clr | - | - | clr
2018-02-23 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-24 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-25 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-26 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-02-27 | 13:40 | clr | rs |  |  | clr | - | rs | clr
2018-02-28 | [6 empty] | - |  |  | Did not visit today.
Daily Check Swiss March 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-03-01 | [9 empty] | Did not visit today.
2018-03-02 | 20:25 | rf l1, l3 | rf |  |  | clr | - | rf | rf
2018-03-03 | 12:40 | clr | clr |  |  | clr | - | rf | clr
2018-03-04 | [6 empty] | - |  |  | Did not visit today.
2018-03-05 | 13:15 | rf l1, l3 | rf |  |  | clr | - | rf | rf
2018-03-06 | 12:45 | rf l1, l3 | clr |  |  | clr | - | r | rf
2018-03-07 | [6 empty] | - |  |  | Did not visit today.
2018-03-08 | 13:10 | rf l1, l3 | rf |  |  | clr | - | rf | rf
2018-03-09 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-03-10 | 15:10 | clr | rf |  |  | clr | - | rf | rf
2018-03-11 | 13:45 | clr | clr |  |  | clr | - | clr | clr
2018-03-12 | 13:05 | clr | rf |  |  | clr | - | rf | clr
2018-03-13 | 12:10 | rf l1, l3 | clr |  |  | clr | - | rf | rf
2018-03-14 | 13:15 | clr | clr |  |  | clr | - | clr | clr
2018-03-15 | 15:25 | rf l1, l3 | rf |  |  | clr | - | rf | rf
2018-03-16 | 13:05 | clr | clr |  |  | clr | - | clr | clr
2018-03-17 | [6 empty] | - |  |  | Did not visit today.
2018-03-18 | 13:10 | clr | clr |  |  | clr | - | clr | clr
2018-03-19 | 17:00 | clr | rf |  |  | clr | - | rf | rf
2018-03-20 | [6 empty] | - |  |  | Did not visit today.
2018-03-21 | 14:15 | clr | clr |  |  | clr | - | clr | clr
2018-03-22 | 14:50 | rsn l1 | clr |  |  | clr | - | rf | rf
2018-03-23 | 16:05 | clr | clr |  |  | clr | - | clr | clr
2018-03-24 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-03-25 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-03-26 | 11:35 | clr | rf |  |  | clr | - | rf | rf
2018-03-27 | 17:45 | clr | clr |  |  | clr | - | clr | clr
2018-03-28 | 16:00 | rf l1 | clr |  |  | clr | - | clr | clr
2018-03-29 | 16:40 | clr | rf |  |  | clr | - | rf | clr
2018-03-30 | [6 empty] | - |  |  | Did not visit today.
2018-03-31 | 13:35 | clr | clr |  |  | clr | - | rf | clr
Daily Check Solar Tracker April 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-04-01 | [9 empty] | Did not visit today.
2018-04-02 | 12:55 | clr | clr |  |  | clr | - | clr | clr
2018-04-03 | 18:00 | clr | clr |  |  | rf | - | clr | clr
2018-04-04 | 14:05 | rf l1, l3 | clr |  |  | clr | - | clr | clr
2018-04-05 | 12:05 | rf l1 | clr |  |  | clr | - | clr | clr
2018-04-06 | [6 empty] | - |  |  | Did not visit today.
2018-04-07 | 12:55 | rf l1, l3 | clr |  |  | clr | - | clr | clr
2018-04-08 | 12:50 | rf l1, l3 | clr |  |  | rf | - | clr | clr
2018-04-09 | 12:55 | clr | clr |  |  | rf | - | clr | clr
2018-04-10 | 12:35 | clr | clr |  |  | clr | - | clr | clr
2018-04-11 | [6 empty] | - |  |  | Did not visit today
2018-04-12 | 13:15 | rf l1 | clr |  |  | clr | - | clr | clr
2018-04-13 | 12:05 | rf l1, l3 | clr |  |  | rf | - | clr | rf
2018-04-14 | [6 empty] | - |  |  | Did not visit today
2018-04-15 | [6 empty] | - |  |  | Did not visit today
2018-04-16 | 12:25 | rf l1, l3 | clr |  |  | rsn | - | clr | clr
2018-04-17 | 13:50 | rf l1 | clr |  |  | clr | - | clr | clr
2018-04-18 | 12:05 | rf l1, l3 | rf |  |  | rf | - | rf | rf
2018-04-19 | [6 empty] | - |  |  | Did not visit today
2018-04-20 | 12:55 | clr | clr |  |  | clr | - | clr | clr
2018-04-21 | 12:35 | clr | clr |  |  | rsn | - | clr | clr
2018-04-22 | 16:55 | rf l1 | clr |  |  | clr | - | clr | clr
2018-04-23 | 16:55 | clr | clr |  |  | clr | - | clr | clr
2018-04-24 | 12:10 | rf l1, l3 | clr |  |  | rf | - | clr | rf
2018-04-25 | [6 empty] | - |  |  | Did not visit today
2018-04-26 | [6 empty] | - |  |  | Did not visit today
2018-04-27 | 13:55 | clr | clr |  |  | clr | - | clr | clr
2018-04-28 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-04-29 | [6 empty] | - |  |  | Did not visit today
2018-04-30 | 11:45 | clr | rf |  |  | clr | - | rf | clr
Daily Check Solar Tracker May 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-05-01 | 13:00 | clr | clr |  |  | clr | - | clr | clr
2018-05-02 | [6 empty] | - |  |  | Did not visit today
2018-05-03 | 11:40 | rf l1 | rf |  |  | clr | - | clr | clr
2018-05-04 | 13:55 | clr | clr |  |  | clr | - | clr | clr
2018-05-05 | 15:50 | clr | clr |  |  | clr | - | clr | clr
2018-05-06 | [6 empty] | - |  |  | Did not visit today
2018-05-07 | 11:50 | clr | clr |  |  | clr | - | clr | clr
2018-05-08 | 12:25 | clr | clr |  |  | clr | - | clr | clr
2018-05-09 | 12:05 | clr | clr |  |  | clr | - | clr | clr
2018-05-10 | 11:10 | clr | clr |  |  | clr | - | clr | clr
2018-05-11 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-05-12 | 17:35 | clr | clr |  |  | clr | - | clr | clr
2018-05-13 | [6 empty] | - |  |  | Did not visit today
2018-05-14 | 18:00 | clr | clr |  |  | clr | - | clr | clr
2018-05-15 | 11:40 | rf l1 | rf |  |  | clr | - | clr | clr
2018-05-16 | 12:10 | clr | clr |  |  | rsn | - | clr | clr
2018-05-17 | 12:20 | clr | clr |  |  | clr | - | clr | clr
2018-05-18 | 16:15 | clr | clr |  |  | clr | - | clr | clr
2018-05-19 | [6 empty] | - |  |  | Did not visit today
2018-05-20 | [6 empty] | - |  |  | Did not visit today
2018-05-21 | 11:35 | rf l1 | clr |  |  | clr | - | clr | clr
2018-05-22 | 11:30 | rsn l1 | clr |  |  | clr | - | clr | clr | Fixed arm was raised.
2018-05-23 | 12:30 | clr | clr |  |  | clr | - | clr | clr
2018-05-24 | [6 empty] | - |  |  | Did not visit today
2018-05-25 | 11:50 | clr | clr |  |  | clr | - | clr | clr
2018-05-26 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-05-27 | 11:55 | clr | clr |  |  | clr | - | clr | clr
2018-05-28 | 11:50 | clr | clr |  |  | clr | - | clr | clr
2018-05-29 | 12:15 | rf l1 | clr |  |  | clr | - | clr | clr
2018-05-30 | 16:20 | clr | clr |  |  | clr | - | clr | clr
2018-05-31 | [6 empty] | -
Daily Check Solar Tracker June 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-06-01 | 11:45 | clr | clr |  |  | clr | - | clr | clr
2018-06-02 | 13:40 | clr | clr |  |  | clr | - | clr | clr
2018-06-03 | 11:45 | clr | clr |  |  | clr | - | clr | clr
2018-06-04 | [6 empty] | - |  |  | Did not visit today due to high winds and low vis.
2018-06-05 | 17:30 | clr | clr |  |  | clr | - | clr | clr | Tracker spun NE in wind.
2018-06-06 | 12:15 | clr | clr |  |  | clr | - | clr | clr
2018-06-07 | 17:30 | clr | clr |  |  | clr | - | clr | clr
2018-06-08 | 11:50 | clr | rsn |  |  | rsn I1 | - | clr | clr
2018-06-09 | 14:25 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-10 | 12:10 | rf I1 | rf F2 |  |  | clr | - | rf F3 | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-11 | 11:45 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-12 | 12:09 | rf I1 rf I3 | rf F1 |  |  | clr | - | rf F1 | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-13 | [6 empty] | - |  |  | Did not visit today due to polar bear.
2018-06-14 | [6 empty] | - |  |  | Did not visit today due to polar bear.
2018-06-15 | 12:00 | clr | rf F1 |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-16 | 11:45 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-17 | 11:51 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-18 | 11:09 | clr | rs F1 |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-19 | 11:55 | clr | rf F1 |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-20 | 12:10 | clr | rf F2 |  |  | clr | - | rf F3 | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-21 | 11:50 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-22 | 13:50 | clr | rs F2 |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-23 | 11:09 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-24 | 13:08 | clr | clr |  |  | clr | - | rf F1 & F3 | rf | Rotating device I2&I3 not present, I1 fan not running
2018-06-25 | 12:01 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-26 | 11:38 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-27 | 10:41 | rf I1 | rf F1 F2 F3 |  |  | clr | - | rf F1 F2 F3 | rf | Rotating device I2&I3 not present, I1 fan not running
2018-06-28 | 11:36 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-29 | 11:31 | clr | clr |  |  | clr | - | clr | clr | Rotating device I2&I3 not present, I1 fan not running
2018-06-30 | - | - | - |  |  | - | - | - | - | Did not visit today
Daily Check Solar Tracker July 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-07-01 | - | - | - |  |  | - | - | - | - | Did not visit today
2018-07-02 | 17:17 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-03 | 11:15 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-04 | 11:15 | clr | rf F3 |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-05 | 11:25 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-06 | 13:10 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-07 | 11:07 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-08 | [6 empty] | - |  |  | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-09 | 15:09 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-10 | 11:21 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-11 | [6 empty] | -
2018-07-12 | [6 empty] | -
2018-07-13 | 11:30 | clr | clr |  |  | clr | - | clr | clr | Tracker not tracking. Rotating device I2 not present, I1 fan not running
2018-07-14 | - | - | - |  |  | - | - | - | - | Did not visit today
2018-07-15 | - | - | - |  |  | - | - | - | - | Did not visit due to Flight ops.
2018-07-16 | - | - | - |  |  | -- | - | - | - | Did not visit due to high winds/low vis.
2018-07-17 | 13:00 | clr | rf |  |  | clr | - | clr | clr | Removed heavy snow from solar stand filters, center filter of one flew out in wind. Will replace with calmer conditions.
2018-07-18 | 11:50 | clr | clr |  |  | clr | - | clr | clr
2018-07-19 | 11:50 | clr | rf 3&4 |  |  | clr | - | clr | clr
2018-07-20 | 12:07 | rf I1 | rf 3&4 |  |  | clr | - | clr | clr
2018-07-21 | 11:43 | rf I1 | rf |  |  | clr |  | clr | clr
2018-07-22 | - | - | - |  |  | - | - | - | - | Did not visit today
2018-07-23 | 11:17 | clr | clr |  |  | clr | - | clr | clr | Temporarily unplugged Fixed arm fan to look at power supply port. 18:20-19:00Z- investigating solar tracker power, dug around box. Unplugged fixed arm fan to measure voltage. See email to Sam Dorsi on 23 July for details. -HJ
2018-07-24 | [6 empty] | -
2018-07-25 | ? | clr | clr |  |  | clr | - | clr | clr
2018-07-26 | ? | clr | clr |  |  | clr | - | clr | clr
2018-07-27 | 11:43 | clr | rf 3&4 |  |  | clr | - | rs |  | Drifted snow packed into filters
2018-07-28 | 11:43 | clr | rf 3&4 |  |  | clr | - | rs | clr | 10:43-47Z- 2 people around tracker looking at base for TAWO installation.
2018-07-29 | - | - | - |  |  | - | - | - | - | Did not visit today
2018-07-30 | - | - | - |  |  | - | - | - | - | Did not visit today
2018-07-31 | 12:15 | clr | clr |  |  | clr | - | clr | clr
Daily Check Solar Tracker August 2018
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | comments (general maintenance / power outages / fan-check)
2018-08-01 | 11:22 | clr | clr |  |  | clr | - | clr | clr
2018-08-02 | 12:22 | clr | clr |  |  | clr | - | clr | clr
2018-08-03 | 12:25 | clr | rs 3 |  |  | clr | - | rs | clr
2018-08-04 | - | - | - |  |  | - | - | - | - | Did not visit today
2018-08-05 | [6 empty] | -
2018-08-06 | 13:40 | clr | clr |  |  | clr | - | clr | clr | 13:40-12:00, checking voltages at boxes
2018-08-07 | [6 empty] | -
2018-08-08 | [6 empty] | -
2018-08-09 | [6 empty] | -
2018-08-10 | [6 empty] | -
2018-08-11 | [6 empty] | -
2018-08-12 | [6 empty] | -
2018-08-13 | 11:05 | clr | rf all |  |  | clr | - | rf | clr
2018-08-14 |  | clr | rf 1&2 |  |  | clr | - | rf | clr | Derek Holtz on station, removed tracker from field in prep for new installation on TAWO roof.
2018-08-15 | 11:25 | clr | rf 1&2 |  |  | - | - | - | -
2018-08-16 | 11:17 | clr | clr |  |  | - | - | - | -
2018-08-17 | 11:43 | clr | rf all |  |  | - | - | - | -
2018-08-18 | 11:47 | rf 1 | rf all |  |  | - | - | - | -
2018-08-19 | [6 empty] | -
2018-08-20 | [6 empty] | -
2018-08-21 | [6 empty] | -
2018-08-22 | [6 empty] | -
2018-08-23 | [6 empty] | -
2018-08-24 | [6 empty] | -
2018-08-25 | 19:00 |  |  |  |  | rf 1 | rf | no access | clr | Could not access filters on far side due to time of day
2018-08-26 | 17:48 |  |  |  |  | clr | clr | clr | clr
2018-08-27 | 1351 |  |  |  |  | rf 1 | clr | rf | rf
2018-08-28 | 2034 |  |  |  |  | clr | clr | clr | clr
2018-08-29 | [6 empty] | -
2018-08-30 | [6 empty] | -
2018-08-31 | 1322 |  |  |  |  | clr | clr | clr | clr
Daily Check Solar Stand & Tracker September 2018
|  | Fixed Solar Albedo Stand |  |  |  |  | Solar Tracker
Date | Time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Comments | Time:hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | Comments (general maintenance / power outages / fan-check)
2018-09-01 | 1048 |  |  |  |  | clr | clr | rf all | rf
2018-09-02
2018-09-03 | 11:43 | rf I1 & 3 | rf all
2018-09-04 | 11:49 | rf I1 | rf all |  | 15:20 | clr | clr | rf all | n/a
2018-09-05 | - | - | - | Did not visit | 17:55 | clr | clr | rf 1&2 | n/a
2018-09-06 | 12:25 | clr | rf all | Replaced zip ties on I1 filters | 14:50 | clr | rm fr | clr | n/a
2018-09-07 | 11:39 | clr | rf 3&4 |  | 15:01 | clr | clr | clr | n/a
2018-09-08 |  |  |  |  | 12:20 | clr | clr | clr | n/a
2018-09-09 | 11:43 | Rf from around I3, domes clr | rf all | Swapped data cards | 16:23 | clr | clr | rf 1&2 | n/a
2018-09-10 |  |  |  |  | 16:20 | clr | rf | clr | n/a | Swapped data cards
2018-09-11
2018-09-12 | 12:23 | clr | clr | Swapped data cards. All data on last transfer was old. Deleted data on Card 1, swapped out Card 2, placed new data on FTP. | 12:42 | clr | clr | clr | n/a
2018-09-13 | 11:50 | clr | clr |  | 16:31 | clr | clr | rf 1&2 | n/a
2018-09-14 | 11:46 | clr | rf all |  | 13:46 | clr | clr | rf all | n/a
2018-09-15 | 11:51 | clr | rf all | removed frost around domes | 19:13 | clr | clr | rf all | n/a | removed frost around domes
2018-09-16 |  |  |  |  | 14:33 | rf 1 | rf | rf 1&2 | n/a
2018-09-17 | 12:00 | rf I1. Some frost remained due to no ethanol in bottle. | rf all |  | 17:34 | clr | clr | rf 1&2 | n/a | removed frost around domes
2018-09-18 | 11:13 | clr | rf all |  | 13:53 | rf 1 | rf | rf 1&2 | n/a | removed frost around domes
2018-09-19 | 12:19 | clr | rf all |  | 13:04 | clr | clr | rf 1&2 | n/a
2018-09-20 | 12:21 | rf | rf all | removed domes to get serial numbers | 13:23 | rf all | rf | rf all | n/a | removed domes to access serial numbers from 13:22 - 13:55
2018-09-21 | 11:47 | clr | rf all |  | 19:17 | clr | rf | rf all | n/a
2018-09-22 | - | - | - | Did not visit | 19:56 | clr | rf | rf all | n/a
2018-09-23 | - | - | - | Did not visit | 15:47 | rf 1 | clr | rf 1&2 | n/a
2018-09-24 | 11:30 | clr | rf |  | 17:41 | clr | clr | clr | n/a
2018-09-25 | 12:00 | clr | rf all |  | 19:55 | clr | clr | rf all | n/a
2018-09-26 |  |  |  |  | 14:14 | clr | clr | rf 1&2 | n/a | removed frost around domes
2018-09-27 | 12:06 | rf around edges | rf all | reinstalled card
2018-09-28 | - | - | - | Did not visit
2018-09-29 | - | - | - | Did not visit | 13:56 | clr | clr | clr | n/a
2018-09-30 | - | - | - | Did not visit | [5 empty] | Did not visit
Daily Check Solar Stand & Tracker October 2018
|  | Fixed Solar Albedo Stand |  |  |  |  | Solar Tracker
Date | Time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Comments | Time:hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | Comments (general maintenance / power outages / fan-check)
2018-10-01 | 11:46 | clr | rf all |  | 19:43 | rf 1 | rf | rf 1&2 | n/a
2018-10-02 | - | - | - | Did not visit | 13:20 | clr | clr | rf 1&2
2018-10-03 | - | - | - | Did not visit | [5 empty] | Did not visit
2018-10-04 | 11:52 | clr | rf all | reinstalled card | 16:42 | rf 1 | clr | rf 1&2 | n/a
2018-10-05 | 11:42 | clr | rf all |  | 17:28 | clr | rf | rf 1&2 | n/a
2018-10-06 | - | - | - | Did not visit | 13:59 | clr | clr | rf 1&2 | n/a
2018-10-07 | - | - | - | Did not visit | [5 empty] | Did not visit
2018-10-08 | 11:39 | clr | rf all |  | 18:52 | rf 1 | clr | rf 1&2 | n/a
2018-10-09 | 11:51 | clr | rf from tubes | reinstalled card | 15:23 | rf 1&2 | rf | rf 1&2 | n/a
2018-10-10 | 11:45 | clr | clr |  | 13:33 | clr | clr | clr | n/a | removed frost around domes
2018-10-11 | 11:50 | clr | clr |  | 15:29 | clr | clr | rf 1&2 | n/a
2018-10-12 | - | - | - | Did not visit | 11:24 | clr | clr | clr | n/a
2018-10-13 |  |  |  |  | 13:08 | rf 1&2 | rf | rf 1&2 | n/a
2018-10-14 | [9 empty] | Did not visit
2018-10-15 | 12:04 | clr | rf | replaced ziptie on F1 | 17:21 | rf 1 | rf | rf 1&2 | n/a
2018-10-16 |  |  |  |  | 15:47 | rf 1 | rf | rf 1&2 | n/a | removed frost around domes
2018-10-17 | [9 empty] | Did not visit
2018-10-18 |  |  |  |  | 18:40 | clr | clr | rf 1&2 | n/a
2018-10-19 | 11:05 | clr | rf all | reinstalled card | 15:00 | clr | clr | rf 1&2 | n/a
2018-10-20 | 14:20 | rf I1 | rf all | took out card for turnover purposes | 17:52 | rf 1 | rf | rf 1&2 | n/a
2018-10-21 | time not noted | clr | rf all | reinstalled card | 16:30 | rf 1 | clr | rf 1&2 | n/a | removed frost around domes and moving wires
2018-10-22 |  |  |  |  | 15:58 | rf 1 | clr | rf 1&2 | n/a
2018-10-23 |  |  |  |  | 16:59 | clr | clr | clr | n/a
2018-10-24 | 1115 | clr | rf all | removed card | 19:33 | clr | clr | rf 1&2 | n/a
2018-10-25 | not noted | clr | rf all | replaced card | 17:11 | rf 1&2 | rf | rf 1&2 | n/a
2018-10-26 |  |  |  |  | 16:40 | rf 1 | rf | rf 1&2 | n/a
2018-10-27 |  |  |  |  | 15:36 | clr | clr | clr | n/a | heavy overnight winds removed frost from equipment
2018-10-28 |  |  |  |  | 15.26 | rf 1&2 | rf | rf 1&2 | n/a
2018-10-29 | ~1215 | rf | rf all | removed card | 16:58 | rf 1&2 | rf | rf 1&2 | n/a
2018-10-30 |  |  |  |  | 1506 | clr | clr | clr | n/a
2018-10-31 |  |  |  |  | 14:45 | rf 1 | clr | rf 1&2 | n/a
Daily Check Solar Stand & Tracker November 2018
|  | Fixed Solar Albedo Stand |  |  |  |  | Solar Tracker
Date | Time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Comments | Time:hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | Comments (general maintenance / power outages / fan-check)
2018-11-01 |  |  |  |  | 17:42 | clr | clr | rf 1&2 | n/a
2018-11-02 |  |  |  |  | 16:45 | clr | rf | clr | n/a
2018-11-03 | ~1700 | clr | rf all | card check | 18:13 | clr | rf | clr | n/a
2018-11-04 |  |  |  |  | 15:08 | rf 1 | rf | rf 1&2 | n/a
2018-11-05 | ~1900 | clr | clr | Cycled power to data logger | 12:47 | rf 1 | rf | rf 1&2 | n/a
2018-11-06 |  |  |  |  | 12:40 | rf 1&2 | rf | rf 1&2 | n/a
2018-11-07 |  |  |  |  | 12:55 | rf 1 | rf | rf 1&2 | n/a
2018-11-08 | 1410 | clr | rf |  | 15:47 | clr | clr | clr | n/a
2018-11-09 | 1630 | clr | rf |  | 13:25 | rf 1 | rf | rf 1&2 | n/a
2018-11-10 |  |  |  |  | 12:44 | rf 1 | rf | rf 1&2 | n/a
2018-11-11 | not noted | rf 1 | rf |  | 16:16 | rf 1&2 | rf | rf 1&2 | n/a
2018-11-12 | 1310 | rf 1 | rf | removed card; contained no data | 12:33 | rf 1&2 | rf | rf 1&2 | n/a | replaced filters below domes
2018-11-13 | 1410 | rf 1 | rf |  | 13:20 | rf 1&2 | rf | rf 1&2 | n/a
2018-11-14 | not noted | clr | rf | Cycled power to data logger | 13:36 | rf 1&2 | rf | rf 1&2 | n/a
2018-11-15 | 1330 | rf 1 | rf | removed card; got data | 13:55 | rf 1 | rf | rf 1&2 | n/a
2018-11-16 |  |  |  |  | 19:14 | rf 1&2 | rf | rf 1&2 | n/a
2018-11-17 |  |  |  |  | 12:28 | clr | clr | clr | n/a
2018-11-18 | not noted | rf 1 | rf | inserted card | 16:30 | rf 1 | rf | rf 1&2 | n/a
2018-11-19 | 1205 | rf 1 | rf | removed card; got data | 12:34 | rf 1 | rf | rf 1&2 | n/a
2018-11-20 |  |  |  |  | 12:58 | rf 1 | clr | clr | n/a
2018-11-21 |  |  |  |  | 13:24 | clr | clr | rf 1&2
2018-11-22 | not noted | rf 1 | rf |  | 15:20 | clr | clr | clr | n/a
2018-11-23 |  |  |  |  | 13:10 | rf 1 | rf | rf 1&2 | n/a
2018-11-24 |  |  |  |  | 12:50 | rf 1 | clr | clr | n/a
2018-11-25 | 1930 | rf 1 | rf | power cycled data logger; inserted card | 18:03 | clr | clr | clr | n/a
2018-11-26 | 1410 | rf 1 | rf | Removed card | 13:13 | rf 1 | clr | rf 1&2 | n/a
2018-11-27 |  |  |  |  | 15:30 | rf 1 | rf | rf 1&2 | n/a
2018-11-28 |  |  |  |  | 15:32 | rf 1 | rf | rf 1&2 | n/a
2018-11-29 | 1530 | rf 1 | rf all |  | 15:55 | rf 1 | rf | rf 1&2 | n/a
2018-11-30 |  |  |  |  | 12:51 | rf 1 | rf | rf 1&2 | n/a
Daily Check Solar Stand & Tracker December 2018
|  | Fixed Solar Albedo Stand |  |  |  |  | Solar Tracker
Date | Time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Comments | Time:hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box | Comments (general maintenance / power outages / fan-check)
2018-12-01 |  |  |  |  | 13:30 | rf 1&2 | rf | rf 1&2 | n/a
2018-12-02 | 1724 | rf 1 | rf all | Replaced card | 16:01 | rf 1 | rf | rf 1&2 | n/a
2018-12-03 |  |  |  |  | 13:38 | rf 1 | rf | rf 1&2 | n/a
2018-12-04 | 1340 | clr | rf all | removed card | 15:19 | rf 1 | rf | rf 1&2 | n/a
2018-12-05 |  |  |  |  | 13:22 | rf 1 | rf | rf 1&2 | n/a
2018-12-06 |  |  |  |  | 16:31 | rf 1 | rf | rf 1&2 | n/a
2018-12-07 |  |  |  |  | 13:08 | rf 1 | rf | rf 1&2 | n/a
2018-12-08 | not noted | rf 1 | rf all | inserted card | 12:58 | rf 1 | rf | rf 1&2 | n/a
2018-12-09 | 1245 | clr | clr | removed car | 14:20 | rf 1 | rf | rf 1&2 | n/a
2018-12-10 |  |  |  |  | 13:14 | rf 1 | rf | rf 1&2 | n/a
2018-12-11 |  |  |  |  | 13:29 | rf 1 | rf | rf 1&2 | n/a
2018-12-12 | not noted | rf 1 | clr | Inserted card | 13:24 | rf 1 | rf | rf 1&2 | n/a
2018-12-13 |  |  |  |  | 13:28 | rf 1 | rf | rf 1&2 | n/a
2018-12-14 | 1845 |  | rf all | Removed card | 13:15 | rf 1 | rf | rf 1&2 | n/a
2018-12-15 |  |  |  |  | 17:14 | rf 1 | rf | rf 1&2 | n/a
2018-12-16 |  |  |  |  | 14:43 | rf 1 | clr | rf 1&2 | n/a
2018-12-17 | 1250 | clr | rf all | inserted card | 12:52 | clr | rf | rf 1&2 | n/a
2018-12-18 | 1745 | rf 1 | rf all | Removed Card | 13:14 | rf 1 | rf | rf 1&2 | n/a
2018-12-19 | 1309 | rf 1 | rf all |  | 13:02 | rf 1 | rf | rf 1&2 | n/a
2018-12-20 | 1318 | rf 1 | rf all |  | 12:58 | rf 1 | rf | rf 1&2 | n/a
2018-12-21 | 1448 | rf 1 | rf all |  | 13:16 | rf 1 | rf | rf 1&2 | n/a
2018-12-22 | 1452 | clr | clr |  | 15:35 | rf 1 | rf | rf 1&2 | n/a
2018-12-23 | 1250 | clr | clr | power cycled data logger, inserted CF card | 14:53 | rf 1 | rf | rf 1&2 | n/a
2018-12-24 | 1327 | clr | clr | removed card | 13:01 | clr | clr | clr | n/a
2018-12-25 | 1510 | rf 1 | rf all |  | 13:54 | rf 1 | rf | rf 1&2 | n/a
2018-12-26 | 1247 | rf 1 | rf all | inserted card, power cycled logger | 13:22 | rf 1 | rf | rf 1&2 | n/a
2018-12-27 | 1305 | rf 1 | rf all | removed card | 13:05 | rf 1 | rf | rf 1&2 | n/a
2018-12-28 | 1318 | clr | rf all |  | 12:42 | rf 1 | rf | rf 1&2 | n/a
2018-12-29 | 1302 | rf 1 | clr |  | 13:27 | rf 1 | rf | rf 1&2 | n/a
2018-12-30 | 1535 | rf 1 | clr | Inserted card; power cycled logger | 16:12 | rf 1 | rf | rf 1&2 | n/a
2018-12-31 | 1259 | clr | rf all | removed card | 12:54 | rf 1 | clr | rf 1&2 | n/a
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on G2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2018-01-01
2018-01-02
2018-01-03
2018-01-04
2018-01-05
2018-01-06
2018-01-07
2018-01-08
2018-01-09
2018-01-10
2018-01-11
2018-01-12
2018-01-13
2018-01-14
2018-01-15
2018-01-16
2018-01-17
2018-01-18
2018-01-19
2018-01-20
2018-01-21
2018-01-22
2018-01-23
2018-01-24
2018-01-25
2018-01-26
2018-01-27
2018-01-28
2018-01-29
2018-01-30
2018-01-31
2018-02-01
2018-02-02
2018-02-03
2018-02-04
2018-02-05
2018-02-06
2018-02-07
2018-02-08
2018-02-09
2018-02-10
2018-02-11
2018-02-12
2018-02-13
2018-02-14
2018-02-15
2018-02-16
2018-02-17
2018-02-18
2018-02-19
2018-02-20
2018-02-21
2018-02-22
2018-02-23
2018-02-24
2018-02-25
2018-02-26
2018-02-27
2018-02-28
2018-03-01
2018-03-02
2018-03-03
2018-03-04
2018-03-05
2018-03-06
2018-03-07
2018-03-08
2018-03-09
2018-03-10
2018-03-11
2018-03-12
2018-03-13
2018-03-14
2018-03-15
2018-03-16
2018-03-17
2018-03-18
2018-03-19
2018-03-20
2018-03-21
2018-03-22
2018-03-23
2018-03-24
2018-03-25
2018-03-26
2018-03-27
2018-03-28
2018-03-29
2018-03-30
2018-03-31
2018-04-01
2018-04-02
2018-04-03
2018-04-04
2018-04-05
2018-04-06
2018-04-07
2018-04-08
2018-04-09
2018-04-10
2018-04-11
2018-04-12
2018-04-13
2018-04-14
2018-04-15
2018-04-16
2018-04-17
2018-04-18
2018-04-19
2018-04-20
2018-04-21
2018-04-22
2018-04-23
2018-04-24
2018-04-25
2018-04-26
2018-04-27
2018-04-28
2018-04-29
2018-04-30
2018-05-01
2018-05-02
2018-05-03
2018-05-04
2018-05-05
2018-05-06
2018-05-07
2018-05-08
2018-05-09
2018-05-10
2018-05-11
2018-05-12
2018-05-13
2018-05-14
2018-05-15
2018-05-16
2018-05-17
2018-05-18
2018-05-19
2018-05-20
2018-05-21
2018-05-22
2018-05-23
2018-05-24
2018-05-25
2018-05-26
2018-05-27
2018-05-28
2018-05-29
2018-05-30
2018-05-31
2018-06-01
2018-06-02
2018-06-03
2018-06-04
2018-06-05
2018-06-06
2018-06-07
2018-06-08
2018-06-09
2018-06-10
2018-06-11
2018-06-12
2018-06-13
2018-06-14
2018-06-15
2018-06-16
2018-06-17
2018-06-18
2018-06-19
2018-06-20
2018-06-21
2018-06-22
2018-06-23
2018-06-24
2018-06-25
2018-06-26
2018-06-27
2018-06-28
2018-06-29
2018-06-30
2018-07-01
2018-07-02
2018-07-03
2018-07-04
2018-07-05
2018-07-06
2018-07-07
2018-07-08
2018-07-09
2018-07-10
2018-07-11
2018-07-12
2018-07-13
2018-07-14
2018-07-15
2018-07-16
2018-07-17
2018-07-18
2018-07-19
2018-07-20
2018-07-21
2018-07-22
2018-07-23
2018-07-24
2018-07-25
2018-07-26
2018-07-27
2018-07-28
2018-07-29
2018-07-30
2018-07-31
2018-08-01
2018-08-02
2018-08-03
2018-08-04
2018-08-05
2018-08-06
2018-08-07
2018-08-08
2018-08-09
2018-08-10
2018-08-11
2018-08-12
2018-08-13
2018-08-14
2018-08-15
2018-08-16
2018-08-17
2018-08-18
2018-08-19
2018-08-20
2018-08-21 | 20:00 | n/a | clr | sun not bright enough for tracking grade
2018-08-22
2018-08-23
2018-08-24
2018-08-25 | 19:00 | n/a | rf
2018-08-26 | 17:48 | n/a | clr
2018-08-27 | 13:50 | n/a | rf | B
2018-08-28 | 20:35 | Y | clr | couldn't access window due to time of day
2018-08-29
2018-08-30
2018-08-31 | 13:22 | Y | clr | overcast
2018-09-01 | 12:48 | Y | clr | B
2018-09-02
2018-09-03
2018-09-04 | 15:22 | Y | clr | B
2018-09-05 | 17:50 | Y | rf | overcast
2018-09-06 | 14:50 | Y | rf | overcast
2018-09-07 | 15:01 | Y | clr | overcast
2018-09-08 | 12:20 | Y | clr | overcast
2018-09-09 | 16:23 | Y | clr | overcast
2018-09-10 | 16:20 | Y | rf | overcast
2018-09-11
2018-09-12 | 12:42 | Y | clr | overcast
2018-09-13 | 16:23 | Y | clr | overcast
2018-09-14 | 13:46 | Y | clr | B
2018-09-15 | 19:13 | Y | rf | B
2018-09-16 | 14:33 | Y | rf | overcast
2018-09-17 | 17:34 | Y | clr | overcast
2018-09-18 | 13:53 | Y | rf | overcast
2018-09-19 | 13:04 | Y | clr | overcast
2018-09-20 | 13:23 | Y | rf | Removed frost on the domes to access serial numbers/ B
2018-09-21 | 19:17 | Y | rf | B
2018-09-22 | 19:56 | Y | rf | B
2018-09-23 | 15:47 | Y | clr | overcast
2018-09-24 | 17:41 | Y | clr | not bright enough light
2018-09-25 | 19:55 | Y | clr | overcast
2018-09-26 | 14:14 | Y | rf | overcast
2018-09-27 | 18:00 | Y | n/a | Removed PFR from solar tracker for winter storage in TAWO
2018-09-28
2018-09-29
2018-09-30
2018-10-01
2018-10-02
2018-10-03
2018-10-04
2018-10-05
2018-10-06
2018-10-07
2018-10-08
2018-10-09
2018-10-10
2018-10-11
2018-10-12
2018-10-13
2018-10-14
2018-10-15
2018-10-16
2018-10-17
2018-10-18
2018-10-19
2018-10-20
2018-10-21
2018-10-22
2018-10-23
2018-10-24
2018-10-25
2018-10-26
2018-10-27
2018-10-28
2018-10-29
2018-10-30
2018-10-31
2018-11-01
2018-11-02
2018-11-03
2018-11-04
2018-11-05
2018-11-06
2018-11-07
2018-11-08
2018-11-09
2018-11-10
2018-11-11
2018-11-12
2018-11-13
2018-11-14
2018-11-15
2018-11-16
2018-11-17
2018-11-18
2018-11-19
2018-11-20
2018-11-21
2018-11-22
2018-11-23
2018-11-24
2018-11-25
2018-11-26
2018-11-27
2018-11-28
2018-11-29
2018-11-30
2018-12-01
2018-12-02
2018-12-03
2018-12-04
2018-12-05
2018-12-06
2018-12-07
2018-12-08
2018-12-09
2018-12-10
2018-12-11
2018-12-12
2018-12-13
2018-12-14
2018-12-15
2018-12-16
2018-12-17
2018-12-18
2018-12-19
2018-12-20
2018-12-21
2018-12-22
2018-12-23
2018-12-24
2018-12-25
2018-12-26
2018-12-27
2018-12-28
2018-12-29
2018-12-30
2018-12-31

## Weekly Download SwissTower
2018 Weekly Data Download Swiss Tower
week | date YYYYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 20180101 | 427 | -10 | y | 1007864 | 359 | 1410 | 1 | 1420 | y | Last week of 2017 + first week of 2018
2 | 20180108 | 428 | -10 | y | 1039755 | 1 | 1430 | 8 | 1410 | y
3 | 20180115 | 429 | -12 | Y | 1071762 | 8 | 1420 | 15 | 1440 | y
4 | 20180122 | 430 | 157 | y | 1103376 | 15 | 1450 | 22 | 1300 | y
5 | 20180129 | 431 | 32 | y | 1135544 | 22 | 1310 | 29 | 1420 | y
6 | 20180205 | 432 | -25 | y | 1167625 | 29 | 1430 | 36 | 1510 | y
7 | 20180212 | 433 | 38 | y | 1199983 | 36 | 1520 | 43 | 1730 | y
8 | 20180221 | 434 | 28 | y | 1241271 | 43 | 1740 | 52 | 1850 | y
9 | 20180226 | 435 | -15 | y | 1264042 | 52 | 1900 | 57 | 1840 | y
10 | 20180305 | 436 | 28 | y | 1295173 | 57 | 1850 | 64 | 1430 | y
11 | 20180312 | 437 | -17 | y | 1326932 | 64 | 1440 | 71 | 1340 | y
12 | 20180319 | 438 | -30 | y | 1360475 | 71 | 1350 | 78 | 2210 | y
13 | 20180326 | 439 | -7 | y | 1390656 | 78 | 2220 | 85 | 1300 | y
14 | 20180402 | 440 | -8 | y | 1422605 | 85 | 1310 | 92 | 1310 | y
15 | 20180409 | 441 | -6 | y | 1454905 | 92 | 1320 | 99 | 1510 | y
16 | 20180416 | 442 | -22 | y | 1486313 | 99 | 1520 | 106 | 1230 | y
17 | 20180423 | 443 | -12 | y | 1518349 | 106 | 1240 | 113 | 1310 | y
18 | 20180430 | 444 | -41 | y | 1550240 | 113 | 1320 | 120 | 1300 | y
19 | 20180507 | 445 | 54 | y | 1582028 | 120 | 1310 | 127 | 1220 | y
20 | 20180514 | 446 | -1 | n | 1614006 | 127 | 1230 | 134 | 1240 | y
21 | 20180521 | 447 | -33 | y | 1646599 | 134 | 1250 | 141 | 1610 | y
22 | 20180528 | 448 | 7 | n | 1677875 | 141 | 1620 | 148 | 1250 | y
23 | 20180604 | 449 | 7 | y | 1710629 | 148 | 1300 | 155 | 1710 | y
24 | 20180611 | 450 | 0 | n | 1741876 | 155 | 1720 | 162 | 1340 | y
25 | 20180618 | 451 | 0 | n | 1773767 | 162 | 1350 | 169 | 1330 | y
26 | 20180625 | 452 | -26 | y | 1806257 | 169 | 1340 | 176 | 1630 | y
27 | 20180702 | 453 | -4 | y | 1837665 | 176 | 1640 | 183 | 1350 | y
28 | 20180709 | 454 | -4 | y | 1870126 | 183 | 1400 | 190 | 1640 | y
29 | 20180717 | 455 | -6 | y | 1906036 | 190 | 1650 | 198 | 1340 | y
30 | 20180723 | 456 | -3 | y | 1933090 | 198 | 1350 | 204 | 1200 | y
31 | 20180731 | 457 | -4 | y | 1969657 | 204 | 1210 | 212 | 1230 | y
32 | 20180806 | 458 | -4 | y | 1997075 | 212 | 1240 | 218 | 1250 | y
32
33 | 20180813 | 459 | -4 | y | 2029156 | 218 | 1300 | 225 | 1340 | y
34 | 20180820 | 460 | -4 | y | 2061807 | 225 | 1350 | 232 | 1730 | y
35
36 | 20180903 | 461 | -13 | y | 2124800 | 232 | 1740 | 246 | 1300 | y
37 | 20180910 | 462 | -6 | y | 11175 | 246 | 1310 | 253 | 1700 | y
38 | 20180917 | 463 | -6 | y | 42422 | 253 | 1710 | 260 | 1330 | y
39 | 20180924 | 464 | -7 | y | 74255 | 260 | 1340 | 267 | 1300 | y
40 | 20181001 | 465 | -8 | y | 106043 | 267 | 1310 | 274 | 1220 | y
41 | 20181008 | 466 | -6 | y | 137934 | 274 | 1230 | 281 | 1210 | y
42 | 20181015 | 467 | -4 | y | 170015 | 281 | 1220 | 288 | 1300 | y
43 | 20181020 | 468_1 | -6 | y | 193691 | 288 | 1310 | 293 | 1740 | y
43 | 20181022 | 468_2 | -4 | y | 202125 | 293 | 1750 | 295 | 1400 | y
44 | 20181030 | 469 | -3 | y | 238560 | 295 | 1410 | 303 | 1350 | y
45 | 20181105 | 470 | -7 | y | 267060 | 303 | 1400 | 309 | 1950 | Y
46 | 20181112 | 471 | -5 | y | 299025 | 309 | 2000 | 316 | 2000 | y
47 | 20181119 | 472 | -6 | y | 330623 | 316 | 2010 | 323 | 1820 | y
48 | 20181126 | 473 | -7 | y | 362773 | 323 | 1830 | 330 | 1920 | y
49 | 20181204 | 474 | -4 | y | 398350 | 330 | 1930 | 338 | 1450 | y
50 | 20181214 | 475 | -7 | y | 444974 | 338 | 1500 | 348 | 2010 | y
51 | 20181218 | 476 | -4 | y | 462921 | 348 | 2020 | 352 | 1840 | y
52 | 20181226 | 477 | -7 | y | 498641 | 352 | 1850 | 360 | 1440 | y
53 | 20190101 | 478 | -4 | y | 526323 | 360 | 1450 | 1 | 1620 | y

## Weekly Download Albedo Stand
2018 Weekly Download Solar Stand Data
week | Card: 1 or 2? | ALBXXX.dat | date YYMMDD | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | Data deleted from card? | comments
36 | 2 |  | 180909 | 2018-08-24 | 11:59 | 2018-09-04 | 13:19 | Y |  | First card download
37 | 2 |  | 180912 | 2018-08-24 | 11:59 | 2018-09-12 | 11:58 | Y
38 | 1 | 732 | 180917 | 2018-09-12 | 11:59 | 2018-09-17 | 12:01 | Y
39 | 2 | 733_1 | 180924 | 2018-08-24 | 11:59 | 2018-09-12 | 11:58 | Y | Y | Did not download any new data from this week. Could be an issue with the card, but more likely the overwriting ring funtion isn't working. Will try swapping cards again tomorrow to see if last week's data transferred onto the empty card inserted in logger. Notoified Koni & Derek.
39 | 1 | 733_2 | 180926 | 2018-09-17 | 12:02 | 2018-09-26 | 12:01 | Y | Y | It seems that Card # 2 does not record the data from the datalogger, so until a new card arrives with Sam, Card #1 will be the only way to collect data. Thankfully, the CR1000 does store data, so no data loss will occur when it is not installed.
40 | 1 | 734 | 181001 | 2018-09-26 | 12:02 | 2018-10-01 | 11:22 | y | y
41 | 1 | 735_1 | 181008 | 2018-10-01 | 11:56 | 2018-10-02 | 15:58 | y | y | Card did not have data pas 2018-10-02, so I deleted data and placed card back in data logger. Second attempt the following day resulted in just the data from 2018-10-08, but data looked good.
|  | 735_2 | 181009 | 2018-10-08 | 11:36 | 2018-10-08 | 19:33 | y | y | Only data from 2018-10-08 on card. Seems like card is working, but all data from last week is lost. Emailed POCs, will reinsert card today.
42 | 1 | 736 | 181015 | 2018-10-08 | 19:34 | 2018-10-15 | 12:05 | y | y
43 | 1 | 737_1 | 181020 | 2018-10-15 | 12:06 | 2018-10-20 | 14:24
44 | 1 | 737_1 | 181022 | 2018-10-20 | 14:25 | 2018-10-21 | 1212 | y | y | Discrepancy between last line of .dat file and time CF card was pulled
45 | 1 | 738 | 181105 | 2018-08-21 | 21:21 | 2018-11-05 | 1547 | Y | Y | Data not writing to card; At Derek Houtz's direction I restarted the data logger and it appears to be working now. -AA
46 | 1 | 739 | 181115 | 2018-08-21 | 21:21 | 2018-11-15 | 1321 | y | y | Data again not writing to card. On 11-13, cardconvert reported no data on card. After cycling the power on the data logger on 11-14, data wrote, but only recorded the same data (identical dates) as previous week's download. After reformatting the CD card and restarting the data logger again today, the data appear to run to the present date, but still notably go ack to 8-21. Color e confused.
47 | 1 | 740 | 181119 | 2018-08-21 | 21:21 | 2018-11-19 | 1745 | y | y
48 | 1 | 741 | 181126 | 2018-08-21 | 21:21 | 2018-11-26 | 1339 | Y | Y
49 | 1 | 742 | 181204 | 2018-11-26 | 13:40 | 2018-12-02 | 1718 | Y | Y | last line corresponds to when CF card was reinserted. I think.
50 | 1 | 743 | 181214 | 2018-08-21 | 21:21 | 2018-12-14 | 1848 | y | y
51 | 1 | 744 | 181218 | 2018-08-21 | 21:21 | 2018-12-18 | 1739 | y | y
52 | 1 | 745 | see notes |  |  |  |  | y | y | data appear to be out of order?? The timestamp on the first line is: 2018-12-22 14:37:00 The records proceed down to: 2018-12-24 13:26:00 at which point they jump to: 2018-08-24 11:59:00 the records then increment normally all the way to 2018-12-18 17:39:00
53 | 1 | 746 | see notes |  |  |  |  | y | y | See previous week. Latest entry 12-30 1534. oldest 8-30 1540

## Weekly Download SolarTracker
2018 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber DIF….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 180101 | 724 | -30 | Y | 354738 | 359 | 1304 | 1 | 1320 | y | Last week of 2017 + first week of 2018
2 | 180108 | 725 | -15 | Y | 804074 | 1 | 1321 | 8 | 1309 | y
3 | 180117 | 726 | -79 | y | [6 empty] | Unable to connect Monday or Tuesday, Wednesday successful connection. Strange data- nothing past 2018-01-08, data readout went back to 2017 late-year data. Emailed Koni, awaiting instructions.
[5 empty] | 1781262 | [5 empty] | Last pointer number
[5 empty] | 3955 | [5 empty] | Final pointer number after successful connection on 2018-01-17.
4
5 | 180129 | 727 |  | n | 9253 | 307 | none | 307 | none | y | Strange data file. Time correction not changed until after data collection.
| 180131 | 727_2 | 23 | y | 9853 | 307 | none | 307 | none | y | Tried connecting to see if good data could be collected; no luck.
6 | 180205 | [9 empty] | Unable to connect
7 | 180212 | [9 empty] | Unable to connect
8 | 180219 | [9 empty] | Unable to connect
9 | 180226 | [9 empty] | Unable to connect
10 | 180305 | [9 empty] | Unable to connect
11 | 180312 | [9 empty] | Unable to connect
12 | 180319 | 728 | -80 | y | 1225954 | 58 | 325 | 71 | 1834 | y | First 3425 lines of file do not have a date/time. Lines 26956 to end of file are 2017. "Day of year: first line" is line 3426, first entry with a date (2018). "Day of year: last line" is line 26955, last entry for 2018.
13 | 180326 | 729 | 6 | y | 1777588 | 76 | 2202 | 85 | 1157 | y
14 | 180402 | [9 empty] | Unable to connect
15 | 180409 | [9 empty] | Unable to connect
16 | 180416 | [9 empty] | Unable to connect
17 | 180423 | [9 empty] | Unable to connect
18 | 180430 | [9 empty] | Unable to connect
19 | 180507 | [9 empty] | Unable to connect
20 | 180514 | [9 empty] | Unable to connect
21 | 180521 | [9 empty] | Unable to connect
22 | 180528 | [9 empty] | Unable to connect
23 | 180604 | [9 empty] | Unable to connect
24 | 180611 | [9 empty] | Unable to connect
25 | 180618 | [9 empty] | Unable to connect
26 | 180625 | [9 empty] | Unable to connect
27 | 180702 | [9 empty] | Unable to connect
28
29
30
31
32
33
34
35
36 | 180906 | 730 | -1 | y |  | 233 | 1832 | 249 | 1522 | y
37 | 180912 | 731 | -1 | y |  | 249 | 1523 | 254 | 2023 | y
38 | 180917 | 732 | -3 | y |  | 254 | 2024 | 260 | 1753 | y
39 | 180924 | 733 | -10 | y |  | 260 | 1754 | 267 | 1751 | y
40 | 181002 | 734 | -15 | y |  | 267 | 1752 | 275 | 1751 | y
41 | 181009 | 735 | -20 | y |  | 275 | 1752 | 282 | 1709 | y
42 | 181016 | 736 | -7 | y |  | 282 | 1710 | 289 | 1602 | y
43 | 181022 | 737 |  | y |  | 289 | 1603 | 295 | 1718 | y
44 | 181029 | 738 | -16 | y |  | 295 | 1719 | 302 | 1749 | y
45 | 181106 | 739 | -18 | y |  | 302 | 1750 | 310 | 1307 | y
46 | 181112 | 740 | -8 | y |  | 310 | 1308 | 316 | 1315 | y
47 | 181119 | 741 | -11 | y |  | 316 | 1316 | 323 | 1237 | y
48 | 181126 | 742 | -10 | y |  | 323 | 1238 | 330 | 1317 | y
49 | 181203 | 743 | -22 | y |  | 330 | 1318 | 337 | 1337 | y
50 | 181210 | 744 | -18 | Y |  | 337 | 1338 | 344 | 1306 | y
51 | 181217 | 745 | -21 | Y |  | 344 | 1307 | 351 | 1254 | y
52 | 181224 | 746 | -13 | Y |  | 351 | 1255 | 358 | 1404 | Y
53 | 181231 | 747 | -28 | Y |  | 358 | 1405 | 365 | 1306 | Y
Note on E4: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephen's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.
2015 Weekly Data Download PFR
2016 Weekly Data Download PFR
23 | 160609 | PFR101 |  |  | B | 3317723 | 74 | 1259 | 161 | 49 | y |  | WRONG DATA FILE!! (see below)Reinstallation of PFR by Robert Brusa complete as of June 8, 2016.
23 | 160610 | PFR102 |  |  | B |  | 159 | 2152 | 162 | 1042 | Y |  | First day of solar tracker ^ this data is from tracker.
24 | 160614 | PFR103 |  |  | B | 804998 | 162 | 1043 | 166 | 1159 | y
25 | 160620 | PFR104 |  |  | W | 1157790 | 166 | 1200 | 172 | 1045 | y
26 | 160627 | PFR105 | -1 hr, 10min | y | B | 1081279 | 172 | 1046 | 179 | 1449 | y |  | Clock corrected 1718z on 6/29/16
27 | 160704 | PFR106 | +5 | y | W | 1382588 | 179 | 1240 | 186 | 1150 | y
28 | 160711 | PFR107 | +1 | y | B | 1263626 | 186 | 1429 | 193 | 1407 | y
29 | 160718 | PFR108 | +5 | y | W | 1615207 | 193 | 1408 | 200 | 1856 | y
30 | 160725 | PFR109 | +2 | Y | B | 1481564 | 200 | 1827 | 207 | 1152 | y
31 | 160801 | PFR110 | +2 | Y | W | 184810 | 207 | 1153 | 214 | 1143 | y
32 | 160808 | PFR111 | +4 | Y | B | 1708585 | 214 | 1144 | 221 | 1153 | y
33 | 160815 | PFR113 | +3 | Y | W | 2074987 | 221 | 1154 | 228 | 1636 | y
34 | 160822 | PFR114 | +4 | Y | B | 1930228 | 228 | 1637 | 235 | 1247 | y
35 | 160829 | PFR115 | +19 | Y | W | 204133 | 235 | 1248 | 242 | 1218 | y
36 | 160905 | PFR116 |  |  | B | 1930228 | 242 | 1219 | 242 | 1612 | y
36 | 160905 | PFR117 |  |  | B |  | 242 | 1613 | 249 | 1204 | y
37 | 160912 | PFR118 | 4 | Y | W | 432394 | 249 | 1205 | 256 | 1309 | y
38 | 160919 | PFR119 | 27 | Y | B | 285523 | 256 | 1310 | 263 | 1227 | y
39 | 160926 | PFR120 | 2 | Y | W | 660149 | 263 | 1228 | 270 | 1309 | y
40 | 161003 | PFR121 |  |  | B | 325635 | 270 | 1310 | 271 | 1852 | y |  | Last week of PFR data for the season
41 | 161010 | [11 empty] | PFR was not running this week. Shutdown for season
2018 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (1/2) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to Common Drive | transfer to Stephen's server
34 | 180821 | PFR180821_test | n/a | n | B | 468244 | 87 | 0:56 | 233 | 1905
36 | 180905 | PFR122 | n/a | n | 1 | 897700 | 235 | 12:28 | 248 | 17:47 | y | y | 4 files written, saved as PFR122_1, _2 _3, and _4.
37 | 180910 | PFR123 |  |  | 2 | 6698940 | 248 | 17:48 | 253 | 18:29 | y | y
38 | 180917 | PFR124 |  | n | 1 | 1124281 | 253 | 18:30 | 260 | 18:19 | y | y
39 | 180924 | PFR125 |  |  | 2 | 6924846 | 260 | 18:20 | 267 | 17:39 | y | y
40 | 181008 | PFR126 | n/a | n | 1 | 1224292 | 267 | 17:40 | 270 | 19:44 | y | y | Last data download of the season