## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2020 Daily Check Swiss Tower
Daily Check Swiss Tower January 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-01-01 | 1434 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-02 | 1450 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-03 | 1223 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-04 | 1501 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-05 | 1534 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-06 | 1235 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-07 | 1301 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-08 | 1249 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-09 | [5 empty] | Not visited due to extreme winds.
2020-01-10 | 1241 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-11 | [5 empty] | Not visited due to extreme winds.
2020-01-12 | 1144 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-13 | 1607 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-14 | 2109 | rf | rf | clr | n | Removed frost from snow depth sensor. Data download connection unsuccessful.
2020-01-15 | 1516 | rf | rf | clr | n | Removed frost from snow depth sensor. Tried placing computer back. Died. Too cold.
2020-01-16 | 1335 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-17 | 1250 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-18 | 1701 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-19 | 1925 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-20 | 1505 | rf | rf | clr | n | Removed frost from snow depth sensor. Hooked computer back up at tower at 1504Z.
2020-01-21 | 1315 | rf | rf | clr | n | Removed frost from snow depth sensor. Tower computer functioning. Data download connection unsuccessful.
2020-01-22 | 1240 | rf | rf | clr | n | Removed frost from snow depth sensor. Data download troubleshooting.
2020-01-23 | 1546 | rf | rf | clr | n | Removed frost from snow depth sensor. CR23X rebooted. Data (limited) downloaded.
2020-01-24 | 1244 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-25 | 1327 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-26 | 1627 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-27 | 1351 | rf | clr | clr | n | Removed frost from snow depth sensor.
2020-01-28 | 1235 | rf | clr | clr | n | Removed frost from snow depth sensor.
2020-01-29 | 1222 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-30 | 1246 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-01-31 | 1221 | rf | rf | clr | n | Removed frost from snow depth sensor.
Daily Check Swiss Tower February 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-02-01 | 1557 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-02 | 1611 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-03 | 1359 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-04 | 1419 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-05 | 1246 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-06 | [5 empty] | Not visited due to extreme winds.
2020-02-07 | 1242 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-08 | 1821 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-09 | 1655 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-10 | 1654 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-11 | 1312 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-12 | 1303 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-13 | 1253 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-14 | 1244 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-15 | 1350 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-16 | 1240 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-17 | 1031 | rf | rf | clr | n | Removed frost from snow depth sensor.
2020-02-18 | [5 empty] | No rounds conducted today.
2020-02-19 | 1240 | clr | clr | clr | n | First rounds of spring season for Nate. Fan for aspirated T/RH sounds unusually loud and may be starting to fail.
2020-02-20 | 1310 | clr | clr | clr | n
2020-02-21 | 1245 | clr | clr | clr | n | Removed frost from snow height sensor. Pin holding T/RH filter in place failed and filter fell out. Replaced with new filter at ~1510z..
2020-02-22 | 1202 | rf | clr | clr | n | RF-snow height sensor
2020-02-23 | 1210 | rf | rf | clr | n | RF-snow height sensor
2020-02-24 | 1247 | rf | clr | clr | n
2020-02-25 | 1520 | clr | clr | clr | n
2020-02-26 | 1607 | clr | clr | clr | n
2020-02-27 | 1430 | clr | clr | clr | n
2020-02-28 | 1447 | clr | clr | clr | n
2020-02-29 | 1438 | rf | rf | clr | n | RF-snow height sensor
Daily Check Swiss Tower March 2020
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-03-01 | 1410 | clr | clr | clr | n
2020-03-02 | 1440 | clr | clr | clr | n
2020-03-03 | 1412 | clr | clr | clr | n
2020-03-04 | 1850 | clr | clr | clr | n | Fan found to be not working.
2020-03-05 | 2100 | clr | clr | clr | n | Replaced fan at 2105Z
2020-03-06 | 1225 | rf | clr | clr | n
2020-03-07 | 1210 | rf | clr | clr | n
2020-03-08 | [5 empty] | No rounds conducted today.
2020-03-09 | 1207 | rf | clr | clr | n | RF-snow height sensor
2020-03-10 | 1245 | rf | clr | clr | n
2020-03-11 | 1226 | rf | clr | clr | n
2020-03-12 | 1256 | rf | clr | clr | n
2020-03-13 | 1305 | clr | clr | clr | n
2020-03-14 | 1244 | rf | clr | clr | n
2020-03-15 | 1359 | clr | clr | clr | n
2020-03-16 | 1220 | clr | clr | clr | n
2020-03-17 | 1230 | rf | clr | clr | n
2020-03-18 | 1356 | rf | clr | clr | n
2020-03-19 | 1305 | rf | clr | clr | n
2020-03-20 | 1320 | clr | clr | clr | n
2020-03-21 | 1317 | rf | clr | clr | n
2020-03-22 | 1120 | rf | clr | clr | n
2020-03-23 | 1249 | rf | clr | clr | n
2020-03-24 | 1235 | rf | clr | clr | n
2020-03-25 | 1349 | clr | clr | clr | n
2020-03-26 | 1243 | rf | clr | clr | n
2020-03-27 | 1235 | clr | clr | clr | n
2020-03-28 | 1323 | clr | clr | clr | n
2020-03-29 | 1348 | clr | clr | clr | n
2020-03-30 | 1212 | clr | clr | clr | n
2020-03-31 | 1300 | clr | clr | clr | n
Daily Check Swiss Tower April 2020
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-04-01 | 1130 | clr | clr | clr | n
2020-04-02 | 1128 | rf | clr | clr | n
2020-04-03 | 1305 | clr | clr | clr | n
2020-04-04 | 1216 | clr | clr | clr | n
2020-04-05 | 1136 | clr | clr | clr | n
2020-04-06 | 1210 | clr | clr | clr | n
2020-04-07 | 1052 | clr | clr | clr | n
2020-04-08 | 1206 | rf | clr | clr | n
2020-04-09 | 1150 | rf | clr | clr | n
2020-04-10 | 1155 | rf | clr | clr | n
2020-04-11 | 1138 | rf | clr | clr | n
2020-04-12 | 1200 | clr | clr | clr | n
2020-04-13 | 1145 | clr | clr | clr | n
2020-04-14 | 1138 | clr | clr | clr | n
2020-04-15 | 1857 | rf | clr | clr | n
2020-04-16 | 1135 | clr | clr | clr | n
2020-04-17 | 1136 | clr | clr | clr | n
2020-04-18 | 1805 | clr | clr | clr | n
2020-04-19 | 1120 | clr | clr | clr | n
2020-04-20 | 1150 | clr | clr | clr | n
2020-04-21 | 1250 | clr | clr | clr | n
2020-04-22 | 945 | clr | clr | clr | n
2020-04-23 | 1055 | rf | clr | clr | n
2020-04-24 | 1148 | rf | clr | clr | n
2020-04-25 | 1315 | clr | clr | clr | n
2020-04-26 | 932 | clr | clr | clr | n
2020-04-27 | 1322 | clr | clr | clr | n
2020-04-28 | 1213 | clr | clr | clr | n
2020-04-29 | 1158 | rf | clr | clr | n
2020-04-30 | 1158 | rf | clr | clr | n
Daily Check Swiss Tower May 2020
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-05-01 | 1134 | clr | clr | clr | n
2020-05-02 | 1218 | rf | clr | clr | n
2020-05-03 | 954 | clr | clr | clr | n
2020-05-04 | 1145 | rf | clr | clr | n
2020-05-05 | 1138 | rf | clr | clr | n
2020-05-06 | 1125 | clr | clr | clr | n
2020-05-07 | 1131 | clr | clr | clr | n
2020-05-08 | 1150 | clr | clr | clr | n | Tower site powered down at 1748Z.
2020-05-09
2020-05-10
2020-05-11
2020-05-12
2020-05-13
2020-05-14
2020-05-15
2020-05-16
2020-05-17
2020-05-18
2020-05-19
2020-05-20
2020-05-21
2020-05-22
2020-05-23
2020-05-24
2020-05-25
2020-05-26
2020-05-27
2020-05-28
2020-05-29
2020-05-30
2020-05-31
Daily Check Swiss Tower June 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-06-01
2020-06-02
2020-06-03
2020-06-04
2020-06-05
2020-06-06
2020-06-07
2020-06-08
2020-06-09
2020-06-10
2020-06-11
2020-06-12
2020-06-13
2020-06-14
2020-06-15
2020-06-16
2020-06-17
2020-06-18
2020-06-19
2020-06-20
2020-06-21
2020-06-22
2020-06-23
2020-06-24
2020-06-25
2020-06-26
2020-06-27
2020-06-28
2020-06-29
2020-06-30
Daily Check Swiss Tower July 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-07-01
2020-07-02
2020-07-03
2020-07-04
2020-07-05
2020-07-06
2020-07-07
2020-07-08
2020-07-09
2020-07-10
2020-07-11
2020-07-12
2020-07-13
2020-07-14
2020-07-15
2020-07-16
2020-07-17
2020-07-18
2020-07-19
2020-07-20
2020-07-21
2020-07-22
2020-07-23
2020-07-24
2020-07-25
2020-07-26
2020-07-27
2020-07-28
2020-07-29
2020-07-30
2020-07-31
Daily Check Swiss Tower August 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-08-01
2020-08-02
2020-08-03
2020-08-04
2020-08-05
2020-08-06
2020-08-07
2020-08-08
2020-08-09
2020-08-10
2020-08-11
2020-08-12
2020-08-13
2020-08-14
2020-08-15
2020-08-16
2020-08-17
2020-08-18
2020-08-19
2020-08-20
2020-08-21
2020-08-22
2020-08-23
2020-08-24
2020-08-25
2020-08-26
2020-08-27
2020-08-28
2020-08-29
2020-08-30
2020-08-31
Daily Check Swiss Tower September 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-09-01
2020-09-02
2020-09-03
2020-09-04
2020-09-05
2020-09-06
2020-09-07
2020-09-08
2020-09-09
2020-09-10
2020-09-11
2020-09-12
2020-09-13
2020-09-14
2020-09-15
2020-09-16
2020-09-17
2020-09-18
2020-09-19
2020-09-20
2020-09-21
2020-09-22
2020-09-23
2020-09-24
2020-09-25
2020-09-26
2020-09-27
2020-09-28
2020-09-29
2020-09-30
Daily Check Swiss Tower October 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-10-01
2020-10-02
2020-10-03
2020-10-04
2020-10-05
2020-10-06
2020-10-07
2020-10-08
2020-10-09
2020-10-10
2020-10-11
2020-10-12
2020-10-13
2020-10-14
2020-10-15
2020-10-16
2020-10-17
2020-10-18
2020-10-19
2020-10-20
2020-10-21
2020-10-22
2020-10-23
2020-10-24
2020-10-25
2020-10-26
2020-10-27
2020-10-28
2020-10-29
2020-10-30
2020-10-31
Daily Check Swiss Tower November 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-11-01
2020-11-02
2020-11-03
2020-11-04
2020-11-05
2020-11-06
2020-11-07
2020-11-08
2020-11-09
2020-11-10
2020-11-11
2020-11-12
2020-11-13
2020-11-14
2020-11-15
2020-11-16
2020-11-17
2020-11-18
2020-11-19
2020-11-20
2020-11-21
2020-11-22
2020-11-23
2020-11-24
2020-11-25
2020-11-26
2020-11-27
2020-11-28
2020-11-29
2020-11-30
Daily Check Swiss Tower December 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-12-01
2020-12-02
2020-12-03
2020-12-04
2020-12-05
2020-12-06
2020-12-07
2020-12-08
2020-12-09
2020-12-10
2020-12-11
2020-12-12
2020-12-13
2020-12-14
2020-12-15
2020-12-16
2020-12-17
2020-12-18
2020-12-19
2020-12-20
2020-12-21
2020-12-22
2020-12-23
2020-12-24
2020-12-25
2020-12-26
2020-12-27
2020-12-28
2020-12-29
2020-12-30
2020-12-31

## Solar Instruments Daily Check
2020 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | Time: hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Sensor lens | Rotating Device: Filters (1-3) | Tracker Alignment | Shade Arms | comments (general maintenance / power outages / fan-check)
2020-01-01 | 1520 | clr | rm hf | 1340 | rm hf 1,2 | could not reach |  | rm hf
2020-01-02 | 1455 | rm hf 1 - 2,3 clr | rm hf | 1345 | rm hf 1, 2 clr | could not reach |  | rm hf
2020-01-03 | 1300 | clr | rm lf | 1250 | clr | could not reach |  | rm lf
2020-01-04 | 1340 | rm hf 1 - 2,3 clr | rm hf | 1325 | rm hf 1, 2 clr | could not reach |  | rm hf
2020-01-05 | 1655 | rm lf 1 - 2,3 clr | rm lf | 1640 | clr | could not reach |  | rm lf
2020-01-06 | 1515 | clr | rm lf | 1505 | clr | could not reach |  | rm lf
2020-01-07 | 1820 | rm hf 1 - 2,3 clr | rm hf | 1805 | rm hf 1,2 | rm hf |  | rm hf
2020-01-08 | 1505 | clr | rm lf | 1445 | clr | could not reach |  | rm lf
2020-01-09 | [10 empty] | Could not safely visit TAWO due to 40-50 kn gusting winds
2020-01-10 | 1315 | rm hf 1 - 2,3 clr | rm lf | 1300 | rm hf 1, 2 clr | could not reach |  | rm lf
2020-01-11 | 1315 | rm hf 1 - 2,3 clr | rm hf | 1300 | clr | could not reach |  | rm lf
2020-01-12 | 1605 | rm lf 1 - 2,3 clr | rm hf | 1550 | clr | could not reach |  | rm lf
2020-01-13 | 1410 | rm hf 1 - 2,3 clr | rm hf | 1355 | rm hf 1,2 | could not reach |  | rm lf
2020-01-14 | 1910 | rm hf 1 - 2,3 clr | rm hf | 1900 | rm hf 1,2 | rm hf |  | rm hf
2020-01-15 | 1515 | rm hf 1 - 2,3 clr | rm lf | 1455 | rm hf 1,2 | could not reach |  | rm hf
2020-01-16 | 2010 | rm hf 1 - 2,3 clr | rm lf | 1955 | rm hf 1,2 | rm hf |  | rm hf
2020-01-17 | 1420 | clr | rm lf | 1410 | clr | could not reach |  | clr
2020-01-18 | 1630 | rm lf 1 - 2,3 clr | rm lf | 1615 | rm lf 1, 2 | could not reach |  | rm lf
2020-01-19 | - | - | - | - | - | - |  | - |  |  | Could not safely visit TAWO due to 30+ kn sustained winds
2020-01-20 | 1600 | rm lf 1 - 2,3 clr | rm hf | 1545 | rm lf 1, 2 | could not reach |  | rm lf
2020-01-21 | 1550 | rm lf 1 - 2,3 clr | rm lf | 1540 | rm lf 1, 2 | could not reach |  | rm lf
2020-01-22 | 1950 | clr | rm hf | 1940 | rm lf 1, 2 | clr |  | rm lf
2020-01-23 | 1800 | rm lf 1 - 2,3 clr | rm hf | 1750 | clr | clr |  | rm lf
2020-01-24 | 1400 | rm lf 1 - 2,3 clr | rm hf | 1345 | rm lf 1, 2 clr | could not reach |  | rm lf
2020-01-25 | 1310 | rm lf 1 - 2,3 clr | rm lf | 1300 | rm lf 1, 2 clr | could not reach |  | rm lf
2020-01-26 | 1315 | clr | rm lf | 1305 | rm lf 1, 2 clr | could not reach |  | rm lf
2020-01-27 | 1515 | clr | rm lf | 1500 | rm lf 1, 2 clr | could not reach |  | rm lf
2020-01-28 | 1745 | rm lf 1 - 2,3 clr | rm lf | 1730 | rm lf 1, 2 | rm lf |  | rm lf
2020-01-29 | 1740 | rm lf 1 - 2,3 clr | rm lf | 1725 | rm hf 1,2 | rm hf |  | rm lf
2020-01-30 | 1630 | rm lf 1 - 2,3 clr | rm lf | 1510 | rm hf 1,2 | could not reach |  | rm lf
2020-01-31 | 1430 | rm hf 1 - 2,3 clr | rm hf | 1420 | rm hf 1,2 | could not reach |  | rm hf
Daily Check Solar Tracker February 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-02-01 | 1630 | rm lf 1 - 2,3 clr | rm hf | 1615 | rm hf 1,2 | could not reach |  | rm hf
2020-02-02 | [10 empty] | did not visit TAWO
2020-02-03 | 1520 | rm lf 1 - 2,3 clr | rm hf | 1510 | rm hf 1,2 | could not reach |  | rm hf
2020-02-04 | 1545 | rm hf 1 - 2,3 clr | rm hf | 1530 | rm hf 1,2 | could not reach |  | rm hf
2020-02-05 | 1700 | rm lf 1 - 2,3 clr | rm hf | 1645 | rm hf 1, 2 clr | could not reach |  | rm hf
2020-02-06 | [10 empty] | could not visit TAWO due to 30 kn prevailing winds
2020-02-07 | 1455 | rm lf 1 - 2,3 clr | rm hf | 1440 | rm hf 1, 2 | could not reach |  | rm hf
2020-02-08 | 1800 | rm lf 3, 1,2 clr | rm hf | 1745 | clr | could not reach |  | clr
2020-02-09 | 1850 | clr | rm hf | 1835 | rm hf 1, 2 clr | clr |  | rm lf
2020-02-10 | 1845 | rm hf 1, 2, 3 | rm hf | 1810 | rm hf 1 ,2 | rm hf |  | rm hf
2020-02-11 | 1820 | rm lf 1 - 2,3 clr | rm lf | 1805 | rm hf 1, 2 | rm hf |  | rm lf
2020-02-12 | 1705 | rm lf 1 - 2,3 clr | rm lf | 1650 | rm hf 1, 2 clr | could not reach |  | rm hf
2020-02-13 | 1335 | rm lf 1 - 2,3 clr | rm lf | 1320 | rm hf 1,2 | could not reach |  | rm hf
2020-02-14 | 1430 | rm lf 1 - 2,3 clr | rm lf | 1355 | rm lf 1,2 | could not reach |  | rm hf 2 and 3
2020-02-15 | 1403 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1328 | rm lf 1,2 | could not reach |  | rm lf 2 and 3
2020-02-16 | 1450 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1358 | rm lf 1 and 2 | could not reach |  | rm lf 2 and 3
2020-02-17 | 1315 | rm lf 1 - 2,3 clr | rm hf 1-4 | 1245 | rm hf 1,2 | rm hf |  | rm lf 2 and 3
2020-02-18 | 1518 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1506 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3 |  |  | Removed the filters under the fixed arm dome (#1) to clear impacted snow and pieces of a disintegrating filter
2020-02-19 | 1452 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1439 | rm lf 1 and 2 | rm lf |  | clr
2020-02-20 | 1540 | rm hf 1, 2, 3 | rm lf 1 | 1517 | rm hf 1 and 2 | rm hf |  | clr
2020-02-21 | 1311 | rm lf 1, 2 and 3 clr | clr | 1250 | rm hf 1 and 2 | rm hf |  | rm lf
2020-02-22 | 1252 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1241 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-02-23 | 1304 | rm lf 1, 2 and 3 clr | rm lf 1 and 2 | 1257 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-02-24 | 1451 | rm lf 1, 2 and 3 clr | clr | 1350 | rm lf 1 and 2 | rm lf |  | rm lf 2 and 3
2020-02-25 | 1445 | rm lf 1, 2 and 3 clr | clr | 1456 | rm lf 1 and 2 | clr |  | rm lf 2 and 3
2020-02-26 | 1501 | rm lf 1, 2 and 3 clr | clr | 1453 | rm hf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-02-27 | 1454 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1445 | rm hf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-02-28 | * |  |  | * | [6 empty] | *Unable to travel to TAWO in CON 1 windchill conditions with extremely cold ambient temperatures (-62C)
2020-02-29 | * |  |  | * | [6 empty] | *Unable to clean intstruments in CON 1 windchill conditions with extremely cold amient temperatures
Daily Check Swiss March 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-03-01 | 1357 | rm lf 1, 2 and 3 clr | clr | 1343 | rm hf 1 and 2 | rm hf |  | clr
2020-03-02 | 1350 | rm lf 1, 2 and 3 clr | clr | 1338 | clr | clr |  | clr
2020-03-03 | 1305 | clr | rm lf 1-4 | 1246 | clr | clr |  | rm lf 2 and 3
2020-03-04 | 1320 | rm lf 1, 2 and 3 clr | rm lf 3-4 | 1306 | rm lf 1 and 2 | rm hf |  | clr
2020-03-05 | 1326 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1316 | rm lf 1 and 2 | rm hf |  | clr
2020-03-06 | 1258 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1253 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-03-07 | 1254 | clr | rm lf 1-4 | 1248 | clr | clr |  | rm lf 2 and 3
2020-03-08 | 1309 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1331 | rm lf 1 and 2 | rm lf |  | rm lf 2 and 3
2020-03-09 | 1330 | rm lf 1, 2 and 3 clr | clr | 1302 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-03-10 | 1306 | clr | rm lf 1-4 | 1258 | clr | clr |  | rm lf 2 and 3
2020-03-11 | 1506 | rm hf 1, 2 and 3 clr | clr | 1442 | rm hf 1 and 2 | rm hf |  | clr
2020-03-12 | 1303 | rm hf 1, 2 and 3 clr | clr | 1252 | rm hf 1 and 2 | rm hf |  | clr
2020-03-13 | 1452 | rm hf 1, 2 and 3 clr | clr | 1440 | rm hf 1 and 2 | rm hf |  | clr
2020-03-14 | 1320 | rm hf 1, 2 and 3 clr | rm lf 1-4 | 1307 | rn lf 1 and 2 | rm lf |  | rm lf 2 and 3
2020-03-15 | 1443 | rm hf 1, 2 and 3 clr | clr | 1430 | rm lf 1 and 2 | rm lf |  | clr
2020-03-16 | 1306 | clr | clr | 1256 | clr | clr |  | clr
2020-03-17 | 1250 | rm hf 1, 2 and 3 clr | rm hf 1-4 | 1240 | rm hf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-03-18 | 1420 | rm hf 1, 2 and 3 clr | clr | 1411 | rm hf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-03-19 | 1306 | rm hf 1, 2 and 3 clr | clr | 1258 | rm hf 1 and 2 | rm lf |  | clr
2020-03-20 | 1315 | clr | clr | 1304 | clr | clr |  | clr
2020-03-21 | 1340 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1320 | rm hf 1 and 2 | clr |  | rm lf 2 and 3
2020-03-22 | 1422 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1410 | rm hf 1 and 2 | rm lf |  | rm lf 2 and 3
2020-03-23 | 1311 | clr | rm lf 1-4 | 1304 | clr | clr |  | clr
2020-03-24 | 1308 | rm lf 1, 2 and 3 clr | clr | 1252 | rm lf 1 and 2 | clr |  | rm lf 2 and 3
2020-03-25 | 1350 | rm lf 1, 2 and 3 clr | clr | 1419 | rm lf 1 and 2 | rm lf |  | rm lf 2 and 3
2020-03-26 | 1333 | rm lf 1, 2 and 3 clr | clr | 1323 | clr | clr |  | clr
2020-03-27 | 1259 | rm lf 1, 2 and 3 clr | rm lf 3-4 | 1251 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3
2020-03-28 | 1250 | rm lf 1, 2 and 3 clr | clr | 1258 | rm lf 1 and 2 | clr |  | clr
2020-03-29 | 1219 | clr | rm lf 1-4 | 1203 | clr | clr |  | rm lf 2 and 3
2020-03-30 | 1157 | clr | rm hf 1-4 | 1150 | clr | clr |  | rm lf 2 and 3 |  |  | Tracker out of alignment: Shade arms not shading domes
2020-03-31 | 1210 | clr | clr | 1207 | clr | clr |  | clr |  |  | Tracker out of alignment: Shade arms not shading domes
Daily Check Solar Tracker April 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-04-01 | 1212 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1205 | clr | clr |  | clr |  |  | Tracker out of alignment: Shade arms not shading domes
2020-04-02 | 1205 | clr | rm lf 1-4 | 1150 | clr | clr |  | rm lf 2 and 3 |  |  | Tracker out of alignment: Shade arms not shading domes
2020-04-03 | 1208 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1200 | rm lf 1 and 2 | rm lf |  | rm lf 2 and 3 |  |  | Tracker out of alignment: Shade arms not shading domes
2020-04-04 | 1142 | clr | rm hf 1-4 | 1134 | clr | clr |  | clr |  |  | Tracker out of alignment: Shade arms not shading domes
2020-04-05 | 1304 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1255 | rm lf 1 and 2 | clr |  | rm lf 2 and 3 |  |  | Tracker out of alignment: Shade arms not shading domes
2020-04-06 | 1151 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1140 | rm lf 1 and 2 | clr |  | rm lf 2 and 3 |  |  | Tracker out of alignment: Shade arms not shading domes
2020-04-07 | 1120 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1110 | rm lf 1 and 2 | clr |  | rm lf 2 and 3 |  |  | At 1400z, we re-aligned the tracker and placed it in sun-mode. The shade arms were covering the radiometer domes and the diopters on the PFR mount score "B"
2020-04-08 | 1201 | rm lf 1, 2 and 3 clr | rm hf 1-4 | 1150 | rm lf 1 and 2 | rm hf |  | rm lf 2 and 3 | A | yes | Tracker remained in good-alignment after yesterday's work. The shdade arms are covering the domes and the diopters on the PFR mount score "A"
2020-04-09 | 1215 | rm lf 1, 2 and 3 clr | rm lf 3-4 | 1208 | rm hf 1 and 2 | clr |  | rm lf 2 and 3 | A | yes
2020-04-10 | 1208 | rm lf 1, 2 and 3 clr | clr | 1158 | rm hf 1 and 2 | clr |  | rm lf 2 and 3 | - | - | Sun not bright enough for diopter assessment
2020-04-11 | 1157 | rm lf 1, 2 and 3 clr | rm lf 3-4 | 1146 | rm lf 1 and 2 | clr |  | rm lf 2 and 3 | - | - | Sun not bright enough for diopter assessment
2020-04-12 | 1258 | clr | clr | 1308 | clr | clr |  | rm lf 2 and 3 | - | - | Sun not bright enough for diopter assessment
2020-04-13 | 1150 | clr | rm hf 1-4 | 1206 | clr | clr |  | rm lf 2 and 3 | - | - | Sun not bright enough for diopter assessment
2020-04-14 | 1130 | clr | rm lf 3-4 | 1144 | clr | clr |  | rm lf 2 and 3 | - | yes | Sun not bright enough for diopter assessment
2020-04-15
2020-04-16 | 1155 | rf 1, 2 and 3 clr | rm hf 1-4 | 1205 | clr | clr |  | clr | - | yes | Sun not bright enough for diopter assessment
2020-04-17 | 1130 | clr | clr | 1121 | clr | clr |  | clr | - | yes | Sun not bright enough for diopter assessment
2020-04-18 | [10 empty] | No TAWO visit due to sustained 40kn winds
2020-04-19 | 1242 | rf 1, 2 and 3 clr | rm hf 1-4 | 1239 | clr | clr |  | clr | - | - | Solar tracker became off-track during storm. Currently pointing in opposite direction of the sun.
2020-04-20 | 1155 | rf 1, 2 and 3 clr | rm lf 1-4 | 1145 | rm lf 1-2 | rm lf |  | rm lf | C-D | yes
2020-04-21 | 1153 | rf 1, 2 and 3 clr | rm lf 1-4 | 1143 | rm lf 1-2 | clr |  | rm hf 2-3 | D | yes | Made replacement filters for albedo stand, replaced 1430-1452z
2020-04-22 | 1210 | rf 1, 2 and 3 clr | rm lf 1-4 | 1205 | rm lf 1-2 | rm lf |  | clr | D | yes
2020-04-23 | 1158 | rf 1, 2 and 3 clr | rm lf 1-4 | 1152 | rm lf 1-2 | clr |  | clr | D | yes
2020-04-24 | 1142 | rf 1, 2 and 3 clr | rm lf 1-4 | 1138 | rm lf 1-2 | clr |  | rm lf 2-3 | D | yes
2020-04-25 | 1201 | clr | clr | 1157 | clr | clr |  | clr | D | yes
2020-04-26 | 1330 | rf 1, 2 and 3 clr | clr | 1320 | rm lf 1-2 | clr |  | clr | D | yes
2020-04-27 | 1138 | clr | clr | 1130 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-04-28 | 1154 | clr | clr | 1148 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-04-29 | 1213 | rf 1, 2 and 3 clr | clr | 1203 | rm lf 1-2 | clr |  | clr | D | yes
2020-04-30 | 1245 | clr | clr | 1233 | clr | clr |  | clr | D | yes
Daily Check Solar Tracker May 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-05-01 | 1126 | clr | clr | 1119 | clr | clr |  | clr | C | yes | Improved alignment on the tracker using IntraCfg software 1220-1245z
2020-05-02 | 1132 | clr | clr | 1128 | rm lf | clr |  | clr | C | yes
2020-05-03 | 1415 | clr | clr | 1410 | clr | clr |  | clr | C | yes
2020-05-04 | 1158 | rm lf 1, 2 and 3 clr | rm lf 2-4 | 1153 | rm lf 1 | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-05 | 1147 | rm lf 1, 2 and 3 clr | clr | 1200 | rm lf 1 | clr |  | clr | C | yes
2020-05-06 | 1206 | rm lf 1, 2 and 3 clr | clr | 1220 | rm lf 1 | clr |  | clr | C | yes
2020-05-07 | 1158 | rm lf 1, 2 and 3 clr | clr | 1202 | rm lf 1 | clr |  | clr | C | yes
2020-05-08 | 1112 | clr | clr | 1108 | rm lf 1 | clr |  | clr | C | yes
2020-05-09 | 1112 | clr | clr | 1108 | rm lf 1 | clr |  | clr | C | yes
2020-05-10 | 1159 | clr | clr | 1212 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-11 | 1150 | clr | rf 3-4 | 1205 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-12 | 1135 | clr | clr | 1148 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-13 | 1135 | clr | rf 3-4 | 1150 | clr | clr |  | clr | C | yes
2020-05-14 | 1158 | rf 1, 2 and 3 clr | rf 3-4 | 1148 | rm lf 1 | rm hf |  | rm hf 2-3 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-15 | 1158 | rf 1, 2 and 3 clr | clr | 1154 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-16 | 1200 | rf 1, 2 and 3 clr | rm lf 1-4 | 1219 | rm lf 1 | clr |  | rm hf 2-3 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-17 | 1200 | rf 1, 2 and 3 clr | clr | 1205 | rm lf 1 | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-05-18 | 914 | rf 1, 2 and 3 clr | clr | 0905 | rm lf 1 | clr |  | clr | C | yes
2020-05-19 | 1648 | clr | clr | 1658 | clr | clr |  | rm lf 2-3 | C | yes
2020-05-20 | 1158 | clr | clr | 1212 | clr | clr |  | clr | C | yes
2020-05-21 | 1208 | clr | clr | 1213 | clr | clr |  | clr | C | yes
2020-05-22 | 1142 | clr | clr | 1150 | clr | clr |  | clr | C | yes
2020-05-23 | 1638 | clr | clr | 1645 | clr | clr |  | clr | C | yes
2020-05-24 | 1202 | rm lf 1, 2 and 3 clr | clr | 1215 | clr | clr |  | clr | C | yes
2020-05-25 | 1206 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1218 | rm lf 1 | clr |  | rm lf 2-3 | C | yes
2020-05-26 | 1254 | clr | clr | 1249 | clr | clr |  | clr | C | yes
2020-05-27 | 1323 | clr | clr | 1330 | clr | clr |  | rm lf 2-3 | C | yes
2020-05-28 | 1218 | clr | clr | 1220 | clr | clr |  | rm lf 2-3 | C | yes
2020-05-29 | 1152 | clr | clr | 1204 | clr | clr |  | clr | c | yes
2020-05-30 | 1250 | clr | clr | 1300 | clr | clr |  | clr | C | yes
2020-05-31 | 1215 | clr | clr | 1224 | clr | clr |  | clr | C | yes
Daily Check Solar Tracker June 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-06-01 | 1213 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1222 | rm lf 1 | clr |  | rm lf 2-3 | C | yes
2020-06-02 | 1209 | clr | clr | 1222 | clr | clr |  | clr | C | yes
2020-06-03 | 1533 | clr | clr | 1529 | clr | clr |  | clr | C | yes
2020-06-04 | 1205 | clr | clr | 1150 | clr | clr |  | rm lf 2-3 | - | -
2020-06-05 | 1300 | rm lf 1, 2 and 3 clr | clr | 1308 | clr | clr |  | clr | C | yes
2020-06-06 | 1308 | clr | clr | 1316 | clr | clr |  | clr | C | yes
2020-06-07 | 1147 | clr | clr | 1158 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-08 | 1320 | clr | clr | 1330 | clr | clr |  | clr | C | yes
2020-06-09 | 1159 | clr | clr | 1154 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-10 | 1155 | clr | clr | 1204 | clr | clr |  | clr | C | yes
2020-06-11 | 1250 | clr | clr | 1257 | clr | clr |  | clr | C | yes
2020-06-12 | 1318 | clr | clr | 1322 | clr | clr |  | clr | C | yes
2020-06-13 | 1151 | clr | clr | 1208 | clr | clr |  | clr | C | yes
2020-06-14 | 1255 | clr | clr | 1307 | rm lf 1 | clr |  | clr | C | yes
2020-06-15 | 1156 | clr | clr | 1208 | clr | clr |  | clr | C | yes
2020-06-16 | 1230 | clr | clr | 1240 | clr | clr |  | clr | C | yes
2020-06-17 | 1543 | clr | clr | 1537 | clr | clr |  | clr | C | yes
2020-06-18 | 1140 | clr | clr | 1153 | clr | clr |  | clr | C | yes
2020-06-19 | 1205 | clr | clr | 1215 | clr | clr |  | clr | C | yes
2020-06-20 | 1150 | clr | rm lf 1 | 1205 | clr | clr |  | rm lf 2 | C | yes
2020-06-21 | 1307 | clr | clr | 1315 | clr | clr |  | clr | C | yes
2020-06-22 | 1250 | clr | clr | 1303 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-23 | 1150 | clr | clr | 1158 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-24 | 1230 | clr | clr | 1238 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-25 | 1840 | clr | clr | 1850 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-26 | 1241 | clr | clr | 1257 | clr | clr |  | rm lf 2-3 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-27 | 1320 | rm lf 1, 2 and 3 clr | clr | 1328 | rm lf 1 | clr |  | rm lf 2-3 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-28 | 1350 | clr | clr | 1350 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-29 | 1231 | clr | clr | 1239 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-06-30 | 1255 | rm lf 1, 2 and 3 clr | clr | 1305 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
Daily Check Solar Tracker July 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-07-01 | 1458 | clr | clr | 1505 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-02 | 1241 | clr | clr | 1250 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-03 | 1230 | clr | clr | 1238 | clr | clr |  | clr | C | yes
2020-07-04 | 1354 | clr | clr | 1358 | clr | clr |  | clr | C | yes
2020-07-05 | 1239 | clr | clr | 1247 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-06 | 1149 | clr | clr | 1154 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-07 | 1250 | clr | clr | 1259 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-08 | 1156 | clr | clr | 1210 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-09 | 1250 | clr | clr | 1254 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-10 | 1238 | clr | clr | 1245 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-11 | 1206 | clr | rm lf 3-4 | 1212 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-12 | 1226 | clr | clr | 1232 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-13 | 1320 | clr | clr | 1326 | clr | clr |  | clr | C | yes
2020-07-14 | 1222 | clr | clr | 1229 | clr | clr |  | clr | C | yes
2020-07-15 | 1248 | clr | clr | 1256 | clr | clr |  | clr | C | yes | Sun not bright enough for diopter or shade arm assessment
2020-07-16 | 1335 | clr | clr | 1340 | clr | clr |  | clr | C | yes
2020-07-17 | 1115 | rm lf 1, 2 and 3 clr | clr | 1122 | rm lf | clr |  | clr | C | yes
2020-07-18 | 1310 | clr | rm lf 1-4 | 1300 | rm lf | clr |  | rm lf 1-2 | C | yes
2020-07-19 | 1147 | clr | clr | 1155 | clr | clr |  | rm lf 1-2 | C | yes
2020-07-20 | 1420 | clr | clr | 1418 | clr | clr |  | clr | C | yes
2020-07-21 | 1354 | clr | clr | 1405 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-22 | 1302 | clr | clr | 1310 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-23 | 1210 | rm lf 1, 2 and 3 clr | rm lf 1-2 | 1215 | clr | rm lf |  | clr | C | yes
2020-07-24 | 1350 | clr | clr | 1357 | clr | clr |  | rm lf 1-2 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-25 | 1230 | rm lf 1, 2 and 3 clr | clr | 1235 | clr | clr |  | rm lf 1-3 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-26 | 1156 | rm lf 1, 2 and 3 clr | clr | 1210 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-27 | 1216 | clr | clr | 1224 | clr | clr |  | rm lf 1-2 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-28 | 1223 | rm lf 1, 2 and 3 clr | rm lf 1-2 | 1233 | clr | clr |  | rm lf 1-2 | C | yes
2020-07-29 | 1247 | clr | clr | 1256 | clr | clr |  | rm lf 1-2 | - | - | Sun not bright enough for diopter or shade arm assessment
2020-07-30 | 1250 | clr | rm lf 1-2 | 1254 | clr | clr |  | rm lf 1-2 | C | yes | Raised albedo stand. Instruments offline from 1323-1907z
2020-07-31 | 1348 | clr | rm lf 1-2 | 1336 | rm lf 1 | clr |  | rm lf 1-2 | C | yes
Daily Check Solar Tracker August 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-08-01 | 1354 | clr | rm lf 1-2 | 1405 | rm lf 1 | clr |  | rm lf 1-2 | C | yes
2020-08-02 | 1332 | clr | clr | 1340 | clr | clr |  | rm lf 1-2 | C | yes
2020-08-03 | 1320 | clr | clr | 1329 | clr | clr |  | clr | C | yes
2020-08-04 | 1350 | clr | clr | 1359 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-05 | 1249 | clr | clr | 1253 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-06 | 1404 | clr | clr | 1414 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-07 | 1350 | clr | clr | 1358 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-08 | 1350 | clr | clr | 1357 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-09 | 1248 | clr | clr | 1254 | clr | clr |  | clr | C | yes
2020-08-10 | 1247 | clr | clr | 1255 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-11 | 1339 | clr | clr | 1350 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-12
2020-08-13 | 1250 | clr | rm hf 1-4 | 1257 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-14 | 1250 | clr | rm hf 1-4 | 1257 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-15 | [10 empty] | Could not visit TAWO today due to poor visibility and sustained 30 kn winds
2020-08-16 | 1230 | clr | rm lf 1-4 | 1245 | clr | clr |  | clr | - | - | Sun not bright enough for diopter or shade arm assessment
2020-08-17 | 1514 | clr | rm lf 1-2, clr 3-4 | 1524 | rm lf 1, clr 2 | clr |  | rm lf 2-3, clr 1 | C | yes
2020-08-18 | 1215 | clr | rm lf 1-2, clr 3-4 | 1247 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | D | no
2020-08-19 | 1218 | clr | rm lf 1-4 | 1230 | clr | clr |  | rm lf 2-3, clr 1 | - | - | Overcast conditions prevent tracker alignment/shade arm correction
2020-08-20 | 1157 | rm lf 1, 2 and 3 clr | rm lf 1-4 | 1305 | rm lf 1, clr 2 | rm hf |  | rm lf 2-3, clr 1 | - | - | Overcast conditions prevent tracker alignment/shade arm correction. Two brief planned power outages between 1720-1726, each lasting ~1 min.
2020-08-21 | 1230 | clr | rm lf 1-4 | 1250 | clr | clr | clr | rm lf 2-3, clr 1 | - | - | Solar tracker realigned at ~2000z
2020-08-22 | [10 empty] | Did not visit TAWO due to ICESat and turnover training
2020-08-23 | 1102 | clr | rm lf 1-4 | 1115 | clr | rm lf | rm lf | rm lf 2-3, clr 1 | B | yes | removed frost from platform
2020-08-24 | 1057 | clr | rm lf 1-4 | 1117 | clr | clr | clr | rm lf 2-3, clr 1 | B | yes | Downloaded solar tracker data 1221-1240z
2020-08-25 | 1212 | clr | rm lf 1-4 | 1228 | rm lf 1, clr 2 | clr | clr | rm lf 2-3, clr 1 | B | yes | shade arms may need slight adjustment
2020-08-26 | 1211 | clr | rm lf 1-2, clr 3-4 | 1218 | clr | clr | clr | clr | - | -
2020-08-27 | 1215 | clr | rm lf 1-3, clr 4 | 1230 | rm lf 1, clr 2 | clr | clr | rm lf 2-3, clr 1 | B | yes | Unplanned power outage 1136-1137UTC
2020-08-28 | 1150 | clr | rm lf 1-2, clr 3-4 | 1210 | clr | clr | clr | rm lf 2-3, clr 1 | - | -
2020-08-29 | 1150 | rm lf 1, 2 and 3 clr | rm lf 1-2, clr 3-4 | 1205 | rm lf 1, clr 2 | rm lf | clr | rm lf 2-3, clr 1 | - | -
2020-08-30 | 1140 | clr | rm lf 1-2, clr 3-4 | 1150 | rm lf 1, clr 2 | clr | clr | rm lf 2-3, clr 1 | - | -
2020-08-31 | 1155 | clr | rm lf 1-3, clr 4 | 1210 | clr | clr | clr | rm lf 2-3, clr 1 | F | no | Plan realignment. Downloaded solar tracker data 1258-1320
Daily Check Solar Tracker September 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-09-01 | 1153 | clr | rm lf 1-2, clr 3-4 | 1203 | clr | rm lf |  | rm lf 2-3, clr 1 | - | - | Initial check was overcast. Upon departing TAWO at approx 1510Z I was able to observe Tracker Alignment: D and Shade Arms: Yes
2020-09-02 | 1120 | clr | rm lf 1-2, clr 3-4 | 1130 | clr | clr |  | rm lf 2-3, clr 1 | F | no
2020-09-03 | 1139 | clr | rm lf 1-2, clr 3-4 | 1149 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-09-04 | 1118 | rm lf 1, clr 2-3 | rm lf 1-3, clr 4 | 1138 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | Tracker is in Clock Mode 1438. Fog prevents effective realignment/trroubleshooting 1438.
2020-09-05 | 1113 | rm lf 1, clr 2-3 | rm lf 1-2, clr 3-4 | 1126 | clr | clr |  | rm lf 2-3, clr 1 | F | no | No teammate available to assist with realignment
2020-09-06 | 1155 | clr | rm lf 1-2, clr 3-4 | 1200 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-09-07 | 1146 | clr | rm lf 1-4 | 1159 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | Downloaded solar tracker data 1326-1337z. Identified error in Solar Tracker location.
2020-09-08 | 1209 | clr | clr | 1215 | clr | clr |  | clr | -
2020-09-09 | 1206 | rm lf 1 3, clr 2 | rm lf 1-4 | 1228 | rm lf 1, clr 2 | clr |  |  | F | no
2020-09-10 | 1159 | clr | clr | 1206 | clr | clr |  | clr | F | no | Attempted to zero solar tracker 1330-1400z. Made adjustments to location by approx 1/100 of a degree, and elevation +34m. Then followed re-zeroing procedure without success.
2020-09-11 | 1156 | rm lf 1, clr 2-3 | rm lf 1-4 | 1149 | rm lf 1, clr 2 | rm lf |  | lf | F | no | Attempted to zero solar tracker 1336-1341z. Identified 00002000flag after checkin SA axis
2020-09-12 | 1156 | clr | rm lf 1-2, clr 3-4 | 1207 | rm lf 1, clr 2 | clr |  | clr | - | -
2020-09-13 | 1123 | rm lf 1, clr 2-3 | rm lf 1-2, clr 3-4 | 1135 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | F | no
2020-09-14 | 1120 | clr | rm lf 1-2, clr 3-4 | 1130 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | mesh filters are deteriorating, possibly due to decreased temperatures
2020-09-15 | 1116 | clr | rm lf 1-2, clr 3-4 | 1122 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | Data download 1330-1340z
2020-09-16 | 1139 | clr | clr | 1156 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-09-17 | 1135 | clr | rm lf 1-4 | 1145 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | Assesed solar tracker stand with hand level, it is very close to level
2020-09-18 | 1205 | rm lf 1, clr 2-3 | rm lf 1-4 | 1220 | rm lf 1, clr 2 | rm hf |  | rm lf 2-3, clr 1 | F | no
2020-09-19 | 1111 | clr | rm lf 1-2, clr 3-4 | 1224 | clr | rm lf |  | rm lf 2-3, clr 1 | - | - | checked and photographed Tracker Box and heater breakers, possibly turned off
2020-09-20 | 1146 | clr | clr | 1153 | rm lf 1, clr 2 | rm lf |  | clr | F | no | 1209 UTC cycled auxilery heater breaker in tracker box
2020-09-21 | 1140 | clr | rm lf 1-2, clr 3-4 | 1147 | rm lf 1, clr 2 | clr |  | rm lf 2-3, clr 1 | F | no | 1320-1409 UTC Weekly data download
2020-09-22 | 1236 | clr | rm lf 1-4 | 1242 | clr | clr |  | rm lf 2-3, clr 1 | F | no
2020-09-23 | 1158 | clr | rm lf 1-4 | 1215 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-09-24 | 1153 | clr | rm lf 1-2, clr 3-4 | 1157 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no
2020-09-25 | 1157 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1208 | rm lf 1, clr 2 | rm hf |  | rm lf 2-3, clr 1 | - | -
2020-09-26 | 1225 | clr | rm hf 1-2, rm lf 2-4 | 1236 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | -
2020-09-27 | 1107 | clr | rm lf 1-2, clr 3-4 | 1113 | clr | clr |  | rm lf 2-3, clr 1 | F | no
2020-09-28 | 1158 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1208 | rm lf 1, clr 2 | rm lf |  | lf | F | no | 1250-1305 UTC Weekly data download, 1700-1800 re alignment
2020-09-29 | 1159 | clr | rm lf 1-4 | 1211 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | replaced albedo filters 1-2, replaced tracker filters 2-3
2020-09-30 | 1120 | clr | rm lf 1-2, clr 3-4 | 1129 | clr | clr |  | rm lf 2-3, clr 1 | F | no
Daily Check Solar Tracker October 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-10-01 | 1139 | clr | rm lf 1-2, clr 3-4 | 1146 | clr | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-02 | 1144 | clr | rm hf 3. rm lf 4, clr 1-2 | 1152 | clr | rm lf |  | rm lf 2-3, clr 1 | - | - | 1512-1604 UTC solar tracker diagnostics
2020-10-03 | 1106 | rm lf 1 3, clr 2 | rm lf 1-3, clr 4 | 1119 | rm lf 1, clr 2 | rm hf |  | rm lf 2-3, clr 1 | F | no
2020-10-04 | 1245 | rm lf 1, clr 2-3 | rm lf 1-2, clr 3-4 | 1255 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no
2020-10-05 | 1247 | rm lf 1, clr 2-3 | rm lf 1-4 | 1254 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | 1334-1348 UTC weekly download
2020-10-06 | 1157 | clr | rm lf 1-4 | 1205 | clr | clr |  | rm lf 2-3, clr 1 | - | - | spent some time clearing snow from solar tracker base
2020-10-07 | 1218 | rm lf 1, clr 2-3 | rm lf 1-2, rm hf 3-4 | 1229 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | 40kn SE winds overnight
2020-10-08 | 1245 | rm lf 1 3, clr 2 | rm lf 1-4 | 1253 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-09 | 1307 | rm lf 1 3, clr 2 | rm lf 1-4 | 1314 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-10 | 1158 | rm lf 1 3, clr 2 | rm lf 1-4 | 1207 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no | 1217-1227 shoveled roof
2020-10-11 | 1105 | clr | clr | 1110 | clr | clr |  | clr | - | -
2020-10-12 | 1123 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1135 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-13 | 1148 | clr | rm lf 1-2, clr 3-4 | 1155 | clr | rm lf |  | clr | - | - | 1300-1315 UTC Weekly Download
2020-10-14 | 1148 | clr | clr | 1154 | clr | clr |  | clr | - | -
2020-10-15 | 1125 | clr | rm lf 1-4 | 1131 | clr | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-16 | 1125 | rm lf 3, clr 1 2 | rm lf 1-4 | 1135 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 1048 UTC unplanned power outage lasting about 35s
2020-10-17 | 1110 | clr | rm lf 1-2, clr 3-4 | 1118 | clr | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-18 | 1205 | clr | rm lf 1-2, clr 3-4 | 1212 | clr | clr |  | clr | - | -
2020-10-19 | 1249 | clr | rm lf 1-4 | 1255 | clr | clr |  | rm lf 1-3 | - | -
2020-10-20 | 1336 | rm lf 3, clr 1 2 | rm lf 1-4 | 1346 | rm lf 1, clr 2 | rm lf |  | rm lf 1-2 | - | - | 12:27 - 12:38UTC planned power outage
2020-10-21 | 1216 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1225 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-22 | 1211 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1221 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-23 | 1240 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1251 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-24 | 1215 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1226 | rm lf 1, clr 2 | rm hf |  | rm lf 2-3, clr 1 | F | no
2020-10-25 | 1153 | clr | rm lf 1-2, clr 3-4 | 1201 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | Summit Station timezone changed from West Greenland Summer Time (WGST UTC-2) to West Greenland Time (WGT UTC -3)
2020-10-26 | 1248 | rm lf 1 3, clr 2 | rm lf 1-4 | 1258 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-27 | 1234 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1242 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-28 | 1220 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1231 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-29 | 1258 | rm lf 1, clr 2 3 | rm lf 1-4 | 1243 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-10-30 | 1222 | clr | rm lf 1-4 | 1232 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | F | no
2020-10-31 | 1251 | rm lf 1 3, clr 2 | rm lf 1-4 | 1301 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
Daily Check Solar Tracker November 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-11-01 | 1232 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1241 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-02 | 1327 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1336 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 13:49/14:03Z Weekly Data Download
2020-11-03 | 1242 | rm lf 1 2, clr 3 | rm lf 1-4 | 1247 | rm lf 1 2 | rm hf |  | rm lf 2-3, clr 1 | - | -
2020-11-04 | 1312 | rm lf 1, clr 2 3 | rm lf 1-4 | 1327 | rm lf 1, clr 2 | rm lf |  | rm hf 2-3, clr 1 | - | - | Wind overnight southerly 41kt, all fans audible
2020-11-05 | 1515 | rm lf 1, clr 2 3 | rm lf 1-4 | 1523 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | raised albedo stand cables 15:16/15:20Z
2020-11-06 | 1343 | clr 1-3 | rm lf 1-2, clr 3-4 | 1351 | rm lf 1, clr 2 | clr |  | rm lf 2-3, clr 1 | - | - | 13:05/13:08Z Rezeroed and then set tracker back to clock mode, 13:05Z rm lf dome 1
2020-11-07 | 1221 | rm lf 1, clr 2-3 | rm lf 1-4 | 1230 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 |  |  | Did not visit TAWO due to condition 2 blowing snow, strong winds, poor visibility, and worsening weather conditions
2020-11-08 | 1221 | rm lf 1, clr 2-3 | rm lf 1-4 | 1230 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | Albedo stand fans 2 3 louder than usual as temps are coldest of season
2020-11-09 | 1357 | rm lf 1, clr 2-3 | rm hf 1-2, rm lf 3-4 | 1411 | rm lf 1, clr 2 | rm lf |  | rm lf 1-3 | - | - | Wind overnight up to 21m/s southerly, 14:24/1438Z Weekly Data Download
2020-11-10 | 1336 | rm lf 1, clr 2-3 | rm lf 1-4 | 1345 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-11-11 | 1546 | clr | rm lf 1-2, clr 3-4 | 1554 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-12 | [10 empty] | did not visit TAWO today due to off station tasking
2020-11-13 | [10 empty] | sun has set for the winter, did not visit TAWO today due to off station tasking and limited light with Condition 2 windchill
2020-11-14 | 1239 | rm lf 1 3, clr 2 | rm lf 1-4 | 1248 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | I bumped the angled support of albedo stand and niticed that this will rotate entire stand. I corrected the slight change of position that my bump created.
2020-11-15 | 1255 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1309 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-16 | 1328 | rm lf 1 3, clr 2 | rm lf 1-4 | 1339 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | - | - | weekly data download 1415-1425Z
2020-11-17 | 1253 | rm lf 1, clr 2-3 | rm lf 1-2, clr 3 4 | 1259 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-18 | 1442 | clr | rm lf 1-4 | 1504 | clr | clr |  | clr | - | -
2020-11-19 | 1624 | clr | clr | 1630 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-20 | 1422 | rm lf 1 3, clr 2 | rm lf 1-4 | 1432 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-21 | 1230 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1240 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-22 | 1417 | rm lf 1 3, clr 2 | rm lf 1-4 | 1424 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-11-23 | 1315 | rm lf 1, clr 2 3 | rm lf 1-4 | 1324 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 1505/1523 Z weekly data download
2020-11-24 | 1317 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1327 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-25 | 1325 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1332 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-26 | 1320 | clr | rm lf 1-4 | 1334 | clr | clr |  | rm lf 2-3, clr 1 | - | -
2020-11-27 | 1239 | clr | rm lf 1-4 | 1247 | clr | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-11-28 | 1406 | clr | rm lf 1-4 | 1425 | clr | clr |  | rm lf 2-3, clr 1 | - | - | 14:14/14:24Z snow shoveling to clear TAWO roof
2020-11-29 | 1250 | rm lf 1 2, clr 3 | rm lf 1-4 | 1305 | rm hf 1, rm lf 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 13:11Z light snow shoveling
2020-11-30 | 1405 | clr | rm lf 1-4 | 1416 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 14:44/14:59Z weekly data download replaced filters 1-2 on albedo stand 2-3 on solar tracker
Daily Check Solar Tracker December 2017
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) |  | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2020-12-01 | 1612 | clr | rm lf 1-4 | 1622 | rm lf 1, clr 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-02 | 1310 | clr | rm lf 1-4 | 1322 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-03 | 1341 | rm lf 1, clr 2-3 | rm lf 1-4 | 1351 | rm lf 1-2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-04 | [10 empty] | Did not visit TAWO due to condition 1 visibility due to blowing snow and compunded by winter darkness
2020-12-05 | [10 empty] | Did not visit TAWO due to condition 1 and 2 visibility due to blowing snow and compunded by winter darkness
2020-12-06 | 1352 | rm lf 1, clr 2 3 | rm lf 1-4 | 1402 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-07 | 1410 | rm lf 1 3, clr 2 | rm lf 1-4 | 1424 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 12:36/12:48Z weekly data download
2020-12-08 | 1321 | rm lf 1 3, clr 2 | rm lf 1-4 | 1330 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-09 | 1628 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1637 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-10 | [10 empty] | did not visit TAWO today due to off station tasking
2020-12-11 | 1340 | rm lf 1 3, clr 2 | rm lf 1-4 | 1351 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-12 | 1238 | rm lf 1, clr 2 3 | rm lf 1-4 | 1249 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-13 | 1240 | rm lf 1 3, clr 2 | rm lf 1-4 | 1255 | rm hf 1, rm lf 2 | rm hf |  | rm lf 2-3, clr 1 | - | -
2020-12-14 | 1335 | rm lf 1 3, clr 2 | rm lf 1-4 | 1345 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 13:57/14:14Z weekly data download
2020-12-15 | 1318 | rm lf 1 3, clr 2 | rm lf 1-4 | 1327 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-16 | 1318 | rm lf 1 3, clr 2 | rm lf 1-4 | 1325 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-17 | 1258 | rm lf 1 3, clr 2 | rm lf 1-4 | 1318 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-18 | 1344 | rm lf 1 3, clr 2 | rm lf 1-4 | 1354 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-19 | 1245 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1300 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-20 | 1407 | clr | rm lf 1-2, clr 3-4 | 1420 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-21 | 1415 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1424 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 14:55/15:10Z weekly data download
2020-12-22 | 1340 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1353 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-23 | 1350 | rm lf 1, clr 2 3 | rm lf 1-4 | 1359 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-24 | 1339 | rm lf 1, clr 2 3 | rm lf 1-4 | 1348 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-25 | 1253 | rm lf 1, clr 2 3 | rm lf 1-2 clr 3-4 | 1307 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-26 | [10 empty] | Conditon 1, 100m visibility, did not visit TAWO
2020-12-27 | 1315 | rm lf 1, clr 2 3 | rm lf 1-4 | 1338 | rm hf 1, rm lf 2 | rm lf |  | rm hf 2-3, clr 1 | - | - | heavy frost in filters 2-3 hard chunks of frost hit fan while cleaning, fan still operational
2020-12-28 | 1426 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1438 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | - | 15:26/15:48Z weekly data download
2020-12-29 | 1520 | rm lf 1, clr 2 3 | rm lf 1-4 | 1532 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-30 | 1658 | clr | rm lf 1-2, clr 3-4 | 1707 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
2020-12-31 | 1345 | rm lf 1-3 | rm lf 1-4 | 1352 | rm lf 1 2 | rm lf |  | rm lf 2-3, clr 1 | - | -
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on G2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
2017-09-01
2017-09-02
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
2017-10-01
2017-10-02
2017-10-03
2017-10-04
2017-10-05
2017-10-06
2017-10-07
2017-10-08
2017-10-09
2017-10-10
2017-10-11
2017-10-12
2017-10-13
2017-10-14
2017-10-15
2017-10-16
2017-10-17
2017-10-18
2017-10-19
2017-10-20
2017-10-21
2017-10-22
2017-10-23
2017-10-24
2017-10-25
2017-10-26
2017-10-27
2017-10-28
2017-10-29
2017-10-30
2017-10-31
2017-11-01
2017-11-02
2017-11-03
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
2017-12-01
2017-12-02
2017-12-03
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17
2017-12-18
2017-12-19
2017-12-20
2017-12-21
2017-12-22
2017-12-23
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31
2017-01-01
2017-01-02
2017-01-03
2017-01-04

## Weekly Download SwissTower
2020 Weekly Data Download Swiss Tower
week | date YYYYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 20200101 | 530 | +4 | y |  | 358 | 1340 | 1 | 1530 | y | late transfer due to no internet
2 | 20200107 | 531 | -1:19 | y |  | 1 | 1540 | 7 | 1330 | y
3 | [10 empty] | attemped download 200114, unsuccessful conneciton
4 | 20200123 | 532 & 532.1 | -1:28 | y |  | 23 | 1600 | 23 | 1610 | y | attempted download 200121, unsuccessful connection. 20200122 rebooted computer, checked connections, un/replugged serial to USB. 20200123 1550Z power cycled the CR23X - connection gained but no data.
5 | 20200128 | 533 | -1 | y |  | 23 | 1620 | 28 | 1300 | y
6 | 20200204 | 534 | -11 | y |  | 28 | 1310 | 35 | 1520 | y
7 | 20200211 | 535 | +1 | y |  | 35 | 1530 | 42 | 1350 | y
8 | 20200216 | 536 | -14 | y |  | 42 | 1400 | 47 | 1440 | y | data downloaded 2 days early due to turnover
9 | [10 empty] | missed data transfer due to illness
10 | 20200301 | 537 | -12 | y |  | 47 | 1450 | 61 | 1500 | y | File TU537 contains data for the past two weeks.
11 | 20200309 | 538 | 0 | n |  | 61 | 1510 | 69 | 1230 | y
12 | 20200316 | 539 | -13 | y |  | 69 | 1240 | 76 | 1230 | y
13 | 20200323 | 540 | -6 | y |  | 76 | 1240 | 83 | 1250 | y
14 | 20200330 | 541 | 1 | y |  | 83 | 1300 | 90 | 1230 | y
15 | 20200406 | 542 | -14 | y |  | 90 | 1240 | 97 | 1220 | y
16 | 20200413 | 543 | -6 | y |  | 97 | 1230 | 104 | 1150 | y
17 | 20200420 | 544 | 2 | y |  | 104 | 1200 | 111 | 1320 | y
18 | 20200427 | 545 | -11 | y |  | 111 | 1330 | 118 | 1330 | y
19 | 20200504 | 546 | 2 | y |  | 118 | 1340 | 125 | 1610 | y
20 | 20200508 | 547 | -32 | n |  | 125 | 1620 | 129 | 1740 | y | Tower site powered down at 1748Z
21
22
23
24
25
26
27
28
29
30
31
32
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52

## Weekly Download Albedo Stand
2020 Weekly Download Solar Stand Data
week | ALBXXX.dat | date YYMMDD | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 799 | 191230 | 191223 | 1633 | 191230 | 1731 | yes | clock re-synced, -1 sec difference
2 | 800 | 200106 | 191230 | 1732 | 200106 | 1812 | yes | clock re-synced, -1 sec difference
3 | 801 | 200113 | 200106 | 1813 | 200113 | 1455 | yes | clock re-synced, 3 sec difference
4 | 802 | 200120 | 200113 | 1456 | 200120 | 1643 | yes | clock re-synced, -1 sec difference
5 | 803 | 200127 | 200120 | 1644 | 200127 | 1851 | yes | clock re-synced, 2 sec difference
6 | 804 | 200203 | 200127 | 1852 | 200203 | 1606 | yes | clock re-synced, -1 sec difference
7 | 805 | 200210 | 200203 | 1607 | 200210 | 1933 | yes | clock re-synced, 2 sec difference
8 | 806 | 200216 | 200210 | 1934 | 200216 | 1953 | yes | clock re-synced, 1 sec difference
9 | 807 | 200225 | 200216 | 1954 | 200225 | 1545 | yes | clock re-synced, -3 sec difference
10 | 808 | 200303 | 56 | 1546 | 63 | 1334 | yes | clock re-synced, -2 sec difference
11 | 809 | 200309 | 63 | 1335 | 69 | 1439 | yes | clock re-synced, +2 sec difference
12 | 810 | 200316 | 69 | 1440 | 76 | 1408 | yes | clock re-synced, -3 sec difference
13 | 811 | 200323 | 76 | 1409 | 83 | 1408 | yes | clock re-synced, -3 sec difference
14 | 812 | 200330 | 83 | 1409 | 90 | 1429 | yes | clock synced, no re-sync necessary
15 | 813 | 200406 | 90 | 1430 | 97 | 1342 | yes | clock re-synced, +4 sec difference
16 | 814 | 200414 | 97 | 1343 | 105 | 1410 | yes | clock re-synced, +3 sec difference, data download performed on Tuesday instead of Monday
17 | 815 | 200420 | 105 | 1411 | 111 | 1342 | yes | clock re-synced, +8 sec difference
18 | 816 | 200427 | 111 | 1343 | 118 | 1320 | yes | clock re-synced, +4 sec difference
19 | 817 | 200504 | 118 | 1321 | 125 | 1353 | yes | clock re-synced, +4 sec difference
20 | 818 | 200511 | 125 | 1354 | 132 | 1241 | yes | clock re-synced, +4 sec difference
21 | [7 empty] | Data download skipped this week due to turnover
22 | 819 | 200525 | 132 | 1242 | 146 | 1440 | yes | clock re-synced, -4 sec difference
23 | 820 | 200601 | 146 | 1441 | 153 | 1416 | yes | clock re-synced, +15 sec difference
24 | 821 | 200608 | 153 | 1418 | 160 | 2002 | yes | clock re-synced +4 sec difference
25 | 822 | 200615 | 160 | 2003 | 167 | 1313 | yes | clock re-synced +4 sec difference
26 | 823 | 200622 | 167 | 1314 | 174 | 1333 | yes | clock re-synced +4 sec difference
27 | 824 | 200629 | 174 | 1334 | 181 | 1356 | yes | clock re-synced +4 sec difference
28 | 825 | 200706 | 181 | 1357 | 188 | 1313 | yes | clock re-synced +3 sec difference
29 | 826 | 200713 | 188 | 1314 | 195 | 1407 | yes | clock re-synced +3 sec difference
30 | 827 | 200720 | 195 | 1408 | 202 | 1438 | yes | clock re-synced +3 sec difference
31 | 828 | 200727 | 202 | 1439 | 209 | 1436 | yes | clock re-synced +5 sec difference
32 | 829 | 200803 | 209 | 1437 | 216 | 1952 | yes | clock re-synced +7 sec difference
33 | 830 | 200810 | 216 | 1953 | 223 | 1607 | yes | clock re-synced +4 sec difference
34 | 831 | 200817 | 223 | 1608 | 230 | 1422 | yes | clock re-synced -4 sec difference
35 | 832 | 200824 | 230 | 1423 | 237 | 1240 | yes | clock re-synced -3 sec difference
36 | 833 | 200831 | 237 | 1241 | 244 | 1316 | yes | clock re-synced -4 sec difference
37 | 834 | 200907 | 244 | 1317 | 251 | 1337 | yes | clock re-synced -4 sec difference
38 | 835 | 200915 | 251 | 1338 | 259 | 1334 | yes | clock re-synced -4 sec difference
39 | 836 | 200921 | 259 | 1335 | 265 | 1404 | yes | clock re-synced -4 sec difference
40 | 837 | 200928 | 265 | 1405 | 272 | 1252 | yes | clock re-synced -5 sec difference
41 | 838 | 201005 | 272 | 1253 | 279 | 1334 | yes | clock re-synced -4 sec difference
42 | 839 | 201013 | 279 | 1335 | 287 | 1312 | yes | clock re-synced -3 sec difference
43 | 840 | 201019 | 287 | 1313 | 293 | 1304 | yes | clock re-synced -5 sec difference
44 | 841 | 201026 | 293 | 1305 | 300 | 1346 | yes | clock re-synced -5 sec difference
45 | 842 | 201102 | 300 | 1347 | 307 | 1359 | yes | clock re-synced -4 sec difference
46 | 843 | 201109 | 307 | 1400 | 314 | 1424 | yes | clock re-synced -4 sec difference
47 | 844 | 201116 | 314 | 1425 | 321 | 1421 | yes | clock re-synced -1 sec difference
48 | 845 | 201123 | 321 | 1422 | 328 | 1509 | yes | clock re-synced 0 sec difference
49 | 846 | 201130 | 328 | 1510 | 335 | 1446 | yes | clock re-synced -1 sec difference
50 | 847 | 201207 | 335 | 1447 | 342 | 1236 | yes | clock re-synced 1 sec difference
51 | 848 | 201214 | 342 | 1237 | 349 | 1357 | yes | clock re-synced -2 sec difference
52 | 849 | 201221 | 349 | 1358 | 356 | 1505 | yes | clock re-synced -3 sec difference
52 | 850 | 201228 | 356 | 1506 | 363 | 1526 | yes | clock re-synced -4 sec difference, week 53 in folders cause may be due to skipped download during turnover in week 21

## Weekly Download SolarTracker
2020 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber DIF….dat | datalogger time shift before correction | datalogger time shift corrected | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 191230 | 752 | -31 | Y | 357 | 1611 | 364 | 1739 | yes
2 | 200106 | 753 | -28 | N | 364 | 1740 | 6 | 1749 | yes
3 | 200113 | 754 | -35 | Y | 6 | 1750 | 13 | 1509 | yes
4 | 200120 | 755 | -19 | Y | 13 | 1510 | 20 | 1650 | yes
5 | 200127 | 756 | -29 | Y | 20 | 1651 | 27 | 1901 | yes
6 | 200203 | 757 | -28 | N | 27 | 1902 | 34 | 1549 | yes
7 | 200210 | 758 | -27 | Y | 34 | 1550 | 41 | 1922 | yes
8 | 200217 | 759 | -23 | Y | 41 | 1923 | 48 | 948 | yes | Data was collected using manual pointer due to overwritten data file during standard 'since last collection' download process.
9 | 200225 | 760 | +22 | Y | 47 | 2009 | 56 | 1527 | yes
10 | 200303 | 761 | -32 | Y | 56 | 1528 | 63 | 1322 | yes
11 | 200309 | 762 | -24 | Y | 63 | 1323 | 69 | 1410 | yes
12 | 200316 | 763 | -35 | Y | 69 | 1411 | 76 | 1419 | yes
13 | 200323 | 764 | -31 | Y | 76 | 1420 | 83 | 1356 | yes
14 | 200330 | 765 | -26 | Y | 83 | 1357 | 90 | 1419 | yes
15 | 200406 | 766 | -29 | Y | 90 | 1420 | 97 | 1325 | yes
16 | 200414 | 767 | -23 | Y | 97 | 1326 | 105 | 1353 | yes | Data download was performed on Tuesday instead of Monday
17 | 200420 | 768 | -13 | Y | 105 | 1354 | 111 | 1349 | yes
18 | 200427 | 769 | -13 | Y | 113 | 305 | 118 | 1309 | yes
19 | 200504 | 770 | -17 | Y | 118 | 1310 | 125 | 1400 | yes
20 | 200511 | 771 | -18 | Y | 125 | 1401 | 132 | 1229 | yes
21 | [9 empty] | Data skipped due to turnover flights.
22 | 200525 | 772 | -33 | Y | 132 | 1230 | 146 | 1404 | yes
23 | 200601 | 773 | 0 | Y | 146 | 1405 | 153 | 1407 | yes
24 | 200608 | 774 | -10 | Y | 153 | 1408 | 160 | 1951 | yes
25 | 200615 | 775 | -7 | Y | 160 | 1952 | 167 | 1300 | yes
26 | 200622 | 776 | -8 | Y | 167 | 1301 | 174 | 1321 | yes
27 | 200629 | 777 | -7 | Y | 174 | 1322 | 181 | 1346 | yes
28 | 200706 | 778 | -4 | Y | 181 | 1347 | 188 | 1301 | yes
29 | 200713 | 779 | -5 | Y | 188 | 1302 | 195 | 1357 | yes
30 | 200720 | 780 | -10 | Y | 195 | 1358 | 202 | 1427 | yes
31 | 200727 | 781 | -6 | Y | 202 | 1428 | 209 | 1423 | yes
32 | 200803 | 782 | -10 | Y | 209 | 1424 | 216 | 1941 | yes
33 | 200810 | 783 | -7 | Y | 216 | 1942 | 223 | 1555 | yes
34 | 200817 | 784 | -9 | Y | 223 | 1556 | 230 | 1406 | yes
35 | 200824 | 785 | -2 | Y | 230 | 1407 | 237 | 1221 | yes
36 | 200831 | 786 | -1 | Y | 237 | 1222 | 244 | 1302 | yes
37 | 200907 | 787 | 11 | Y | 244 | 1303 | 251 | 1327 | yes
38 | 200915 | 788 | -4 | Y | 251 | 1328 | 259 | 1322 | yes
39 | 200921 | 789 | 14 | Y | 259 | 1323 | 265 | 1346 | yes
40 | 200928 | 790 | 21 | Y | 265 | 1347 | 272 | 1256 | yes
41 | 201005 | 791 | 18 | Y | 272 | 1257 | 279 | 1338 | yes
42 | 201013 | 792 | 17 | Y | 279 | 1339 | 287 | 1300 | yes
43 | 201019 | 793 | -5 | Y | 287 | 1301 | 293 | 1308 | yes
44 | 201026 | 794 | 16 | Y | 293 | 1309 | 300 | 1352 | yes
45 | 201102 | 795 | 21 | Y | 300 | 1351 | 307 | 1350 | yes | last weeks end and this weeks start do not match, possibly due to instrument and server clocks being out of sync over the change of a minute
46 | 201109 | 796 | 14 | Y | 307 | 1351 | 314 | 1428 | yes | times match again
47 | 201116 | 797 | 28 | Y | 314 | 1429 | 321 | 1411 | yes
48 | 201123 | 798 | 27 | Y | 321 | 1412 | 328 | 1512 | yes
49 | 201130 | 799 | 30 | Y | 328 | 1513 | 335 | 1450 | yes
50 | 201207 | 800 | 29 | Y | 335 | 1451 | 342 | 1239 | yes
51 | 201214 | 801 | 26 | Y | 342 | 1240 | 349 | 1403 | yes
52 | 201221 | 802 | 25 | Y | 349 | 1404 | 356 | 1455 | yes
53 | 201228 | 803 | 26 | Y | 356 | 1456 | 363 | 1537 | yes | new year, new folders
54
55
Note on E4: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.
2015 Weekly Data Download PFR
2016 Weekly Data Download PFR
23 | 160609 | PFR101 |  |  | B | 3317723 | 74 | 1259 | 161 | 49 | y |  | WRONG DATA FILE!! (see below)Reinstallation of PFR by Robert Brusa complete as of June 8, 2016.
23 | 160610 | PFR102 |  |  | B |  | 159 | 2152 | 162 | 1042 | Y |  | First day of solar tracker ^ this data is from tracker.
24 | 160614 | PFR103 |  |  | B | 804998 | 162 | 1043 | 166 | 1159 | y
25 | 160620 | PFR104 |  |  | W | 1157790 | 166 | 1200 | 172 | 1045 | y
26 | 160627 | PFR105 | -1 hr, 10min | y | B | 1081279 | 172 | 1046 | 179 | 1449 | y |  | Clock corrected 1718z on 6/29/16
27 | 160704 | PFR106 | +5 | y | W | 1382588 | 179 | 1240 | 186 | 1150 | y
28 | 160711 | PFR107 | +1 | y | B | 1263626 | 186 | 1429 | 193 | 1407 | y
29 | 160718 | PFR108 | +5 | y | W | 1615207 | 193 | 1408 | 200 | 1856 | y
30 | 160725 | PFR109 | +2 | Y | B | 1481564 | 200 | 1827 | 207 | 1152 | y
31 | 160801 | PFR110 | +2 | Y | W | 184810 | 207 | 1153 | 214 | 1143 | y
32 | 160808 | PFR111 | +4 | Y | B | 1708585 | 214 | 1144 | 221 | 1153 | y
33 | 160815 | PFR113 | +3 | Y | W | 2074987 | 221 | 1154 | 228 | 1636 | y
34 | 160822 | PFR114 | +4 | Y | B | 1930228 | 228 | 1637 | 235 | 1247 | y
35 | 160829 | PFR115 | +19 | Y | W | 204133 | 235 | 1248 | 242 | 1218 | y
36 | 160905 | PFR116 |  |  | B | 1930228 | 242 | 1219 | 242 | 1612 | y
36 | 160905 | PFR117 |  |  | B |  | 242 | 1613 | 249 | 1204 | y
37 | 160912 | PFR118 | 4 | Y | W | 432394 | 249 | 1205 | 256 | 1309 | y
38 | 160919 | PFR119 | 27 | Y | B | 285523 | 256 | 1310 | 263 | 1227 | y
39 | 160926 | PFR120 | 2 | Y | W | 660149 | 263 | 1228 | 270 | 1309 | y
40 | 161003 | PFR121 |  |  | B | 325635 | 270 | 1310 | 271 | 1852 | y |  | Last week of PFR data for the season
41 | 161010 | [11 empty] | PFR was not running this week. Shutdown for season
2017 Weekly Data Download PFR