## Point of Contacts
new adress from September 1st 2005
Institute for Atmospheric and Climate Science |  | OFFICE from September 1st
Swiss Federal Institute of Technology (ETH)
ETH Zentrum, CHN, Universitätsstr. 16
8092 Zürich
|  | OFFICE from September 1st | HOME
Karl Schroff | karl.schroff@env.ethz.ch | tel: +41 44 632 82 68 | tel +41 44 310 15 70
Saskia Bourgeois | saskia.bourgeois@env.ethz.ch | tel: +41 44 632 76 36 | tel: +41 44 810 04 83
Guido Müller | guido.mueller@env.ethz.ch | tel: +41 44 632 82 66

## Swiss Tower Daily Check
2020 Daily Check Swiss Tower
Daily Check Swiss Tower January 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-01-01
2020-01-02
2020-01-03
2020-01-04
2020-01-05
2020-01-06
2020-01-07
2020-01-08
2020-01-09
2020-01-10
2020-01-11
2020-01-12
2020-01-13
2020-01-14
2020-01-15
2020-01-16
2020-01-17
2020-01-18
2020-01-19
2020-01-20
2020-01-21
2020-01-22
2020-01-23
2020-01-24
2020-01-25
2020-01-26
2020-01-27
2020-01-28
2020-01-29
2020-01-30
2020-01-31
Daily Check Swiss Tower February 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-02-01
2020-02-02
2020-02-03
2020-02-04
2020-02-05
2020-02-06
2020-02-07
2020-02-08
2020-02-09
2020-02-10
2020-02-11
2020-02-12
2020-02-13
2020-02-14
2020-02-15
2020-02-16
2020-02-17
2020-02-18
2020-02-19
2020-02-20
2020-02-21
2020-02-22
2020-02-23
2020-02-24
2020-02-25
2020-02-26
2020-02-27
2020-02-28
Daily Check Swiss Tower March 2020
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-03-01
2020-03-02
2020-03-03
2020-03-04
2020-03-05
2020-03-06
2020-03-07
2020-03-08
2020-03-09
2020-03-10
2020-03-11
2020-03-12
2020-03-13
2020-03-14
2020-03-15
2020-03-16
2020-03-17
2020-03-18
2020-03-19
2020-03-20
2020-03-21
2020-03-22
2020-03-23
2020-03-24
2020-03-25
2020-03-26
2020-03-27
2020-03-28
2020-03-29
2020-03-30
2020-03-31
Daily Check Swiss Tower April 2020
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-04-01
2020-04-02
2020-04-03
2020-04-04
2020-04-05
2020-04-06
2020-04-07
2020-04-08
2020-04-09
2020-04-10
2020-04-11
2020-04-12
2020-04-13
2020-04-14
2020-04-15
2020-04-16
2020-04-17
2020-04-18
2020-04-19
2020-04-20
2020-04-21
2020-04-22
2020-04-23
2020-04-24
2020-04-25
2020-04-26
2020-04-27
2020-04-28
2020-04-29
2020-04-30
Daily Check Swiss Tower May 2020
Date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-05-01
2020-05-02
2020-05-03
2020-05-04
2020-05-05
2020-05-06
2020-05-07
2020-05-08
2020-05-09
2020-05-10
2020-05-11
2020-05-12
2020-05-13
2020-05-14
2020-05-15
2020-05-16
2020-05-17
2020-05-18
2020-05-19
2020-05-20
2020-05-21
2020-05-22
2020-05-23
2020-05-24
2020-05-25
2020-05-26
2020-05-27
2020-05-28
2020-05-29
2020-05-30
2020-05-31
Daily Check Swiss Tower June 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-06-01
2020-06-02
2020-06-03
2020-06-04
2020-06-05
2020-06-06
2020-06-07
2020-06-08
2020-06-09
2020-06-10
2020-06-11
2020-06-12
2020-06-13
2020-06-14
2020-06-15
2020-06-16
2020-06-17
2020-06-18
2020-06-19
2020-06-20
2020-06-21
2020-06-22
2020-06-23
2020-06-24
2020-06-25
2020-06-26
2020-06-27
2020-06-28
2020-06-29
2020-06-30
Daily Check Swiss Tower July 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-07-01
2020-07-02
2020-07-03
2020-07-04
2020-07-05
2020-07-06
2020-07-07
2020-07-08
2020-07-09
2020-07-10
2020-07-11
2020-07-12
2020-07-13
2020-07-14
2020-07-15
2020-07-16
2020-07-17
2020-07-18
2020-07-19
2020-07-20
2020-07-21
2020-07-22
2020-07-23
2020-07-24
2020-07-25
2020-07-26
2020-07-27
2020-07-28
2020-07-29
2020-07-30
2020-07-31
Daily Check Swiss Tower August 2020
| time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-08-01
2020-08-02
2020-08-03
2020-08-04
2020-08-05
2020-08-06
2020-08-07
2020-08-08
2020-08-09
2020-08-10
2020-08-11
2020-08-12
2020-08-13
2020-08-14
2020-08-15
2020-08-16
2020-08-17
2020-08-18
2020-08-19
2020-08-20
2020-08-21
2020-08-22
2020-08-23
2020-08-24
2020-08-25
2020-08-26
2020-08-27
2020-08-28
2020-08-29
2020-08-30
2020-08-31
Daily Check Swiss Tower September 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-09-01
2020-09-02
2020-09-03
2020-09-04
2020-09-05
2020-09-06
2020-09-07
2020-09-08
2020-09-09
2020-09-10
2020-09-11
2020-09-12
2020-09-13
2020-09-14
2020-09-15
2020-09-16
2020-09-17
2020-09-18
2020-09-19
2020-09-20
2020-09-21
2020-09-22
2020-09-23
2020-09-24
2020-09-25
2020-09-26
2020-09-27
2020-09-28
2020-09-29
2020-09-30
Daily Check Swiss Tower October 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
Daily Check Swiss Tower November 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-11-01
2020-11-02
2020-11-03
2020-11-04
2020-11-05
2020-11-06
2020-11-07
2020-11-08
2020-11-09
2020-11-10
2020-11-11
2020-11-12
2020-11-13
2020-11-14
2020-11-15
2020-11-16
2020-11-17
2020-11-18
2020-11-19
2020-11-20
2020-11-21
2020-11-22
2020-11-23
2020-11-24
2020-11-25
2020-11-26
2020-11-27
2020-11-28
2020-11-29
2020-11-30
Daily Check Swiss Tower December 2020
date | time: hhmm | T/RH Filters (1-6) | T/RH Fans (1-6) | heated wind anemometers (1-6) | Picture y/n | comments (general maintenance / power outages)
2020-12-01
2020-12-02
2020-12-03
2020-12-04
2020-12-05
2020-12-06
2020-12-07
2020-12-08
2020-12-09
2020-12-10
2020-12-11
2020-12-12
2020-12-13
2020-12-14
2020-12-15
2020-12-16
2020-12-17
2020-12-18
2020-12-19
2020-12-20
2020-12-21
2020-12-22
2020-12-23
2020-12-24
2020-12-25
2020-12-26
2020-12-27
2020-12-28
2020-12-29
2020-12-30
2020-12-31

## Solar Instruments Daily Check
2021 Daily Check Solar Instruments (Tracker and Fixed Arm)
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | time: hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Tracker Alignment | Shade Arms | comments (general maintenance / power outages / fan-check)
2021-01-01 | 1405 | rm lf 1 3, clr 2 | rm lf 1-4 | 1415 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-02 | 1250 | rm lf 1 3, clr 2 | rm lf 1-4 | 1303 | rm lf 1-2 | rm hf | rm lf 2 3, clr 1 | - | -
2021-01-03 | 1439 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1449 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-04 | 1824 | rm lf 1 3, clr 2 | rm lf 1-4 | 1833 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | 19:13/19:38Z weekly data download
2021-01-05 | 1416 | rm lf 1 3, clr 2 | rm lf 1-4 | 1426 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-06 | 1444 | rm lf 1 3, clr 2 | rm lf 1-4 | 1455 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-07 | 1327 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1341 | rm lf 1, clr 2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-08 | 1401 | rm lf 1 3, clr 2 | rm lf 1 2, clr 3 4 | 1411 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-09 | 1245 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1301 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-10 | 1243 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1253 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-11 | 1359 | rm lf 1, clr 2 3 | rm lf 1-4 | 1408 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | 14:31/14:47Z weekly data download
2021-01-12 | 1300 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1311 | rm lf 1-2 | rm hf | rm lf 2 3, clr 1 | - | -
2021-01-13 | 1302 | clr | clr | 1309 | rm lf 1, clr 2 | clr | clr | - | -
2021-01-14 | 1701 | clr | clr | 1309 | rm lf 1, clr 2 | rm hf | clr | - | -
2021-01-15 | 1643 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1651 | rm hf 1-2 | rm hf | rm lf 2 3, clr 1 | - | -
2021-01-16 | 1247 | rm lf 1 3, clr 2 | rm lf 1-4 | 1257 | rm lf 1-2 | rm hf | rm lf 2 3, clr 1 | - | -
2021-01-17 | 1356 | rm lf 1 3, clr 2 | rm lf 1-4 | 1406 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-18 | 1345 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1356 | rm lf 1-2 | clr | rm lf 2 3, clr 1 | - | - | 14:35/14:49Z weekly data download
2021-01-19 | 1339 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1332 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-20 | 1408 | rm lf 1 3, clr 2 | rm lf 1-4 | 1319 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-01-21 | 1856 | rm lf 1 3, clr 2 | rm lf 1-4 | 1805 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | -
2021-01-22 | 1257 | rm lf 1 3, clr 2 | rm lf 1-4 | 1309 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | -
2021-01-23 | 1438 | rm lf 1 3, clr 2 | rm lf 1-4 | 1517 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | - | 14:50/15:20Z snow removal on TAWO roof
2021-01-24 | 1810 | rm lf 1 3, clr 2 | rm lf 1-4 | 1740 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | - | 12:26/17:47Z Working on TAWO roof to lower inlets on inlet mast
2021-01-25 | 1407 | rm lf 1. clr 2 3 | rm lf 1-2, clr 3-4 | 1424 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | - | 14:54/15:07Z weekly data download
2021-01-26 | [9 empty] | Did not visit TAWO due to Con1 temperature and visibility
2021-01-27 |  |  |  | 1255 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | - | Abbreviated TAWO visit due to challenging and deteriorating conditions conditions
2021-01-28 | 1345 | rm lf 1 3, clr 2 | rm lf 1-4 | 1356 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | -
2021-01-29 | 1350 | rm lf 1 3, clr 2 | rm lf 1-4 | 1359 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | -
2021-01-30 | 1255 | rm lf 1, clr 2-3 | rm lf 1-2, clr 3-4 | 1305 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | -
2021-01-31 | 1610 | rm lf 1, clr 2 3 | rm lf 1-4 | 1359 | rm hf 1, rm lf 2 | rm lf | lf 2 3, clr 1 | - | - | Ziptie on a cable service loop broke leaving cable hanging, resecurd cable with new service loop using velcro
Daily Check Solar Tracker February 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) |  |  | comments (general maintenance / power outages / fan-check)
2021-02-01 | 1355 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1410 | rm lf 1 2 | rm lf | lf 2 3, clr 1 | - | - | performed weekly data download, tube cable detached
2021-02-02 | 1340 | rm lf 1, clr 2 3 | rm lf 1 2, clr 3 4 | 1310 | rm lf 1, clr 2 | rm lf | rm lf 2 3, clr 1 | - | - | tube cable still detached, unable to easily reattach due to stiff cables and a femal adapter not secured to housing
2021-02-03 | 1358 | rm lf 1-3 | rm lf 1-4 | 1414 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | developing plan to reattach cable, solar tracker appears to be becoming more active I found a ziptie from the filter had fallen off and I found my rubber plug for bulkheaad opening had been dropped onsouth side of tracker
2021-02-04 | 1240 | [8 empty] | No TAWO visit today due to blowing snow and 20meter visibility
2021-02-05 | 1335 | rm lf 1-3 | rm lf 1-4 | 1357 | rm lf 1-2 | rm lf | rm lf 1-3 | - | -
2021-02-06 | 1314 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1326 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | 14:17/16:00Z attempting to reattach sun photometer cable and identified fractured bulkhead
2021-02-07 | 1323 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1440 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | sun photometer cable still in place
2021-02-08 | 1121 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1239 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | 12:59/13:12Z weekly data download, sun photometer cable still in place
2021-02-09 | 1503 | rm lf 1 3, clr 2 | rm lf 1-2, clr 3-4 | 1514 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | sun photometer cable unplugged again, covered cable to prevent frost on working end
2021-02-10 | 1737 | rm lf 1, clr 2 3 | rm hf 1-2, clr 3-4 | 1514 | rm lf 1-2 | rm lf | lf 2 3, clr 1 | - | - | unable to clear filters due to awkward working angle, will do tomorrow
2021-02-11 | 1438 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1452 | rm lf 1, clr 2 | clr | rm lf 2 3, clr 1 | - | -
2021-02-12 | [9 empty] | Did not visit TAWO due to Con1 visibility
2021-02-13 | 1256 | rm lf 1, clr 2 3 | rm lf 1-4 | 1308 | rm lf 1, clr 2 | rm lf | rm lf 2 3, clr 1 | - | -
2021-02-14 | 1828 | clr 1-3 | rm lf 1-4 | 1837 | clr 1-2 | clr | lf 2-3, clr 1 | - | - | PM visit due to poor AM visibility, 18:53/ weekly data download
2021-02-15 | 1449 | clr 1-3 | rm lf 1-4 | 1456 | clr 1-2 | clr | rm lf 2-3, clr 1 | - | -
2021-02-16 | 1716 | rm lf 1, clr 2 3 | rm hf 1-2, rm lf 3-4 | 1730 | rm lf 1, clr 2 | clr | rm lf 2 3, clr 1 | - | -
2021-02-17 | 1625 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1640 | rm lf 1-2 | rm lf | rm lf 2 3, clr 1 | - | - | Flight day no AM TAWO visit
2021-02-18 | [9 empty] | Con1 visibility no TAWO visit
2021-02-19 | 1253 | clr 1-3 | rm hf 1-2, rm lf 3-4 | 1310 | rm lf 1, clr 2 | rm lf | rm hf 2 3, clr 1 | - | - | 13:30Z/13:31Z and 13:44Z/13:45Z two brief planned power outages
2021-02-20 | 1515 | clr 1-3 | clr | 1519 | clr 1-2 | clr | clr | * | *
2021-02-21 | 1231 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1238 | rm lf 1, clr 2 | rm lf | rm lf 2 3, clr 1 | * | *
2021-02-22 | 1612 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1558 | rm lf 1, clr 2 | rm lf | rm lf 2 3, clr 1 | * | *
2021-02-23 | 1415 | rm lf 1, 3; clr 2 | rm hf 1-2, rm lf 3-4 | 1352 | rm hf 1, rm lf 2 | rm lf | rm hf 2 3, clr 1 | * | *
2021-02-24 | 1355 | clr 1-3 | clr | 1358 | rm hf 1, rm lf 2 | rm hf | rm hf 2 3, clr 1 | * | *
2021-02-25 | 1313 | rm lf 1, clr 2 3 | rm lf 1-2, clr 3-4 | 1316 | rm hf 1, rm lf 2 | rm hf | rm hf 2 3, clr 1 | * | * | 1430-1450z added cable support to solar tracker
2021-02-26 | 1249 | rm lf 1 and 3, 2 clr | rm lf 1-4 | 1255 | rm lf 1, 2 clr | rm lf | rm lf 2 and 3, 1 clr | * | *
2021-02-27 | 1236 | clr 1-3 | clr 1-4 | 1240 | rm lf 1, 2 clr | rm lf | clr 1-4 | * | *
2021-02-28 | 1309 | clr 1-3 | clr 1-4 | 1313 | clr 1-2 | clr | clr 1-4 | * | *
Daily Check Swiss March 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) | time: hhmm | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Tracker Alignment | Shade Arms | comments (general maintenance / power outages / fan-check)
2021-03-01 | 1412 | clr 1-3 | clr 1-4 | 1415 | rm lf 1, 2 clr | clr | clr 1-3 | * | * | Solar tracker troubleshooting 1745-1915z. Tracker rotational (PA) alignment improved. Vertical (SA) alignment/share arms still off.
2021-03-02 | 1317 | rm lf 1, 2-3 clr | rm lf 1-4 | 1323 | rm lf 1, 2 clr | rm lf | rm lf 2-3, 1 clr | y | n
2021-03-03 | 1258 | clr 1-3 | clr 1-4 | 1305 | clr 1-2 | clr | clr 1-3 | y | n | Realigned zt correction on tracker 1450-1505z. Shade arms aligned at mid-day but will likely be out of alignment at sunrise and sunset.
2021-03-04 | 1256 | clr 1-3 | clr 1-4 | 1300 | clr 1-2 | clr | clr 1-3 | y | y | Diopter alignment is an 'F' grade but shade arms are casting a shadow on radiometer domes.
2021-03-05 | 1404 | clr 1-3 | clr 1-4 | 1410 | clr 1-2 | clr | clr 1-3 | y | y | Diopter alignment is an 'F' grade but shade arms are casting a shadow on radiometer domes.
2021-03-06 | 1226 | rm lf 1, 2-3 clr | rm lf 1-4 | 1231 | clr 1-2 | clr | clr 1-3 | y | y | 1240-1330z reconnected and secured cable for direct radiation sensor.
2021-03-07 | 1247 | clr 1-3 | clr 1-4 | 1252 | clr 1-2 | clr | clr 1-3 | y | y
2021-03-08 | 1358 | rm lf 1, 2-3 clr | rm lf 1-4 | 1405 | rm lf 1-2 | rm lf | rm lf 2-3, 1 clr | y | y
2021-03-09 | 1257 | rm lf 1-3 | rm hf 1-4 | 1305 | rm lf 1-2 | rm lf | rm lf 2-3, 1 clr | y | y
2021-03-10 | 1214 | rm lf 1, 2-3 clr | rm lf 1-4 | 1221 | rm hf 1, rm lf 2 | rm hf | rm lf 2-3, 1 clr | y | y
2021-03-11 | 1345 | rm lf 1, 2-3 clr | rm lf 1-4 | 1351 | rm lf 1, 2 clr | rm lf | rm lf 2-3, 1 clr | y | y
2021-03-12 | 1243 | clr 1-3 | clr 1-4 | 1248 | rm lf 1, 2 clr | rm lf | rm lf 2-3, 1 clr | y | y | Our recent fix for the direct radiation sensor cable came undone overnight :(.
2021-03-13 | 1230 | clr 1-3 | clr 1-4 | 1241 | rm lf 1-2 | rm lf | rm lf 2-3, 1 clr | y | y
2021-03-14 | 1325 | rm lf 1, 2-3 clr | rm lf 1-4 | 1332 | rm lf 1, 2 clr | clr | rm lf 2-3, 1 clr | y | y
2021-03-15 | 1313 | clr 1-3 | clr 1-4 | 1318 | clr 1-2 | clr | clr 1-3 | y | y
2021-03-16 | 1313 | clr 1-3 | clr 1-4 | 1328 | rm lf 1, 2 clr | clr | clr 1-3 | y | y
2021-03-17 | 1251 | rm lf 1, 2-3 clr | clr 1-4 | 1256 | rm lf 1, 2 clr | clr | clr 1-3 | y | y
2021-03-18 | 1400 | clr 1-3 | clr 1-4 | 1400 | clr 1-2 | clr | clr 1-3 |  |  | did not access roof. Unplanned power outage 1719-1802z. Instrument unaffected.
2021-03-19 | 1645 | clr 1-3 | clr 1-4 | 1656 | rm hf 1, rm lf 2 | clr | clr 1-3 | n | n | Tracker alignment worse after yesterdays storm. Now off by a couple of degrees on both axes.
2021-03-20 | 1235 | rm lf 1, 2-3 clr | rm lf 1-4 | 1343 | rm hf 1, rm lf 2 | rm lf | rm lf 2-3, 1 clr | n | n | Alignment is even worse today maybe an additonal 5 degrees off to the west rotationally.
2021-03-21 | 1222 | clr 1-3 | clr 1-4 | 1227 | rm hf 1, rm lf 2 | clr | clr 1-3 | n | n | Possible radiometer fans not working, but hard to tell with windy conditions. Issue with power connection?
2021-03-22 | 1405 | clr 1-3 | clr 1-4 | 1413 | rm hf 1, 2 | rm lf | clr 1-3 | n | n | Confirmed radiometer fans not working. Power connection to logger box appears damaged.
2021-03-23 | 1225 | rm lf 1, 2-3 clr | clr 1-4 | 1235 | rm hf 1, 2 | rm lf | clr 1-3 | n | n
2021-03-24 | 1302 | rmlf 1, 2-3 clr | rmlf 1-4 | 1312 | rm hf 1, 2 | rm lf | rm lf 2-3, 1 clr | n | n
2021-03-25 | 1340 | clr 1-3 | clr 1-4 | 1345 | rm hf 1, 2 | clr | clr 1-3 | y | y | Too cold to troubleshoot power and data cable issues, but clear sky allowed us to put the tracker back into Sun Mode for the summer season at 1301Z. Diopter alignment is now perfect. Also discovered that the Clock Mode alignment correction values that we had fixed earlier in the season had changed during last week's wind event. Not sure how this happened (ESD?) but we returned these offsets to the correct values that we had previously determined and this corrected the Clock Mode alignment. Note: Clock mode alignment is still not quite as good as sun mode alignment because the instrument base is not level.
2021-03-26 | 1408 | rm lf 1, 2-3 clr | rm lf 1-4 | 1417 | rm hf 1, 2 | rm hf | rm lf 2-3, 1 clr | y | y
2021-03-27 | 1241 | clr 1-3 | clr 1-4 | 1245 | rm lf 1, 2 clr | clr | clr 1-3 | y | y
2021-03-28 | 1220 | rm lf 1, 2-3 clr | clr 1-4 | 1225 | rm lf 1, 2 clr | rm lf | clr 1-3 | y | y
2021-03-29 | 1209 | clr 1-3 | clr 1-4 | 1214 | rm lf 1, 2 clr | clr | clr 1-3 | y | y | 1640-1900Z tracker offline for rewiring of umbilical.
2021-03-30 | 1720 | clr 1-3 | clr 1-4 | 1725 | lf 1, 2 clr | clr | clr 1-3 | y | y
2021-03-31 | 1725 | clr 1-3 | clr 1-4 | 1735 | lf 1, 2 clr | clr | clr 1-3 | y | y
Daily Check Solar Tracker April 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Tracker Alignment | Shade Arms | comments (general maintenance / power outages / fan-check)
2021-04-01 | 1210 | rm lf 1, 2-3 clr | clr 1-4 | 1219 | rm hf 1, 2 clr | clr | clr 1-3 | y | y
2021-04-02 | 1713 | clr 1-3 | rm lf 1-4 | 1719 | lf 1, 2 clr | clr | clr 1-3 | y | y
2021-04-03 | 1155 | clr 1-3 | clr 1-4 | 1205 | lf 1, 2 clr | clr | clr 1-3 | y | y
2021-04-04 | 1230 | clr 1-3 | clr 1-4 | 1242 | rm lf 1, 2 clr | rm lf | clr 1-3 | y | y
2021-04-05 | 1200 | rm lf 1, 2-3 clr | rm lf 1-4 | 1207 | rm lf 1, 2 | rm lf | rm lf 2-3, 1 clr | y | y
2021-04-06 | 1140 | clr 1-3 | clr 1-4 | 1145 | rm lf 1, 2 clr | clr | clr 1-3 | y | y
2021-04-07 | 1129 | clr 1-3 | clr 1-4 | 1134 | rm lf 1, 2 | rm lf | clr 1-3 | y | y
2021-04-08 | 1221 | clr 1-3 | rm lf 1-4 | 1229 | rm hf 1, 2 | rm lf | rm lf 2-3, 1 clr | y | y
2021-04-09 | 0825 | clr 1-3 | clr 1-4 | 0830 | rm lf 1, 2 | rm lf | clr 1-3 | y | y
2021-04-10 | 1135 | clr 1-3 | clr 1-4 | 1143 | rm lf 1, 2 clr | clr | clr 1-3 | y | y
2021-04-11 | 1241 | clr 1-3 | rm lf 1-4 | 1245 | rm hf 1, 2 | rm hf | rm lf 2-3, 1 clr | y | y
2021-04-12 | 1315 | clr 1-3 | clr 1-4 | 1320 | clr 1-2 | clr | clr 1-3 | y | y
2021-04-13 | 1151 | clr 1-3 | clr 1-4 | 1158 | clr 1-2 | clr | clr 1-3 | y | y
2021-04-14 | see note-> | [8 empty] | Switched to V2 of this logsheet. Please see file: 21_ETH_Logsheet_V2
2021-04-15
2021-04-16
2021-04-17
2021-04-18
2021-04-19
2021-04-20
2021-04-21
2021-04-22
2021-04-23
2021-04-24
2021-04-25
2021-04-26
2021-04-27
2021-04-28
2021-04-29
2021-04-30
Daily Check Solar Tracker May 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-05-01
2021-05-02
2021-05-03
2021-05-04
2021-05-05
2021-05-06
2021-05-07
2021-05-08
2021-05-09
2021-05-10
2021-05-11
2021-05-12
2021-05-13
2021-05-14
2021-05-15
2021-05-16
2021-05-17
2021-05-18
2021-05-19
2021-05-20
2021-05-21
2021-05-22
2021-05-23
2021-05-24
2021-05-25
2021-05-26
2021-05-27
2021-05-28
2021-05-29
2021-05-30
2021-05-31
Daily Check Solar Tracker June 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-06-01
2021-06-02
2021-06-03
2021-06-04
2021-06-05
2021-06-06
2021-06-07
2021-06-08
2021-06-09
2021-06-10
2021-06-11
2021-06-12
2021-06-13
2021-06-14
2021-06-15
2021-06-16
2021-06-17
2021-06-18
2021-06-19
2021-06-20
2021-06-21
2021-06-22
2021-06-23
2021-06-24
2021-06-25
2021-06-26
2021-06-27
2021-06-28
2021-06-29
2021-06-30
Daily Check Solar Tracker July 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-07-01
2021-07-02
2021-07-03
2021-07-04
2021-07-05
2021-07-06
2021-07-07
2021-07-08
2021-07-09
2021-07-10
2021-07-11
2021-07-12
2021-07-13
2021-07-14
2021-07-15
2021-07-16
2021-07-17
2021-07-18
2021-07-19
2021-07-20
2021-07-21
2021-07-22
2021-07-23
2021-07-24
2021-07-25
2021-07-26
2021-07-27
2021-07-28
2021-07-29
2021-07-30
2021-07-31
Daily Check Solar Tracker August 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-08-01
2021-08-02
2021-08-03
2021-08-04
2021-08-05
2021-08-06
2021-08-07
2021-08-08
2021-08-09
2021-08-10
2021-08-11
2021-08-12
2021-08-13
2021-08-14
2021-08-15
2021-08-16
2021-08-17
2021-08-18
2021-08-19
2021-08-20
2021-08-21
2021-08-22
2021-08-23
2021-08-24
2021-08-25
2021-08-26
2021-08-27
2021-08-28
2021-08-29
2021-08-30
2021-08-31
Daily Check Solar Tracker September 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-09-01
2021-09-02
2021-09-03
2021-09-04
2021-09-05
2021-09-06
2021-09-07
2021-09-08
2021-09-09
2021-09-10
2021-09-11
2021-09-12
2021-09-13
2021-09-14
2021-09-15
2021-09-16
2021-09-17
2021-09-18
2021-09-19
2021-09-20
2021-09-21
2021-09-22
2021-09-23
2021-09-24
2021-09-25
2021-09-26
2021-09-27
2021-09-28
2021-09-29
2021-09-30
Daily Check Solar Tracker October 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-10-01
2021-10-02
2021-10-03
2021-10-04
2021-10-05
2021-10-06
2021-10-07
2021-10-08
2021-10-09
2021-10-10
2021-10-11
2021-10-12
2021-10-13
2021-10-14
2021-10-15
2021-10-16
2021-10-17
2021-10-18
2021-10-19
2021-10-20
2021-10-21
2021-10-22
2021-10-23
2021-10-24
2021-10-25
2021-10-26
2021-10-27
2021-10-28
2021-10-29
2021-10-30
2021-10-31
Daily Check Solar Tracker November 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-11-01
2021-11-02
2021-11-03
2021-11-04
2021-11-05
2021-11-06
2021-11-07
2021-11-08
2021-11-09
2021-11-10
2021-11-11
2021-11-12
2021-11-13
2021-11-14
2021-11-15
2021-11-16
2021-11-17
2021-11-18
2021-11-19
2021-11-20
2021-11-21
2021-11-22
2021-11-23
2021-11-24
2021-11-25
2021-11-26
2021-11-27
2021-11-28
2021-11-29
2021-11-30
Daily Check Solar Tracker December 2021
date | time: hhmm | Fixed Arm: Domes (1-3) | Fixed Arm: Filters (1-4) |  | Rotating Device: Domes (1-2) | Rotating Device:Tube (direct solar radiation) | Rotating Device: Filters (1-3) | Antenna-box |  | comments (general maintenance / power outages / fan-check)
2021-12-01
2021-12-02
2021-12-03
2021-12-04
2021-12-05
2021-12-06
2021-12-07
2021-12-08
2021-12-09
2021-12-10
2021-12-11
2021-12-12
2021-12-13
2021-12-14
2021-12-15
2021-12-16
2021-12-17
2021-12-18
2021-12-19
2021-12-20
2021-12-21
2021-12-22
2021-12-23
2021-12-24
2021-12-25
2021-12-26
2021-12-27
2021-12-28
2021-12-29
2021-12-30
2021-12-31
Note on C2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up Dome 2 (I2) = Dark red dome pyrgeometer facing snow surface Dome 3 (I3) = Clear dome pyranometer facing snow surface
Note on G2: ICECAPS: Dome 1 (I1) = Clear dome pyranometer facing up, shaded by tracking disk Dome 2 (I2) = Dark red dome pyrgeometer facing up, shaded by tracking disk

## PFR Daily Check
Date | Time:hhmm | Tracking | Windows | Comments
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16
2017-06-17
2017-06-18
2017-06-19
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20
2017-08-21
2017-08-22
2017-08-23
2017-08-24
2017-08-25
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
2017-09-01
2017-09-02
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
2017-10-01
2017-10-02
2017-10-03
2017-10-04
2017-10-05
2017-10-06
2017-10-07
2017-10-08
2017-10-09
2017-10-10
2017-10-11
2017-10-12
2017-10-13
2017-10-14
2017-10-15
2017-10-16
2017-10-17
2017-10-18
2017-10-19
2017-10-20
2017-10-21
2017-10-22
2017-10-23
2017-10-24
2017-10-25
2017-10-26
2017-10-27
2017-10-28
2017-10-29
2017-10-30
2017-10-31
2017-11-01
2017-11-02
2017-11-03
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
2017-12-01
2017-12-02
2017-12-03
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17
2017-12-18
2017-12-19
2017-12-20
2017-12-21
2017-12-22
2017-12-23
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31
2017-01-01
2017-01-02
2017-01-03
2017-01-04

## Weekly Download SwissTower
2020 Weekly Data Download Swiss Tower
week | date YYYYMMDD | filenumber TU….dat | datalogger time shift before correction | datalogger time shift corrected | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52

## Weekly Download Albedo Stand
2021 Weekly Download Solar Stand Data
week | ALBXXX.dat | date YYMMDD | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 851 | 210104 | 363 | 1527 | 4 | 1928 | yes | clock re-synced -3 sec difference
2 | 852 | 210111 | 4 | 1929 | 11 | 1431 | yes | clock re-synced -1 sec difference
3 | 853 | 210118 | 11 | 1432 | 18 | 1444 | yes | clock re-synced -7 sec difference
4 | 854 | 210125 | 18 | 1446 | 25 | 1454 | yes | clock re-synced -1 sec difference, day 18 1445 data missing
5 | 855 | 210201 | 25 | 1455 | 32 | 1450 | yes | clock re-synced 2 sec difference
6 | 856 | 210208 | 32 | 1451 | 39 | 1308 | yes | clock re-synced -2 sec difference
7 | 857 | 210214 | 39 | 1309 | 45 | 1852 | yes | clock re-synced -3 sec difference
8 | 858 | 210222 | 45 | 1853 | 53 | 1713 | yes | clock re-synced -3 sec difference
9 | 859 | 210301 | 53 | 1714 | 60 | 1457 | yes | clock re-synced -5 sec difference
10 | 860 | 210308 | 60 | 1458 | 67 | 1515 | yes | clock re-synced -4 sec difference
11 | 861 | 210315 | 67 | 1516 | 74 | 1328 | yes | clock re-synced -2 sec difference
12 | 862 | 210322 | 74 | 1329 | 81 | 1441 | yes | clock re-synced -8 sec difference
13 | 863 | 210329 | 81 | 1442 | 88 | 1228 | yes | clock re-synced 2 sec difference
14 | 864 | 210405 | 88 | 1229 | 95 | 1342 | yes | clock re-synced -2 sec difference
15 | 865 | 210412 | 95 | 1343 | 102 | 1329 | yes | clock re-synced -7 sec difference
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
52

## Weekly Download SolarTracker
2020 Weekly Data Download Solar Tracker
week | date YYMMDD | filenumber DIF….dat | datalogger time shift before correction | datalogger time shift corrected | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | comments
1 | 210104 | 804 | 32 | Y | 363 | 1538 | 4 | 1913 | yes | new year, new folders
2 | 210111 | 805 | 29 | Y | 4 | 1914 | 11 | 1436 | yes
3 | 210118 | 806 | 19 | Y | 11 | 1435 | 18 | 1429 | yes | times are not sequencial from last week, data for same timestamp this week vs last week differs
4 | 210125 | 807 | 26 | Y | 18 | 1430 | 25 | 1458 | yes | time sequences match this week
5 | 210201 | 808 | 31 | Y | 25 | 1459 | 32 | 1501 | yes
6 | 210208 | 809 | 27 | Y | 32 | 1502 | 39 | 1300 | yes
7 | 210214 | 810 | 30 | Y | 39 | 1259 | 45 | 1857 | yes | start time overlaps one minute with last week
8 | 210222 | [8 empty] | Data connection for downloads found to be damaged. No downloads possible until repaired.
9 | 210301 | [8 empty] | Data connection for downloads found to be damaged. No downloads possible until repaired.
10 | 210308 | [8 empty] | Data connection for downloads found to be damaged. No downloads possible until repaired.
11
12
13
14
15
16
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
Note on E4: john lyons: Time corrected by direct laptop connection 140114 at 14:20:50. Data logger was +00:01:04 (64 seconds) before correction

## Weekly Download PFR
2012 Weekly Data Download PFR
week | date YYMMDD | filenumber PFR__.dat | datalogger time shift before correction | datalogger time shift corrected | storage module (White/Black) | pointer number | day of year: first line | time: first line | day of year: last line | time: last line | transfer to ftp server | transfer to Stephan's server | comments
22 | 120528 | PFR31 |  |  | W | 589927 |  |  | 149 | 1527 | Y |  | SM off 1545 to 1647z for transfer (all). Adc
23 | 120604 | PFR32 |  |  | W | 819010 | 149 | 1508 | 156 | 1700 | Y |  | SM off 1738 to 1808 UTC for tranfer. Adc
24 | 120611 | PFR33 |  |  | W | 1036852 | 156 | 1701 | 163 | 1213 | y |  | Sm switched at 1114UTC. Datalogger -8s, reset. Adc
25 | 120619 | PFR34 |  |  | B | 1149513 | 163 | 1214 | 170 | 1419 | y |  | SM switched (12170) 120618 at 1420UTC
26 | 120625 | PFR35 |  |  | W | 1261386 | 170 | 1420 | 177 | 1238 | y |  | SM switched (12177) 120625 at 1238UTC
27 | 120702 | PFR36 |  |  | B | 1375903 | 177 | 1239 | 184 | 1220 | y |  | SM switched at 1220utc Datalogger +10S, reset. Adc
28 | 120709 | PFR37 |  |  | W | 1487857 | 184 | 1221 | 191 | 1205 | y |  | SM switched at 1205UTC Datalogger +1s, reset. Adc
29 | 120716 | PFR38 |  |  | B | 1608632 | 191 | 1206 | 198 | 1629 | y |  | SM switched at 1630 Datalogger clock ok. ADC
30 | 120723 | PFR39 |  |  | W | 1709779 | 198 | 1630 | 205 | 1251 | y |  | SM switched at 1251UTC Datalogger -13s, reset. EM
31 | 120731 | PFR40 |  |  | B | 1841875 | 205 | 1252 | 212 | 1737 | y |  | SM switched T1738utc Datalogger +4s reset. Adc
32 | 120806 | PFR41 |  |  | W | 1935428 | 212 | 1738 | 219 | 1644 | y |  | SM switched at 1645 Datalogger +4s reset adc
33 | 120813 | PFR42 |  |  | B | 2066947 | 219 | 1645 | 226 | 1551 | y |  | Three rogue pointers in the week's data (power outages), had to download four files and append to get PFR42.dat. 8/14 datalogger -16sec. Reset.
34 | 120819 | PFR43 |  |  | W | 32438 | 226 | 1552 | 232 | 1535 | y |  | Swapped in black PFR 1535-1542.
35 | 120828 | PFR44 |  |  | B | 256234 | 232 | 1536 | 241 | 1140 | y |  | Switched in white PFR data logger 1139-1143. +7s reset.
36 | 120903 | PFR45 |  |  | W | 226949 | 241 | 1141 | 247 | 1145 | y |  | Swapped in black PFR 1145-1150. +7s reset time.
37 | 120910 | PFR46 |  |  | B | 515721 | 247 | 1146 | 255 | 1158 | y |  | Swapped in white PFR 1157-1200. +12s reset time.
38 | 120917 | PFR47 |  |  | W | 421167 | 255 | 1159 | 261 | 1149 | y |  | Removed for the season!
2013 Weekly Data Download PFR
12 | 130321 | PFR48 |  |  | W | 462055 | 79 | 656 | 80 | 1311 | y |  | PFR installed for summer on 2/18/2013.
12 | 130325 | PFR49 | +11 | yes | B | 645080 | 80 | 1312 | 84 | 1300 | y |  | PFR time reset to UTC, was +11s.
13 | 130401 | PFR50 | +20 | yes | W | 686596 | 84 | 1301 | 91 | 1120 | y |  | PFR time reset to UTC was +20s.
14 | 130408 | PFR51 | +6 | yes | B | 874104 | 91 | 1121 | 98 | 1358 | y
15 | 130415 | PFR52 | +16 | yes | W | 911475 | 98 | 1351 | 105 | 1232 | y
16 | 130422 | PFR53 | +12 | yes | B | 1101411 | 105 | 1233 | 112 | 1255 | y
17 | 130429 | PFR54 | -40 | yes | W | 1145870 | 112 | 1256 | 119 | 1742 | y
18 | 130506 | PFR55 | ? | no | B |  | 119 | 1743 | 126 | 1426 | y |  | Could not connect to PFR to correct time drift.
19 | 130513 | PFR56 | -46 | yes | W | 1368548 | 126 | 1427 | 133 | 1200 | y
20 | 130520 | PFR57 | ? | no | B | 1550686 | 133 | 1201 | 140 | 1205 | y |  | Could not connect to PFR to correct time drift.
21 | 130527 | PFR58 | ? | no | W | 1593999 | 140 | 1206 | 147 | 1105 | y |  | Could not connect to PFR to correct time drift.
22 | 130603 | PFR59 | ? | no | B | 1778338 | 147 | 1106 | 154 | 1103 | y |  | Could not connect to PFR to correct time drift.
23 | 130610 | PFR60 | ? | no | W | 1820932 | 154 | 1144 | 161 | 1149 | y |  | Could not connect to PFR to correct time drift.
24 | 130617 | PFR61 | ? | no | B | 2005051 | 161 | 1150 | 168 | 1145 | y |  | Could not connect to PFR to correct time drift.
25 | 130624 | PFR62 | ? | no | W | 2047953 | 168 | 1146 | 175 | 1154 | y |  | Could not connect to PFR to correct time drift.
26 | 130701 | PFR63 | ? | no | B | 133912 | 175 | 1302 | 182 | 1113 | y |  | Could not connect to PFR to correct time drift.
27 | 130708 | PFR64 | ? | no | W | 178082 | 182 | 1114 | 189 | 1129 | y |  | Could not connect to PFR to correct time drift.
28 | 130715 | PFR65 | ? | no | B | 360772 | 189 | 1130 | 196 | 1131 | y |  | Technician repaired PFR. Bad circuit board.
29 | 130722 | PFR66 | ? | no | W | 405646 | 196 | 1132 | 203 | 1205 | y
30 | 130729 | PFR67 | ? | no | B | 584484 | 203 | 1206 | 210 | 948 | y |  | Still problem connecting to PFR for timeshift via Toughbook PC
31 | 130805 | PFR68 | ? | no | W | 635433 | 210 | 949 | 217 | 1159 | y
32 | 130812 | PFR69 | ? | no | B | 808564 | 217 | 1200 | 224 | 958 | y
33 | 130819 | PFR70 | ? | no | W | 861772 | 224 | 959 | 231 | 935 | y
34 | 130826 | PFR71 | ? | no | B | 1038373 | 231 | 936 | 238 | 1149 | y
35 | 130902 | PFR72 | ? | no | W | 1086893 | 238 | 1150 | 245 | 1034 | y
36 | 130909 | PFR73 | ? | no | B | 1266656 | 245 | 1035 | 252 | 1140 | y
37 | 130916 | PFR74 | ? | no | W | 1312432 | 252 | 1141 | 259 | 1044 | y
38 | 130923 | PFR75 | ? | no | B | 1493046 | 259 | 1045 | 266 | 1025 | y
39 | 130930 | PFR76 | ? | no | W | 1539864 | 266 | 1027 | 273 | 1052 | y
2014 Weekly Data Download PFR
13 | 140404 |  | -5m39sec | yes | B | [7 empty] | PFR installed for summer on 4/4/2014.
14 | 140406 | PFR077 | -4 | yes | B | 102467 | 94 | 1405 | 97 | 1551 | y |  | data formatting a little strange, but all data are present
15 | 140410 | PFR078_1 | n/a | no | W | 99551 | 97 | 1552 | 100 | 1735 | y |  | LEMO connector to PRF electronics box connected yesterday. Making sure PFR is collecting data now.
15 | 140414 | PFR078_2 | +13 | yes | B | 224254 | 100 | 1736 | 104 | 1148 | y
16 | 140421 | PFR079 | -28 | yes | W | 327064 | 104 | 1149 | 111 | 1233 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
17 | 140428 | PFR080 | +9 | yes | B | 452215 | 111 | 1234 | 118 | 1325 | y |  | Tracker has had nightly tracking issues since 4/18. Each day it has been realigned.
18 | 140505 | PFR081 | +18 | yes | W | 551862 | 118 | 1326 | 125 | 1156 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
19 | 140512 | PFR082 | +7 | yes | B | 678753 | 125 | 1157 | 132 | 1144 | y |  | Tracker primary axis issues are ongoing. Very little valid tracking data was collected this week.
20 | 140522 | PFR083 | +4 | yes | W | 880346 | 132 | 1145 | 142 | 1539 | y |  | Tracker PA is no longer functional and tracker must be replaced. Pyranometer and PIR now working as a "fixed arm"
22 | 140602 | PFR084 | +12 | yes | B | 1029886 | 142 | 1540 | 153 | 1145 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
24 | 140614 | PFR085 |  |  | W | 1271237 | 153 | 1446 | 165 | 1316 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
25 | 140623 | PFR086 |  |  | B | 1321707 | 165 | 1317 | 174 | 1326 | y |  | Tracker altitude set to catch the sun for a few minutes each day around 2305UTC. DM not swapped out last Monday.
27 | 140709 | PFR087 |  |  | W | 1756777 | 174 | 1327 | 189 | 1305 | y
30 | 140730 | PFR088 |  |  | B | 2001999 | 189 | 1306 | 210 | 1300 | y
33 | 140818 | PFR089 |  |  | W |  | 210 | 1301 | 217 | 1202 | y
|  | PFR090 |  |  | W |  | 217 | 1907 | 218 | 1104 | y
|  | PFR091 |  |  | W | 286875 | 218 | 1850 | 230 | 1221 | y |  | There are 3 files downloaded from this module due to power outages during the data collection period (see daily checksheets for times).
33 | 140821 | PFR092 |  |  | B | 2072721 | 230 | 1222 | 232 | 1644 | y
33 | 140821 | PFR093 |  |  | B | 5200 | 232 | 1749 | 232 | 539 | y |  | There are 2 files downloaded from this module due to power outage during raising of solar stand on 8/20.
34 | 140825 | PFR094 |  |  | W | 413079 | 233 | 1540 | 237 | 1308 | y
35 | 140902 | PFR095 |  |  | B | 262552 | 237 | 1309 | 245 | 1146 | y
36 | 140908 | PFR096 |  |  | W | 609894 | 245 | 1147 | 251 | 1333 | y
37 | 140915 | PFR097 |  |  | B | 486851 | 251 | 1334 | 258 | 1142 | y |  | 99999 present in data starting on JD 256 at 1649
38 | 140916 | PFR098 |  |  | W | 649786 | 258 | 1143 | 259 | 1715 | y |  | Pulled early to verify that cable was fixed
39 | 140922 | PFR099 |  |  | B | 673673 | 259 | 1716 | 265 | 1138 | y
40 | 140929 | PFR100 |  |  | W | 878722 | 265 | 1139 | 272 | 1313 | y |  | Last data set for the season, PFR taken down today.
2015 Weekly Data Download PFR
2016 Weekly Data Download PFR
23 | 160609 | PFR101 |  |  | B | 3317723 | 74 | 1259 | 161 | 49 | y |  | WRONG DATA FILE!! (see below)Reinstallation of PFR by Robert Brusa complete as of June 8, 2016.
23 | 160610 | PFR102 |  |  | B |  | 159 | 2152 | 162 | 1042 | Y |  | First day of solar tracker ^ this data is from tracker.
24 | 160614 | PFR103 |  |  | B | 804998 | 162 | 1043 | 166 | 1159 | y
25 | 160620 | PFR104 |  |  | W | 1157790 | 166 | 1200 | 172 | 1045 | y
26 | 160627 | PFR105 | -1 hr, 10min | y | B | 1081279 | 172 | 1046 | 179 | 1449 | y |  | Clock corrected 1718z on 6/29/16
27 | 160704 | PFR106 | +5 | y | W | 1382588 | 179 | 1240 | 186 | 1150 | y
28 | 160711 | PFR107 | +1 | y | B | 1263626 | 186 | 1429 | 193 | 1407 | y
29 | 160718 | PFR108 | +5 | y | W | 1615207 | 193 | 1408 | 200 | 1856 | y
30 | 160725 | PFR109 | +2 | Y | B | 1481564 | 200 | 1827 | 207 | 1152 | y
31 | 160801 | PFR110 | +2 | Y | W | 184810 | 207 | 1153 | 214 | 1143 | y
32 | 160808 | PFR111 | +4 | Y | B | 1708585 | 214 | 1144 | 221 | 1153 | y
33 | 160815 | PFR113 | +3 | Y | W | 2074987 | 221 | 1154 | 228 | 1636 | y
34 | 160822 | PFR114 | +4 | Y | B | 1930228 | 228 | 1637 | 235 | 1247 | y
35 | 160829 | PFR115 | +19 | Y | W | 204133 | 235 | 1248 | 242 | 1218 | y
36 | 160905 | PFR116 |  |  | B | 1930228 | 242 | 1219 | 242 | 1612 | y
36 | 160905 | PFR117 |  |  | B |  | 242 | 1613 | 249 | 1204 | y
37 | 160912 | PFR118 | 4 | Y | W | 432394 | 249 | 1205 | 256 | 1309 | y
38 | 160919 | PFR119 | 27 | Y | B | 285523 | 256 | 1310 | 263 | 1227 | y
39 | 160926 | PFR120 | 2 | Y | W | 660149 | 263 | 1228 | 270 | 1309 | y
40 | 161003 | PFR121 |  |  | B | 325635 | 270 | 1310 | 271 | 1852 | y |  | Last week of PFR data for the season
41 | 161010 | [11 empty] | PFR was not running this week. Shutdown for season
2017 Weekly Data Download PFR